## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-24 00:00:00 | 2.9693 | 156.1071 | 3.1157 | 143.6121 | 3.2221 | 152.6714 | 3.4264 | 144.3471 | 10.7214 | 894 | 85.1 | 6.7643
2020-04-24 00:15:00 | 3.1087 | 148.52 | 3.24 | 138.8827 | 3.418 | 145.252 | 3.578 | 139.592 | 10.5067 | 894 | 85.9267 | 6.0913
2020-04-24 00:30:00 | 3.19 | 143.5467 | 3.3287 | 135.0687 | 3.5867 | 140.388 | 3.736 | 135.758 | 10.2933 | 894 | 86.1733 | 5.8587
2020-04-24 00:45:00 | 2.7727 | 142.42 | 2.8727 | 133.85 | 3.1733 | 139.2867 | 3.2487 | 134.5333 | 10.2133 | 894 | 85.7333 | 3.642
2020-04-24 01:00:00 | 2.742 | 139.1867 | 2.852 | 134.032 | 3.1287 | 136.1233 | 3.2273 | 134.7173 | 10.1133 | 894 | 86.3333 | 3.3247
2020-04-24 01:15:00 | 2.7513 | 141.68 | 2.8687 | 131 | 3.1547 | 138.562 | 3.2627 | 131.668 | 10.0733 | 894 | 86.3067 | 3.4867
2020-04-24 01:30:00 | 2.5493 | 141.3133 | 2.6127 | 132.494 | 2.856 | 138.2047 | 2.8933 | 133.1713 | 10.1067 | 894 | 86.72 | 2.8273
2020-04-24 01:45:00 | 2.5107 | 138.7733 | 2.5807 | 130.6533 | 2.878 | 135.72 | 2.906 | 131.3233 | 10.0533 | 893.6667 | 87.7 | 2.9653
2020-04-24 02:00:00 | 2.436 | 132.9467 | 2.522 | 128.7367 | 2.7847 | 130.0227 | 2.85 | 129.3947 | 9.8667 | 893 | 88.4067 | 2.3547
2020-04-24 02:15:00 | 2.3527 | 133.5133 | 2.4693 | 128.4507 | 2.6047 | 130.576 | 2.756 | 129.108 | 9.86 | 893 | 88.3733 | 1.2833
2020-04-24 02:30:00 | 2.3527 | 130.4867 | 2.48 | 122.792 | 2.628 | 127.6167 | 2.7913 | 123.4207 | 9.64 | 893 | 89.12 | 1.3747
2020-04-24 02:45:00 | 2.1433 | 131.3333 | 2.2453 | 127.7987 | 2.3667 | 128.444 | 2.498 | 128.4527 | 9.62 | 893 | 89.9 | 0.70667
2020-04-24 03:00:00 | 2.2827 | 125.6867 | 2.4073 | 123.944 | 2.4933 | 122.9213 | 2.668 | 124.5787 | 9.56 | 893 | 90.02 | 0.892
2020-04-24 03:15:00 | 2.3447 | 127.06 | 2.4693 | 124.4393 | 2.598 | 124.264 | 2.76 | 125.0773 | 9.5133 | 893 | 90.96 | 0.80667
2020-04-24 03:30:00 | 1.9427 | 122.08 | 2.028 | 126.0053 | 2.1307 | 119.3953 | 2.2407 | 126.6487 | 9.5467 | 893 | 90.52 | 0
2020-04-24 03:45:00 | 2.0673 | 136.6867 | 2.1687 | 129.6193 | 2.2433 | 133.6793 | 2.3893 | 130.2793 | 9.5933 | 893 | 90.7333 | 0
2020-04-24 04:00:00 | 2.0653 | 135.52 | 2.1767 | 131.6127 | 2.31 | 132.54 | 2.4513 | 132.2853 | 9.6733 | 893 | 90.56 | 0
2020-04-24 04:15:00 | 1.9313 | 125.8133 | 2.0487 | 127.3493 | 2.208 | 123.0447 | 2.348 | 127.998 | 9.6867 | 893 | 90.2333 | 0
2020-04-24 04:30:00 | 1.8593 | 130.1867 | 1.954 | 125.8567 | 2.09 | 127.322 | 2.2047 | 126.498 | 9.6133 | 893 | 90.7067 | 0
2020-04-24 04:45:00 | 1.8533 | 133.9933 | 1.9307 | 130.914 | 2.1513 | 131.0473 | 2.214 | 131.5853 | 9.66 | 893 | 90.7933 | 0
2020-04-24 05:00:00 | 1.842 | 127.04 | 1.9153 | 131.7507 | 2.1267 | 124.2453 | 2.1873 | 132.422 | 9.6333 | 893 | 91.0933 | 0
2020-04-24 05:15:00 | 1.4873 | 126.1667 | 1.54 | 129.9173 | 1.8427 | 123.392 | 1.842 | 130.5813 | 9.6133 | 892 | 91.6933 | 0
2020-04-24 05:30:00 | 1.3247 | 135.9467 | 1.398 | 136.046 | 1.5513 | 132.956 | 1.6233 | 136.742 | 9.6733 | 892 | 91.9867 | 0
2020-04-24 05:45:00 | 1.3647 | 136.86 | 1.458 | 124.22 | 1.6493 | 133.848 | 1.744 | 124.8527 | 9.68 | 892.3333 | 92.3933 | 0
2020-04-24 06:00:00 | 1.2 | 134.5733 | 1.272 | 128.8347 | 1.4487 | 131.6113 | 1.51 | 129.494 | 9.7133 | 892.3333 | 92.5933 | 0
2020-04-24 06:15:00 | 1.1373 | 126.4 | 1.1653 | 109.328 | 1.2907 | 123.6187 | 1.2953 | 109.886 | 9.7267 | 893 | 92.66 | 0
2020-04-24 06:30:00 | 1.3567 | 150.14 | 1.4327 | 143.3213 | 1.5913 | 146.8367 | 1.6707 | 144.0553 | 9.5733 | 892.3333 | 93.62 | 0
2020-04-24 06:45:00 | 0.582 | 137 | 0.60133 | 133.3527 | 0.72867 | 133.9867 | 0.71733 | 134.0353 | 9.6333 | 893 | 93.2733 | 0
2020-04-24 07:00:00 | 0.218 | 156.8267 | 0.21067 | 48.3787 | 0.21733 | 153.3767 | 0.20267 | 48.6247 | 9.9867 | 893 | 93.5067 | 0
2020-04-24 07:15:00 | 0.46 | 162.6733 | 0.466 | 123.436 | 0.42933 | 159.0953 | 0.45267 | 124.068 | 10.0133 | 893 | 94.3333 | 0
2020-04-24 07:30:00 | 0.77933 | 176.9267 | 0.80467 | 154.5047 | 0.926 | 173.0327 | 0.93067 | 155.294 | 9.9333 | 893 | 93.9933 | 0
2020-04-24 07:45:00 | 0.66867 | 171.5667 | 0.69733 | 176.1833 | 0.756 | 167.7913 | 0.78333 | 177.084 | 10.36 | 894 | 91.64 | 0
2020-04-24 08:00:00 | 0.76333 | 179.2267 | 0.77067 | 176.178 | 0.866 | 175.2833 | 0.852 | 177.0767 | 10.2467 | 894 | 89.62 | 0
2020-04-24 08:15:00 | 0.42933 | 153.3733 | 0.43133 | 150.9773 | 0.55933 | 149.9987 | 0.52533 | 151.7493 | 11.0267 | 894.3333 | 87.78 | 0
2020-04-24 08:30:00 | 0.89667 | 206.26 | 0.94267 | 177.5207 | 1.0207 | 201.7233 | 1.0727 | 178.4273 | 11.14 | 895 | 85.86 | 0
2020-04-24 08:45:00 | 1.4793 | 186.2733 | 1.5167 | 156.2247 | 1.6267 | 182.1747 | 1.6573 | 157.0247 | 11.1267 | 896 | 85.0267 | 0
2020-04-24 09:00:00 | 1.526 | 175.7667 | 1.5967 | 156.526 | 1.8327 | 171.8993 | 1.8747 | 157.3273 | 11.28 | 896 | 83.9733 | 0
2020-04-24 09:15:00 | 1.6047 | 184.34 | 1.5953 | 145.8527 | 1.9713 | 180.2847 | 1.848 | 146.5987 | 11.3533 | 896 | 82.3533 | 0
2020-04-24 09:30:00 | 1.6547 | 192.4533 | 1.7073 | 136.0073 | 1.994 | 188.22 | 1.9993 | 136.7013 | 11.6867 | 896.6667 | 81.32 | 0.312
2020-04-24 09:45:00 | 1.6987 | 176.8933 | 1.7267 | 140.558 | 2.0273 | 167.218 | 1.9673 | 141.276 | 11.8733 | 896.6667 | 81.0333 | 0
2020-04-24 10:00:00 | 1.8147 | 178.88 | 1.8473 | 123.3207 | 2.0093 | 174.9453 | 2.0187 | 123.9493 | 12.12 | 896 | 79.2287 | 0
2020-04-24 10:15:00 | 1.9487 | 161.1933 | 2.0253 | 141.3993 | 2.496 | 157.6473 | 2.4813 | 142.1227 | 12.2267 | 896 | 77.646 | 0
2020-04-24 10:30:00 | 2.07 | 167.5333 | 2.1073 | 140.1867 | 2.5633 | 163.848 | 2.4927 | 140.902 | 12.7333 | 896.6667 | 78.042 | 0.372
2020-04-24 10:45:00 | 2.2673 | 162.5 | 2.3207 | 129.4287 | 2.778 | 158.924 | 2.7333 | 130.09 | 13.0467 | 896 | 76.4847 | 0.71467
2020-04-24 11:00:00 | 2.28 | 170.84 | 2.338 | 114.622 | 2.828 | 167.08 | 2.78 | 115.206 | 13.28 | 896 | 74.292 | 0.89
2020-04-24 11:15:00 | 2.28 | 170.84 | 2.338 | 114.622 | 2.828 | 167.08 | 2.78 | 115.206 | 13.28 | 896 | 74.292 | 0.89
2020-04-24 11:30:00 | 2.28 | 170.84 | 2.338 | 114.622 | 2.828 | 167.08 | 2.78 | 115.206 | 13.28 | 896 | 74.292 | 0.89
2020-04-24 11:45:00 | 2.28 | 170.84 | 2.338 | 114.622 | 2.828 | 167.08 | 2.78 | 115.206 | 13.28 | 896 | 74.292 | 0.89
2020-04-24 12:00:00 | 2.28 | 170.84 | 2.338 | 114.622 | 2.828 | 167.08 | 2.78 | 115.206 | 13.28 | 896 | 74.292 | 0.89
2020-04-24 12:15:00 | 3.186 | 168.8 | 3.338 | 129.788 | 3.6067 | 165.086 | 3.7727 | 130.4513 | 15.9667 | 895 | 55.3873 | 4.0933
2020-04-24 12:30:00 | 3.186 | 168.8 | 3.338 | 129.788 | 3.6067 | 165.086 | 3.7727 | 130.4513 | 15.9667 | 895 | 55.3873 | 4.0933
2020-04-24 12:45:00 | 3.186 | 168.8 | 3.338 | 129.788 | 3.6067 | 165.086 | 3.7727 | 130.4513 | 15.9667 | 895 | 55.3873 | 4.0933
2020-04-24 13:00:00 | 3.186 | 168.8 | 3.338 | 129.788 | 3.6067 | 165.086 | 3.7727 | 130.4513 | 15.9667 | 895 | 55.3873 | 4.0933
2020-04-24 13:15:00 | 3.1333 | 176.38 | 3.198 | 135.0613 | 3.5353 | 172.4987 | 3.544 | 135.7513 | 16.2133 | 895 | 54.7507 | 4.804
2020-04-24 13:30:00 | 3.22 | 195.7667 | 3.328 | 146.484 | 3.4553 | 190.7493 | 3.5947 | 147.2333 | 16.6133 | 895 | 54.086 | 5.7367
2020-04-24 13:45:00 | 3.088 | 175.2933 | 3.1333 | 153.044 | 3.3447 | 171.4353 | 3.3587 | 153.8267 | 16.8867 | 895 | 51.0093 | 5.554
2020-04-24 14:00:00 | 2.9713 | 194.48 | 3.086 | 140.16 | 3.284 | 190.2 | 3.4127 | 140.876 | 17.4533 | 895 | 50.4747 | 5.7593
2020-04-24 14:15:00 | 3.4227 | 187.1333 | 3.4247 | 130.1573 | 3.66 | 183.0167 | 3.5973 | 130.824 | 17.1 | 894 | 49.6913 | 6.5407
2020-04-24 14:30:00 | 3.5553 | 189.5667 | 3.6313 | 134.9493 | 3.6813 | 185.3967 | 3.792 | 135.64 | 17.3067 | 894 | 48.3387 | 7.9953
2020-04-24 14:45:00 | 3.5207 | 190.6867 | 3.614 | 136.5867 | 3.668 | 186.492 | 3.808 | 137.286 | 17.6 | 894 | 49.6233 | 7.296
2020-04-24 15:00:00 | 3.5207 | 190.6867 | 3.614 | 136.5867 | 3.668 | 186.492 | 3.808 | 137.286 | 17.6 | 894 | 49.6233 | 7.296
2020-04-24 15:15:00 | 3.3673 | 154.76 | 3.588 | 159.486 | 3.8733 | 151.354 | 4.1473 | 160.3013 | 18.5067 | 894 | 46.988 | 9.8027
2020-04-24 15:30:00 | 4.0673 | 177.7067 | 4.1627 | 135.524 | 4.3627 | 173.798 | 4.4587 | 136.2187 | 18.0733 | 894 | 45.5393 | 12.0727
2020-04-24 15:45:00 | 4.1707 | 171.7267 | 4.3787 | 142.41 | 4.3413 | 167.9487 | 4.6893 | 143.138 | 18.2667 | 893 | 44.5787 | 16.2067
2020-04-24 16:00:00 | 3.7707 | 158.46 | 3.9907 | 143.4527 | 4.0753 | 154.9727 | 4.4073 | 144.1867 | 18.4533 | 893 | 43.2033 | 13.4247
2020-04-24 16:15:00 | 4.0087 | 164.9267 | 4.1247 | 144.1507 | 4.4053 | 161.298 | 4.512 | 144.8873 | 18.2333 | 893 | 44.446 | 14.652
2020-04-24 16:30:00 | 4.3427 | 164.2467 | 4.5147 | 139.9907 | 4.7233 | 160.6333 | 4.9427 | 140.706 | 17.94 | 893 | 45.0953 | 16.084
2020-04-24 16:45:00 | 4.4773 | 162.68 | 4.6787 | 137.6953 | 4.868 | 158.742 | 5.1307 | 138.4 | 18.1 | 892.6667 | 45.366 | 15.834
2020-04-24 17:00:00 | 4.3507 | 164.9267 | 4.5293 | 139.2473 | 4.7667 | 161.298 | 4.9867 | 139.96 | 18.52 | 892 | 46.7187 | 14.8953
2020-04-24 17:15:00 | 4.1873 | 163.82 | 4.392 | 148.0953 | 4.426 | 160.364 | 4.7493 | 148.8533 | 18.7133 | 892 | 46.2787 | 16.3853
2020-04-24 17:30:00 | 4.4327 | 163.8467 | 4.6553 | 141.1847 | 4.612 | 160.242 | 4.9853 | 141.9053 | 18.58 | 892 | 45.956 | 20.2133
2020-04-24 17:45:00 | 4.4733 | 161.0933 | 4.7187 | 145.226 | 4.928 | 157.5493 | 5.264 | 145.9687 | 18.5933 | 892 | 46.4053 | 20.322
2020-04-24 18:00:00 | 4.4453 | 169.4333 | 4.6667 | 143.4773 | 4.658 | 165.7047 | 5.0233 | 144.212 | 18.48 | 892 | 47.524 | 20.4027
2020-04-24 18:15:00 | 4.2353 | 168.4733 | 4.4847 | 150.0587 | 4.3307 | 164.7673 | 4.778 | 150.8253 | 18.26 | 892 | 48.8707 | 21.95
2020-04-24 18:30:00 | 4.0453 | 176.8067 | 4.296 | 149.4513 | 4.3193 | 173.1133 | 4.7213 | 150.2153 | 18.0467 | 892 | 51.6093 | 19.5613
2020-04-24 18:45:00 | 3.932 | 172.3333 | 4.1593 | 149.7907 | 3.9893 | 168.5427 | 4.4053 | 150.556 | 17.6933 | 891 | 53.0513 | 19.422
2020-04-24 19:00:00 | 3.73 | 174.2867 | 3.9333 | 150.976 | 3.68 | 170.452 | 4.084 | 151.7487 | 17.34 | 891 | 55.0667 | 17.514
2020-04-24 19:15:00 | 3.9787 | 158.3133 | 4.2047 | 148.35 | 4.0607 | 154.8293 | 4.468 | 149.1073 | 16.9467 | 891 | 57.51 | 15.25
2020-04-24 19:30:00 | 4.1687 | 156.9933 | 4.404 | 147.1433 | 4.2793 | 153.5387 | 4.6987 | 147.8953 | 16.7133 | 891 | 58.1547 | 17.288
2020-04-24 19:45:00 | 4.0153 | 154.1667 | 4.286 | 152.3787 | 4.3307 | 150.774 | 4.7547 | 153.1573 | 16.52 | 891 | 59.0013 | 17.8187
2020-04-24 20:00:00 | 3.8687 | 154.9667 | 4.0413 | 157.9787 | 4.142 | 151.5567 | 4.394 | 158.7867 | 16.2067 | 891 | 60.4127 | 16.8867
2020-04-24 20:15:00 | 3.6033 | 157.0667 | 3.6607 | 159.0753 | 3.7 | 153.6107 | 3.7827 | 159.8893 | 16.0733 | 891 | 62.2547 | 14.5767
2020-04-24 20:30:00 | 3.132 | 162.2733 | 3.1733 | 163.822 | 3.3167 | 158.7033 | 3.3453 | 164.6587 | 15.7333 | 891.6667 | 64.2427 | 14.32
2020-04-24 20:45:00 | 3.454 | 159.6267 | 3.4687 | 164.0567 | 3.6733 | 156.1153 | 3.6433 | 164.8927 | 15.6867 | 892 | 66.6613 | 15.4713
2020-04-24 21:00:00 | 3.3713 | 141.5267 | 3.4527 | 162.0947 | 3.7127 | 138.414 | 3.77 | 162.9213 | 15.4533 | 892 | 67.112 | 13.842
2020-04-24 21:15:00 | 3.4693 | 140.8533 | 3.6167 | 151.9087 | 4.0207 | 137.7547 | 4.1407 | 152.686 | 15.2067 | 892 | 67.8933 | 14.37
2020-04-24 21:30:00 | 3.4893 | 144.2667 | 3.6093 | 142.9193 | 3.9827 | 141.092 | 4.0713 | 143.65 | 14.92 | 892 | 68.914 | 15.3513
2020-04-24 21:45:00 | 3.336 | 141.3533 | 3.484 | 145.8867 | 3.9313 | 138.244 | 4.044 | 146.63 | 14.7 | 892 | 70.0287 | 14.5687
2020-04-24 22:00:00 | 3.0427 | 137.86 | 3.1747 | 137.5913 | 3.54 | 134.8273 | 3.6453 | 138.2953 | 14.48 | 892 | 71.0473 | 11.7487
2020-04-24 22:15:00 | 3.2833 | 134.5133 | 3.4407 | 140.16 | 3.7993 | 131.5547 | 3.9473 | 140.8767 | 14.3 | 892 | 72.04 | 10.6613
2020-04-24 22:30:00 | 3.0987 | 128.3 | 3.2213 | 130.3353 | 3.4733 | 125.478 | 3.6013 | 131.002 | 14.1733 | 892 | 73.026 | 8.662
2020-04-24 22:45:00 | 2.8093 | 124.5867 | 2.9293 | 125.9013 | 3.16 | 121.8467 | 3.2873 | 126.546 | 14 | 892 | 74.01 | 7.34
2020-04-24 23:00:00 | 3.2353 | 136.0133 | 3.4087 | 131.906 | 3.6733 | 133.022 | 3.8767 | 132.5807 | 13.9133 | 892 | 74.7933 | 10.8773
2020-04-24 23:15:00 | 3.17 | 137.5867 | 3.31 | 136.49 | 3.6487 | 134.5593 | 3.7787 | 137.1887 | 13.64 | 892.3333 | 74.9567 | 10.7973
2020-04-24 23:30:00 | 3.2927 | 141.94 | 3.4393 | 139.298 | 3.8093 | 138.818 | 3.94 | 140.012 | 13.5133 | 893 | 75.772 | 12.2053
2020-04-24 23:45:00 | 3.3053 | 143.7267 | 3.4327 | 136.8027 | 3.808 | 140.5647 | 3.9053 | 137.502 | 13.2067 | 892.6667 | 76.4367 | 11.8593