## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-25 00:00:00 | 3.3729 | 141.9429 | 3.4843 | 141.4043 | 3.91 | 139.1 | 3.9679 | 142.1279 | 13.0357 | 892 | 77.4179 | 10.3864
2020-04-25 00:15:00 | 3.1993 | 138.3867 | 3.256 | 136.424 | 3.6987 | 135.342 | 3.6673 | 137.122 | 12.8333 | 892 | 79.0713 | 7.7473
2020-04-25 00:30:00 | 2.9027 | 136.16 | 2.9833 | 136.952 | 3.2927 | 134.0793 | 3.3313 | 137.6533 | 12.66 | 892 | 81.0533 | 5.614
2020-04-25 00:45:00 | 2.4213 | 138.3133 | 2.5007 | 123.0773 | 2.6367 | 135.27 | 2.7273 | 123.7073 | 12.5733 | 892 | 81.98 | 3.0673
2020-04-25 01:00:00 | 2.4333 | 138.64 | 2.5387 | 126.9393 | 2.736 | 135.59 | 2.8507 | 127.5873 | 12.58 | 892 | 82.8467 | 4.1633
2020-04-25 01:15:00 | 2.43 | 126.7067 | 2.5127 | 124.6627 | 2.776 | 123.9193 | 2.834 | 125.3007 | 12.6 | 891.6667 | 83.44 | 3.1307
2020-04-25 01:30:00 | 2.47 | 126.46 | 2.608 | 122.9953 | 2.73 | 123.678 | 2.9173 | 123.6213 | 12.4933 | 891 | 83.8067 | 2.4573
2020-04-25 01:45:00 | 2.6087 | 120.78 | 2.7327 | 122.966 | 2.92 | 118.1227 | 3.0653 | 123.5953 | 12.5533 | 891 | 83.5067 | 2.2713
2020-04-25 02:00:00 | 2.4633 | 118.3067 | 2.5993 | 120.5287 | 2.7807 | 115.7047 | 2.946 | 121.1447 | 12.2933 | 891 | 83.4533 | 2.2573
2020-04-25 02:15:00 | 2.6253 | 122.9533 | 2.7787 | 120.83 | 2.9707 | 120.2467 | 3.166 | 121.4453 | 12.3533 | 891 | 83.8133 | 2.1987
2020-04-25 02:30:00 | 2.7033 | 127.5067 | 2.8487 | 123.6773 | 3.0127 | 124.702 | 3.2013 | 124.31 | 12.3667 | 891 | 83.72 | 2.0687
2020-04-25 02:45:00 | 2.5013 | 124.18 | 2.6467 | 124.7407 | 2.8173 | 121.2073 | 3.0053 | 125.3767 | 12.1733 | 890 | 84.4067 | 1.7513
2020-04-25 03:00:00 | 2.6253 | 132.1 | 2.7533 | 126.2527 | 2.99 | 129.194 | 3.1313 | 126.8987 | 12.2133 | 890 | 84.9467 | 1.878
2020-04-25 03:15:00 | 2.562 | 137.3267 | 2.6873 | 133.836 | 2.8873 | 134.3053 | 3.0293 | 134.52 | 12.22 | 890 | 84.9933 | 1.592
2020-04-25 03:30:00 | 2.0087 | 129.8067 | 2.1187 | 134.038 | 2.2807 | 126.9513 | 2.4127 | 134.724 | 12.14 | 890 | 85.44 | 0.057333
2020-04-25 03:45:00 | 2.0113 | 141.4267 | 2.124 | 137.5253 | 2.26 | 138.3153 | 2.4047 | 138.2287 | 12.18 | 890 | 85.5467 | 0
2020-04-25 04:00:00 | 1.8633 | 133.9267 | 1.986 | 130.804 | 2.1313 | 130.9793 | 2.288 | 131.4727 | 12.1667 | 890 | 84.66 | 0
2020-04-25 04:15:00 | 1.7067 | 129.9933 | 1.7647 | 110.3513 | 1.8653 | 127.1347 | 1.93 | 110.916 | 12.1933 | 890 | 85.44 | 0
2020-04-25 04:30:00 | 1.7093 | 129.9333 | 1.7713 | 120.6767 | 1.97 | 127.0747 | 2.0147 | 121.2953 | 12.1667 | 890 | 85.36 | 0
2020-04-25 04:45:00 | 1.436 | 128.66 | 1.4993 | 132.9753 | 1.5387 | 125.334 | 1.6373 | 133.6553 | 12.1333 | 890 | 86.1867 | 0
2020-04-25 05:00:00 | 1.1787 | 138.3333 | 1.2353 | 130.89 | 1.3047 | 135.29 | 1.38 | 131.558 | 12.1867 | 890 | 88.3 | 0
2020-04-25 05:15:00 | 0.776 | 109.1867 | 0.83333 | 123.066 | 0.69733 | 106.7833 | 0.83067 | 123.694 | 12.1533 | 890 | 88.7533 | 0
2020-04-25 05:30:00 | 0.65933 | 120.6733 | 0.69333 | 139.8853 | 0.56333 | 118.0193 | 0.65667 | 140.6007 | 12.1 | 890 | 89.8133 | 0
2020-04-25 05:45:00 | 0.57667 | 116.28 | 0.598 | 165.0213 | 0.524 | 113.722 | 0.58467 | 165.8653 | 12.1733 | 890 | 89.0867 | 0
2020-04-25 06:00:00 | 0.39333 | 94.9133 | 0.35733 | 140.5713 | 0.30333 | 92.8253 | 0.26133 | 141.2893 | 12.12 | 890 | 88.6933 | 0
2020-04-25 06:15:00 | 0.27867 | 79.8933 | 0.252 | 132.5327 | 0.306 | 78.1353 | 0.24867 | 133.21 | 12.1067 | 890 | 88.66 | 0
2020-04-25 06:30:00 | 0.26533 | 130.0667 | 0.294 | 103.264 | 0.44533 | 127.2053 | 0.45067 | 103.792 | 12.2467 | 890 | 88.8667 | 0
2020-04-25 06:45:00 | 0.34133 | 312.6733 | 0.38 | 219.5213 | 0.56133 | 305.7933 | 0.57067 | 220.644 | 12.3867 | 890 | 89.24 | 0
2020-04-25 07:00:00 | 0.32667 | 309.1733 | 0.34533 | 183.4913 | 0.53067 | 302.3713 | 0.506 | 184.4307 | 12.44 | 890 | 88.9733 | 0
2020-04-25 07:15:00 | 0.83 | 331.2867 | 0.88933 | 325.518 | 1.0413 | 323.9987 | 1.09 | 327.182 | 12.28 | 890.3333 | 89.42 | 0
2020-04-25 07:30:00 | 1.6447 | 331.7733 | 1.7313 | 329.952 | 2.132 | 324.4753 | 2.1527 | 331.638 | 12.1933 | 891 | 91.8533 | 0
2020-04-25 07:45:00 | 1.8113 | 250.3067 | 1.8347 | 331.1373 | 2.2373 | 244.7987 | 2.1613 | 332.8307 | 12.0933 | 891 | 91.3933 | 0
2020-04-25 08:00:00 | 1.804 | 319.8267 | 1.7767 | 322.2373 | 2.0673 | 312.7887 | 1.9433 | 323.8853 | 12.2667 | 891 | 89.3933 | 0
2020-04-25 08:15:00 | 1.762 | 341.7533 | 1.756 | 325.928 | 2.128 | 334.2353 | 2.0133 | 327.594 | 12.2067 | 892 | 88.0867 | 0
2020-04-25 08:30:00 | 2.3593 | 342.3533 | 2.4133 | 330.486 | 2.7767 | 334.8207 | 2.758 | 332.1747 | 12.48 | 892 | 88.4133 | 0.45867
2020-04-25 08:45:00 | 2.4513 | 283.9933 | 2.5227 | 325.752 | 2.944 | 277.746 | 2.9393 | 327.418 | 12.6733 | 892 | 86.22 | 1.2613
2020-04-25 09:00:00 | 2.646 | 317.8333 | 2.764 | 318.2 | 3.1447 | 310.84 | 3.222 | 319.8293 | 13.1733 | 892.6667 | 81.8733 | 1.53
2020-04-25 09:15:00 | 2.596 | 276.6067 | 2.778 | 324.834 | 3.1187 | 270.522 | 3.3133 | 326.4933 | 13.52 | 893 | 81.4787 | 1.4467
2020-04-25 09:30:00 | 2.2413 | 246.8667 | 2.3887 | 257.9187 | 2.5807 | 241.4347 | 2.764 | 259.2367 | 14.28 | 893 | 76.8593 | 0.48933
2020-04-25 09:45:00 | 1.96 | 183.7867 | 2.0153 | 185.7353 | 2.1987 | 179.7427 | 2.2347 | 186.6847 | 15.2667 | 894 | 73.4627 | 0
2020-04-25 10:00:00 | 2.2773 | 224.8333 | 2.3533 | 228.7953 | 2.37 | 219.8867 | 2.4913 | 229.962 | 15.6267 | 894 | 69.5373 | 0
2020-04-25 10:15:00 | 3.1 | 91.9 | 3.0587 | 343.38 | 3.0427 | 89.8773 | 2.986 | 345.13 | 15.9933 | 894 | 65.1733 | 0
2020-04-25 10:30:00 | 2.598 | 117.2533 | 2.492 | 341.932 | 2.4873 | 137.1153 | 2.3147 | 343.676 | 16.7333 | 894 | 61.9907 | 0
2020-04-25 10:45:00 | 2.6533 | 219.22 | 2.4667 | 343.38 | 2.48 | 214.398 | 2.1853 | 345.13 | 17.0867 | 894 | 60.1473 | 0
2020-04-25 11:00:00 | 1.7133 | 140.1667 | 1.6907 | 301.976 | 1.7227 | 137.0827 | 1.682 | 303.5173 | 17.9133 | 894 | 61.2307 | 0
2020-04-25 11:15:00 | 1.0287 | 137.06 | 1.108 | 214.0513 | 1.1333 | 134.0447 | 1.2527 | 215.146 | 19.0867 | 894 | 61.17 | 0
2020-04-25 11:30:00 | 1.136 | 194.6333 | 1.188 | 196.6113 | 1.1793 | 190.35 | 1.264 | 197.616 | 19.5067 | 894 | 56.96 | 0
2020-04-25 11:45:00 | 1.2507 | 184.4133 | 1.3167 | 251.1487 | 1.4507 | 180.3547 | 1.5193 | 252.4327 | 20.2267 | 894 | 51.878 | 0
2020-04-25 12:00:00 | 1.3153 | 95.52 | 1.3553 | 248.2813 | 1.436 | 93.418 | 1.478 | 249.5507 | 20.42 | 894 | 47.9747 | 0
2020-04-25 12:15:00 | 1.8633 | 258.02 | 2.0527 | 196.878 | 2.1613 | 252.3447 | 2.4347 | 197.8847 | 20.5933 | 894 | 46.4027 | 0
2020-04-25 12:30:00 | 2.1147 | 205.7133 | 2.3447 | 184.946 | 2.5233 | 204.67 | 2.8807 | 185.8907 | 20.8267 | 894 | 42.2927 | 0
2020-04-25 12:45:00 | 2.2047 | 278.64 | 2.3913 | 184.014 | 2.8147 | 272.5107 | 2.9913 | 184.9547 | 20.8933 | 894 | 42.3433 | 0.43933
2020-04-25 13:00:00 | 2.514 | 107.34 | 2.634 | 262.3193 | 2.9493 | 103.8833 | 3.0573 | 263.6593 | 20.8933 | 894 | 40.5267 | 0.052667
2020-04-25 13:15:00 | 2.2313 | 190.4933 | 2.3093 | 288.9133 | 2.5147 | 186.3027 | 2.58 | 290.392 | 21.16 | 894 | 39.0993 | 0.016
2020-04-25 13:30:00 | 1.984 | 130.9067 | 2.0867 | 180.7073 | 2.7707 | 128.028 | 2.74 | 181.632 | 21.9 | 894 | 36.1573 | 0
2020-04-25 13:45:00 | 1.6907 | 231.2667 | 1.8193 | 198.834 | 2.7753 | 226.1793 | 2.7027 | 199.852 | 22.7333 | 893 | 33.032 | 0
2020-04-25 14:00:00 | 1.6767 | 249.3467 | 1.7447 | 149.5947 | 2.1667 | 243.8607 | 2.1513 | 150.3593 | 22.9933 | 893 | 30.4507 | 0
2020-04-25 14:15:00 | 2.246 | 116.6867 | 2.4113 | 291.0913 | 2.7107 | 114.1193 | 2.888 | 292.5807 | 22.7933 | 893 | 28.8127 | 0
2020-04-25 14:30:00 | 1.6853 | 135.28 | 1.744 | 228.4733 | 2.1767 | 132.3033 | 2.1433 | 229.642 | 23.4933 | 893 | 26.7747 | 0
2020-04-25 14:45:00 | 1.6287 | 174.52 | 1.7333 | 210.1253 | 1.9407 | 170.68 | 2.05 | 211.2007 | 23.7 | 893 | 26.926 | 0
2020-04-25 15:00:00 | 2.0347 | 282.1267 | 2.1373 | 115.912 | 2.3467 | 275.9193 | 2.452 | 116.5053 | 23.8267 | 892.3333 | 26.5873 | 0
2020-04-25 15:15:00 | 1.8833 | 154.7933 | 1.948 | 305.1993 | 2.2007 | 151.3887 | 2.234 | 306.7613 | 23.66 | 892 | 26.6267 | 0
2020-04-25 15:30:00 | 1.8573 | 173.2533 | 2.1147 | 247.3227 | 2.0467 | 169.4427 | 2.4787 | 248.5867 | 24.3133 | 892 | 25.122 | 0.39733
2020-04-25 15:45:00 | 2.918 | 148.7533 | 3.276 | 162.1793 | 3.59 | 144.6593 | 4.1013 | 163.0073 | 24.22 | 892 | 28.2427 | 1.8207
2020-04-25 16:00:00 | 3.1547 | 167.9133 | 3.284 | 140.206 | 3.3027 | 164.2187 | 3.5067 | 140.9227 | 22.6467 | 892 | 30.402 | 0.886
2020-04-25 16:15:00 | 2.8387 | 197.0933 | 2.9787 | 141.3727 | 3.2187 | 192.7573 | 3.3727 | 142.0953 | 22.6867 | 892 | 31.1407 | 1.6513
2020-04-25 16:30:00 | 2.6633 | 196.2667 | 2.8787 | 186.0927 | 3.1893 | 191.9493 | 3.446 | 187.046 | 22.52 | 891.3333 | 31.1313 | 4.01
2020-04-25 16:45:00 | 2.284 | 183.3333 | 2.4407 | 186.6087 | 2.636 | 179.2993 | 2.8313 | 187.5633 | 22.4733 | 891 | 32.1847 | 3.5727
2020-04-25 17:00:00 | 2.742 | 199.9467 | 3.028 | 190.964 | 3.142 | 196.0047 | 3.582 | 191.9407 | 22.34 | 891 | 32.326 | 6.8653
2020-04-25 17:15:00 | 3.3373 | 204.0933 | 3.7153 | 193.852 | 3.932 | 199.6027 | 4.4753 | 194.8433 | 22.3067 | 890 | 31.898 | 11.1133
2020-04-25 17:30:00 | 2.604 | 219.38 | 2.8387 | 212.2773 | 2.6753 | 214.554 | 3.1013 | 213.364 | 22.3067 | 890 | 30.12 | 6.6947
2020-04-25 17:45:00 | 2.7567 | 244.7867 | 2.8673 | 230.1813 | 3.154 | 239.4007 | 3.2473 | 231.36 | 21.4733 | 891 | 28.6247 | 5.138
2020-04-25 18:00:00 | 1.8327 | 243.4667 | 1.8793 | 241.3647 | 1.9227 | 238.1107 | 1.9887 | 242.5973 | 22.04 | 891.6667 | 29.1 | 0.11333
2020-04-25 18:15:00 | 4.0173 | 200.7733 | 4.482 | 187.7887 | 4.716 | 196.356 | 5.3927 | 188.75 | 21.7467 | 892 | 29.1853 | 9.1193
2020-04-25 18:30:00 | 5.1867 | 206.7333 | 5.58 | 196.4673 | 6.0387 | 202.1867 | 6.5367 | 197.4727 | 19.96 | 892 | 35.598 | 30.2273
2020-04-25 18:45:00 | 3.7367 | 205.9267 | 4.0867 | 182.2007 | 4.3273 | 201.396 | 4.8167 | 183.1333 | 19.44 | 892 | 42.9707 | 14.5633
2020-04-25 19:00:00 | 3.18 | 206.48 | 3.4653 | 193.3373 | 3.4453 | 201.9367 | 3.9067 | 194.3253 | 19.06 | 891.3333 | 46.52 | 10.412
2020-04-25 19:15:00 | 2.43 | 199.4733 | 2.7033 | 178.5573 | 2.6813 | 195.0853 | 3.1253 | 179.47 | 19.0067 | 891 | 51.0013 | 9.0893
2020-04-25 19:30:00 | 2.1127 | 165.2667 | 2.3213 | 162.2447 | 2.348 | 161.6313 | 2.6793 | 163.074 | 18.24 | 891 | 55.0227 | 4.748
2020-04-25 19:45:00 | 2.8953 | 173.3667 | 3.088 | 136.7067 | 3.4093 | 169.5507 | 3.624 | 137.4047 | 17.5333 | 891 | 58.3 | 4.898
2020-04-25 20:00:00 | 3.2327 | 146.74 | 3.3707 | 140.4533 | 3.6393 | 143.5127 | 3.784 | 141.17 | 17.56 | 891 | 58.8467 | 7.8053
2020-04-25 20:15:00 | 2.4853 | 135.48 | 2.592 | 133.6607 | 2.94 | 132.4987 | 3.01 | 134.3427 | 17.6267 | 891 | 58.1873 | 4.7667
2020-04-25 20:30:00 | 2.7713 | 135.9067 | 2.9107 | 135.48 | 3.386 | 132.9167 | 3.4767 | 136.1713 | 17.4267 | 891 | 59.4253 | 5.4247
2020-04-25 20:45:00 | 2.974 | 132.0333 | 3.0913 | 129.7413 | 3.444 | 129.1307 | 3.5327 | 130.4047 | 17.02 | 891 | 58.6593 | 5.244
2020-04-25 21:00:00 | 2.9713 | 144 | 3.0773 | 135.122 | 3.388 | 140.8313 | 3.4693 | 135.812 | 17.0933 | 891.6667 | 57.4593 | 6.01
2020-04-25 21:15:00 | 3.0167 | 142.4267 | 3.1487 | 136.8007 | 3.4673 | 139.292 | 3.5893 | 137.502 | 17.06 | 892 | 56.8267 | 5.6267
2020-04-25 21:30:00 | 2.596 | 135.5133 | 2.6693 | 135.832 | 3.0593 | 132.532 | 3.0667 | 136.5267 | 16.8333 | 892 | 57.62 | 3.788
2020-04-25 21:45:00 | 2.2387 | 144.98 | 2.3107 | 131.346 | 2.5747 | 141.7907 | 2.6153 | 132.0167 | 16.7867 | 892 | 59.2107 | 2.5007
2020-04-25 22:00:00 | 2.5427 | 133.6067 | 2.652 | 130.5173 | 2.8527 | 130.668 | 2.97 | 131.184 | 16.6 | 892 | 60.2633 | 3.086
2020-04-25 22:15:00 | 2.0833 | 137.7267 | 2.162 | 132.662 | 2.344 | 134.696 | 2.42 | 133.3413 | 16.5467 | 892 | 60.1347 | 2.5313
2020-04-25 22:30:00 | 2.0353 | 138.94 | 2.1533 | 131.6247 | 2.198 | 135.882 | 2.3767 | 132.2987 | 16.6067 | 892 | 59.0047 | 2.2067
2020-04-25 22:45:00 | 1.8727 | 137.44 | 1.952 | 138.4 | 2.1347 | 134.416 | 2.212 | 139.108 | 16.6467 | 892 | 58.874 | 1.4433
2020-04-25 23:00:00 | 2.0353 | 138.0733 | 2.16 | 137.6247 | 2.334 | 135.0353 | 2.4827 | 138.3287 | 16.6 | 892 | 59.2067 | 1.7427
2020-04-25 23:15:00 | 2.466 | 130.12 | 2.582 | 130.1207 | 2.64 | 127.2573 | 2.81 | 130.7833 | 16.52 | 892 | 59.1467 | 2.6187
2020-04-25 23:30:00 | 2.5267 | 126.6733 | 2.6353 | 129.4147 | 2.92 | 123.8867 | 3.0087 | 130.0773 | 16.4933 | 892 | 59.5827 | 2.866
2020-04-25 23:45:00 | 2.302 | 129.2267 | 2.412 | 129.5593 | 2.672 | 126.3833 | 2.77 | 130.2213 | 16.3133 | 892 | 59.8627 | 2.658