## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-26 00:00:00 | 2.0793 | 135.6929 | 2.1643 | 130.27 | 2.3471 | 132.7071 | 2.4279 | 130.9357 | 16.2929 | 892 | 60.3921 | 1.4507
2020-04-26 00:15:00 | 1.8847 | 144.1133 | 1.9807 | 140.0613 | 2.1447 | 140.942 | 2.2533 | 140.7787 | 16.3867 | 892 | 60.132 | 0.73867
2020-04-26 00:30:00 | 1.6427 | 141.3533 | 1.7227 | 138.6347 | 1.8913 | 138.2433 | 1.9713 | 139.344 | 16.5467 | 892 | 60.9293 | 0.584
2020-04-26 00:45:00 | 1.9053 | 135.2 | 2.026 | 131.632 | 2.0613 | 132.2267 | 2.25 | 132.3047 | 16.5533 | 892 | 61.8973 | 0.013333
2020-04-26 01:00:00 | 2.106 | 134.5 | 2.1747 | 131.9707 | 2.12 | 131.542 | 2.246 | 132.646 | 16.4533 | 892 | 62.7887 | 0.11667
2020-04-26 01:15:00 | 1.6686 | 123.1286 | 1.7336 | 121.1393 | 1.7029 | 120.4193 | 1.8164 | 121.7586 | 16.3643 | 892 | 61.9121 | 0
2020-04-26 01:30:00 | 1.6287 | 122.3067 | 1.6533 | 125.51 | 1.6673 | 119.6167 | 1.704 | 126.1507 | 16.36 | 892 | 61.2927 | 0
2020-04-26 01:45:00 | 1.4827 | 148.9667 | 1.4273 | 133.8233 | 1.41 | 145.6893 | 1.3293 | 134.5073 | 16.54 | 892 | 60.724 | 0
2020-04-26 02:00:00 | 1.4887 | 145.9 | 1.482 | 139.606 | 1.564 | 142.69 | 1.532 | 140.3187 | 16.18 | 892 | 63.536 | 0
2020-04-26 02:15:00 | 1.4167 | 138.1933 | 1.416 | 130.7 | 1.4453 | 135.1527 | 1.436 | 131.3687 | 16.08 | 891 | 66.9227 | 0
2020-04-26 02:30:00 | 1.4567 | 115.46 | 1.4713 | 125.36 | 1.2793 | 112.9213 | 1.3593 | 126.0007 | 16.12 | 891 | 69.522 | 0
2020-04-26 02:45:00 | 1.2267 | 104.9667 | 1.2253 | 110.05 | 0.93933 | 102.6573 | 1.0227 | 110.614 | 15.86 | 891 | 70.7353 | 0
2020-04-26 03:00:00 | 0.98867 | 86.82 | 0.92667 | 102.5067 | 0.74733 | 84.9107 | 0.70467 | 103.032 | 15.7733 | 891 | 72.3747 | 0
2020-04-26 03:15:00 | 0.96467 | 123.24 | 0.922 | 119.806 | 0.874 | 120.53 | 0.82133 | 120.418 | 15.6867 | 891 | 73.4067 | 0
2020-04-26 03:30:00 | 0.92667 | 127.7667 | 0.89133 | 131.932 | 0.93333 | 124.956 | 0.86667 | 132.6067 | 15.4867 | 891 | 73.6953 | 0
2020-04-26 03:45:00 | 0.99 | 146.6533 | 0.968 | 145.2193 | 0.974 | 143.426 | 0.94067 | 145.9627 | 15.18 | 891 | 73.8413 | 0
2020-04-26 04:00:00 | 0.796 | 125.0533 | 0.80133 | 122.5233 | 0.812 | 122.3013 | 0.81933 | 123.1513 | 15.0133 | 891 | 74.368 | 0
2020-04-26 04:15:00 | 0.73067 | 82.0667 | 0.764 | 80.5947 | 0.65133 | 80.262 | 0.73733 | 81.0073 | 14.86 | 891 | 75.162 | 0
2020-04-26 04:30:00 | 0.89133 | 81.82 | 0.91333 | 99.3787 | 0.92333 | 80.0213 | 0.95267 | 99.8853 | 15.1267 | 891 | 77.0607 | 0
2020-04-26 04:45:00 | 0.57467 | 80.92 | 0.63667 | 94.3513 | 0.63067 | 79.14 | 0.73333 | 94.8347 | 15.0733 | 891 | 76.7273 | 0
2020-04-26 05:00:00 | 0.602 | 51.2733 | 0.65733 | 193.4933 | 1.066 | 50.1453 | 1.0327 | 194.4833 | 15.3267 | 891 | 76.7 | 0
2020-04-26 05:15:00 | 0.87267 | 88.2667 | 0.90333 | 242.9487 | 1.41 | 86.3247 | 1.3113 | 244.1907 | 15.0867 | 891 | 77.014 | 0
2020-04-26 05:30:00 | 1.7787 | 62.12 | 1.8107 | 318.3393 | 2.428 | 60.7533 | 2.3 | 319.966 | 14.5867 | 891 | 77.166 | 0.051333
2020-04-26 05:45:00 | 2.1013 | 104.9933 | 2.0667 | 331.4433 | 2.7473 | 102.6833 | 2.494 | 333.138 | 14.0267 | 891 | 78.8147 | 1.0153
2020-04-26 06:00:00 | 2.3093 | 166.8333 | 2.3547 | 324.8733 | 3.016 | 163.1613 | 2.8973 | 326.5347 | 13.6467 | 891 | 79.804 | 1.7847
2020-04-26 06:15:00 | 2.6027 | 276.4133 | 2.7233 | 320.4453 | 3.3653 | 270.0513 | 3.3707 | 321.1 | 13.6933 | 891 | 80.274 | 2.4633
2020-04-26 06:30:00 | 2.3853 | 272.6333 | 2.4633 | 310.534 | 3.0833 | 266.634 | 3.0293 | 312.1233 | 13.2133 | 891 | 80.0967 | 1.5247
2020-04-26 06:45:00 | 2.7207 | 210.06 | 2.8233 | 321.4427 | 3.2887 | 205.438 | 3.3193 | 323.0867 | 13.2 | 892 | 80.0187 | 2.2547
2020-04-26 07:00:00 | 2.7927 | 233.6 | 2.9007 | 324.5993 | 3.3307 | 228.46 | 3.3807 | 326.2573 | 13.5 | 892 | 78.862 | 2.5127
2020-04-26 07:15:00 | 2.822 | 274.6933 | 2.916 | 323.1127 | 3.5 | 268.65 | 3.482 | 324.764 | 13.9267 | 892 | 77.6147 | 2.948
2020-04-26 07:30:00 | 3.064 | 237.1067 | 3.1373 | 317.1253 | 3.822 | 231.8907 | 3.746 | 318.7473 | 14.1333 | 892.6667 | 76.32 | 4.2487
2020-04-26 07:45:00 | 2.8627 | 231.44 | 2.8973 | 326.43 | 3.7933 | 203.5873 | 3.586 | 328.0993 | 13.4333 | 893.3333 | 75.8307 | 5.5867
2020-04-26 08:00:00 | 3.3293 | 257.5933 | 3.502 | 328.7313 | 4.1387 | 251.9267 | 4.2313 | 330.412 | 13.26 | 894 | 74.048 | 6.474
2020-04-26 08:15:00 | 3.396 | 209.9333 | 3.6453 | 328.8293 | 4.2 | 205.3153 | 4.44 | 330.5107 | 13.4533 | 894.3333 | 74.3087 | 7.0647
2020-04-26 08:30:00 | 3.3907 | 233.4067 | 3.6067 | 330.818 | 4.16 | 228.2727 | 4.348 | 332.5087 | 13.5933 | 895 | 73.216 | 7.7273
2020-04-26 08:45:00 | 3.432 | 303.3333 | 3.5987 | 333.3353 | 4.118 | 296.66 | 4.236 | 335.0387 | 13.7733 | 895 | 70.4667 | 7.582
2020-04-26 09:00:00 | 3.3413 | 278.0133 | 3.498 | 327.264 | 3.952 | 271.8973 | 4.0767 | 328.9373 | 14.3467 | 895 | 67.8393 | 6.8873
2020-04-26 09:15:00 | 3.1207 | 327.1333 | 3.3307 | 327.056 | 3.626 | 319.936 | 3.88 | 328.726 | 14.82 | 895 | 65.468 | 5.5753
2020-04-26 09:30:00 | 2.8167 | 249.9867 | 2.952 | 326.6067 | 3.264 | 244.4867 | 3.392 | 328.276 | 15.24 | 895 | 65.0827 | 4.0973
2020-04-26 09:45:00 | 2.456 | 203.12 | 2.4667 | 315.88 | 3.0913 | 198.652 | 2.9287 | 317.4947 | 15.9867 | 895 | 66.09 | 3.078
2020-04-26 10:00:00 | 2.8113 | 132.5267 | 2.8967 | 265.11 | 3.382 | 128.6327 | 3.376 | 266.4667 | 16.6333 | 895 | 64.828 | 2.814
2020-04-26 10:15:00 | 3.0847 | 183.8733 | 3.2013 | 314.2313 | 3.7593 | 179.8273 | 3.7867 | 315.838 | 17.1867 | 895 | 59.4113 | 3.812
2020-04-26 10:30:00 | 3.1433 | 190.02 | 3.2153 | 335.564 | 3.8807 | 185.8393 | 3.8053 | 337.2787 | 17.62 | 895 | 51.7607 | 4.2193
2020-04-26 10:45:00 | 3.0693 | 308.7933 | 3.184 | 295.212 | 3.8107 | 301.9993 | 3.8153 | 296.7207 | 17.86 | 896 | 47.6513 | 3.3173
2020-04-26 11:00:00 | 2.472 | 185.4533 | 2.5113 | 326.366 | 3.146 | 181.3747 | 3.0247 | 328.0347 | 18.6667 | 896 | 44.5033 | 1.5173
2020-04-26 11:15:00 | 2.16 | 271.9333 | 2.17 | 302.6647 | 2.6207 | 265.9513 | 2.508 | 304.2127 | 19.5 | 896 | 44.7087 | 1.052
2020-04-26 11:30:00 | 1.874 | 139.0267 | 1.902 | 316.8267 | 2.3107 | 135.9667 | 2.2373 | 318.446 | 20.48 | 896 | 45.4067 | 0.14267
2020-04-26 11:45:00 | 2.0527 | 272.1867 | 2.1413 | 319.154 | 2.3847 | 266.198 | 2.4613 | 320.786 | 21.36 | 896 | 44.3447 | 0
2020-04-26 12:00:00 | 1.644 | 229.16 | 1.7 | 296.3073 | 1.8833 | 224.1187 | 1.9233 | 297.8233 | 22.38 | 896 | 41.8347 | 0
2020-04-26 12:15:00 | 1.8973 | 222.58 | 1.9413 | 305.39 | 2.1433 | 217.684 | 2.1573 | 306.952 | 22.9733 | 895.3333 | 35.634 | 0
2020-04-26 12:30:00 | 1.5907 | 109.26 | 1.6507 | 235.0193 | 1.912 | 106.856 | 1.93 | 236.22 | 23.4533 | 896 | 33.1793 | 0
2020-04-26 12:45:00 | 1.55 | 297.3667 | 1.606 | 210.9013 | 1.6307 | 290.8247 | 1.714 | 211.9807 | 24.06 | 895 | 29.6433 | 0
2020-04-26 13:00:00 | 1.5413 | 197.4467 | 1.5913 | 123.9 | 1.822 | 193.1027 | 1.838 | 124.5347 | 24.54 | 895 | 27.432 | 0
2020-04-26 13:15:00 | 1.4453 | 129.1733 | 1.6353 | 245.1527 | 1.726 | 126.3307 | 2.006 | 246.4047 | 25.2267 | 895 | 25.6527 | 0
2020-04-26 13:30:00 | 1.734 | 181.5 | 1.838 | 175.3487 | 1.8973 | 177.5073 | 2.0487 | 176.2453 | 25.4067 | 895 | 24.0493 | 0
2020-04-26 13:45:00 | 1.7687 | 179.16 | 1.9213 | 121.4393 | 2.28 | 175.2193 | 2.422 | 122.062 | 25.0533 | 895 | 23.0493 | 0
2020-04-26 14:00:00 | 1.704 | 182.4467 | 1.9007 | 137.3953 | 2.0847 | 178.4327 | 2.3507 | 138.0967 | 25.7533 | 895 | 20.8673 | 0
2020-04-26 14:15:00 | 1.754 | 205.9467 | 1.7947 | 132.4607 | 1.9727 | 201.4153 | 1.9887 | 133.1367 | 25.6133 | 895 | 17.1353 | 0
2020-04-26 14:30:00 | 1.858 | 124.62 | 2.1507 | 106.6287 | 2.1547 | 121.8773 | 2.622 | 107.172 | 25.9133 | 895 | 13.2333 | 0
2020-04-26 14:45:00 | 1.5053 | 70.6067 | 1.592 | 110.4673 | 1.9573 | 69.054 | 1.994 | 111.034 | 26.4467 | 895 | 11.4487 | 0
2020-04-26 15:00:00 | 1.5067 | 179.0267 | 1.6227 | 97.4353 | 1.474 | 175.0887 | 1.706 | 97.932 | 26.6 | 895 | 8.2193 | 0
2020-04-26 15:15:00 | 1.5053 | 199.2667 | 1.6693 | 154.4593 | 1.8573 | 194.8807 | 2.0633 | 155.2493 | 27.0933 | 894.6667 | 9.4753 | 0
2020-04-26 15:30:00 | 2.2973 | 208.0333 | 2.316 | 20.3893 | 2.5513 | 203.4553 | 2.5147 | 20.4913 | 26.5133 | 894 | 10.4093 | 0
2020-04-26 15:45:00 | 1.5547 | 147.4267 | 1.6307 | 87.5907 | 1.7747 | 144.1833 | 1.8573 | 88.0373 | 26.6267 | 894 | 11.0273 | 0
2020-04-26 16:00:00 | 1.7007 | 141.9 | 1.7693 | 63.4987 | 1.9787 | 140.7087 | 2.032 | 63.8233 | 26.6467 | 894 | 12.4073 | 0
2020-04-26 16:15:00 | 1.8687 | 142.4133 | 1.9447 | 108.674 | 1.67 | 139.28 | 1.872 | 109.2293 | 26.6533 | 894 | 11.7633 | 0
2020-04-26 16:30:00 | 2.3167 | 148.7867 | 2.2607 | 120.1967 | 2.134 | 145.5147 | 2.0827 | 120.8107 | 26.2467 | 894 | 12.162 | 0.025333
2020-04-26 16:45:00 | 1.9533 | 193.0667 | 1.9533 | 135.5973 | 1.9727 | 188.8187 | 1.9687 | 136.2907 | 25.9867 | 894 | 13.1027 | 0
2020-04-26 17:00:00 | 1.3767 | 177.4267 | 1.5847 | 125.0207 | 1.4553 | 173.5233 | 1.828 | 125.66 | 26.5 | 894 | 13.4667 | 0
2020-04-26 17:15:00 | 1.642 | 166.9133 | 1.6187 | 115.384 | 1.478 | 163.2413 | 1.482 | 115.974 | 26.1867 | 893.6667 | 12.692 | 0
2020-04-26 17:30:00 | 1.984 | 187.1333 | 2.092 | 200.9987 | 1.8727 | 183.0167 | 2.108 | 202.0267 | 26.1 | 893 | 11.9107 | 0
2020-04-26 17:45:00 | 1.5753 | 198.9467 | 1.7353 | 177.416 | 1.8627 | 194.5707 | 2.086 | 178.3227 | 26.04 | 893 | 13.3567 | 0.092667
2020-04-26 18:00:00 | 1.75 | 198.3533 | 1.96 | 202.016 | 2.0593 | 193.9887 | 2.3653 | 203.048 | 25.84 | 893 | 14.6613 | 0.88067
2020-04-26 18:15:00 | 2.1467 | 197.1333 | 2.396 | 222.828 | 2.3087 | 192.7973 | 2.7387 | 223.966 | 25.9267 | 893 | 14.9853 | 2.9393
2020-04-26 18:30:00 | 2.0733 | 208.0467 | 2.3133 | 210.3473 | 2.5 | 203.4707 | 2.832 | 211.4233 | 25.6667 | 893 | 15.632 | 3.8787
2020-04-26 18:45:00 | 1.8947 | 204.9867 | 2.242 | 213.536 | 2.5353 | 200.4767 | 3.006 | 214.628 | 25.6533 | 892.6667 | 15.908 | 6.0447
2020-04-26 19:00:00 | 2.0587 | 211.8533 | 2.3733 | 219.2607 | 2.1693 | 207.1927 | 2.734 | 220.3813 | 25.3533 | 892 | 16.0187 | 9.1333
2020-04-26 19:15:00 | 2.4573 | 204.6533 | 2.8793 | 214.0247 | 2.8907 | 200.15 | 3.5633 | 215.1207 | 24.8333 | 891.6667 | 16.206 | 14.198
2020-04-26 19:30:00 | 3.0067 | 205.8133 | 3.5027 | 222.39 | 3.452 | 201.286 | 4.2627 | 223.526 | 24.2667 | 891 | 17.6427 | 22.126
2020-04-26 19:45:00 | 3.338 | 199.4267 | 3.7727 | 210.6933 | 4.0567 | 195.0393 | 4.6747 | 211.772 | 23.8533 | 891 | 19.6 | 23.5333
2020-04-26 20:00:00 | 3.9633 | 178.22 | 4.116 | 176.75 | 4.1127 | 174.2987 | 4.3607 | 177.654 | 23.64 | 891 | 20.5807 | 15.954
2020-04-26 20:15:00 | 3.6073 | 161.98 | 3.7787 | 168.62 | 3.7667 | 158.4167 | 4.0487 | 169.4827 | 23.1133 | 891 | 21.902 | 10.9613
2020-04-26 20:30:00 | 3.5713 | 146.06 | 3.708 | 145.95 | 3.92 | 142.8473 | 4.0773 | 146.6947 | 22.78 | 891 | 22.48 | 12.174
2020-04-26 20:45:00 | 3.59 | 133.4733 | 3.704 | 132.5973 | 4.092 | 130.5353 | 4.1613 | 133.2753 | 22.5 | 892 | 23.0667 | 11.9453
2020-04-26 21:00:00 | 3.5653 | 130.32 | 3.6867 | 130.034 | 4.0333 | 127.4533 | 4.1293 | 130.6993 | 21.9667 | 892 | 24.0087 | 12.208
2020-04-26 21:15:00 | 3.482 | 131.28 | 3.632 | 129.3373 | 3.9393 | 128.3927 | 4.0973 | 129.9973 | 21.8 | 892 | 26.5727 | 10.0227
2020-04-26 21:30:00 | 3.3353 | 126.9933 | 3.4787 | 126.7613 | 3.8247 | 124.198 | 3.958 | 127.41 | 21.58 | 892 | 29.2953 | 10.0667
2020-04-26 21:45:00 | 3.4893 | 138.8533 | 3.6567 | 130.132 | 3.898 | 135.7987 | 4.0987 | 130.7973 | 21.38 | 892 | 30.9807 | 9.4913
2020-04-26 22:00:00 | 3.4413 | 136.6533 | 3.5767 | 129.5127 | 3.788 | 133.646 | 3.9493 | 130.1747 | 21.2933 | 892 | 31.844 | 9.2193
2020-04-26 22:15:00 | 3.1073 | 132.7267 | 3.2287 | 127.0367 | 3.428 | 129.8073 | 3.5647 | 127.6847 | 21.1867 | 892 | 32.3313 | 7.5893
2020-04-26 22:30:00 | 2.9887 | 143.74 | 3.136 | 133.8873 | 3.356 | 140.5773 | 3.5273 | 134.5713 | 21.0933 | 892 | 33.3927 | 5.5493
2020-04-26 22:45:00 | 2.72 | 133.2667 | 2.778 | 130.6213 | 3.0927 | 130.3347 | 3.098 | 131.2907 | 20.9267 | 892 | 34.6053 | 4.21
2020-04-26 23:00:00 | 2.772 | 125.36 | 2.8893 | 121.3567 | 3.1547 | 122.602 | 3.268 | 121.9767 | 20.7533 | 892 | 35.4773 | 4.9727
2020-04-26 23:15:00 | 2.6773 | 133.7267 | 2.8113 | 123.86 | 3.1753 | 130.784 | 3.2827 | 124.4913 | 20.8067 | 892 | 36.814 | 3.9473
2020-04-26 23:30:00 | 2.712 | 124.8733 | 2.8613 | 121.67 | 3.1087 | 122.1267 | 3.2807 | 122.2913 | 20.6667 | 892 | 38.734 | 4.1
2020-04-26 23:45:00 | 2.9313 | 122.9667 | 3.1033 | 121.7227 | 3.226 | 120.2613 | 3.4673 | 122.344 | 20.5933 | 892 | 39.708 | 5.6513