## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-27 00:00:00 | 2.8821 | 121.6286 | 3.0279 | 117.3686 | 3.2021 | 118.9521 | 3.3879 | 117.9664 | 20.4786 | 892.5 | 40.559 | 4.1253
2020-04-27 00:15:00 | 2.464 | 124.22 | 2.5773 | 128.0853 | 2.78 | 121.4873 | 2.906 | 128.7393 | 20.4 | 893 | 40.7173 | 2.4193
2020-04-27 00:30:00 | 2.4307 | 126.0133 | 2.554 | 129.5527 | 2.944 | 123.2387 | 3.032 | 130.2153 | 20.4667 | 892.3333 | 40.7753 | 1.4473
2020-04-27 00:45:00 | 2.4907 | 122.8067 | 2.636 | 127.178 | 2.8887 | 120.1047 | 3.0493 | 127.8293 | 20.44 | 892 | 41.26 | 1.53
2020-04-27 01:00:00 | 2.488 | 121.3 | 2.6093 | 123.4107 | 2.7733 | 118.632 | 2.9233 | 124.042 | 20.2733 | 892 | 41.7767 | 1.3607
2020-04-27 01:15:00 | 2.4873 | 122.3733 | 2.6153 | 125.4773 | 2.8153 | 119.682 | 2.964 | 126.1187 | 19.9267 | 892 | 42.3333 | 1.27
2020-04-27 01:30:00 | 2.596 | 118.4533 | 2.748 | 123.294 | 2.8607 | 115.848 | 3.0747 | 123.9233 | 19.7933 | 892 | 43.6193 | 1.4613
2020-04-27 01:45:00 | 2.9707 | 119.0267 | 3.1113 | 114.054 | 3.1593 | 116.4073 | 3.3793 | 114.6373 | 19.82 | 892 | 44.0507 | 2.82
2020-04-27 02:00:00 | 2.892 | 116.8667 | 2.9853 | 117.6407 | 3.2053 | 114.2953 | 3.2933 | 118.2427 | 19.7933 | 892 | 43.3213 | 2.7127
2020-04-27 02:15:00 | 2.8667 | 121.1867 | 2.9893 | 127.6353 | 3.1873 | 118.52 | 3.3293 | 128.2887 | 19.6667 | 892 | 43.1713 | 2.8347
2020-04-27 02:30:00 | 3.0207 | 123.3667 | 3.1493 | 127.6493 | 3.3473 | 120.652 | 3.4993 | 128.3007 | 19.42 | 892 | 43.828 | 3.5833
2020-04-27 02:45:00 | 2.764 | 126.7333 | 2.8887 | 135.9293 | 3.1313 | 123.946 | 3.266 | 136.6247 | 19.2333 | 892 | 44.4113 | 2.7407
2020-04-27 03:00:00 | 2.5833 | 128.1267 | 2.6767 | 136.9387 | 2.9133 | 125.3093 | 2.998 | 137.6387 | 19.1267 | 892 | 45.542 | 1.9673
2020-04-27 03:15:00 | 2.292 | 126.7467 | 2.4253 | 143.388 | 2.6207 | 123.958 | 2.778 | 144.1207 | 19.1867 | 892 | 46.5173 | 0.70733
2020-04-27 03:30:00 | 2.0793 | 121.0467 | 2.1847 | 131.5727 | 2.2873 | 118.3833 | 2.428 | 132.246 | 19.0867 | 891.3333 | 46.726 | 0.16933
2020-04-27 03:45:00 | 1.7667 | 118.8667 | 1.8627 | 130.4267 | 1.8287 | 116.252 | 1.9947 | 131.0927 | 19.0667 | 891 | 46.7907 | 0
2020-04-27 04:00:00 | 1.7227 | 119.4667 | 1.8487 | 127.7273 | 1.9693 | 116.8393 | 2.136 | 128.3787 | 19.1067 | 891 | 45.7947 | 0
2020-04-27 04:15:00 | 1.6587 | 111.22 | 1.7267 | 118.814 | 1.7467 | 108.772 | 1.854 | 119.4213 | 19.1733 | 891 | 46.448 | 0
2020-04-27 04:30:00 | 1.2647 | 100.22 | 1.3013 | 94.6773 | 1.1593 | 98.016 | 1.256 | 95.1613 | 19.1 | 891 | 51.9927 | 0
2020-04-27 04:45:00 | 0.91933 | 90.0133 | 0.91467 | 99.0847 | 0.83933 | 88.0333 | 0.85667 | 99.5907 | 19.08 | 891 | 53.5787 | 0
2020-04-27 05:00:00 | 0.70667 | 96.64 | 0.666 | 98.1253 | 0.67133 | 94.5147 | 0.60533 | 98.6273 | 18.92 | 891 | 52.0247 | 0
2020-04-27 05:15:00 | 0.35667 | 293.7133 | 0.364 | 167.9353 | 0.51667 | 287.2513 | 0.486 | 168.7947 | 18.7067 | 891 | 50.77 | 0
2020-04-27 05:30:00 | 0.62467 | 343.22 | 0.72667 | 216.2153 | 0.97067 | 335.6693 | 1.0613 | 217.3213 | 18.5467 | 891 | 50.3473 | 0
2020-04-27 05:45:00 | 0.466 | 326.8867 | 0.516 | 182.6567 | 0.87467 | 319.696 | 0.852 | 183.5913 | 18.5467 | 891 | 49.486 | 0
2020-04-27 06:00:00 | 0.772 | 125.6933 | 0.88467 | 191.4853 | 1.3347 | 122.9287 | 1.3807 | 192.466 | 18.3533 | 891 | 50.5247 | 0
2020-04-27 06:15:00 | 0.548 | 146.2 | 0.638 | 237.718 | 0.778 | 142.9847 | 0.88267 | 238.9353 | 18.2067 | 891 | 50.192 | 0
2020-04-27 06:30:00 | 0.878 | 47.3067 | 0.934 | 277.7127 | 1.0967 | 46.2653 | 1.1413 | 279.1333 | 18.0867 | 891 | 51.858 | 0
2020-04-27 06:45:00 | 0.52867 | 88.96 | 0.592 | 248.698 | 0.784 | 87.0027 | 0.82467 | 249.97 | 18.34 | 891 | 53.438 | 0
2020-04-27 07:00:00 | 0.586 | 192.6933 | 0.634 | 265.716 | 0.95 | 188.4547 | 0.934 | 267.0747 | 18.6733 | 891.6667 | 52.6627 | 0
2020-04-27 07:15:00 | 1.6513 | 143.5133 | 1.7547 | 311.9487 | 2.042 | 140.3553 | 2.128 | 313.5453 | 18.0467 | 892 | 53.722 | 0.038
2020-04-27 07:30:00 | 2.33 | 233.6933 | 2.382 | 319.4273 | 2.89 | 228.5513 | 2.8293 | 321.0607 | 17.0867 | 892 | 53.4733 | 0.60533
2020-04-27 07:45:00 | 1.802 | 260.42 | 1.8707 | 328.764 | 2.3353 | 254.6907 | 2.3113 | 330.4453 | 17.36 | 893 | 52.0967 | 0.21467
2020-04-27 08:00:00 | 1.9113 | 324.2867 | 2.0007 | 315.4907 | 2.284 | 317.1527 | 2.342 | 317.102 | 18.1067 | 893.6667 | 49.1627 | 0
2020-04-27 08:15:00 | 1.9907 | 305.5733 | 2.0753 | 334.744 | 2.4093 | 298.8507 | 2.448 | 336.454 | 18.26 | 894 | 50.2727 | 0.028667
2020-04-27 08:30:00 | 1.7273 | 281.2333 | 1.7893 | 335.148 | 2.2033 | 275.0467 | 2.1833 | 336.862 | 18.7467 | 894 | 50.2113 | 0.11067
2020-04-27 08:45:00 | 1.936 | 321.2533 | 1.9627 | 325.7333 | 2.266 | 314.186 | 2.222 | 327.3973 | 18.34 | 894 | 50.6313 | 0.27533
2020-04-27 09:00:00 | 2.082 | 271.9933 | 2.1107 | 317.1973 | 2.532 | 266.01 | 2.4573 | 318.8193 | 18.14 | 894.6667 | 49.3407 | 0.688
2020-04-27 09:15:00 | 2.1473 | 190.5067 | 2.124 | 310.2133 | 2.5893 | 186.3153 | 2.4213 | 311.8013 | 17.8 | 895 | 49.3227 | 1.0313
2020-04-27 09:30:00 | 2.042 | 228.5733 | 1.982 | 321.6453 | 2.522 | 223.5447 | 2.2727 | 323.2907 | 18.0467 | 895 | 47.5627 | 1.2087
2020-04-27 09:45:00 | 1.7787 | 140.9067 | 1.7573 | 325.856 | 2.0533 | 137.8087 | 1.9307 | 327.5227 | 18.7667 | 895 | 45.106 | 0.184
2020-04-27 10:00:00 | 1.3647 | 146.2933 | 1.382 | 224.536 | 1.4587 | 143.0753 | 1.466 | 225.684 | 20.28 | 895 | 44.43 | 0
2020-04-27 10:15:00 | 0.772 | 125.84 | 0.79867 | 152.7187 | 0.91133 | 123.0713 | 0.91933 | 153.4987 | 21.4333 | 895 | 41.5027 | 0
2020-04-27 10:30:00 | 1.0287 | 120.7 | 1.03 | 114.5773 | 0.99467 | 118.0453 | 1.0087 | 115.1613 | 21.6 | 895 | 36.808 | 0
2020-04-27 10:45:00 | 1.4647 | 144.98 | 1.4813 | 115.2287 | 1.502 | 141.7907 | 1.5247 | 115.8173 | 22 | 895.3333 | 38.97 | 0
2020-04-27 11:00:00 | 1.6187 | 136.8267 | 1.6387 | 129.0713 | 1.7927 | 133.816 | 1.7853 | 129.7287 | 21.7867 | 896 | 39.984 | 0
2020-04-27 11:15:00 | 1.3707 | 161.9 | 1.3787 | 121.0573 | 1.7307 | 158.3393 | 1.6387 | 121.6747 | 22.1067 | 896 | 40.5927 | 0
2020-04-27 11:30:00 | 1.4013 | 182.3933 | 1.4393 | 129.8913 | 1.78 | 178.38 | 1.744 | 130.5553 | 22.4467 | 896 | 39.4207 | 0
2020-04-27 11:45:00 | 1.5807 | 187.3867 | 1.6747 | 115.7767 | 1.7813 | 184.0153 | 1.9147 | 116.368 | 23.1533 | 896 | 39.0307 | 0
2020-04-27 12:00:00 | 1.916 | 177.0933 | 1.932 | 142.984 | 2.0807 | 173.1973 | 2.064 | 143.7147 | 23.5 | 896 | 37.2207 | 0
2020-04-27 12:15:00 | 2.312 | 189.8067 | 2.374 | 137.1873 | 2.74 | 185.63 | 2.7333 | 137.8893 | 23.32 | 896 | 35.226 | 0
2020-04-27 12:30:00 | 1.924 | 192.92 | 1.9253 | 122.5433 | 2.4153 | 188.676 | 2.2787 | 123.17 | 23.76 | 896 | 33.8573 | 0.168
2020-04-27 12:45:00 | 2.234 | 224.5867 | 2.362 | 131.698 | 2.6773 | 219.6447 | 2.794 | 132.37 | 24.1667 | 895.6667 | 32.4313 | 0.52267
2020-04-27 13:00:00 | 2.636 | 195.24 | 2.7033 | 129.3293 | 3.0493 | 190.9453 | 3.058 | 129.9927 | 24.1867 | 895 | 32.0413 | 1.494
2020-04-27 13:15:00 | 2.8533 | 195.7467 | 2.9913 | 137.3433 | 3.246 | 191.4393 | 3.3967 | 138.0453 | 24.48 | 895 | 31.2953 | 2.7513
2020-04-27 13:30:00 | 3.0293 | 197.5133 | 3.1813 | 146.44 | 3.3653 | 193.1673 | 3.5567 | 147.188 | 24.9267 | 895 | 30.9033 | 4.3673
2020-04-27 13:45:00 | 3.0973 | 178.3533 | 3.262 | 148.1793 | 3.6267 | 174.43 | 3.786 | 148.938 | 25.2133 | 895 | 30.1113 | 6.1813
2020-04-27 14:00:00 | 3.146 | 189.1733 | 3.2833 | 141.0267 | 3.5833 | 185.0107 | 3.7147 | 141.7487 | 25.2933 | 895 | 30.6087 | 4.766
2020-04-27 14:15:00 | 2.6067 | 190.0267 | 2.7187 | 131.0573 | 2.9713 | 185.846 | 3.0773 | 131.7287 | 25.74 | 895 | 28.7607 | 2.5733
2020-04-27 14:30:00 | 2.9587 | 180.2333 | 3.092 | 134.756 | 3.0633 | 176.2687 | 3.2887 | 135.4433 | 25.9467 | 895 | 25.1253 | 2.982
2020-04-27 14:45:00 | 2.9187 | 194.7933 | 3.0193 | 149.888 | 3.2947 | 190.508 | 3.3767 | 150.654 | 26.18 | 895 | 24.0753 | 4.058
2020-04-27 15:00:00 | 3.1773 | 190.12 | 3.2813 | 145.1347 | 3.4033 | 185.9373 | 3.538 | 145.876 | 26.2867 | 895 | 22.728 | 4.7773
2020-04-27 15:15:00 | 3.2793 | 184.64 | 3.5027 | 164.0947 | 3.664 | 180.578 | 3.9773 | 164.9327 | 26.3667 | 895 | 23.3747 | 9.034
2020-04-27 15:30:00 | 2.868 | 186.4867 | 3.0427 | 154.6747 | 2.914 | 182.3833 | 3.2327 | 155.4653 | 26.4533 | 895 | 23.4493 | 7.4867
2020-04-27 15:45:00 | 3.0453 | 189.8933 | 3.2373 | 159.2187 | 3.308 | 185.716 | 3.5993 | 160.0313 | 26.84 | 894 | 24.3567 | 6.954
2020-04-27 16:00:00 | 3.34 | 187.7533 | 3.5847 | 176.978 | 3.7653 | 183.6233 | 4.1067 | 156.9907 | 26.26 | 894 | 24.176 | 9.6993
2020-04-27 16:15:00 | 3.2227 | 195.8867 | 3.4027 | 150.4673 | 3.638 | 191.576 | 3.8653 | 151.2367 | 26.4533 | 894 | 24.2653 | 8.426
2020-04-27 16:30:00 | 3.2393 | 187.2267 | 3.4627 | 170.6413 | 3.4173 | 183.108 | 3.7893 | 171.5153 | 25.9 | 894 | 26.0393 | 11.7927
2020-04-27 16:45:00 | 3.1233 | 181.1933 | 3.3227 | 170.4007 | 3.5753 | 177.2067 | 3.826 | 171.272 | 25.46 | 893.6667 | 29.6493 | 10.488
2020-04-27 17:00:00 | 2.9573 | 184.7533 | 3.1673 | 153.9367 | 3.3633 | 180.6893 | 3.6447 | 154.7247 | 25.3933 | 893 | 30.252 | 9.2513
2020-04-27 17:15:00 | 2.5533 | 180.5133 | 2.6953 | 158.176 | 2.7713 | 176.5427 | 2.98 | 158.984 | 25.1867 | 893 | 30.964 | 5.7813
2020-04-27 17:30:00 | 2.2853 | 164.4333 | 2.3707 | 149.738 | 2.4067 | 160.816 | 2.534 | 150.5027 | 25.0933 | 893 | 29.402 | 3.5487
2020-04-27 17:45:00 | 2.5787 | 156.8933 | 2.6347 | 145.5 | 2.8953 | 153.442 | 2.912 | 146.2447 | 25.1 | 892 | 30.8453 | 3.9347
2020-04-27 18:00:00 | 2.4213 | 146.9533 | 2.474 | 138.432 | 2.7213 | 143.7207 | 2.7373 | 139.1407 | 25.06 | 892 | 29.5507 | 3.6727
2020-04-27 18:15:00 | 2.4753 | 128.7 | 2.504 | 127.61 | 2.7947 | 125.8687 | 2.7573 | 128.2613 | 24.8867 | 892 | 28.9367 | 3.936
2020-04-27 18:30:00 | 2.284 | 124.1533 | 2.35 | 120.842 | 2.6 | 121.422 | 2.634 | 121.4587 | 24.8333 | 892 | 29.052 | 2.7587
2020-04-27 18:45:00 | 2.3147 | 123.1667 | 2.354 | 124.6693 | 2.5367 | 119.8373 | 2.5493 | 125.306 | 24.7933 | 892 | 29.3013 | 3.36
2020-04-27 19:00:00 | 2.2413 | 118.0067 | 2.3073 | 122.692 | 2.3687 | 115.4113 | 2.458 | 123.32 | 24.72 | 892 | 29.774 | 3.526
2020-04-27 19:15:00 | 2.88 | 137.0667 | 2.9667 | 132.6493 | 3.0193 | 134.0507 | 3.1473 | 133.3287 | 24.68 | 891 | 29.5813 | 6.0113
2020-04-27 19:30:00 | 3.0907 | 129.84 | 3.2387 | 135.5767 | 3.564 | 126.9833 | 3.712 | 136.27 | 24.5333 | 891 | 29.4893 | 8.3433
2020-04-27 19:45:00 | 3.2767 | 129.9667 | 3.446 | 129.7807 | 3.8087 | 127.1067 | 3.976 | 130.4447 | 24.1067 | 891 | 30.4513 | 11.388
2020-04-27 20:00:00 | 3.3007 | 126.84 | 3.4307 | 130.5233 | 3.748 | 124.0493 | 3.868 | 131.1893 | 23.98 | 891 | 31.4647 | 11.3693
2020-04-27 20:15:00 | 3.4427 | 125.92 | 3.5227 | 121.8333 | 3.8093 | 123.1493 | 3.8613 | 122.4553 | 23.8133 | 891.3333 | 32.47 | 11.5113
2020-04-27 20:30:00 | 3.5247 | 123.82 | 3.632 | 123.8147 | 3.996 | 120.2933 | 4.0653 | 124.448 | 23.5267 | 892 | 34.53 | 11.8933
2020-04-27 20:45:00 | 3.5693 | 128.7 | 3.658 | 125.542 | 4.0087 | 125.8693 | 4.0547 | 126.1833 | 23.4533 | 892 | 36.2073 | 11.9707
2020-04-27 21:00:00 | 3.63 | 137.0067 | 3.7647 | 124.8387 | 4.246 | 133.9927 | 4.32 | 125.4767 | 23.1533 | 892 | 37.536 | 12.7947
2020-04-27 21:15:00 | 3.7647 | 132.64 | 3.8733 | 129.5207 | 4.2473 | 129.7213 | 4.318 | 130.1827 | 23.0467 | 892 | 38.2887 | 12.328
2020-04-27 21:30:00 | 3.608 | 126.5267 | 3.724 | 121.7473 | 4.1913 | 123.742 | 4.2453 | 122.37 | 22.8467 | 892 | 39.4253 | 12.9767
2020-04-27 21:45:00 | 3.778 | 129.16 | 3.8827 | 128.4367 | 4.366 | 126.3193 | 4.396 | 129.0933 | 22.7533 | 892 | 39.2927 | 14.0773
2020-04-27 22:00:00 | 3.5927 | 127.7 | 3.6867 | 124.5133 | 4.152 | 125.1773 | 4.1727 | 125.1487 | 22.5933 | 892 | 39.446 | 13.444
2020-04-27 22:15:00 | 3.4533 | 133.24 | 3.56 | 129.938 | 4.0593 | 130.31 | 4.0893 | 130.6013 | 22.3867 | 892 | 39.9413 | 12.8467
2020-04-27 22:30:00 | 3.4507 | 133.1933 | 3.5573 | 128.9853 | 3.9547 | 130.262 | 4.014 | 129.6447 | 22.2133 | 892 | 40.1073 | 11.8313
2020-04-27 22:45:00 | 3.4767 | 129.5733 | 3.5473 | 129.324 | 3.9467 | 126.722 | 3.9493 | 129.986 | 22.2267 | 892 | 40.63 | 11.3687
2020-04-27 23:00:00 | 3.3887 | 125.5733 | 3.4767 | 126.286 | 3.964 | 122.81 | 3.9667 | 126.9307 | 22.04 | 892 | 41.2647 | 10.8147
2020-04-27 23:15:00 | 3.258 | 129.0333 | 3.3633 | 125.816 | 3.9407 | 126.1953 | 3.946 | 126.4593 | 21.82 | 892 | 41.6273 | 10.672
2020-04-27 23:30:00 | 3.2627 | 124.5867 | 3.368 | 122.2767 | 3.764 | 121.846 | 3.8187 | 122.9013 | 21.74 | 892 | 42.2007 | 10.1787
2020-04-27 23:45:00 | 3.2 | 127.0533 | 3.3187 | 116.8587 | 3.7087 | 124.2573 | 3.79 | 117.456 | 21.6067 | 892 | 42.7933 | 9.9667