## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-28 00:00:00 | 2.9693 | 122.4429 | 3.0593 | 125.205 | 3.4329 | 119.75 | 3.4743 | 125.8443 | 21.5286 | 892 | 43.382 | 8.6753
2020-04-28 00:15:00 | 3.0067 | 118.64 | 3.1047 | 121.9773 | 3.5147 | 116.8113 | 3.5587 | 122.6 | 21.4267 | 892 | 42.9393 | 8.988
2020-04-28 00:30:00 | 3.1093 | 126.3733 | 3.252 | 118.586 | 3.6227 | 123.5933 | 3.7453 | 119.192 | 21.24 | 892 | 43.4447 | 9.0827
2020-04-28 00:45:00 | 3.248 | 128.58 | 3.404 | 121.5913 | 3.7053 | 125.7507 | 3.8673 | 122.214 | 21.0533 | 891.6667 | 44.0533 | 9.108
2020-04-28 01:00:00 | 3.336 | 123.3533 | 3.4933 | 122.172 | 3.71 | 120.6387 | 3.902 | 122.796 | 20.94 | 891 | 44.2413 | 9.184
2020-04-28 01:15:00 | 3.3887 | 122.9067 | 3.5713 | 116.452 | 3.7333 | 120.202 | 3.9833 | 117.0493 | 20.86 | 891 | 43.9473 | 10.2573
2020-04-28 01:30:00 | 3.5667 | 125.44 | 3.7207 | 120.3527 | 3.8587 | 122.68 | 4.0713 | 120.968 | 20.7533 | 891 | 43.536 | 11.3973
2020-04-28 01:45:00 | 3.6573 | 130.44 | 3.83 | 124.956 | 4.012 | 127.57 | 4.2387 | 125.5947 | 20.52 | 891 | 43.7013 | 13.1313
2020-04-28 02:00:00 | 3.622 | 126.9533 | 3.786 | 128.444 | 3.9107 | 124.1607 | 4.1413 | 129.1007 | 20.54 | 891 | 43.84 | 12.928
2020-04-28 02:15:00 | 3.5527 | 131.1333 | 3.7113 | 126.6113 | 3.8787 | 128.2473 | 4.0873 | 127.258 | 20.38 | 891 | 43.8473 | 12.8053
2020-04-28 02:30:00 | 3.4813 | 131.46 | 3.6567 | 130.2567 | 3.7693 | 128.568 | 4.0213 | 130.922 | 19.9267 | 891 | 44.21 | 12.2893
2020-04-28 02:45:00 | 3.8 | 134.78 | 3.9953 | 132.598 | 4.0387 | 131.8147 | 4.3413 | 133.2733 | 19.6533 | 890.6667 | 45.9707 | 13.7627
2020-04-28 03:00:00 | 3.8413 | 133.1867 | 3.9867 | 133.582 | 4.218 | 130.258 | 4.3913 | 134.2647 | 19.5333 | 890 | 47.0427 | 14.7227
2020-04-28 03:15:00 | 3.8607 | 131.66 | 4.02 | 135.9993 | 4.2547 | 128.764 | 4.4433 | 136.696 | 19.2533 | 890 | 48.3507 | 14.9607
2020-04-28 03:30:00 | 3.8007 | 132.6667 | 3.9307 | 132.878 | 4.014 | 129.7487 | 4.2 | 133.558 | 19.22 | 890 | 49.1453 | 14.342
2020-04-28 03:45:00 | 3.6173 | 137.6 | 3.7433 | 135.8107 | 3.7553 | 134.5733 | 3.96 | 136.5067 | 19.2467 | 890 | 51.1313 | 12.578
2020-04-28 04:00:00 | 3.4267 | 138.62 | 3.5773 | 135.308 | 3.54 | 135.5707 | 3.7947 | 136.0007 | 18.8733 | 890 | 53.5307 | 12.3387
2020-04-28 04:15:00 | 3.564 | 128.7733 | 3.6633 | 136.64 | 3.668 | 125.9393 | 3.8313 | 137.338 | 19.0667 | 890 | 50.6387 | 13.4413
2020-04-28 04:30:00 | 3.826 | 130.6333 | 3.976 | 130.8953 | 4.0673 | 127.922 | 4.2847 | 131.5653 | 18.76 | 890 | 50.0133 | 13.9607
2020-04-28 04:45:00 | 3.814 | 124.4 | 3.9593 | 129.1673 | 4.2113 | 122.2373 | 4.3753 | 129.8293 | 18.44 | 889.3333 | 52.0747 | 14.538
2020-04-28 05:00:00 | 3.9787 | 127.4133 | 4.1147 | 127.2193 | 4.3593 | 124.61 | 4.5113 | 127.8687 | 18.0267 | 890 | 53.438 | 15.6187
2020-04-28 05:15:00 | 3.6387 | 139.8667 | 3.7547 | 132.7733 | 3.858 | 136.7893 | 4.02 | 133.4527 | 18.0867 | 890 | 54.176 | 13.128
2020-04-28 05:30:00 | 2.9733 | 141.6067 | 3.026 | 143.9487 | 2.9873 | 138.4913 | 3.0867 | 144.6847 | 18.4 | 890 | 55.6287 | 9.786
2020-04-28 05:45:00 | 2.5773 | 131.44 | 2.6693 | 137.9953 | 2.7213 | 128.8027 | 2.8487 | 138.7007 | 18.6467 | 889.6667 | 57.072 | 7.566
2020-04-28 06:00:00 | 2.6247 | 137.22 | 2.7247 | 145.6567 | 2.7367 | 134.2013 | 2.896 | 146.4013 | 18.46 | 889 | 56.5167 | 7.1447
2020-04-28 06:15:00 | 2.4073 | 140.04 | 2.504 | 142.5407 | 2.4953 | 136.958 | 2.6553 | 143.268 | 18.64 | 889 | 56.1493 | 5.7547
2020-04-28 06:30:00 | 2.2393 | 145.74 | 2.328 | 148.29 | 2.4647 | 142.5333 | 2.5707 | 149.0487 | 18.1733 | 889.6667 | 59.7907 | 4.89
2020-04-28 06:45:00 | 2.194 | 149.38 | 2.2887 | 151.4327 | 2.346 | 146.0933 | 2.482 | 152.2067 | 17.78 | 890 | 62.274 | 4.5573
2020-04-28 07:00:00 | 2.3433 | 146.1 | 2.3807 | 145.9693 | 2.566 | 142.8867 | 2.5733 | 146.716 | 17.6667 | 890 | 61.394 | 4.5947
2020-04-28 07:15:00 | 2.5707 | 149.66 | 2.6573 | 147.136 | 2.8107 | 146.368 | 2.9093 | 147.8887 | 17.8267 | 890 | 61.6313 | 4.7567
2020-04-28 07:30:00 | 2.1687 | 175.2 | 2.2513 | 174.502 | 2.38 | 171.3453 | 2.4807 | 175.3927 | 17.9467 | 890 | 60.962 | 4.5747
2020-04-28 07:45:00 | 2.0687 | 180.9467 | 2.146 | 172.8773 | 2.3313 | 176.966 | 2.4013 | 173.762 | 18.4933 | 891 | 61.12 | 4.8573
2020-04-28 08:00:00 | 2.082 | 198.6333 | 2.1793 | 176.426 | 2.336 | 194.2633 | 2.4467 | 177.3273 | 18.6067 | 891 | 62.408 | 5.01
2020-04-28 08:15:00 | 1.8687 | 206.8067 | 1.91 | 174.692 | 2.132 | 202.258 | 2.134 | 175.5833 | 18.6267 | 892 | 63.6227 | 4.3227
2020-04-28 08:30:00 | 1.7527 | 225.0867 | 1.788 | 191.5187 | 1.9607 | 220.1347 | 1.9673 | 192.4973 | 19.18 | 892 | 64.0887 | 4.0693
2020-04-28 08:45:00 | 1.588 | 213.2733 | 1.612 | 203.9653 | 1.6947 | 208.5813 | 1.71 | 205.008 | 19.5 | 892 | 63.444 | 3.472
2020-04-28 09:00:00 | 1.5693 | 216.48 | 1.5227 | 190.488 | 1.8493 | 211.7173 | 1.682 | 191.4627 | 19.5933 | 892 | 60.5133 | 3.26
2020-04-28 09:15:00 | 1.836 | 182.86 | 1.788 | 172.0627 | 2.0787 | 178.838 | 1.9207 | 172.9433 | 19.5133 | 892.3333 | 58.1707 | 3.5607
2020-04-28 09:30:00 | 2.0727 | 183.3267 | 2.126 | 168.0387 | 2.3493 | 179.294 | 2.3753 | 168.898 | 19.5 | 893 | 56.976 | 4.0447
2020-04-28 09:45:00 | 2.0553 | 185.1133 | 2.146 | 160.6847 | 2.4227 | 181.0393 | 2.4887 | 161.5073 | 19.5933 | 893 | 54.3847 | 4.0527
2020-04-28 10:00:00 | 1.7513 | 182.6667 | 1.7807 | 141.8813 | 1.9727 | 178.648 | 1.9673 | 142.6073 | 19.84 | 893 | 52.964 | 3.2187
2020-04-28 10:15:00 | 1.8693 | 157.3467 | 1.8453 | 136.9713 | 1.9553 | 153.8853 | 1.8867 | 137.6733 | 20.08 | 893 | 52.0273 | 3.2007
2020-04-28 10:30:00 | 2.2013 | 145.3733 | 2.168 | 139.2413 | 2.348 | 142.1747 | 2.2427 | 139.952 | 20.3533 | 893 | 50.5927 | 3.298
2020-04-28 10:45:00 | 2.476 | 186.2733 | 2.4073 | 138.152 | 2.55 | 182.1753 | 2.4053 | 138.8593 | 20.62 | 893 | 48.9607 | 3.9173
2020-04-28 11:00:00 | 2.66 | 176.1467 | 2.658 | 138.804 | 3.0947 | 172.272 | 2.9693 | 139.514 | 21.0867 | 893 | 46.7713 | 4.5907
2020-04-28 11:15:00 | 2.55 | 154.42 | 2.5913 | 143.8967 | 3.0647 | 151.0233 | 2.9973 | 144.632 | 21.54 | 892.6667 | 44.8213 | 4.9693
2020-04-28 11:30:00 | 2.8293 | 204.46 | 2.8773 | 144.026 | 3.3713 | 199.9633 | 3.3053 | 144.7627 | 21.9267 | 892 | 43.7933 | 6.0807
2020-04-28 11:45:00 | 2.9293 | 170.76 | 3.0053 | 139.45 | 3.404 | 167.0033 | 3.41 | 140.162 | 22.1467 | 892 | 42.9593 | 6.836
2020-04-28 12:00:00 | 2.854 | 170.2867 | 2.918 | 139.314 | 3.258 | 166.5413 | 3.2653 | 140.0253 | 22.6333 | 892 | 42.5113 | 8.4907
2020-04-28 12:15:00 | 2.976 | 180.9667 | 3.1187 | 151.8187 | 3.274 | 176.9847 | 3.4647 | 152.5947 | 23.34 | 892 | 39.4813 | 11.548
2020-04-28 12:30:00 | 3.0413 | 181.08 | 3.182 | 155.9527 | 3.4273 | 177.0967 | 3.5847 | 156.7487 | 23.74 | 892 | 36.4913 | 12.442
2020-04-28 12:45:00 | 3.4173 | 172.4933 | 3.6067 | 155.1247 | 3.7647 | 168.698 | 4.026 | 155.9173 | 23.9533 | 891.6667 | 34.8527 | 11.4853
2020-04-28 13:00:00 | 3.1713 | 171.3667 | 3.3567 | 131.448 | 3.688 | 167.5973 | 3.8947 | 132.1213 | 24.2667 | 891 | 33.7613 | 11.3427
2020-04-28 13:15:00 | 3.4373 | 168.8133 | 3.55 | 167.584 | 3.9353 | 165.1 | 4.0073 | 168.4407 | 24.7467 | 891 | 31.81 | 12.456
2020-04-28 13:30:00 | 4.0327 | 179.2933 | 4.2 | 153.0773 | 4.3673 | 175.35 | 4.5953 | 153.8593 | 25.0733 | 891 | 29.4227 | 20.7627
2020-04-28 13:45:00 | 4.0567 | 185.4467 | 4.3367 | 155.716 | 4.0193 | 181.366 | 4.5653 | 156.5127 | 25.32 | 890.6667 | 26.698 | 23.5867
2020-04-28 14:00:00 | 5.1213 | 164.6333 | 5.412 | 144.1053 | 5.2627 | 161.012 | 5.7787 | 144.8413 | 25.2933 | 890 | 23.996 | 25.342
2020-04-28 14:15:00 | 4.6453 | 170.8333 | 4.8433 | 132.5847 | 4.796 | 167.0747 | 5.1313 | 133.2613 | 25.1467 | 890 | 23.5893 | 23.098
2020-04-28 14:30:00 | 4.9127 | 159.42 | 5.1293 | 135.0033 | 5.274 | 155.9107 | 5.5833 | 135.694 | 25.3467 | 890 | 23.4333 | 24.572
2020-04-28 14:45:00 | 4.4747 | 178.3 | 4.74 | 153.2853 | 4.84 | 174.3767 | 5.242 | 154.0693 | 25.7533 | 890 | 23.1553 | 24.724
2020-04-28 15:00:00 | 4.3553 | 173.9867 | 4.5547 | 158.6573 | 4.74 | 169.6707 | 5.0087 | 159.2013 | 25.78 | 889.3333 | 22.2913 | 21.64
2020-04-28 15:15:00 | 4.5767 | 178.8 | 4.8173 | 163.69 | 5.0047 | 174.866 | 5.3387 | 164.528 | 25.8133 | 889 | 22.5307 | 22.6133
2020-04-28 15:30:00 | 4.8693 | 167.72 | 5.142 | 153.2193 | 5.5767 | 164.0287 | 5.888 | 154.0033 | 25.7 | 889 | 22.316 | 21.7573
2020-04-28 15:45:00 | 5.0633 | 145.84 | 5.23 | 134.932 | 5.4993 | 142.6327 | 5.6933 | 135.6213 | 25.5133 | 889 | 22.0667 | 21.6993
2020-04-28 16:00:00 | 4.946 | 149.7133 | 5.292 | 150.9393 | 5.846 | 146.4187 | 6.242 | 151.708 | 25.7333 | 889 | 22.1607 | 23.972
2020-04-28 16:15:00 | 4.7367 | 166.8467 | 4.9633 | 150.5267 | 5.6847 | 163.1767 | 5.8407 | 151.2967 | 25.7067 | 889 | 22.2293 | 24.2547
2020-04-28 16:30:00 | 4.744 | 174.3267 | 5.0427 | 153.3233 | 5.056 | 170.492 | 5.536 | 154.108 | 25.74 | 888.3333 | 23.2647 | 24.122
2020-04-28 16:45:00 | 4.656 | 170.2867 | 4.9793 | 146.64 | 5.2227 | 166.5407 | 5.676 | 147.3913 | 25.7667 | 888 | 22.8453 | 22.1733
2020-04-28 17:00:00 | 4.5427 | 152.2667 | 4.8633 | 143.8507 | 4.8787 | 148.9173 | 5.3887 | 144.5853 | 25.6667 | 888 | 22.6393 | 21.9193
2020-04-28 17:15:00 | 4.62 | 141.4867 | 4.878 | 141.6927 | 5.5493 | 138.3727 | 5.772 | 142.4167 | 25.6933 | 888 | 22.7833 | 22.5227
2020-04-28 17:30:00 | 4.8287 | 140.76 | 5.1333 | 145.67 | 5.4673 | 137.6633 | 5.8613 | 146.4133 | 25.5467 | 888 | 23.1113 | 21.8667
2020-04-28 17:45:00 | 4.9327 | 158.0733 | 5.1547 | 138.2493 | 5.396 | 154.596 | 5.6853 | 138.9573 | 25.24 | 888 | 24.3293 | 19.3233
2020-04-28 18:00:00 | 4.442 | 156.7933 | 4.6727 | 144.398 | 4.802 | 153.3433 | 5.1367 | 145.1373 | 25.2067 | 888 | 24.7033 | 17.1607
2020-04-28 18:15:00 | 4.2527 | 158.7667 | 4.4553 | 141.7313 | 4.7027 | 155.274 | 4.9587 | 142.4567 | 25.0933 | 887 | 24.858 | 16.7533
2020-04-28 18:30:00 | 4.8167 | 153.0667 | 5.0633 | 140.108 | 5.072 | 149.6993 | 5.4653 | 140.824 | 24.8067 | 887 | 26.3987 | 16.88
2020-04-28 18:45:00 | 4.8327 | 154.24 | 5.01 | 143.1467 | 5.062 | 150.8467 | 5.3373 | 143.8793 | 24.6733 | 887 | 27.5707 | 16.548
2020-04-28 19:00:00 | 4.6 | 155.26 | 4.816 | 138.4453 | 4.8967 | 151.8433 | 5.2233 | 139.154 | 24.5 | 887 | 27.552 | 16.6593
2020-04-28 19:15:00 | 4.078 | 154.62 | 4.354 | 147.5393 | 4.4733 | 151.218 | 4.8833 | 148.294 | 24.3133 | 887 | 27.0793 | 16.1773
2020-04-28 19:30:00 | 3.7273 | 153.8 | 3.97 | 151.336 | 4.0553 | 150.4167 | 4.4227 | 152.108 | 24.02 | 886.3333 | 27.8233 | 14.996
2020-04-28 19:45:00 | 3.7233 | 161.92 | 3.946 | 156.6487 | 3.856 | 158.5993 | 4.2387 | 157.45 | 23.8667 | 886 | 29.0353 | 14.8047
2020-04-28 20:00:00 | 3.5047 | 166.5267 | 3.6333 | 161.0967 | 3.6607 | 162.8633 | 3.862 | 161.92 | 23.68 | 886 | 29.9327 | 14.6433
2020-04-28 20:15:00 | 3.2227 | 157.6133 | 3.3427 | 161.826 | 3.2833 | 154.1447 | 3.5 | 162.654 | 23.4933 | 886 | 30.55 | 12.538
2020-04-28 20:30:00 | 2.9573 | 164.58 | 3.1167 | 153.1167 | 3.192 | 160.96 | 3.4313 | 153.8987 | 23.3933 | 886 | 31.102 | 10.6353
2020-04-28 20:45:00 | 2.8 | 158.32 | 2.994 | 142.7033 | 3.124 | 154.8367 | 3.398 | 143.4347 | 23.3067 | 886.3333 | 31.346 | 8.6333
2020-04-28 21:00:00 | 2.9493 | 152.16 | 3.1127 | 138.2307 | 3.2133 | 148.812 | 3.4487 | 138.9387 | 23.1667 | 887 | 31.5147 | 7.676
2020-04-28 21:15:00 | 2.9733 | 147.2933 | 3.082 | 142.8193 | 3.2993 | 144.0533 | 3.412 | 143.5513 | 23.0867 | 887 | 32.154 | 7.1533
2020-04-28 21:30:00 | 3.018 | 143.3467 | 3.102 | 143.1593 | 3.2507 | 140.1927 | 3.3453 | 143.892 | 23.0267 | 887 | 34.3613 | 7.266
2020-04-28 21:45:00 | 2.7213 | 140.9867 | 2.8353 | 134.0953 | 3.034 | 137.884 | 3.1633 | 134.7813 | 22.6933 | 887 | 35.798 | 5.944
2020-04-28 22:00:00 | 2.4013 | 134.6733 | 2.5233 | 134.6313 | 2.704 | 131.71 | 2.8473 | 135.322 | 22.7267 | 887 | 36.2267 | 4.308
2020-04-28 22:15:00 | 1.9833 | 133.4467 | 2.0967 | 145.9773 | 2.3933 | 130.5113 | 2.4893 | 146.7233 | 22.6 | 887 | 36.81 | 2.7353
2020-04-28 22:30:00 | 1.738 | 129.0933 | 1.7693 | 144.718 | 2.0373 | 126.254 | 2.0087 | 145.4567 | 22.56 | 887 | 36.7267 | 2.6793
2020-04-28 22:45:00 | 1.952 | 136.4467 | 2.0347 | 133.2567 | 2.34 | 133.4447 | 2.3873 | 133.9367 | 22.5267 | 887 | 36.7367 | 3.3713
2020-04-28 23:00:00 | 1.9087 | 114.9133 | 2.0147 | 131.4093 | 2.222 | 112.3847 | 2.332 | 132.0827 | 22.48 | 887 | 36.8567 | 2.5687
2020-04-28 23:15:00 | 1.9647 | 120.7667 | 2.0407 | 127.454 | 2.21 | 118.1087 | 2.2827 | 128.1033 | 22.3933 | 887 | 37.108 | 2.2287
2020-04-28 23:30:00 | 2.1893 | 126.36 | 2.2893 | 130.5893 | 2.4573 | 123.5807 | 2.5647 | 131.2553 | 22.3533 | 887 | 36.726 | 2.3753
2020-04-28 23:45:00 | 2.2493 | 125.4533 | 2.3413 | 121.2133 | 2.5733 | 122.6933 | 2.654 | 121.8327 | 22.2 | 887 | 36.9507 | 2.2533