## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-29 00:00:00 | 2.0436 | 123.7357 | 2.17 | 120.6429 | 2.3671 | 121.0136 | 2.5107 | 121.2593 | 22.2357 | 887 | 37.3243 | 1.318
2020-04-29 00:15:00 | 2.144 | 132.5333 | 2.274 | 122.8307 | 2.444 | 129.6173 | 2.6033 | 123.4587 | 22.1867 | 887 | 37.0207 | 1.378
2020-04-29 00:30:00 | 2.008 | 134.6933 | 2.0887 | 126.7487 | 2.2307 | 131.7307 | 2.3233 | 127.3967 | 22.1 | 887 | 37.5233 | 1.064
2020-04-29 00:45:00 | 1.9873 | 142.3267 | 2.096 | 128.836 | 2.2247 | 139.1953 | 2.3653 | 129.4927 | 22.06 | 886 | 37.644 | 1.2133
2020-04-29 01:00:00 | 2.038 | 143.6733 | 2.156 | 135.836 | 2.364 | 140.9493 | 2.4947 | 136.5307 | 22.1133 | 886 | 38.4687 | 1.2407
2020-04-29 01:15:00 | 2.044 | 143.7667 | 2.1593 | 137.3947 | 2.3147 | 140.604 | 2.4567 | 138.1 | 22.1133 | 886 | 40.5353 | 1.282
2020-04-29 01:30:00 | 1.872 | 143.4333 | 1.9293 | 141.6347 | 2.1113 | 140.2773 | 2.154 | 142.3587 | 21.9133 | 886 | 40.2273 | 1.114
2020-04-29 01:45:00 | 2.212 | 142.9267 | 2.29 | 146.1847 | 2.3933 | 139.7833 | 2.49 | 146.934 | 21.3 | 886 | 42.4613 | 1.568
2020-04-29 02:00:00 | 2.0613 | 140.8067 | 2.1113 | 137.2987 | 2.2847 | 137.7087 | 2.3153 | 138.0007 | 21.6267 | 886 | 43.3587 | 2.466
2020-04-29 02:15:00 | 1.9373 | 145.14 | 1.972 | 138.2107 | 2.1013 | 141.948 | 2.1207 | 138.9173 | 21.6467 | 886 | 43.1453 | 1.0433
2020-04-29 02:30:00 | 1.6427 | 124.6667 | 1.73 | 144.0793 | 1.676 | 121.924 | 1.8327 | 144.8153 | 21.54 | 885.3333 | 42.69 | 0.23
2020-04-29 02:45:00 | 1.384 | 120.18 | 1.4893 | 130.1447 | 1.4867 | 117.5373 | 1.658 | 130.8127 | 21.52 | 885 | 43.6987 | 0
2020-04-29 03:00:00 | 0.91667 | 133.8733 | 0.98133 | 95.9413 | 0.85267 | 130.928 | 0.99467 | 96.4333 | 21.04 | 885 | 44.6913 | 0
2020-04-29 03:15:00 | 0.66867 | 140.2933 | 0.734 | 124.492 | 0.562 | 137.2073 | 0.71867 | 125.1287 | 21.0067 | 885 | 43.9447 | 0.52733
2020-04-29 03:30:00 | 0.71467 | 179.7467 | 0.718 | 172.9633 | 0.62467 | 175.7927 | 0.65467 | 173.846 | 20.9 | 885 | 42.7407 | 0.86067
2020-04-29 03:45:00 | 0.996 | 191.8067 | 0.924 | 178.596 | 0.86133 | 188.7087 | 0.76533 | 179.5087 | 21.08 | 885 | 43.8607 | 0.79733
2020-04-29 04:00:00 | 0.92133 | 238.16 | 0.91133 | 187.386 | 0.94867 | 232.92 | 0.924 | 188.342 | 20.9733 | 885 | 46.318 | 0.69533
2020-04-29 04:15:00 | 0.77067 | 260.06 | 0.74667 | 213.3987 | 0.726 | 254.3393 | 0.69467 | 214.4893 | 20.8733 | 885 | 49.3693 | 0.49667
2020-04-29 04:30:00 | 0.83067 | 275.3 | 0.84 | 225.5787 | 1.05 | 269.2427 | 1.0027 | 226.7313 | 20.8 | 885 | 52.1053 | 0.050667
2020-04-29 04:45:00 | 1.3227 | 311.3 | 1.3453 | 296.8087 | 1.948 | 304.4507 | 1.8113 | 298.3273 | 20.6133 | 885 | 52.996 | 0
2020-04-29 05:00:00 | 1.4113 | 311 | 1.4547 | 294.7307 | 1.888 | 304.1587 | 1.832 | 296.2367 | 20.6933 | 885 | 54.1053 | 0
2020-04-29 05:15:00 | 1.4287 | 326.4467 | 1.444 | 314.7453 | 1.95 | 319.2647 | 1.8273 | 316.3553 | 20.5067 | 885 | 52.8027 | 0
2020-04-29 05:30:00 | 1.5513 | 310.28 | 1.6047 | 324.2787 | 2.0807 | 303.4533 | 2.028 | 325.936 | 20.4267 | 885 | 51.6207 | 0
2020-04-29 05:45:00 | 1.9547 | 298.38 | 1.988 | 328.6727 | 2.4707 | 291.8167 | 2.3867 | 330.3533 | 19.8533 | 885 | 52.0227 | 0.27267
2020-04-29 06:00:00 | 2.19 | 322.7733 | 2.2333 | 325.0733 | 2.7353 | 315.6733 | 2.6627 | 326.7367 | 19.5667 | 885 | 52.2087 | 0.874
2020-04-29 06:15:00 | 2.2333 | 185.2133 | 2.2733 | 328.3473 | 2.7373 | 181.1387 | 2.6653 | 330.0253 | 19.06 | 885 | 52.9093 | 1.1073
2020-04-29 06:30:00 | 2.438 | 187.5533 | 2.4707 | 330.466 | 3.032 | 183.428 | 2.924 | 332.1553 | 18.86 | 885 | 53.398 | 1.7493
2020-04-29 06:45:00 | 2.788 | 186.7 | 2.7833 | 327.532 | 3.4707 | 182.5927 | 3.2653 | 329.2073 | 18.8 | 885 | 53.7247 | 3.7387
2020-04-29 07:00:00 | 3.2407 | 184.34 | 3.2533 | 321.5673 | 4.1593 | 180.2847 | 3.9187 | 323.212 | 18.5667 | 885 | 54.848 | 5.8587
2020-04-29 07:15:00 | 3.6673 | 314.2933 | 3.7187 | 320.6607 | 4.7747 | 307.3793 | 4.554 | 322.3 | 18.2733 | 885 | 57.2273 | 9.196
2020-04-29 07:30:00 | 4.1033 | 334.32 | 4.2187 | 319.6827 | 5.26 | 326.9633 | 5.1433 | 321.3167 | 18.3733 | 885 | 57.674 | 12.1907
2020-04-29 07:45:00 | 4.3687 | 345.2733 | 4.5373 | 324.5847 | 5.5547 | 337.6773 | 5.53 | 326.246 | 18.2333 | 885 | 58.626 | 14.902
2020-04-29 08:00:00 | 4.348 | 344.54 | 4.4927 | 328.1853 | 5.5073 | 336.9593 | 5.4507 | 329.8613 | 18.3 | 885 | 58.8693 | 14.3227
2020-04-29 08:15:00 | 4.2693 | 348.64 | 4.4293 | 335.402 | 5.368 | 340.97 | 5.356 | 337.1167 | 18.5467 | 885.3333 | 58.846 | 13.3867
2020-04-29 08:30:00 | 3.7887 | 317.7 | 3.8687 | 329.1747 | 4.8527 | 310.7107 | 4.6913 | 330.858 | 18.7733 | 886 | 59.0693 | 10.1227
2020-04-29 08:45:00 | 3.2727 | 308.1867 | 3.1987 | 325.0213 | 4.0827 | 301.752 | 3.708 | 326.6833 | 19.02 | 886 | 58.2113 | 8.5927
2020-04-29 09:00:00 | 3.3767 | 279.1333 | 3.3173 | 326.7893 | 4.242 | 272.9927 | 3.886 | 328.46 | 18.9533 | 886 | 57.2173 | 8.2547
2020-04-29 09:15:00 | 3.5473 | 337.2733 | 3.564 | 320.8427 | 4.348 | 329.8533 | 4.1453 | 322.484 | 18.98 | 886.3333 | 56.8373 | 8.1713
2020-04-29 09:30:00 | 3.992 | 311.52 | 4.1093 | 321.246 | 5.018 | 304.666 | 4.9473 | 322.888 | 19.22 | 887 | 57.392 | 10.632
2020-04-29 09:45:00 | 3.2947 | 239.5267 | 3.288 | 325.4267 | 4.2753 | 234.2573 | 3.98 | 327.0913 | 19.34 | 887 | 57.7627 | 6.5527
2020-04-29 10:00:00 | 2.9707 | 308.5533 | 3.026 | 318.6067 | 3.338 | 301.7653 | 3.3373 | 320.2353 | 19.5067 | 887 | 58.1287 | 3.9067
2020-04-29 10:15:00 | 3.1227 | 334.0733 | 3.226 | 325.276 | 3.7087 | 326.7233 | 3.738 | 326.9387 | 19.7 | 887 | 58.1793 | 4.304
2020-04-29 10:30:00 | 3.046 | 270.6733 | 3.1487 | 325.0653 | 3.6233 | 264.7187 | 3.6493 | 326.7293 | 19.76 | 887 | 54.946 | 4.226
2020-04-29 10:45:00 | 2.3747 | 284.9267 | 2.306 | 324.5127 | 2.9447 | 278.6587 | 2.652 | 326.1727 | 20.1133 | 887.3333 | 51.938 | 2.466
2020-04-29 11:00:00 | 1.992 | 264.7 | 1.9327 | 328.6933 | 2.45 | 258.8767 | 2.2067 | 330.3733 | 20.7867 | 888 | 49.7347 | 0.784
2020-04-29 11:15:00 | 1.8367 | 172.46 | 1.8007 | 326.398 | 2.192 | 168.6647 | 2.02 | 328.0667 | 21.4467 | 888 | 46.056 | 0.20533
2020-04-29 11:30:00 | 1.4433 | 144.3333 | 1.4547 | 266.506 | 1.686 | 141.16 | 1.64 | 267.868 | 22.3333 | 888 | 45.6333 | 0
2020-04-29 11:45:00 | 0.87733 | 151.4067 | 0.942 | 223.422 | 0.95733 | 148.0747 | 1.0607 | 224.5627 | 23.5467 | 888 | 43.068 | 0
2020-04-29 12:00:00 | 1.2447 | 140.5467 | 1.34 | 135.4473 | 1.348 | 137.454 | 1.4993 | 136.14 | 24.76 | 888 | 41.7133 | 0
2020-04-29 12:15:00 | 1.7533 | 173.3733 | 1.8447 | 126.8913 | 1.9393 | 169.2993 | 2.0527 | 127.5413 | 24.38 | 888 | 38.9673 | 0
2020-04-29 12:30:00 | 1.6873 | 180.8933 | 1.7353 | 138.694 | 1.7967 | 176.9133 | 1.8533 | 139.402 | 24.66 | 888 | 38.8407 | 0
2020-04-29 12:45:00 | 1.888 | 183.08 | 1.938 | 135.5047 | 2.1253 | 179.0533 | 2.1567 | 136.1987 | 24.5333 | 888 | 39.1033 | 0
2020-04-29 13:00:00 | 1.6667 | 186.7267 | 1.6667 | 132.742 | 1.8413 | 182.6193 | 1.7907 | 133.4187 | 24.32 | 888 | 39.578 | 0
2020-04-29 13:15:00 | 1.8567 | 152.44 | 1.9173 | 138.086 | 2.0093 | 149.0853 | 2.0767 | 138.7933 | 24.9 | 888 | 38.542 | 0
2020-04-29 13:30:00 | 1.99 | 159.62 | 2.0727 | 120.4233 | 2.2467 | 156.1073 | 2.3307 | 121.0393 | 25.3267 | 888 | 35.99 | 0
2020-04-29 13:45:00 | 2.152 | 171.7267 | 2.2227 | 129.3053 | 2.68 | 168.072 | 2.6567 | 129.9653 | 25.56 | 888 | 32.9393 | 0
2020-04-29 14:00:00 | 2.068 | 173.7533 | 2.1233 | 122.4253 | 2.498 | 169.9307 | 2.478 | 123.0527 | 26.18 | 888 | 30.2573 | 0
2020-04-29 14:15:00 | 2.0173 | 159.3467 | 2.158 | 127.0087 | 2.3773 | 155.8407 | 2.542 | 127.658 | 26.4467 | 887.6667 | 28.8973 | 0.018667
2020-04-29 14:30:00 | 2.2987 | 152.0867 | 2.3847 | 139.0853 | 2.654 | 148.7413 | 2.7187 | 139.7953 | 26.2067 | 887.6667 | 28.6653 | 0.27667
2020-04-29 14:45:00 | 2.6513 | 158.96 | 2.7467 | 137.8973 | 3.0813 | 155.6067 | 3.1307 | 138.6033 | 26.1533 | 887 | 27.5413 | 1.3447
2020-04-29 15:00:00 | 2.7493 | 154.5133 | 2.8693 | 129.918 | 3.1973 | 151.114 | 3.2993 | 130.5813 | 25.9867 | 887 | 27.4527 | 2.196
2020-04-29 15:15:00 | 2.7987 | 156.5 | 2.9153 | 140.7473 | 3.0633 | 153.058 | 3.2113 | 141.4667 | 26.1333 | 887 | 26.04 | 2.516
2020-04-29 15:30:00 | 2.1147 | 200.2 | 2.1647 | 136.7367 | 2.46 | 195.7953 | 2.458 | 137.4367 | 26.2667 | 887 | 26.7493 | 0.92333
2020-04-29 15:45:00 | 1.9467 | 172.8733 | 2.1307 | 168.6207 | 2.2293 | 169.0707 | 2.4967 | 169.4813 | 26.6533 | 887 | 26.1233 | 0
2020-04-29 16:00:00 | 2.612 | 163.5133 | 2.746 | 158.592 | 3.0373 | 158.2193 | 3.178 | 157.122 | 26.6533 | 887 | 25.9553 | 1.234
2020-04-29 16:15:00 | 2.3773 | 172.14 | 2.478 | 129.9833 | 2.706 | 168.354 | 2.8027 | 130.6473 | 26.8533 | 887 | 25.716 | 1.358
2020-04-29 16:30:00 | 2.8493 | 149.2867 | 2.8627 | 139.6867 | 3.1287 | 146.0013 | 3.0753 | 140.3987 | 26.6733 | 887 | 27.4727 | 2.344
2020-04-29 16:45:00 | 2.3853 | 177.1467 | 2.4453 | 149.0013 | 2.5153 | 173.25 | 2.5947 | 149.7633 | 26.82 | 887 | 28.458 | 2.6193
2020-04-29 17:00:00 | 2.7613 | 173.1867 | 2.9047 | 147.136 | 3.028 | 169.3753 | 3.2213 | 147.8887 | 26.8067 | 887 | 28.9433 | 3.34
2020-04-29 17:15:00 | 3.0687 | 154.0933 | 3.3427 | 145.5653 | 3.6093 | 150.7033 | 3.968 | 146.312 | 26.9733 | 887 | 30.0453 | 8.2633
2020-04-29 17:30:00 | 5.6313 | 155.6667 | 5.8547 | 138.9273 | 6.0147 | 152.242 | 6.3307 | 139.638 | 25.5067 | 887 | 34.6533 | 26.692
2020-04-29 17:45:00 | 5.1827 | 160.2533 | 5.422 | 137.962 | 5.4907 | 156.7287 | 5.8553 | 138.668 | 25.2267 | 887 | 39.7427 | 27.252
2020-04-29 18:00:00 | 4.9787 | 163.3067 | 5.224 | 141.914 | 5.0007 | 159.714 | 5.4633 | 142.6393 | 24.8267 | 886.3333 | 41.124 | 27.29
2020-04-29 18:15:00 | 4.4387 | 162.54 | 4.7573 | 148.2387 | 4.5433 | 159.2053 | 5.1207 | 148.9967 | 24.52 | 886 | 42.126 | 25.546
2020-04-29 18:30:00 | 4.1587 | 158.5133 | 4.4467 | 151.7527 | 4.4373 | 155.026 | 4.906 | 152.528 | 24.04 | 886 | 43.12 | 25.184
2020-04-29 18:45:00 | 3.948 | 168.4667 | 4.19 | 151.1147 | 4.0773 | 164.466 | 4.4967 | 151.888 | 23.56 | 886 | 43.832 | 23.2767
2020-04-29 19:00:00 | 4.4353 | 162.3933 | 4.6187 | 144.4633 | 4.392 | 158.638 | 4.748 | 145.2027 | 23.34 | 886 | 44.4513 | 25.7233
2020-04-29 19:15:00 | 4.5407 | 158.0533 | 4.692 | 144.9527 | 4.49 | 154.576 | 4.7933 | 145.6953 | 23.1667 | 886 | 44.266 | 24.4073
2020-04-29 19:30:00 | 4.702 | 156.0067 | 4.8787 | 143.154 | 4.9633 | 153.4167 | 5.222 | 143.8853 | 22.94 | 886 | 44.3687 | 24.9193
2020-04-29 19:45:00 | 4.6633 | 155.62 | 4.9273 | 140.7087 | 4.998 | 152.1967 | 5.4013 | 141.4273 | 22.5933 | 886 | 44.2307 | 25.0193
2020-04-29 20:00:00 | 4.0647 | 155.3467 | 4.3 | 144.1833 | 4.514 | 151.9273 | 4.8333 | 144.9213 | 22.38 | 886 | 44.414 | 19.2233
2020-04-29 20:15:00 | 3.7427 | 156.2267 | 3.936 | 157.848 | 3.9907 | 152.7893 | 4.2893 | 158.656 | 22.2667 | 886 | 44.3753 | 17.7407
2020-04-29 20:30:00 | 3.254 | 161 | 3.4033 | 166.9433 | 3.538 | 157.4587 | 3.744 | 167.7987 | 22.1667 | 886 | 45.648 | 14.1093
2020-04-29 20:45:00 | 3.3807 | 157.76 | 3.4953 | 157.4253 | 3.592 | 154.2893 | 3.752 | 158.2293 | 22.0467 | 886 | 45.9373 | 15.018
2020-04-29 21:00:00 | 3.276 | 154.7067 | 3.358 | 144.5147 | 3.536 | 151.3027 | 3.6167 | 145.2547 | 21.8 | 886 | 47.1327 | 13.75
2020-04-29 21:15:00 | 3.606 | 144.9667 | 3.7667 | 144.7307 | 4.082 | 141.7767 | 4.25 | 145.47 | 21.62 | 887 | 48.2493 | 14.4993
2020-04-29 21:30:00 | 3.7247 | 134.8133 | 3.8647 | 134.326 | 4.2273 | 131.8467 | 4.3487 | 135.014 | 21.3667 | 887 | 48.188 | 11.6127
2020-04-29 21:45:00 | 3.548 | 137.1867 | 3.7167 | 134.788 | 4.0367 | 134.1693 | 4.2153 | 135.478 | 21.2067 | 887 | 49.1067 | 9.212
2020-04-29 22:00:00 | 2.994 | 139.28 | 3.1507 | 129.4407 | 3.4007 | 136.216 | 3.5833 | 130.1027 | 21.0733 | 887 | 50.0727 | 7.482
2020-04-29 22:15:00 | 2.766 | 135.2667 | 2.884 | 128.4367 | 3.1107 | 132.2913 | 3.2367 | 129.0947 | 21.0333 | 887 | 50.28 | 6.1227
2020-04-29 22:30:00 | 2.9567 | 135.4733 | 3.068 | 128.1567 | 3.2587 | 132.4927 | 3.3833 | 128.8113 | 21.2067 | 887 | 49.9693 | 5.9873
2020-04-29 22:45:00 | 2.542 | 137.1467 | 2.6673 | 132.004 | 2.8827 | 134.1293 | 3.0207 | 132.6767 | 20.9933 | 887 | 50.618 | 3.664
2020-04-29 23:00:00 | 2.2507 | 135.4533 | 2.358 | 136.9393 | 2.594 | 132.8 | 2.7007 | 137.6393 | 20.88 | 887 | 50.236 | 2.2587
2020-04-29 23:15:00 | 2.0627 | 138.3333 | 2.15 | 144.02 | 2.2167 | 135.2907 | 2.3387 | 144.758 | 21.0467 | 887 | 50.0673 | 2.0953
2020-04-29 23:30:00 | 2.1173 | 157.96 | 2.186 | 145.358 | 2.2273 | 154.4853 | 2.3247 | 146.1 | 21.18 | 887 | 49.912 | 2.0133
2020-04-29 23:45:00 | 2.2593 | 171.2467 | 2.346 | 154.262 | 2.4187 | 167.4327 | 2.5353 | 155.0507 | 21.22 | 887 | 50.3833 | 2.306