## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-04-30 00:00:00 | 1.8164 | 162.3571 | 1.9221 | 158.1293 | 2.1243 | 158.7857 | 2.2336 | 158.9364 | 21.1143 | 887 | 50.6164 | 1.144
2020-04-30 00:15:00 | 1.716 | 174.6667 | 1.786 | 167.088 | 1.8773 | 170.8247 | 1.9667 | 167.9413 | 21.1467 | 887 | 51.0847 | 0.498
2020-04-30 00:30:00 | 1.6613 | 170.4267 | 1.744 | 156.7273 | 1.868 | 166.678 | 1.968 | 157.528 | 21.1 | 887 | 51.3833 | 0.372
2020-04-30 00:45:00 | 1.136 | 134.0067 | 1.1813 | 140.4027 | 1.302 | 131.0593 | 1.3413 | 141.12 | 21.1533 | 887 | 51.9913 | 0
2020-04-30 01:00:00 | 1.108 | 106.2 | 1.2073 | 117.6213 | 1.298 | 103.864 | 1.4287 | 118.2227 | 21.1067 | 887 | 51.246 | 0
2020-04-30 01:15:00 | 1.116 | 116.9867 | 1.2167 | 121.7213 | 1.2867 | 114.414 | 1.4293 | 122.3453 | 21.1333 | 886.6667 | 50.3067 | 0
2020-04-30 01:30:00 | 1.1493 | 120.8067 | 1.2307 | 122.8247 | 1.268 | 118.1487 | 1.3893 | 123.4513 | 21.1733 | 886 | 50.0813 | 0
2020-04-30 01:45:00 | 0.97333 | 119.8533 | 1.0713 | 143.4007 | 1.032 | 117.3147 | 1.1967 | 144.1347 | 21.1733 | 886 | 51.1307 | 0
2020-04-30 02:00:00 | 0.90067 | 153.9667 | 0.91533 | 177.5387 | 0.93333 | 150.5787 | 0.95 | 178.4467 | 21.1933 | 886 | 51.8847 | 0
2020-04-30 02:15:00 | 0.892 | 183.88 | 0.92067 | 171.352 | 0.98733 | 179.8347 | 1.012 | 172.2293 | 21.1867 | 886 | 51.3307 | 0
2020-04-30 02:30:00 | 0.92267 | 202.8133 | 0.96867 | 160.5227 | 0.91733 | 198.3513 | 1.006 | 161.344 | 21.1667 | 886 | 53.3107 | 0
2020-04-30 02:45:00 | 0.55467 | 190.84 | 0.57533 | 160.4567 | 0.58733 | 186.642 | 0.618 | 161.278 | 21.0933 | 886 | 54.372 | 0
2020-04-30 03:00:00 | 0.34333 | 171.0733 | 0.35267 | 160.4833 | 0.35667 | 167.31 | 0.374 | 161.3047 | 21.08 | 886 | 55.318 | 0
2020-04-30 03:15:00 | 0.16533 | 75.26 | 0.19133 | 192.0007 | 0.25 | 73.6047 | 0.27667 | 192.982 | 21.22 | 886 | 57.07 | 0
2020-04-30 03:30:00 | 0.34067 | 88.8733 | 0.35933 | 78.6907 | 0.386 | 86.9187 | 0.41 | 79.0927 | 21.1 | 885.3333 | 59.0933 | 0
2020-04-30 03:45:00 | 0.47533 | 97.92 | 0.512 | 84.5447 | 0.51733 | 95.7667 | 0.57467 | 84.9767 | 20.9267 | 885 | 59.0107 | 0
2020-04-30 04:00:00 | 0.58667 | 104.74 | 0.632 | 88.0193 | 0.628 | 102.4373 | 0.704 | 88.4713 | 20.9733 | 885 | 58.8973 | 0
2020-04-30 04:15:00 | 0.72333 | 99.1267 | 0.746 | 108.0633 | 0.73867 | 96.9447 | 0.778 | 108.6153 | 20.8467 | 885 | 59.4373 | 0
2020-04-30 04:30:00 | 0.55667 | 66.5333 | 0.538 | 113.7547 | 0.46067 | 65.0693 | 0.45267 | 114.336 | 20.6867 | 885 | 59.0347 | 0
2020-04-30 04:45:00 | 0.47267 | 90.6667 | 0.50067 | 85.0073 | 0.63467 | 88.6727 | 0.64067 | 85.4427 | 20.6133 | 885.6667 | 59.7487 | 0
2020-04-30 05:00:00 | 0.53333 | 150.6667 | 0.56333 | 76.6753 | 0.83467 | 148.5 | 0.81 | 77.0673 | 20.6133 | 885 | 60.954 | 0
2020-04-30 05:15:00 | 0.43067 | 328.2067 | 0.46667 | 154.0687 | 0.62133 | 320.9867 | 0.63467 | 154.8547 | 20.4467 | 885 | 61.646 | 0
2020-04-30 05:30:00 | 0.57733 | 322.3533 | 0.63667 | 204.8447 | 0.67667 | 315.2613 | 0.76067 | 205.8927 | 20.2333 | 885 | 61.5333 | 0
2020-04-30 05:45:00 | 0.47533 | 333.9 | 0.51133 | 189.3667 | 0.62133 | 325.882 | 0.65267 | 190.3353 | 20.3933 | 885.3333 | 61.3507 | 0
2020-04-30 06:00:00 | 0.31133 | 252.8733 | 0.31933 | 156.388 | 0.54667 | 247.3113 | 0.49533 | 157.188 | 20.2333 | 886 | 62.642 | 0
2020-04-30 06:15:00 | 0.3 | 271.4067 | 0.31 | 232.8353 | 0.54533 | 265.4347 | 0.49267 | 234.0253 | 20.2333 | 886 | 64.3233 | 0
2020-04-30 06:30:00 | 0.434 | 332.3 | 0.5 | 187.8473 | 0.688 | 324.9893 | 0.73667 | 188.808 | 20.2867 | 886 | 66.8687 | 0
2020-04-30 06:45:00 | 0.37467 | 277.04 | 0.42733 | 297.1027 | 0.62067 | 270.9447 | 0.64667 | 298.622 | 20.38 | 886 | 67 | 0
2020-04-30 07:00:00 | 0.58933 | 188.8467 | 0.57933 | 132.082 | 0.94933 | 184.6933 | 0.82667 | 132.7587 | 20.1933 | 886 | 67.2513 | 0
2020-04-30 07:15:00 | 1.1107 | 63.2133 | 1.0593 | 331.9607 | 1.6673 | 61.8227 | 1.408 | 333.6567 | 19.9733 | 886 | 68.1373 | 0
2020-04-30 07:30:00 | 0.738 | 293.2 | 0.72133 | 302.326 | 1.212 | 286.7487 | 1.042 | 303.8713 | 20.1733 | 886 | 67.196 | 0
2020-04-30 07:45:00 | 1.668 | 280.3867 | 1.7127 | 316.142 | 2.254 | 274.22 | 2.166 | 317.758 | 19.7267 | 886.3333 | 66.5607 | 0
2020-04-30 08:00:00 | 1.8913 | 318.2 | 1.9413 | 316.9567 | 2.2307 | 311.198 | 2.2293 | 318.576 | 19.4 | 887 | 66.3807 | 0
2020-04-30 08:15:00 | 1.9533 | 342.0867 | 2.0007 | 320.026 | 2.2213 | 334.56 | 2.234 | 321.6627 | 20.2267 | 887 | 64.1347 | 0
2020-04-30 08:30:00 | 2.0827 | 337.38 | 2.086 | 317.8753 | 2.4367 | 329.9567 | 2.3373 | 319.502 | 20.0467 | 887.6667 | 62.7447 | 0
2020-04-30 08:45:00 | 2.076 | 233.0333 | 2.012 | 316.826 | 2.644 | 227.9067 | 2.3613 | 318.4467 | 20.0933 | 888 | 63.2687 | 0.88333
2020-04-30 09:00:00 | 1.7267 | 120.6667 | 1.6573 | 326.978 | 2.3287 | 114.1787 | 2.02 | 328.6507 | 20.4867 | 888 | 63.0747 | 0.57067
2020-04-30 09:15:00 | 1.7347 | 172.68 | 1.788 | 322.3427 | 2.0647 | 168.8807 | 2.0707 | 323.9907 | 21.0467 | 888 | 60.1073 | 0
2020-04-30 09:30:00 | 1.4193 | 214.1733 | 1.4487 | 274.2567 | 1.626 | 209.4607 | 1.6207 | 275.66 | 20.9067 | 888.6667 | 59.696 | 0
2020-04-30 09:45:00 | 1.1733 | 146.9867 | 1.218 | 251.2087 | 1.306 | 143.752 | 1.3507 | 252.4947 | 21.4467 | 889 | 58.7507 | 0
2020-04-30 10:00:00 | 0.81533 | 68.5867 | 0.876 | 167.388 | 0.866 | 67.076 | 0.96667 | 168.2433 | 22.2333 | 889 | 57.1267 | 0
2020-04-30 10:15:00 | 0.83933 | 94.0933 | 0.83267 | 112.6513 | 1.0413 | 92.024 | 0.97133 | 113.2267 | 22.66 | 889 | 54.086 | 0
2020-04-30 10:30:00 | 1.1373 | 129.8267 | 1.106 | 131.3333 | 1.2373 | 126.9693 | 1.1467 | 132.0033 | 22.4867 | 889 | 51.0813 | 0
2020-04-30 10:45:00 | 1.2547 | 165.52 | 1.2547 | 140.1073 | 1.5067 | 161.8793 | 1.4387 | 140.8247 | 22.3067 | 889 | 53.2733 | 0
2020-04-30 11:00:00 | 1.98 | 174.9 | 1.988 | 128.3333 | 2.1793 | 171.0513 | 2.142 | 128.99 | 22.5733 | 889 | 54.6553 | 0
2020-04-30 11:15:00 | 2.15 | 177.8333 | 2.1753 | 129.584 | 2.3347 | 173.9213 | 2.334 | 130.2487 | 22.66 | 889 | 51.282 | 0.009333
2020-04-30 11:30:00 | 2.266 | 183.9333 | 2.3587 | 128.0267 | 2.7127 | 179.8867 | 2.7613 | 128.6807 | 22.9 | 889 | 46.7693 | 0.526
2020-04-30 11:45:00 | 2.304 | 173.8333 | 2.3727 | 124.8193 | 2.544 | 174.0447 | 2.6147 | 125.4573 | 23.0667 | 889 | 45.614 | 0.17133
2020-04-30 12:00:00 | 2.2467 | 173.4667 | 2.318 | 121.4347 | 2.6427 | 169.6493 | 2.6647 | 122.0553 | 23.4733 | 889 | 45.0453 | 0.21667
2020-04-30 12:15:00 | 2.424 | 171.2867 | 2.49 | 126.964 | 2.9767 | 167.518 | 2.9427 | 127.6133 | 23.8867 | 889 | 43.7167 | 1.0507
2020-04-30 12:30:00 | 2.3113 | 203.94 | 2.364 | 119.2693 | 2.7293 | 199.4527 | 2.708 | 119.8793 | 24.24 | 889 | 42.5067 | 0.82933
2020-04-30 12:45:00 | 2.6113 | 187.7733 | 2.6753 | 144.3927 | 3.2107 | 183.6413 | 3.1607 | 145.1293 | 24.4667 | 889 | 42.584 | 1.6933
2020-04-30 13:00:00 | 2.5293 | 168.4667 | 2.562 | 125.0493 | 2.9833 | 164.7607 | 2.914 | 125.6873 | 24.68 | 889 | 41.5013 | 1.674
2020-04-30 13:15:00 | 2.5247 | 168.1467 | 2.568 | 146.5107 | 2.9433 | 164.448 | 2.908 | 147.26 | 25.0667 | 888 | 41.1833 | 1.7907
2020-04-30 13:30:00 | 2.6593 | 182.54 | 2.7727 | 136.2033 | 3.05 | 176.5693 | 3.1493 | 136.8993 | 25.38 | 888 | 41.0993 | 2.1813
2020-04-30 13:45:00 | 2.6527 | 174.0133 | 2.7553 | 148.6107 | 3.07 | 170.1853 | 3.142 | 149.37 | 26.02 | 888 | 40.504 | 1.9693
2020-04-30 14:00:00 | 2.5467 | 177.28 | 2.6173 | 138.4527 | 2.8527 | 173.3793 | 2.9007 | 139.1607 | 26.1467 | 888 | 39.942 | 0.916
2020-04-30 14:15:00 | 2.3033 | 179.16 | 2.3233 | 127.682 | 2.5327 | 175.3747 | 2.5087 | 128.332 | 26.26 | 888 | 38.6833 | 0.7
2020-04-30 14:30:00 | 2.1393 | 168.8867 | 2.2333 | 131.782 | 2.6 | 165.1713 | 2.644 | 132.4567 | 26.8533 | 888 | 37.2947 | 0.602
2020-04-30 14:45:00 | 2.6513 | 169.6333 | 2.7333 | 139.9507 | 3.0607 | 165.9007 | 3.0987 | 140.666 | 27.0533 | 887.6667 | 35.994 | 0.97267
2020-04-30 15:00:00 | 2.4927 | 206.8267 | 2.536 | 140.1933 | 2.9407 | 202.2753 | 2.894 | 140.91 | 26.98 | 887.6667 | 35.2427 | 1.6107
2020-04-30 15:15:00 | 2.4973 | 202.7067 | 2.5693 | 137.924 | 2.8473 | 198.246 | 2.884 | 138.6287 | 27.3733 | 887.6667 | 34.4053 | 1.8073
2020-04-30 15:30:00 | 2.2427 | 204.9467 | 2.3033 | 143.1467 | 2.4807 | 206.1833 | 2.5233 | 143.8787 | 27.6533 | 887 | 33.984 | 1.38
2020-04-30 15:45:00 | 2.6327 | 187.4 | 2.7447 | 147.222 | 2.83 | 183.2767 | 2.9867 | 147.9747 | 27.7067 | 887 | 33.114 | 2.0107
2020-04-30 16:00:00 | 2.643 | 185.84 | 2.701 | 141.438 | 2.925 | 181.752 | 2.958 | 142.161 | 27.67 | 887 | 33.175 | 3.134
2020-04-30 16:15:00 | 2.9747 | 173.4067 | 3.1173 | 144.0193 | 3.4153 | 169.5907 | 3.56 | 144.758 | 27.6733 | 887 | 33.9227 | 4.9387
2020-04-30 16:30:00 | 3.11 | 181.0333 | 3.3587 | 141.718 | 3.3427 | 177.0513 | 3.748 | 142.444 | 27.86 | 887 | 33.8747 | 6.0387
2020-04-30 16:45:00 | 2.912 | 180.74 | 3.1127 | 154.158 | 2.9907 | 175.642 | 3.3513 | 154.9453 | 27.8667 | 887 | 34.4053 | 7.91
2020-04-30 17:00:00 | 3.12 | 189.1067 | 3.2867 | 141.8953 | 3.28 | 184.9473 | 3.55 | 142.62 | 27.7733 | 887 | 35.3253 | 7.972
2020-04-30 17:15:00 | 3.038 | 193.8733 | 3.2287 | 143.264 | 3.4667 | 189.6093 | 3.7053 | 143.9953 | 27.7467 | 887 | 35.5007 | 8.9293
2020-04-30 17:30:00 | 3.1947 | 192.1067 | 3.4047 | 159.486 | 3.4287 | 187.8793 | 3.7573 | 160.3 | 27.68 | 886.3333 | 36.4947 | 10.0127
2020-04-30 17:45:00 | 2.8747 | 177.56 | 3.0313 | 161.278 | 2.9267 | 173.6533 | 3.2107 | 162.104 | 27.6133 | 886 | 36.802 | 9.0207
2020-04-30 18:00:00 | 3.2947 | 167.2067 | 3.5093 | 163.8153 | 3.5313 | 163.528 | 3.8693 | 164.652 | 27.36 | 886 | 36.208 | 11.9493
2020-04-30 18:15:00 | 3.4133 | 143.8733 | 3.7187 | 158.1353 | 3.8527 | 140.7073 | 4.3073 | 158.9453 | 27.4067 | 886 | 37.5613 | 13.0807
2020-04-30 18:30:00 | 4.0307 | 146.3333 | 4.294 | 142.378 | 4.4507 | 143.112 | 4.834 | 143.1067 | 26.8933 | 886 | 39.958 | 15.0413
2020-04-30 18:45:00 | 3.928 | 153 | 4.1753 | 143.3153 | 4.414 | 149.6333 | 4.744 | 144.048 | 26.4667 | 885.6667 | 42.5787 | 14.7107
2020-04-30 19:00:00 | 4.2487 | 145.4267 | 4.456 | 140.4873 | 4.638 | 142.2267 | 4.9227 | 141.2053 | 26.06 | 885 | 44.28 | 14.946
2020-04-30 19:15:00 | 4.396 | 145.8 | 4.6107 | 138.8573 | 4.772 | 142.5933 | 5.0713 | 139.5667 | 25.68 | 885 | 44.8247 | 15.17
2020-04-30 19:30:00 | 4.4293 | 146.7733 | 4.6153 | 136.4373 | 4.7633 | 143.036 | 5.0187 | 137.1333 | 25.2267 | 885 | 46.096 | 16.75
2020-04-30 19:45:00 | 4.582 | 147.6067 | 4.7433 | 140.0567 | 5.0713 | 144.3593 | 5.2373 | 140.772 | 25.02 | 885 | 46.688 | 19.9113
2020-04-30 20:00:00 | 4.9447 | 147.52 | 5.104 | 136.2613 | 5.4467 | 144.2727 | 5.604 | 136.9593 | 24.7 | 885 | 47.7813 | 22.8213
2020-04-30 20:15:00 | 4.872 | 146.0867 | 5.0933 | 133.928 | 5.4693 | 142.872 | 5.7193 | 134.6127 | 24.32 | 885 | 49.1273 | 23.8127
2020-04-30 20:30:00 | 5.0067 | 146.0667 | 5.2067 | 129.3247 | 5.5867 | 142.8533 | 5.7973 | 129.9853 | 23.8467 | 885 | 52.062 | 25.19
2020-04-30 20:45:00 | 4.5147 | 138.38 | 4.666 | 133.0867 | 5.136 | 135.3367 | 5.252 | 133.7667 | 23.5267 | 885 | 53.7893 | 20.7567
2020-04-30 21:00:00 | 4.3873 | 141.5467 | 4.5187 | 135.2107 | 5.008 | 138.4333 | 5.0853 | 135.9033 | 23.32 | 885.6667 | 55.412 | 19.7427
2020-04-30 21:15:00 | 4.324 | 140.9 | 4.492 | 129.0307 | 4.9993 | 137.8 | 5.1233 | 129.69 | 23.1133 | 886 | 56.5207 | 20.1633
2020-04-30 21:30:00 | 3.9787 | 130.48 | 4.0873 | 133.2153 | 4.6213 | 127.61 | 4.6393 | 133.8967 | 22.92 | 886 | 57.6433 | 18.676
2020-04-30 21:45:00 | 4.0413 | 138.88 | 4.1693 | 130.746 | 4.6927 | 135.8247 | 4.7473 | 131.414 | 22.7867 | 886 | 58.4367 | 16.9027
2020-04-30 22:00:00 | 4.3933 | 146.6267 | 4.5587 | 136.3207 | 4.9293 | 143.4013 | 5.088 | 137.0167 | 22.6867 | 886 | 59.1833 | 18.9067
2020-04-30 22:15:00 | 4.224 | 140.8933 | 4.4193 | 135.8373 | 4.784 | 137.794 | 4.9973 | 136.5327 | 22.42 | 886 | 59.5133 | 16.624
2020-04-30 22:30:00 | 3.944 | 141.7133 | 4.1287 | 135.0887 | 4.4727 | 138.5953 | 4.672 | 135.7773 | 22.32 | 886 | 60.1533 | 14.4807
2020-04-30 22:45:00 | 3.954 | 146.9733 | 4.122 | 135.9553 | 4.4473 | 143.7393 | 4.624 | 136.65 | 22.22 | 886 | 60.5193 | 15.55
2020-04-30 23:00:00 | 3.9147 | 150.2733 | 4.0473 | 145.566 | 4.2873 | 146.9667 | 4.436 | 146.3093 | 22.02 | 886 | 61.2193 | 17.3033
2020-04-30 23:15:00 | 4.0613 | 152.1067 | 4.2307 | 144.0527 | 4.532 | 148.7607 | 4.7187 | 144.79 | 21.84 | 886 | 61.644 | 20.1287
2020-04-30 23:30:00 | 4.3933 | 149.2067 | 4.5587 | 141.8693 | 4.8973 | 145.924 | 5.062 | 142.5947 | 21.7067 | 886 | 62.192 | 21.756
2020-04-30 23:45:00 | 4.614 | 150.3533 | 4.83 | 141.06 | 5.1613 | 147.046 | 5.416 | 141.782 | 21.3733 | 886 | 63.216 | 22.1227