## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-01 00:00:00 | 4.5464 | 152.2143 | 4.7286 | 142.04 | 5.0621 | 148.865 | 5.2593 | 142.7679 | 21.1571 | 886 | 64.3615 | 19.1633
2020-05-01 00:15:00 | 4.3733 | 145.5 | 4.5247 | 144.952 | 4.8933 | 142.9047 | 5.0353 | 146.2173 | 20.9333 | 886 | 65.7873 | 17.556
2020-05-01 00:30:00 | 4.1667 | 146.8933 | 4.2953 | 140.2207 | 4.6053 | 143.662 | 4.7247 | 140.9387 | 20.6933 | 886 | 67.152 | 16.056
2020-05-01 00:45:00 | 4.092 | 137.8667 | 4.22 | 142.5133 | 4.6193 | 134.834 | 4.714 | 143.2427 | 20.54 | 885.6667 | 68.6387 | 15.9247
2020-05-01 01:00:00 | 3.8307 | 141.3933 | 3.9627 | 139.4687 | 4.3047 | 138.282 | 4.4213 | 140.182 | 20.3 | 885 | 69.2213 | 14.0407
2020-05-01 01:15:00 | 3.814 | 141.08 | 3.9847 | 139.86 | 4.302 | 138.0667 | 4.4847 | 140.5753 | 20.1467 | 885 | 70.3813 | 11.8993
2020-05-01 01:30:00 | 3.6233 | 135.12 | 3.7413 | 133.5233 | 3.9773 | 132.1473 | 4.102 | 134.206 | 20.04 | 885 | 71.8127 | 10.19
2020-05-01 01:45:00 | 3.2433 | 136.7 | 3.3827 | 132.584 | 3.6147 | 133.6927 | 3.7727 | 133.2613 | 19.98 | 885 | 72.22 | 8.342
2020-05-01 02:00:00 | 3.19 | 133.0467 | 3.2833 | 132.0167 | 3.542 | 130.12 | 3.6213 | 132.692 | 20.0067 | 885 | 73.6933 | 8.1253
2020-05-01 02:15:00 | 3.062 | 138.32 | 3.1747 | 131.4373 | 3.536 | 135.278 | 3.6093 | 132.11 | 19.7667 | 884 | 74.366 | 8.4873
2020-05-01 02:30:00 | 3.0587 | 139.0933 | 3.1767 | 132.4273 | 3.578 | 136.034 | 3.656 | 133.1053 | 19.5533 | 884 | 74.7113 | 8.7507
2020-05-01 02:45:00 | 3.1133 | 140.1733 | 3.2187 | 137.812 | 3.5927 | 137.09 | 3.6567 | 138.5167 | 19.5667 | 884 | 74.9527 | 7.91
2020-05-01 03:00:00 | 3.1253 | 136.0467 | 3.2233 | 135.772 | 3.63 | 133.0533 | 3.6733 | 136.4647 | 19.5 | 884 | 75.134 | 8.032
2020-05-01 03:15:00 | 2.946 | 135.2733 | 3.014 | 131.1173 | 3.404 | 132.2973 | 3.4073 | 131.7867 | 19.4067 | 884 | 76.0853 | 6.948
2020-05-01 03:30:00 | 2.764 | 135.8933 | 2.8227 | 125.83 | 3.268 | 132.904 | 3.2347 | 126.474 | 19.1733 | 884 | 76.8427 | 5.9053
2020-05-01 03:45:00 | 2.7027 | 137.8867 | 2.784 | 127.1793 | 3.1113 | 134.8547 | 3.15 | 127.8287 | 19.1 | 884 | 77.546 | 4.4667
2020-05-01 04:00:00 | 2.5807 | 131.7867 | 2.638 | 127.316 | 2.9 | 128.8867 | 2.916 | 127.966 | 19.1333 | 884 | 78.398 | 3.4913
2020-05-01 04:15:00 | 2.7653 | 130.7533 | 2.8767 | 129.0313 | 3.122 | 127.8773 | 3.234 | 129.69 | 19.2133 | 884 | 78.7327 | 3.9927
2020-05-01 04:30:00 | 2.886 | 128.9933 | 3.008 | 132.702 | 3.2227 | 126.1553 | 3.36 | 133.3793 | 19.3067 | 884 | 79.3093 | 4.0153
2020-05-01 04:45:00 | 2.8653 | 133.1333 | 2.9713 | 132.9947 | 3.198 | 130.2047 | 3.3067 | 133.6747 | 19.24 | 884 | 79.724 | 3.9427
2020-05-01 05:00:00 | 2.9227 | 135 | 3.0387 | 133.346 | 3.2467 | 132.0313 | 3.3753 | 134.0287 | 19.2067 | 884 | 80.1933 | 4.0373
2020-05-01 05:15:00 | 2.8973 | 146.02 | 3.0113 | 138.8627 | 3.232 | 142.808 | 3.3513 | 139.572 | 19.08 | 884 | 80.7733 | 4.302
2020-05-01 05:30:00 | 2.4973 | 143.96 | 2.5953 | 137.5267 | 2.8547 | 140.7927 | 2.9387 | 138.23 | 18.88 | 884 | 81.08 | 2.6447
2020-05-01 05:45:00 | 2.254 | 146.16 | 2.33 | 143.9027 | 2.5053 | 142.9447 | 2.5813 | 144.638 | 18.6733 | 884 | 81.9 | 2.008
2020-05-01 06:00:00 | 2.2207 | 135.64 | 2.2887 | 145.3953 | 2.4193 | 132.6567 | 2.492 | 146.14 | 18.5533 | 884 | 83.4067 | 1.942
2020-05-01 06:15:00 | 2.4353 | 126.5333 | 2.5267 | 132.93 | 2.8067 | 123.75 | 2.8713 | 133.61 | 18.0733 | 884 | 84.8333 | 2.7787
2020-05-01 06:30:00 | 2.612 | 136.3733 | 2.6973 | 127.7 | 2.9947 | 134.0713 | 3.0467 | 128.3527 | 17.8533 | 884 | 86.5733 | 3.3587
2020-05-01 06:45:00 | 2.4653 | 147.44 | 2.5647 | 138.6213 | 2.8307 | 144.1973 | 2.9173 | 139.33 | 17.8533 | 884 | 86.94 | 2.7373
2020-05-01 07:00:00 | 2.14 | 142.56 | 2.1867 | 142.266 | 2.4213 | 139.4227 | 2.4253 | 142.994 | 18.08 | 884 | 86.98 | 1.934
2020-05-01 07:15:00 | 1.832 | 160.3067 | 1.886 | 143.3233 | 2.0193 | 156.7807 | 2.0687 | 144.056 | 18.2 | 884 | 86.3933 | 1.3007
2020-05-01 07:30:00 | 1.6173 | 144.4333 | 1.6053 | 148.3893 | 1.7707 | 141.256 | 1.7067 | 149.146 | 18.68 | 884.6667 | 85.12 | 0.65133
2020-05-01 07:45:00 | 1.2973 | 126.1867 | 1.2927 | 143.0093 | 1.3953 | 123.4107 | 1.3567 | 143.7407 | 19.0467 | 885 | 82.7133 | 0
2020-05-01 08:00:00 | 1.3267 | 140.06 | 1.298 | 141.6147 | 1.394 | 136.3207 | 1.3347 | 142.34 | 19.2467 | 885 | 80.8533 | 0
2020-05-01 08:15:00 | 1.0553 | 153.2067 | 1.028 | 145.214 | 1.2333 | 149.6607 | 1.132 | 145.9567 | 19.6267 | 886 | 80.0693 | 0
2020-05-01 08:30:00 | 1.2113 | 164.7867 | 1.1893 | 152.236 | 1.456 | 161.1613 | 1.3413 | 153.0133 | 19.9867 | 886 | 79.168 | 0
2020-05-01 08:45:00 | 1.2413 | 152 | 1.248 | 150.704 | 1.5587 | 148.6547 | 1.4787 | 151.474 | 20.4 | 886.3333 | 78.6233 | 0
2020-05-01 09:00:00 | 1.3473 | 152.0067 | 1.3873 | 140.78 | 1.6967 | 148.6627 | 1.6733 | 141.4987 | 20.5467 | 887 | 77.2707 | 0
2020-05-01 09:15:00 | 1.6147 | 156.2933 | 1.6173 | 136.3653 | 1.8867 | 152.854 | 1.818 | 137.0633 | 20.6933 | 887 | 76.6207 | 0
2020-05-01 09:30:00 | 1.5247 | 146.8533 | 1.5613 | 136.026 | 1.794 | 143.6227 | 1.7873 | 136.7213 | 20.8067 | 887 | 76.6113 | 0
2020-05-01 09:45:00 | 1.6713 | 155.7533 | 1.6607 | 125.7447 | 2.0053 | 152.3273 | 1.892 | 126.388 | 20.8867 | 887 | 75.6973 | 0
2020-05-01 10:00:00 | 1.968 | 184.3 | 1.9707 | 135.42 | 2.3253 | 180.2453 | 2.2267 | 136.112 | 21.0933 | 887 | 74.5153 | 0
2020-05-01 10:15:00 | 1.8913 | 174.9333 | 1.9753 | 141.484 | 2.2433 | 169.7153 | 2.3133 | 142.2073 | 21.2933 | 887 | 73.9387 | 0
2020-05-01 10:30:00 | 2.3427 | 169.68 | 2.3767 | 137.3773 | 2.5607 | 165.9467 | 2.562 | 138.0787 | 20.7733 | 887 | 74.06 | 0.52533
2020-05-01 10:45:00 | 1.6533 | 166.5067 | 1.6693 | 145.4167 | 1.9727 | 162.844 | 1.91 | 146.1573 | 21.5067 | 887 | 73.248 | 0
2020-05-01 11:00:00 | 2.0193 | 186.8267 | 2.0607 | 142.5707 | 2.2667 | 182.7173 | 2.278 | 143.302 | 22.3067 | 887 | 70.4967 | 0
2020-05-01 11:15:00 | 2.65 | 177.4067 | 2.732 | 141.7833 | 2.936 | 173.5033 | 3.0113 | 142.508 | 22.0333 | 887 | 68.2707 | 0.572
2020-05-01 11:30:00 | 2.4 | 165.66 | 2.4147 | 129.604 | 2.682 | 162.0153 | 2.6307 | 130.2673 | 21.9667 | 887 | 67.476 | 1.3013
2020-05-01 11:45:00 | 2.1753 | 173.7133 | 2.2207 | 138.0673 | 2.5433 | 168.9393 | 2.5167 | 138.7747 | 22.0133 | 887 | 67.2193 | 0.534
2020-05-01 12:00:00 | 2.106 | 186.1533 | 2.1773 | 131.306 | 2.2927 | 182.0587 | 2.376 | 131.978 | 22.3667 | 887 | 67.5213 | 0.18533
2020-05-01 12:15:00 | 1.8873 | 195.84 | 1.9913 | 162.674 | 2.0907 | 190.3773 | 2.2267 | 163.5047 | 23.2867 | 887 | 65.418 | 0
2020-05-01 12:30:00 | 2.8973 | 173.3 | 3.0407 | 142.196 | 3.2773 | 169.4867 | 3.44 | 142.9227 | 23.42 | 887 | 62.466 | 3.0393
2020-05-01 12:45:00 | 2.8593 | 169.9467 | 2.9267 | 133.6733 | 3.2073 | 166.2093 | 3.2393 | 134.3547 | 23.0133 | 887 | 63.0973 | 3.2173
2020-05-01 13:00:00 | 2.9753 | 164.44 | 3.076 | 135.6493 | 3.356 | 160.8207 | 3.4393 | 136.3413 | 23.0933 | 886.3333 | 64.4567 | 4.1373
2020-05-01 13:15:00 | 2.7187 | 158.5533 | 2.8547 | 131.352 | 3.198 | 155.0653 | 3.3173 | 132.024 | 23.7933 | 886 | 64.2087 | 3.044
2020-05-01 13:30:00 | 2.924 | 165.78 | 3.034 | 132.774 | 3.1407 | 162.1333 | 3.2933 | 133.4507 | 23.6867 | 886 | 60.3073 | 3.7553
2020-05-01 13:45:00 | 2.802 | 173.0333 | 2.8727 | 131.796 | 3.0773 | 169.2267 | 3.1367 | 132.4693 | 23.7067 | 886 | 60.558 | 3.3793
2020-05-01 14:00:00 | 2.656 | 161.9067 | 2.776 | 135.1087 | 2.9767 | 158.3447 | 3.1147 | 135.7987 | 24.2867 | 886 | 59.074 | 3.0027
2020-05-01 14:15:00 | 2.6007 | 160.7733 | 2.7867 | 141.4453 | 3.086 | 157.5427 | 3.296 | 142.1687 | 24.4933 | 886 | 58.6767 | 3.3173
2020-05-01 14:30:00 | 2.8347 | 159.08 | 3.0053 | 150.8073 | 3.2807 | 155.5793 | 3.476 | 151.578 | 24.6333 | 885.3333 | 57.5293 | 4.5433
2020-05-01 14:45:00 | 2.9847 | 170.7067 | 3.1733 | 150.3507 | 3.3947 | 166.9513 | 3.6347 | 151.12 | 24.84 | 885 | 58.5447 | 5.7213
2020-05-01 15:00:00 | 2.808 | 193.9733 | 2.9453 | 153.526 | 3.1547 | 189.706 | 3.316 | 154.3113 | 25.1267 | 885 | 58.0487 | 6.3667
2020-05-01 15:15:00 | 2.73 | 183.4733 | 2.8633 | 162.8627 | 3.0033 | 179.436 | 3.186 | 163.6953 | 25.54 | 885 | 55.5827 | 5.546
2020-05-01 15:30:00 | 2.782 | 189.4267 | 2.9127 | 170.2693 | 3.0607 | 185.2267 | 3.2347 | 171.14 | 25.0733 | 885 | 53.9027 | 5.8387
2020-05-01 15:45:00 | 2.2547 | 157.0333 | 2.3267 | 158.586 | 2.518 | 153.576 | 2.5813 | 159.3967 | 25.4067 | 885 | 56.106 | 3.232
2020-05-01 16:00:00 | 2.458 | 168.9667 | 2.558 | 144.7047 | 2.77 | 165.2487 | 2.8713 | 145.4447 | 25.9067 | 885 | 54.9327 | 2.9053
2020-05-01 16:15:00 | 2.5807 | 173.36 | 2.6853 | 155.2947 | 2.884 | 169.5447 | 2.9947 | 156.0873 | 26.2333 | 884.3333 | 53.634 | 3.25
2020-05-01 16:30:00 | 2.7607 | 172.0733 | 2.8887 | 146.5107 | 3.2327 | 168.2873 | 3.3393 | 147.2587 | 26.1933 | 885 | 53.054 | 4.372
2020-05-01 16:45:00 | 2.7367 | 163.2267 | 2.912 | 156.754 | 3.2313 | 159.6353 | 3.4193 | 157.5547 | 26.0333 | 885 | 54.5233 | 5.3593
2020-05-01 17:00:00 | 2.69 | 169.8867 | 2.7727 | 141.9927 | 2.9687 | 166.1493 | 3.0467 | 142.718 | 26.0267 | 884.3333 | 55.1387 | 3.7407
2020-05-01 17:15:00 | 2.6813 | 168.1067 | 2.7607 | 139.5593 | 3.0533 | 164.4073 | 3.096 | 140.2747 | 25.8933 | 884 | 54.84 | 3.1453
2020-05-01 17:30:00 | 2.28 | 168.82 | 2.3787 | 143.7653 | 2.6027 | 165.106 | 2.6967 | 144.502 | 25.64 | 884 | 55.392 | 1.6187
2020-05-01 17:45:00 | 1.7573 | 155.5867 | 1.816 | 149.6407 | 1.9853 | 152.5753 | 2.0373 | 150.406 | 25.6067 | 884 | 55.594 | 0.726
2020-05-01 18:00:00 | 1.6867 | 142.16 | 1.704 | 146.054 | 1.9327 | 139.0313 | 1.8967 | 146.8013 | 25.5933 | 884 | 56.682 | 0.43733
2020-05-01 18:15:00 | 1.634 | 155.4333 | 1.6627 | 157.772 | 1.924 | 152.0127 | 1.8953 | 158.576 | 25.58 | 883.6667 | 56.7933 | 0.24933
2020-05-01 18:30:00 | 1.8733 | 143.0933 | 1.9753 | 139.3773 | 2.126 | 139.9447 | 2.2447 | 140.09 | 25.3867 | 883 | 57.1087 | 0.71267
2020-05-01 18:45:00 | 2.7507 | 149.5333 | 2.8333 | 149.002 | 3.086 | 146.2427 | 3.1493 | 149.7627 | 25.1333 | 883 | 57.1713 | 3.7387
2020-05-01 19:00:00 | 3.3567 | 155.9 | 3.5187 | 144.034 | 3.652 | 152.4693 | 3.878 | 144.7693 | 25.0733 | 883 | 56.2953 | 7.9213
2020-05-01 19:15:00 | 3.134 | 169.9333 | 3.306 | 152.704 | 3.188 | 166.194 | 3.498 | 153.4847 | 24.78 | 883 | 56.5293 | 9.1873
2020-05-01 19:30:00 | 3.0993 | 166.0733 | 3.2253 | 170.2507 | 3.0853 | 162.4193 | 3.3347 | 171.1207 | 24.6067 | 883 | 59.116 | 10.0127
2020-05-01 19:45:00 | 3.0133 | 152.5 | 3.126 | 153.7027 | 3.1527 | 149.1447 | 3.3333 | 154.488 | 24.4667 | 883 | 61.716 | 7.51
2020-05-01 20:00:00 | 2.974 | 161.32 | 3.0867 | 161.3587 | 3.038 | 157.7713 | 3.2353 | 162.1827 | 24.3467 | 883 | 62.5793 | 7.5387
2020-05-01 20:15:00 | 2.8153 | 162.6133 | 2.84 | 157.0533 | 2.8707 | 159.0373 | 2.9067 | 157.8567 | 24.0267 | 883 | 63.28 | 6.3353
2020-05-01 20:30:00 | 2.758 | 156.4333 | 2.7927 | 153.526 | 2.8993 | 152.992 | 2.9233 | 154.3107 | 23.98 | 883 | 64.5 | 5.2947
2020-05-01 20:45:00 | 2.694 | 156.9467 | 2.726 | 154.7047 | 2.8627 | 153.494 | 2.8773 | 155.4967 | 23.88 | 883 | 64.7927 | 5.444
2020-05-01 21:00:00 | 2.6887 | 146.1733 | 2.796 | 142.4293 | 2.958 | 142.9587 | 3.084 | 143.158 | 23.7133 | 883 | 65.8307 | 5.5313
2020-05-01 21:15:00 | 2.774 | 129.0133 | 2.926 | 125.1833 | 3.0067 | 126.176 | 3.2307 | 125.8253 | 23.4867 | 883 | 66.81 | 4.2187
2020-05-01 21:30:00 | 2.8867 | 119.8667 | 3.008 | 123.7173 | 3.1473 | 117.23 | 3.3027 | 124.35 | 23.5333 | 883 | 67.2707 | 4.356
2020-05-01 21:45:00 | 2.844 | 122.84 | 2.964 | 117.3593 | 3.166 | 120.1373 | 3.304 | 117.9607 | 23.5533 | 883.3333 | 66.932 | 4.3533
2020-05-01 22:00:00 | 2.662 | 121.9333 | 2.8013 | 119.0227 | 2.9233 | 119.25 | 3.112 | 119.6307 | 23.5333 | 884 | 66.0433 | 3.3027
2020-05-01 22:15:00 | 2.8433 | 124.8933 | 2.9847 | 121.9687 | 3.194 | 122.074 | 3.3673 | 122.592 | 23.42 | 884 | 66.5407 | 4.3473
2020-05-01 22:30:00 | 2.8307 | 123.9267 | 2.976 | 121.912 | 3.188 | 121.2007 | 3.3593 | 122.5347 | 23.34 | 884 | 67.026 | 4.964
2020-05-01 22:45:00 | 3.0967 | 125.1867 | 3.2267 | 123.26 | 3.4927 | 122.434 | 3.6247 | 123.8907 | 23.1067 | 884 | 66.7793 | 6.6713
2020-05-01 23:00:00 | 3.076 | 132.86 | 3.222 | 123.1627 | 3.4793 | 129.9707 | 3.6427 | 123.792 | 22.78 | 884 | 68.4887 | 7.0413
2020-05-01 23:15:00 | 3.0627 | 138.3 | 3.1967 | 125.8427 | 3.5367 | 135.2573 | 3.656 | 126.4867 | 22.6533 | 884 | 68.9733 | 6.594
2020-05-01 23:30:00 | 2.98 | 139.4933 | 3.098 | 134.684 | 3.3947 | 136.4247 | 3.4973 | 135.372 | 22.68 | 884 | 70.196 | 6.3747
2020-05-01 23:45:00 | 2.8773 | 141.78 | 2.9613 | 134.5153 | 3.3173 | 139.0393 | 3.3487 | 135.2013 | 22.52 | 884 | 70.25 | 6.5927