## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-02 00:00:00 | 2.695 | 139.7357 | 2.7607 | 131.8057 | 3.1486 | 136.6593 | 3.1443 | 132.48 | 22.3786 | 884 | 70.355 | 5.9
2020-05-02 00:15:00 | 2.6087 | 151.0133 | 2.6633 | 132.63 | 3.0393 | 147.6907 | 3.0227 | 133.3073 | 22.3467 | 884 | 71.6253 | 6.056
2020-05-02 00:30:00 | 2.5513 | 153.5867 | 2.616 | 138.798 | 2.88 | 150.2067 | 2.9093 | 139.5073 | 22.3267 | 884 | 73.256 | 6.1347
2020-05-02 00:45:00 | 2.6847 | 154.0667 | 2.7433 | 137.8313 | 2.9513 | 150.678 | 2.9867 | 138.5373 | 22.24 | 883.6667 | 74.2153 | 5.6067
2020-05-02 01:00:00 | 2.6167 | 147.4067 | 2.7127 | 135.5327 | 2.9313 | 144.1627 | 3.0227 | 136.2233 | 22.0133 | 883 | 74.444 | 3.922
2020-05-02 01:15:00 | 2.2653 | 150.96 | 2.286 | 140.5513 | 2.5187 | 147.638 | 2.4853 | 141.27 | 22.0733 | 883 | 74.1253 | 3.2333
2020-05-02 01:30:00 | 2.4893 | 162.16 | 2.532 | 143.5433 | 2.7033 | 158.5927 | 2.7207 | 144.2787 | 22.06 | 883 | 74.8613 | 3.246
2020-05-02 01:45:00 | 2.2547 | 154.8467 | 2.3233 | 145.8013 | 2.5047 | 151.44 | 2.5627 | 146.546 | 21.9533 | 883 | 75.4893 | 2.994
2020-05-02 02:00:00 | 2.0213 | 147 | 2.06 | 142.6247 | 2.2573 | 143.7653 | 2.2687 | 143.3547 | 21.84 | 883 | 74.9767 | 1.882
2020-05-02 02:15:00 | 1.9113 | 140.3133 | 1.968 | 142.736 | 2.1613 | 137.2253 | 2.1967 | 143.4673 | 21.8133 | 883 | 74.8833 | 1.8067
2020-05-02 02:30:00 | 1.864 | 144.0133 | 1.968 | 144.1307 | 2.1433 | 140.8433 | 2.258 | 144.868 | 21.8267 | 882.3333 | 75.106 | 1.5007
2020-05-02 02:45:00 | 2.0053 | 153.0133 | 2.1473 | 143.9813 | 2.3413 | 149.648 | 2.5127 | 144.7173 | 21.8133 | 882 | 75.9833 | 1.4007
2020-05-02 03:00:00 | 2.1187 | 154.5533 | 2.2353 | 149.1193 | 2.3013 | 151.1533 | 2.474 | 149.8807 | 21.7933 | 882 | 78.2193 | 1.2207
2020-05-02 03:15:00 | 2.05 | 153.08 | 2.16 | 155.626 | 2.1073 | 149.7127 | 2.3013 | 156.422 | 21.4867 | 882 | 80.034 | 0.76867
2020-05-02 03:30:00 | 1.9253 | 158.4 | 1.972 | 150.3787 | 2.0747 | 154.916 | 2.1227 | 151.146 | 21.3 | 882 | 81.2867 | 1.4493
2020-05-02 03:45:00 | 2.026 | 164.5133 | 2.1133 | 156.1847 | 2.318 | 160.8947 | 2.4007 | 156.9847 | 21.4267 | 882 | 82.52 | 1.4733
2020-05-02 04:00:00 | 2.1453 | 168.2733 | 2.2267 | 155.9973 | 2.3607 | 164.5713 | 2.452 | 156.7947 | 21.2333 | 882 | 81.86 | 1.5087
2020-05-02 04:15:00 | 1.972 | 169.1133 | 2.07 | 151.3867 | 2.174 | 165.392 | 2.2993 | 152.1613 | 21.0933 | 882 | 82.5933 | 1.2447
2020-05-02 04:30:00 | 1.6213 | 172.9267 | 1.662 | 167.094 | 1.8333 | 169.1213 | 1.852 | 167.9487 | 20.9133 | 882 | 83.76 | 0.42933
2020-05-02 04:45:00 | 1.3567 | 149.0733 | 1.404 | 171.698 | 1.5267 | 145.794 | 1.568 | 172.5767 | 20.74 | 881 | 84.6333 | 0.30867
2020-05-02 05:00:00 | 1.3413 | 148.8067 | 1.4213 | 148.7527 | 1.62 | 145.532 | 1.6947 | 149.514 | 20.5733 | 881 | 84.8667 | 0.374
2020-05-02 05:15:00 | 1.592 | 156.6867 | 1.6553 | 151.6547 | 1.7833 | 153.238 | 1.846 | 152.4313 | 20.5 | 881 | 84.2267 | 0.43467
2020-05-02 05:30:00 | 1.5973 | 145.76 | 1.7353 | 169.578 | 1.612 | 142.554 | 1.872 | 170.4447 | 20.4533 | 881.6667 | 85.2 | 0.39733
2020-05-02 05:45:00 | 1.4293 | 160.3133 | 1.5333 | 166.188 | 1.522 | 156.7873 | 1.6967 | 167.038 | 20.2533 | 882 | 86.2133 | 0.34933
2020-05-02 06:00:00 | 1.3173 | 148.52 | 1.3987 | 176.268 | 1.4433 | 145.252 | 1.5593 | 177.1673 | 19.9267 | 882 | 87.16 | 0.48
2020-05-02 06:15:00 | 1.362 | 136.1333 | 1.45 | 161.1347 | 1.278 | 132.1593 | 1.466 | 161.9587 | 19.9667 | 882 | 87.6333 | 0.43933
2020-05-02 06:30:00 | 1.6267 | 129.6933 | 1.7473 | 141.1647 | 1.608 | 126.8407 | 1.844 | 141.8847 | 19.8733 | 882 | 86.9733 | 0.51933
2020-05-02 06:45:00 | 1.8193 | 131.0467 | 1.88 | 151.0687 | 1.8147 | 128.1633 | 1.9333 | 151.8413 | 19.9467 | 882 | 88.6067 | 0.512
2020-05-02 07:00:00 | 1.7347 | 124.3 | 1.7613 | 152.1373 | 1.6967 | 121.566 | 1.7593 | 152.916 | 20.1133 | 882 | 87.6933 | 0.658
2020-05-02 07:15:00 | 1.6727 | 123.28 | 1.7107 | 163.536 | 1.6473 | 120.568 | 1.7287 | 164.372 | 20.4467 | 882.3333 | 85.3267 | 0.65867
2020-05-02 07:30:00 | 1.6387 | 141.4533 | 1.7107 | 154.5953 | 1.6607 | 138.464 | 1.7887 | 155.3867 | 20.6867 | 883 | 81.44 | 0.50333
2020-05-02 07:45:00 | 1.5073 | 149.7 | 1.5967 | 157.498 | 1.5887 | 146.4067 | 1.7333 | 158.302 | 20.8467 | 883.3333 | 81.38 | 0.178
2020-05-02 08:00:00 | 1.4347 | 155.3267 | 1.532 | 157.8353 | 1.592 | 151.91 | 1.7293 | 158.6433 | 21.0667 | 884 | 78.1267 | 0.35
2020-05-02 08:15:00 | 1.542 | 156.1067 | 1.6327 | 150.6107 | 1.8407 | 152.6733 | 1.926 | 151.3807 | 21.2133 | 884.3333 | 78.0453 | 0.55467
2020-05-02 08:30:00 | 1.5333 | 158.6733 | 1.634 | 145.468 | 1.7053 | 155.182 | 1.8433 | 146.2113 | 21.6667 | 885 | 79.7387 | 0.39933
2020-05-02 08:45:00 | 1.538 | 153.58 | 1.6187 | 139.6727 | 1.6247 | 150.2027 | 1.7513 | 140.3847 | 21.94 | 885 | 78.7573 | 0.15067
2020-05-02 09:00:00 | 1.4367 | 142.1467 | 1.478 | 133.72 | 1.568 | 139.0193 | 1.6087 | 134.4027 | 22.22 | 885 | 78.04 | 0.10533
2020-05-02 09:15:00 | 1.406 | 135.8333 | 1.4393 | 125.9273 | 1.61 | 132.844 | 1.616 | 126.5707 | 22.5133 | 885 | 76.588 | 0
2020-05-02 09:30:00 | 1.5367 | 151.94 | 1.5747 | 128.5613 | 1.736 | 148.5967 | 1.7487 | 129.2187 | 22.8533 | 885 | 74.2013 | 0
2020-05-02 09:45:00 | 1.8387 | 153.9867 | 1.8813 | 137.174 | 2.078 | 150.5987 | 2.092 | 137.8753 | 22.8933 | 885 | 70.614 | 0.146
2020-05-02 10:00:00 | 1.8893 | 150 | 1.9213 | 141.666 | 2.254 | 146.6993 | 2.2093 | 142.3907 | 22.7667 | 885 | 68.994 | 0.27933
2020-05-02 10:15:00 | 2.0947 | 144.5133 | 2.1493 | 128.8353 | 2.488 | 141.3333 | 2.4767 | 129.4953 | 22.98 | 885 | 68.0453 | 0.79467
2020-05-02 10:30:00 | 2.254 | 138.2867 | 2.2613 | 127.4013 | 2.6193 | 138.864 | 2.5233 | 128.052 | 23.0333 | 885 | 66.9347 | 1.466
2020-05-02 10:45:00 | 2.352 | 181.06 | 2.3753 | 126.058 | 2.764 | 177.0767 | 2.6927 | 126.7013 | 23.22 | 885 | 65.84 | 1.7227
2020-05-02 11:00:00 | 2.4293 | 157.3067 | 2.4667 | 132.5127 | 2.8727 | 153.8467 | 2.818 | 133.19 | 23.3 | 885 | 64.224 | 2.4593
2020-05-02 11:15:00 | 2.5493 | 172.6933 | 2.6013 | 140.2847 | 3.028 | 168.894 | 2.9887 | 141.0013 | 23.5867 | 885 | 61.8073 | 4.1147
2020-05-02 11:30:00 | 2.7167 | 162.42 | 2.828 | 140.1347 | 3.05 | 156.91 | 3.1647 | 140.85 | 24.04 | 885 | 60.3527 | 4.312
2020-05-02 11:45:00 | 2.6247 | 156.7667 | 2.68 | 142.0573 | 2.9773 | 153.3173 | 2.9827 | 142.784 | 24.32 | 885 | 58.6767 | 3.4533
2020-05-02 12:00:00 | 2.7687 | 184.5467 | 2.838 | 132.0493 | 3.192 | 180.4867 | 3.2027 | 132.7253 | 24.6733 | 885 | 56.3247 | 3.5053
2020-05-02 12:15:00 | 2.9027 | 161.3667 | 2.9733 | 133.6793 | 3.094 | 157.8167 | 3.176 | 134.3633 | 24.86 | 885 | 56.6253 | 3.8147
2020-05-02 12:30:00 | 2.7713 | 162.1533 | 2.8113 | 134.0507 | 3.1787 | 158.488 | 3.1413 | 134.736 | 25.3333 | 885 | 56.268 | 3.8853
2020-05-02 12:45:00 | 2.8247 | 169.42 | 2.896 | 140.904 | 3.2313 | 165.6913 | 3.246 | 141.6233 | 25.8133 | 885 | 54.644 | 5.6007
2020-05-02 13:00:00 | 3.0353 | 167.42 | 3.1953 | 135.082 | 3.4913 | 163.7367 | 3.666 | 135.7707 | 26.4733 | 885 | 54.1453 | 7.126
2020-05-02 13:15:00 | 2.944 | 163.9067 | 3.0647 | 138.8953 | 3.372 | 160.3 | 3.4787 | 139.6053 | 26.7333 | 885 | 50.658 | 6.3293
2020-05-02 13:30:00 | 3.1813 | 164.2533 | 3.2447 | 138.1013 | 3.364 | 160.6407 | 3.4347 | 138.806 | 26.7867 | 884.3333 | 47.9007 | 6.2427
2020-05-02 13:45:00 | 3.362 | 164.1867 | 3.4287 | 133.1187 | 3.568 | 160.574 | 3.6393 | 133.7993 | 26.9533 | 884.6667 | 47.7367 | 6.2247
2020-05-02 14:00:00 | 3.3373 | 169.2867 | 3.47 | 132.3767 | 3.6647 | 165.562 | 3.8227 | 133.052 | 27.28 | 884 | 46.026 | 7.478
2020-05-02 14:15:00 | 3.7753 | 190.7267 | 3.904 | 138.928 | 4.03 | 186.5307 | 4.2053 | 139.6387 | 27.5667 | 884 | 41.9933 | 9.0973
2020-05-02 14:30:00 | 3.3187 | 161.0067 | 3.466 | 145.4547 | 3.5633 | 157.4647 | 3.774 | 146.198 | 28.14 | 884 | 39.588 | 7.188
2020-05-02 14:45:00 | 3.1953 | 158.26 | 3.3867 | 147.7747 | 3.676 | 155.7887 | 3.8973 | 148.5307 | 28.3867 | 884 | 39.8047 | 7.6247
2020-05-02 15:00:00 | 3.472 | 173.6533 | 3.6613 | 169.592 | 3.8787 | 169.834 | 4.124 | 170.4587 | 28.14 | 883.3333 | 41.08 | 8.8147
2020-05-02 15:15:00 | 3.478 | 171.9867 | 3.5873 | 134.932 | 3.736 | 168.2027 | 3.8693 | 135.6207 | 27.76 | 883 | 40.36 | 7.984
2020-05-02 15:30:00 | 3.908 | 168.76 | 4.056 | 130.5433 | 4.1027 | 165.048 | 4.3287 | 131.2107 | 27.8133 | 883 | 40.5773 | 10.1127
2020-05-02 15:45:00 | 3.9033 | 163.7333 | 3.9787 | 136.2427 | 4.1747 | 160.132 | 4.246 | 136.938 | 28.2333 | 883 | 42.0213 | 9.4913
2020-05-02 16:00:00 | 3.2927 | 159.3667 | 3.5313 | 163.098 | 3.7233 | 155.8607 | 4.0553 | 163.9307 | 28.82 | 882.3333 | 39.3613 | 9.896
2020-05-02 16:15:00 | 3.4827 | 172.94 | 3.662 | 154.8167 | 3.6453 | 169.1353 | 3.9427 | 155.608 | 28.3067 | 882 | 37.8693 | 9.858
2020-05-02 16:30:00 | 3.7993 | 171.9867 | 3.9727 | 139.124 | 3.9633 | 168.2027 | 4.248 | 139.836 | 28.86 | 882 | 37.8093 | 12.506
2020-05-02 16:45:00 | 3.5433 | 152.6067 | 3.7133 | 151.4793 | 3.9907 | 149.2493 | 4.1847 | 152.254 | 28.9867 | 882 | 35.794 | 12.2647
2020-05-02 17:00:00 | 3.406 | 164.9 | 3.594 | 157.5487 | 3.8353 | 161.2713 | 4.0687 | 158.356 | 29.0667 | 882 | 36.6507 | 11.4213
2020-05-02 17:15:00 | 3.624 | 175.8467 | 3.8527 | 154.3673 | 3.9307 | 171.9773 | 4.276 | 155.1573 | 29.1267 | 882 | 36.4287 | 12.83
2020-05-02 17:30:00 | 3.742 | 160.0667 | 3.9313 | 148.0627 | 3.914 | 156.546 | 4.2253 | 148.82 | 28.9267 | 882 | 35.5813 | 11.8433
2020-05-02 17:45:00 | 3.676 | 157.4733 | 3.868 | 146.3027 | 4.0433 | 154.0087 | 4.3027 | 147.05 | 28.92 | 882 | 36.13 | 12.428
2020-05-02 18:00:00 | 4.2227 | 152.92 | 4.4373 | 149.5307 | 4.6927 | 149.556 | 4.9627 | 150.2933 | 28.6933 | 882 | 37.102 | 14.948
2020-05-02 18:15:00 | 4.1207 | 155.2067 | 4.3453 | 148.1653 | 4.54 | 151.7933 | 4.8473 | 148.9233 | 28.5333 | 882 | 37.7613 | 15.462
2020-05-02 18:30:00 | 4.1347 | 148.3467 | 4.436 | 146.6287 | 4.5187 | 145.4613 | 4.986 | 147.378 | 28.4867 | 882 | 38.2547 | 15.8707
2020-05-02 18:45:00 | 4.64 | 147.8933 | 4.8693 | 140.1073 | 4.9587 | 144.6387 | 5.2973 | 140.8233 | 28.1333 | 881.6667 | 39.5567 | 15.9367
2020-05-02 19:00:00 | 4.6093 | 147.6267 | 4.892 | 141.4773 | 5.012 | 144.3793 | 5.4333 | 142.2007 | 27.7933 | 881 | 40.9253 | 17.0847
2020-05-02 19:15:00 | 4.548 | 148.52 | 4.7907 | 138.1927 | 4.802 | 145.2527 | 5.192 | 138.8967 | 27.4933 | 881 | 41.192 | 16.474
2020-05-02 19:30:00 | 4.2773 | 152.1067 | 4.4727 | 140.5587 | 4.6007 | 148.76 | 4.8787 | 141.2753 | 27.1867 | 881 | 42.1067 | 17.462
2020-05-02 19:45:00 | 3.808 | 146.0467 | 4.0113 | 141.4187 | 4.1447 | 142.8327 | 4.4367 | 142.142 | 26.8333 | 881 | 42.9887 | 15.6607
2020-05-02 20:00:00 | 3.488 | 159.08 | 3.7113 | 154.4067 | 3.518 | 155.9067 | 3.9307 | 155.196 | 26.5933 | 881 | 44.564 | 13.7987
2020-05-02 20:15:00 | 3.5593 | 157.4733 | 3.7447 | 154.9927 | 3.73 | 154.0093 | 4.0367 | 155.7867 | 26.32 | 881 | 45.9667 | 14.5127
2020-05-02 20:30:00 | 3.6167 | 165.6 | 3.742 | 158.534 | 3.8307 | 161.9573 | 4.0067 | 159.3447 | 26.1933 | 881 | 47.36 | 14.116
2020-05-02 20:45:00 | 3.3673 | 154.9267 | 3.506 | 151.6867 | 3.526 | 151.5173 | 3.7433 | 152.4627 | 26.1 | 881 | 48.266 | 11.254
2020-05-02 21:00:00 | 3.11 | 155.6267 | 3.2707 | 146.2633 | 3.4587 | 152.202 | 3.6627 | 147.0113 | 25.88 | 881.6667 | 49.378 | 9.96
2020-05-02 21:15:00 | 2.834 | 148.3867 | 2.9687 | 149.4507 | 3.2413 | 145.1207 | 3.3813 | 150.214 | 25.7533 | 882 | 49.4507 | 9.664
2020-05-02 21:30:00 | 2.7307 | 151.0067 | 2.8587 | 147.536 | 3.0007 | 147.684 | 3.166 | 148.2887 | 25.66 | 882 | 50.0153 | 9.2373
2020-05-02 21:45:00 | 2.9827 | 151.9867 | 3.0233 | 150.1093 | 3.05 | 148.6427 | 3.112 | 150.8773 | 25.66 | 882 | 50.944 | 10.0793
2020-05-02 22:00:00 | 2.892 | 144.3667 | 2.8747 | 148.5447 | 3.052 | 141.19 | 2.978 | 149.3047 | 25.56 | 882 | 51.884 | 9.652
2020-05-02 22:15:00 | 2.8793 | 151.8867 | 2.8887 | 141.3787 | 3.162 | 148.5453 | 3.0993 | 142.1027 | 25.4 | 882 | 52.7073 | 8.562
2020-05-02 22:30:00 | 2.9573 | 152.7533 | 2.996 | 143.0167 | 3.2613 | 149.3927 | 3.2493 | 143.748 | 25.16 | 882 | 53.41 | 9.1593
2020-05-02 22:45:00 | 3.0367 | 157.4 | 3.114 | 145.312 | 3.306 | 154.016 | 3.3787 | 146.0527 | 25.0667 | 882 | 53.3033 | 10.0253
2020-05-02 23:00:00 | 3.0887 | 161.78 | 3.1813 | 148.292 | 3.3293 | 158.2193 | 3.4367 | 149.0493 | 25.02 | 882 | 53.0993 | 11.3613
2020-05-02 23:15:00 | 3.1867 | 165.3467 | 3.2667 | 150.234 | 3.4133 | 161.7087 | 3.504 | 151.0013 | 24.9467 | 882 | 53.2627 | 10.8333
2020-05-02 23:30:00 | 3.25 | 166.5733 | 3.344 | 154.4847 | 3.458 | 162.9087 | 3.582 | 155.274 | 24.7867 | 882 | 53.404 | 10.266
2020-05-02 23:45:00 | 3.5773 | 163.4333 | 3.65 | 151.492 | 3.698 | 159.8373 | 3.8047 | 152.2667 | 24.72 | 882 | 54.0413 | 11.348