## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-03 00:00:00 | 3.8486 | 158.5714 | 3.9014 | 143.7107 | 3.9243 | 155.0821 | 4.0036 | 144.4443 | 24.6857 | 882 | 54.7814 | 14.8733
2020-05-03 00:15:00 | 3.8827 | 160.5667 | 3.9333 | 143.7073 | 4.012 | 157.0347 | 4.0773 | 144.442 | 24.54 | 882 | 55.2287 | 14.1727
2020-05-03 00:30:00 | 3.6033 | 162.9333 | 3.6633 | 150.5207 | 3.766 | 159.3493 | 3.8407 | 151.2913 | 24.4 | 882 | 55.0707 | 14.0153
2020-05-03 00:45:00 | 3.4813 | 163.7667 | 3.5167 | 151.63 | 3.658 | 160.1653 | 3.678 | 152.404 | 24.3533 | 882 | 55.17 | 11.8507
2020-05-03 01:00:00 | 3.1947 | 157.6733 | 3.2613 | 146.3093 | 3.4027 | 154.204 | 3.472 | 147.0567 | 24.18 | 882 | 56.244 | 9.3733
2020-05-03 01:15:00 | 2.9627 | 154.7867 | 3.0327 | 148.1867 | 3.232 | 151.38 | 3.2887 | 148.9427 | 24.0067 | 882 | 57.392 | 7.9867
2020-05-03 01:30:00 | 2.908 | 152.3533 | 2.972 | 150.2913 | 3.144 | 149.002 | 3.2007 | 151.0593 | 23.9267 | 882 | 57.616 | 8.1353
2020-05-03 01:45:00 | 2.7753 | 147.1667 | 2.8407 | 145.9707 | 2.994 | 143.93 | 3.0527 | 146.716 | 23.64 | 881 | 58.0453 | 7.662
2020-05-03 02:00:00 | 2.7893 | 151.5467 | 2.8573 | 146.5947 | 2.956 | 148.212 | 3.0387 | 147.3447 | 23.5533 | 881 | 58.2747 | 7.762
2020-05-03 02:15:00 | 2.9407 | 148.4 | 3.0313 | 144.732 | 3.18 | 145.1353 | 3.282 | 145.472 | 23.4467 | 881 | 59.0973 | 8.222
2020-05-03 02:30:00 | 2.97 | 150.6067 | 3.0713 | 144.014 | 3.2073 | 147.2927 | 3.334 | 144.75 | 23.3933 | 881 | 59.2827 | 8.5887
2020-05-03 02:45:00 | 3.0093 | 151.1667 | 3.132 | 144.106 | 3.2173 | 147.842 | 3.388 | 144.8433 | 23.42 | 881 | 60.174 | 8.4173
2020-05-03 03:00:00 | 3.148 | 155.68 | 3.2793 | 148.662 | 3.376 | 152.2547 | 3.5647 | 149.4227 | 23.2133 | 881 | 60.338 | 9.0873
2020-05-03 03:15:00 | 3.334 | 149.4533 | 3.4673 | 142.3187 | 3.5107 | 146.1653 | 3.7133 | 143.046 | 23.0667 | 881 | 61.896 | 9.8247
2020-05-03 03:30:00 | 3.2967 | 144.7467 | 3.4253 | 143.3547 | 3.506 | 141.562 | 3.692 | 144.0887 | 22.6 | 880.3333 | 63.938 | 9.25
2020-05-03 03:45:00 | 3.14 | 144.3667 | 3.2607 | 139.476 | 3.3513 | 141.19 | 3.5207 | 140.1893 | 22.5333 | 880 | 65.272 | 8.4367
2020-05-03 04:00:00 | 3.216 | 143.9133 | 3.3187 | 143.1013 | 3.4427 | 140.7467 | 3.5753 | 143.8313 | 22.46 | 880 | 65.768 | 8.8907
2020-05-03 04:15:00 | 2.972 | 145.14 | 3.0647 | 140.446 | 3.2187 | 141.946 | 3.3313 | 141.1653 | 22.4 | 880 | 66.3467 | 6.1027
2020-05-03 04:30:00 | 2.8853 | 135.34 | 2.986 | 136.7893 | 3.1933 | 132.9167 | 3.296 | 137.4893 | 22.3 | 880 | 67.65 | 5.0387
2020-05-03 04:45:00 | 2.7987 | 135.0733 | 2.906 | 135.1013 | 3.19 | 132.1027 | 3.2833 | 135.7907 | 22.04 | 880 | 67.6707 | 4.5267
2020-05-03 05:00:00 | 2.674 | 134.2333 | 2.7813 | 128.2613 | 3.1147 | 131.2793 | 3.1893 | 128.9173 | 21.9467 | 880 | 66.6693 | 4.2033
2020-05-03 05:15:00 | 2.6767 | 134 | 2.8007 | 132.9893 | 2.996 | 131.052 | 3.1367 | 133.668 | 21.9133 | 880 | 66.7053 | 3.914
2020-05-03 05:30:00 | 2.8193 | 129.76 | 2.9767 | 132.8913 | 2.9647 | 126.9053 | 3.2213 | 133.5693 | 21.9333 | 880 | 65.9507 | 3.9313
2020-05-03 05:45:00 | 2.87 | 126.0333 | 2.9833 | 125.4713 | 2.9833 | 123.2607 | 3.168 | 126.1127 | 22.4067 | 880 | 65.436 | 4.6113
2020-05-03 06:00:00 | 2.9647 | 128.6133 | 3.1013 | 131.6333 | 3.132 | 125.784 | 3.3433 | 132.3053 | 22.2133 | 880 | 66.4393 | 5.0407
2020-05-03 06:15:00 | 2.898 | 130.2 | 3.052 | 133.9653 | 3.0327 | 127.336 | 3.2913 | 134.6513 | 21.7133 | 880 | 64.316 | 5.1867
2020-05-03 06:30:00 | 2.706 | 125.2667 | 2.8467 | 132.9687 | 2.8267 | 122.5113 | 3.062 | 133.648 | 21.5867 | 880.6667 | 64.9227 | 4.0587
2020-05-03 06:45:00 | 2.4967 | 126.7733 | 2.582 | 128.522 | 2.686 | 123.9847 | 2.7927 | 129.1793 | 21.74 | 881 | 66.2393 | 3.0913
2020-05-03 07:00:00 | 2.2633 | 134.5533 | 2.344 | 133.022 | 2.5153 | 131.5927 | 2.5967 | 133.702 | 21.88 | 881 | 66.8273 | 2.0247
2020-05-03 07:15:00 | 2.0847 | 132.3067 | 2.1807 | 140.8913 | 2.33 | 129.3967 | 2.442 | 141.6107 | 21.7667 | 882 | 65.7713 | 1.9087
2020-05-03 07:30:00 | 2.1693 | 131.6467 | 2.2067 | 133.0533 | 2.3513 | 128.7493 | 2.3693 | 133.7327 | 21.96 | 882 | 66.2233 | 2.148
2020-05-03 07:45:00 | 2.0433 | 144.5333 | 2.0807 | 141.2413 | 2.168 | 141.3547 | 2.2067 | 141.9633 | 22.0267 | 882.3333 | 68.1333 | 1.9693
2020-05-03 08:00:00 | 1.9633 | 149.5533 | 2.0047 | 139.0387 | 2.004 | 146.2633 | 2.074 | 139.7493 | 22.1067 | 883 | 68.7833 | 2.2073
2020-05-03 08:15:00 | 1.604 | 154.8 | 1.618 | 153.038 | 1.7113 | 151.3947 | 1.7087 | 153.8207 | 22.0467 | 883 | 68.1147 | 1.37
2020-05-03 08:30:00 | 1.3547 | 176.94 | 1.4207 | 155.8533 | 1.6647 | 173.048 | 1.6987 | 156.65 | 22.5733 | 883.6667 | 68.0793 | 1.1267
2020-05-03 08:45:00 | 1.4713 | 176.3733 | 1.564 | 164.9947 | 1.7413 | 171.7627 | 1.8447 | 165.8407 | 23.14 | 884 | 66.956 | 1.3567
2020-05-03 09:00:00 | 1.1687 | 168.02 | 1.2493 | 146.4853 | 1.4493 | 164.3247 | 1.5193 | 147.2327 | 23.36 | 884 | 64.2093 | 1.1147
2020-05-03 09:15:00 | 1.416 | 149.9933 | 1.4387 | 164.5907 | 1.6907 | 146.6933 | 1.6547 | 165.432 | 23.74 | 884 | 60.3493 | 0.80733
2020-05-03 09:30:00 | 1.928 | 162.5867 | 1.948 | 144.3467 | 2.1453 | 159.0113 | 2.124 | 145.0833 | 23.8533 | 884.6667 | 58.934 | 1.4967
2020-05-03 09:45:00 | 2.0287 | 160.7733 | 2.0473 | 142.2013 | 2.486 | 157.6267 | 2.3853 | 142.928 | 23.5267 | 885 | 57.944 | 1.8493
2020-05-03 10:00:00 | 2.24 | 142.38 | 2.2647 | 137.884 | 2.6953 | 139.5593 | 2.614 | 138.59 | 23.5467 | 885 | 57.498 | 2.3113
2020-05-03 10:15:00 | 2.3507 | 140.4667 | 2.3213 | 130.518 | 2.75 | 137.376 | 2.5793 | 131.1847 | 23.76 | 885 | 56.654 | 2.9427
2020-05-03 10:30:00 | 2.45 | 158.8 | 2.4153 | 132.134 | 2.86 | 155.3067 | 2.678 | 132.81 | 24.16 | 885 | 55.2367 | 2.984
2020-05-03 10:45:00 | 2.7 | 169.92 | 2.7073 | 138.8173 | 3.1073 | 166.1813 | 3.0053 | 139.5267 | 24.4867 | 885 | 53.7533 | 3.584
2020-05-03 11:00:00 | 2.8113 | 161.26 | 2.88 | 137.664 | 3.3713 | 157.7127 | 3.3413 | 138.3687 | 24.86 | 885 | 52.34 | 4.424
2020-05-03 11:15:00 | 2.844 | 190.5 | 2.9093 | 146.3487 | 3.3713 | 186.308 | 3.344 | 147.096 | 25.3133 | 885 | 51.816 | 6.0427
2020-05-03 11:30:00 | 2.7253 | 176.7 | 2.8073 | 144.7053 | 3.1093 | 172.812 | 3.1527 | 145.444 | 25.92 | 885 | 50.3987 | 5.94
2020-05-03 11:45:00 | 2.558 | 207.26 | 2.5987 | 144.3467 | 2.7693 | 202.702 | 2.7927 | 145.084 | 26.3133 | 885 | 48.7013 | 6.56
2020-05-03 12:00:00 | 2.9993 | 170.3933 | 3.1507 | 156.0373 | 3.408 | 166.644 | 3.5793 | 156.8347 | 26.7 | 885 | 46.29 | 7.2793
2020-05-03 12:15:00 | 2.8647 | 174.2867 | 3.0073 | 161.1753 | 3.4933 | 170.4527 | 3.5847 | 161.9987 | 27.2133 | 885 | 46.6013 | 7.764
2020-05-03 12:30:00 | 3.2313 | 170.5533 | 3.3487 | 154.416 | 3.7727 | 166.8007 | 3.836 | 155.2027 | 27.5 | 885 | 45.6407 | 8.6747
2020-05-03 12:45:00 | 3.28 | 162.56 | 3.4633 | 135.5313 | 3.7993 | 158.9827 | 3.996 | 136.2233 | 27.5933 | 884.6667 | 44.2293 | 8.014
2020-05-03 13:00:00 | 3.266 | 167.6467 | 3.4033 | 137.7093 | 3.7067 | 163.2873 | 3.8427 | 138.414 | 27.8 | 884 | 43.2873 | 7.506
2020-05-03 13:15:00 | 3.0553 | 169.4533 | 3.176 | 145.5133 | 3.4853 | 165.7253 | 3.5933 | 146.258 | 28.3333 | 884 | 42.1587 | 7.8567
2020-05-03 13:30:00 | 3.076 | 160.2067 | 3.2367 | 149.8173 | 3.488 | 156.6827 | 3.6787 | 150.5827 | 28.5333 | 884 | 41.252 | 7.6613
2020-05-03 13:45:00 | 3.636 | 150.28 | 3.698 | 148.4347 | 4.106 | 146.9733 | 4.0867 | 149.194 | 28.8733 | 883.6667 | 39.4807 | 9.6213
2020-05-03 14:00:00 | 3.7487 | 176.5933 | 3.8607 | 159.0293 | 3.772 | 172.7087 | 3.9773 | 159.8433 | 28.98 | 883 | 37.82 | 10.766
2020-05-03 14:15:00 | 3.288 | 181.9533 | 3.556 | 166.208 | 3.3293 | 177.95 | 3.8287 | 167.058 | 29.3467 | 883.3333 | 35.748 | 11.55
2020-05-03 14:30:00 | 3.4973 | 174.8067 | 3.6573 | 137.6573 | 3.5547 | 170.9613 | 3.844 | 138.3607 | 29.3733 | 883.3333 | 34.608 | 9.7513
2020-05-03 14:45:00 | 3.63 | 173.9933 | 3.7587 | 137.6693 | 3.7407 | 170.1653 | 3.956 | 138.3733 | 29.4133 | 883 | 35.204 | 8.9527
2020-05-03 15:00:00 | 3.3887 | 173.0533 | 3.5147 | 141.9073 | 3.7093 | 169.1087 | 3.8553 | 142.632 | 29.5533 | 883 | 35.3293 | 6.9693
2020-05-03 15:15:00 | 3.184 | 170.1067 | 3.2833 | 137.0753 | 3.3667 | 166.364 | 3.5053 | 137.7767 | 29.64 | 883 | 36.01 | 5.5633
2020-05-03 15:30:00 | 3.11 | 166.72 | 3.34 | 163.6053 | 3.4647 | 163.0533 | 3.8013 | 164.4427 | 30.1667 | 883 | 36.1933 | 4.9867
2020-05-03 15:45:00 | 3.168 | 188.0533 | 3.3167 | 155.7047 | 3.3833 | 183.9147 | 3.6087 | 156.4993 | 30.22 | 883 | 36.2447 | 5.0893
2020-05-03 16:00:00 | 3.376 | 169.3267 | 3.61 | 131.1893 | 3.766 | 165.6013 | 4.098 | 131.8587 | 30.0867 | 883 | 35.9787 | 6.5647
2020-05-03 16:15:00 | 3.736 | 172.24 | 3.832 | 138.2893 | 4.0973 | 168.4493 | 4.176 | 138.9967 | 29.8867 | 882.6667 | 36.4227 | 9.606
2020-05-03 16:30:00 | 3.3613 | 163.2 | 3.5393 | 149.322 | 3.6767 | 159.6093 | 3.924 | 150.0833 | 30.12 | 882 | 37.5413 | 7.1653
2020-05-03 16:45:00 | 3.878 | 146.2467 | 4.0413 | 135.5513 | 4.164 | 142.618 | 4.396 | 136.244 | 30.0733 | 882 | 37.0467 | 9.1993
2020-05-03 17:00:00 | 3.6093 | 170.06 | 3.802 | 149.0007 | 4.05 | 166.32 | 4.2867 | 149.7633 | 30.2667 | 882 | 36.674 | 10.9693
2020-05-03 17:15:00 | 3.2853 | 171.74 | 3.4767 | 149.0673 | 3.5873 | 167.9613 | 3.8673 | 149.8293 | 30.3 | 882 | 36.7067 | 9.3233
2020-05-03 17:30:00 | 3.8247 | 159.2533 | 4.0493 | 141.9013 | 4.544 | 155.7493 | 4.7607 | 142.6267 | 30.22 | 882 | 37.0567 | 11.146
2020-05-03 17:45:00 | 4.2247 | 152.64 | 4.394 | 140.5973 | 4.5667 | 149.282 | 4.7853 | 141.316 | 29.96 | 881.6667 | 37.7167 | 11.4
2020-05-03 18:00:00 | 4.5413 | 148.52 | 4.7793 | 132.702 | 5.142 | 145.2527 | 5.4167 | 133.3813 | 29.8933 | 881 | 37.8347 | 15.6113
2020-05-03 18:15:00 | 5.0587 | 146.1733 | 5.306 | 134.3173 | 5.37 | 142.9567 | 5.7553 | 135.0047 | 29.58 | 881 | 38.2213 | 17.792
2020-05-03 18:30:00 | 4.506 | 152.4533 | 4.668 | 141.0347 | 5.032 | 149.0993 | 5.1887 | 141.7547 | 29.4133 | 881 | 38.9527 | 17.1287
2020-05-03 18:45:00 | 4.368 | 150.8533 | 4.5533 | 146.008 | 4.852 | 147.5333 | 5.0653 | 146.7553 | 29.16 | 881 | 39.3653 | 16.7547
2020-05-03 19:00:00 | 4.002 | 144.1467 | 4.2233 | 139.744 | 4.576 | 140.9753 | 4.83 | 140.4573 | 29.0133 | 880.3333 | 39.842 | 13.636
2020-05-03 19:15:00 | 3.8413 | 139.42 | 4.078 | 146.4853 | 4.3327 | 136.352 | 4.6413 | 147.2347 | 28.8067 | 880 | 40.27 | 12.2807
2020-05-03 19:30:00 | 3.668 | 147.5533 | 3.9327 | 151.714 | 4.0893 | 144.3067 | 4.4687 | 152.49 | 28.5067 | 880 | 40.7987 | 13.6667
2020-05-03 19:45:00 | 3.3367 | 158.2067 | 3.5413 | 158.82 | 3.4333 | 154.7273 | 3.796 | 159.6327 | 28.3333 | 880 | 41.4793 | 11.2707
2020-05-03 20:00:00 | 2.9633 | 151.1 | 3.1127 | 161.872 | 3.236 | 147.7747 | 3.4427 | 162.698 | 28.1467 | 880 | 43.498 | 9.864
2020-05-03 20:15:00 | 2.6867 | 163.54 | 2.7487 | 154.4573 | 2.9233 | 159.9427 | 2.9767 | 155.2473 | 27.92 | 880.3333 | 44.6433 | 8.1067
2020-05-03 20:30:00 | 3.1587 | 163.5867 | 3.1493 | 146.3087 | 3.346 | 159.9853 | 3.2753 | 147.0573 | 27.7467 | 881 | 44.4467 | 9.1133
2020-05-03 20:45:00 | 3.3053 | 147.8267 | 3.3627 | 138.7453 | 3.5787 | 143.4987 | 3.6093 | 139.4553 | 27.54 | 881 | 45.1653 | 10.8107
2020-05-03 21:00:00 | 3.654 | 152.8867 | 3.8553 | 134.28 | 4.0493 | 149.522 | 4.318 | 134.9653 | 27.3067 | 881 | 45.6807 | 11.7347
2020-05-03 21:15:00 | 3.524 | 157.9333 | 3.5967 | 138.6033 | 3.8813 | 154.46 | 3.9187 | 139.3107 | 27.0867 | 881 | 46.1093 | 9.464
2020-05-03 21:30:00 | 3.3993 | 141.24 | 3.5113 | 134.4687 | 3.7873 | 138.1333 | 3.8893 | 135.1553 | 26.9067 | 881 | 47.486 | 8.4807
2020-05-03 21:45:00 | 3.648 | 147.7467 | 3.852 | 135.068 | 4.266 | 144.496 | 4.4787 | 135.758 | 26.74 | 881 | 48.4747 | 11.102
2020-05-03 22:00:00 | 3.5473 | 150.5 | 3.72 | 143.498 | 4 | 147.1893 | 4.1987 | 144.2333 | 26.5467 | 881 | 48.89 | 11.664
2020-05-03 22:15:00 | 2.9373 | 159.7933 | 3.108 | 148.7873 | 3.3227 | 156.2787 | 3.5327 | 149.5473 | 26.38 | 881.3333 | 48.9827 | 11.0227
2020-05-03 22:30:00 | 3.0967 | 158.34 | 3.2627 | 156.5453 | 3.256 | 154.8553 | 3.5247 | 157.3453 | 26.28 | 882 | 48.712 | 11.242
2020-05-03 22:45:00 | 3.2929 | 161.9643 | 3.4286 | 152.6957 | 3.4514 | 158.41 | 3.6636 | 153.4743 | 26.3286 | 882 | 49.1279 | 10.9907
2020-05-03 23:00:00 | 3.4353 | 164.6 | 3.5913 | 147.776 | 3.554 | 160.9787 | 3.8167 | 148.5313 | 26.3133 | 882 | 49.4033 | 11.7233
2020-05-03 23:15:00 | 3.3667 | 157.5733 | 3.4753 | 144.138 | 3.4727 | 154.1053 | 3.652 | 144.874 | 26.3867 | 882 | 49.522 | 12.5987
2020-05-03 23:30:00 | 2.8673 | 162.14 | 2.966 | 153.0907 | 2.8887 | 158.574 | 3.07 | 153.872 | 26.3133 | 881.3333 | 49.692 | 11.2067
2020-05-03 23:45:00 | 2.7553 | 170.1667 | 2.7953 | 155.0587 | 2.732 | 166.4227 | 2.82 | 155.85 | 26.2467 | 881 | 50.6713 | 10.502