## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-04 00:00:00 | 2.7179 | 174.1143 | 2.7714 | 157.835 | 2.78 | 170.52 | 2.8629 | 158.6429 | 26.1429 | 881 | 52.348 | 9.258
2020-05-04 00:15:00 | 2.5547 | 177.2667 | 2.612 | 162.928 | 2.718 | 173.3667 | 2.782 | 163.7607 | 26.16 | 881 | 51.9887 | 8.2053
2020-05-04 00:30:00 | 2.1947 | 186.46 | 2.2367 | 160.236 | 2.378 | 182.3573 | 2.406 | 161.056 | 26.1533 | 881 | 51.7853 | 6.1147
2020-05-04 00:45:00 | 2 | 176.0867 | 2.0193 | 151.2327 | 2.2527 | 172.2127 | 2.2167 | 152.0053 | 26.0533 | 881 | 51.15 | 4.6813
2020-05-04 01:00:00 | 1.772 | 159.0667 | 1.8013 | 144 | 2.0153 | 155.5667 | 2.006 | 144.7373 | 26.0667 | 881 | 51.4053 | 2.758
2020-05-04 01:15:00 | 1.774 | 147.1867 | 1.8607 | 153.278 | 2.0233 | 143.9493 | 2.1133 | 154.0613 | 25.9533 | 881 | 51.1153 | 1.1607
2020-05-04 01:30:00 | 1.6813 | 143.5 | 1.778 | 155.6847 | 1.884 | 140.3433 | 2.0107 | 156.48 | 25.8933 | 881 | 51.852 | 0.732
2020-05-04 01:45:00 | 1.6313 | 145.14 | 1.7293 | 153.7873 | 1.7493 | 141.946 | 1.9027 | 154.574 | 25.8 | 880.6667 | 54.2113 | 0.67467
2020-05-04 02:00:00 | 1.8807 | 164.1267 | 1.9507 | 164.6953 | 1.9987 | 160.516 | 2.1013 | 165.5373 | 25.7267 | 880 | 55.9633 | 1.4187
2020-05-04 02:15:00 | 2.1 | 173.1533 | 2.19 | 173.884 | 2.1593 | 169.736 | 2.304 | 174.7707 | 25.44 | 880 | 55.2067 | 2.672
2020-05-04 02:30:00 | 1.788 | 183.0933 | 1.8613 | 174.7293 | 1.8867 | 179.0673 | 1.996 | 175.622 | 25.2467 | 880 | 56.2907 | 2.426
2020-05-04 02:45:00 | 1.6247 | 161.8733 | 1.7027 | 168.2873 | 1.9027 | 158.312 | 1.9727 | 169.146 | 24.7133 | 880 | 57.2833 | 1.7233
2020-05-04 03:00:00 | 1.5947 | 163.64 | 1.6473 | 178.636 | 1.8547 | 160.0413 | 1.8807 | 179.5493 | 24.5867 | 880 | 57.416 | 0.95733
2020-05-04 03:15:00 | 1.3187 | 179.88 | 1.3273 | 195.652 | 1.422 | 175.922 | 1.4113 | 196.652 | 24.7467 | 880 | 57.1133 | 1.0607
2020-05-04 03:30:00 | 0.73867 | 172.58 | 0.74 | 214.84 | 0.72467 | 168.784 | 0.73267 | 215.9373 | 24.8667 | 880 | 58.56 | 1.1867
2020-05-04 03:45:00 | 0.618 | 164.1333 | 0.602 | 215.1333 | 0.54533 | 160.522 | 0.53733 | 216.234 | 24.84 | 879.6667 | 59.596 | 1.3173
2020-05-04 04:00:00 | 0.44133 | 151.8267 | 0.40067 | 212.48 | 0.36733 | 148.4853 | 0.31267 | 213.5673 | 24.9333 | 879 | 59.636 | 0.846
2020-05-04 04:15:00 | 0.226 | 192.0533 | 0.24067 | 207.1653 | 0.26933 | 187.828 | 0.286 | 208.2247 | 24.9467 | 879 | 58.7387 | 0.77667
2020-05-04 04:30:00 | 0.23067 | 80.4867 | 0.25467 | 143.5313 | 0.272 | 78.7173 | 0.31 | 144.2647 | 24.88 | 879 | 60.7487 | 0.442
2020-05-04 04:45:00 | 0.14667 | 87.7467 | 0.16267 | 111.1207 | 0.16733 | 85.816 | 0.19533 | 111.6887 | 24.6733 | 879 | 63.8093 | 0.226
2020-05-04 05:00:00 | 0.55733 | 231.3333 | 0.57467 | 249.9113 | 0.79467 | 226.2447 | 0.758 | 251.1893 | 24.5067 | 879 | 64.576 | 0.27133
2020-05-04 05:15:00 | 1.0667 | 331.2867 | 1.0887 | 334.722 | 1.456 | 323.998 | 1.3833 | 336.4347 | 24.0533 | 879 | 64.5113 | 0.19933
2020-05-04 05:30:00 | 1.448 | 322.16 | 1.46 | 316.1033 | 1.8607 | 315.0727 | 1.7667 | 317.7187 | 24.04 | 879 | 66.3233 | 0.23333
2020-05-04 05:45:00 | 2.0213 | 137.6867 | 2.0233 | 229.0347 | 2.6813 | 134.6573 | 2.4953 | 230.206 | 23.6533 | 879 | 66.184 | 0.51067
2020-05-04 06:00:00 | 1.874 | 273.74 | 1.888 | 324.03 | 2.322 | 267.718 | 2.22 | 325.686 | 23.4 | 879 | 66.486 | 0.66733
2020-05-04 06:15:00 | 1.874 | 273.74 | 1.888 | 324.03 | 2.322 | 267.718 | 2.22 | 325.686 | 23.4 | 879 | 66.486 | 0.66733
2020-05-04 06:30:00 | 1.874 | 273.74 | 1.888 | 324.03 | 2.322 | 267.718 | 2.22 | 325.686 | 23.4 | 879 | 66.486 | 0.66733
2020-05-04 06:45:00 | 1.874 | 273.74 | 1.888 | 324.03 | 2.322 | 267.718 | 2.22 | 325.686 | 23.4 | 879 | 66.486 | 0.66733
2020-05-04 07:00:00 | 1.874 | 273.74 | 1.888 | 324.03 | 2.322 | 267.718 | 2.22 | 325.686 | 23.4 | 879 | 66.486 | 0.66733
2020-05-04 07:15:00 | 3.6173 | 256.24 | 3.7467 | 323.9073 | 4.5013 | 250.6027 | 4.494 | 325.5633 | 22.6667 | 881 | 71.1247 | 8.1813
2020-05-04 07:30:00 | 3.6173 | 256.24 | 3.7467 | 323.9073 | 4.5013 | 250.6027 | 4.494 | 325.5633 | 22.6667 | 881 | 71.1247 | 8.1813
2020-05-04 07:45:00 | 3.6173 | 256.24 | 3.7467 | 323.9073 | 4.5013 | 250.6027 | 4.494 | 325.5633 | 22.6667 | 881 | 71.1247 | 8.1813
2020-05-04 08:00:00 | 3.6173 | 256.24 | 3.7467 | 323.9073 | 4.5013 | 250.6027 | 4.494 | 325.5633 | 22.6667 | 881 | 71.1247 | 8.1813
2020-05-04 08:15:00 | 3.6173 | 256.24 | 3.7467 | 323.9073 | 4.5013 | 250.6027 | 4.494 | 325.5633 | 22.6667 | 881 | 71.1247 | 8.1813
2020-05-04 08:30:00 | 4.098 | 341.2667 | 4.2573 | 329.8133 | 5.1013 | 333.7587 | 5.114 | 331.5 | 22.84 | 881 | 70.8267 | 12.0787
2020-05-04 08:45:00 | 4.5047 | 326.9733 | 4.7333 | 334.4633 | 5.4347 | 319.7793 | 5.5973 | 336.1727 | 23.2733 | 882 | 68.396 | 14.0107
2020-05-04 09:00:00 | 4.0487 | 299.8267 | 4.2993 | 328.072 | 4.986 | 293.2293 | 5.1927 | 329.7507 | 23.2467 | 882 | 65.9487 | 11.582
2020-05-04 09:15:00 | 4.0707 | 350.7533 | 4.312 | 331.1707 | 4.692 | 343.036 | 4.972 | 332.8647 | 23.3467 | 882.3333 | 63.734 | 10.5827
2020-05-04 09:30:00 | 4.6147 | 337.0733 | 4.902 | 328.3993 | 5.42 | 330.3087 | 5.736 | 330.0773 | 23.4933 | 883 | 62.25 | 14.9313
2020-05-04 09:45:00 | 4.2227 | 332.0933 | 4.5567 | 323.718 | 5.0793 | 324.5527 | 5.4567 | 325.3727 | 23.98 | 883 | 60.8367 | 13.0567
2020-05-04 10:00:00 | 4.2873 | 335.7533 | 4.6333 | 325.9407 | 4.9027 | 328.3673 | 5.3767 | 327.608 | 24.3467 | 883 | 59.5313 | 11.4427
2020-05-04 10:15:00 | 3.6373 | 330.7667 | 3.8687 | 312.4773 | 4.292 | 323.49 | 4.54 | 314.074 | 24.6 | 883 | 56.8953 | 6.0913
2020-05-04 10:30:00 | 3.418 | 312.6733 | 3.5893 | 327.428 | 3.9027 | 305.794 | 4.0887 | 329.1007 | 24.3933 | 883.6667 | 54.4147 | 5.496
2020-05-04 10:45:00 | 3.2773 | 333.4333 | 3.508 | 323.38 | 3.8953 | 326.098 | 4.1527 | 325.0327 | 24.4333 | 884 | 55.0033 | 5.0787
2020-05-04 11:00:00 | 2.614 | 259.9533 | 2.7293 | 305.2587 | 3.22 | 254.2347 | 3.27 | 306.8207 | 25.22 | 884 | 55.534 | 2.0813
2020-05-04 11:15:00 | 2.01 | 262.6333 | 2.1147 | 326.2867 | 2.5353 | 256.8553 | 2.58 | 327.954 | 25.5733 | 884 | 53.8233 | 0.40667
2020-05-04 11:30:00 | 1.872 | 269.3267 | 2 | 306.7927 | 2.288 | 263.4007 | 2.4093 | 308.3607 | 26.1467 | 884 | 54.4207 | 0.114
2020-05-04 11:45:00 | 1.564 | 152.0067 | 1.6453 | 302.542 | 1.974 | 148.6633 | 2.006 | 304.0893 | 26.9067 | 884 | 53.53 | 0
2020-05-04 12:00:00 | 1.562 | 201.38 | 1.578 | 264.8027 | 1.9073 | 196.9487 | 1.8393 | 266.1573 | 27.4333 | 884 | 52.1893 | 0
2020-05-04 12:15:00 | 1.4313 | 243.5867 | 1.5067 | 284.9033 | 1.846 | 238.2267 | 1.8687 | 286.3613 | 28.1133 | 884 | 49.186 | 0
2020-05-04 12:30:00 | 1.4033 | 145.9667 | 1.436 | 283.8147 | 1.4967 | 142.7547 | 1.5327 | 285.266 | 28.6867 | 884 | 45.0267 | 0
2020-05-04 12:45:00 | 1.318 | 125.7667 | 1.358 | 207.578 | 1.5647 | 123 | 1.5667 | 208.6373 | 28.5467 | 883.6667 | 43.836 | 0
2020-05-04 13:00:00 | 1.1993 | 201.9533 | 1.1887 | 287.5647 | 1.228 | 197.5107 | 1.2007 | 289.034 | 28.4 | 883 | 44.736 | 0
2020-05-04 13:15:00 | 1.3733 | 63.76 | 1.45 | 314.2307 | 1.558 | 62.3593 | 1.648 | 315.8387 | 28.5133 | 883 | 45.898 | 0
2020-05-04 13:30:00 | 1.1273 | 177.1 | 1.222 | 249.7027 | 1.1653 | 173.204 | 1.332 | 250.98 | 29.5 | 883 | 45.35 | 0
2020-05-04 13:45:00 | 2.18 | 155.8733 | 2.4107 | 153.0887 | 2.4967 | 152.444 | 2.844 | 153.8727 | 29.3933 | 883 | 42.3187 | 0
2020-05-04 14:00:00 | 3.3547 | 148.1933 | 3.468 | 142.834 | 3.614 | 144.9333 | 3.7607 | 143.564 | 29.2667 | 883 | 39.8427 | 1.3893
2020-05-04 14:15:00 | 3.3587 | 166.1133 | 3.4753 | 133.79 | 3.5813 | 162.458 | 3.7393 | 134.4733 | 29.18 | 883 | 39.392 | 5.4667
2020-05-04 14:30:00 | 4.558 | 148.1067 | 4.7493 | 129.564 | 4.9567 | 144.8487 | 5.2093 | 130.228 | 28.82 | 883 | 38.2713 | 13.406
2020-05-04 14:45:00 | 4.5993 | 145.6533 | 4.8027 | 135.3293 | 5.0713 | 142.4487 | 5.3233 | 136.0207 | 28.7333 | 882.6667 | 36.97 | 16.756
2020-05-04 15:00:00 | 4.8613 | 144.1267 | 5.0227 | 136.626 | 5.4413 | 140.9553 | 5.5827 | 137.3247 | 28.5533 | 882 | 39.288 | 19.8987
2020-05-04 15:15:00 | 4.798 | 149.5667 | 4.9793 | 132.5507 | 5.2553 | 146.276 | 5.4687 | 133.2313 | 28.4267 | 882 | 39.496 | 18.4907
2020-05-04 15:30:00 | 4.2227 | 146.94 | 4.4087 | 129.6173 | 4.6827 | 143.362 | 4.9013 | 130.28 | 28.16 | 882 | 39.966 | 14.9427
2020-05-04 15:45:00 | 4.046 | 156.66 | 4.2407 | 135.706 | 4.4173 | 153.2133 | 4.6833 | 136.4007 | 28.44 | 882 | 41.8307 | 10.9373
2020-05-04 16:00:00 | 3.6827 | 151.3 | 3.9247 | 136.5747 | 4.2193 | 147.972 | 4.5253 | 137.2727 | 28.7067 | 882 | 41.324 | 10.5247
2020-05-04 16:15:00 | 3.8033 | 160.32 | 3.974 | 134.3767 | 4.154 | 156.7927 | 4.3767 | 135.0647 | 28.52 | 881.6667 | 41.3047 | 10.478
2020-05-04 16:30:00 | 3.5733 | 158.8867 | 3.7707 | 137.148 | 4.094 | 155.3913 | 4.3207 | 137.8493 | 28.72 | 881 | 41.104 | 9.9253
2020-05-04 16:45:00 | 3.476 | 155.12 | 3.6827 | 148.422 | 3.9773 | 151.7067 | 4.226 | 149.1787 | 28.76 | 881 | 41.2733 | 9.064
2020-05-04 17:00:00 | 3.2833 | 169.0733 | 3.5073 | 153.7533 | 3.8033 | 165.354 | 4.0787 | 154.5413 | 28.6667 | 881 | 41.394 | 7.8767
2020-05-04 17:15:00 | 3.5767 | 163.8133 | 3.7067 | 128.594 | 4.0627 | 160.2093 | 4.17 | 129.2513 | 28.3733 | 881 | 42.3187 | 7.542
2020-05-04 17:30:00 | 2.98 | 156.9733 | 3.1267 | 141.1773 | 3.4127 | 153.52 | 3.566 | 141.8993 | 28.24 | 881 | 42.6373 | 5.6807
2020-05-04 17:45:00 | 3.61 | 163.6867 | 3.8253 | 138.888 | 3.8213 | 160.0867 | 4.1727 | 139.5987 | 28.0333 | 881 | 42.8767 | 7.732
2020-05-04 18:00:00 | 3.3873 | 168.56 | 3.5727 | 145.0107 | 3.624 | 164.8507 | 3.9113 | 145.7527 | 27.72 | 881 | 44.3987 | 9.338
2020-05-04 18:15:00 | 3.0667 | 165.6667 | 3.2467 | 158.748 | 3.2107 | 162.022 | 3.5153 | 159.5593 | 27.6 | 881 | 45.366 | 9.0387
2020-05-04 18:30:00 | 3.49 | 164.4067 | 3.612 | 139.9593 | 3.6087 | 160.79 | 3.812 | 140.674 | 27.5267 | 881 | 46.5173 | 7.7773
2020-05-04 18:45:00 | 3.3273 | 164.2667 | 3.414 | 145.3053 | 3.5487 | 160.6527 | 3.6513 | 146.048 | 27.3333 | 881 | 46.7467 | 6.9733
2020-05-04 19:00:00 | 3.5153 | 150.9267 | 3.608 | 140.042 | 3.698 | 147.6067 | 3.8213 | 140.7593 | 27.2067 | 881 | 47.07 | 7.6113
2020-05-04 19:15:00 | 3.3927 | 154.4467 | 3.5113 | 142.078 | 3.6633 | 151.0487 | 3.8107 | 142.8033 | 27.0733 | 881 | 46.8387 | 7.0527
2020-05-04 19:30:00 | 2.9553 | 145.76 | 3.066 | 138.8113 | 3.294 | 142.554 | 3.41 | 139.5193 | 26.9067 | 881 | 46.95 | 6.4887
2020-05-04 19:45:00 | 2.868 | 144.76 | 2.9447 | 134.5467 | 3.2393 | 141.574 | 3.278 | 135.234 | 26.7 | 881 | 47.4227 | 5.8507
2020-05-04 20:00:00 | 3.0887 | 148.8867 | 3.1833 | 140.5193 | 3.4007 | 145.6113 | 3.49 | 141.2373 | 26.6867 | 881 | 48.1993 | 6.7827
2020-05-04 20:15:00 | 2.7927 | 149.24 | 2.854 | 142.3047 | 2.9733 | 145.956 | 3.038 | 143.032 | 26.5533 | 881 | 48.6433 | 5.1407
2020-05-04 20:30:00 | 2.2207 | 158.1667 | 2.2293 | 146.5693 | 2.412 | 154.6873 | 2.3753 | 147.32 | 26.4467 | 881 | 49.4887 | 4.3007
2020-05-04 20:45:00 | 2.118 | 169.9667 | 2.1333 | 148.3953 | 2.354 | 166.2273 | 2.3193 | 149.154 | 26.3667 | 881 | 50.1467 | 4.1627
2020-05-04 21:00:00 | 1.8833 | 152.5533 | 1.8867 | 143.6167 | 2.0633 | 149.1973 | 2.0207 | 144.3493 | 26.3 | 881 | 50.13 | 2.728
2020-05-04 21:15:00 | 1.6647 | 161.48 | 1.664 | 151.786 | 1.8007 | 157.928 | 1.7587 | 152.5613 | 26.2733 | 881 | 50.4627 | 1.7227
2020-05-04 21:30:00 | 1.86 | 141.96 | 1.8687 | 152.8213 | 1.9013 | 138.8367 | 1.9147 | 153.6027 | 26.0933 | 881 | 50.9953 | 1.41
2020-05-04 21:45:00 | 1.6413 | 156.7667 | 1.6813 | 149.262 | 1.642 | 153.3187 | 1.7227 | 150.0247 | 25.8867 | 881.3333 | 52.5327 | 1.3153
2020-05-04 22:00:00 | 0.81333 | 176.0333 | 0.86 | 144.014 | 0.76867 | 172.16 | 0.872 | 144.7487 | 25.86 | 882 | 53.2287 | 0
2020-05-04 22:15:00 | 1.1547 | 177.36 | 1.188 | 165.1313 | 1.1987 | 173.458 | 1.2507 | 165.976 | 25.9133 | 882 | 53.99 | 0
2020-05-04 22:30:00 | 0.75667 | 168.7933 | 0.82267 | 158.664 | 0.80667 | 165.0807 | 0.91933 | 159.4747 | 25.7933 | 882 | 54.6493 | 0
2020-05-04 22:45:00 | 0.62643 | 187.9933 | 0.69533 | 204.448 | 0.78867 | 183.858 | 0.87286 | 205.492 | 25.75 | 882 | 55.1 | 0
2020-05-04 23:00:00 | 0.432 | 241.42 | 0.47533 | 268.5913 | 0.49533 | 236.108 | 0.55867 | 269.9633 | 25.6467 | 882 | 54.92 | 0
2020-05-04 23:15:00 | 0.53 | 272.6267 | 0.54333 | 267.9987 | 0.68467 | 266.6287 | 0.66667 | 269.3673 | 25.7133 | 882 | 57.3093 | 0
2020-05-04 23:30:00 | 1.5293 | 252.2 | 1.4773 | 334.828 | 2.1827 | 246.6507 | 1.8973 | 336.5393 | 25.06 | 881.3333 | 60.1627 | 0
2020-05-04 23:45:00 | 2.896 | 335.1933 | 2.9867 | 338.9233 | 3.47 | 327.8193 | 3.478 | 340.656 | 24.1133 | 881 | 62.98 | 1.466