## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-05 00:00:00 | 3.4636 | 348.1714 | 3.6607 | 332.9871 | 4.0721 | 340.5107 | 4.2729 | 334.69 | 23.7214 | 881 | 65.5779 | 6.434
2020-05-05 00:15:00 | 4.182 | 326.7933 | 4.4733 | 322.59 | 4.9127 | 319.6033 | 5.254 | 324.2393 | 23.3467 | 881 | 67.3753 | 13.112
2020-05-05 00:30:00 | 4.6253 | 257.9267 | 4.9167 | 329.378 | 5.1953 | 252.5453 | 5.584 | 331.0607 | 23.06 | 881 | 68.3713 | 15.484
2020-05-05 00:45:00 | 5.0987 | 330.6133 | 5.464 | 328.9927 | 5.7893 | 323.3387 | 6.2813 | 330.6747 | 22.88 | 881 | 68.146 | 22.0767
2020-05-05 01:00:00 | 4.288 | 237.4533 | 4.6387 | 334.6327 | 5.038 | 231.9473 | 5.4847 | 336.3427 | 22.8133 | 880.3333 | 68.376 | 15.994
2020-05-05 01:15:00 | 4.0107 | 119.68 | 4.2873 | 325.7407 | 4.788 | 117.0473 | 5.0907 | 327.4027 | 22.6933 | 880 | 68.798 | 13.4793
2020-05-05 01:30:00 | 4.3067 | 235.7067 | 4.6447 | 329.656 | 5.0553 | 229.9347 | 5.4807 | 331.3427 | 22.6533 | 880 | 70.968 | 15.9347
2020-05-05 01:45:00 | 4.5247 | 254.56 | 4.8473 | 323.092 | 5.2007 | 248.9587 | 5.62 | 324.744 | 22.26 | 880 | 71.094 | 17.0133
2020-05-05 02:00:00 | 4.636 | 341.7467 | 4.9207 | 326.1227 | 5.282 | 334.2287 | 5.6347 | 327.7913 | 22.1333 | 880 | 71.4733 | 16.608
2020-05-05 02:15:00 | 4.9493 | 338.66 | 5.2167 | 324.97 | 5.7193 | 331.208 | 6.006 | 326.6313 | 22.2933 | 880 | 72.932 | 19.848
2020-05-05 02:30:00 | 5.0973 | 338.2533 | 5.3933 | 320.946 | 5.6853 | 330.8107 | 6.0753 | 322.5873 | 22.0867 | 880 | 72.308 | 20.7787
2020-05-05 02:45:00 | 4.6093 | 343.3867 | 4.9527 | 323.972 | 5.0553 | 335.832 | 5.5793 | 325.6287 | 22.0067 | 880 | 72.4293 | 16.682
2020-05-05 03:00:00 | 4.668 | 340.6467 | 5.0333 | 327.2847 | 5.3993 | 332.6447 | 5.8807 | 328.958 | 21.9333 | 880 | 73.4333 | 15.9067
2020-05-05 03:15:00 | 4.1393 | 345.6267 | 4.3833 | 324.462 | 4.8407 | 338.0227 | 5.1027 | 326.1193 | 22.06 | 879.3333 | 74.834 | 11.1493
2020-05-05 03:30:00 | 3.878 | 348.3733 | 4.1113 | 321.704 | 4.6167 | 340.7087 | 4.8487 | 323.348 | 22.1133 | 879.3333 | 75.968 | 10.2047
2020-05-05 03:45:00 | 4.3193 | 340.32 | 4.5933 | 319.1873 | 5.1927 | 332.8327 | 5.4567 | 320.8187 | 21.9467 | 879 | 75.5207 | 13.7287
2020-05-05 04:00:00 | 4.514 | 338.63 | 4.826 | 315.523 | 5.407 | 331.68 | 5.741 | 317.137 | 21.75 | 879 | 76.295 | 15.4647
2020-05-05 04:15:00 | 4.9013 | 341.52 | 5.2753 | 321.4627 | 5.702 | 334.0053 | 6.178 | 323.1067 | 21.52 | 879 | 75.9567 | 17.3287
2020-05-05 04:30:00 | 5.0893 | 338.3467 | 5.5093 | 317.3747 | 5.9733 | 330.902 | 6.5093 | 318.9953 | 21.4933 | 879 | 76.64 | 20.7167
2020-05-05 04:45:00 | 5.1253 | 337.6267 | 5.554 | 326.006 | 5.994 | 330.1987 | 6.5533 | 327.6727 | 21.6 | 879 | 76.8693 | 21.524
2020-05-05 05:00:00 | 5.474 | 340.7333 | 5.8973 | 329.3907 | 6.2887 | 333.2373 | 6.8487 | 331.0747 | 21.3133 | 879 | 76.7847 | 28.252
2020-05-05 05:15:00 | 5.8947 | 344.4133 | 6.392 | 327.2327 | 6.7467 | 336.8367 | 7.4413 | 328.9053 | 21.34 | 879 | 76.7427 | 32.442
2020-05-05 05:30:00 | 5.9767 | 346.5333 | 6.458 | 323.2873 | 6.866 | 339.196 | 7.5267 | 324.9407 | 21.08 | 879 | 77.7053 | 33.5187
2020-05-05 05:45:00 | 5.9 | 342.4133 | 6.3573 | 320.9733 | 6.7067 | 334.8807 | 7.3393 | 322.614 | 20.9467 | 879 | 77.3907 | 33.606
2020-05-05 06:00:00 | 5.5733 | 345.1267 | 6.0407 | 322.746 | 6.4067 | 337.5347 | 7.0533 | 324.3967 | 20.5267 | 879 | 77.886 | 31.278
2020-05-05 06:15:00 | 5.2867 | 351.1 | 5.736 | 323.0327 | 6.1007 | 343.3753 | 6.7147 | 324.6853 | 20.3733 | 879.3333 | 79.2967 | 28.3273
2020-05-05 06:30:00 | 5.596 | 349.7733 | 6.0213 | 324.8793 | 6.524 | 342.0773 | 7.0613 | 326.54 | 20.44 | 880 | 80.7133 | 30.08
2020-05-05 06:45:00 | 5.7807 | 344.42 | 6.246 | 326.9507 | 6.7467 | 336.8433 | 7.3433 | 328.6227 | 20.4267 | 880 | 81.5733 | 33.33
2020-05-05 07:00:00 | 5.97 | 341.3467 | 6.432 | 322.264 | 6.9147 | 333.8367 | 7.5193 | 323.9113 | 20.4333 | 880 | 81.6467 | 34.3047
2020-05-05 07:15:00 | 5.9467 | 344.46 | 6.3767 | 326.3407 | 6.8187 | 336.882 | 7.382 | 328.0073 | 20.4267 | 880 | 80.9133 | 34.126
2020-05-05 07:30:00 | 5.8633 | 346.82 | 6.3513 | 323.3347 | 6.6707 | 339.1913 | 7.3627 | 324.9867 | 20.4467 | 880 | 79.7827 | 32.7007
2020-05-05 07:45:00 | 5.51 | 343.3267 | 5.9753 | 322.8567 | 6.3747 | 335.7733 | 7.0053 | 324.5087 | 20.4933 | 880.3333 | 78.152 | 30.3447
2020-05-05 08:00:00 | 5.5353 | 332.1 | 5.8927 | 320.3067 | 6.3793 | 324.7953 | 6.8087 | 321.9453 | 20.6933 | 881 | 75.2307 | 27.4073
2020-05-05 08:15:00 | 4.9693 | 336.3533 | 5.176 | 320.6353 | 5.7667 | 328.9547 | 5.9307 | 322.2733 | 20.9333 | 881.3333 | 73.7267 | 24.006
2020-05-05 08:30:00 | 5.1353 | 329.12 | 5.3707 | 322.616 | 5.8927 | 321.88 | 6.1227 | 324.2647 | 20.9 | 882 | 74.464 | 24.1213
2020-05-05 08:45:00 | 5.54 | 334.72 | 5.8373 | 322.7007 | 6.2107 | 327.356 | 6.5813 | 324.3487 | 21.0067 | 882 | 72.8733 | 26.5587
2020-05-05 09:00:00 | 6.006 | 334.3467 | 6.4587 | 328.0873 | 6.73 | 327.4473 | 7.3833 | 329.764 | 21.1067 | 882 | 72.1567 | 30.6767
2020-05-05 09:15:00 | 5.902 | 334.0267 | 6.338 | 322.6027 | 6.7887 | 326.6787 | 7.36 | 324.2513 | 21.6533 | 883 | 70.0333 | 27.8953
2020-05-05 09:30:00 | 5.6067 | 333.1733 | 5.9427 | 325.8047 | 6.352 | 325.8447 | 6.7747 | 327.4687 | 21.9067 | 883 | 67.296 | 21.924
2020-05-05 09:45:00 | 5.0847 | 340.0933 | 5.4027 | 329.5653 | 5.748 | 332.6107 | 6.1633 | 331.2513 | 22.2467 | 883 | 64.6513 | 18.2947
2020-05-05 10:00:00 | 4.3007 | 334.0067 | 4.602 | 328.4367 | 5.094 | 326.6593 | 5.434 | 330.1167 | 22.88 | 883 | 62.8107 | 13.7027
2020-05-05 10:15:00 | 3.828 | 314.5133 | 4.0913 | 288.1193 | 4.544 | 307.5933 | 4.834 | 289.5913 | 23.32 | 883 | 59.7713 | 9.7573
2020-05-05 10:30:00 | 3.2167 | 286.3667 | 3.44 | 311.7407 | 3.9087 | 280.0667 | 4.1307 | 313.334 | 24.0933 | 883.6667 | 58.0413 | 5.1107
2020-05-05 10:45:00 | 2.8893 | 307.18 | 3.052 | 310.0247 | 3.368 | 300.4227 | 3.5413 | 311.6107 | 24.4867 | 884 | 56.4733 | 2.6213
2020-05-05 11:00:00 | 2.446 | 285.86 | 2.5807 | 286.796 | 2.8733 | 279.5707 | 3.006 | 288.2607 | 25.06 | 884 | 55.9233 | 1.674
2020-05-05 11:15:00 | 2.432 | 306.32 | 2.5727 | 284.93 | 2.724 | 299.582 | 2.91 | 286.3853 | 25.9867 | 884 | 52.916 | 0.67933
2020-05-05 11:30:00 | 2.25 | 288.4933 | 2.3327 | 283.6007 | 2.8367 | 282.6427 | 2.8327 | 285.05 | 26.5467 | 884 | 51.5687 | 0
2020-05-05 11:45:00 | 2.0673 | 235.8867 | 2.2167 | 264.666 | 2.4487 | 230.6967 | 2.62 | 266.02 | 27.2533 | 884 | 51.4233 | 0
2020-05-05 12:00:00 | 1.7707 | 193.5067 | 1.7867 | 304.536 | 1.948 | 189.2507 | 1.9307 | 306.0933 | 27.72 | 884 | 49.1293 | 0
2020-05-05 12:15:00 | 1.5727 | 149.88 | 1.65 | 280.614 | 1.8547 | 146.5827 | 1.9173 | 282.048 | 28.3333 | 883.6667 | 48.3327 | 0
2020-05-05 12:30:00 | 1.6133 | 79.2867 | 1.7047 | 172.3813 | 1.7927 | 77.54 | 1.9193 | 173.2633 | 28.9733 | 883 | 45.8987 | 0
2020-05-05 12:45:00 | 2.2873 | 160.1267 | 2.4567 | 167.982 | 2.3767 | 156.6033 | 2.6747 | 168.8407 | 28.2933 | 883 | 43.6373 | 0
2020-05-05 13:00:00 | 2.2453 | 177.02 | 2.376 | 144.9473 | 2.588 | 173.126 | 2.7353 | 145.6867 | 28.94 | 883 | 43.2107 | 0.36867
2020-05-05 13:15:00 | 2.5847 | 164.66 | 2.7507 | 137.2127 | 2.962 | 161.0373 | 3.168 | 137.9147 | 28.8867 | 883 | 42.2493 | 1.11
2020-05-05 13:30:00 | 2.7227 | 185.2533 | 2.7667 | 130.7907 | 3.0587 | 181.178 | 3.0473 | 131.4607 | 28.7 | 883 | 41.0367 | 1.802
2020-05-05 13:45:00 | 2.4847 | 156.68 | 2.7233 | 139.3653 | 2.8 | 153.232 | 3.1593 | 140.0773 | 29.4733 | 883 | 39.0267 | 1.868
2020-05-05 14:00:00 | 2.7293 | 166.3867 | 2.8633 | 141.302 | 2.842 | 162.726 | 3.0653 | 142.0233 | 29.0933 | 883 | 37.7753 | 2.188
2020-05-05 14:15:00 | 2.9487 | 150.5 | 3.0407 | 167.9553 | 3.418 | 147.19 | 3.4593 | 168.8133 | 29.54 | 882 | 37.6827 | 3.394
2020-05-05 14:30:00 | 2.8833 | 199.3 | 3.082 | 161.1287 | 2.97 | 194.9153 | 3.3227 | 161.952 | 29.7133 | 882 | 36.4893 | 2.95
2020-05-05 14:45:00 | 2.464 | 184.9733 | 2.5467 | 140.0627 | 2.71 | 180.9047 | 2.7987 | 140.7787 | 29.7733 | 882 | 35.618 | 2.8127
2020-05-05 15:00:00 | 2.49 | 190.3533 | 2.6867 | 180.846 | 2.8867 | 186.166 | 3.146 | 181.7687 | 30.1467 | 882 | 34.88 | 2.518
2020-05-05 15:15:00 | 3.6927 | 161.5533 | 3.8353 | 145.8333 | 3.932 | 157.9987 | 4.134 | 146.578 | 29.9933 | 882 | 33.6353 | 6.3753
2020-05-05 15:30:00 | 3.53 | 155.4867 | 3.7513 | 134.8013 | 3.726 | 151.152 | 4.0967 | 135.4893 | 30.04 | 882 | 31.9713 | 7.752
2020-05-05 15:45:00 | 3.3287 | 169.7733 | 3.4367 | 158.5787 | 3.828 | 166.038 | 3.8947 | 159.3907 | 29.9733 | 882 | 32.2453 | 9.286
2020-05-05 16:00:00 | 4.5567 | 154.5333 | 4.704 | 135.0947 | 5.106 | 151.1333 | 5.2307 | 135.786 | 29.5 | 881.3333 | 33.1327 | 16.0747
2020-05-05 16:15:00 | 3.6867 | 146.4 | 3.8853 | 140.656 | 4.1193 | 143.1793 | 4.3727 | 141.3753 | 29.1467 | 881 | 35.3993 | 10.632
2020-05-05 16:30:00 | 3.5733 | 144.8267 | 3.7247 | 135.2247 | 4.1587 | 141.282 | 4.2793 | 135.916 | 29 | 881 | 36.5127 | 10.1047
2020-05-05 16:45:00 | 3.684 | 150.5667 | 3.8647 | 143.9373 | 4.3413 | 147.254 | 4.4967 | 144.6713 | 29.0467 | 880 | 37.7033 | 10.4367
2020-05-05 17:00:00 | 3.522 | 157.0933 | 3.8273 | 148.7987 | 3.9207 | 153.6373 | 4.3887 | 149.5613 | 28.98 | 880 | 38.3027 | 12.84
2020-05-05 17:15:00 | 3.3633 | 156.9667 | 3.5947 | 158.1027 | 3.922 | 153.5127 | 4.2027 | 158.9113 | 28.9067 | 880 | 38.644 | 13.6887
2020-05-05 17:30:00 | 3.6253 | 159.46 | 3.8173 | 147.782 | 3.9007 | 155.9527 | 4.1893 | 148.5373 | 28.8667 | 880 | 39.836 | 12.282
2020-05-05 17:45:00 | 3.7633 | 159.6867 | 4.07 | 160.724 | 4.2907 | 156.174 | 4.7213 | 161.5453 | 28.6467 | 880 | 40.5147 | 18.1667
2020-05-05 18:00:00 | 4.66 | 160.2733 | 4.8933 | 144.0007 | 4.6993 | 156.748 | 5.1373 | 144.7373 | 28.38 | 880 | 41.7293 | 21.428
2020-05-05 18:15:00 | 5.042 | 155.1 | 5.2807 | 140.732 | 5.1507 | 151.6867 | 5.5747 | 141.454 | 28.2467 | 880 | 42.7327 | 21.0147
2020-05-05 18:30:00 | 4.7487 | 154.1667 | 5.0193 | 135.4527 | 4.8567 | 150.7747 | 5.338 | 136.1447 | 28.0333 | 880 | 42.266 | 18.51
2020-05-05 18:45:00 | 4.832 | 154.2933 | 5.0373 | 141.98 | 4.832 | 151.3027 | 5.2233 | 142.7047 | 27.8 | 879.6667 | 42.3473 | 19.326
2020-05-05 19:00:00 | 4.7187 | 158.7333 | 4.922 | 140.3753 | 4.7447 | 155.2413 | 5.124 | 141.094 | 27.62 | 879 | 42.628 | 17.514
2020-05-05 19:15:00 | 4.482 | 153.7667 | 4.7587 | 139.548 | 4.6613 | 150.3833 | 5.132 | 140.2607 | 27.5667 | 879.3333 | 42.744 | 17.8653
2020-05-05 19:30:00 | 3.7167 | 150.3333 | 4.0247 | 142.6387 | 4.2687 | 146.484 | 4.6927 | 143.368 | 27.2667 | 880 | 43.41 | 13.3093
2020-05-05 19:45:00 | 3.3887 | 157.7667 | 3.5153 | 145.938 | 3.5727 | 154.2967 | 3.762 | 146.6827 | 27.0867 | 880 | 44.6793 | 9.5507
2020-05-05 20:00:00 | 3.3373 | 154.5667 | 3.5613 | 151.5507 | 3.5993 | 150.4947 | 3.948 | 152.3253 | 26.8867 | 880 | 45.8573 | 9.1413
2020-05-05 20:15:00 | 3.1527 | 155.9333 | 3.3247 | 152.182 | 3.4093 | 152.5047 | 3.6627 | 152.9607 | 26.7067 | 880 | 47.2393 | 8.5587
2020-05-05 20:30:00 | 2.8947 | 152.5733 | 3.0093 | 148.968 | 3.1553 | 149.216 | 3.2947 | 149.7307 | 26.5467 | 880 | 49.0327 | 6.9647
2020-05-05 20:45:00 | 2.9207 | 150.3133 | 3.0867 | 146.088 | 3.294 | 147.0053 | 3.5013 | 146.834 | 26.34 | 880 | 49.918 | 5.7013
2020-05-05 21:00:00 | 2.352 | 148.5067 | 2.486 | 144.8347 | 2.6993 | 145.24 | 2.8553 | 145.5753 | 26.22 | 880 | 51.406 | 3.1653
2020-05-05 21:15:00 | 2.3273 | 142.84 | 2.4047 | 142.8467 | 2.6447 | 139.696 | 2.7053 | 143.5773 | 26.1 | 880 | 51.842 | 2.8787
2020-05-05 21:30:00 | 2.392 | 138.1333 | 2.5713 | 135.3947 | 2.9307 | 133.7773 | 3.114 | 136.086 | 25.9267 | 880 | 52.0073 | 2.3693
2020-05-05 21:45:00 | 2.416 | 132.42 | 2.5727 | 135.8567 | 2.8833 | 129.508 | 3.046 | 136.552 | 25.84 | 880 | 52.8713 | 2.4773
2020-05-05 22:00:00 | 2.7113 | 128.78 | 2.874 | 134.0307 | 3.088 | 125.9467 | 3.2887 | 134.7167 | 25.7 | 880 | 53.3987 | 3.1527
2020-05-05 22:15:00 | 2.6067 | 129.0267 | 2.7713 | 133.2813 | 2.9233 | 126.1887 | 3.142 | 133.964 | 25.6533 | 880 | 54.22 | 2.446
2020-05-05 22:30:00 | 2.6793 | 128.7933 | 2.8687 | 136.072 | 3.004 | 125.9607 | 3.2693 | 136.7687 | 25.5667 | 880 | 55.21 | 2.2827
2020-05-05 22:45:00 | 2.5647 | 138.3857 | 2.7833 | 129.1657 | 2.8827 | 135.3414 | 3.2053 | 130.0707 | 25.4786 | 880 | 55.2853 | 1.65
2020-05-05 23:00:00 | 2.658 | 140.7533 | 2.8307 | 135.7667 | 2.8827 | 137.6567 | 3.1467 | 136.4593 | 25.4067 | 880 | 54.9987 | 1.8307
2020-05-05 23:15:00 | 2.5847 | 144.2733 | 2.686 | 139.1313 | 2.8433 | 141.1 | 2.96 | 139.8413 | 25.4467 | 880 | 55.7487 | 2.1353
2020-05-05 23:30:00 | 2.3607 | 139.58 | 2.4753 | 136.9527 | 2.5947 | 136.51 | 2.7493 | 137.652 | 25.28 | 880 | 56.4567 | 1.9293
2020-05-05 23:45:00 | 2.198 | 147.0133 | 2.292 | 147.182 | 2.454 | 143.7773 | 2.558 | 147.9353 | 25.1533 | 880 | 57.4993 | 1.9247