## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-06 00:00:00 | 2.429 | 156.2 | 2.489 | 151.856 | 2.588 | 152.766 | 2.656 | 152.63 | 24.98 | 880 | 57.545 | 3.46
2020-05-06 00:15:00 | 2.6147 | 155.5333 | 2.7147 | 147.7353 | 2.778 | 152.112 | 2.9227 | 148.4907 | 24.78 | 879 | 57.5633 | 4.62
2020-05-06 00:30:00 | 2.8693 | 144.6333 | 2.9893 | 140.252 | 3.0153 | 141.45 | 3.2 | 140.968 | 24.6933 | 879 | 58.088 | 4.038
2020-05-06 00:45:00 | 2.5673 | 135.6667 | 2.7107 | 140.0887 | 2.7773 | 132.6813 | 2.99 | 140.8053 | 24.56 | 879 | 58.6807 | 2.3707
2020-05-06 01:00:00 | 2.254 | 134.2933 | 2.382 | 138.7247 | 2.4047 | 131.3387 | 2.6027 | 139.4347 | 24.44 | 879 | 59.6113 | 0.796
2020-05-06 01:15:00 | 1.8633 | 145.4133 | 1.9593 | 153.1273 | 1.9927 | 142.2153 | 2.1393 | 153.9113 | 24.4133 | 879 | 60.3713 | 0
2020-05-06 01:30:00 | 1.4867 | 164.7867 | 1.5673 | 154.172 | 1.52 | 161.1607 | 1.6627 | 154.9593 | 24.5667 | 879 | 61.644 | 0
2020-05-06 01:45:00 | 1.572 | 173.8333 | 1.6447 | 160.5167 | 1.57 | 170.0093 | 1.7113 | 161.3353 | 24.5467 | 879 | 62.6093 | 0.029333
2020-05-06 02:00:00 | 1.828 | 171.04 | 1.8847 | 156.6893 | 1.8673 | 167.278 | 1.9653 | 157.4907 | 24.4933 | 879 | 63.024 | 0
2020-05-06 02:15:00 | 1.842 | 158.7667 | 1.9547 | 154.9213 | 1.9873 | 155.2727 | 2.1587 | 155.714 | 24.3867 | 878 | 63.9887 | 0
2020-05-06 02:30:00 | 1.8727 | 155.3 | 1.9367 | 154.198 | 1.9513 | 151.884 | 2.054 | 154.9847 | 24.2533 | 878 | 64.878 | 0
2020-05-06 02:45:00 | 1.6067 | 148.36 | 1.694 | 145.566 | 1.6827 | 145.0953 | 1.8253 | 146.3087 | 24 | 878 | 65.3667 | 0
2020-05-06 03:00:00 | 1.6553 | 136.8467 | 1.722 | 130.342 | 1.8027 | 133.8373 | 1.8867 | 131.0093 | 23.6333 | 878 | 65.4113 | 0.006
2020-05-06 03:15:00 | 1.816 | 122.5533 | 1.9047 | 116.2647 | 2.002 | 119.8573 | 2.1153 | 116.8587 | 23.2533 | 878 | 65.8713 | 0.38267
2020-05-06 03:30:00 | 1.8933 | 121.8333 | 2.0293 | 115.4553 | 2.2227 | 119.1527 | 2.382 | 116.0467 | 23.1467 | 878 | 67.1727 | 0.906
2020-05-06 03:45:00 | 2.2213 | 126.9133 | 2.3813 | 126.122 | 2.5413 | 124.1207 | 2.75 | 126.768 | 22.96 | 878 | 68.1547 | 1.3747
2020-05-06 04:00:00 | 1.9727 | 137.4333 | 2.0627 | 135.728 | 2.3167 | 134.4093 | 2.388 | 136.4213 | 22.98 | 878 | 68.828 | 0.99133
2020-05-06 04:15:00 | 1.3493 | 137.9267 | 1.4213 | 148.194 | 1.5447 | 134.892 | 1.6227 | 148.95 | 23.0133 | 878 | 68.7133 | 0.68
2020-05-06 04:30:00 | 1.582 | 160.9733 | 1.6007 | 163.2153 | 1.5593 | 157.4313 | 1.6027 | 164.0493 | 23.4133 | 878 | 68.748 | 0.43067
2020-05-06 04:45:00 | 1.384 | 155.5467 | 1.444 | 155.254 | 1.4993 | 152.1247 | 1.5827 | 156.0473 | 23.3533 | 878 | 68.894 | 0.84533
2020-05-06 05:00:00 | 1.706 | 166.0133 | 1.8167 | 165.7187 | 1.9153 | 162.3613 | 2.0673 | 166.568 | 23.1 | 878 | 70.2107 | 1.46
2020-05-06 05:15:00 | 1.4067 | 174.1667 | 1.5033 | 171.7827 | 1.6273 | 170.3347 | 1.7487 | 172.66 | 22.92 | 877.3333 | 73.5173 | 1.948
2020-05-06 05:30:00 | 1.3547 | 167.7533 | 1.4487 | 175.258 | 1.3987 | 164.0627 | 1.564 | 176.1553 | 22.86 | 878 | 73.674 | 2.7153
2020-05-06 05:45:00 | 1.2027 | 148.6 | 1.2873 | 169.676 | 1.5227 | 145.3307 | 1.59 | 170.544 | 22.6467 | 878 | 74.9973 | 1.9927
2020-05-06 06:00:00 | 1.0893 | 128.7133 | 1.226 | 133.452 | 1.184 | 125.882 | 1.4113 | 134.1333 | 22.4533 | 878 | 76.1247 | 1.594
2020-05-06 06:15:00 | 0.93333 | 145.7533 | 1.0053 | 137.9973 | 0.882 | 142.5447 | 1.034 | 138.7 | 22.3933 | 878 | 76.5233 | 1.834
2020-05-06 06:30:00 | 0.998 | 147.2333 | 1.1167 | 177.3327 | 1.0273 | 143.9947 | 1.242 | 178.2387 | 22.46 | 878 | 76.5313 | 1.2313
2020-05-06 06:45:00 | 0.64667 | 146.5867 | 0.706 | 211.1113 | 0.864 | 143.3613 | 0.91333 | 212.1893 | 22.5533 | 878 | 76.4193 | 0.79067
2020-05-06 07:00:00 | 1.4347 | 205.8133 | 1.4487 | 213.1527 | 2.182 | 201.2867 | 1.9933 | 214.2413 | 21.9333 | 878 | 78.6167 | 0.22333
2020-05-06 07:15:00 | 1.6613 | 262.7133 | 1.608 | 329.378 | 2.1987 | 256.9333 | 1.9453 | 331.0607 | 21.5867 | 878 | 79.6327 | 0.28933
2020-05-06 07:30:00 | 2.2893 | 300.4067 | 2.3387 | 325.7393 | 2.796 | 293.7967 | 2.744 | 327.4053 | 21.18 | 878 | 79.4273 | 0.816
2020-05-06 07:45:00 | 1.806 | 274.9333 | 1.7633 | 309.2827 | 2.3553 | 268.8853 | 2.118 | 310.8633 | 21.22 | 878 | 79.6067 | 0.48267
2020-05-06 08:00:00 | 2.198 | 304.0933 | 2.1953 | 327.5647 | 2.7853 | 298.334 | 2.6033 | 329.24 | 21.1667 | 878 | 79.6667 | 1
2020-05-06 08:15:00 | 2.174 | 302.6533 | 2.1673 | 323.5547 | 2.7467 | 295.9953 | 2.5687 | 325.2087 | 21.0333 | 878.3333 | 79.356 | 1.1027
2020-05-06 08:30:00 | 1.8487 | 289.9933 | 1.7967 | 322.18 | 2.3547 | 283.614 | 2.11 | 323.8253 | 21.0267 | 879 | 79.1467 | 0.48267
2020-05-06 08:45:00 | 1.958 | 320.2467 | 1.9487 | 322.6807 | 2.4813 | 313.2013 | 2.314 | 324.3313 | 20.9733 | 879 | 79.1867 | 0.78667
2020-05-06 09:00:00 | 1.722 | 303.8933 | 1.6813 | 323.666 | 2.184 | 297.2087 | 1.9747 | 325.32 | 21.0533 | 879 | 78.7533 | 0.238
2020-05-06 09:15:00 | 1.5093 | 248.4133 | 1.466 | 316.078 | 1.836 | 242.9487 | 1.662 | 317.6913 | 21.18 | 879 | 78.168 | 0
2020-05-06 09:30:00 | 1.3047 | 220.08 | 1.292 | 302.594 | 1.7727 | 215.2387 | 1.6153 | 304.1407 | 21.6933 | 879 | 78.5373 | 0
2020-05-06 09:45:00 | 1.096 | 222.6 | 1.0953 | 316.8187 | 1.408 | 217.5913 | 1.324 | 318.4393 | 21.9067 | 879 | 79.224 | 0
2020-05-06 10:00:00 | 0.778 | 234.6133 | 0.77867 | 275.3707 | 1.1407 | 229.452 | 1.032 | 276.78 | 22.3667 | 879 | 78.2707 | 0
2020-05-06 10:15:00 | 0.62333 | 200.5067 | 0.628 | 175.3687 | 0.75067 | 196.0947 | 0.72333 | 176.2647 | 22.56 | 879.3333 | 77.158 | 0.028
2020-05-06 10:30:00 | 0.87533 | 164.98 | 0.906 | 177.428 | 1.0087 | 161.3507 | 1.024 | 178.3353 | 22.58 | 880 | 77.2207 | 0.15733
2020-05-06 10:45:00 | 0.816 | 164.4 | 0.81133 | 142.344 | 0.81333 | 160.7833 | 0.80467 | 143.0727 | 23 | 880 | 75.9913 | 0.358
2020-05-06 11:00:00 | 1.396 | 151.5733 | 1.4253 | 152.1513 | 1.076 | 148.2387 | 1.226 | 152.9293 | 22.64 | 880 | 75.334 | 1.0093
2020-05-06 11:15:00 | 1.5887 | 175.5533 | 1.622 | 153.2773 | 1.5633 | 171.6913 | 1.634 | 154.0633 | 23.16 | 880 | 76.656 | 0.254
2020-05-06 11:30:00 | 2.536 | 169.7533 | 2.6133 | 141.3933 | 2.474 | 166.0173 | 2.6387 | 142.1153 | 23.6267 | 880 | 73.6973 | 0.74133
2020-05-06 11:45:00 | 2.6833 | 144.36 | 2.738 | 150.5987 | 2.5447 | 141.184 | 2.6953 | 151.368 | 23.4133 | 880 | 73.646 | 1.2907
2020-05-06 12:00:00 | 2.308 | 141.14 | 2.4093 | 141.802 | 2.6373 | 138.0347 | 2.7407 | 142.5287 | 23.68 | 880 | 73.74 | 0.83933
2020-05-06 12:15:00 | 2.3407 | 142.8067 | 2.4553 | 132.6233 | 2.4227 | 139.6647 | 2.628 | 133.3013 | 23.88 | 880 | 70.584 | 1.3533
2020-05-06 12:30:00 | 1.958 | 144.36 | 2.1227 | 144.028 | 2.1613 | 141.184 | 2.4153 | 144.7633 | 24.84 | 880 | 69.9513 | 0.432
2020-05-06 12:45:00 | 1.998 | 128.9933 | 2.206 | 163.938 | 2.5027 | 126.156 | 2.7493 | 164.7767 | 25.56 | 880 | 71.3387 | 0.13533
2020-05-06 13:00:00 | 2.048 | 225.8133 | 2.11 | 281.3567 | 2.5027 | 220.844 | 2.4907 | 282.7953 | 24.62 | 880 | 66.7793 | 0
2020-05-06 13:15:00 | 2.6173 | 263.2733 | 2.6293 | 313.4553 | 3.1033 | 257.4813 | 2.9847 | 315.0587 | 24.3667 | 880 | 62.636 | 0.84867
2020-05-06 13:30:00 | 2.4673 | 295.0333 | 2.592 | 297.874 | 2.9907 | 288.5433 | 3.0747 | 299.396 | 24.8533 | 880 | 62.7587 | 1.2127
2020-05-06 13:45:00 | 2.4893 | 330.9467 | 2.62 | 308.096 | 2.9187 | 323.6673 | 3.0467 | 309.6713 | 25.5667 | 880 | 64.7667 | 1.098
2020-05-06 14:00:00 | 2.2853 | 313.2933 | 2.3893 | 292.422 | 2.594 | 306.4 | 2.7013 | 293.9167 | 25.0467 | 880 | 64.3947 | 0.32733
2020-05-06 14:15:00 | 1.6193 | 315.4267 | 1.6747 | 307.5747 | 1.976 | 308.488 | 1.9773 | 309.1473 | 24.7467 | 879.6667 | 67.588 | 0
2020-05-06 14:30:00 | 1.4453 | 290.64 | 1.4787 | 302.7567 | 1.8693 | 284.2447 | 1.806 | 304.3047 | 24.7 | 879 | 71.55 | 0
2020-05-06 14:45:00 | 1.478 | 262.6 | 1.4733 | 319.988 | 1.8333 | 256.8227 | 1.7227 | 321.6233 | 24.5067 | 878.6667 | 75.4913 | 0
2020-05-06 15:00:00 | 1.6327 | 304.7 | 1.682 | 327.8647 | 2.0287 | 297.996 | 2.0093 | 329.5407 | 24.4933 | 878 | 77.3087 | 0
2020-05-06 15:15:00 | 2.124 | 294.3333 | 2.198 | 296.9727 | 2.6487 | 287.858 | 2.6373 | 298.4913 | 24.4533 | 878 | 78.098 | 0.077333
2020-05-06 15:30:00 | 2.2547 | 293.64 | 2.3207 | 249.9833 | 2.75 | 287.1793 | 2.7353 | 251.2613 | 24.0333 | 878 | 76.4313 | 0.57467
2020-05-06 15:45:00 | 2.2167 | 292.8133 | 2.314 | 337.7027 | 2.71 | 286.372 | 2.7553 | 339.43 | 23.8 | 878 | 74.978 | 0.694
2020-05-06 16:00:00 | 2.826 | 313.2 | 3.0047 | 268.4927 | 3.4173 | 306.3107 | 3.5873 | 269.866 | 23.58 | 878 | 76.1453 | 2.3047
2020-05-06 16:15:00 | 2.6893 | 305.2733 | 2.7407 | 326.3847 | 3.3447 | 298.5567 | 3.2513 | 328.0533 | 23.3067 | 877 | 77.5947 | 3.1587
2020-05-06 16:30:00 | 3.046 | 336.98 | 3.2873 | 323.1767 | 3.7387 | 329.5653 | 3.998 | 324.8293 | 23.1867 | 877 | 77.054 | 4.5113
2020-05-06 16:45:00 | 3.336 | 341.2733 | 3.6293 | 308.9167 | 4.0227 | 333.7653 | 4.3767 | 310.498 | 22.88 | 877 | 77.402 | 6.6693
2020-05-06 17:00:00 | 3.5407 | 317.2333 | 3.6973 | 336.5293 | 4.1833 | 310.2533 | 4.2987 | 338.25 | 22.5933 | 877 | 77.4687 | 7.194
2020-05-06 17:15:00 | 3.436 | 320.1133 | 3.6153 | 331.15 | 4.2813 | 313.07 | 4.3773 | 332.8433 | 22.3467 | 877 | 77.4353 | 7.068
2020-05-06 17:30:00 | 3.7353 | 321.3467 | 3.9127 | 329.1547 | 4.5227 | 314.278 | 4.634 | 330.8373 | 22.14 | 877 | 78.0813 | 7.8853
2020-05-06 17:45:00 | 3.5753 | 334.5933 | 3.776 | 324.35 | 4.4327 | 327.2333 | 4.566 | 326.0087 | 21.9733 | 877 | 78.4407 | 8.5733
2020-05-06 18:00:00 | 3.634 | 341.9467 | 3.7873 | 332.5527 | 4.3533 | 334.4233 | 4.4353 | 334.252 | 21.7867 | 877 | 78.4 | 8.2933
2020-05-06 18:15:00 | 3.742 | 337.2867 | 3.9167 | 335.2993 | 4.5433 | 329.866 | 4.6453 | 337.0113 | 21.48 | 877 | 78.6467 | 10.1727
2020-05-06 18:30:00 | 3.862 | 332.8467 | 4.136 | 327.7667 | 4.8127 | 325.5227 | 5.0553 | 329.442 | 21.26 | 877 | 79.676 | 11.7907
2020-05-06 18:45:00 | 3.8487 | 340.52 | 4.07 | 328.64 | 4.778 | 333.03 | 4.9253 | 330.3213 | 21.1933 | 877 | 80.5067 | 9.8727
2020-05-06 19:00:00 | 3.78 | 337.5733 | 3.9333 | 330.198 | 4.5713 | 330.146 | 4.634 | 331.8867 | 21.0333 | 877 | 80.8333 | 10.3153
2020-05-06 19:15:00 | 4.1667 | 340.5733 | 4.354 | 330.5567 | 5.11 | 309.3867 | 5.194 | 332.2467 | 20.8067 | 877 | 81.2 | 13.5793
2020-05-06 19:30:00 | 4.058 | 335.5133 | 4.1847 | 327.4873 | 4.9353 | 327.0693 | 4.93 | 329.1593 | 20.6 | 877 | 81.7333 | 13.0393
2020-05-06 19:45:00 | 4.3347 | 337.5067 | 4.5073 | 325.296 | 5.1453 | 331.6727 | 5.238 | 326.958 | 20.5 | 877 | 82.2733 | 15.396
2020-05-06 20:00:00 | 4.3687 | 337.8267 | 4.5373 | 329.7627 | 5.216 | 330.3947 | 5.2893 | 331.448 | 20.4 | 877 | 82.76 | 16.8047
2020-05-06 20:15:00 | 4.67 | 338.4333 | 4.882 | 329.2473 | 5.56 | 330.9867 | 5.7087 | 330.93 | 20.2867 | 877 | 83.42 | 19.586
2020-05-06 20:30:00 | 4.756 | 335.98 | 4.976 | 326.8393 | 5.7633 | 328.588 | 5.89 | 328.512 | 20.1733 | 877 | 83.72 | 21.3447
2020-05-06 20:45:00 | 5.0267 | 335.8267 | 5.3333 | 329.3447 | 6.1087 | 328.44 | 6.374 | 331.028 | 20.0333 | 877 | 84.2933 | 23.284
2020-05-06 21:00:00 | 4.5987 | 338.2933 | 4.822 | 330.048 | 5.7087 | 330.8507 | 5.808 | 331.7347 | 19.9933 | 877 | 84.9 | 17.7427
2020-05-06 21:15:00 | 4.6153 | 330.28 | 4.688 | 326.6967 | 5.6733 | 323.014 | 5.504 | 328.3673 | 19.6133 | 877 | 87.46 | 18.4513
2020-05-06 21:30:00 | 5.4493 | 335.18 | 5.7487 | 324.1867 | 6.7233 | 327.8053 | 6.9253 | 325.8433 | 19.4133 | 877 | 90.8533 | 29.632
2020-05-06 21:45:00 | 5.9547 | 334.8067 | 6.3787 | 322.0227 | 7.144 | 327.956 | 7.6007 | 323.668 | 19.22 | 877 | 90.0067 | 32.8833
2020-05-06 22:00:00 | 5.996 | 333.38 | 6.438 | 322.6227 | 7.126 | 326.044 | 7.6353 | 324.2727 | 19.26 | 877 | 88.6933 | 34.4907
2020-05-06 22:15:00 | 5.6027 | 335.6 | 6.046 | 323.8227 | 6.7187 | 328.2167 | 7.2373 | 325.4787 | 19.1733 | 877.3333 | 88.4067 | 32.1593
2020-05-06 22:30:00 | 5.7567 | 334.8133 | 6.12 | 320.842 | 6.9067 | 327.4467 | 7.2627 | 322.4833 | 19.34 | 877.3333 | 87.8267 | 30.4253
2020-05-06 22:45:00 | 6.0607 | 338.04 | 6.4853 | 324.0113 | 7.102 | 330.6047 | 7.606 | 325.6693 | 19.1533 | 878 | 88.1533 | 36.4593
2020-05-06 23:00:00 | 5.9447 | 315.4667 | 6.3213 | 322.016 | 6.9127 | 308.5253 | 7.3427 | 323.6627 | 18.9667 | 878 | 88.7133 | 33.218
2020-05-06 23:15:00 | 5.9627 | 335.3467 | 6.2353 | 321.3273 | 7.1113 | 327.9687 | 7.298 | 322.9687 | 18.9467 | 878 | 89.3133 | 33.5247
2020-05-06 23:30:00 | 6.422 | 336.2867 | 6.828 | 326.4173 | 7.5013 | 328.888 | 7.958 | 328.0853 | 18.7867 | 878 | 89.32 | 37.8707
2020-05-06 23:45:00 | 6.6587 | 339.6333 | 7.1707 | 325.0607 | 7.76 | 332.1607 | 8.416 | 326.7227 | 18.6733 | 877.6667 | 89.2933 | 39.3593