## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-07 00:00:00 | 6.9557 | 334.2714 | 7.465 | 323.5571 | 8.1171 | 326.9171 | 8.7464 | 325.2114 | 18.4857 | 877 | 89.1786 | 41.9187
2020-05-07 00:15:00 | 7.2667 | 337.5067 | 7.816 | 325.206 | 8.2727 | 330.082 | 9.0267 | 326.8667 | 18.4533 | 877.3333 | 89.3333 | 43.1407
2020-05-07 00:30:00 | 7.304 | 339.0467 | 7.9007 | 327.5313 | 8.4013 | 331.5873 | 9.216 | 329.2067 | 18.3733 | 877.3333 | 89.64 | 44.8347
2020-05-07 00:45:00 | 7.1967 | 335.44 | 7.7293 | 303.9493 | 8.4147 | 328.06 | 9.0727 | 305.5033 | 18.3533 | 877.6667 | 89.8333 | 44.7553
2020-05-07 01:00:00 | 7.25 | 338.7733 | 7.7753 | 327.7213 | 8.266 | 331.3193 | 8.9693 | 329.3953 | 18.4067 | 877 | 89.9267 | 45.442
2020-05-07 01:15:00 | 7.4827 | 340.0133 | 8.046 | 328.68 | 8.6387 | 332.532 | 9.3667 | 330.3607 | 18.2733 | 877 | 90.1667 | 46.2013
2020-05-07 01:30:00 | 7.382 | 340.06 | 8.0687 | 306.8633 | 8.6247 | 332.578 | 9.5673 | 308.4327 | 18.1267 | 877 | 90.74 | 46.9127
2020-05-07 01:45:00 | 7.5947 | 339.0267 | 8.2893 | 326.1967 | 8.936 | 331.568 | 9.86 | 327.864 | 18 | 877 | 91.0933 | 47.2973
2020-05-07 02:00:00 | 7.8107 | 340.82 | 8.562 | 328.4907 | 8.9607 | 333.3213 | 10.046 | 330.17 | 17.8333 | 877 | 91.5067 | 49.816
2020-05-07 02:15:00 | 8.2373 | 319.6533 | 8.8587 | 328.994 | 9.3273 | 312.622 | 10.19 | 330.6753 | 17.6467 | 877 | 92.64 | 51.724
2020-05-07 02:30:00 | 8.3727 | 303.36 | 8.9633 | 327.0173 | 9.4313 | 296.6867 | 10.2393 | 328.688 | 17.58 | 877 | 93.5 | 53.5193
2020-05-07 02:45:00 | 8.42 | 345.7067 | 9.084 | 329.664 | 9.3487 | 338.1007 | 10.3413 | 331.3493 | 17.5267 | 876.3333 | 93.16 | 54.3727
2020-05-07 03:00:00 | 8.6407 | 344.4533 | 9.2387 | 327.3107 | 9.476 | 337.2147 | 10.358 | 328.9847 | 17.3733 | 877 | 92.9067 | 55.1353
2020-05-07 03:15:00 | 8.7647 | 343.1 | 9.3787 | 330.3227 | 9.4727 | 335.5527 | 10.4353 | 332.0113 | 17.28 | 877 | 92.7067 | 56.988
2020-05-07 03:30:00 | 8.6547 | 344.1 | 9.2967 | 325.7593 | 9.1093 | 336.5287 | 10.1907 | 327.4233 | 17.22 | 877 | 92.2667 | 56.2627
2020-05-07 03:45:00 | 8.2207 | 342.78 | 8.83 | 320.3467 | 8.6333 | 335.238 | 9.6673 | 321.9847 | 17.2 | 877 | 91.9133 | 55.784
2020-05-07 04:00:00 | 8.554 | 341.46 | 9.1207 | 319.968 | 8.9687 | 333.9473 | 9.93 | 321.6047 | 16.8067 | 877 | 93.0867 | 57.3707
2020-05-07 04:15:00 | 8.192 | 339.0533 | 8.8067 | 325.016 | 9.002 | 331.594 | 9.9353 | 326.676 | 16.5267 | 877 | 95.72 | 56.0273
2020-05-07 04:30:00 | 8.9113 | 335.16 | 9.584 | 322.9227 | 9.9153 | 327.7867 | 10.9027 | 324.574 | 16.3 | 877 | 97.6667 | 57.994
2020-05-07 04:45:00 | 8.8413 | 337.02 | 9.5427 | 321.104 | 9.8233 | 329.6053 | 10.868 | 322.7453 | 16.2867 | 877 | 98.8267 | 58.784
2020-05-07 05:00:00 | 8.9727 | 339.5133 | 9.6267 | 326.5293 | 9.8533 | 332.0433 | 10.8413 | 328.1967 | 16.3933 | 876.3333 | 99.3067 | 59.69
2020-05-07 05:15:00 | 8.986 | 342.08 | 9.6547 | 327.4867 | 9.8193 | 334.418 | 10.86 | 329.1613 | 16.1667 | 876 | 99.6933 | 59.404
2020-05-07 05:30:00 | 9.2093 | 345.5 | 9.918 | 328.366 | 10.046 | 337.8073 | 11.1433 | 330.0447 | 16.08 | 876 | 99.96 | 59.828
2020-05-07 05:45:00 | 8.9293 | 342.1067 | 9.5887 | 321.2333 | 9.592 | 334.1567 | 10.62 | 322.876 | 16.0333 | 876 | 100 | 60.3853
2020-05-07 06:00:00 | 9.0947 | 339.9467 | 9.73 | 322.76 | 9.9027 | 332.4673 | 10.876 | 324.4093 | 15.9133 | 876 | 100 | 61.1673
2020-05-07 06:15:00 | 9.3207 | 340.5333 | 9.9847 | 321.436 | 10.0687 | 333.042 | 11.1153 | 323.0793 | 15.9667 | 876 | 100 | 61.2293
2020-05-07 06:30:00 | 9.7007 | 346.4 | 10.3973 | 324.7813 | 10.5147 | 338.7793 | 11.6033 | 326.4407 | 15.9267 | 876 | 100 | 61.3993
2020-05-07 06:45:00 | 9.9153 | 341.5 | 10.5867 | 321.4413 | 10.8773 | 333.9887 | 11.87 | 323.086 | 15.9133 | 876.3333 | 100 | 61.336
2020-05-07 07:00:00 | 10.2367 | 318.7 | 10.9287 | 321.71 | 11.3213 | 311.6873 | 12.32 | 323.3547 | 15.8333 | 876.3333 | 100 | 61.3293
2020-05-07 07:15:00 | 9.7593 | 320.6667 | 10.4947 | 324.1093 | 10.9653 | 313.6113 | 12.0087 | 325.7673 | 15.6867 | 877 | 100 | 59.4353
2020-05-07 07:30:00 | 9.5687 | 321.5467 | 10.276 | 319.1747 | 10.872 | 314.4727 | 11.8333 | 320.806 | 15.76 | 877 | 100 | 59.962
2020-05-07 07:45:00 | 9.6153 | 339.0467 | 10.2093 | 320.1587 | 10.4893 | 331.5867 | 11.3667 | 321.7953 | 15.74 | 877 | 100 | 60.7073
2020-05-07 08:00:00 | 9.7887 | 336.4067 | 10.3807 | 322.35 | 10.82 | 329.0067 | 11.642 | 323.9967 | 15.6933 | 877 | 100 | 61.072
2020-05-07 08:15:00 | 9.7887 | 336.4067 | 10.3807 | 322.35 | 10.82 | 329.0067 | 11.642 | 323.9967 | 15.6933 | 877 | 100 | 61.072
2020-05-07 08:30:00 | 9.7887 | 336.4067 | 10.3807 | 322.35 | 10.82 | 329.0067 | 11.642 | 323.9967 | 15.6933 | 877 | 100 | 61.072
2020-05-07 08:45:00 | 9.7887 | 336.4067 | 10.3807 | 322.35 | 10.82 | 329.0067 | 11.642 | 323.9967 | 15.6933 | 877 | 100 | 61.072
2020-05-07 09:00:00 | 9.7887 | 336.4067 | 10.3807 | 322.35 | 10.82 | 329.0067 | 11.642 | 323.9967 | 15.6933 | 877 | 100 | 61.072
2020-05-07 09:15:00 | 9.6807 | 337.7933 | 10.4247 | 324.5327 | 10.7487 | 330.3613 | 11.8487 | 326.1927 | 16.1067 | 877 | 100 | 60.234
2020-05-07 09:30:00 | 9.6807 | 337.7933 | 10.4247 | 324.5327 | 10.7487 | 330.3613 | 11.8487 | 326.1927 | 16.1067 | 877 | 100 | 60.234
2020-05-07 09:45:00 | 9.6807 | 337.7933 | 10.4247 | 324.5327 | 10.7487 | 330.3613 | 11.8487 | 326.1927 | 16.1067 | 877 | 100 | 60.234
2020-05-07 10:00:00 | 9.6807 | 337.7933 | 10.4247 | 324.5327 | 10.7487 | 330.3613 | 11.8487 | 326.1927 | 16.1067 | 877 | 100 | 60.234
2020-05-07 10:15:00 | 9.6807 | 337.7933 | 10.4247 | 324.5327 | 10.7487 | 330.3613 | 11.8487 | 326.1927 | 16.1067 | 877 | 100 | 60.234
2020-05-07 10:30:00 | 9.6807 | 337.7933 | 10.4247 | 324.5327 | 10.7487 | 330.3613 | 11.8487 | 326.1927 | 16.1067 | 877 | 100 | 60.234
2020-05-07 10:45:00 | 9.2747 | 341.4467 | 9.9167 | 319.924 | 10.1213 | 333.9347 | 11.094 | 321.56 | 16.0533 | 877 | 100 | 60.1907
2020-05-07 11:00:00 | 9.496 | 337.06 | 10.232 | 327.234 | 10.3173 | 329.644 | 11.4733 | 328.906 | 15.9467 | 877 | 100 | 61.2373
2020-05-07 11:15:00 | 9.5447 | 339.2933 | 10.3787 | 324.8653 | 10.3927 | 331.8293 | 11.7267 | 326.5267 | 15.9733 | 877 | 100 | 61.2
2020-05-07 11:30:00 | 9.2187 | 333.8 | 9.976 | 322.8967 | 10.1647 | 326.4567 | 11.324 | 324.5467 | 16.08 | 877 | 100 | 60.108
2020-05-07 11:45:00 | 9.0113 | 326.3933 | 9.722 | 313.0847 | 10.0387 | 319.2133 | 11.09 | 314.6847 | 16.18 | 877 | 100 | 56.0813
2020-05-07 12:00:00 | 9.354 | 337.4867 | 10.1493 | 317.9287 | 10.3133 | 330.06 | 11.5373 | 319.5533 | 15.7933 | 877 | 100 | 51.222
2020-05-07 12:15:00 | 9.1427 | 338.36 | 9.9447 | 317.432 | 9.9867 | 330.9167 | 11.262 | 319.0553 | 15.7 | 877 | 100 | 58.45
2020-05-07 12:30:00 | 8.7373 | 333.02 | 9.426 | 314.2587 | 9.5753 | 325.6933 | 10.6227 | 315.8633 | 15.7133 | 877 | 100 | 60.0207
2020-05-07 12:45:00 | 9.7313 | 341.7333 | 10.512 | 321.0193 | 10.7067 | 334.2153 | 11.9047 | 322.66 | 15.72 | 877 | 100 | 61.0873
2020-05-07 13:00:00 | 9.364 | 341.0267 | 10.0907 | 327.572 | 10.0153 | 333.5233 | 11.2033 | 329.246 | 15.7067 | 877 | 100 | 61.3293
2020-05-07 13:15:00 | 9.1533 | 342.4333 | 9.8427 | 323.6273 | 9.9647 | 334.9 | 11.0407 | 325.2813 | 15.72 | 877 | 100 | 61.13
2020-05-07 13:30:00 | 9.226 | 343.86 | 9.8947 | 326.364 | 9.8707 | 336.2953 | 10.9627 | 328.0327 | 15.72 | 876.3333 | 100 | 61.7447
2020-05-07 13:45:00 | 9.0927 | 345.62 | 9.7173 | 328.4773 | 9.6813 | 338.016 | 10.6953 | 330.1567 | 15.7 | 876 | 100 | 61.876
2020-05-07 14:00:00 | 8.74 | 324.0067 | 9.388 | 329.97 | 10.038 | 316.8793 | 10.8927 | 331.658 | 15.7667 | 876 | 100 | 59.8027
2020-05-07 14:15:00 | 8.7973 | 277.3667 | 9.3647 | 325.7587 | 9.8647 | 271.264 | 10.6313 | 327.424 | 15.7733 | 876 | 100 | 60.218
2020-05-07 14:30:00 | 9.164 | 341.7533 | 9.81 | 326.1173 | 10.278 | 334.2353 | 11.1833 | 327.784 | 15.7 | 876 | 100 | 60.7767
2020-05-07 14:45:00 | 9.6913 | 339.2533 | 10.4113 | 321.5473 | 10.8053 | 331.7907 | 11.842 | 323.1913 | 15.7 | 875 | 100 | 59.442
2020-05-07 15:00:00 | 9.26 | 338.3 | 9.9387 | 326.5467 | 10.2947 | 330.8567 | 11.286 | 328.2173 | 15.6933 | 875 | 100 | 59.2747
2020-05-07 15:15:00 | 9.114 | 340.8333 | 9.7947 | 325.622 | 10.188 | 333.3347 | 11.1667 | 327.286 | 15.6867 | 875 | 100 | 57.9813
2020-05-07 15:30:00 | 8.796 | 335.9733 | 9.44 | 320.3007 | 9.5927 | 328.5813 | 10.5853 | 321.938 | 15.72 | 875 | 100 | 60.2467
2020-05-07 15:45:00 | 9.04 | 340.6267 | 9.6767 | 327.9487 | 9.7613 | 333.1327 | 10.7613 | 329.626 | 15.7067 | 875 | 100 | 60.248
2020-05-07 16:00:00 | 8.618 | 343.26 | 9.242 | 324.6507 | 9.4213 | 335.7093 | 10.3773 | 326.31 | 15.76 | 875 | 100 | 61.068
2020-05-07 16:15:00 | 9.196 | 298.3533 | 9.9527 | 310.1573 | 10.3707 | 291.7887 | 11.4613 | 311.742 | 15.7333 | 875 | 100 | 59.1547
2020-05-07 16:30:00 | 8.8707 | 342.74 | 9.548 | 303.29 | 9.8467 | 335.1993 | 10.8573 | 304.8413 | 15.8067 | 875 | 100 | 59.4967
2020-05-07 16:45:00 | 9.014 | 318.96 | 9.7267 | 331.568 | 10.068 | 311.9433 | 11.1147 | 333.2633 | 15.7467 | 875 | 100 | 62.1147
2020-05-07 17:00:00 | 8.9867 | 319.9133 | 9.5593 | 325.5427 | 10.002 | 312.8747 | 10.7993 | 327.208 | 15.68 | 874.3333 | 100 | 62.5833
2020-05-07 17:15:00 | 8.5933 | 342.72 | 9.1293 | 335.1733 | 9.6173 | 335.1793 | 10.3393 | 336.8873 | 15.7 | 875 | 100 | 61.132
2020-05-07 17:30:00 | 9.078 | 317.92 | 9.744 | 325.6733 | 10.0573 | 310.924 | 11.0413 | 327.3387 | 15.7067 | 875 | 100 | 62.372
2020-05-07 17:45:00 | 9.3047 | 340.76 | 9.9693 | 332.9373 | 10.0933 | 333.2633 | 11.1247 | 334.6413 | 15.84 | 875 | 100 | 62.708
2020-05-07 18:00:00 | 9.2187 | 323.4 | 9.9047 | 327.656 | 10.0547 | 316.2847 | 11.112 | 329.3313 | 15.8333 | 875 | 100 | 63.312
2020-05-07 18:15:00 | 9.1213 | 318.6333 | 9.8793 | 331.222 | 10.1587 | 311.6227 | 11.2927 | 332.916 | 15.9067 | 875 | 100 | 62.7113
2020-05-07 18:30:00 | 9.1347 | 299.46 | 9.796 | 283.158 | 10.4287 | 292.8727 | 11.3073 | 284.604 | 15.9067 | 875 | 100 | 63.1
2020-05-07 18:45:00 | 9.9 | 257.0467 | 10.6467 | 312.888 | 11.0227 | 251.3913 | 12.1187 | 314.488 | 15.8333 | 875 | 100 | 63.4147
2020-05-07 19:00:00 | 9.6547 | 325.5667 | 10.3387 | 314.6547 | 10.9267 | 318.404 | 11.858 | 316.2633 | 15.82 | 875 | 100 | 63.998
2020-05-07 19:15:00 | 10.0013 | 304.3933 | 10.718 | 335.0367 | 11.3747 | 297.696 | 12.332 | 336.75 | 15.8133 | 875 | 100 | 63.762
2020-05-07 19:30:00 | 9.2533 | 324.4467 | 10.08 | 331.6467 | 10.522 | 317.308 | 11.7233 | 333.3413 | 15.8067 | 875.6667 | 100 | 63.66
2020-05-07 19:45:00 | 9.4267 | 281.62 | 10.1293 | 329.972 | 10.828 | 275.4247 | 11.7553 | 331.6587 | 15.82 | 876 | 100 | 63.4393
2020-05-07 20:00:00 | 9.8153 | 298.0667 | 10.5013 | 327.5053 | 10.93 | 291.5107 | 11.9067 | 329.1807 | 15.76 | 876 | 100 | 63.4933
2020-05-07 20:15:00 | 9.7193 | 323.8 | 10.316 | 333.022 | 10.8473 | 316.676 | 11.6593 | 334.724 | 15.9333 | 876 | 100 | 64.1753
2020-05-07 20:30:00 | 9.492 | 302.46 | 10.0913 | 309.8367 | 10.518 | 295.8067 | 11.36 | 311.422 | 16.3133 | 876 | 100 | 64.614
2020-05-07 20:45:00 | 9.4567 | 321.36 | 10.0087 | 313.6573 | 10.5073 | 314.2893 | 11.25 | 315.2607 | 16.6133 | 876.3333 | 100 | 63.776
2020-05-07 21:00:00 | 9.824 | 302.9667 | 10.362 | 289.194 | 11.1353 | 296.3007 | 11.776 | 290.672 | 16.6267 | 877 | 100 | 63.2187
2020-05-07 21:15:00 | 9.494 | 258.8067 | 10.178 | 334.6913 | 10.984 | 253.1133 | 11.8513 | 336.402 | 16.62 | 877 | 100 | 63.34
2020-05-07 21:30:00 | 10.104 | 302.16 | 10.7827 | 331.848 | 11.5967 | 295.5113 | 12.4493 | 333.5433 | 16.8133 | 877 | 100 | 63.632
2020-05-07 21:45:00 | 10.4133 | 303.44 | 11.1053 | 332.148 | 11.906 | 296.7653 | 12.7867 | 333.846 | 16.9667 | 877 | 100 | 63.44
2020-05-07 22:00:00 | 10.0873 | 342.0533 | 10.672 | 330.5753 | 11.2973 | 334.5273 | 12.0587 | 332.2667 | 17.1333 | 877 | 100 | 62.7473
2020-05-07 22:15:00 | 9.5527 | 299.0133 | 10.0747 | 302.724 | 10.7833 | 292.4353 | 11.4193 | 304.2713 | 17.38 | 877.3333 | 100 | 62.3153
2020-05-07 22:30:00 | 9.43 | 302.6933 | 10.1393 | 286.828 | 10.828 | 296.0353 | 11.7673 | 288.294 | 17.4467 | 878 | 100 | 62.6387
2020-05-07 22:45:00 | 10.3887 | 235.4133 | 10.974 | 316.2987 | 11.5027 | 230.2353 | 12.296 | 317.914 | 17.3 | 878 | 100 | 59.5907
2020-05-07 23:00:00 | 9.2107 | 297.1867 | 9.838 | 329.7687 | 10.7073 | 290.6493 | 11.4687 | 331.4547 | 16.3133 | 878 | 100 | 62.2933
2020-05-07 23:15:00 | 9.118 | 319.94 | 9.8387 | 307.6267 | 10.6647 | 312.902 | 11.5847 | 309.2 | 16.28 | 878 | 100 | 62.7893
2020-05-07 23:30:00 | 9.4447 | 292.4267 | 10.0133 | 306.7787 | 10.4667 | 287.2067 | 11.262 | 308.348 | 16.4267 | 878 | 100 | 60.5147
2020-05-07 23:45:00 | 8.6053 | 337.6267 | 9.1113 | 300.898 | 9.3107 | 330.1987 | 10.0747 | 302.4367 | 16.8067 | 879 | 100 | 59.268