## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-09 00:00:00 | 9.5029 | 334.6643 | 10.2321 | 320.5186 | 10.2271 | 327.3014 | 11.4036 | 322.1579 | 14.3357 | 882 | 96.2429 | 59.8233
2020-05-09 00:15:00 | 9.8073 | 339.9267 | 10.5573 | 326.554 | 10.5807 | 332.4493 | 11.7887 | 328.224 | 13.22 | 882 | 97.0133 | 60.126
2020-05-09 00:30:00 | 9.852 | 336.1867 | 10.5447 | 319.7793 | 10.8207 | 328.7893 | 11.8573 | 321.4153 | 13.3133 | 882 | 98.3933 | 60.5767
2020-05-09 00:45:00 | 9.5067 | 335.3467 | 10.176 | 321.122 | 10.3753 | 328.0993 | 11.4047 | 322.7653 | 12.9667 | 882 | 99.3 | 59.6207
2020-05-09 01:00:00 | 9.4387 | 334.34 | 10.1407 | 320.0607 | 10.2373 | 326.9847 | 11.3313 | 321.6967 | 12.8 | 882 | 99.7667 | 61.226
2020-05-09 01:15:00 | 9.5693 | 332.0333 | 10.3373 | 318.41 | 10.5467 | 324.7273 | 11.72 | 320.0393 | 12.6733 | 882 | 100 | 60.896
2020-05-09 01:30:00 | 9.818 | 317.3 | 10.666 | 324.892 | 10.82 | 310.3193 | 12.136 | 326.5533 | 12.56 | 882 | 100 | 59.8767
2020-05-09 01:45:00 | 10.536 | 337.9133 | 11.4207 | 326.5727 | 11.3247 | 330.4787 | 12.7773 | 328.2433 | 12.36 | 882 | 100 | 59.7247
2020-05-09 02:00:00 | 10.4407 | 334.5933 | 11.2167 | 325.1407 | 11.056 | 327.232 | 12.3513 | 326.8027 | 12.1267 | 882 | 100 | 60.234
2020-05-09 02:15:00 | 10.6507 | 312.6267 | 11.3873 | 329.2727 | 11.2907 | 305.7493 | 12.5053 | 330.9567 | 12.0267 | 882 | 100 | 61.436
2020-05-09 02:30:00 | 10.388 | 340.9267 | 11.088 | 330.994 | 11.218 | 333.426 | 12.3053 | 332.6873 | 12.0867 | 882 | 100 | 60.592
2020-05-09 02:45:00 | 9.844 | 299.7267 | 10.4867 | 327.324 | 10.9927 | 293.1313 | 11.88 | 328.9967 | 12.22 | 882 | 100 | 59.3473
2020-05-09 03:00:00 | 10.9267 | 343.4867 | 11.6727 | 306.1593 | 11.7907 | 335.9293 | 12.9587 | 307.7253 | 12.8867 | 882 | 100 | 58.9233
2020-05-09 03:15:00 | 11.5747 | 315.1933 | 12.2413 | 319.8907 | 12.526 | 308.2607 | 13.5193 | 321.528 | 11.6933 | 882 | 100 | 58.4573
2020-05-09 03:30:00 | 12.39 | 344.2933 | 13.2653 | 308.6113 | 13.8653 | 336.7187 | 15.0973 | 310.1893 | 10.82 | 882 | 100 | 58.3093
2020-05-09 03:45:00 | 11.988 | 340.82 | 12.684 | 305.802 | 13.4053 | 333.3233 | 14.3173 | 307.3633 | 11.7267 | 882 | 100 | 54.768
2020-05-09 04:00:00 | 12.0107 | 293.9533 | 12.5067 | 331.2807 | 12.6727 | 287.4867 | 13.428 | 332.9753 | 12.4333 | 882 | 100 | 49.6067
2020-05-09 04:15:00 | 12.774 | 317.5667 | 13.5753 | 331.6407 | 13.6327 | 310.5807 | 14.904 | 333.3353 | 11.66 | 883 | 99.96 | 51.162
2020-05-09 04:30:00 | 13.0747 | 320.4733 | 13.756 | 308.0833 | 14.1393 | 313.4233 | 15.1307 | 309.658 | 11.08 | 883 | 98.6933 | 49.79
2020-05-09 04:45:00 | 13.4853 | 315.5867 | 14.3073 | 328.2033 | 14.8547 | 308.6433 | 16.022 | 329.8833 | 9.4933 | 882.3333 | 98.2067 | 47.2293
2020-05-09 05:00:00 | 12.57 | 294.66 | 13.1373 | 330.8047 | 13.8027 | 288.1773 | 14.526 | 332.4973 | 9.1733 | 882.3333 | 98.7933 | 47.41
2020-05-09 05:15:00 | 12.9007 | 347.3733 | 13.4893 | 329.41 | 14.14 | 339.7307 | 14.9033 | 331.0947 | 9.78 | 883 | 99.68 | 48.5753
2020-05-09 05:30:00 | 11.8993 | 343.7067 | 12.3933 | 332.7933 | 12.7747 | 336.1453 | 13.4667 | 334.4953 | 10.02 | 883 | 100 | 47.56
2020-05-09 05:45:00 | 11.8553 | 298.0333 | 12.424 | 330.218 | 12.64 | 291.4773 | 13.498 | 331.9067 | 9.54 | 883 | 100 | 48.87
2020-05-09 06:00:00 | 11.7547 | 317.6067 | 12.2907 | 329.1293 | 12.432 | 310.6193 | 13.262 | 330.812 | 9.4867 | 883 | 100 | 51.4033
2020-05-09 06:15:00 | 11.316 | 325.34 | 11.83 | 308.7213 | 12.3073 | 318.1827 | 12.9973 | 310.3013 | 9.4067 | 883 | 100 | 53.4593
2020-05-09 06:30:00 | 11.0173 | 279.16 | 11.5407 | 329.332 | 12.2993 | 273.0187 | 12.9247 | 331.0147 | 9.4533 | 883 | 100 | 54.2833
2020-05-09 06:45:00 | 10.2173 | 319.46 | 10.892 | 333.0687 | 11.506 | 312.432 | 12.412 | 334.77 | 9.2867 | 883 | 100 | 55.1827
2020-05-09 07:00:00 | 11.3067 | 300.5667 | 11.8813 | 327.884 | 12.5133 | 293.9547 | 13.26 | 329.5627 | 9.56 | 883 | 100 | 54.0113
2020-05-09 07:15:00 | 11.8513 | 342.6733 | 12.4453 | 305.894 | 12.9387 | 335.134 | 13.756 | 307.4573 | 9.8667 | 883.6667 | 100 | 51.9447
2020-05-09 07:30:00 | 10.774 | 251.5533 | 11.4393 | 304.348 | 12.332 | 246.0187 | 13.1407 | 305.904 | 9.7067 | 883.6667 | 100 | 50.754
2020-05-09 07:45:00 | 10.6813 | 233.0467 | 11.2907 | 311.63 | 11.9193 | 227.9193 | 12.7193 | 313.2233 | 9.88 | 884 | 100 | 49.4013
2020-05-09 08:00:00 | 11.5547 | 320.1333 | 12.2447 | 331.6467 | 12.488 | 313.0913 | 13.528 | 333.3427 | 9.62 | 884 | 100 | 57.0307
2020-05-09 08:15:00 | 11.9413 | 339 | 12.6593 | 328.3467 | 13.0007 | 331.5413 | 14.062 | 330.0253 | 9.74 | 884 | 99.86 | 53.4947
2020-05-09 08:30:00 | 11.758 | 324.9 | 12.4273 | 306.9613 | 13.092 | 317.752 | 13.9827 | 308.53 | 10.1533 | 884.6667 | 99.4333 | 50.206
2020-05-09 08:45:00 | 10.7207 | 255.14 | 11.2793 | 332.8913 | 12.2747 | 249.526 | 12.8887 | 334.594 | 10.32 | 885 | 99.34 | 49.6993
2020-05-09 09:00:00 | 11.09 | 322.34 | 11.544 | 281.306 | 12.33 | 315.2487 | 12.8353 | 282.7427 | 10.38 | 885 | 99.1 | 53.174
2020-05-09 09:15:00 | 12.0247 | 299.2667 | 12.598 | 326.842 | 13.378 | 292.6827 | 14.08 | 328.5113 | 9.8267 | 885 | 97.4333 | 53.7413
2020-05-09 09:30:00 | 10.6147 | 302.8733 | 11.4173 | 309.59 | 12.2647 | 296.21 | 13.3087 | 311.1713 | 9.3867 | 885 | 97.5667 | 53.8887
2020-05-09 09:45:00 | 10.7107 | 261.44 | 11.4633 | 333.6087 | 12.4493 | 255.6887 | 13.3713 | 335.314 | 9.7733 | 885.6667 | 98.44 | 55.4753
2020-05-09 10:00:00 | 11.7373 | 167.14 | 12.576 | 292.1627 | 13.364 | 163.462 | 14.4887 | 293.656 | 10.0733 | 885 | 97.92 | 57.6007
2020-05-09 10:15:00 | 13.0387 | 167.7867 | 13.952 | 272.418 | 14.9187 | 164.0953 | 16.108 | 273.812 | 10.28 | 885 | 94.5933 | 59.494
2020-05-09 10:30:00 | 12.0007 | 278.5133 | 12.7607 | 270.626 | 13.3333 | 272.3853 | 14.3907 | 272.0087 | 10.6333 | 885 | 91.1667 | 60.418
2020-05-09 10:45:00 | 11.538 | 218.5933 | 12.376 | 273.3953 | 13.2093 | 213.784 | 14.3147 | 274.794 | 10.96 | 885 | 88.7267 | 60.5527
2020-05-09 11:00:00 | 10.4627 | 279.0867 | 11.22 | 272.3607 | 11.84 | 272.9473 | 12.8767 | 273.752 | 11.3667 | 885 | 85 | 59.906
2020-05-09 11:15:00 | 9.564 | 148.4133 | 10.186 | 225.1613 | 11.0233 | 145.1487 | 11.784 | 226.3133 | 12.1067 | 885.3333 | 83.084 | 60.088
2020-05-09 11:30:00 | 9.3453 | 325.1933 | 9.8653 | 247.688 | 10.7313 | 319.4407 | 11.2773 | 248.9547 | 13.16 | 886 | 75.7353 | 57.8787
2020-05-09 11:45:00 | 9.5713 | 238.06 | 10.226 | 230.8467 | 11.1653 | 232.8227 | 11.9447 | 232.0273 | 13.6467 | 886 | 71.646 | 58.03
2020-05-09 12:00:00 | 8.9373 | 213.74 | 9.4993 | 271.4287 | 10.3493 | 209.038 | 11.0053 | 272.8153 | 14.3733 | 886 | 67.7307 | 58.0873
2020-05-09 12:15:00 | 9.18 | 188.9933 | 9.9253 | 267.228 | 10.4047 | 184.8353 | 11.464 | 268.594 | 14.84 | 886 | 64.332 | 56.3253
2020-05-09 12:30:00 | 8.4953 | 218.5267 | 9.1553 | 208.9193 | 9.9833 | 213.72 | 10.8013 | 209.9893 | 15.2733 | 886 | 61.9353 | 55.3907
2020-05-09 12:45:00 | 8.7407 | 217.16 | 9.2833 | 161.4493 | 9.8967 | 212.382 | 10.594 | 162.2747 | 15.6667 | 886 | 59.8693 | 56.448
2020-05-09 13:00:00 | 9.1067 | 145.0067 | 9.7533 | 186.296 | 10.3467 | 120.1627 | 11.2373 | 187.2487 | 16.1267 | 886 | 56.714 | 56.7033
2020-05-09 13:15:00 | 9.5627 | 167.78 | 10.116 | 184.2747 | 10.8293 | 164.0887 | 11.514 | 185.2167 | 16.3733 | 886 | 54.1867 | 55.2353
2020-05-09 13:30:00 | 9.3647 | 122.5 | 9.984 | 253.9667 | 10.432 | 119.806 | 11.302 | 255.2653 | 16.76 | 886 | 51.9913 | 54.0527
2020-05-09 13:45:00 | 8.28 | 198.3533 | 8.8333 | 274.3093 | 9.392 | 193.9907 | 10.1113 | 275.7113 | 17.3933 | 886 | 50.1807 | 52.7427
2020-05-09 14:00:00 | 9.28 | 147.5067 | 9.774 | 184.3133 | 10.3733 | 144.262 | 10.9947 | 185.256 | 17.6533 | 886 | 47.1313 | 54.4173
2020-05-09 14:15:00 | 9.4187 | 216.9 | 9.9187 | 251.1893 | 10.2 | 212.1293 | 10.9267 | 252.4747 | 17.8867 | 886 | 45.8353 | 55.0587
2020-05-09 14:30:00 | 7.7527 | 198.6067 | 7.966 | 184.066 | 8.4867 | 194.2367 | 8.6867 | 185.0067 | 18.4533 | 886 | 43.282 | 53.7427
2020-05-09 14:45:00 | 7.338 | 197.4133 | 7.7267 | 209.33 | 8.4127 | 193.0693 | 8.8393 | 210.4013 | 18.9067 | 886 | 40.9087 | 52.2013
2020-05-09 15:00:00 | 7.6687 | 236.62 | 8.1133 | 143.694 | 8.888 | 231.416 | 9.3767 | 144.43 | 19.0533 | 886 | 38.9113 | 52.6507
2020-05-09 15:15:00 | 7.6067 | 129.0333 | 8.14 | 209.1233 | 8.628 | 126.1947 | 9.342 | 210.1933 | 19.32 | 886 | 38.066 | 51.6913
2020-05-09 15:30:00 | 7.0633 | 145.98 | 7.5387 | 210.0027 | 7.984 | 142.768 | 8.6167 | 211.0767 | 19.5533 | 886 | 36.8093 | 53.3633
2020-05-09 15:45:00 | 7.9087 | 126.3333 | 8.402 | 143.5313 | 8.9887 | 123.5547 | 9.6107 | 144.2647 | 19.5733 | 886 | 36.1147 | 53.1913
2020-05-09 16:00:00 | 7.764 | 194.9467 | 8.314 | 144.3013 | 8.948 | 190.6593 | 9.6467 | 145.038 | 19.7 | 886 | 35.8587 | 54.9913
2020-05-09 16:15:00 | 8.004 | 84.9267 | 8.4847 | 188.0107 | 9.122 | 83.0573 | 9.7087 | 188.9727 | 19.76 | 886 | 34.792 | 54.2473
2020-05-09 16:30:00 | 8.5733 | 194.62 | 9.2347 | 102.188 | 9.8613 | 190.3387 | 10.7447 | 102.7113 | 19.88 | 886 | 34.9667 | 55.7627
2020-05-09 16:45:00 | 9.044 | 147.0733 | 9.6933 | 230.808 | 10.1733 | 143.5693 | 11.0747 | 231.988 | 19.9533 | 885.6667 | 34.9933 | 55.6413
2020-05-09 17:00:00 | 9.0533 | 211.0733 | 9.7 | 249.5073 | 10.2673 | 206.4293 | 11.1433 | 250.7827 | 20.14 | 885 | 35.25 | 55.39
2020-05-09 17:15:00 | 8.699 | 114.39 | 9.306 | 205.557 | 9.743 | 111.872 | 10.594 | 206.607 | 20.15 | 885 | 34.85 | 54.741
2020-05-09 17:30:00 | 7.576 | 169.5533 | 8.1667 | 229.0607 | 8.8653 | 165.8233 | 9.6073 | 230.232 | 20.3267 | 885.6667 | 36.3707 | 55.728
2020-05-09 17:45:00 | 7.234 | 173.02 | 7.7753 | 227.352 | 8.418 | 169.214 | 9.1 | 228.5153 | 20.3867 | 886 | 37.342 | 55.446
2020-05-09 18:00:00 | 6.5993 | 125.5333 | 7.1693 | 95.9753 | 7.626 | 122.7713 | 8.406 | 96.464 | 20.3333 | 886 | 38.6247 | 54.1873
2020-05-09 18:15:00 | 6.8657 | 275.4357 | 7.3693 | 201.6221 | 7.7329 | 269.3764 | 8.4357 | 202.6536 | 20.2714 | 886 | 38.93 | 51.4953
2020-05-09 18:30:00 | 6.352 | 235.5333 | 6.776 | 211.1167 | 7.1633 | 230.3507 | 7.7327 | 212.1967 | 20.12 | 886 | 40.2433 | 48.0773
2020-05-09 18:45:00 | 5.9473 | 192.3667 | 6.3613 | 226.316 | 6.8727 | 188.134 | 7.394 | 227.474 | 20.0133 | 886 | 43.5893 | 42.6473
2020-05-09 19:00:00 | 6.2473 | 165.8733 | 6.7133 | 203.7367 | 7.014 | 162.2247 | 7.672 | 204.7787 | 19.94 | 886 | 44.252 | 42.9473
2020-05-09 19:15:00 | 5.5773 | 191.72 | 5.946 | 252.2967 | 6.404 | 187.502 | 6.866 | 253.5853 | 19.7267 | 886 | 44.6913 | 34.7527
2020-05-09 19:30:00 | 4.302 | 170.5 | 4.5073 | 293.3273 | 4.9713 | 166.75 | 5.168 | 294.8267 | 19.56 | 886 | 44.9567 | 19.4187
2020-05-09 19:45:00 | 3.935 | 183.3214 | 4.1269 | 287.2908 | 4.3715 | 169.976 | 4.5621 | 292.8986 | 19.4133 | 886 | 45.3586 | 13.298
2020-05-09 20:00:00 | 3.6027 | 150.62 | 3.6473 | 298.9033 | 4.0433 | 147.3053 | 4.0073 | 300.4313 | 19.2667 | 886 | 46.38 | 11.6753
2020-05-09 20:15:00 | 3.3827 | 102.1333 | 3.402 | 296.6073 | 3.532 | 99.8867 | 3.53 | 298.124 | 19.16 | 886 | 46.4767 | 10.5293
2020-05-09 20:30:00 | 2.9993 | 254.8133 | 3.15 | 315.3453 | 3.348 | 249.2073 | 3.532 | 316.9587 | 19.0667 | 886 | 46.358 | 6.7273
2020-05-09 20:45:00 | 2.32 | 169.4 | 2.4927 | 307.2567 | 2.778 | 165.6727 | 2.9753 | 308.826 | 18.9533 | 886 | 46.0587 | 2.926
2020-05-09 21:00:00 | 1.808 | 189.6067 | 1.982 | 227.588 | 2.1747 | 185.4347 | 2.4007 | 228.7507 | 18.9867 | 886 | 46.04 | 0.84133
2020-05-09 21:15:00 | 1.5613 | 288.7267 | 1.71 | 321.8147 | 1.8853 | 282.3753 | 2.0753 | 323.46 | 18.8933 | 886 | 46.0373 | 0.41933
2020-05-09 21:30:00 | 1.0993 | 13.6133 | 1.2727 | 292.5193 | 1.24 | 13.3133 | 1.524 | 294.0153 | 18.84 | 886 | 46.2713 | 0
2020-05-09 21:45:00 | 0.91333 | 20.0067 | 1.0807 | 169.95 | 1.0613 | 19.5667 | 1.3347 | 170.82 | 18.96 | 887 | 45.55 | 0.11733
2020-05-09 22:00:00 | 1.2313 | 13.1 | 1.3427 | 143.53 | 1.502 | 12.8113 | 1.6333 | 144.2653 | 18.8667 | 887 | 44.536 | 0.076
2020-05-09 22:15:00 | 1.0733 | 26.9133 | 1.1487 | 156.878 | 1.3047 | 26.322 | 1.382 | 157.6807 | 18.88 | 887 | 43.3187 | 0
2020-05-09 22:30:00 | 1.038 | 236.9667 | 1.0607 | 314.5033 | 1.266 | 231.754 | 1.2447 | 316.1133 | 18.7533 | 887 | 43.356 | 0
2020-05-09 22:45:00 | 1.4245 | 216.5 | 1.4673 | 308.2936 | 1.7236 | 211.7373 | 1.7164 | 309.8682 | 18.7364 | 887 | 44.7382 | 0
2020-05-09 23:00:00 | 2.1913 | 318.7067 | 2.3193 | 311.968 | 2.552 | 312.2407 | 2.6907 | 313.5647 | 18.7267 | 887.6667 | 46.3887 | 0
2020-05-09 23:15:00 | 2.4667 | 323.8467 | 2.6033 | 316.95 | 2.802 | 316.7213 | 2.96 | 318.5713 | 18.7533 | 888 | 48.154 | 0.6
2020-05-09 23:30:00 | 2.41 | 332.9467 | 2.52 | 308.2073 | 2.8327 | 325.6213 | 2.9193 | 309.782 | 18.6867 | 888 | 49.6853 | 1.0247
2020-05-09 23:45:00 | 2.078 | 296.9267 | 2.1267 | 319.388 | 2.5027 | 290.394 | 2.4747 | 321.0213 | 18.6467 | 888 | 50.1627 | 0.26