## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-10 00:00:00 | 1.775 | 195.9143 | 1.7936 | 328.315 | 2.0143 | 191.6036 | 1.9843 | 329.9921 | 18.5429 | 888 | 52.7542 | 0
2020-05-10 00:15:00 | 2.5267 | 119.6667 | 2.6 | 327.99 | 3.0333 | 117.0333 | 3.0267 | 329.6633 | 18.4667 | 888 | 55.6 | 0.112
2020-05-10 00:30:00 | 3.0613 | 323.4933 | 3.2593 | 328.9787 | 3.6527 | 316.3773 | 3.86 | 330.6613 | 18.1 | 887.3333 | 55.7793 | 3.5813
2020-05-10 00:45:00 | 3.3507 | 305.72 | 3.5693 | 339.9733 | 4.0093 | 298.9933 | 4.2327 | 341.71 | 18.0333 | 887 | 56.8787 | 6.2553
2020-05-10 01:00:00 | 3.964 | 327.6733 | 4.2033 | 316.1027 | 4.7013 | 320.464 | 4.942 | 317.7187 | 17.4667 | 887 | 58.3593 | 10.6067
2020-05-10 01:15:00 | 4.064 | 167.3133 | 4.3433 | 334.37 | 4.8293 | 163.6327 | 5.138 | 336.0807 | 16.8933 | 887 | 61.092 | 11.892
2020-05-10 01:30:00 | 4.1613 | 143.9933 | 4.426 | 330.5513 | 4.9007 | 140.8253 | 5.192 | 332.2407 | 16.6067 | 887 | 66.1833 | 12.4993
2020-05-10 01:45:00 | 4.3453 | 164.5267 | 4.6227 | 330.8313 | 5.1367 | 160.906 | 5.43 | 332.5227 | 15.94 | 887 | 67.702 | 14.122
2020-05-10 02:00:00 | 3.6767 | 206.14 | 3.77 | 328.9793 | 4.484 | 201.6053 | 4.4307 | 330.662 | 16.2933 | 886.3333 | 68.2333 | 9.3853
2020-05-10 02:15:00 | 3.1147 | 251.8133 | 3.072 | 319.812 | 3.6773 | 246.2733 | 3.4353 | 321.4467 | 15.6133 | 886 | 64.9747 | 5.1547
2020-05-10 02:30:00 | 3.4933 | 250.1 | 3.4607 | 317.9673 | 4.1027 | 244.5973 | 3.866 | 319.5947 | 14.96 | 886 | 64.7167 | 6.416
2020-05-10 02:45:00 | 3.3427 | 241.3733 | 3.3247 | 319.1147 | 4.102 | 236.0627 | 3.8527 | 320.7453 | 14.8867 | 886.3333 | 67.538 | 6.2707
2020-05-10 03:00:00 | 2.736 | 298.32 | 2.7 | 328.712 | 3.5827 | 291.758 | 3.274 | 330.3933 | 14.62 | 887 | 69.5753 | 4.428
2020-05-10 03:15:00 | 2.3947 | 142.0333 | 2.3127 | 331.306 | 3.0787 | 138.91 | 2.7307 | 333.0013 | 14.58 | 887 | 70.816 | 2.438
2020-05-10 03:30:00 | 2.2127 | 165.86 | 2.252 | 324.586 | 2.7307 | 162.2107 | 2.6553 | 326.2447 | 14.5933 | 887 | 70.8053 | 0.91333
2020-05-10 03:45:00 | 3.446 | 280.2733 | 3.5653 | 328.322 | 4.024 | 274.1067 | 4.0867 | 329.9993 | 14.44 | 887 | 72.082 | 5.3973
2020-05-10 04:00:00 | 3.6853 | 298.9867 | 3.776 | 332.4613 | 4.38 | 292.41 | 4.3487 | 334.1613 | 14.3733 | 886.3333 | 74.822 | 8.7587
2020-05-10 04:15:00 | 3.4887 | 281.88 | 3.5913 | 328.804 | 4.196 | 275.6787 | 4.1867 | 330.4833 | 14.02 | 886 | 74.488 | 6.6173
2020-05-10 04:30:00 | 3.642 | 320.06 | 3.6947 | 324.4287 | 4.5587 | 313.0187 | 4.394 | 326.0867 | 13.8667 | 886 | 74.426 | 9.0033
2020-05-10 04:45:00 | 3.3113 | 287.8933 | 3.2773 | 324.6633 | 4.192 | 281.56 | 3.8713 | 326.3227 | 13.7667 | 886 | 74.5813 | 7.5813
2020-05-10 05:00:00 | 3.372 | 210.76 | 3.3587 | 316.5193 | 4.028 | 206.124 | 3.8147 | 318.1387 | 13.5867 | 886 | 77.148 | 5.378
2020-05-10 05:15:00 | 3.084 | 276.8933 | 3.0807 | 320.1307 | 3.7607 | 270.8027 | 3.5627 | 321.768 | 13.2133 | 886 | 76.59 | 4.7173
2020-05-10 05:30:00 | 2.54 | 108.1 | 2.426 | 319.4467 | 3.2413 | 105.7213 | 2.826 | 321.08 | 13.2133 | 886 | 77.3313 | 3.6727
2020-05-10 05:45:00 | 2.6533 | 126.7267 | 2.536 | 324.422 | 3.3493 | 123.9393 | 2.928 | 326.0813 | 12.8 | 886 | 78.5147 | 4.406
2020-05-10 06:00:00 | 2.7547 | 128.3 | 2.6667 | 328.9013 | 3.4153 | 125.4773 | 3.062 | 330.5833 | 12.7133 | 886 | 79.6233 | 4.5673
2020-05-10 06:15:00 | 2.664 | 197.36 | 2.5347 | 323.0987 | 3.392 | 193.018 | 2.9393 | 324.7513 | 12.5067 | 886 | 80.5533 | 4.1547
2020-05-10 06:30:00 | 1.514 | 157.34 | 1.4893 | 328.9547 | 2.1487 | 153.878 | 1.9207 | 330.6353 | 13.4867 | 886 | 82.2267 | 0.688
2020-05-10 06:45:00 | 1.5507 | 168.92 | 1.492 | 331.92 | 2.126 | 165.2033 | 1.8507 | 333.6167 | 13.9733 | 886 | 82.5333 | 0.44733
2020-05-10 07:00:00 | 0.94933 | 110.5267 | 0.99933 | 33.324 | 1.5893 | 108.096 | 1.4947 | 33.4933 | 14.7533 | 886 | 81.0227 | 0.35267
2020-05-10 07:15:00 | 0.81733 | 178.52 | 0.856 | 212.8453 | 1.49 | 174.594 | 1.364 | 213.9347 | 14.9667 | 886.3333 | 79.0307 | 0.35467
2020-05-10 07:30:00 | 1.7 | 293.2067 | 1.684 | 325.3673 | 2.41 | 286.7553 | 2.1727 | 327.0307 | 14.4 | 887 | 80.3267 | 0.904
2020-05-10 07:45:00 | 1.434 | 147.3467 | 1.3833 | 286.678 | 2.0533 | 144.1033 | 1.7753 | 288.144 | 14.26 | 887 | 82.12 | 0.796
2020-05-10 08:00:00 | 2.1467 | 143.4133 | 2.0633 | 323.7313 | 2.7853 | 140.2587 | 2.4407 | 325.386 | 13.7933 | 887 | 82.02 | 1.754
2020-05-10 08:15:00 | 1.9593 | 287.34 | 1.894 | 315.1767 | 2.7487 | 281.0187 | 2.3927 | 316.7873 | 13.48 | 887 | 81.62 | 2.246
2020-05-10 08:30:00 | 2.6327 | 295.6667 | 2.616 | 327.852 | 3.29 | 289.1613 | 3.074 | 329.5287 | 13.1933 | 887 | 80.39 | 3.554
2020-05-10 08:45:00 | 3.1113 | 286.9933 | 3.0487 | 327.8053 | 3.9153 | 280.68 | 3.5633 | 329.4807 | 13.32 | 887.3333 | 80.6067 | 5.9507
2020-05-10 09:00:00 | 3.0847 | 287.8333 | 3.094 | 327.7153 | 3.9273 | 281.502 | 3.7027 | 329.3907 | 13.4867 | 888 | 79.4427 | 6.4333
2020-05-10 09:15:00 | 2.7493 | 283.98 | 2.7407 | 330.1773 | 3.5433 | 277.7333 | 3.3053 | 331.8667 | 14.2933 | 888 | 76.2487 | 4.44
2020-05-10 09:30:00 | 2.512 | 285.0267 | 2.4673 | 332.1367 | 3.1967 | 278.756 | 2.9113 | 333.8333 | 14.7933 | 888 | 72.4433 | 2.8967
2020-05-10 09:45:00 | 2.2213 | 271.3 | 2.1873 | 327.5127 | 2.7813 | 265.3313 | 2.5533 | 329.188 | 15.3867 | 889 | 71.14 | 1.5287
2020-05-10 10:00:00 | 1.7107 | 231.76 | 1.6693 | 302.15 | 2.1567 | 226.6613 | 1.9487 | 303.6947 | 16.22 | 889 | 70.744 | 0.20733
2020-05-10 10:15:00 | 1.5133 | 150.2933 | 1.4827 | 288.366 | 1.7087 | 146.9873 | 1.5987 | 289.8413 | 17.4 | 889 | 68.3113 | 0
2020-05-10 10:30:00 | 1.2907 | 137.7133 | 1.3547 | 222.8473 | 1.5073 | 134.6833 | 1.568 | 223.9847 | 18.32 | 889 | 64.54 | 0
2020-05-10 10:45:00 | 1.4573 | 157.1 | 1.5367 | 120.6453 | 1.368 | 153.6427 | 1.5473 | 121.2627 | 19.4 | 889 | 63.1367 | 0
2020-05-10 11:00:00 | 1.844 | 153.6667 | 1.8873 | 136.6987 | 1.9973 | 150.284 | 2.036 | 137.3973 | 19.46 | 889 | 60.7127 | 0
2020-05-10 11:15:00 | 2.2713 | 170.2067 | 2.2573 | 119.818 | 2.636 | 166.462 | 2.5073 | 120.43 | 19.56 | 889 | 54.1927 | 0.228
2020-05-10 11:30:00 | 2.4687 | 151.3667 | 2.5213 | 114.6027 | 2.8293 | 148.0373 | 2.8267 | 115.1887 | 19.46 | 889 | 50.69 | 0.658
2020-05-10 11:45:00 | 2.5293 | 192.32 | 2.5807 | 122.2373 | 2.9113 | 188.0887 | 2.8993 | 122.8633 | 19.82 | 889 | 50.8447 | 1.1467
2020-05-10 12:00:00 | 2.4833 | 188.1067 | 2.578 | 121.1993 | 3.0453 | 183.9687 | 3.0647 | 121.8193 | 20.12 | 889 | 49.8233 | 1.2313
2020-05-10 12:15:00 | 2.2553 | 169.0867 | 2.3533 | 136.228 | 2.6747 | 165.3667 | 2.7373 | 136.926 | 20.6733 | 889 | 48.5133 | 0.64733
2020-05-10 12:30:00 | 2.284 | 193.64 | 2.3633 | 123.802 | 2.5773 | 189.38 | 2.6447 | 124.4353 | 21.2533 | 889 | 47.7967 | 0.25667
2020-05-10 12:45:00 | 2.574 | 178.78 | 2.6667 | 142.3073 | 2.7407 | 174.8467 | 2.8693 | 143.032 | 21.4533 | 889 | 44.36 | 0.618
2020-05-10 13:00:00 | 1.8707 | 188.5933 | 2.0693 | 151.2653 | 2.1147 | 184.4427 | 2.4193 | 152.0387 | 21.8933 | 889 | 42.2627 | 1.0253
2020-05-10 13:15:00 | 2.3933 | 178.0733 | 2.514 | 149.0933 | 2.6213 | 174.1547 | 2.7847 | 149.856 | 22.5067 | 888.6667 | 42.476 | 0.898
2020-05-10 13:30:00 | 2.184 | 159.2267 | 2.3653 | 146.16 | 2.6147 | 155.7247 | 2.832 | 146.9053 | 22.6 | 888 | 43.106 | 0.94133
2020-05-10 13:45:00 | 2.2307 | 143.4867 | 2.3087 | 173.9287 | 2.676 | 140.3293 | 2.6967 | 174.8167 | 23.12 | 888 | 41.7013 | 0.644
2020-05-10 14:00:00 | 2.7733 | 142.1 | 2.9793 | 178.9867 | 3.3293 | 138.9733 | 3.5607 | 179.902 | 23.18 | 888 | 42.2707 | 2.7147
2020-05-10 14:15:00 | 2.7447 | 172.3333 | 2.914 | 156.4273 | 3.3773 | 168.542 | 3.516 | 157.2273 | 23.2933 | 888 | 41.9753 | 3.112
2020-05-10 14:30:00 | 2.6087 | 142.4133 | 2.7833 | 142.2793 | 3.2093 | 139.28 | 3.3687 | 143.0053 | 23.2333 | 888 | 41.9927 | 2.5047
2020-05-10 14:45:00 | 2.2887 | 154.4133 | 2.482 | 170.094 | 2.6827 | 151.0153 | 2.9367 | 170.964 | 23.5 | 888 | 41.1693 | 1.718
2020-05-10 15:00:00 | 3.0667 | 142.0467 | 3.2333 | 144.5287 | 3.6373 | 138.9227 | 3.7907 | 145.2667 | 23.4067 | 888 | 41.4813 | 3.2313
2020-05-10 15:15:00 | 2.8893 | 137.0667 | 2.9947 | 130.438 | 3.476 | 134.0513 | 3.5073 | 131.1053 | 23.7667 | 887 | 41.0073 | 3.324
2020-05-10 15:30:00 | 2.846 | 176.6733 | 2.9447 | 134.8147 | 3.384 | 172.7873 | 3.416 | 135.5033 | 23.6133 | 887 | 40.8593 | 2.2367
2020-05-10 15:45:00 | 2.1133 | 178.7933 | 2.1007 | 134.3453 | 2.204 | 174.8607 | 2.158 | 135.032 | 23.9067 | 887 | 40.5027 | 0.396
2020-05-10 16:00:00 | 2.378 | 150.8533 | 2.4747 | 170.086 | 2.5967 | 147.534 | 2.718 | 170.958 | 24.1333 | 887 | 38.9847 | 0.86467
2020-05-10 16:15:00 | 2.2647 | 139.0733 | 2.4313 | 167.9293 | 2.712 | 136.0127 | 2.8953 | 168.7873 | 24.54 | 887 | 39.02 | 0.61
2020-05-10 16:30:00 | 1.5733 | 147.9067 | 1.7253 | 192.894 | 1.9227 | 144.652 | 2.1067 | 193.8807 | 25.1267 | 887 | 38.516 | 0
2020-05-10 16:45:00 | 1.686 | 163.4467 | 1.8027 | 216.926 | 1.922 | 159.852 | 2.0727 | 218.0367 | 24.7867 | 887 | 39.1347 | 0
2020-05-10 17:00:00 | 1.354 | 162.82 | 1.536 | 139.586 | 1.73 | 159.238 | 1.9627 | 140.2993 | 24.3 | 887 | 40.5573 | 0.212
2020-05-10 17:15:00 | 1.3587 | 182.8933 | 1.3693 | 141.9933 | 1.5807 | 178.87 | 1.5367 | 142.7187 | 24 | 887 | 41.9073 | 0
2020-05-10 17:30:00 | 0.802 | 265.8733 | 0.80933 | 247.0753 | 0.93 | 260.0233 | 0.90667 | 248.3393 | 24.12 | 887 | 40.608 | 0
2020-05-10 17:45:00 | 0.96133 | 304.9 | 1.0047 | 276.1867 | 1.1067 | 298.1933 | 1.1453 | 277.6007 | 23.88 | 887 | 40.7933 | 0
2020-05-10 18:00:00 | 1.1827 | 293.7867 | 1.2233 | 285.5167 | 1.388 | 287.324 | 1.402 | 286.9773 | 23.6267 | 887 | 41.794 | 0
2020-05-10 18:15:00 | 1.43 | 308.74 | 1.4867 | 304.4047 | 1.5847 | 301.9473 | 1.6493 | 305.9607 | 23.4933 | 887 | 43.27 | 0
2020-05-10 18:30:00 | 1.3647 | 335.4533 | 1.4613 | 321.742 | 1.5453 | 328.072 | 1.676 | 323.388 | 23.8333 | 886.3333 | 44.448 | 0
2020-05-10 18:45:00 | 1.4093 | 279.88 | 1.5353 | 273.56 | 1.6233 | 273.7233 | 1.7987 | 274.958 | 23.54 | 886 | 45.686 | 0
2020-05-10 19:00:00 | 2.0233 | 254.6267 | 2.1867 | 294.9447 | 2.3787 | 249.024 | 2.5847 | 296.4527 | 23.36 | 886 | 45.6833 | 0
2020-05-10 19:15:00 | 2.3287 | 344.4067 | 2.4913 | 331.6907 | 2.6673 | 336.8293 | 2.878 | 333.3873 | 23.28 | 886 | 48.7127 | 0.060667
2020-05-10 19:30:00 | 2.0933 | 323.6533 | 2.2293 | 313.09 | 2.424 | 316.5327 | 2.588 | 314.692 | 23.2267 | 886 | 50.1433 | 0
2020-05-10 19:45:00 | 2.1447 | 317.2133 | 2.2633 | 309.836 | 2.5533 | 309.614 | 2.6513 | 311.422 | 23.12 | 886 | 51.372 | 0.414
2020-05-10 20:00:00 | 2.0753 | 299.36 | 2.2013 | 324.6947 | 2.4107 | 292.774 | 2.554 | 326.356 | 23.0933 | 886 | 51.7633 | 0.099333
2020-05-10 20:15:00 | 1.8173 | 210.1867 | 1.918 | 318.032 | 2.038 | 205.5633 | 2.16 | 319.6567 | 23.0933 | 886 | 53.8373 | 0
2020-05-10 20:30:00 | 1.9227 | 55.7867 | 2.0047 | 339.2753 | 2.1373 | 54.558 | 2.2333 | 341.0093 | 23.08 | 885.3333 | 54.4947 | 0
2020-05-10 20:45:00 | 2.9967 | 145.3333 | 3.0893 | 293.186 | 3.4407 | 142.1367 | 3.4913 | 294.684 | 22.5533 | 885 | 55.1307 | 2.2393
2020-05-10 21:00:00 | 3.0153 | 213.78 | 3.212 | 320.948 | 3.5207 | 209.1427 | 3.748 | 322.5887 | 22.4267 | 885.6667 | 57.7593 | 3.4587
2020-05-10 21:15:00 | 3.0247 | 327.6933 | 3.2347 | 340.6633 | 3.4687 | 320.484 | 3.7393 | 342.4053 | 22.42 | 886 | 56.4787 | 3.7733
2020-05-10 21:30:00 | 2.5493 | 326.2467 | 2.7213 | 319.6027 | 2.938 | 319.0673 | 3.1553 | 321.2373 | 22.4533 | 886 | 55.972 | 1.634
2020-05-10 21:45:00 | 2.744 | 326.3133 | 2.8833 | 328.4967 | 3.26 | 319.1333 | 3.3787 | 330.1787 | 22.3133 | 886.3333 | 55.3293 | 2.0307
2020-05-10 22:00:00 | 3.664 | 340.22 | 3.832 | 316.3567 | 4.2753 | 332.7347 | 4.418 | 317.974 | 22.1067 | 887 | 58.1793 | 6.2953
2020-05-10 22:15:00 | 3.9187 | 340.98 | 4.1487 | 316.0507 | 4.6027 | 333.748 | 4.844 | 317.6667 | 21.94 | 887 | 60.5427 | 8.978
2020-05-10 22:30:00 | 4.666 | 342.7267 | 4.9513 | 322.2387 | 5.4827 | 335.1853 | 5.786 | 323.8847 | 21.3333 | 887 | 62.268 | 15.2047
2020-05-10 22:45:00 | 4.8087 | 343.3933 | 5.1133 | 325.7447 | 5.6073 | 335.838 | 5.9547 | 327.4113 | 20.8067 | 888 | 64.5387 | 17.796
2020-05-10 23:00:00 | 5.7447 | 346.4267 | 6.1247 | 328.8367 | 6.56 | 338.8047 | 7.046 | 330.5167 | 20.6267 | 888 | 66.4513 | 31.706
2020-05-10 23:15:00 | 5.6567 | 327.5467 | 6.1333 | 315.164 | 6.306 | 320.3407 | 7.018 | 316.7767 | 20.34 | 888 | 67.9 | 30.7213
2020-05-10 23:30:00 | 5.2547 | 340.8133 | 5.828 | 329.2593 | 5.97 | 333.3153 | 6.842 | 330.9433 | 19.9533 | 888.6667 | 68.502 | 33.566
2020-05-10 23:45:00 | 5.9893 | 342.9 | 6.462 | 337.846 | 6.23 | 335.3567 | 7.0553 | 339.5733 | 19.9667 | 889 | 70.956 | 45.7067