## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-11 00:00:00 | 6.6207 | 349.1 | 7.0307 | 338.64 | 7.2357 | 341.4179 | 7.8371 | 340.3707 | 19.9929 | 889 | 72.46 | 52.5287
2020-05-11 00:15:00 | 6.0973 | 299.7267 | 6.4847 | 249.252 | 6.8073 | 293.1327 | 7.3333 | 250.5273 | 19.6733 | 889 | 70.8787 | 53.7327
2020-05-11 00:30:00 | 6.2673 | 339.5133 | 6.704 | 309.7653 | 6.962 | 332.0447 | 7.594 | 311.348 | 19.6 | 889 | 69.3727 | 55.1507
2020-05-11 00:45:00 | 7.0593 | 339.14 | 7.4913 | 329.5667 | 7.9973 | 331.6773 | 8.5453 | 331.2513 | 19.7733 | 889 | 68.9453 | 60.6153
2020-05-11 01:00:00 | 7.3447 | 273.7267 | 7.7127 | 329.0833 | 8.196 | 267.7047 | 8.6507 | 330.766 | 19.8067 | 889 | 68.39 | 59.936
2020-05-11 01:15:00 | 8.34 | 299.72 | 8.5847 | 329.0447 | 9.0713 | 270.534 | 9.3253 | 330.728 | 19.8467 | 889 | 67.222 | 60.7173
2020-05-11 01:30:00 | 7.836 | 233.4267 | 8.2647 | 304.034 | 9.084 | 228.2907 | 9.54 | 305.588 | 19.5533 | 889 | 65.778 | 61.014
2020-05-11 01:45:00 | 8.7973 | 170.0333 | 9.2813 | 266.2247 | 9.8973 | 166.292 | 10.498 | 267.5867 | 19.58 | 889 | 64.4853 | 60.052
2020-05-11 02:00:00 | 9.7833 | 255.3133 | 10.3967 | 265.514 | 11.188 | 249.2713 | 11.9653 | 266.8713 | 19.52 | 889 | 61.8133 | 59.128
2020-05-11 02:15:00 | 9.95 | 251.8933 | 10.548 | 292.1173 | 11.408 | 246.352 | 12.12 | 293.6093 | 19.5267 | 888.6667 | 54.1687 | 54.6293
2020-05-11 02:30:00 | 11.5113 | 255.0333 | 12.1207 | 330.1267 | 12.8267 | 249.4227 | 13.6033 | 331.8147 | 19.5333 | 888.6667 | 48.368 | 48.6007
2020-05-11 02:45:00 | 11.1067 | 276.4 | 11.9247 | 309.668 | 12.748 | 292.0247 | 13.7593 | 311.2507 | 19.3333 | 888.6667 | 43.0247 | 43.7
2020-05-11 03:00:00 | 11.148 | 300.5133 | 11.9313 | 290.7587 | 12.5667 | 293.902 | 13.6413 | 292.246 | 19.1933 | 888.6667 | 39.8687 | 40.9773
2020-05-11 03:15:00 | 11.3187 | 235.66 | 11.9373 | 308.0173 | 12.6093 | 230.4753 | 13.4093 | 309.594 | 19.0533 | 889 | 36.9207 | 42.4527
2020-05-11 03:30:00 | 10.1293 | 255.6533 | 10.8307 | 293.544 | 11.504 | 250.0287 | 12.4373 | 295.0447 | 18.8067 | 889 | 35.0067 | 43.4253
2020-05-11 03:45:00 | 11.4153 | 257.7267 | 12.242 | 288.04 | 13.178 | 252.0553 | 14.2313 | 289.5127 | 18.6 | 889 | 34.756 | 41.7733
2020-05-11 04:00:00 | 11.1913 | 232.14 | 11.706 | 311.558 | 12.4333 | 227.0327 | 13.0573 | 313.152 | 18.4933 | 889 | 33.84 | 42.3287
2020-05-11 04:15:00 | 12.0913 | 304.28 | 12.5367 | 330.5047 | 13.2533 | 297.5853 | 13.7707 | 332.196 | 18.2467 | 890 | 33.672 | 42.1333
2020-05-11 04:30:00 | 11.132 | 239.9467 | 11.562 | 332.1213 | 12.2567 | 234.668 | 12.754 | 333.8207 | 18.1467 | 890 | 34.26 | 41.5007
2020-05-11 04:45:00 | 10.9373 | 168.6133 | 11.4687 | 333.9993 | 12.0833 | 143.4067 | 12.7847 | 335.7067 | 17.9467 | 890 | 33.4287 | 40.6933
2020-05-11 05:00:00 | 12.546 | 255.8667 | 13.0173 | 328.8493 | 13.5107 | 250.2373 | 14.132 | 330.53 | 17.8267 | 890 | 33.644 | 40.58
2020-05-11 05:15:00 | 12.3467 | 253.78 | 12.7953 | 309.4527 | 13.2773 | 248.1967 | 13.8673 | 311.034 | 17.7133 | 891 | 34.15 | 40.9487
2020-05-11 05:30:00 | 11.1187 | 255.5133 | 11.5793 | 329.6507 | 12.1767 | 249.8927 | 12.7473 | 331.336 | 17.5667 | 891 | 34.31 | 41.8513
2020-05-11 05:45:00 | 11.5847 | 210.88 | 12.3887 | 328.0547 | 13.1993 | 206.2413 | 14.256 | 329.732 | 17.3067 | 891 | 34.586 | 41.0813
2020-05-11 06:00:00 | 11.2607 | 235.5267 | 11.9187 | 248.23 | 12.5027 | 230.3453 | 13.3947 | 249.498 | 17.1467 | 891 | 35.118 | 40.6147
2020-05-11 06:15:00 | 10.652 | 186.4133 | 11.5033 | 247.6153 | 12.3429 | 171.4007 | 13.5221 | 266.4 | 16.9467 | 891 | 35.688 | 41.1573
2020-05-11 06:30:00 | 10.442 | 232.02 | 11.1773 | 289.9327 | 12.2593 | 226.9153 | 13.1253 | 291.4127 | 16.7933 | 891 | 36.39 | 41.8967
2020-05-11 06:45:00 | 10.6993 | 275.38 | 11.4767 | 309.5627 | 12.2847 | 269.3213 | 13.306 | 311.1467 | 16.66 | 891 | 37.4853 | 41.546
2020-05-11 07:00:00 | 10.7933 | 235.66 | 11.3327 | 329.9247 | 11.9327 | 230.4767 | 12.6327 | 331.612 | 16.48 | 891.6667 | 39.094 | 46.512
2020-05-11 07:15:00 | 11.1587 | 254.8867 | 11.3907 | 328.4693 | 11.848 | 249.2793 | 12.0927 | 330.15 | 16.2933 | 892 | 39.7 | 53.294
2020-05-11 07:30:00 | 10.906 | 234.9867 | 11.324 | 326.9767 | 11.8327 | 229.8167 | 12.3647 | 328.65 | 16.18 | 892 | 40.41 | 54.132
2020-05-11 07:45:00 | 11.0507 | 187.42 | 11.5093 | 331.4373 | 12.1033 | 183.2967 | 12.672 | 333.132 | 16.0267 | 892 | 40.7747 | 55.2393
2020-05-11 08:00:00 | 10.62 | 210.5 | 11.058 | 330.016 | 11.7727 | 205.8693 | 12.272 | 331.7033 | 15.7867 | 892.6667 | 41.734 | 56.2753
2020-05-11 08:15:00 | 10.3153 | 191.02 | 11.2753 | 247.904 | 12.236 | 186.818 | 13.5 | 249.1707 | 15.88 | 893 | 41.8073 | 60.0807
2020-05-11 08:30:00 | 9.4213 | 171.38 | 10.142 | 269.048 | 11.1167 | 167.61 | 11.9927 | 270.4233 | 16.0867 | 893 | 40.2873 | 58.6787
2020-05-11 08:45:00 | 10.028 | 256.9467 | 10.8333 | 249.82 | 11.5407 | 252.2 | 12.6887 | 251.0967 | 16.06 | 893 | 39.544 | 56.7273
2020-05-11 09:00:00 | 10.0453 | 192.32 | 10.6533 | 290.062 | 11.4773 | 188.088 | 12.2173 | 291.5433 | 15.9933 | 893.6667 | 40.374 | 54.4967
2020-05-11 09:15:00 | 9.7013 | 283.5 | 10.4967 | 226.904 | 11.384 | 277.264 | 12.4033 | 228.0627 | 16.0067 | 893.3333 | 40.28 | 50.26
2020-05-11 09:30:00 | 9.748 | 218.66 | 10.636 | 335.024 | 11.342 | 213.848 | 12.568 | 336.738 | 16.02 | 894 | 40.57 | 56.0227
2020-05-11 09:45:00 | 9.504 | 277.5933 | 10.1847 | 272.3527 | 11.2007 | 271.4873 | 11.9987 | 273.7447 | 16.3 | 893 | 40.578 | 55.498
2020-05-11 10:00:00 | 9.504 | 277.5933 | 10.1847 | 272.3527 | 11.2007 | 271.4873 | 11.9987 | 273.7447 | 16.3 | 893 | 40.578 | 55.498
2020-05-11 10:15:00 | 9.504 | 277.5933 | 10.1847 | 272.3527 | 11.2007 | 271.4873 | 11.9987 | 273.7447 | 16.3 | 893 | 40.578 | 55.498
2020-05-11 10:30:00 | 9.9927 | 121.1067 | 10.662 | 289.3127 | 11.404 | 118.4413 | 12.2647 | 290.7913 | 16.8933 | 894 | 36.0313 | 60.1987
2020-05-11 10:45:00 | 9.9927 | 121.1067 | 10.662 | 289.3127 | 11.404 | 118.4413 | 12.2647 | 290.7913 | 16.8933 | 894 | 36.0313 | 60.1987
2020-05-11 11:00:00 | 9.9927 | 121.1067 | 10.662 | 289.3127 | 11.404 | 118.4413 | 12.2647 | 290.7913 | 16.8933 | 894 | 36.0313 | 60.1987
2020-05-11 11:15:00 | 9.4415 | 193.6615 | 9.8815 | 330.3315 | 10.4746 | 189.4015 | 11.0077 | 332.0208 | 17.1769 | 894 | 35.535 | 60.1667
2020-05-11 11:30:00 | 8.5127 | 145.8133 | 8.948 | 269.418 | 9.5027 | 142.6053 | 10.0413 | 270.798 | 17.6 | 894 | 35.2593 | 57.6933
2020-05-11 11:45:00 | 7.9567 | 189.36 | 8.21 | 325.9993 | 8.6053 | 185.1933 | 8.8993 | 327.668 | 17.86 | 894 | 33.264 | 54.5873
2020-05-11 12:00:00 | 7.952 | 234.12 | 8.13 | 328.9533 | 8.4707 | 228.968 | 8.6593 | 330.636 | 17.9267 | 894 | 31.3767 | 53.014
2020-05-11 12:15:00 | 7.56 | 189.4267 | 7.8187 | 327.564 | 8.1233 | 185.4547 | 8.4727 | 329.2393 | 18.0867 | 894.3333 | 31.4793 | 50.8593
2020-05-11 12:30:00 | 7.7507 | 214.0467 | 8.064 | 327.0693 | 8.3413 | 209.3393 | 8.7707 | 328.7413 | 18.0467 | 894.3333 | 30.784 | 50.6993
2020-05-11 12:45:00 | 7.2213 | 166.5267 | 7.5873 | 285.1 | 8.132 | 184.32 | 8.584 | 286.558 | 18.5067 | 894 | 31.6973 | 51.7213
2020-05-11 13:00:00 | 6.4887 | 190.9067 | 6.788 | 267.0593 | 7.236 | 186.7073 | 7.5913 | 268.4247 | 18.9933 | 894 | 30.744 | 49.9887
2020-05-11 13:15:00 | 6.9213 | 236.9267 | 7.4 | 332.6173 | 8.1253 | 232.444 | 8.704 | 334.3167 | 19.2 | 893 | 30.2827 | 51.2153
2020-05-11 13:30:00 | 6.2947 | 210.88 | 6.652 | 271.566 | 7.1487 | 205.118 | 7.574 | 272.9527 | 19.7 | 893 | 29.684 | 48.7727
2020-05-11 13:45:00 | 6.086 | 172.3067 | 6.4867 | 242.238 | 7.0047 | 168.5167 | 7.498 | 243.4767 | 19.7867 | 893 | 28.056 | 47.0387
2020-05-11 14:00:00 | 5.7387 | 262.64 | 6.0647 | 284.7613 | 6.5527 | 256.8633 | 6.9387 | 286.218 | 19.86 | 893 | 27.7913 | 42.4453
2020-05-11 14:15:00 | 5.9253 | 130.8667 | 6.1553 | 310.2867 | 6.5827 | 127.9873 | 6.8307 | 311.8733 | 19.8333 | 893 | 27.7533 | 43.9713
2020-05-11 14:30:00 | 5.5833 | 258.7 | 6.004 | 223.8447 | 6.376 | 253.0107 | 6.946 | 224.9893 | 20.38 | 893 | 27.4393 | 39.342
2020-05-11 14:45:00 | 5.6967 | 175.0467 | 6.0753 | 188.636 | 6.5527 | 171.1967 | 7.0233 | 189.6007 | 20.2267 | 893 | 27.2653 | 40.3307
2020-05-11 15:00:00 | 5.6713 | 145.8733 | 6.0513 | 252.3033 | 6.3727 | 142.6647 | 6.8887 | 253.5953 | 20.4733 | 893 | 27.088 | 36.2213
2020-05-11 15:15:00 | 6.1493 | 304.0333 | 6.4647 | 252.2967 | 6.9073 | 297.344 | 7.286 | 253.5873 | 20.3733 | 893 | 27.4227 | 39.8233
2020-05-11 15:30:00 | 6.2433 | 318.84 | 6.7147 | 205.2933 | 7.2213 | 311.8253 | 7.8327 | 206.3447 | 20.58 | 893 | 28.226 | 43.822
2020-05-11 15:45:00 | 5.5913 | 254.78 | 6.018 | 140.188 | 6.5193 | 249.174 | 7.058 | 140.9033 | 20.6667 | 892.6667 | 28.0887 | 38.7887
2020-05-11 16:00:00 | 5.5113 | 280.38 | 5.9233 | 279.01 | 6.348 | 274.212 | 6.8873 | 280.4367 | 20.5067 | 892 | 28.3013 | 40.6693
2020-05-11 16:15:00 | 6.162 | 298.16 | 6.6073 | 271.356 | 7.1927 | 291.602 | 7.74 | 272.7433 | 20.2533 | 892 | 31.258 | 43.976
2020-05-11 16:30:00 | 6.0407 | 317.1 | 6.508 | 335.662 | 6.9407 | 310.1247 | 7.5653 | 337.3793 | 20.2467 | 892 | 30.6187 | 40.988
2020-05-11 16:45:00 | 5.3133 | 277.6667 | 5.6173 | 297.4827 | 6.0253 | 271.5573 | 6.3967 | 299.0027 | 20.2 | 892 | 29.496 | 34.6647
2020-05-11 17:00:00 | 4.6093 | 278.6867 | 4.8353 | 311.03 | 5.34 | 272.556 | 5.5573 | 312.6207 | 20.0733 | 891.3333 | 29.6173 | 28.6367
2020-05-11 17:15:00 | 4.546 | 299.5467 | 4.7953 | 289.6507 | 5.3033 | 292.9567 | 5.5607 | 291.132 | 19.86 | 891.6667 | 31.418 | 29.6047
2020-05-11 17:30:00 | 4.31 | 257.18 | 4.5293 | 266.5247 | 4.7813 | 251.5227 | 5.06 | 267.8873 | 20.0533 | 891 | 32.2407 | 28.3647
2020-05-11 17:45:00 | 4.0973 | 340.4 | 4.4013 | 250.4073 | 4.6967 | 332.736 | 5.108 | 251.6873 | 20.2267 | 891 | 32.4433 | 23.8733
2020-05-11 18:00:00 | 4.814 | 320.5933 | 5.0987 | 266.922 | 5.3453 | 313.5393 | 5.7327 | 268.288 | 20.0867 | 891 | 30.892 | 23.4447
2020-05-11 18:15:00 | 4.93 | 321.64 | 5.3407 | 291.2807 | 5.7287 | 314.564 | 6.2773 | 292.7693 | 20.12 | 891 | 31.1653 | 28.356
2020-05-11 18:30:00 | 5.2513 | 322.56 | 5.7333 | 331.3393 | 5.96 | 315.4633 | 6.668 | 333.0333 | 20.0267 | 891 | 30.626 | 31.79
2020-05-11 18:45:00 | 5.532 | 302.3533 | 5.8993 | 286.9973 | 6.208 | 295.702 | 6.7087 | 288.4647 | 19.8467 | 891 | 32.0547 | 30.5207
2020-05-11 19:00:00 | 5.3887 | 256.4533 | 5.7107 | 270.6973 | 6.112 | 250.8693 | 6.5153 | 272.0813 | 19.7733 | 890.3333 | 32.818 | 28.4127
2020-05-11 19:15:00 | 5.582 | 277.3667 | 5.9027 | 337.5653 | 6.2113 | 271.264 | 6.642 | 339.2927 | 19.5533 | 890 | 33.6927 | 29.1347
2020-05-11 19:30:00 | 5.462 | 299.7 | 5.7887 | 337.0647 | 6.02 | 293.1073 | 6.4787 | 338.7887 | 19.3733 | 890 | 33.982 | 28.008
2020-05-11 19:45:00 | 4.8247 | 326.0733 | 5.1147 | 332.5327 | 5.0593 | 318.9007 | 5.5407 | 334.2347 | 19.1667 | 889 | 34.0953 | 23.956
2020-05-11 20:00:00 | 5.0667 | 326.4133 | 5.3887 | 330.3887 | 5.3687 | 319.232 | 5.894 | 332.0767 | 18.94 | 889 | 33.4107 | 26.846
2020-05-11 20:15:00 | 5.3293 | 302.92 | 5.6553 | 334.176 | 5.5633 | 296.2567 | 6.1167 | 335.8853 | 18.9 | 889 | 33.6453 | 28.3667
2020-05-11 20:30:00 | 5.6267 | 325.32 | 6.04 | 332.7813 | 6.136 | 318.164 | 6.7733 | 334.4827 | 18.8067 | 889 | 35.0813 | 31.262
2020-05-11 20:45:00 | 5.5093 | 281.9933 | 5.962 | 329.9587 | 6.1007 | 275.7887 | 6.79 | 331.6447 | 18.5267 | 889 | 36.4927 | 31.3973
2020-05-11 21:00:00 | 5.5627 | 351.5 | 5.9333 | 326.1707 | 6.06 | 343.7673 | 6.6187 | 327.8367 | 18.3267 | 889 | 37.6287 | 30.4713
2020-05-11 21:15:00 | 5.4073 | 349.3667 | 5.7267 | 333.3807 | 5.9113 | 341.6813 | 6.37 | 335.0853 | 18.24 | 889 | 37.9967 | 28.0647
2020-05-11 21:30:00 | 5.1267 | 345.88 | 5.4487 | 330.8893 | 5.5613 | 338.272 | 6.042 | 332.5807 | 18.06 | 889 | 38.384 | 24.132
2020-05-11 21:45:00 | 4.8767 | 345.9267 | 5.216 | 326.8853 | 5.4447 | 338.316 | 5.9247 | 328.5567 | 17.7867 | 889 | 39.5867 | 22.8833
2020-05-11 22:00:00 | 4.7673 | 344.8133 | 5.1013 | 327.5387 | 5.3453 | 337.2287 | 5.814 | 329.214 | 17.5 | 889 | 40.824 | 21.8667
2020-05-11 22:15:00 | 4.7893 | 348.38 | 5.1553 | 324.7487 | 5.3753 | 340.7147 | 5.8987 | 326.4087 | 17.4733 | 889 | 40.898 | 21.0413
2020-05-11 22:30:00 | 5.2027 | 328.8533 | 5.552 | 320.816 | 5.8253 | 321.6187 | 6.308 | 322.4573 | 17.4 | 889 | 41.1493 | 25.2913
2020-05-11 22:45:00 | 5.6127 | 350.3182 | 6.0064 | 322.2682 | 6.26 | 342.6109 | 6.82 | 323.9173 | 17.1182 | 889 | 42.4982 | 31.69
2020-05-11 23:00:00 | 5.8873 | 349.1533 | 6.306 | 326.7107 | 6.604 | 341.4713 | 7.1873 | 328.3813 | 17.0933 | 889 | 42.438 | 34.694
2020-05-11 23:15:00 | 6.116 | 339.2133 | 6.5467 | 318.7693 | 6.8307 | 331.75 | 7.4413 | 320.3987 | 17 | 889 | 42.9667 | 36.174
2020-05-11 23:30:00 | 6.188 | 338.5267 | 6.6387 | 319.1813 | 7.0107 | 331.078 | 7.6273 | 320.812 | 16.9467 | 889 | 44.1333 | 37.1567
2020-05-11 23:45:00 | 6.0973 | 343.0333 | 6.5533 | 324.168 | 6.9713 | 335.486 | 7.5813 | 325.8253 | 16.7333 | 889 | 45.6767 | 36.6927