## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-12 00:00:00 | 6.2593 | 344.8143 | 6.725 | 323.9414 | 7.1279 | 337.2279 | 7.7614 | 325.5964 | 16.5429 | 889 | 46.84 | 37.9133
2020-05-12 00:15:00 | 6.0433 | 346.8533 | 6.5093 | 323.5233 | 6.9887 | 339.2233 | 7.598 | 325.1767 | 16.54 | 888 | 47.56 | 34.6113
2020-05-12 00:30:00 | 5.4013 | 341.6867 | 5.7413 | 318.6667 | 6.4733 | 333.9353 | 6.8093 | 320.2933 | 16.48 | 888 | 48.884 | 27.2467
2020-05-12 00:45:00 | 4.638 | 336.3933 | 4.8973 | 323.216 | 5.7047 | 328.9927 | 5.8867 | 324.8693 | 16.4067 | 888 | 50.4547 | 19.7313
2020-05-12 01:00:00 | 4.218 | 344.9 | 4.4773 | 320.1773 | 5.2253 | 337.312 | 5.4213 | 321.8153 | 16.2467 | 888 | 50.6787 | 16.5453
2020-05-12 01:15:00 | 4.2633 | 339.8467 | 4.572 | 322.72 | 5.19 | 332.136 | 5.5147 | 324.37 | 16.1933 | 888 | 54.4327 | 16.8267
2020-05-12 01:30:00 | 4.4773 | 336.18 | 4.8153 | 319.6507 | 5.4633 | 328.7847 | 5.8167 | 321.2847 | 15.9333 | 888 | 58.762 | 19.4993
2020-05-12 01:45:00 | 4.5447 | 338.0133 | 4.8527 | 315.928 | 5.3067 | 330.5753 | 5.6667 | 317.542 | 15.2333 | 888 | 60.162 | 20.2727
2020-05-12 02:00:00 | 4.9833 | 338.54 | 5.278 | 317.048 | 5.7493 | 331.092 | 6.0887 | 318.67 | 14.9867 | 887.3333 | 61.4467 | 26.164
2020-05-12 02:15:00 | 5.4567 | 341.3933 | 5.844 | 326.4887 | 6.2467 | 333.8827 | 6.7493 | 328.1593 | 14.34 | 887 | 60.5433 | 31.352
2020-05-12 02:30:00 | 6.0747 | 339.36 | 6.5313 | 329.4553 | 6.8913 | 331.8933 | 7.5227 | 331.1413 | 14.48 | 887 | 58.502 | 35.2987
2020-05-12 02:45:00 | 6.064 | 341.8667 | 6.448 | 329.912 | 6.912 | 334.344 | 7.3987 | 331.598 | 14.32 | 887 | 57.3927 | 34.5593
2020-05-12 03:00:00 | 6.2813 | 345.38 | 6.6153 | 333.6213 | 7.1313 | 337.7807 | 7.522 | 335.328 | 14.5067 | 887 | 57.7633 | 34.958
2020-05-12 03:15:00 | 5.6187 | 343.7067 | 5.8407 | 332.2447 | 6.5353 | 336.1453 | 6.692 | 333.9447 | 14.4733 | 887 | 58.8853 | 30.036
2020-05-12 03:30:00 | 5.102 | 323.3867 | 5.362 | 325.5173 | 6.0413 | 316.2713 | 6.262 | 327.182 | 13.8467 | 887 | 61.1033 | 26.346
2020-05-12 03:45:00 | 5.1607 | 238.12 | 5.3693 | 328.8427 | 6.0973 | 232.8813 | 6.228 | 330.524 | 13.9533 | 887 | 61.42 | 24.176
2020-05-12 04:00:00 | 5.0013 | 52.94 | 5.1713 | 324.3173 | 5.9773 | 51.7753 | 6.0213 | 325.976 | 13.5533 | 887 | 60.0607 | 22.8487
2020-05-12 04:15:00 | 4.8713 | 185.3533 | 5.0573 | 323.5487 | 5.842 | 181.2753 | 5.9153 | 325.2027 | 13.7 | 887 | 62.016 | 21.5547
2020-05-12 04:30:00 | 4.714 | 237.34 | 4.98 | 325.778 | 5.8047 | 232.118 | 5.996 | 327.444 | 13.4733 | 887 | 63.7907 | 21.0067
2020-05-12 04:45:00 | 5.1007 | 327.78 | 5.394 | 327.8573 | 6.2407 | 320.5693 | 6.466 | 329.5353 | 13.7 | 887 | 64.8553 | 24.4887
2020-05-12 05:00:00 | 5.616 | 327.5333 | 5.9267 | 329.652 | 6.59 | 320.3287 | 6.9 | 331.3373 | 13.4067 | 887 | 66.526 | 26.1967
2020-05-12 05:15:00 | 5.9747 | 352.7933 | 6.3653 | 327.1473 | 7.128 | 345.0313 | 7.5347 | 328.8193 | 13.1533 | 887 | 67.916 | 31.044
2020-05-12 05:30:00 | 5.5907 | 348.6067 | 5.9087 | 325.0353 | 6.6573 | 340.938 | 6.9593 | 326.6967 | 13.02 | 887 | 68.8793 | 29.1153
2020-05-12 05:45:00 | 5.672 | 347.5 | 5.956 | 332.4147 | 6.6693 | 339.856 | 6.9173 | 334.1147 | 12.36 | 887 | 69.3547 | 30.3927
2020-05-12 06:00:00 | 5.6607 | 353.7533 | 6.016 | 328.0453 | 6.5487 | 345.9713 | 6.966 | 329.7227 | 13.08 | 887 | 65.7147 | 30.47
2020-05-12 06:15:00 | 5.3527 | 329.8267 | 5.628 | 323.6653 | 6.2227 | 322.5707 | 6.496 | 325.3213 | 13.0733 | 887 | 65.4213 | 25.3973
2020-05-12 06:30:00 | 5.0093 | 167.52 | 5.2547 | 324.194 | 5.9407 | 163.834 | 6.1347 | 325.8527 | 13.2733 | 887 | 68.256 | 20.3593
2020-05-12 06:45:00 | 5.3107 | 213.9067 | 5.5833 | 320.9333 | 6.242 | 209.2013 | 6.4927 | 322.5747 | 13.2133 | 887 | 67.9593 | 23.52
2020-05-12 07:00:00 | 5.0767 | 279.3533 | 5.3087 | 320.9273 | 6.0347 | 273.208 | 6.1973 | 322.568 | 13.3533 | 887 | 66.6053 | 20.0713
2020-05-12 07:15:00 | 4.814 | 335.6133 | 4.9527 | 325.0087 | 5.9167 | 327.284 | 5.86 | 326.67 | 13.3133 | 888 | 67.564 | 17.5107
2020-05-12 07:30:00 | 4.712 | 345.3067 | 4.934 | 321.8527 | 5.666 | 337.6633 | 5.818 | 323.4993 | 13.3467 | 888 | 68.8653 | 17.6613
2020-05-12 07:45:00 | 4.9947 | 348.3133 | 5.2593 | 328.836 | 5.9693 | 340.65 | 6.1907 | 330.5173 | 13.0267 | 889 | 67.516 | 18.8707
2020-05-12 08:00:00 | 4.634 | 345.58 | 4.8573 | 331.1513 | 5.4933 | 337.9753 | 5.668 | 332.844 | 13.06 | 889 | 66.4093 | 15.044
2020-05-12 08:15:00 | 4.062 | 296.0667 | 4.208 | 329.476 | 5.12 | 289.5527 | 5.0933 | 331.1607 | 13.66 | 889.3333 | 64.1573 | 12.506
2020-05-12 08:30:00 | 3.784 | 300.0067 | 3.916 | 330.7867 | 4.5727 | 293.406 | 4.5973 | 332.4767 | 13.9667 | 890 | 62.678 | 8.7107
2020-05-12 08:45:00 | 3.5267 | 339.9067 | 3.6133 | 332.2593 | 4.1347 | 332.4293 | 4.1253 | 333.9573 | 14.3267 | 890 | 63.2133 | 6.6793
2020-05-12 09:00:00 | 2.9567 | 294.1067 | 2.942 | 325.374 | 3.64 | 287.6373 | 3.4187 | 327.0373 | 14.5733 | 890 | 62.3033 | 4.996
2020-05-12 09:15:00 | 2.6947 | 299.9067 | 2.7127 | 326.9927 | 3.228 | 293.308 | 3.108 | 328.6627 | 14.7733 | 890 | 61.1387 | 3.2407
2020-05-12 09:30:00 | 2.4227 | 139.3333 | 2.3667 | 330.42 | 2.892 | 136.2673 | 2.652 | 332.1087 | 15.18 | 890 | 58.4933 | 2.0813
2020-05-12 09:45:00 | 1.672 | 246.9333 | 1.6253 | 328.0007 | 1.9827 | 241.5 | 1.808 | 329.6787 | 16.0067 | 890 | 56.2027 | 0.212
2020-05-12 10:00:00 | 1.6187 | 205.48 | 1.632 | 328.7267 | 1.9247 | 200.9593 | 1.8647 | 330.4067 | 16.9733 | 890.6667 | 53.2427 | 0
2020-05-12 10:15:00 | 1.5087 | 209.4133 | 1.522 | 310.6247 | 1.8187 | 204.806 | 1.754 | 312.2133 | 17.36 | 891 | 52.6287 | 0
2020-05-12 10:30:00 | 1.3067 | 183 | 1.3473 | 242.506 | 1.5973 | 178.9733 | 1.5887 | 243.746 | 17.9133 | 891 | 52.0713 | 0
2020-05-12 10:45:00 | 1.1047 | 91.1 | 1.1207 | 197.562 | 1.3353 | 89.0967 | 1.2987 | 198.5707 | 18.64 | 891 | 52.2673 | 0
2020-05-12 11:00:00 | 1.008 | 128.0933 | 1.0767 | 135.4273 | 1.012 | 125.458 | 1.1493 | 136.1193 | 19.4533 | 891 | 47.818 | 0
2020-05-12 11:15:00 | 1.5793 | 148 | 1.5787 | 143.0033 | 1.7447 | 144.744 | 1.6973 | 143.7347 | 19.2133 | 891 | 45.848 | 0
2020-05-12 11:30:00 | 1.5967 | 143.1933 | 1.6167 | 132.48 | 1.84 | 140.0433 | 1.8047 | 133.156 | 20.0533 | 891 | 44.4787 | 0
2020-05-12 11:45:00 | 1.8067 | 152.9067 | 1.8893 | 126.9513 | 2.0367 | 149.5433 | 2.1287 | 127.6007 | 20.1733 | 891 | 41.6913 | 0
2020-05-12 12:00:00 | 1.8867 | 171.96 | 1.944 | 131.6967 | 2.318 | 168.1767 | 2.2993 | 132.3713 | 20.3067 | 891 | 41.3473 | 0
2020-05-12 12:15:00 | 2.2493 | 136.5267 | 2.3173 | 144.6267 | 2.6807 | 133.5227 | 2.6833 | 145.3653 | 20.2333 | 890.6667 | 40.93 | 0.048
2020-05-12 12:30:00 | 2.052 | 149.38 | 2.1247 | 134.6967 | 2.2573 | 146.0933 | 2.338 | 135.3853 | 19.9867 | 890 | 39.818 | 0
2020-05-12 12:45:00 | 1.7647 | 177.6133 | 1.8453 | 147.528 | 2.0947 | 177.2073 | 2.142 | 148.284 | 20.4133 | 890 | 39.878 | 0
2020-05-12 13:00:00 | 1.4847 | 131.9533 | 1.536 | 137.3827 | 1.6927 | 129.0507 | 1.7307 | 138.0847 | 20.82 | 890 | 40.3307 | 0
2020-05-12 13:15:00 | 1.5853 | 160.16 | 1.5873 | 120 | 1.874 | 156.636 | 1.7987 | 120.614 | 21.88 | 890 | 39.178 | 0
2020-05-12 13:30:00 | 1.844 | 145.8733 | 1.912 | 137.6313 | 2.0353 | 154.7067 | 2.1573 | 138.3333 | 22.3067 | 890 | 33.1067 | 0
2020-05-12 13:45:00 | 2.4453 | 168.4467 | 2.5813 | 144.1827 | 2.8073 | 164.7407 | 2.962 | 144.9207 | 21.8867 | 890 | 33.8707 | 0
2020-05-12 14:00:00 | 2.2787 | 164.1467 | 2.3813 | 149.6213 | 2.538 | 160.6853 | 2.6733 | 150.386 | 21.2 | 889.3333 | 33.4973 | 0.90667
2020-05-12 14:15:00 | 1.862 | 190.3133 | 1.9587 | 149.452 | 2.0547 | 186.126 | 2.1853 | 150.2147 | 20.98 | 889 | 34.9707 | 1.542
2020-05-12 14:30:00 | 2.24 | 189.8 | 2.354 | 167.2 | 2.644 | 185.624 | 2.7413 | 168.054 | 21.1533 | 889 | 37.4113 | 2.726
2020-05-12 14:45:00 | 1.938 | 197.0133 | 1.9847 | 166.2087 | 2.088 | 192.6787 | 2.134 | 167.058 | 21.1 | 888.6667 | 37.9593 | 1.8127
2020-05-12 15:00:00 | 1.546 | 202.24 | 1.6173 | 139.5153 | 1.9573 | 197.7907 | 1.9727 | 140.228 | 21.28 | 888 | 38.9227 | 0.64214
2020-05-12 15:15:00 | 1.3953 | 180.6733 | 1.448 | 158.0907 | 1.5887 | 176.7 | 1.6393 | 158.8993 | 21.1133 | 888 | 40.192 | 0
2020-05-12 15:30:00 | 2.3693 | 190.38 | 2.5547 | 175.454 | 2.7987 | 186.8967 | 3.0167 | 176.3507 | 20.9733 | 887.3333 | 43.168 | 1.1787
2020-05-12 15:45:00 | 2.6947 | 196.12 | 2.8607 | 178.6347 | 3.0887 | 191.8047 | 3.2887 | 179.5487 | 20.8733 | 887 | 42.5393 | 2.9207
2020-05-12 16:00:00 | 3.056 | 193.1533 | 3.2747 | 169.7993 | 3.596 | 188.904 | 3.848 | 170.6673 | 20.5467 | 887 | 42.148 | 5.2787
2020-05-12 16:15:00 | 2.8027 | 191.12 | 2.95 | 171.47 | 3.308 | 186.9153 | 3.444 | 172.3467 | 20.4933 | 887 | 44.41 | 4.698
2020-05-12 16:30:00 | 2.0047 | 181.5333 | 2.124 | 178.712 | 2.3647 | 177.5393 | 2.488 | 179.6273 | 20.66 | 887 | 43.406 | 1.2147
2020-05-12 16:45:00 | 1.7687 | 193.0267 | 1.8647 | 169.338 | 2.024 | 188.78 | 2.134 | 170.204 | 20.6667 | 886 | 44.9773 | 0.79733
2020-05-12 17:00:00 | 1.84 | 203.3733 | 1.8367 | 173.732 | 2.03 | 198.8993 | 1.974 | 174.62 | 20.5733 | 886 | 44.7433 | 1.1073
2020-05-12 17:15:00 | 1.8993 | 186.4133 | 2 | 182.228 | 2.0847 | 182.312 | 2.222 | 183.16 | 20.4667 | 886 | 45.7533 | 1.3287
2020-05-12 17:30:00 | 1.944 | 184.3533 | 2.0373 | 178.0353 | 2.262 | 180.2973 | 2.3493 | 178.946 | 20.5 | 886 | 46.1993 | 1.6627
2020-05-12 17:45:00 | 2.1567 | 187.8267 | 2.2753 | 172.636 | 2.5513 | 183.6947 | 2.6627 | 173.52 | 20.4267 | 886 | 46.2507 | 2.0287
2020-05-12 18:00:00 | 2.1133 | 182.4733 | 2.2173 | 165.8947 | 2.4567 | 178.4593 | 2.5533 | 166.7433 | 20.3 | 885.3333 | 45.6647 | 1.3473
2020-05-12 18:15:00 | 2.7953 | 186.1267 | 2.98 | 164.8387 | 3.1 | 182.0327 | 3.366 | 165.6813 | 20.1467 | 885 | 44.2433 | 3.1127
2020-05-12 18:30:00 | 3.2573 | 181.72 | 3.438 | 168.0453 | 3.69 | 177.722 | 3.9093 | 168.906 | 20.06 | 885 | 45.3627 | 7.0607
2020-05-12 18:45:00 | 3.9 | 182.6267 | 4.0667 | 168.4573 | 4.3713 | 178.87 | 4.5527 | 169.3187 | 19.8 | 885 | 46.5113 | 11.5573
2020-05-12 19:00:00 | 3.5273 | 172.4933 | 3.722 | 168.874 | 3.51 | 168.698 | 3.884 | 169.738 | 19.6267 | 885.6667 | 47.924 | 11.8793
2020-05-12 19:15:00 | 3.3933 | 176.0933 | 3.6033 | 167.6953 | 3.4253 | 172.2193 | 3.8153 | 168.5527 | 19.42 | 886 | 48.3433 | 10.402
2020-05-12 19:30:00 | 3.2173 | 172.0333 | 3.3653 | 160.3387 | 3.3687 | 168.25 | 3.608 | 161.16 | 19.2333 | 886 | 49.458 | 7.8907
2020-05-12 19:45:00 | 2.8307 | 167.3867 | 2.9693 | 160.38 | 2.836 | 163.7047 | 3.1013 | 161.2 | 19.14 | 886 | 50.174 | 5.5093
2020-05-12 20:00:00 | 2.6953 | 164.5 | 2.8187 | 158.84 | 2.742 | 161.3567 | 2.9647 | 158.7993 | 19.0667 | 885.3333 | 50.8507 | 4.4107
2020-05-12 20:15:00 | 2.6193 | 166.6867 | 2.7373 | 158.134 | 2.6573 | 163.0187 | 2.8733 | 158.944 | 18.9333 | 885 | 51.412 | 4.5593
2020-05-12 20:30:00 | 2.722 | 159.0933 | 2.8267 | 157.2633 | 2.856 | 155.5933 | 3.0133 | 158.0653 | 18.76 | 885 | 51.7273 | 5.4293
2020-05-12 20:45:00 | 2.518 | 153.1733 | 2.5987 | 141.6087 | 2.6993 | 149.8027 | 2.8033 | 142.3313 | 18.7667 | 885 | 51.916 | 3.652
2020-05-12 21:00:00 | 2.2447 | 143.6533 | 2.29 | 136.3793 | 2.484 | 140.4927 | 2.5013 | 137.076 | 18.7267 | 885 | 52.4767 | 2.3527
2020-05-12 21:15:00 | 2.2013 | 142.34 | 2.256 | 134.4427 | 2.3887 | 139.208 | 2.4413 | 135.1293 | 18.62 | 885 | 52.85 | 2.3673
2020-05-12 21:30:00 | 2.564 | 151.8333 | 2.66 | 142.3453 | 2.8607 | 148.492 | 2.958 | 143.0713 | 18.56 | 885 | 53.154 | 3.1173
2020-05-12 21:45:00 | 2.2827 | 139.4333 | 2.35 | 137.3567 | 2.5787 | 135.6607 | 2.618 | 138.0587 | 18.5267 | 885 | 53.238 | 1.4807
2020-05-12 22:00:00 | 2.034 | 137.14 | 2.1647 | 127.6547 | 2.1473 | 134.1227 | 2.3647 | 128.3073 | 18.4067 | 885 | 52.766 | 0.90733
2020-05-12 22:15:00 | 2.29 | 131.84 | 2.4233 | 133.484 | 2.5847 | 128.9387 | 2.7547 | 134.1667 | 18.3067 | 885 | 53.9947 | 2.114
2020-05-12 22:30:00 | 2.1173 | 128.4733 | 2.1893 | 124.564 | 2.4033 | 125.646 | 2.4573 | 125.2007 | 18.22 | 885 | 54.3727 | 1.4247
2020-05-12 22:45:00 | 1.946 | 139.68 | 2.0333 | 128.62 | 2.2007 | 136.606 | 2.292 | 129.2787 | 18.2267 | 885 | 54.164 | 0.89
2020-05-12 23:00:00 | 1.7147 | 141.3933 | 1.804 | 139.0847 | 1.9547 | 138.2827 | 2.0593 | 139.7967 | 18.18 | 885 | 54.024 | 0
2020-05-12 23:15:00 | 1.7233 | 147.16 | 1.8113 | 140.1273 | 1.9127 | 143.9227 | 2.0213 | 140.844 | 18.1667 | 885 | 54.286 | 0
2020-05-12 23:30:00 | 1.602 | 142.9667 | 1.684 | 138.7727 | 1.8453 | 139.82 | 1.928 | 139.4807 | 18.2733 | 885 | 54.36 | 0
2020-05-12 23:45:00 | 1.4633 | 138.74 | 1.5593 | 130.8567 | 1.76 | 135.6887 | 1.852 | 131.5267 | 18.3067 | 885 | 54.7727 | 0