## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-13 00:00:00 | 1.0786 | 143.2143 | 1.1429 | 137.4571 | 1.2879 | 140.0636 | 1.3479 | 138.16 | 18.3857 | 885 | 54.885 | 0
2020-05-13 00:15:00 | 1.0173 | 135.6667 | 1.0627 | 141.6073 | 1.1953 | 132.682 | 1.234 | 142.332 | 18.36 | 885 | 54.8833 | 0
2020-05-13 00:30:00 | 1.2913 | 158.9867 | 1.3427 | 152.3213 | 1.4787 | 155.4907 | 1.5213 | 153.1 | 18.3 | 885 | 54.6707 | 0
2020-05-13 00:45:00 | 1.374 | 149.3667 | 1.4313 | 127.1327 | 1.6607 | 146.0807 | 1.69 | 127.7827 | 18.2467 | 885 | 54.4927 | 0
2020-05-13 01:00:00 | 1.5647 | 139.92 | 1.6533 | 134.3387 | 1.866 | 136.8427 | 1.9473 | 135.026 | 18.2133 | 885 | 54.8873 | 0
2020-05-13 01:15:00 | 1.6527 | 131.2933 | 1.766 | 129.91 | 1.8253 | 128.404 | 1.99 | 130.576 | 18.0067 | 884 | 55.0847 | 0
2020-05-13 01:30:00 | 1.706 | 117.7467 | 1.8013 | 112.8547 | 1.978 | 115.1567 | 2.078 | 113.4307 | 17.9733 | 884 | 55.4973 | 0
2020-05-13 01:45:00 | 1.6647 | 123.2533 | 1.7753 | 127.7407 | 1.95 | 120.542 | 2.0787 | 128.3927 | 18.04 | 884 | 55.8133 | 0
2020-05-13 02:00:00 | 1.4073 | 121.8733 | 1.4993 | 136.516 | 1.5427 | 119.1927 | 1.6733 | 137.2133 | 17.9467 | 884 | 56.4513 | 0
2020-05-13 02:15:00 | 1.54 | 128.88 | 1.6393 | 142.3173 | 1.7367 | 126.0453 | 1.8693 | 143.0473 | 17.8 | 884 | 57.098 | 0
2020-05-13 02:30:00 | 1.9667 | 153.6333 | 2.0967 | 135.102 | 2.264 | 150.2553 | 2.422 | 135.792 | 17.44 | 884 | 59.6027 | 0.27533
2020-05-13 02:45:00 | 2.3493 | 131.28 | 2.4727 | 129.41 | 2.5507 | 128.392 | 2.7327 | 130.0707 | 17.0667 | 884 | 67.2233 | 2.4987
2020-05-13 03:00:00 | 2.1413 | 118.66 | 2.2947 | 115.5467 | 2.3407 | 116.0507 | 2.5727 | 116.1373 | 17.5067 | 883.3333 | 64.8233 | 1.2
2020-05-13 03:15:00 | 3.938 | 120.3 | 4.1353 | 122.2047 | 4.2807 | 117.654 | 4.5567 | 122.8273 | 16.58 | 883 | 63.632 | 9.3213
2020-05-13 03:30:00 | 2.9573 | 98.5867 | 3.0207 | 100.9627 | 3.3353 | 96.4173 | 3.3513 | 101.478 | 15.9667 | 883 | 69.1273 | 10.6467
2020-05-13 03:45:00 | 2.9507 | 121.3533 | 3.068 | 106.498 | 3.172 | 118.684 | 3.332 | 107.0427 | 16.1333 | 882.6667 | 67.1653 | 9.3593
2020-05-13 04:00:00 | 2.9933 | 119.4333 | 3.1547 | 129.2467 | 3.4533 | 116.8053 | 3.62 | 129.9067 | 15.62 | 882 | 67.616 | 12.936
2020-05-13 04:15:00 | 3.0333 | 115.7467 | 3.21 | 127.882 | 3.5753 | 113.2 | 3.756 | 128.536 | 15.2533 | 883 | 67.8753 | 11.086
2020-05-13 04:30:00 | 2.486 | 122.7067 | 2.616 | 119.6547 | 2.474 | 120.0073 | 2.7247 | 120.266 | 15.34 | 883 | 68.4053 | 7.5747
2020-05-13 04:45:00 | 2.62 | 109.0467 | 2.746 | 109.398 | 3.1367 | 106.648 | 3.2267 | 109.9567 | 15.3733 | 882 | 68.904 | 5.084
2020-05-13 05:00:00 | 2.4 | 119.4533 | 2.4047 | 112.152 | 2.8047 | 116.826 | 2.7013 | 112.724 | 15.24 | 882 | 66.6673 | 6.0967
2020-05-13 05:15:00 | 2.108 | 149.0933 | 2.1927 | 129.846 | 2.4533 | 145.8127 | 2.5107 | 130.51 | 15.0667 | 882 | 66.804 | 2.9153
2020-05-13 05:30:00 | 1.62 | 166.06 | 1.6667 | 165.6273 | 1.9633 | 162.4073 | 1.9573 | 166.4733 | 14.68 | 882 | 68.7327 | 0.81067
2020-05-13 05:45:00 | 1.4167 | 128.4933 | 1.5267 | 141.1373 | 1.7047 | 125.6667 | 1.8287 | 141.86 | 14.7733 | 882 | 74.3853 | 0.17667
2020-05-13 06:00:00 | 1.3173 | 123.6 | 1.3867 | 127.766 | 1.1713 | 120.8793 | 1.3473 | 128.4187 | 14.9 | 882 | 76.3207 | 0.16667
2020-05-13 06:15:00 | 0.95533 | 117.72 | 0.986 | 120.894 | 0.88467 | 115.1293 | 0.96 | 121.5113 | 14.9267 | 882 | 77.6933 | 0
2020-05-13 06:30:00 | 0.802 | 77.9067 | 0.81867 | 94.8673 | 0.74 | 76.192 | 0.78933 | 95.3513 | 15.06 | 882 | 75.352 | 0
2020-05-13 06:45:00 | 0.92733 | 181.3067 | 0.96067 | 45.294 | 1.0473 | 177.3187 | 1.0713 | 45.5267 | 15.1067 | 882 | 75.812 | 0
2020-05-13 07:00:00 | 2.1913 | 338.3267 | 2.3307 | 321.5267 | 2.5333 | 330.8833 | 2.7007 | 323.1707 | 14.9867 | 882 | 77.008 | 0
2020-05-13 07:15:00 | 2.274 | 318.4 | 2.3953 | 271.6627 | 2.404 | 311.396 | 2.5993 | 273.052 | 14.9867 | 883 | 76.8733 | 0
2020-05-13 07:30:00 | 1.9993 | 255.6533 | 2.02 | 120.3 | 2.066 | 250.028 | 2.0907 | 120.9153 | 15.1733 | 883 | 77.0513 | 0
2020-05-13 07:45:00 | 1.762 | 130.7133 | 1.7927 | 272.9273 | 1.9713 | 127.838 | 1.9687 | 274.324 | 15.1733 | 883 | 76.8933 | 0
2020-05-13 08:00:00 | 2.4033 | 208.2333 | 2.5267 | 323.0793 | 2.786 | 203.6527 | 2.9073 | 324.7313 | 14.8467 | 883 | 79.206 | 0.524
2020-05-13 08:15:00 | 2.87 | 141.36 | 3.0767 | 327.276 | 3.322 | 138.2513 | 3.5813 | 328.9507 | 15.3467 | 883 | 78.5047 | 2.4413
2020-05-13 08:30:00 | 2.744 | 294.82 | 2.908 | 326.346 | 3.11 | 288.334 | 3.3153 | 328.0153 | 15.72 | 883.6667 | 74.184 | 2.0487
2020-05-13 08:45:00 | 2.9387 | 331.2 | 3.112 | 322.0173 | 3.136 | 323.9133 | 3.4127 | 323.6627 | 15.6667 | 884 | 73.466 | 3.1973
2020-05-13 09:00:00 | 2.956 | 319.9067 | 3.1427 | 263.8647 | 3.408 | 312.8673 | 3.632 | 265.214 | 15.4267 | 884 | 74.588 | 4.0213
2020-05-13 09:15:00 | 3.048 | 344.12 | 3.2973 | 274.0547 | 3.6053 | 336.5507 | 3.916 | 275.4567 | 15.74 | 884 | 76.4447 | 5.118
2020-05-13 09:30:00 | 3.2607 | 321.86 | 3.4887 | 230.2013 | 3.7 | 314.7787 | 4.004 | 231.3787 | 16.3 | 884 | 72.6153 | 5.806
2020-05-13 09:45:00 | 3.0207 | 335.8933 | 3.2553 | 270.946 | 3.424 | 328.5033 | 3.7547 | 272.3293 | 16.8333 | 885 | 67.4147 | 4.85
2020-05-13 10:00:00 | 3.0067 | 252.12 | 3.2447 | 245.028 | 3.6567 | 246.5733 | 3.9187 | 246.28 | 17.1733 | 885 | 64.7647 | 5.3047
2020-05-13 10:15:00 | 2.8107 | 313.4267 | 3.04 | 159.7467 | 3.2167 | 306.53 | 3.538 | 160.5633 | 17.4467 | 885 | 63.522 | 2.8327
2020-05-13 10:30:00 | 2.666 | 313.7733 | 2.8293 | 188.8513 | 3.0493 | 305.8473 | 3.2373 | 189.8173 | 17.86 | 885 | 64.8473 | 1.3567
2020-05-13 10:45:00 | 1.8293 | 244.8667 | 1.884 | 158.436 | 2.0353 | 239.4793 | 2.0807 | 159.2467 | 18.5733 | 885 | 64.0507 | 0
2020-05-13 11:00:00 | 2.1867 | 329.2533 | 2.3827 | 220.6947 | 2.3513 | 322.0093 | 2.674 | 221.8233 | 18.8733 | 885 | 64.2733 | 0
2020-05-13 11:15:00 | 2.608 | 241.32 | 2.734 | 265.9567 | 2.88 | 236.01 | 3.044 | 267.3167 | 19.4933 | 885 | 61.3067 | 0.822
2020-05-13 11:30:00 | 2.0707 | 132.6667 | 2.2473 | 232.81 | 2.3913 | 129.748 | 2.6347 | 234 | 19.7067 | 885 | 60.8333 | 1.0487
2020-05-13 11:45:00 | 2.3827 | 217.1 | 2.5607 | 55.818 | 2.9493 | 212.324 | 3.1213 | 56.1047 | 20.2133 | 884 | 59.69 | 1.92
2020-05-13 12:00:00 | 2.826 | 286.3733 | 2.9773 | 227.1567 | 3.144 | 280.0747 | 3.34 | 228.3173 | 20.3 | 884 | 57.8387 | 2.1773
2020-05-13 12:15:00 | 2.67 | 282.4867 | 2.7487 | 232.588 | 3.0087 | 276.2713 | 3.0633 | 233.7767 | 20.3733 | 884.6667 | 56.86 | 1.96
2020-05-13 12:30:00 | 2.2067 | 287.6333 | 2.402 | 132.538 | 2.692 | 281.3053 | 2.922 | 133.2153 | 20.9733 | 884 | 54.3473 | 1.254
2020-05-13 12:45:00 | 2.2307 | 292.7067 | 2.4133 | 188.662 | 2.6133 | 286.2667 | 2.8493 | 189.6273 | 21.3867 | 884 | 54.194 | 1.026
2020-05-13 13:00:00 | 2.5127 | 281.9067 | 2.7 | 161.8207 | 2.9673 | 275.704 | 3.1913 | 162.6473 | 21.3333 | 884 | 54.396 | 2.1133
2020-05-13 13:15:00 | 2.9867 | 307.5333 | 3.1827 | 209.1213 | 3.4367 | 301.4647 | 3.69 | 210.1893 | 21.54 | 884 | 51.9993 | 3.3233
2020-05-13 13:30:00 | 2.7533 | 311.58 | 2.9613 | 246.632 | 3.3127 | 304.724 | 3.546 | 247.8933 | 21.58 | 884 | 51.2773 | 4.2427
2020-05-13 13:45:00 | 2.686 | 204.76 | 2.818 | 283.4947 | 3.16 | 200.2547 | 3.2753 | 284.9467 | 21.8467 | 884 | 48.9053 | 2.96
2020-05-13 14:00:00 | 2.544 | 274.0133 | 2.6927 | 198.488 | 2.9147 | 267.9847 | 3.0907 | 199.504 | 22.1733 | 884 | 48.9213 | 1.8487
2020-05-13 14:15:00 | 2.3507 | 258.3133 | 2.5727 | 240.3913 | 2.9187 | 252.6307 | 3.174 | 241.6193 | 22.8467 | 883 | 48.1647 | 1.8553
2020-05-13 14:30:00 | 2.604 | 293.5667 | 2.774 | 325.2953 | 2.9433 | 287.1073 | 3.1653 | 326.96 | 22.8133 | 883 | 47.77 | 2.0187
2020-05-13 14:45:00 | 2.788 | 302.34 | 2.968 | 249.6587 | 3.1773 | 295.6887 | 3.4067 | 250.9347 | 22.7867 | 883 | 47.1827 | 2.8773
2020-05-13 15:00:00 | 2.5053 | 329.2067 | 2.714 | 201.768 | 3.134 | 321.9647 | 3.35 | 202.8007 | 23.04 | 883 | 47.7473 | 3.0627
2020-05-13 15:15:00 | 2.742 | 314.4133 | 2.9 | 186.6473 | 3.1693 | 307.496 | 3.3447 | 187.602 | 22.7533 | 883 | 48.142 | 3.998
2020-05-13 15:30:00 | 2.794 | 291.4533 | 2.9787 | 148.7413 | 3.1893 | 285.0407 | 3.4187 | 149.502 | 22.9133 | 883 | 48.1633 | 4.3787
2020-05-13 15:45:00 | 2.9493 | 334.6267 | 3.1173 | 188.0573 | 3.4293 | 328.1193 | 3.612 | 189.0187 | 22.7667 | 883 | 47.6307 | 4.204
2020-05-13 16:00:00 | 3.146 | 292.04 | 3.3287 | 185.814 | 3.5493 | 307.612 | 3.7833 | 186.7633 | 22.8 | 883 | 48.38 | 4.4947
2020-05-13 16:15:00 | 2.882 | 311.1133 | 3.054 | 247.9487 | 3.3567 | 304.2687 | 3.5467 | 249.216 | 22.8867 | 883 | 49.2133 | 4.5893
2020-05-13 16:30:00 | 2.9127 | 253.8933 | 3.14 | 164.8313 | 3.4487 | 248.3087 | 3.7227 | 165.6733 | 22.9533 | 883 | 50.29 | 5.4713
2020-05-13 16:45:00 | 3.1193 | 327.3 | 3.338 | 268.6633 | 3.6847 | 320.0993 | 3.9387 | 270.0353 | 22.72 | 883 | 50.806 | 6.4873
2020-05-13 17:00:00 | 3.0267 | 293.2133 | 3.198 | 244.864 | 3.668 | 286.764 | 3.81 | 246.1173 | 22.7467 | 883 | 51.4413 | 7.146
2020-05-13 17:15:00 | 3.1927 | 329.16 | 3.3907 | 203.084 | 3.7433 | 321.9173 | 3.9593 | 204.122 | 22.4867 | 883 | 52.0367 | 6.5607
2020-05-13 17:30:00 | 2.598 | 308.7867 | 2.8 | 220.4747 | 3.2007 | 301.994 | 3.4133 | 221.6013 | 22.6067 | 883 | 53.518 | 3.6647
2020-05-13 17:45:00 | 2.6947 | 327.7733 | 2.9133 | 329.1353 | 3.2947 | 320.564 | 3.534 | 330.8173 | 22.08 | 883 | 55.17 | 3.2233
2020-05-13 18:00:00 | 3.0173 | 327.1667 | 3.25 | 328.4453 | 3.6833 | 319.9693 | 3.9327 | 330.1247 | 21.86 | 883 | 59.306 | 4.4853
2020-05-13 18:15:00 | 3.1127 | 333.96 | 3.3433 | 323.952 | 3.798 | 326.6133 | 4.0373 | 325.608 | 21.54 | 882 | 61.2913 | 5.2793
2020-05-13 18:30:00 | 3.1787 | 311.8667 | 3.4313 | 327.3487 | 3.698 | 305.006 | 4.0233 | 329.0227 | 21.4067 | 882 | 62.1973 | 5.2587
2020-05-13 18:45:00 | 3.4207 | 345.3467 | 3.738 | 337.7233 | 3.8113 | 337.7487 | 4.2987 | 339.45 | 21.26 | 882 | 62.1307 | 6.1647
2020-05-13 19:00:00 | 3.918 | 346.16 | 4.2253 | 341.1147 | 4.3973 | 338.5447 | 4.8413 | 342.8573 | 21.0533 | 882 | 63.8033 | 9.768
2020-05-13 19:15:00 | 4.0287 | 346.8467 | 4.3367 | 337.9853 | 4.674 | 339.216 | 5.0727 | 339.7133 | 20.7467 | 882 | 65.2 | 11.0413
2020-05-13 19:30:00 | 3.7553 | 343.1 | 4.0773 | 330.4667 | 4.3507 | 335.552 | 4.7907 | 332.1553 | 20.5933 | 881.3333 | 64.4513 | 9.574
2020-05-13 19:45:00 | 4.1047 | 343.7333 | 4.45 | 332.618 | 4.6827 | 336.1713 | 5.168 | 334.3173 | 20.44 | 882 | 66.546 | 11.0453
2020-05-13 20:00:00 | 3.9907 | 343.8133 | 4.3687 | 331.1113 | 4.758 | 336.2493 | 5.256 | 332.8053 | 20.1933 | 881.3333 | 68.356 | 11.726
2020-05-13 20:15:00 | 3.7793 | 325.8533 | 4.0647 | 333.8113 | 4.3187 | 318.684 | 4.702 | 335.516 | 20.0467 | 881.3333 | 68.6633 | 8.956
2020-05-13 20:30:00 | 3.4607 | 326.8867 | 3.668 | 336.262 | 3.9747 | 319.6953 | 4.2213 | 337.98 | 19.8467 | 882 | 69.6247 | 6.236
2020-05-13 20:45:00 | 3.4307 | 302.3333 | 3.5793 | 337.9967 | 4.0353 | 295.6807 | 4.1427 | 339.7227 | 19.64 | 882 | 69.8627 | 6.8253
2020-05-13 21:00:00 | 3.6933 | 330.8333 | 3.88 | 338.0487 | 4.214 | 323.5553 | 4.4167 | 339.7773 | 19.3933 | 882 | 70.6873 | 7.8013
2020-05-13 21:15:00 | 3.3253 | 236.9733 | 3.4393 | 319.4153 | 3.812 | 231.76 | 3.8887 | 321.048 | 19.18 | 882 | 72.094 | 5.62
2020-05-13 21:30:00 | 2.48 | 125.92 | 2.5067 | 293.4193 | 2.8873 | 123.1493 | 2.8227 | 294.9193 | 19.1333 | 882 | 71.9653 | 1.78
2020-05-13 21:45:00 | 1.984 | 103.36 | 1.9433 | 230.216 | 2.1113 | 101.086 | 2 | 231.392 | 19.1133 | 882 | 71.2233 | 0.45533
2020-05-13 22:00:00 | 1.5913 | 58.3867 | 1.538 | 266.5693 | 1.8033 | 57.1013 | 1.6447 | 267.9347 | 18.8467 | 882 | 72.628 | 0.074667
2020-05-13 22:15:00 | 1.8953 | 68.8867 | 1.8833 | 341.2647 | 2.2293 | 67.37 | 2.1087 | 343.0087 | 18.8733 | 883 | 72.9767 | 0
2020-05-13 22:30:00 | 1.8707 | 117.9867 | 1.9073 | 313.7227 | 2.31 | 115.3907 | 2.2527 | 315.3267 | 18.4533 | 883 | 75.092 | 0.34267
2020-05-13 22:45:00 | 1.582 | 47.7733 | 1.5793 | 289.2933 | 1.9267 | 46.7233 | 1.8273 | 290.7713 | 18.3067 | 883 | 76.5647 | 0.15733
2020-05-13 23:00:00 | 1.3573 | 66.6333 | 1.3907 | 82.3873 | 1.504 | 65.1673 | 1.5273 | 82.808 | 18.4333 | 883 | 76.9193 | 0.10667
2020-05-13 23:15:00 | 1.5173 | 56.98 | 1.5373 | 182.3187 | 1.75 | 55.726 | 1.7193 | 183.2493 | 18.14 | 883 | 77.5993 | 0.11467
2020-05-13 23:30:00 | 1.6313 | 97.14 | 1.5833 | 293.3093 | 1.928 | 95.0033 | 1.752 | 294.8087 | 17.9467 | 883 | 78.1213 | 0.094667
2020-05-13 23:45:00 | 2.0233 | 141.1667 | 1.982 | 324.8907 | 2.6447 | 138.7267 | 2.3753 | 326.4873 | 17.5667 | 883 | 78.6833 | 0.84333