## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-14 00:00:00 | 2.0614 | 248.0929 | 2.0914 | 327.4129 | 2.6993 | 242.635 | 2.5721 | 329.0879 | 17.3571 | 883 | 79.649 | 0.98533
2020-05-14 00:15:00 | 2.5267 | 266.1933 | 2.5327 | 321.396 | 3.25 | 260.3367 | 3.0547 | 323.0413 | 16.9867 | 883 | 80.8667 | 2.6767
2020-05-14 00:30:00 | 3.1213 | 306.98 | 3.2213 | 325.8887 | 4.0313 | 300.2273 | 3.9573 | 327.5553 | 16.72 | 882.3333 | 82.1533 | 5.4673
2020-05-14 00:45:00 | 3.6333 | 339.88 | 3.8293 | 323.784 | 4.5413 | 332.4027 | 4.654 | 325.438 | 16.42 | 882 | 83.0467 | 9.0993
2020-05-14 01:00:00 | 3.7873 | 335.4333 | 4 | 327.3553 | 4.7667 | 328.054 | 4.8873 | 329.0293 | 16.2933 | 882 | 83.56 | 10.6567
2020-05-14 01:15:00 | 3.998 | 336.92 | 4.256 | 330.4133 | 4.9967 | 329.5073 | 5.2013 | 332.1027 | 15.9333 | 882 | 83.9133 | 12.7607
2020-05-14 01:30:00 | 3.6093 | 334.44 | 3.7433 | 325.686 | 4.4547 | 327.0827 | 4.4627 | 327.354 | 15.8467 | 882 | 84.4733 | 8.904
2020-05-14 01:45:00 | 3.1247 | 323.8533 | 3.1827 | 323.614 | 3.864 | 316.728 | 3.764 | 325.268 | 15.9533 | 882 | 84.42 | 5.718
2020-05-14 02:00:00 | 2.8493 | 333.0067 | 2.86 | 316.4093 | 3.6533 | 325.6813 | 3.4447 | 318.028 | 15.9267 | 882 | 84.6267 | 4.1693
2020-05-14 02:15:00 | 2.4167 | 325.0467 | 2.4027 | 316.2073 | 3.002 | 317.896 | 2.808 | 317.822 | 15.8733 | 882 | 84.36 | 1.9473
2020-05-14 02:30:00 | 1.9393 | 227.2067 | 1.8427 | 316.3633 | 2.5487 | 222.208 | 2.1867 | 317.9807 | 15.86 | 882 | 84.3333 | 0.84333
2020-05-14 02:45:00 | 1.696 | 231.6467 | 1.6087 | 313.5667 | 2.1773 | 226.5507 | 1.8747 | 315.1687 | 15.88 | 882 | 84.06 | 0.22133
2020-05-14 03:00:00 | 1.8407 | 230.4667 | 1.754 | 314.8173 | 2.306 | 225.3967 | 2.0087 | 316.4273 | 15.9933 | 882 | 84.46 | 0.24
2020-05-14 03:15:00 | 1.8627 | 302.9267 | 1.8367 | 316.338 | 2.4827 | 296.2613 | 2.2553 | 317.9553 | 16.14 | 882 | 84.9733 | 0.306
2020-05-14 03:30:00 | 2.3753 | 238.6067 | 2.3733 | 312.5227 | 3.0113 | 233.3573 | 2.822 | 314.1213 | 15.62 | 881.3333 | 86.3467 | 1.6293
2020-05-14 03:45:00 | 2.9213 | 315 | 2.994 | 314.7813 | 3.7273 | 308.07 | 3.6373 | 316.3873 | 15.1667 | 881.6667 | 87.36 | 3.6933
2020-05-14 04:00:00 | 3.708 | 332.3067 | 3.848 | 321.592 | 4.6127 | 324.9947 | 4.6167 | 323.2347 | 14.8 | 881 | 88.04 | 8.6747
2020-05-14 04:15:00 | 3.6273 | 334.0067 | 3.764 | 316.6973 | 4.4073 | 326.6587 | 4.442 | 318.3147 | 14.74 | 881 | 88.3333 | 8.712
2020-05-14 04:30:00 | 3.8967 | 335.8333 | 4.0727 | 325.532 | 4.8013 | 328.4447 | 4.8747 | 327.1947 | 14.64 | 881 | 88.9933 | 11.114
2020-05-14 04:45:00 | 4.17 | 336.9 | 4.356 | 318.6387 | 5.1187 | 328.5687 | 5.1993 | 320.268 | 14.58 | 881 | 89.5533 | 13.56
2020-05-14 05:00:00 | 3.9673 | 304.3733 | 4.1807 | 325.8627 | 4.8293 | 297.678 | 4.98 | 327.53 | 14.6733 | 881 | 89.4467 | 11.2113
2020-05-14 05:15:00 | 3.2913 | 312.5667 | 3.4513 | 327.1033 | 3.97 | 305.6907 | 4.0767 | 328.7747 | 14.92 | 881 | 88.8733 | 5.896
2020-05-14 05:30:00 | 2.0493 | 235.28 | 1.9727 | 323.3007 | 2.6267 | 230.104 | 2.3133 | 324.952 | 15.2867 | 881 | 88.7533 | 1.1973
2020-05-14 05:45:00 | 3.2553 | 296.4267 | 3.3733 | 310.8213 | 4.088 | 289.9053 | 4.0747 | 312.4093 | 14.8867 | 881 | 88.8 | 5.8013
2020-05-14 06:00:00 | 3.0327 | 323.9133 | 3.0893 | 316.8193 | 3.7927 | 316.7867 | 3.6827 | 318.438 | 14.9933 | 881 | 88.7067 | 3.8427
2020-05-14 06:15:00 | 2.4767 | 214.96 | 2.446 | 322.506 | 3.1573 | 210.2313 | 2.9087 | 324.1533 | 14.82 | 881 | 88.9867 | 2.8893
2020-05-14 06:30:00 | 3.1307 | 334.1667 | 3.2093 | 320.988 | 3.938 | 326.814 | 3.8547 | 322.6267 | 14.7333 | 881 | 89.8467 | 4.488
2020-05-14 06:45:00 | 3.5287 | 313.1467 | 3.6153 | 322.3027 | 4.3873 | 306.2573 | 4.306 | 323.9513 | 14.5267 | 881 | 89.2 | 7.6667
2020-05-14 07:00:00 | 4.1087 | 338.9467 | 4.322 | 327.532 | 5.0367 | 331.4893 | 5.1733 | 329.2053 | 14.4533 | 881 | 89.64 | 13.036
2020-05-14 07:15:00 | 4.0813 | 342.6 | 4.368 | 328.928 | 5.0053 | 335.062 | 5.2793 | 330.6087 | 14.3267 | 881 | 89.64 | 13.5753
2020-05-14 07:30:00 | 4.394 | 334.2533 | 4.6947 | 320.1767 | 5.2753 | 327.3347 | 5.5853 | 321.814 | 14.44 | 881 | 89.26 | 14.7513
2020-05-14 07:45:00 | 3.798 | 342.5333 | 3.9607 | 327.5193 | 4.47 | 334.9987 | 4.586 | 329.194 | 14.72 | 882 | 88.6533 | 8.37
2020-05-14 08:00:00 | 3.5853 | 332.1667 | 3.7167 | 327.6293 | 4.39 | 324.8573 | 4.4107 | 329.3053 | 14.74 | 882 | 87.62 | 7.8307
2020-05-14 08:15:00 | 3.7813 | 340.62 | 3.9487 | 322.42 | 4.4913 | 333.1253 | 4.604 | 324.0693 | 14.9133 | 882 | 86.9333 | 8.418
2020-05-14 08:30:00 | 3.44 | 313.7333 | 3.538 | 323.0807 | 4.1213 | 306.2767 | 4.118 | 324.7307 | 15.16 | 882.6667 | 85.1867 | 6.312
2020-05-14 08:45:00 | 3.1867 | 309.2333 | 3.3227 | 314.57 | 3.856 | 302.4287 | 3.9247 | 316.178 | 15.36 | 883 | 83.7133 | 5.3687
2020-05-14 09:00:00 | 3.2773 | 289.44 | 3.424 | 320.712 | 4.0947 | 283.0713 | 4.1353 | 322.3513 | 15.74 | 883 | 83.4267 | 6.368
2020-05-14 09:15:00 | 3.3047 | 332.7933 | 3.4507 | 326.678 | 3.844 | 325.472 | 3.9693 | 328.3487 | 16 | 884 | 81.0773 | 6.0273
2020-05-14 09:30:00 | 3.55 | 337.78 | 3.7933 | 302.2213 | 4.1407 | 330.3487 | 4.4307 | 303.7673 | 16.5067 | 884 | 78.3213 | 7.032
2020-05-14 09:45:00 | 3.064 | 333.5267 | 3.228 | 323.6 | 3.5753 | 326.1893 | 3.7373 | 325.256 | 17.0733 | 884 | 73.8753 | 3.814
2020-05-14 10:00:00 | 2.4453 | 326.24 | 2.532 | 327.4987 | 2.862 | 319.064 | 2.904 | 329.1733 | 17.8933 | 884 | 72.5027 | 1.386
2020-05-14 10:15:00 | 1.9073 | 276.02 | 1.9587 | 319.6807 | 2.2327 | 269.946 | 2.24 | 321.3173 | 18.46 | 885 | 71.3587 | 0
2020-05-14 10:30:00 | 1.7113 | 283.4133 | 1.7653 | 265.4827 | 2.0387 | 277.1787 | 2.0433 | 266.8387 | 19.4733 | 885 | 69.37 | 0
2020-05-14 10:45:00 | 1.4073 | 266.0333 | 1.4613 | 204.0567 | 1.7607 | 260.1807 | 1.7607 | 205.1007 | 20.5667 | 885 | 71.4373 | 0
2020-05-14 11:00:00 | 1.328 | 200.0533 | 1.386 | 241.4107 | 1.636 | 195.6513 | 1.6567 | 242.644 | 21.2133 | 885 | 69.142 | 0
2020-05-14 11:15:00 | 1.62 | 182.3733 | 1.624 | 98.9793 | 1.882 | 178.3613 | 1.8187 | 99.4853 | 21.6267 | 884 | 65.5653 | 0
2020-05-14 11:30:00 | 1.3227 | 148.0867 | 1.3867 | 141.236 | 1.5993 | 144.828 | 1.642 | 141.9573 | 21.96 | 884 | 65.4 | 0
2020-05-14 11:45:00 | 1.6407 | 141.5733 | 1.67 | 209.9827 | 1.7327 | 138.4573 | 1.7633 | 211.0567 | 22.2867 | 884 | 65.4873 | 0
2020-05-14 12:00:00 | 1.8253 | 128.4333 | 1.912 | 121.5647 | 2.072 | 125.6087 | 2.168 | 122.1873 | 22.68 | 884 | 62.616 | 0
2020-05-14 12:15:00 | 1.818 | 190.0667 | 1.924 | 120.77 | 2.0347 | 185.886 | 2.174 | 121.3873 | 23.0333 | 884 | 60.4067 | 0
2020-05-14 12:30:00 | 2.0853 | 189.8467 | 2.2 | 142.0773 | 2.3667 | 190.5593 | 2.4787 | 142.8033 | 22.8733 | 884 | 58.2 | 0
2020-05-14 12:45:00 | 2.658 | 190.74 | 2.7667 | 128.274 | 2.9053 | 186.5427 | 3.0407 | 128.93 | 22.7867 | 884 | 57.6007 | 1.1013
2020-05-14 13:00:00 | 2.7747 | 175.48 | 2.896 | 140.1147 | 3.1147 | 171.6187 | 3.2493 | 140.8327 | 23.1267 | 884 | 57.106 | 2.3387
2020-05-14 13:15:00 | 2.548 | 196.56 | 2.6167 | 135.6293 | 2.9227 | 192.2353 | 2.948 | 136.324 | 23.5133 | 883 | 53.79 | 2.6173
2020-05-14 13:30:00 | 3.192 | 170.4733 | 3.3927 | 141.0407 | 3.5733 | 166.722 | 3.842 | 141.7613 | 23.88 | 883 | 54.2573 | 5.788
2020-05-14 13:45:00 | 3.2507 | 181.9133 | 3.3267 | 135.2967 | 3.68 | 177.9107 | 3.704 | 135.988 | 23.8067 | 883 | 54.1607 | 6.9133
2020-05-14 14:00:00 | 3.454 | 159.9467 | 3.5287 | 139.046 | 3.8587 | 157.288 | 3.886 | 139.7567 | 24.0533 | 883 | 53.3733 | 7.72
2020-05-14 14:15:00 | 3.2653 | 174.1067 | 3.2613 | 137.5387 | 3.5413 | 170.2773 | 3.4547 | 138.2413 | 24.2867 | 883 | 53.0987 | 6.2193
2020-05-14 14:30:00 | 2.9493 | 177.3533 | 3.064 | 149.732 | 3.2493 | 173.4513 | 3.384 | 150.496 | 24.74 | 883 | 51.51 | 4.564
2020-05-14 14:45:00 | 3.1327 | 170.2867 | 3.2733 | 127.7193 | 3.5587 | 166.5413 | 3.7027 | 128.3727 | 24.72 | 882 | 51.8193 | 5.4653
2020-05-14 15:00:00 | 3.392 | 159.32 | 3.5273 | 137.1033 | 3.814 | 155.8167 | 3.9487 | 137.804 | 24.6067 | 882 | 50.4833 | 7.412
2020-05-14 15:15:00 | 3.2587 | 145.0133 | 3.4327 | 147.808 | 3.7227 | 141.822 | 3.9247 | 148.564 | 25.4933 | 882 | 51.082 | 10.0293
2020-05-14 15:30:00 | 3.5727 | 180.0467 | 3.6773 | 154.0227 | 3.8487 | 176.0853 | 3.968 | 154.81 | 25.3467 | 882 | 50.958 | 12.3793
2020-05-14 15:45:00 | 3.5073 | 190.9533 | 3.708 | 150.41 | 4.1413 | 186.7533 | 4.34 | 151.18 | 24.86 | 882 | 50.5947 | 14.382
2020-05-14 16:00:00 | 3.884 | 169.4067 | 4.136 | 149.5747 | 4.0933 | 165.6793 | 4.5127 | 150.3407 | 25.0533 | 882 | 51.8307 | 16.0313
2020-05-14 16:15:00 | 3.996 | 172.7267 | 4.2513 | 145.0753 | 3.916 | 168.926 | 4.4293 | 145.8187 | 25.3533 | 881 | 50.2847 | 20.8573
2020-05-14 16:30:00 | 4.7873 | 172.3467 | 5.0247 | 143.7667 | 4.788 | 168.5553 | 5.2393 | 144.5007 | 25.44 | 881 | 49.498 | 25.7967
2020-05-14 16:45:00 | 5.1233 | 172.6933 | 5.4447 | 143.6147 | 5.3527 | 168.894 | 5.894 | 144.3513 | 25.4333 | 881 | 48.318 | 31.87
2020-05-14 17:00:00 | 4.5927 | 179.16 | 4.8773 | 144.3 | 4.908 | 175.218 | 5.36 | 145.0373 | 25.4067 | 881 | 48.6967 | 29.4493
2020-05-14 17:15:00 | 4.3187 | 173.8267 | 4.5993 | 152.574 | 4.618 | 170.0027 | 5.064 | 153.3553 | 25.2933 | 881 | 49.5853 | 26.8873
2020-05-14 17:30:00 | 4.658 | 173.3533 | 4.9293 | 147.5147 | 5.0707 | 169.5387 | 5.466 | 148.2687 | 25.16 | 881 | 50.762 | 24.8713
2020-05-14 17:45:00 | 3.9673 | 171.26 | 4.24 | 150.4687 | 4.2213 | 167.4927 | 4.668 | 151.2373 | 24.9267 | 881 | 51.414 | 19.664
2020-05-14 18:00:00 | 4.068 | 171.6733 | 4.2873 | 152.3713 | 4.082 | 167.8973 | 4.496 | 153.1513 | 24.8 | 880.3333 | 52.4347 | 20.6907
2020-05-14 18:15:00 | 3.9267 | 167.16 | 4.17 | 144.992 | 3.944 | 163.4833 | 4.4067 | 145.734 | 24.8067 | 880 | 52.812 | 18.3047
2020-05-14 18:30:00 | 3.854 | 173.32 | 4.136 | 152.5747 | 3.976 | 169.5073 | 4.4787 | 153.3553 | 24.64 | 880 | 53.1553 | 17.4753
2020-05-14 18:45:00 | 4.1107 | 172.4733 | 4.3893 | 156.29 | 4.046 | 168.6793 | 4.6013 | 157.09 | 24.3533 | 880 | 53.404 | 19.9727
2020-05-14 19:00:00 | 4.0673 | 171.68 | 4.3607 | 151.4713 | 3.9047 | 167.9027 | 4.514 | 152.2467 | 24.22 | 880 | 53.9927 | 20.4867
2020-05-14 19:15:00 | 3.758 | 172.7867 | 4.0953 | 156.5653 | 3.5613 | 168.986 | 4.2627 | 157.3667 | 24.1333 | 880 | 54.4473 | 14.0653
2020-05-14 19:30:00 | 3.588 | 176.36 | 3.9133 | 173.458 | 3.7867 | 172.4813 | 4.3473 | 174.3447 | 23.9867 | 880.6667 | 54.5413 | 12.1353
2020-05-14 19:45:00 | 2.9453 | 180.6 | 3.1547 | 174.832 | 3.1027 | 176.628 | 3.4527 | 175.728 | 23.86 | 881 | 55.9233 | 7.67
2020-05-14 20:00:00 | 2.9527 | 185.4467 | 3.114 | 177.9173 | 3.25 | 180.454 | 3.4707 | 178.8273 | 23.7333 | 881.6667 | 57.066 | 8.6513
2020-05-14 20:15:00 | 3.184 | 176.8267 | 3.3227 | 170.668 | 3.298 | 172.936 | 3.53 | 171.54 | 23.4667 | 882 | 58.6267 | 9.3247
2020-05-14 20:30:00 | 3.458 | 170.1133 | 3.6613 | 152.8947 | 3.5087 | 166.3707 | 3.884 | 153.6753 | 23.3 | 882 | 60.606 | 10.954
2020-05-14 20:45:00 | 3.3747 | 162.3733 | 3.5207 | 151.452 | 3.4287 | 158.8 | 3.6927 | 152.2273 | 23.0067 | 882 | 62.1927 | 12.248
2020-05-14 21:00:00 | 4.2387 | 138.32 | 4.39 | 141.5947 | 4.8127 | 135.276 | 4.9347 | 142.318 | 22.8133 | 882 | 63.6327 | 18.4347
2020-05-14 21:15:00 | 3.8613 | 147.8933 | 3.9813 | 135.89 | 4.2073 | 144.6393 | 4.334 | 136.5867 | 22.4667 | 881 | 65.0633 | 8.534
2020-05-14 21:30:00 | 3.3593 | 135.3333 | 3.4567 | 138.2233 | 3.7013 | 132.3567 | 3.79 | 138.9313 | 22.3267 | 881.6667 | 66.4673 | 6.9927
2020-05-14 21:45:00 | 2.584 | 138.0667 | 2.6593 | 125.2887 | 2.9367 | 135.0287 | 2.982 | 125.9273 | 22.2067 | 882 | 67.6027 | 1.9513
2020-05-14 22:00:00 | 1.926 | 122.56 | 2.066 | 124.6367 | 2.2607 | 119.864 | 2.4267 | 125.2727 | 22.14 | 882 | 68.2533 | 0
2020-05-14 22:15:00 | 2.2653 | 134.3533 | 2.4113 | 129.768 | 2.704 | 131.3987 | 2.8527 | 130.4307 | 21.9733 | 882 | 69.194 | 0.458
2020-05-14 22:30:00 | 2.5647 | 125.5267 | 2.6807 | 126.3507 | 2.9273 | 122.766 | 3.0447 | 126.996 | 21.8533 | 882 | 70.5827 | 2.6013
2020-05-14 22:45:00 | 2.9027 | 132.6733 | 2.988 | 131.4107 | 3.2307 | 129.7553 | 3.2973 | 132.0827 | 21.6533 | 882 | 71.3973 | 4.244
2020-05-14 23:00:00 | 2.5413 | 138.5 | 2.6367 | 133.9993 | 2.9313 | 135.4527 | 3 | 134.684 | 21.5333 | 882 | 72.1793 | 2.9193
2020-05-14 23:15:00 | 2.164 | 141.9 | 2.3 | 139.5607 | 2.6267 | 138.778 | 2.7547 | 140.2747 | 21.4 | 882 | 72.8947 | 1.406
2020-05-14 23:30:00 | 2.0667 | 140.8333 | 2.1847 | 127.302 | 2.392 | 137.7347 | 2.5247 | 127.9533 | 21.2933 | 882 | 73.1987 | 1.368
2020-05-14 23:45:00 | 2.76 | 143.8133 | 2.8733 | 132.388 | 3.078 | 140.6487 | 3.2033 | 133.066 | 21.14 | 882 | 74.4853 | 4.3433