## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-15 00:00:00 | 2.9714 | 147.8929 | 3.1064 | 133.6714 | 3.2693 | 144.6393 | 3.4393 | 134.355 | 20.9071 | 882 | 75.2964 | 6.494
2020-05-15 00:15:00 | 3.1293 | 151.7867 | 3.2967 | 137.8987 | 3.5173 | 148.4473 | 3.726 | 138.604 | 20.8333 | 882 | 75.7967 | 7.296
2020-05-15 00:30:00 | 3.0233 | 151 | 3.122 | 144.1107 | 3.302 | 147.6773 | 3.412 | 144.8467 | 20.72 | 882 | 76.6013 | 6.528
2020-05-15 00:45:00 | 2.766 | 143.54 | 2.872 | 138.6867 | 3.1093 | 140.3813 | 3.2133 | 139.3967 | 20.4333 | 881 | 77.2273 | 5.9427
2020-05-15 01:00:00 | 2.77 | 146.2467 | 2.884 | 134.926 | 3.006 | 141.2427 | 3.1573 | 135.6153 | 20.2 | 881 | 77.576 | 4.8973
2020-05-15 01:15:00 | 2.32 | 151.9867 | 2.4587 | 146.4833 | 2.5193 | 148.6427 | 2.7273 | 147.2327 | 20.2533 | 881 | 78.378 | 3.416
2020-05-15 01:30:00 | 2.226 | 169.4933 | 2.2653 | 158.3313 | 2.3567 | 165.4247 | 2.3873 | 159.1407 | 20.3733 | 881 | 79.5247 | 3.8027
2020-05-15 01:45:00 | 2.7553 | 173.3133 | 2.794 | 151.4733 | 3.1107 | 169.5 | 3.0847 | 152.2487 | 20.2733 | 881 | 81.316 | 4.3773
2020-05-15 02:00:00 | 2.4113 | 176.14 | 2.48 | 158.2527 | 2.7347 | 172.2653 | 2.77 | 159.062 | 19.9933 | 881 | 81.8333 | 3.296
2020-05-15 02:15:00 | 2.2547 | 172.04 | 2.3347 | 157.0527 | 2.4487 | 168.254 | 2.544 | 157.858 | 19.8867 | 880.6667 | 82.76 | 2.3453
2020-05-15 02:30:00 | 2.1527 | 170.0667 | 2.206 | 146.68 | 2.3593 | 166.326 | 2.4053 | 147.4293 | 19.66 | 880 | 83.4933 | 2.442
2020-05-15 02:45:00 | 2.074 | 173.4133 | 2.1307 | 155.8807 | 2.24 | 169.5993 | 2.3007 | 156.6767 | 19.7 | 880 | 84.1267 | 1.944
2020-05-15 03:00:00 | 1.752 | 168.8467 | 1.796 | 165.53 | 1.94 | 165.1307 | 1.972 | 166.3767 | 19.5733 | 880 | 84.3733 | 1.1607
2020-05-15 03:15:00 | 1.398 | 180.4333 | 1.448 | 178.6227 | 1.4373 | 176.3007 | 1.526 | 179.5353 | 19.5133 | 880 | 84.32 | 0.068
2020-05-15 03:30:00 | 1.3013 | 141.2133 | 1.3927 | 151.7267 | 1.4667 | 137.8327 | 1.5927 | 152.502 | 19.3533 | 880 | 84.96 | 0
2020-05-15 03:45:00 | 0.85533 | 132.76 | 0.97067 | 137.9447 | 1.0907 | 129.8407 | 1.2407 | 138.6487 | 19.1267 | 880 | 86.1067 | 0
2020-05-15 04:00:00 | 1.0653 | 119.3267 | 1.204 | 111.3473 | 1.4093 | 116.7013 | 1.5673 | 111.918 | 19.2 | 879.3333 | 86.12 | 0
2020-05-15 04:15:00 | 1.0653 | 119.3267 | 1.204 | 111.3473 | 1.4093 | 116.7013 | 1.5673 | 111.918 | 19.2 | 879.3333 | 86.12 | 0
2020-05-15 04:30:00 | 1.0653 | 119.3267 | 1.204 | 111.3473 | 1.4093 | 116.7013 | 1.5673 | 111.918 | 19.2 | 879.3333 | 86.12 | 0
2020-05-15 04:45:00 | 1.0653 | 119.3267 | 1.204 | 111.3473 | 1.4093 | 116.7013 | 1.5673 | 111.918 | 19.2 | 879.3333 | 86.12 | 0
2020-05-15 05:00:00 | 1.0653 | 119.3267 | 1.204 | 111.3473 | 1.4093 | 116.7013 | 1.5673 | 111.918 | 19.2 | 879.3333 | 86.12 | 0
2020-05-15 05:15:00 | 1.0653 | 119.3267 | 1.204 | 111.3473 | 1.4093 | 116.7013 | 1.5673 | 111.918 | 19.2 | 879.3333 | 86.12 | 0
2020-05-15 05:30:00 | 0.61533 | 195.72 | 0.61867 | 153.0953 | 0.568 | 191.4133 | 0.58667 | 153.88 | 18.5533 | 879.6667 | 89.7933 | 0
2020-05-15 05:45:00 | 0.61533 | 195.72 | 0.61867 | 153.0953 | 0.568 | 191.4133 | 0.58667 | 153.88 | 18.5533 | 879.6667 | 89.7933 | 0
2020-05-15 06:00:00 | 0.61533 | 195.72 | 0.61867 | 153.0953 | 0.568 | 191.4133 | 0.58667 | 153.88 | 18.5533 | 879.6667 | 89.7933 | 0
2020-05-15 06:15:00 | 0.61533 | 195.72 | 0.61867 | 153.0953 | 0.568 | 191.4133 | 0.58667 | 153.88 | 18.5533 | 879.6667 | 89.7933 | 0
2020-05-15 06:30:00 | 0.61533 | 195.72 | 0.61867 | 153.0953 | 0.568 | 191.4133 | 0.58667 | 153.88 | 18.5533 | 879.6667 | 89.7933 | 0
2020-05-15 06:45:00 | 0.888 | 137.1533 | 0.86 | 125.054 | 0.81667 | 134.1347 | 0.78467 | 125.6933 | 18.64 | 880 | 87.4933 | 0
2020-05-15 07:00:00 | 0.83467 | 124.68 | 0.856 | 120.952 | 0.784 | 121.9367 | 0.84 | 121.572 | 18.68 | 880 | 86.1133 | 0
2020-05-15 07:15:00 | 1.206 | 111.3467 | 1.232 | 119.0873 | 1.0627 | 108.8967 | 1.1533 | 119.696 | 18.8467 | 880 | 86.78 | 0
2020-05-15 07:30:00 | 1.572 | 120.8267 | 1.626 | 127.936 | 1.656 | 118.1687 | 1.7333 | 128.5893 | 18.7 | 880 | 86.4133 | 0
2020-05-15 07:45:00 | 1.0127 | 150.76 | 1.02 | 144.698 | 1.0727 | 147.4427 | 1.072 | 145.4387 | 18.7867 | 880 | 86.1067 | 0
2020-05-15 08:00:00 | 1.274 | 142.8067 | 1.3173 | 143.498 | 1.1907 | 139.6633 | 1.302 | 144.232 | 19.16 | 880.6667 | 86.32 | 0
2020-05-15 08:15:00 | 1.1307 | 202.94 | 1.1333 | 154.596 | 1.27 | 198.4753 | 1.2353 | 155.386 | 19.3467 | 881 | 86.0467 | 0
2020-05-15 08:30:00 | 1.2527 | 181.3067 | 1.2287 | 148.624 | 1.3807 | 177.318 | 1.3013 | 149.3833 | 19.4467 | 881 | 86.2533 | 0
2020-05-15 08:45:00 | 1.69 | 196.2467 | 1.7487 | 157.648 | 1.9433 | 191.9293 | 1.98 | 158.4547 | 19.1133 | 881 | 87.34 | 0
2020-05-15 09:00:00 | 1.4973 | 167.6667 | 1.4933 | 162.7247 | 1.6387 | 163.9767 | 1.5913 | 163.5573 | 19.1467 | 881.6667 | 88.4267 | 0
2020-05-15 09:15:00 | 1.5033 | 176.08 | 1.4813 | 162.1193 | 1.7633 | 172.206 | 1.6513 | 162.9473 | 19.0133 | 882 | 87.66 | 0
2020-05-15 09:30:00 | 1.4227 | 146.8467 | 1.432 | 156.3373 | 1.5313 | 144.8287 | 1.522 | 157.1367 | 19.0133 | 882 | 88.1333 | 0
2020-05-15 09:45:00 | 1.138 | 116.8867 | 1.1453 | 150.37 | 1.4493 | 114.3153 | 1.3733 | 151.138 | 19.2667 | 882 | 87.9667 | 0
2020-05-15 10:00:00 | 1.1813 | 110.4067 | 1.228 | 122.4633 | 1.4487 | 107.976 | 1.4553 | 123.092 | 19.84 | 882 | 85.3933 | 0
2020-05-15 10:15:00 | 0.87867 | 78.1067 | 0.932 | 126.8213 | 1.1173 | 76.388 | 1.1507 | 127.4693 | 20.76 | 882 | 81.832 | 0
2020-05-15 10:30:00 | 0.868 | 111.52 | 0.90733 | 151.89 | 1.2093 | 109.0667 | 1.1873 | 152.666 | 21.3133 | 882 | 80.6067 | 0
2020-05-15 10:45:00 | 1.872 | 158.2933 | 1.9447 | 116.3947 | 1.9167 | 154.8113 | 2.0433 | 116.9913 | 21.1667 | 882 | 79.3127 | 0
2020-05-15 11:00:00 | 2.2787 | 184.5933 | 2.316 | 135.5647 | 2.574 | 180.5327 | 2.5627 | 136.2573 | 20.2667 | 882.6667 | 78.812 | 0
2020-05-15 11:15:00 | 1.5933 | 206.8333 | 1.6693 | 154.9353 | 1.7767 | 202.2833 | 1.8673 | 155.726 | 20.3267 | 883 | 80.8093 | 0
2020-05-15 11:30:00 | 1.3133 | 187.0333 | 1.308 | 150.912 | 1.6567 | 182.9193 | 1.546 | 151.6833 | 20.68 | 882.3333 | 78.5813 | 0
2020-05-15 11:45:00 | 1.5213 | 177.04 | 1.5353 | 146.7513 | 1.6547 | 173.1447 | 1.6427 | 147.502 | 21.0333 | 882 | 79.076 | 0
2020-05-15 12:00:00 | 1.5253 | 186.64 | 1.51 | 144.9667 | 1.764 | 182.5327 | 1.6673 | 145.708 | 21.3867 | 882 | 77.9067 | 0
2020-05-15 12:15:00 | 1.7433 | 201.3867 | 1.816 | 153.0893 | 1.8547 | 196.9573 | 1.9593 | 153.8727 | 21.6933 | 882 | 76.8593 | 0
2020-05-15 12:30:00 | 2.066 | 197.4933 | 2.128 | 156.382 | 2.0847 | 193.1487 | 2.1947 | 157.18 | 21.5 | 882 | 74.9527 | 0.45933
2020-05-15 12:45:00 | 1.7207 | 221.2067 | 1.7267 | 151.7533 | 1.802 | 216.34 | 1.792 | 152.5287 | 21.9533 | 882.6667 | 75.1927 | 0.25733
2020-05-15 13:00:00 | 1.6853 | 211.3533 | 1.7013 | 151.714 | 1.78 | 207.3547 | 1.7873 | 152.4887 | 21.9467 | 882 | 74.026 | 0.23
2020-05-15 13:15:00 | 1.9 | 208.8533 | 1.8467 | 142.3573 | 1.9707 | 204.26 | 1.8513 | 143.086 | 22.06 | 882 | 73.396 | 0.298
2020-05-15 13:30:00 | 1.8713 | 183.62 | 1.8527 | 139.15 | 2.11 | 179.58 | 2.0067 | 139.862 | 22.3133 | 882 | 73.044 | 0
2020-05-15 13:45:00 | 1.9927 | 176.24 | 2.0653 | 132.6107 | 2.396 | 172.3613 | 2.4187 | 133.2893 | 22.4867 | 882 | 72.2967 | 0
2020-05-15 14:00:00 | 1.6167 | 174.0667 | 1.7173 | 156.9613 | 1.8147 | 170.238 | 1.948 | 157.7647 | 22.9667 | 882 | 71.1373 | 0
2020-05-15 14:15:00 | 1.888 | 179.4333 | 1.926 | 143.4393 | 2.236 | 175.4867 | 2.2093 | 144.174 | 23.4733 | 881.6667 | 69.8593 | 0
2020-05-15 14:30:00 | 1.7713 | 182.38 | 1.76 | 131.0527 | 1.988 | 178.3687 | 1.9033 | 131.722 | 23.0667 | 881 | 66.7027 | 0
2020-05-15 14:45:00 | 2.0213 | 165.8267 | 2.154 | 130.146 | 2.1927 | 162.1793 | 2.3987 | 130.812 | 24.0067 | 881 | 67.1313 | 0
2020-05-15 15:00:00 | 1.8267 | 154.6133 | 1.938 | 130.9473 | 2.0753 | 151.212 | 2.2173 | 131.6173 | 24.74 | 881 | 63.844 | 0
2020-05-15 15:15:00 | 2.3513 | 167.1133 | 2.468 | 134.9313 | 2.8033 | 163.4367 | 2.8947 | 135.6207 | 24.6867 | 881 | 60.8547 | 0
2020-05-15 15:30:00 | 2.0047 | 177.8733 | 2.148 | 140.9033 | 2.2327 | 173.96 | 2.438 | 141.624 | 24.2667 | 881 | 58.792 | 0.29333
2020-05-15 15:45:00 | 2.462 | 161.5933 | 2.4933 | 150.7947 | 2.6973 | 158.0373 | 2.688 | 151.564 | 24.7867 | 881 | 57.1087 | 0.058667
2020-05-15 16:00:00 | 1.984 | 165.1667 | 1.976 | 130.1267 | 1.9267 | 161.5333 | 1.9287 | 130.79 | 24.4533 | 881 | 56.3267 | 0.021333
2020-05-15 16:15:00 | 2.12 | 177.3 | 2.1287 | 135.5173 | 2.4193 | 173.3993 | 2.3493 | 136.2113 | 24.0533 | 881 | 58.2547 | 0.009333
2020-05-15 16:30:00 | 1.5827 | 227.0933 | 1.622 | 159.7987 | 1.784 | 224.2627 | 1.8027 | 160.616 | 24.3467 | 881 | 60.4767 | 0
2020-05-15 16:45:00 | 1.3567 | 189.9333 | 1.3373 | 155.8607 | 1.5293 | 185.754 | 1.444 | 156.658 | 24.6667 | 881 | 60.2813 | 0
2020-05-15 17:00:00 | 1.504 | 171.4333 | 1.5507 | 176.0073 | 1.584 | 167.662 | 1.65 | 176.9087 | 24.46 | 881 | 59.2827 | 0
2020-05-15 17:15:00 | 1.3607 | 195.86 | 1.3667 | 187.88 | 1.378 | 189.8107 | 1.3853 | 188.8413 | 24.38 | 880 | 59.4213 | 0
2020-05-15 17:30:00 | 1.228 | 210.9933 | 1.304 | 198.0907 | 1.2407 | 206.35 | 1.3807 | 199.1033 | 24.2733 | 880 | 61.61 | 0
2020-05-15 17:45:00 | 1.6993 | 223.4533 | 1.79 | 189.1053 | 1.878 | 218.5373 | 2 | 190.0727 | 24.08 | 880.3333 | 62.6213 | 0
2020-05-15 18:00:00 | 2.0053 | 218.3533 | 2.1313 | 227.8407 | 2.286 | 213.5493 | 2.4453 | 229.006 | 23.8533 | 881 | 63.9673 | 0
2020-05-15 18:15:00 | 2.2927 | 253.7067 | 2.4147 | 253.9473 | 2.5987 | 248.1247 | 2.7353 | 255.2447 | 23.78 | 881 | 64.6 | 0.70667
2020-05-15 18:30:00 | 2.7733 | 268.2533 | 2.8847 | 266.714 | 3.22 | 262.3527 | 3.3073 | 268.078 | 23.4733 | 881 | 66.9327 | 2.8387
2020-05-15 18:45:00 | 2.0887 | 287.7133 | 2.136 | 272.0927 | 2.5773 | 281.3833 | 2.526 | 273.4833 | 23.5 | 881 | 68.012 | 0.22933
2020-05-15 19:00:00 | 2.1707 | 264.7933 | 2.1087 | 261.7653 | 2.6807 | 258.9673 | 2.4193 | 263.1033 | 23.5067 | 881 | 68.122 | 2.116
2020-05-15 19:15:00 | 1.5893 | 301.3867 | 1.6207 | 269.3413 | 1.9087 | 294.756 | 1.8767 | 270.718 | 23.4133 | 881 | 70.83 | 0
2020-05-15 19:30:00 | 1.4373 | 329.74 | 1.5367 | 326.2747 | 1.736 | 322.4853 | 1.8407 | 327.9413 | 23.38 | 881 | 78 | 0
2020-05-15 19:45:00 | 1.9767 | 190.4533 | 2.106 | 268.9173 | 2.264 | 186.262 | 2.428 | 270.2927 | 23.08 | 880.6667 | 78.3413 | 0
2020-05-15 20:00:00 | 2.684 | 277.48 | 2.8413 | 326.4247 | 3.0593 | 271.3747 | 3.2467 | 328.092 | 22.8267 | 880.6667 | 79.7413 | 0.68067
2020-05-15 20:15:00 | 1.6167 | 313.28 | 1.6487 | 310.8987 | 1.9053 | 306.39 | 1.8833 | 312.4887 | 22.9133 | 880.3333 | 81.7333 | 0
2020-05-15 20:30:00 | 1.176 | 321.92 | 1.2293 | 253.2687 | 1.4207 | 314.838 | 1.4487 | 254.5633 | 22.96 | 881 | 79.7867 | 0
2020-05-15 20:45:00 | 1.0533 | 270.7867 | 1.056 | 263.4093 | 1.1993 | 264.8287 | 1.1627 | 264.754 | 23.2 | 881 | 75.4287 | 0
2020-05-15 21:00:00 | 0.862 | 213.4 | 0.846 | 205.5873 | 0.96333 | 208.7053 | 0.902 | 206.64 | 23.2467 | 881 | 74.6307 | 0
2020-05-15 21:15:00 | 0.45533 | 255.1667 | 0.458 | 238.2733 | 0.52267 | 249.5533 | 0.50667 | 239.492 | 23.3067 | 881 | 73.988 | 0
2020-05-15 21:30:00 | 1.7473 | 224.18 | 1.778 | 321.1427 | 2.0207 | 219.2467 | 2.0007 | 322.784 | 22.9133 | 881.6667 | 76.562 | 0
2020-05-15 21:45:00 | 2.8367 | 329.4 | 3.0073 | 316.714 | 3.5313 | 322.1533 | 3.6513 | 318.3347 | 22.1 | 882 | 82.6133 | 2.0947
2020-05-15 22:00:00 | 3.214 | 336.3933 | 3.4113 | 329.2973 | 3.7527 | 328.9927 | 3.972 | 330.9827 | 22.08 | 882 | 84.6467 | 4.4827
2020-05-15 22:15:00 | 2.8907 | 346 | 3.12 | 338.0347 | 3.4747 | 338.388 | 3.7393 | 339.7647 | 21.7867 | 882 | 85.52 | 3.5367
2020-05-15 22:30:00 | 2.5133 | 344.8467 | 2.7053 | 314.258 | 3.0227 | 337.2587 | 3.2407 | 315.864 | 22.0133 | 882 | 84.0267 | 1.2787
2020-05-15 22:45:00 | 2.422 | 343.1333 | 2.5533 | 327.408 | 2.8647 | 335.5847 | 2.9833 | 329.082 | 22.2133 | 882 | 83.04 | 0.936
2020-05-15 23:00:00 | 2.6393 | 337.5867 | 2.8127 | 311.042 | 3.1713 | 329.9453 | 3.348 | 312.6327 | 21.8333 | 882 | 83.3133 | 2.7073
2020-05-15 23:15:00 | 3.2687 | 334.2933 | 3.3947 | 314.6613 | 3.76 | 326.938 | 3.8613 | 316.27 | 22.3667 | 882 | 85.1533 | 4.7533
2020-05-15 23:30:00 | 3.7667 | 335.3067 | 4.0107 | 323.8493 | 4.22 | 327.9293 | 4.5533 | 325.5047 | 21.9333 | 882 | 86.6333 | 8.9647
2020-05-15 23:45:00 | 4.712 | 338.6 | 5 | 329.1613 | 5.29 | 331.1507 | 5.6707 | 330.8453 | 21.3267 | 882 | 87.7467 | 19.1567