## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-16 00:00:00 | 5.7243 | 342.7714 | 6.0836 | 327.26 | 6.3843 | 335.23 | 6.8757 | 328.9336 | 20.7143 | 882 | 88.8909 | 30.7033
2020-05-16 00:15:00 | 5.8913 | 342.6267 | 6.2807 | 325.2107 | 6.4993 | 335.0893 | 7.0633 | 326.8733 | 20.68 | 882 | 90.4067 | 35.3033
2020-05-16 00:30:00 | 6.4347 | 341.8667 | 6.8913 | 325.3987 | 7.206 | 334.3467 | 7.8507 | 327.0653 | 20.5467 | 882 | 91.0267 | 41.3353
2020-05-16 00:45:00 | 6.6467 | 340.4667 | 7.0293 | 322.564 | 7.4013 | 332.9767 | 7.9093 | 324.2133 | 20.54 | 882 | 92.1267 | 44.7893
2020-05-16 01:00:00 | 7.0313 | 342.14 | 7.4887 | 321.0133 | 7.83 | 334.614 | 8.4627 | 322.6527 | 20.6667 | 882 | 92.26 | 47.7187
2020-05-16 01:15:00 | 6.6767 | 344.16 | 7.234 | 319.8193 | 7.45 | 336.5893 | 8.2813 | 321.4533 | 20.7 | 882 | 91.4467 | 42.0873
2020-05-16 01:30:00 | 6.2707 | 340.04 | 6.856 | 322.59 | 7.0287 | 332.5593 | 7.9187 | 324.2393 | 20.5133 | 882 | 90.5533 | 38.576
2020-05-16 01:45:00 | 5.9173 | 339.2533 | 6.406 | 319.278 | 6.43 | 331.788 | 7.2067 | 320.9093 | 20.3733 | 882 | 91.6267 | 35.2693
2020-05-16 02:00:00 | 5.6693 | 336.5133 | 6.1973 | 321.032 | 6.238 | 329.1093 | 7.07 | 322.672 | 20.1533 | 882 | 91.74 | 36.186
2020-05-16 02:15:00 | 5.986 | 339.3 | 6.4607 | 331.3733 | 6.5287 | 331.8367 | 7.2693 | 333.0673 | 20.52 | 882 | 90.8733 | 38.7087
2020-05-16 02:30:00 | 5.972 | 344.22 | 6.476 | 328.986 | 6.5807 | 336.04 | 7.3613 | 330.6687 | 20.5667 | 882 | 91.7267 | 40.778
2020-05-16 02:45:00 | 5.4033 | 340.4333 | 5.8807 | 327.6233 | 6.1527 | 332.9433 | 6.838 | 329.2973 | 20.4133 | 882 | 91.9667 | 36.386
2020-05-16 03:00:00 | 5.1833 | 340.4067 | 5.66 | 327.1933 | 5.7927 | 332.918 | 6.522 | 328.866 | 20.56 | 882 | 90.54 | 30.168
2020-05-16 03:15:00 | 5.472 | 335.84 | 5.9067 | 323.8213 | 6.1027 | 328.02 | 6.7427 | 325.4773 | 20.5 | 882 | 90.1067 | 34.234
2020-05-16 03:30:00 | 6.4273 | 334.7267 | 6.758 | 323.412 | 6.6793 | 327.364 | 7.24 | 325.0653 | 20.82 | 882 | 89.6667 | 40.482
2020-05-16 03:45:00 | 6.146 | 334.5467 | 6.526 | 321.924 | 6.584 | 327.188 | 7.1807 | 323.5713 | 20.96 | 882 | 88.5267 | 38.3813
2020-05-16 04:00:00 | 6.0713 | 339.2067 | 6.52 | 324.482 | 6.742 | 331.744 | 7.4013 | 326.1413 | 20.9267 | 882 | 88.4933 | 36.0933
2020-05-16 04:15:00 | 6.0367 | 342.08 | 6.5293 | 323.646 | 6.8713 | 334.7293 | 7.572 | 325.3013 | 20.8867 | 882 | 88.2867 | 35.2147
2020-05-16 04:30:00 | 5.81 | 343.44 | 6.284 | 329.2727 | 6.7767 | 335.8853 | 7.394 | 330.9567 | 20.7667 | 882 | 88.9667 | 32.856
2020-05-16 04:45:00 | 5.1487 | 342.16 | 5.594 | 328.5107 | 6.1493 | 335.2853 | 6.7053 | 330.1893 | 20.5533 | 882 | 90.2533 | 28.076
2020-05-16 05:00:00 | 5.0093 | 344.4133 | 5.4613 | 324.462 | 5.8547 | 336.8353 | 6.4633 | 326.12 | 20.7667 | 882 | 91.9333 | 23.3613
2020-05-16 05:15:00 | 5.318 | 345.0467 | 5.6973 | 330.0953 | 6.1827 | 337.456 | 6.6487 | 331.7827 | 20.88 | 882 | 91.2333 | 26.842
2020-05-16 05:30:00 | 5.7247 | 338.74 | 6.1273 | 323.1827 | 6.6727 | 331.2873 | 7.1627 | 324.8367 | 20.8933 | 882 | 91.5467 | 31.7593
2020-05-16 05:45:00 | 5.808 | 342.9667 | 6.1793 | 323.6733 | 6.7447 | 335.4207 | 7.1773 | 325.3273 | 20.8667 | 882 | 90.6067 | 30.2827
2020-05-16 06:00:00 | 5.9347 | 342.1867 | 6.2893 | 323.4827 | 6.7933 | 334.6593 | 7.22 | 325.138 | 20.7533 | 882 | 90.26 | 31.752
2020-05-16 06:15:00 | 5.5913 | 319.74 | 5.9093 | 323.6447 | 6.468 | 312.7047 | 6.8213 | 325.3 | 20.6667 | 883 | 90.6133 | 30.832
2020-05-16 06:30:00 | 5.7253 | 343.9667 | 6.0773 | 329.3773 | 6.634 | 336.3993 | 7.036 | 331.0613 | 20.8067 | 883 | 92.2467 | 31.3287
2020-05-16 06:45:00 | 5.502 | 346.46 | 5.894 | 325.992 | 6.434 | 338.8367 | 6.9073 | 327.6593 | 20.5 | 883 | 91.1133 | 29.698
2020-05-16 07:00:00 | 5.5947 | 350.9 | 6.034 | 325.492 | 6.4293 | 343.1793 | 7.0207 | 327.1567 | 20.2867 | 883.6667 | 86.3067 | 30.5353
2020-05-16 07:15:00 | 5.5493 | 347.78 | 6.02 | 326.378 | 6.4073 | 340.1287 | 7.048 | 328.0473 | 19.9 | 884.3333 | 83.52 | 31.7127
2020-05-16 07:30:00 | 6.294 | 351.0133 | 6.7693 | 327.082 | 7.204 | 343.2907 | 7.8433 | 328.7547 | 20.1867 | 885 | 83.2467 | 37.582
2020-05-16 07:45:00 | 6.802 | 347.5467 | 7.3213 | 326.6073 | 7.6807 | 339.9007 | 8.41 | 328.2767 | 20.36 | 885 | 80.858 | 43.622
2020-05-16 08:00:00 | 6.7313 | 279.78 | 7.2187 | 331.6733 | 7.6467 | 273.6247 | 8.3087 | 333.3673 | 20.4733 | 885.6667 | 79.3053 | 41.0073
2020-05-16 08:15:00 | 6.1013 | 326.9933 | 6.582 | 327.78 | 7.096 | 319.7987 | 7.7233 | 329.454 | 20.3667 | 886 | 78.1747 | 36.8353
2020-05-16 08:30:00 | 5.744 | 349.5333 | 6.166 | 331.1507 | 6.6213 | 341.8433 | 7.166 | 332.844 | 20.7667 | 886 | 77.2307 | 31.9933
2020-05-16 08:45:00 | 5.756 | 326.7667 | 6.1547 | 334.202 | 6.388 | 319.578 | 6.9633 | 335.9113 | 21.1467 | 886.3333 | 74.5227 | 29.0947
2020-05-16 09:00:00 | 5.4667 | 271.84 | 5.81 | 330.792 | 6.1447 | 265.8593 | 6.602 | 332.4827 | 21.3667 | 887 | 71.268 | 26.4567
2020-05-16 09:15:00 | 5.0107 | 321.62 | 5.2713 | 329.534 | 5.688 | 314.5447 | 5.9887 | 331.22 | 21.3467 | 887 | 68.7507 | 24.8927
2020-05-16 09:30:00 | 4.772 | 339.9467 | 5.0707 | 330.9353 | 5.4133 | 332.468 | 5.7967 | 332.628 | 21.4667 | 887.6667 | 64.3207 | 22.3987
2020-05-16 09:45:00 | 4.566 | 340.88 | 4.9273 | 329.604 | 5.2067 | 333.3807 | 5.7053 | 331.29 | 21.8667 | 888 | 60.7507 | 17.4673
2020-05-16 10:00:00 | 4.2913 | 321.12 | 4.616 | 307.5473 | 4.83 | 314.0553 | 5.2887 | 309.1207 | 22.2933 | 888 | 56.7447 | 13.6133
2020-05-16 10:15:00 | 4.0973 | 291.9733 | 4.362 | 327.7747 | 4.7613 | 285.5507 | 5.0713 | 329.448 | 22.8467 | 888 | 53.43 | 12.8867
2020-05-16 10:30:00 | 4.3733 | 297.1467 | 4.606 | 331.478 | 4.928 | 290.6093 | 5.2093 | 333.172 | 23.4067 | 888 | 50.1573 | 17.1547
2020-05-16 10:45:00 | 4.6607 | 338.94 | 5.09 | 268.9307 | 5.0187 | 331.4833 | 5.7313 | 270.306 | 23.64 | 888 | 46.6267 | 18.7793
2020-05-16 11:00:00 | 4.7953 | 335.8733 | 5.218 | 246.6573 | 5.3987 | 328.484 | 6.0213 | 247.9193 | 23.9533 | 888 | 44.1947 | 20.9873
2020-05-16 11:15:00 | 4.6547 | 319.2067 | 5.1133 | 222.7873 | 5.1887 | 312.184 | 5.9007 | 223.9267 | 24.46 | 888 | 41.2473 | 20.0333
2020-05-16 11:30:00 | 4.2467 | 317.88 | 4.612 | 223.87 | 4.832 | 310.886 | 5.356 | 225.0153 | 24.4867 | 888 | 40.746 | 21.11
2020-05-16 11:45:00 | 4.5487 | 252.8533 | 4.8553 | 289.2533 | 5.154 | 247.2907 | 5.5587 | 290.7313 | 24.8533 | 888 | 42.922 | 18.94
2020-05-16 12:00:00 | 4.0313 | 277.0933 | 4.3187 | 247.2113 | 4.5113 | 270.9967 | 4.9173 | 248.476 | 25.3733 | 888 | 41.9453 | 16.5633
2020-05-16 12:15:00 | 3.9227 | 318.4933 | 4.2307 | 288.934 | 4.3767 | 311.4873 | 4.832 | 290.4113 | 25.8267 | 888 | 39.422 | 12.9127
2020-05-16 12:30:00 | 3.6913 | 278.9267 | 3.8833 | 294.6513 | 4.024 | 250.3553 | 4.292 | 296.158 | 26.26 | 888 | 37.7867 | 11.7153
2020-05-16 12:45:00 | 3.2787 | 239.9467 | 3.3827 | 329.904 | 3.642 | 234.668 | 3.734 | 331.5913 | 26.7733 | 887.6667 | 35.4813 | 10.8047
2020-05-16 13:00:00 | 3.4053 | 107.32 | 3.626 | 221.668 | 3.9473 | 104.9593 | 4.2067 | 222.8007 | 27.4133 | 887 | 34.734 | 13.37
2020-05-16 13:15:00 | 3.4347 | 261.5533 | 3.6587 | 181.144 | 4.0653 | 255.7993 | 4.3107 | 182.0713 | 27.7 | 888 | 32.9667 | 13.5987
2020-05-16 13:30:00 | 3.8973 | 279.8 | 4.2167 | 229.1787 | 4.4627 | 273.6433 | 4.908 | 230.35 | 27.8733 | 887.3333 | 30.7393 | 14.18
2020-05-16 13:45:00 | 3.63 | 185.0133 | 3.9267 | 204.3047 | 4.2833 | 180.9427 | 4.6587 | 205.3493 | 28.1867 | 887 | 29.3953 | 15.9687
2020-05-16 14:00:00 | 3.798 | 227.0933 | 4.0713 | 121.8053 | 4.432 | 222.0967 | 4.764 | 122.4307 | 28.0667 | 887 | 29.11 | 14.3567
2020-05-16 14:15:00 | 4.4547 | 318.9267 | 4.6867 | 329.8007 | 5.004 | 311.9107 | 5.288 | 331.4873 | 28.0733 | 887 | 30.4027 | 14.9993
2020-05-16 14:30:00 | 4.0473 | 343.7533 | 4.2767 | 282.6947 | 4.8087 | 336.6073 | 5.0247 | 284.1387 | 27.7933 | 887 | 30.5607 | 14.1227
2020-05-16 14:45:00 | 3.7447 | 344.4867 | 4.0273 | 268.826 | 4.412 | 336.164 | 4.75 | 270.2 | 27.8867 | 886.6667 | 33.344 | 12.4687
2020-05-16 15:00:00 | 3.31 | 337.5133 | 3.4727 | 308.7927 | 3.5987 | 330.088 | 3.8247 | 310.3727 | 28.3 | 886 | 33.744 | 7.7747
2020-05-16 15:15:00 | 2.6293 | 250.5333 | 2.7407 | 258.3107 | 2.9753 | 245.022 | 3.0907 | 259.6307 | 28.5533 | 886 | 32.478 | 4.262
2020-05-16 15:30:00 | 2.544 | 206.8067 | 2.6613 | 224.796 | 3.0313 | 202.2573 | 3.1073 | 225.9447 | 28.9333 | 886 | 32.4653 | 3.1767
2020-05-16 15:45:00 | 2.3447 | 84.9267 | 2.5153 | 157.804 | 2.7873 | 83.058 | 2.9793 | 158.6107 | 29.0333 | 886 | 31.4387 | 2.936
2020-05-16 16:00:00 | 2.8153 | 149.6867 | 2.974 | 163.4607 | 3.328 | 146.394 | 3.4807 | 164.2973 | 28.86 | 885.3333 | 29.0147 | 3.596
2020-05-16 16:15:00 | 2.28 | 256.42 | 2.4493 | 203.0507 | 2.6913 | 250.1727 | 2.8927 | 204.0913 | 28.9333 | 885 | 29.9833 | 2.0213
2020-05-16 16:30:00 | 2.2573 | 269.3267 | 2.33 | 246.75 | 2.572 | 263.4993 | 2.622 | 247.8553 | 28.8133 | 885 | 30.5773 | 1.7947
2020-05-16 16:45:00 | 1.8033 | 98.6333 | 1.948 | 231.898 | 2.282 | 96.4627 | 2.4167 | 233.0827 | 28.7533 | 885 | 31.682 | 0.816
2020-05-16 17:00:00 | 1.552 | 148.3067 | 1.59 | 162.5907 | 1.6953 | 145.044 | 1.726 | 163.422 | 29.0867 | 885 | 31.962 | 0
2020-05-16 17:15:00 | 1.646 | 46.5667 | 1.792 | 142.5413 | 1.6727 | 45.5413 | 1.942 | 143.2687 | 28.9667 | 885 | 30.6093 | 0
2020-05-16 17:30:00 | 1.9547 | 65.4533 | 2.1107 | 122.6033 | 1.878 | 64.0127 | 2.2013 | 123.228 | 28.8733 | 884.3333 | 30.2573 | 0
2020-05-16 17:45:00 | 2.3167 | 171.2867 | 2.474 | 101.464 | 2.3233 | 167.5193 | 2.62 | 101.9813 | 28.9 | 884 | 30.4413 | 0.18133
2020-05-16 18:00:00 | 2.204 | 81.3267 | 2.3547 | 121.2387 | 2.3707 | 79.538 | 2.6107 | 121.8593 | 28.7267 | 884 | 30.074 | 0.154
2020-05-16 18:15:00 | 1.9593 | 147.6467 | 2.1247 | 294.8753 | 2.2633 | 144.3973 | 2.488 | 296.3813 | 28.8067 | 884 | 30.7867 | 0
2020-05-16 18:30:00 | 1.9753 | 101.7933 | 2.0967 | 332.298 | 2.1727 | 99.5547 | 2.3487 | 333.9973 | 28.5467 | 884 | 29.8073 | 0
2020-05-16 18:45:00 | 2.018 | 57.24 | 2.1653 | 308.4553 | 2.304 | 55.9813 | 2.5013 | 310.032 | 28.26 | 884 | 29.7313 | 0
2020-05-16 19:00:00 | 1.952 | 190.22 | 2.1 | 313.5733 | 2.3193 | 186.0367 | 2.49 | 315.176 | 28.04 | 883.3333 | 32.9433 | 0
2020-05-16 19:15:00 | 1.872 | 148.1333 | 2.0027 | 301.9947 | 2.1273 | 144.874 | 2.3033 | 303.5373 | 27.9533 | 883 | 34.408 | 0
2020-05-16 19:30:00 | 1.6793 | 100.24 | 1.7593 | 325.4 | 1.988 | 98.0333 | 2.0513 | 327.064 | 27.9733 | 883 | 33.2867 | 0
2020-05-16 19:45:00 | 1.706 | 45.7133 | 1.8267 | 306.61 | 2.0633 | 46.5467 | 2.186 | 308.1773 | 27.96 | 883 | 32.3927 | 0
2020-05-16 20:00:00 | 1.836 | 128.6333 | 1.978 | 284.9887 | 2.2593 | 125.8033 | 2.4087 | 286.446 | 27.8267 | 883 | 32.7067 | 0
2020-05-16 20:15:00 | 1.906 | 104.8667 | 2.0273 | 270.8933 | 2.3553 | 102.5593 | 2.4567 | 272.278 | 27.86 | 883 | 33.4227 | 0
2020-05-16 20:30:00 | 1.854 | 232.5333 | 1.9327 | 303.232 | 2.3067 | 227.4173 | 2.3253 | 304.782 | 27.8667 | 883 | 34.5767 | 0
2020-05-16 20:45:00 | 1.6 | 172.4533 | 1.6027 | 318.932 | 2.0493 | 168.658 | 1.93 | 320.5627 | 27.7867 | 883 | 35.296 | 0
2020-05-16 21:00:00 | 1.2827 | 163.1533 | 1.2387 | 304.536 | 1.7287 | 159.5653 | 1.5167 | 306.0927 | 27.6933 | 883 | 37.7373 | 0
2020-05-16 21:15:00 | 1.302 | 252.2133 | 1.3127 | 297.3907 | 1.732 | 246.664 | 1.628 | 298.9107 | 27.4733 | 883 | 40.5907 | 0
2020-05-16 21:30:00 | 1.582 | 290.7933 | 1.638 | 294.0133 | 2.188 | 284.396 | 2.1193 | 295.516 | 27.22 | 883 | 42.9413 | 0
2020-05-16 21:45:00 | 1.8933 | 274 | 1.9053 | 299.4173 | 2.5367 | 267.9727 | 2.3747 | 300.948 | 26.7733 | 883 | 43.844 | 0.56
2020-05-16 22:00:00 | 2.0847 | 279.8 | 2.1187 | 277.9927 | 2.544 | 273.646 | 2.474 | 279.4133 | 27.0067 | 883 | 44.07 | 0.28
2020-05-16 22:15:00 | 2.136 | 291.28 | 2.1767 | 300.122 | 2.69 | 284.8713 | 2.6087 | 301.6553 | 26.52 | 883 | 43.7627 | 0.63467
2020-05-16 22:30:00 | 2.382 | 302.3133 | 2.448 | 314.2447 | 2.9453 | 295.6633 | 2.9107 | 315.8513 | 25.6867 | 883 | 43.1653 | 0.946
2020-05-16 22:45:00 | 2.0727 | 304.9533 | 2.118 | 310.3727 | 2.6113 | 298.244 | 2.54 | 311.9587 | 25.7867 | 883 | 45.4313 | 0.406
2020-05-16 23:00:00 | 1.66 | 163.6 | 1.5987 | 312.828 | 2.1273 | 159.9987 | 1.8767 | 314.43 | 26.2067 | 883 | 48.7867 | 0
2020-05-16 23:15:00 | 0.88733 | 161.8133 | 0.91533 | 229.5947 | 1.132 | 158.2027 | 1.1007 | 230.7687 | 25.82 | 883 | 46.8307 | 0
2020-05-16 23:30:00 | 1.5347 | 118.5067 | 1.5907 | 150.906 | 1.5093 | 115.8973 | 1.6247 | 151.6773 | 24.8333 | 883 | 51.488 | 0
2020-05-16 23:45:00 | 1.8387 | 123 | 1.9733 | 120.5413 | 1.93 | 120.294 | 2.1627 | 121.1573 | 25.2867 | 883 | 50.6813 | 0