## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-17 00:00:00 | 2.3314 | 120.1643 | 2.4643 | 114.6971 | 2.7729 | 117.5207 | 2.8986 | 115.285 | 25.6357 | 883 | 43.7964 | 0.15867
2020-05-17 00:15:00 | 1.88 | 94.46 | 1.8633 | 99.202 | 2.228 | 92.382 | 2.098 | 99.7093 | 25.3933 | 883 | 35.812 | 1.1627
2020-05-17 00:30:00 | 1.9373 | 97.2667 | 1.95 | 102.6513 | 2.28 | 95.1267 | 2.206 | 103.1753 | 25.4667 | 883 | 34.944 | 0.97267
2020-05-17 00:45:00 | 1.7607 | 119.8267 | 1.914 | 111.3807 | 1.9967 | 117.1913 | 2.22 | 111.9507 | 25.46 | 883 | 43.1347 | 0.064667
2020-05-17 01:00:00 | 1.4633 | 111.56 | 1.5607 | 112.02 | 1.464 | 109.1053 | 1.648 | 112.5907 | 25.3533 | 883 | 46.152 | 0
2020-05-17 01:15:00 | 0.88733 | 95.7933 | 0.92933 | 120.718 | 0.892 | 93.6853 | 0.97267 | 121.3353 | 25.3133 | 883 | 54.7373 | 0
2020-05-17 01:30:00 | 0.894 | 144.2933 | 0.878 | 157.2173 | 1.1367 | 141.12 | 1.0367 | 158.0213 | 24.82 | 882.3333 | 54.4947 | 0
2020-05-17 01:45:00 | 1.0127 | 141.08 | 0.97133 | 144.3187 | 0.98733 | 137.9773 | 0.91667 | 145.0587 | 24.76 | 882 | 53.148 | 0.12533
2020-05-17 02:00:00 | 1.322 | 141.28 | 1.3267 | 145.4347 | 1.2933 | 138.1727 | 1.3147 | 146.1787 | 24.8 | 882 | 54.644 | 0
2020-05-17 02:15:00 | 1.5313 | 141.94 | 1.5447 | 140.0953 | 1.5287 | 138.818 | 1.5533 | 140.8113 | 24.78 | 882 | 53.8907 | 0
2020-05-17 02:30:00 | 1.3667 | 130.8533 | 1.388 | 142.4033 | 1.3813 | 127.9753 | 1.4173 | 143.1307 | 24.62 | 882 | 53.5213 | 0
2020-05-17 02:45:00 | 0.824 | 147.52 | 0.84733 | 159.2427 | 0.936 | 144.274 | 0.94933 | 160.058 | 24.42 | 882 | 57.4167 | 0
2020-05-17 03:00:00 | 0.90067 | 156.6733 | 0.90667 | 171.9987 | 1.0413 | 153.226 | 1.0107 | 172.8767 | 23.8933 | 882 | 60.1733 | 0
2020-05-17 03:15:00 | 0.64333 | 166.6733 | 0.61667 | 167.7787 | 0.796 | 163.0073 | 0.702 | 168.6353 | 23.78 | 881 | 60.8513 | 0
2020-05-17 03:30:00 | 0.58733 | 238.7667 | 0.59467 | 163.19 | 0.85467 | 233.514 | 0.78867 | 164.024 | 23.76 | 881 | 61.472 | 0
2020-05-17 03:45:00 | 0.66133 | 175.9933 | 0.684 | 252.4867 | 1.262 | 172.1213 | 1.1273 | 253.7773 | 23.5733 | 881 | 61.014 | 0
2020-05-17 04:00:00 | 0.894 | 191.74 | 0.914 | 172.356 | 0.95867 | 187.8613 | 0.97933 | 173.2373 | 23.5867 | 881 | 59.7047 | 0.13467
2020-05-17 04:15:00 | 0.66933 | 277.4 | 0.68333 | 203.058 | 0.81067 | 271.2973 | 0.8 | 204.098 | 23.3667 | 881 | 64.1993 | 0.232
2020-05-17 04:30:00 | 0.63733 | 269.1533 | 0.68733 | 216.7447 | 0.90667 | 263.2327 | 0.92067 | 217.8513 | 22.8133 | 881 | 70.26 | 0.186
2020-05-17 04:45:00 | 0.70267 | 304 | 0.672 | 195.228 | 0.742 | 297.3133 | 0.67 | 196.226 | 22.8133 | 881 | 69.9733 | 0.56133
2020-05-17 05:00:00 | 0.42867 | 310.9533 | 0.464 | 171.9587 | 0.53667 | 304.1113 | 0.572 | 172.8367 | 22.3467 | 881 | 69.2227 | 0.59267
2020-05-17 05:15:00 | 0.63667 | 238.66 | 0.71733 | 196.1147 | 1.13 | 233.41 | 1.1393 | 197.1173 | 22.3067 | 881 | 73.1587 | 0.84933
2020-05-17 05:30:00 | 0.84133 | 281.74 | 0.86667 | 189.256 | 1.2933 | 275.5427 | 1.208 | 190.224 | 22.4067 | 881 | 72.02 | 1.1153
2020-05-17 05:45:00 | 0.94267 | 237.2467 | 0.942 | 220.91 | 1.4247 | 232.028 | 1.2833 | 222.0393 | 22.3467 | 881 | 71.3227 | 1.0867
2020-05-17 06:00:00 | 1.1993 | 212.32 | 1.2607 | 223.46 | 1.6627 | 207.6493 | 1.642 | 224.6027 | 22.2867 | 881 | 71.3007 | 1.272
2020-05-17 06:15:00 | 0.786 | 216.9733 | 0.79867 | 202.146 | 1.1893 | 212.2007 | 1.096 | 203.18 | 21.9133 | 881 | 68.276 | 0.75867
2020-05-17 06:30:00 | 0.77467 | 255.2267 | 0.77133 | 292.3493 | 1.238 | 249.612 | 1.0953 | 293.8447 | 21.5867 | 881 | 70.3313 | 0.49467
2020-05-17 06:45:00 | 0.80333 | 278.6867 | 0.81133 | 249.878 | 1.1353 | 272.5567 | 1.052 | 251.156 | 22.0933 | 881.3333 | 68.4067 | 0.424
2020-05-17 07:00:00 | 0.76867 | 178.78 | 0.74333 | 220.4147 | 1.0953 | 174.846 | 0.94867 | 221.542 | 22.4933 | 882 | 66.736 | 0.43867
2020-05-17 07:15:00 | 1.3147 | 274.1 | 1.3427 | 306.51 | 1.8933 | 268.0707 | 1.778 | 308.078 | 21.88 | 882 | 68.0433 | 0.42867
2020-05-17 07:30:00 | 1.1293 | 319.3067 | 1.1707 | 241.5 | 1.768 | 312.2833 | 1.662 | 242.736 | 22.0333 | 882 | 67.9793 | 0.68933
2020-05-17 07:45:00 | 1.0187 | 266.5533 | 1.0673 | 212.5647 | 1.5907 | 260.6887 | 1.516 | 213.65 | 22.9867 | 883 | 67.4853 | 0.22
2020-05-17 08:00:00 | 0.98133 | 297.5667 | 1.0113 | 221.2453 | 1.56 | 291.02 | 1.4447 | 222.374 | 23.1533 | 883 | 65.4 | 0.236
2020-05-17 08:15:00 | 1.7907 | 283.0933 | 1.79 | 316.664 | 2.5373 | 276.8653 | 2.316 | 318.2813 | 21.6667 | 883 | 65.2287 | 0.566
2020-05-17 08:30:00 | 1.66 | 271.1867 | 1.6653 | 316.5847 | 2.286 | 265.2213 | 2.118 | 318.202 | 22.0933 | 883 | 67.4153 | 0.64267
2020-05-17 08:45:00 | 1.118 | 282.2933 | 1.1627 | 278.2807 | 1.6793 | 276.0827 | 1.602 | 279.704 | 22.8467 | 883 | 67.4773 | 0
2020-05-17 09:00:00 | 0.97867 | 190.3067 | 1.0653 | 224.3267 | 1.3753 | 186.12 | 1.4247 | 225.4733 | 24.6533 | 883.6667 | 65.1293 | 0
2020-05-17 09:15:00 | 0.94133 | 167.2667 | 1.012 | 269.4447 | 1.2887 | 163.5867 | 1.3247 | 270.8227 | 24.3333 | 884 | 62.9133 | 0
2020-05-17 09:30:00 | 0.96667 | 116.4733 | 1.0333 | 264.7793 | 1.3027 | 113.91 | 1.332 | 266.13 | 24.6733 | 884 | 61.104 | 0
2020-05-17 09:45:00 | 0.95467 | 171.5733 | 0.97533 | 221.1713 | 1.2453 | 167.7993 | 1.2007 | 222.3013 | 24.68 | 884 | 61.046 | 0
2020-05-17 10:00:00 | 0.81067 | 98.6067 | 0.84467 | 231.8647 | 1.024 | 96.436 | 1.0247 | 233.0493 | 25.44 | 884 | 61.0973 | 0
2020-05-17 10:15:00 | 1.0733 | 180.06 | 1.0667 | 95.3147 | 1.1467 | 176.0987 | 1.1133 | 95.8027 | 25.58 | 884 | 59.37 | 0
2020-05-17 10:30:00 | 1.216 | 141.8667 | 1.2153 | 116.1467 | 1.3187 | 138.7453 | 1.2873 | 116.74 | 25.4933 | 884 | 57.5653 | 0
2020-05-17 10:45:00 | 1.0353 | 114.3267 | 1.0467 | 133.856 | 1.3773 | 111.8107 | 1.3007 | 134.54 | 25.88 | 884 | 54.692 | 0
2020-05-17 11:00:00 | 1.7413 | 196.0067 | 1.7007 | 136.0847 | 1.972 | 191.694 | 1.8293 | 136.78 | 25.84 | 884 | 50.7753 | 0
2020-05-17 11:15:00 | 2.028 | 168.0933 | 2.0273 | 144.0787 | 2.1487 | 164.396 | 2.114 | 144.8153 | 26.1333 | 884 | 49.216 | 0
2020-05-17 11:30:00 | 2.408 | 145.6067 | 2.422 | 137.044 | 2.8233 | 142.4033 | 2.7333 | 137.744 | 26.0267 | 884 | 49.4113 | 0.44067
2020-05-17 11:45:00 | 2.432 | 150.3 | 2.4913 | 129.9107 | 2.8053 | 146.992 | 2.8113 | 130.574 | 26.2667 | 884 | 49.3993 | 1.016
2020-05-17 12:00:00 | 2.474 | 169.28 | 2.5373 | 122.7327 | 2.832 | 165.554 | 2.8487 | 123.36 | 26.7133 | 884 | 46.176 | 0.89667
2020-05-17 12:15:00 | 2.6907 | 173.84 | 2.7187 | 143.356 | 3.1007 | 170.0153 | 3.036 | 144.088 | 27.22 | 884 | 42.5873 | 2.1167
2020-05-17 12:30:00 | 2.53 | 174.0467 | 2.5493 | 135.2633 | 2.7067 | 187.4173 | 2.7033 | 135.9553 | 27.64 | 884 | 40.9293 | 3.006
2020-05-17 12:45:00 | 2.6287 | 174.64 | 2.74 | 141.5187 | 2.8987 | 170.798 | 3.03 | 142.2393 | 28.04 | 883 | 40.0833 | 3.2913
2020-05-17 13:00:00 | 2.5767 | 173.6933 | 2.5747 | 142.5387 | 2.8207 | 169.8727 | 2.7493 | 143.2687 | 28.4867 | 883 | 39.6753 | 4.156
2020-05-17 13:15:00 | 2.6193 | 162.8467 | 2.6813 | 161.656 | 2.6493 | 159.2633 | 2.7607 | 162.4833 | 29.0467 | 883 | 38.0527 | 3.828
2020-05-17 13:30:00 | 2.4587 | 171.6933 | 2.5873 | 138.4247 | 2.738 | 167.9167 | 2.9027 | 139.1327 | 29.46 | 883 | 36.928 | 3.1093
2020-05-17 13:45:00 | 2.7673 | 205.14 | 2.7907 | 132.9553 | 2.924 | 202.4333 | 2.9327 | 133.636 | 29.7333 | 883 | 35.496 | 3.344
2020-05-17 14:00:00 | 2.9773 | 161.26 | 3.0873 | 141.7773 | 3.222 | 157.7127 | 3.3633 | 142.5027 | 30.22 | 883 | 33.096 | 3.3633
2020-05-17 14:15:00 | 2.574 | 183.5667 | 2.7767 | 169.084 | 3.0147 | 179.5273 | 3.272 | 169.9473 | 30.6333 | 883 | 32.4573 | 4.0293
2020-05-17 14:30:00 | 3.1413 | 184.08 | 3.2407 | 142.9053 | 3.4027 | 180.0313 | 3.522 | 143.636 | 30.6 | 883 | 28.3893 | 2.9173
2020-05-17 14:45:00 | 2.7787 | 182.56 | 2.9053 | 141.1127 | 2.9027 | 178.5433 | 3.1107 | 141.8333 | 30.5667 | 883 | 26.442 | 2.7873
2020-05-17 15:00:00 | 2.748 | 184.6 | 2.8753 | 131.652 | 3.0467 | 180.5393 | 3.2053 | 132.3253 | 30.8867 | 883 | 25.4413 | 1.9807
2020-05-17 15:15:00 | 3.266 | 184.1867 | 3.398 | 135.394 | 3.614 | 180.134 | 3.7627 | 136.0867 | 30.9667 | 883 | 24.6407 | 3.4533
2020-05-17 15:30:00 | 2.7653 | 172.1133 | 2.85 | 149.5427 | 2.972 | 168.326 | 3.0793 | 150.3073 | 31.0333 | 882.3333 | 25.3967 | 2.93
2020-05-17 15:45:00 | 2.6007 | 159.3867 | 2.73 | 135.7547 | 2.9527 | 155.88 | 3.098 | 136.4467 | 31.4133 | 882 | 26.006 | 1.7907
2020-05-17 16:00:00 | 3.1207 | 170.54 | 3.1887 | 131.8273 | 3.4967 | 166.7887 | 3.5187 | 132.5007 | 31.1533 | 882 | 27.0287 | 2.162
2020-05-17 16:15:00 | 2.352 | 172.5 | 2.4053 | 135.8507 | 2.6787 | 168.7047 | 2.684 | 136.546 | 31.4867 | 882 | 27.628 | 0.92267
2020-05-17 16:30:00 | 2.4107 | 176.0533 | 2.4167 | 137.4093 | 2.6533 | 172.1807 | 2.5953 | 138.1107 | 31.54 | 882 | 27.9367 | 0.54867
2020-05-17 16:45:00 | 1.952 | 199.9133 | 2.0173 | 143.382 | 1.9813 | 195.5153 | 2.0993 | 144.1153 | 31.6933 | 882 | 27.9307 | 0.085333
2020-05-17 17:00:00 | 2.2687 | 186.2533 | 2.3887 | 174.0187 | 2.228 | 181.5027 | 2.4693 | 174.9087 | 31.7067 | 882 | 28.3847 | 0.578
2020-05-17 17:15:00 | 1.5553 | 173.86 | 1.7527 | 151.3233 | 2.04 | 170.0347 | 2.2713 | 152.0967 | 32.1533 | 882 | 27.2387 | 0.13
2020-05-17 17:30:00 | 1.9467 | 183.7 | 2.0147 | 140.1473 | 2.2047 | 179.6593 | 2.2613 | 140.8647 | 31.92 | 882 | 26.1833 | 0
2020-05-17 17:45:00 | 1.2487 | 201 | 1.3447 | 172.33 | 1.3267 | 196.5773 | 1.4867 | 173.21 | 32.06 | 882 | 26.6473 | 0
2020-05-17 18:00:00 | 1.6373 | 180.58 | 1.6767 | 167.956 | 1.746 | 180.6947 | 1.804 | 168.8127 | 32.1133 | 882 | 26.12 | 0
2020-05-17 18:15:00 | 1.5927 | 219.02 | 1.6607 | 174.7293 | 1.706 | 214.2007 | 1.806 | 175.6233 | 31.9533 | 881 | 26.488 | 0
2020-05-17 18:30:00 | 1.376 | 188.3333 | 1.5467 | 207.088 | 1.3547 | 184.19 | 1.6873 | 208.1467 | 31.8733 | 881 | 25.382 | 0
2020-05-17 18:45:00 | 1.934 | 201.4733 | 2.066 | 204.2847 | 2.196 | 197.0413 | 2.372 | 205.3287 | 31.6667 | 881 | 24.6647 | 0
2020-05-17 19:00:00 | 1.8947 | 210.56 | 2.0133 | 198.1873 | 2.138 | 205.9287 | 2.2933 | 199.2007 | 31.4133 | 881 | 25.8213 | 0
2020-05-17 19:15:00 | 2.254 | 201.3533 | 2.386 | 191.4147 | 2.5033 | 196.922 | 2.6847 | 192.3927 | 31.14 | 881 | 27.084 | 0.81467
2020-05-17 19:30:00 | 2.8373 | 190.4267 | 2.9873 | 183.9687 | 3.088 | 186.238 | 3.3013 | 184.9087 | 30.7867 | 880.3333 | 27.4673 | 3.6227
2020-05-17 19:45:00 | 2.4467 | 187.0333 | 2.69 | 184.6467 | 2.9167 | 182.9193 | 3.2407 | 185.59 | 30.5733 | 880 | 26.9267 | 5.124
2020-05-17 20:00:00 | 2.606 | 189.98 | 2.8107 | 201.4947 | 2.8213 | 185.7993 | 3.1467 | 202.5233 | 30.3733 | 880 | 26.6387 | 6.226
2020-05-17 20:15:00 | 2.6693 | 185.0667 | 2.7387 | 189.0987 | 2.9147 | 180.9953 | 2.9767 | 190.066 | 30.1133 | 880 | 27.3387 | 8.2847
2020-05-17 20:30:00 | 2.8167 | 176.0333 | 2.79 | 173.7573 | 3.0033 | 172.1613 | 2.9073 | 174.6467 | 29.78 | 880 | 28.608 | 8.8887
2020-05-17 20:45:00 | 2.418 | 170.0267 | 2.4167 | 175.6487 | 2.5947 | 166.2087 | 2.528 | 176.5467 | 29.3333 | 880 | 29.5627 | 8.8967
2020-05-17 21:00:00 | 2.7167 | 166.1467 | 2.758 | 172.6687 | 3.106 | 162.4907 | 3.0767 | 173.5513 | 29.02 | 880.6667 | 30.8147 | 8.3953
2020-05-17 21:15:00 | 2.4027 | 160.6067 | 2.5013 | 158.436 | 2.7567 | 157.0733 | 2.844 | 159.246 | 28.7667 | 881 | 34.2793 | 6.8987
2020-05-17 21:30:00 | 2.3473 | 141.92 | 2.4253 | 150.7747 | 2.7033 | 138.7973 | 2.75 | 151.5453 | 28.6267 | 881 | 35.5647 | 5.13
2020-05-17 21:45:00 | 2.4987 | 143.9467 | 2.6153 | 144.86 | 2.8587 | 140.78 | 2.9767 | 145.6027 | 28.3933 | 881 | 37.0173 | 4.76
2020-05-17 22:00:00 | 2.4987 | 144 | 2.616 | 144.796 | 2.8793 | 140.8327 | 2.9913 | 145.5367 | 28.0667 | 881 | 38.8167 | 5.2433
2020-05-17 22:15:00 | 2.6633 | 146.16 | 2.7867 | 144.7827 | 3.034 | 142.9433 | 3.166 | 145.5227 | 27.8267 | 881 | 40.3527 | 6.6667
2020-05-17 22:30:00 | 2.646 | 138.18 | 2.7987 | 139.5147 | 2.9393 | 135.1407 | 3.1453 | 140.228 | 27.58 | 881 | 42.2673 | 4.8807
2020-05-17 22:45:00 | 2.7187 | 139.2 | 2.8687 | 131.906 | 3.0113 | 136.1393 | 3.2147 | 132.5793 | 27.4067 | 881 | 42.7587 | 4.8847
2020-05-17 23:00:00 | 2.9013 | 133.4333 | 3.0347 | 131.4627 | 3.1913 | 130.4973 | 3.3607 | 132.1347 | 27.36 | 881 | 43.778 | 6.2147
2020-05-17 23:15:00 | 3.0533 | 130.38 | 3.1813 | 125.4247 | 3.3867 | 127.5127 | 3.5347 | 126.0667 | 27.14 | 881 | 45.4253 | 7.0593
2020-05-17 23:30:00 | 3.2907 | 139.6467 | 3.4307 | 132.388 | 3.622 | 136.5753 | 3.7933 | 133.0653 | 26.8333 | 881 | 46.146 | 9.7073
2020-05-17 23:45:00 | 3.188 | 139.2733 | 3.3627 | 135.1593 | 3.638 | 136.208 | 3.8407 | 135.8507 | 26.6133 | 881 | 46.5253 | 9.268