## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-18 00:00:00 | 3.515 | 141.5571 | 3.74 | 134.195 | 4.0314 | 138.4436 | 4.3114 | 134.8807 | 26.4143 | 881 | 46.75 | 10.14
2020-05-18 00:15:00 | 3.402 | 134.2933 | 3.5413 | 131.508 | 3.8267 | 131.3393 | 3.9707 | 132.18 | 26.3333 | 881 | 47.604 | 9.4253
2020-05-18 00:30:00 | 3.49 | 139.96 | 3.6833 | 128.874 | 3.9213 | 136.8613 | 4.1627 | 129.5333 | 26.2133 | 881 | 49.1107 | 9.1793
2020-05-18 00:45:00 | 3.4127 | 143.5067 | 3.626 | 132.2007 | 3.8507 | 140.3507 | 4.128 | 132.8753 | 26.08 | 881 | 49.9373 | 8.01
2020-05-18 01:00:00 | 3.288 | 140.6267 | 3.458 | 131.972 | 3.7527 | 137.5853 | 3.946 | 132.6447 | 25.9933 | 881 | 50.3847 | 6.8487
2020-05-18 01:15:00 | 2.8827 | 132.4333 | 2.9507 | 122.726 | 3.2813 | 129.52 | 3.298 | 123.3533 | 26.0267 | 881 | 49.998 | 4.4953
2020-05-18 01:30:00 | 2.446 | 127.0133 | 2.534 | 125.048 | 2.9047 | 124.4347 | 2.9367 | 125.6853 | 25.9733 | 881 | 50.25 | 2.428
2020-05-18 01:45:00 | 2.392 | 125.76 | 2.5193 | 126.286 | 2.7033 | 122.9933 | 2.852 | 126.9313 | 25.8267 | 881 | 50.382 | 1.6507
2020-05-18 02:00:00 | 1.986 | 125.9867 | 2.156 | 117.38 | 2.1187 | 123.2127 | 2.404 | 117.9813 | 25.7 | 881 | 50.5853 | 0.65133
2020-05-18 02:15:00 | 1.2393 | 100.4733 | 1.3207 | 67.1493 | 1.4033 | 98.2633 | 1.5107 | 67.4933 | 25.5067 | 881 | 52.268 | 0
2020-05-18 02:30:00 | 1.5433 | 71.62 | 1.644 | 66.458 | 1.5873 | 70.0447 | 1.7673 | 66.7987 | 25.26 | 881 | 55.1587 | 0
2020-05-18 02:45:00 | 1.59 | 52.9867 | 1.608 | 41.9053 | 1.676 | 51.8213 | 1.6853 | 42.118 | 25.0667 | 880.6667 | 55.7633 | 0
2020-05-18 03:00:00 | 1.5733 | 51.64 | 1.5733 | 90.7513 | 1.7887 | 50.504 | 1.73 | 91.216 | 24.6333 | 880 | 55.8573 | 0
2020-05-18 03:15:00 | 2.1167 | 165.74 | 2.0873 | 184.672 | 2.7013 | 162.0947 | 2.4767 | 185.6173 | 24.68 | 880 | 56.6973 | 0.11333
2020-05-18 03:30:00 | 2.1687 | 211.3 | 2.2267 | 253.184 | 2.7333 | 206.6507 | 2.6807 | 254.4793 | 24.7533 | 880 | 57.2353 | 0.49133
2020-05-18 03:45:00 | 2.5007 | 324.1867 | 2.5967 | 309.4133 | 3.2053 | 317.054 | 3.1847 | 310.9953 | 24.42 | 880 | 56.8407 | 2.116
2020-05-18 04:00:00 | 3.9513 | 342.6667 | 4.098 | 323.784 | 5.0153 | 335.128 | 4.9887 | 325.438 | 22.8867 | 880 | 61.6407 | 11.9327
2020-05-18 04:15:00 | 4.89 | 346.9667 | 5.242 | 332.708 | 5.9413 | 339.332 | 6.3067 | 334.4093 | 22.7533 | 880 | 64.3613 | 21.1853
2020-05-18 04:30:00 | 5.1473 | 354.14 | 5.5173 | 329.8073 | 6.0047 | 346.3493 | 6.4587 | 331.4947 | 22.9467 | 880 | 63.8727 | 23.5747
2020-05-18 04:45:00 | 5.2 | 328.8267 | 5.492 | 333.5567 | 6.0913 | 321.5933 | 6.3873 | 335.2633 | 22.4133 | 880 | 63.236 | 23.9
2020-05-18 05:00:00 | 5.4847 | 277.7067 | 5.7993 | 331.2933 | 6.2727 | 271.5967 | 6.6387 | 332.9873 | 22.0933 | 880 | 64.0913 | 27.1327
2020-05-18 05:15:00 | 5.4347 | 323.2667 | 5.682 | 325.2827 | 6.352 | 316.156 | 6.5567 | 326.9453 | 22.1667 | 880 | 64.1647 | 26.4567
2020-05-18 05:30:00 | 5.668 | 336.84 | 6.0127 | 325.7447 | 6.48 | 329.4287 | 6.8973 | 327.4113 | 22.38 | 880.6667 | 65.1313 | 28.1767
2020-05-18 05:45:00 | 6.0313 | 341.72 | 6.4047 | 324.044 | 6.9147 | 334.202 | 7.3647 | 325.7 | 22.44 | 881 | 65.3507 | 35.1947
2020-05-18 06:00:00 | 6.0273 | 343.6133 | 6.396 | 328.7247 | 6.9487 | 335.8187 | 7.3873 | 330.4067 | 22.4533 | 881 | 66.1873 | 37.2013
2020-05-18 06:15:00 | 6.4973 | 346.56 | 6.8553 | 331.542 | 7.292 | 338.9353 | 7.74 | 333.238 | 22.64 | 881 | 67.626 | 42.266
2020-05-18 06:30:00 | 6.6787 | 322.7067 | 7.0987 | 328.2167 | 7.4453 | 315.6067 | 8.0233 | 329.8953 | 22.6133 | 881 | 67.4727 | 46.414
2020-05-18 06:45:00 | 7.068 | 352.68 | 7.5607 | 329.064 | 7.8913 | 344.9213 | 8.592 | 330.7467 | 22.3533 | 881 | 67.07 | 50.4893
2020-05-18 07:00:00 | 7.4267 | 327.4 | 7.9327 | 328.172 | 8.2193 | 320.1967 | 8.954 | 329.8487 | 22.0267 | 881 | 66.2953 | 52.82
2020-05-18 07:15:00 | 7.612 | 349.9467 | 8.1333 | 331.6513 | 8.3907 | 342.248 | 9.1527 | 333.3493 | 21.9933 | 882 | 63.8473 | 54.458
2020-05-18 07:30:00 | 7.86 | 306.9733 | 8.3513 | 335.3547 | 8.616 | 300.22 | 9.33 | 337.0707 | 21.88 | 882 | 64.8453 | 56.354
2020-05-18 07:45:00 | 8.0113 | 260.16 | 8.54 | 332.1607 | 8.7787 | 254.4347 | 9.5647 | 333.8593 | 21.6733 | 882.3333 | 63.95 | 57.846
2020-05-18 08:00:00 | 8.42 | 307.44 | 9.0047 | 334.7953 | 9.1673 | 300.676 | 10.0653 | 336.5073 | 21.6467 | 883 | 62.922 | 58.8513
2020-05-18 08:15:00 | 8.46 | 328.04 | 9.1153 | 333.042 | 9.19 | 320.8227 | 10.2227 | 334.7447 | 21.4933 | 883 | 57.854 | 58.1487
2020-05-18 08:30:00 | 8.4527 | 345.4733 | 9.0333 | 329.4233 | 9.1593 | 337.8713 | 10.0527 | 331.1053 | 21.6733 | 883 | 50.5233 | 58.0293
2020-05-18 08:45:00 | 8.404 | 300.9733 | 8.926 | 326.62 | 8.8567 | 294.3513 | 9.7227 | 328.2893 | 21.6933 | 883 | 43.1847 | 58.31
2020-05-18 09:00:00 | 8.3947 | 345.08 | 9.0093 | 324.3293 | 8.906 | 337.4887 | 9.924 | 325.9893 | 21.9133 | 883.6667 | 40.312 | 59.3867
2020-05-18 09:15:00 | 8.038 | 323.9267 | 8.618 | 326.1887 | 8.594 | 316.8 | 9.5327 | 327.8567 | 22.2467 | 884 | 36.6327 | 58.4387
2020-05-18 09:30:00 | 8.0347 | 342.68 | 8.5867 | 328.1787 | 8.6513 | 335.1407 | 9.5187 | 329.856 | 22.4 | 884 | 34.4127 | 55.5913
2020-05-18 09:45:00 | 8.1287 | 341.3533 | 8.6713 | 325.5367 | 8.7593 | 333.8447 | 9.6033 | 327.2007 | 22.6467 | 884.3333 | 33.118 | 54.926
2020-05-18 10:00:00 | 7.606 | 335.72 | 8.18 | 306.2627 | 8.3933 | 328.3347 | 9.254 | 307.832 | 22.94 | 885 | 31.4487 | 51.1447
2020-05-18 10:15:00 | 7.6013 | 336.7267 | 8.1253 | 328.0593 | 8.5353 | 329.3187 | 9.262 | 329.7367 | 23.16 | 885 | 30.482 | 49.726
2020-05-18 10:30:00 | 6.9413 | 336.8533 | 7.4987 | 306.2113 | 7.7013 | 329.4427 | 8.5367 | 307.7767 | 23.52 | 885 | 30.45 | 46.1267
2020-05-18 10:45:00 | 6.5713 | 316.1867 | 7.0567 | 329.274 | 7.3173 | 309.23 | 8.03 | 330.9567 | 23.8867 | 885 | 29.9527 | 43.6173
2020-05-18 11:00:00 | 6.4447 | 296.82 | 6.898 | 310.9127 | 7.33 | 290.29 | 7.94 | 312.5027 | 24.1267 | 885 | 30.0073 | 41.2247
2020-05-18 11:15:00 | 5.656 | 315.4267 | 6.1393 | 269.954 | 6.4853 | 308.4867 | 7.1633 | 271.3333 | 24.5667 | 885 | 29.272 | 35.83
2020-05-18 11:30:00 | 5.6287 | 334.7867 | 6.068 | 310.8353 | 6.4367 | 327.4213 | 7.036 | 312.4233 | 24.7133 | 885 | 29.3153 | 31.2307
2020-05-18 11:45:00 | 5.2373 | 316.66 | 5.6207 | 312.602 | 6.1467 | 309.694 | 6.61 | 314.2007 | 25.02 | 885 | 28.356 | 28.7667
2020-05-18 12:00:00 | 5.3867 | 334.9 | 5.8147 | 329.1747 | 6.1713 | 327.5307 | 6.7553 | 330.8587 | 25.2667 | 885 | 28.0547 | 27.066
2020-05-18 12:15:00 | 4.816 | 312.3067 | 5.1933 | 296.7513 | 5.5673 | 305.4367 | 6.0633 | 298.27 | 25.5733 | 885 | 26.7427 | 25.0727
2020-05-18 12:30:00 | 4.76 | 342.5867 | 5.1273 | 305.5533 | 5.5233 | 335.05 | 6.0033 | 307.1153 | 25.94 | 885 | 26.51 | 23.8047
2020-05-18 12:45:00 | 4.944 | 314.06 | 5.354 | 295.5713 | 5.6873 | 307.15 | 6.248 | 297.082 | 26.1333 | 885 | 26.2313 | 25.0093
2020-05-18 13:00:00 | 4.7613 | 313.78 | 5.1433 | 309.1653 | 5.4947 | 306.8773 | 6.0073 | 310.746 | 26.5533 | 884.3333 | 25.9973 | 21.7927
2020-05-18 13:15:00 | 4.51 | 320.0533 | 4.8753 | 327.722 | 5.3287 | 313.012 | 5.7827 | 329.3967 | 26.7733 | 884 | 25.9413 | 18.3373
2020-05-18 13:30:00 | 4.2393 | 298.2333 | 4.4993 | 304.3467 | 4.848 | 291.6713 | 5.1653 | 305.904 | 26.9 | 884 | 25.9653 | 14.89
2020-05-18 13:45:00 | 4.0033 | 335.9667 | 4.34 | 260.7287 | 4.6167 | 328.5767 | 5.0767 | 262.062 | 27.3067 | 884 | 25.71 | 11.3573
2020-05-18 14:00:00 | 3.9613 | 341.18 | 4.2627 | 306.942 | 4.59 | 333.674 | 4.9847 | 308.512 | 27.5133 | 884 | 25.4553 | 10.1213
2020-05-18 14:15:00 | 3.6273 | 271.8867 | 3.8647 | 299.9533 | 4.2407 | 265.9033 | 4.5153 | 301.4867 | 27.7 | 883.6667 | 25.2133 | 8.736
2020-05-18 14:30:00 | 3.576 | 337.0933 | 3.7807 | 329.788 | 4.1447 | 329.6767 | 4.3727 | 331.4747 | 27.9533 | 883 | 25.4253 | 7.392
2020-05-18 14:45:00 | 3.244 | 270.88 | 3.5067 | 312.496 | 4.028 | 264.92 | 4.3 | 314.096 | 28.52 | 883 | 25.3513 | 7.206
2020-05-18 15:00:00 | 3.38 | 314.1067 | 3.6267 | 289.254 | 3.968 | 307.1953 | 4.2647 | 290.7327 | 28.6467 | 883 | 24.634 | 6.1227
2020-05-18 15:15:00 | 3.0313 | 326.0667 | 3.2427 | 306.818 | 3.4373 | 318.8927 | 3.7233 | 308.3867 | 28.8867 | 883 | 24.8273 | 3.966
2020-05-18 15:30:00 | 2.8053 | 271.9333 | 2.9553 | 333.5693 | 3.408 | 265.95 | 3.5187 | 335.2753 | 28.7333 | 882.3333 | 24.9447 | 3.2813
2020-05-18 15:45:00 | 2.81 | 310.9867 | 3.0253 | 289.1613 | 3.3313 | 303.9493 | 3.5887 | 290.6407 | 29.0867 | 882 | 26.4427 | 2.8467
2020-05-18 16:00:00 | 2.4347 | 326.0867 | 2.626 | 203.4887 | 2.9313 | 318.9127 | 3.1533 | 204.5293 | 29.3533 | 882 | 25.1887 | 1.622
2020-05-18 16:15:00 | 2.736 | 330.44 | 2.9013 | 244.324 | 3.2347 | 323.1707 | 3.4047 | 245.5733 | 29.0733 | 882 | 25.8013 | 2.59
2020-05-18 16:30:00 | 2.9767 | 328.4533 | 3.1687 | 301.2227 | 3.456 | 321.2273 | 3.6827 | 302.7647 | 28.9533 | 882 | 28.0947 | 4.006
2020-05-18 16:45:00 | 2.8307 | 287.84 | 3.0453 | 311.9093 | 3.3673 | 281.5073 | 3.6173 | 313.5053 | 29.3867 | 881 | 27.4473 | 4.2013
2020-05-18 17:00:00 | 2.9667 | 272.2867 | 3.1853 | 182.5333 | 3.4467 | 266.2953 | 3.724 | 183.468 | 29.1733 | 881 | 26.5967 | 4.844
2020-05-18 17:15:00 | 3.0393 | 314.6267 | 3.2653 | 224.7767 | 3.5547 | 307.7047 | 3.834 | 225.9253 | 29.0933 | 881 | 27.414 | 4.124
2020-05-18 17:30:00 | 3.2307 | 341.6933 | 3.494 | 227.04 | 3.7653 | 334.1767 | 4.1107 | 228.2013 | 28.9 | 881 | 28.8 | 5.3073
2020-05-18 17:45:00 | 3.3833 | 338.44 | 3.69 | 330.6487 | 4.0147 | 330.9953 | 4.418 | 332.3393 | 28.6133 | 881 | 30.3727 | 6.54
2020-05-18 18:00:00 | 3.4693 | 341.12 | 3.7727 | 335.252 | 3.9713 | 333.6147 | 4.4033 | 336.966 | 28.44 | 880.3333 | 31.6493 | 7.512
2020-05-18 18:15:00 | 3.5073 | 340 | 3.8207 | 330.8973 | 4.074 | 332.52 | 4.506 | 332.588 | 28.1267 | 880 | 31.776 | 8.1733
2020-05-18 18:30:00 | 3.9527 | 339.6267 | 4.2933 | 331.1513 | 4.5827 | 332.1547 | 5.0487 | 332.8427 | 27.94 | 880 | 33.1407 | 11.5153
2020-05-18 18:45:00 | 4.3253 | 341.46 | 4.7027 | 329.926 | 4.95 | 333.9467 | 5.486 | 331.6127 | 27.6667 | 880 | 33.3273 | 14.53
2020-05-18 19:00:00 | 4.2173 | 338.4467 | 4.5933 | 330.1667 | 4.7627 | 331 | 5.3193 | 331.8547 | 27.3733 | 880 | 34.304 | 13.792
2020-05-18 19:15:00 | 4.1967 | 342.4067 | 4.5347 | 335.8193 | 4.746 | 334.7967 | 5.2293 | 337.536 | 27.14 | 879 | 35.3067 | 13.252
2020-05-18 19:30:00 | 4.1767 | 346.5533 | 4.5027 | 328.778 | 4.7133 | 339.1 | 5.1773 | 330.4587 | 26.8467 | 879 | 35.6893 | 12.7933
2020-05-18 19:45:00 | 4.1127 | 347.9067 | 4.424 | 325.492 | 4.7047 | 340.2527 | 5.126 | 327.1567 | 26.7 | 879 | 35.2907 | 11.402
2020-05-18 20:00:00 | 4.166 | 340.1867 | 4.4687 | 323.2353 | 4.83 | 332.892 | 5.2127 | 324.8887 | 26.5067 | 879 | 35.47 | 12.3187
2020-05-18 20:15:00 | 3.9707 | 336.98 | 4.276 | 319.4673 | 4.6707 | 329.5667 | 5.0427 | 321.1007 | 26.2067 | 879 | 35.5167 | 11.414
2020-05-18 20:30:00 | 3.7547 | 295.1 | 3.9867 | 313.9573 | 4.5733 | 288.606 | 4.78 | 315.562 | 26.0533 | 879 | 35.778 | 9.624
2020-05-18 20:45:00 | 3.58 | 337.66 | 3.7813 | 322.166 | 4.398 | 330.2307 | 4.5427 | 323.8133 | 25.8267 | 880 | 35.942 | 7.9273
2020-05-18 21:00:00 | 3.414 | 336.0267 | 3.5293 | 317.7313 | 4.1807 | 328.6333 | 4.18 | 319.3573 | 25.6467 | 880 | 36.262 | 6.1267
2020-05-18 21:15:00 | 2.93 | 320.3267 | 2.9667 | 311.356 | 3.6707 | 313.2793 | 3.53 | 312.9473 | 25.5333 | 880 | 36.4433 | 3.8253
2020-05-18 21:30:00 | 2.6927 | 337.1067 | 2.6947 | 313.7553 | 3.4247 | 329.69 | 3.2167 | 315.36 | 25.5667 | 880 | 36.0193 | 2.932
2020-05-18 21:45:00 | 2.5407 | 300.88 | 2.4767 | 321.534 | 3.232 | 294.26 | 2.9153 | 323.1773 | 25.3467 | 880 | 34.6727 | 3.0913
2020-05-18 22:00:00 | 2.55 | 285.94 | 2.518 | 316.4947 | 3.2247 | 279.878 | 2.968 | 318.1133 | 25.3733 | 880 | 33.9093 | 2.64
2020-05-18 22:15:00 | 2.2593 | 237.5133 | 2.2453 | 304.6593 | 2.9193 | 232.2887 | 2.7053 | 306.2173 | 25.2533 | 880 | 33.8813 | 1.8073
2020-05-18 22:30:00 | 1.946 | 266.86 | 1.9667 | 328.9467 | 2.5487 | 260.99 | 2.4153 | 330.628 | 25.2533 | 880 | 34.602 | 1.1893
2020-05-18 22:45:00 | 1.224 | 203.2733 | 1.3507 | 221.2687 | 1.6867 | 198.8013 | 1.79 | 222.4013 | 25.8867 | 880 | 34.1433 | 0.91267
2020-05-18 23:00:00 | 1.2553 | 185.8 | 1.4593 | 242.0147 | 1.5053 | 181.7127 | 1.816 | 243.2533 | 25.9733 | 880 | 34.1627 | 1.0387
2020-05-18 23:15:00 | 1.4467 | 194.4333 | 1.602 | 196.5633 | 1.8927 | 190.1553 | 2.0573 | 197.57 | 26.0267 | 880 | 34.4793 | 1.4873
2020-05-18 23:30:00 | 1.224 | 199.5733 | 1.392 | 238.208 | 1.642 | 195.182 | 1.836 | 239.4273 | 26.0067 | 880 | 34.4813 | 1.6387
2020-05-18 23:45:00 | 1.5927 | 209.3467 | 1.684 | 151.5253 | 1.9827 | 204.7413 | 2.0433 | 152.2993 | 25.62 | 880 | 34.6393 | 1.1193