## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-19 00:00:00 | 2.7 | 264.8357 | 2.7071 | 308.1129 | 3.3614 | 259.0093 | 3.1843 | 309.6871 | 24.7857 | 880 | 35.165 | 2.8693
2020-05-19 00:15:00 | 3.2307 | 307.1133 | 3.3067 | 329.5787 | 3.944 | 300.3573 | 3.8827 | 331.2647 | 24.1533 | 880.3333 | 37.4647 | 5.8413
2020-05-19 00:30:00 | 3.3633 | 313.5133 | 3.4407 | 328.5107 | 4.2 | 306.6153 | 4.1053 | 330.19 | 23.9467 | 880.3333 | 38.8647 | 6.7713
2020-05-19 00:45:00 | 2.5593 | 309.4133 | 2.5667 | 329.6767 | 3.288 | 302.606 | 3.092 | 331.3633 | 24.0733 | 880 | 39.728 | 3.55
2020-05-19 01:00:00 | 1.8347 | 230.4 | 1.7447 | 323.4447 | 2.2607 | 225.3307 | 1.97 | 325.0973 | 23.9867 | 880 | 37.902 | 1.2853
2020-05-19 01:15:00 | 2.3627 | 256.9333 | 2.316 | 321.9573 | 3.058 | 251.2807 | 2.774 | 323.604 | 24.1533 | 880 | 38.2067 | 2.6873
2020-05-19 01:30:00 | 2.8953 | 322.06 | 2.886 | 320.692 | 3.6653 | 314.9747 | 3.428 | 322.3313 | 23.7333 | 880 | 38.7053 | 4.0073
2020-05-19 01:45:00 | 2.754 | 276.4933 | 2.6933 | 326.5927 | 3.4833 | 270.41 | 3.1627 | 328.262 | 23.5 | 880 | 39.478 | 4.732
2020-05-19 02:00:00 | 3.3373 | 329.64 | 3.3927 | 326.202 | 4.2607 | 322.3873 | 4.1013 | 327.87 | 23.3267 | 880 | 41.8413 | 7.0013
2020-05-19 02:15:00 | 3.6267 | 308.64 | 3.688 | 327.6953 | 4.644 | 301.8493 | 4.466 | 329.37 | 23.1733 | 879.6667 | 44.4033 | 8.1313
2020-05-19 02:30:00 | 3.2007 | 278.5333 | 3.2127 | 325.2047 | 4.05 | 272.472 | 3.8367 | 326.8673 | 23 | 879 | 44.314 | 6.8853
2020-05-19 02:45:00 | 2.972 | 282.18 | 3.0027 | 323.75 | 3.724 | 297.6647 | 3.5653 | 325.406 | 22.6733 | 879 | 42.958 | 5.2393
2020-05-19 03:00:00 | 2.7227 | 298.34 | 2.6967 | 323.9653 | 3.302 | 291.776 | 3.0873 | 325.6227 | 22.6867 | 879 | 41.9873 | 3.8453
2020-05-19 03:15:00 | 1.834 | 223.8067 | 1.82 | 310.84 | 2.352 | 218.882 | 2.176 | 312.4307 | 23.1467 | 879 | 42.1787 | 1.7467
2020-05-19 03:30:00 | 2.0793 | 287.4067 | 2.09 | 325.21 | 2.7493 | 281.0833 | 2.58 | 326.874 | 23.5333 | 878.3333 | 43.0513 | 1.9787
2020-05-19 03:45:00 | 2.6653 | 286.5867 | 2.666 | 316.3633 | 3.5353 | 280.2827 | 3.2873 | 317.98 | 22.58 | 878 | 45.972 | 3.9407
2020-05-19 04:00:00 | 2.7147 | 303.66 | 2.7327 | 328.7387 | 3.5047 | 296.98 | 3.314 | 330.4193 | 22.1133 | 878.6667 | 48.7347 | 4.756
2020-05-19 04:15:00 | 2.46 | 290.6467 | 2.396 | 325.628 | 3.2853 | 284.252 | 2.9273 | 327.2913 | 21.9467 | 878 | 50.0067 | 5.2407
2020-05-19 04:30:00 | 2.4207 | 268.6733 | 2.3607 | 325.112 | 3.178 | 262.7613 | 2.8487 | 326.776 | 21.7333 | 878 | 50.4353 | 4.5353
2020-05-19 04:45:00 | 2.276 | 225.5267 | 2.1867 | 322.714 | 3.11 | 220.564 | 2.7027 | 324.364 | 21.7933 | 878 | 50.8567 | 4.4193
2020-05-19 05:00:00 | 2.2327 | 277.7733 | 2.16 | 305.788 | 2.9607 | 271.6627 | 2.6173 | 307.352 | 21.9267 | 878 | 51.866 | 4.204
2020-05-19 05:15:00 | 2.736 | 309.06 | 2.6693 | 319.7873 | 3.558 | 302.26 | 3.192 | 321.422 | 21.58 | 878 | 51.0967 | 5.6053
2020-05-19 05:30:00 | 3.1307 | 314.8933 | 3.06 | 324.122 | 3.9547 | 307.9653 | 3.5833 | 325.7793 | 21.0867 | 878 | 52.8527 | 6.6773
2020-05-19 05:45:00 | 3.6533 | 331.7733 | 3.6433 | 323.6527 | 4.5853 | 324.474 | 4.2973 | 325.3067 | 21.02 | 878 | 55.1213 | 9.7907
2020-05-19 06:00:00 | 4.036 | 314.2 | 4.1107 | 325.4707 | 5.124 | 307.2873 | 4.9533 | 327.1353 | 20.6467 | 878 | 56.8213 | 11.7
2020-05-19 06:15:00 | 3.8813 | 307.9867 | 3.968 | 328.1073 | 4.9893 | 301.21 | 4.836 | 329.7827 | 20.8133 | 878 | 57.3493 | 12.6727
2020-05-19 06:30:00 | 4.1373 | 330.6 | 4.252 | 327.8973 | 5.3367 | 323.3267 | 5.208 | 329.5753 | 20.8267 | 878 | 58.444 | 14.84
2020-05-19 06:45:00 | 4.1273 | 329.1933 | 4.1933 | 320.1647 | 5.3993 | 321.95 | 5.152 | 321.802 | 20.5667 | 878 | 59.7193 | 16.2427
2020-05-19 07:00:00 | 4.4 | 326.4867 | 4.4967 | 328.816 | 5.6233 | 319.3053 | 5.454 | 330.4967 | 20.2533 | 878 | 61.302 | 17.8873
2020-05-19 07:15:00 | 4.5693 | 331.8867 | 4.6793 | 327.6493 | 5.8167 | 324.584 | 5.6647 | 329.324 | 20.1133 | 878 | 62.49 | 19.4
2020-05-19 07:30:00 | 4.3153 | 304.2733 | 4.3887 | 322.4273 | 5.5547 | 297.5793 | 5.334 | 324.076 | 20.22 | 878 | 62.9627 | 16.35
2020-05-19 07:45:00 | 4.2913 | 328.08 | 4.3927 | 321.5727 | 5.5427 | 320.862 | 5.3727 | 323.2167 | 20.2467 | 878.3333 | 62.9647 | 15.8587
2020-05-19 08:00:00 | 4.2247 | 329.6467 | 4.2547 | 322.4787 | 5.476 | 322.3933 | 5.1747 | 324.1273 | 20.24 | 879 | 61.668 | 15.7453
2020-05-19 08:15:00 | 4.3473 | 326.02 | 4.404 | 319.6993 | 5.5013 | 317.5233 | 5.2767 | 321.336 | 20.2867 | 879 | 61.2187 | 16.7107
2020-05-19 08:30:00 | 4.3087 | 327.5133 | 4.3707 | 323.7893 | 5.3407 | 320.3087 | 5.1627 | 325.4433 | 20.1133 | 879 | 60.298 | 15.8713
2020-05-19 08:45:00 | 4.294 | 326.8267 | 4.2813 | 327.25 | 5.366 | 319.6353 | 5.034 | 328.9247 | 20.1733 | 879 | 60.9007 | 15.7513
2020-05-19 09:00:00 | 4.094 | 325.1867 | 4.1167 | 320.628 | 5.0387 | 318.032 | 4.81 | 322.2667 | 20.54 | 879 | 58.9313 | 13.354
2020-05-19 09:15:00 | 3.93 | 323.8533 | 3.9307 | 321.9833 | 4.7593 | 316.7273 | 4.5287 | 323.6293 | 20.6 | 880 | 57.5127 | 10.8147
2020-05-19 09:30:00 | 3.8093 | 304.8267 | 3.8353 | 315.8027 | 4.6007 | 298.1207 | 4.4233 | 317.4167 | 20.9533 | 880 | 57.632 | 10.2513
2020-05-19 09:45:00 | 3.0947 | 314.4533 | 3.052 | 317.0147 | 3.5567 | 307.536 | 3.3487 | 318.6353 | 21.52 | 880 | 55.5527 | 5.606
2020-05-19 10:00:00 | 2.8353 | 299.5067 | 2.8293 | 324.5647 | 3.2913 | 292.9167 | 3.1507 | 326.2247 | 21.7867 | 880.6667 | 53.3433 | 3.558
2020-05-19 10:15:00 | 2.7213 | 328.7667 | 2.778 | 314.7333 | 3.3047 | 321.534 | 3.244 | 316.342 | 21.9467 | 881 | 53.4567 | 3.0133
2020-05-19 10:30:00 | 2.592 | 316.2133 | 2.616 | 317.4793 | 3.1813 | 309.256 | 3.0573 | 319.102 | 22.6933 | 881 | 52.6173 | 2.4947
2020-05-19 10:45:00 | 1.9593 | 290.4667 | 2.01 | 305.0767 | 2.5073 | 284.0767 | 2.448 | 306.6373 | 23.6333 | 881 | 50.506 | 1.0487
2020-05-19 11:00:00 | 1.8167 | 242.0067 | 1.834 | 320.3873 | 2.3807 | 236.682 | 2.252 | 322.024 | 24.2867 | 881 | 49.7013 | 0.51867
2020-05-19 11:15:00 | 1.4407 | 286.8267 | 1.4967 | 100.4807 | 1.8087 | 280.518 | 1.81 | 100.9933 | 25.5467 | 881 | 48.5927 | 0
2020-05-19 11:30:00 | 1.407 | 113.79 | 1.389 | 153.692 | 1.579 | 111.287 | 1.495 | 154.478 | 26.12 | 881 | 48.361 | 0
2020-05-19 11:45:00 | 1.5467 | 114.4467 | 1.6613 | 218.9867 | 1.66 | 111.928 | 1.8433 | 220.106 | 26.74 | 881 | 47.5667 | 0
2020-05-19 12:00:00 | 1.6313 | 157.6667 | 1.7953 | 163.8207 | 1.796 | 154.198 | 2.06 | 164.6587 | 27.0733 | 881 | 47.5453 | 0
2020-05-19 12:15:00 | 2.3353 | 149.08 | 2.4487 | 149.126 | 3.1107 | 145.8 | 3.0987 | 149.8873 | 27.54 | 880 | 47.7407 | 0.068667
2020-05-19 12:30:00 | 3.332 | 142.6333 | 3.4147 | 132.4593 | 3.6773 | 139.4953 | 3.7333 | 133.136 | 27.2533 | 880 | 48.2187 | 1.7727
2020-05-19 12:45:00 | 2.91 | 161.5667 | 2.9133 | 136.8607 | 2.942 | 158.0113 | 2.942 | 137.56 | 27.2467 | 880 | 48.04 | 1.7493
2020-05-19 13:00:00 | 2.8733 | 155.4 | 2.9433 | 148.5773 | 3.282 | 151.688 | 3.3007 | 149.338 | 27.32 | 880 | 47.734 | 2.1973
2020-05-19 13:15:00 | 1.9513 | 156.5267 | 1.9673 | 147.8347 | 2.2273 | 154.0807 | 2.1827 | 148.722 | 27.6667 | 880 | 47.8047 | 0.11
2020-05-19 13:30:00 | 1.7653 | 120.4067 | 1.8267 | 148.192 | 2.0633 | 117.758 | 2.0967 | 148.95 | 28.0733 | 880 | 48.5153 | 0
2020-05-19 13:45:00 | 1.926 | 96.4333 | 2.0807 | 147.2153 | 2.1707 | 94.3133 | 2.398 | 147.9673 | 28.1533 | 879.6667 | 47.462 | 0
2020-05-19 14:00:00 | 1.66 | 116.0933 | 1.8987 | 65.0033 | 1.834 | 113.5407 | 2.2373 | 65.3373 | 28.6533 | 879 | 47.0047 | 0
2020-05-19 14:15:00 | 1.9453 | 137.42 | 2.066 | 141.294 | 2.14 | 134.396 | 2.3113 | 142.018 | 29.36 | 879 | 44.714 | 0
2020-05-19 14:30:00 | 3.2793 | 113.5067 | 3.4407 | 132.2787 | 3.6127 | 111.0107 | 3.82 | 132.954 | 28.88 | 879 | 43.3607 | 3.3647
2020-05-19 14:45:00 | 3.582 | 118.9733 | 3.6627 | 141.6393 | 4.2947 | 117.4 | 4.2467 | 142.3647 | 29.1 | 879 | 43.07 | 7.8313
2020-05-19 15:00:00 | 3.996 | 124.6733 | 4.1313 | 139.5667 | 4.7393 | 121.9313 | 4.7847 | 140.2807 | 28.74 | 878.3333 | 41.2253 | 10.7027
2020-05-19 15:15:00 | 3.5807 | 127.6133 | 3.7027 | 133.6467 | 4.2107 | 124.8073 | 4.2607 | 134.3307 | 28.9067 | 878.3333 | 39.082 | 8.4453
2020-05-19 15:30:00 | 3.5073 | 141.6467 | 3.634 | 138.792 | 3.934 | 138.5313 | 4.0507 | 139.5013 | 28.7467 | 878.3333 | 39.3007 | 6.6807
2020-05-19 15:45:00 | 3.148 | 154.4267 | 3.3133 | 133.6533 | 3.44 | 151.0293 | 3.674 | 134.3347 | 28.44 | 878 | 40.8533 | 3.3827
2020-05-19 16:00:00 | 2.6313 | 149.34 | 2.736 | 136.19 | 2.482 | 146.054 | 2.726 | 136.884 | 28.5933 | 878 | 45.1387 | 2.142
2020-05-19 16:15:00 | 2.468 | 213.8133 | 2.5467 | 113.24 | 3.4687 | 209.1093 | 3.3267 | 113.8187 | 27.64 | 878 | 48.6613 | 2.8487
2020-05-19 16:30:00 | 3.0453 | 251.72 | 2.9973 | 314.83 | 4.0547 | 246.1827 | 3.6713 | 316.4393 | 26.8133 | 878 | 49.9387 | 7.366
2020-05-19 16:45:00 | 4.39 | 139.66 | 4.4913 | 341.8693 | 5.2573 | 136.5873 | 5.1993 | 343.618 | 26.1533 | 877 | 51.1433 | 13.9193
2020-05-19 17:00:00 | 5.0953 | 320.06 | 5.394 | 313.984 | 5.726 | 313.0187 | 6.1087 | 315.588 | 25.64 | 877 | 52.1647 | 21.834
2020-05-19 17:15:00 | 5.2213 | 342.5533 | 5.6487 | 338.4867 | 5.9413 | 335.0167 | 6.5367 | 340.2173 | 25.2267 | 877 | 53.194 | 24.8313
2020-05-19 17:30:00 | 5.1347 | 344.7 | 5.6247 | 291.58 | 5.98 | 337.1167 | 6.6627 | 293.0693 | 24.8467 | 877 | 53.784 | 27.236
2020-05-19 17:45:00 | 5.8427 | 342.7533 | 6.3007 | 306.6953 | 6.698 | 335.2127 | 7.3173 | 308.2627 | 24.38 | 877 | 53.6513 | 32.32
2020-05-19 18:00:00 | 5.9993 | 340.4533 | 6.4713 | 330.0693 | 6.8967 | 332.9633 | 7.5333 | 331.7567 | 23.4533 | 877 | 54.9373 | 34.8147
2020-05-19 18:15:00 | 5.8427 | 347.0067 | 6.3887 | 309.9607 | 6.8927 | 339.372 | 7.6207 | 311.5453 | 23.1333 | 877 | 57.288 | 36.324
2020-05-19 18:30:00 | 5.9733 | 346.1067 | 6.4687 | 330.0487 | 6.7993 | 338.4913 | 7.5 | 331.736 | 22.9867 | 877 | 59.408 | 34.652
2020-05-19 18:45:00 | 5.8673 | 348.8733 | 6.28 | 325.6407 | 6.6373 | 341.198 | 7.1927 | 327.3067 | 22.8667 | 877 | 61.0647 | 32.5673
2020-05-19 19:00:00 | 5.7247 | 345.0267 | 6.1493 | 321.3707 | 6.5847 | 337.4353 | 7.14 | 323.014 | 22.84 | 877 | 60.1767 | 31.0853
2020-05-19 19:15:00 | 5.5293 | 333.8267 | 5.9733 | 319.2247 | 6.4473 | 326.482 | 7.0213 | 320.8573 | 22.6 | 877 | 60.37 | 31.8553
2020-05-19 19:30:00 | 5.656 | 341.2067 | 6.0687 | 324.532 | 6.572 | 333.7007 | 7.09 | 326.1927 | 22.3933 | 877 | 61.0273 | 32.7947
2020-05-19 19:45:00 | 5.8113 | 334.0333 | 6.26 | 323.3273 | 6.81 | 326.684 | 7.3693 | 324.98 | 22.2467 | 877 | 62.9907 | 36.17
2020-05-19 20:00:00 | 6.4493 | 338.0467 | 6.9747 | 323.9273 | 7.4087 | 330.6107 | 8.1247 | 325.5833 | 22.1267 | 877 | 64.5927 | 42.3127
2020-05-19 20:15:00 | 6.5967 | 335.3733 | 7.1167 | 323.6727 | 7.606 | 327.9953 | 8.3 | 325.326 | 22.1333 | 877 | 63.526 | 42.7813
2020-05-19 20:30:00 | 7.0693 | 338.4 | 7.6047 | 328.848 | 7.888 | 330.9547 | 8.672 | 330.5313 | 22.0267 | 877 | 63.074 | 44.2147
2020-05-19 20:45:00 | 7.194 | 340.92 | 7.7747 | 306.8107 | 8.0407 | 333.4193 | 8.8947 | 308.38 | 21.9467 | 877 | 63.6213 | 44.404
2020-05-19 21:00:00 | 7.222 | 342.4733 | 7.7853 | 327.942 | 8.0533 | 334.9393 | 8.8833 | 329.6213 | 21.6867 | 877 | 64.366 | 45.2867
2020-05-19 21:15:00 | 7.3167 | 318.1 | 7.8873 | 329.1227 | 8.2433 | 311.1013 | 9.0593 | 330.8067 | 21.6933 | 878 | 64.722 | 45.5987
2020-05-19 21:30:00 | 7.3747 | 338.1467 | 7.942 | 325.2493 | 8.212 | 330.7073 | 9.0487 | 326.912 | 21.3533 | 878 | 65.5193 | 45.3753
2020-05-19 21:45:00 | 7.5493 | 342.98 | 8.1173 | 323.9647 | 8.4193 | 335.4347 | 9.2507 | 325.622 | 20.94 | 878 | 70.4113 | 43.4473
2020-05-19 22:00:00 | 7.0873 | 334.8 | 7.6133 | 317.6353 | 7.9707 | 327.4333 | 8.7133 | 319.258 | 20.8 | 878 | 76.6993 | 42.526
2020-05-19 22:15:00 | 7.462 | 334.14 | 8.034 | 321.3313 | 8.374 | 326.7887 | 9.1993 | 322.9753 | 20.6267 | 878 | 75.58 | 44.2813
2020-05-19 22:30:00 | 7.4513 | 342.2867 | 8.0707 | 324.8647 | 8.3227 | 334.7567 | 9.2453 | 326.526 | 20.5267 | 878 | 75.082 | 42.6573
2020-05-19 22:45:00 | 7.1493 | 317.2067 | 7.758 | 318.6267 | 7.9427 | 310.2287 | 8.8687 | 320.2547 | 20.0467 | 879 | 76.3927 | 42.4113
2020-05-19 23:00:00 | 7.8313 | 340.6467 | 8.442 | 321.5533 | 8.844 | 333.1527 | 9.7113 | 323.1987 | 19.24 | 879 | 80.658 | 45.588
2020-05-19 23:15:00 | 8.0547 | 338.8533 | 8.708 | 325.9213 | 9.0913 | 331.3987 | 10.0313 | 327.5873 | 18.92 | 879 | 82.2333 | 46.1747
2020-05-19 23:30:00 | 8.192 | 337.7333 | 8.828 | 328.9987 | 9.0693 | 330.3027 | 10.0173 | 330.6813 | 19.1133 | 879 | 82.4667 | 46.566
2020-05-19 23:45:00 | 8.0873 | 334.02 | 8.6707 | 324.0053 | 8.8247 | 326.6707 | 9.716 | 325.6613 | 18.8533 | 879 | 85.1867 | 45.906