## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-20 00:00:00 | 7.9271 | 337.5643 | 8.4986 | 323.3536 | 8.9814 | 330.1379 | 9.76 | 325.0071 | 17.9214 | 879 | 87.37 | 45.6467
2020-05-20 00:15:00 | 8.024 | 342.54 | 8.6887 | 329.6693 | 9.044 | 335.0033 | 10.01 | 331.356 | 16.6067 | 879 | 91.2267 | 44.1507
2020-05-20 00:30:00 | 8.588 | 324.3933 | 9.2933 | 324.8593 | 9.726 | 317.2567 | 10.7313 | 326.5213 | 17.0267 | 879 | 95.7867 | 47.1793
2020-05-20 00:45:00 | 8.458 | 343.5733 | 9.174 | 318.9127 | 9.4033 | 336.014 | 10.4907 | 320.5427 | 17.4067 | 879 | 97.5333 | 46.5467
2020-05-20 01:00:00 | 8.4547 | 337.3333 | 9.188 | 319.5773 | 9.4067 | 329.9127 | 10.5253 | 321.2127 | 16.7667 | 879 | 98.26 | 48.4707
2020-05-20 01:15:00 | 7.8513 | 337.7 | 8.5867 | 310.436 | 8.7813 | 330.2707 | 9.902 | 312.024 | 16.66 | 878.6667 | 98.4933 | 48.3367
2020-05-20 01:30:00 | 8.1413 | 339.44 | 8.8547 | 320.124 | 9.028 | 331.972 | 10.1253 | 321.7613 | 16.94 | 878 | 98.88 | 47.198
2020-05-20 01:45:00 | 8.544 | 341.4333 | 9.2027 | 317.51 | 9.2727 | 333.922 | 10.3073 | 319.1347 | 17.04 | 878 | 99.2933 | 50.7593
2020-05-20 02:00:00 | 8.5447 | 342.5733 | 9.2107 | 321.58 | 9.242 | 335.2907 | 10.3 | 323.2227 | 17.2867 | 878 | 99.6667 | 51.7513
2020-05-20 02:15:00 | 8.4587 | 343.1933 | 9.168 | 321.9387 | 9.178 | 335.6427 | 10.3193 | 323.5833 | 17.3333 | 878 | 99.9333 | 51.0487
2020-05-20 02:30:00 | 8.462 | 337.24 | 9.1833 | 314.6487 | 9.272 | 329.8213 | 10.4013 | 316.2573 | 17.1933 | 878 | 100 | 51.932
2020-05-20 02:45:00 | 8.48 | 342.6867 | 9.2427 | 321.272 | 9.1507 | 335.1487 | 10.4013 | 322.9147 | 16.6067 | 878 | 100 | 52.5567
2020-05-20 03:00:00 | 8.8813 | 346.1733 | 9.658 | 325.0027 | 9.7013 | 338.5553 | 10.9373 | 326.6627 | 16.7733 | 878 | 100 | 50.7993
2020-05-20 03:15:00 | 8.9433 | 344.5067 | 9.6633 | 326.0327 | 9.6827 | 336.9273 | 10.8333 | 327.6993 | 16.7467 | 878 | 100 | 52.92
2020-05-20 03:30:00 | 8.8213 | 341.9667 | 9.55 | 322.218 | 9.3373 | 334.4433 | 10.5713 | 323.866 | 16.6 | 878 | 100 | 54.186
2020-05-20 03:45:00 | 8.8733 | 347.18 | 9.608 | 328.2747 | 9.1847 | 339.5413 | 10.494 | 329.9533 | 16.62 | 878 | 100 | 52.136
2020-05-20 04:00:00 | 8.7807 | 349.9133 | 9.526 | 326.3973 | 9.2187 | 342.216 | 10.5087 | 328.0667 | 16.38 | 878 | 100 | 51.7893
2020-05-20 04:15:00 | 8.6533 | 349.2667 | 9.322 | 332.2133 | 9.0467 | 341.5833 | 10.1993 | 333.912 | 16.6467 | 878 | 100 | 52.1653
2020-05-20 04:30:00 | 8.5513 | 329.1333 | 9.2767 | 333.0553 | 9.2273 | 321.892 | 10.41 | 334.7573 | 16.2933 | 878 | 100 | 50.444
2020-05-20 04:45:00 | 8.636 | 350.8467 | 9.3613 | 332.6767 | 9.09 | 343.1293 | 10.3313 | 334.3787 | 16.4667 | 878 | 100 | 50.9213
2020-05-20 05:00:00 | 8.558 | 328.7933 | 9.304 | 332.064 | 9.1887 | 321.5613 | 10.422 | 333.76 | 16.1867 | 878 | 100 | 49.932
2020-05-20 05:15:00 | 8.6793 | 330.3667 | 9.41 | 334.1707 | 9.496 | 323.0993 | 10.6427 | 335.8787 | 16.42 | 878 | 100 | 49.4107
2020-05-20 05:30:00 | 8.5133 | 352.3733 | 9.2713 | 333.4653 | 9.1813 | 344.6207 | 10.43 | 335.1707 | 16.7133 | 878 | 100 | 50.644
2020-05-20 05:45:00 | 8.548 | 351.2 | 9.3027 | 331.914 | 9.428 | 343.4747 | 10.6053 | 333.6107 | 16.9467 | 878 | 100 | 50.354
2020-05-20 06:00:00 | 8.49 | 351.04 | 9.2213 | 330.6293 | 9.3073 | 343.3167 | 10.4587 | 332.3187 | 17.24 | 878 | 100 | 49.746
2020-05-20 06:15:00 | 8.4013 | 348.3467 | 9.0913 | 329.306 | 9.21 | 340.684 | 10.2813 | 330.9893 | 17.3867 | 878 | 100 | 50.9147
2020-05-20 06:30:00 | 8.322 | 345.68 | 9.0033 | 331.288 | 9.0953 | 338.0753 | 10.1593 | 332.9807 | 17.42 | 878 | 100 | 50.772
2020-05-20 06:45:00 | 8.242 | 350.4933 | 8.8993 | 330.1 | 8.9847 | 342.7833 | 10.0187 | 331.7887 | 17.5333 | 878 | 100 | 50.384
2020-05-20 07:00:00 | 8.4287 | 349.5667 | 9.1093 | 328.574 | 9.1847 | 341.8747 | 10.262 | 330.2573 | 17.66 | 878 | 100 | 50.2073
2020-05-20 07:15:00 | 8.3413 | 349.0267 | 9.0167 | 329.488 | 9.048 | 341.3487 | 10.1233 | 331.1727 | 17.8667 | 878 | 100 | 50.0593
2020-05-20 07:30:00 | 7.656 | 352.36 | 8.3087 | 333.1587 | 8.4067 | 344.6087 | 9.42 | 334.8613 | 17.68 | 878 | 99.9067 | 47.4367
2020-05-20 07:45:00 | 7.818 | 345.92 | 8.4427 | 330.1013 | 8.644 | 338.5447 | 9.5953 | 331.788 | 17.82 | 879 | 98.6667 | 48.996
2020-05-20 08:00:00 | 8.0793 | 346.2733 | 8.728 | 328.074 | 8.9433 | 338.6553 | 9.924 | 329.7507 | 18.1067 | 879 | 97.24 | 49.884
2020-05-20 08:15:00 | 8.1267 | 348.4133 | 8.7327 | 331.4307 | 8.7967 | 340.7487 | 9.752 | 333.1253 | 18.2933 | 879 | 96.42 | 49.1953
2020-05-20 08:30:00 | 7.9793 | 347.66 | 8.5867 | 333.1913 | 8.4747 | 340.01 | 9.4813 | 334.8947 | 18.4533 | 879.6667 | 95.1533 | 47.836
2020-05-20 08:45:00 | 7.9827 | 349.86 | 8.5993 | 333.042 | 8.5833 | 342.1627 | 9.5787 | 334.744 | 18.4533 | 880 | 93.1533 | 47.4693
2020-05-20 09:00:00 | 7.762 | 347.3467 | 8.378 | 336.7067 | 8.2667 | 339.706 | 9.2933 | 338.4267 | 18.5667 | 880 | 91.2533 | 47.426
2020-05-20 09:15:00 | 7.6573 | 346.8933 | 8.26 | 337.286 | 8.1027 | 339.2613 | 9.118 | 339.0107 | 18.8 | 880 | 88.9667 | 45.9707
2020-05-20 09:30:00 | 7.8813 | 343.52 | 8.5133 | 330.296 | 8.2007 | 335.9613 | 9.306 | 331.9847 | 18.7867 | 880 | 84.5867 | 49.08
2020-05-20 09:45:00 | 7.9453 | 344.7067 | 8.6013 | 328.0073 | 8.3993 | 337.1233 | 9.5167 | 329.686 | 18.9333 | 881 | 85.5467 | 50.912
2020-05-20 10:00:00 | 7.986 | 345.34 | 8.6387 | 330.5767 | 8.592 | 337.7427 | 9.6467 | 332.2667 | 19.0467 | 881 | 86.48 | 49.994
2020-05-20 10:15:00 | 7.838 | 341.7133 | 8.448 | 325.126 | 8.47 | 334.9787 | 9.4587 | 326.7887 | 19.2 | 881 | 84.6533 | 48.422
2020-05-20 10:30:00 | 7.766 | 345.4067 | 8.4173 | 326.822 | 8.348 | 337.8067 | 9.4127 | 328.4913 | 19.3867 | 881 | 82.1333 | 48.9153
2020-05-20 10:45:00 | 7.6287 | 345.2867 | 8.1747 | 329.6567 | 7.8193 | 337.6907 | 8.808 | 331.3427 | 19.7 | 881 | 80.2627 | 47.998
2020-05-20 11:00:00 | 7.4733 | 344.3267 | 8.0047 | 330.7727 | 7.812 | 336.752 | 8.7287 | 332.4653 | 19.8267 | 881 | 82.1533 | 45.1507
2020-05-20 11:15:00 | 7.0273 | 339.4467 | 7.504 | 332.8133 | 7.5727 | 331.978 | 8.3193 | 334.5153 | 19.9067 | 881 | 82.5933 | 42.8573
2020-05-20 11:30:00 | 6.7233 | 339.92 | 7.2047 | 333.882 | 7.2047 | 332.5647 | 7.9773 | 335.59 | 20.0467 | 881 | 81.3213 | 41.148
2020-05-20 11:45:00 | 6.854 | 337.1067 | 7.3627 | 327.5113 | 7.356 | 329.6893 | 8.1787 | 329.1867 | 20.3267 | 881 | 77.1847 | 41.2933
2020-05-20 12:00:00 | 7.0267 | 341.2533 | 7.5573 | 325.282 | 7.7487 | 333.7447 | 8.5487 | 326.946 | 20.5467 | 881 | 73.8913 | 41.4933
2020-05-20 12:15:00 | 6.7887 | 336.7 | 7.3387 | 326.5993 | 7.4127 | 329.2927 | 8.2693 | 328.27 | 20.7933 | 881 | 72.076 | 39.1087
2020-05-20 12:30:00 | 6.798 | 337.9267 | 7.2293 | 329.0513 | 7.1993 | 330.4927 | 7.9013 | 330.7333 | 21.24 | 882 | 72.2453 | 38.9027
2020-05-20 12:45:00 | 6.6627 | 335.46 | 7.116 | 321.9633 | 7.1313 | 328.0813 | 7.858 | 323.6093 | 21.7067 | 882 | 69.9427 | 38.6293
2020-05-20 13:00:00 | 6.366 | 316.62 | 6.7667 | 327.5313 | 6.9253 | 309.654 | 7.524 | 329.2073 | 22.0333 | 882 | 66.524 | 36.6547
2020-05-20 13:15:00 | 6.214 | 340.54 | 6.6013 | 321.5873 | 6.8973 | 333.0467 | 7.438 | 323.2313 | 22.0467 | 882 | 63.52 | 33.5527
2020-05-20 13:30:00 | 6.008 | 341.3067 | 6.3947 | 323.836 | 6.4987 | 333.798 | 7.0887 | 325.4907 | 22.5133 | 882 | 59.7353 | 31.04
2020-05-20 13:45:00 | 5.5033 | 308.8067 | 5.7013 | 325.3413 | 6.0233 | 302.0127 | 6.2507 | 327.0053 | 22.9 | 882 | 59.6707 | 27.5193
2020-05-20 14:00:00 | 5.2533 | 305.1 | 5.4993 | 327.89 | 5.9827 | 298.3873 | 6.24 | 329.5667 | 23.5533 | 882 | 59.8327 | 25.1013
2020-05-20 14:15:00 | 5.036 | 306.4733 | 5.4027 | 329.742 | 5.6607 | 299.7313 | 6.1747 | 331.43 | 23.7933 | 882 | 57.1293 | 23.152
2020-05-20 14:30:00 | 4.2833 | 312.8 | 4.5667 | 305.4093 | 4.8627 | 305.918 | 5.234 | 306.9707 | 24.4533 | 882 | 59.17 | 18.24
2020-05-20 14:45:00 | 4.3787 | 291.0133 | 4.636 | 311.0047 | 4.8013 | 284.6113 | 5.1687 | 312.5947 | 25.0133 | 882 | 56.2133 | 17.71
2020-05-20 15:00:00 | 4.5727 | 230.2533 | 4.7473 | 328.882 | 5.1627 | 225.1873 | 5.328 | 330.564 | 24.7267 | 882 | 54.54 | 17.7993
2020-05-20 15:15:00 | 5.1373 | 337.5867 | 5.4673 | 329.998 | 5.8093 | 330.1593 | 6.2407 | 331.6847 | 24.5667 | 882 | 56.8613 | 25.784
2020-05-20 15:30:00 | 4.668 | 296.1667 | 4.9967 | 284.7347 | 5.4067 | 289.6507 | 5.814 | 286.192 | 25.1733 | 882 | 57.512 | 26.334
2020-05-20 15:45:00 | 4.6833 | 248.6 | 4.9887 | 265.7953 | 5.3527 | 243.1313 | 5.7373 | 267.1533 | 25.4333 | 882 | 52.674 | 27.6847
2020-05-20 16:00:00 | 4.912 | 296.1133 | 5.3307 | 288.158 | 5.792 | 289.5987 | 6.334 | 289.6307 | 25.4533 | 882 | 52.8907 | 32.802
2020-05-20 16:15:00 | 5.8347 | 321.6133 | 6.2893 | 243.712 | 6.776 | 314.5373 | 7.366 | 244.9567 | 25.32 | 882 | 52.5253 | 37.2427
2020-05-20 16:30:00 | 5.756 | 339.34 | 6.22 | 307.34 | 6.51 | 331.8747 | 7.1693 | 308.9113 | 25.5667 | 882 | 53.304 | 40.2353
2020-05-20 16:45:00 | 6.2653 | 340.5333 | 6.714 | 311.8453 | 7.328 | 333.042 | 7.8727 | 313.4387 | 25.0467 | 882 | 54.814 | 44.1767
2020-05-20 17:00:00 | 6.2373 | 322.9333 | 6.6047 | 329.6707 | 7.244 | 315.828 | 7.646 | 331.356 | 24.78 | 881.2667 | 56.5767 | 44.4093
2020-05-20 17:15:00 | 5.7147 | 315.5467 | 6.102 | 307.6253 | 6.5687 | 308.6047 | 7.0567 | 309.2007 | 24.7267 | 881 | 58.5733 | 38.964
2020-05-20 17:30:00 | 6.2533 | 339.18 | 6.6107 | 323.106 | 6.958 | 331.7173 | 7.4327 | 324.7587 | 24.7333 | 881 | 59.6847 | 39.8527
2020-05-20 17:45:00 | 6.428 | 337.44 | 6.636 | 322.5453 | 7.17 | 330.0173 | 7.352 | 324.1933 | 24.66 | 881 | 60.322 | 40.0187
2020-05-20 18:00:00 | 6.2087 | 316.6067 | 6.5347 | 325.9353 | 6.792 | 309.642 | 7.244 | 327.6027 | 24.5333 | 881 | 60.6333 | 42.23
2020-05-20 18:15:00 | 6.3807 | 340.64 | 6.8193 | 324.1013 | 7.3813 | 333.1467 | 7.9207 | 325.7593 | 24.42 | 881 | 60.2753 | 42.3587
2020-05-20 18:30:00 | 5.9287 | 319.8667 | 6.3673 | 304.6667 | 6.6887 | 312.8287 | 7.3007 | 306.224 | 24.2667 | 880.9333 | 59.7287 | 39.9787
2020-05-20 18:45:00 | 5.2807 | 274.5867 | 5.6333 | 307.126 | 5.9673 | 268.5447 | 6.4393 | 308.6947 | 24.1 | 880 | 60.9247 | 33.8733
2020-05-20 19:00:00 | 5.2287 | 273.8933 | 5.4773 | 325.5427 | 5.5453 | 268.7873 | 5.9253 | 327.2067 | 23.92 | 880 | 63.3587 | 32.5073
2020-05-20 19:15:00 | 5.8953 | 317.8667 | 6.2033 | 323.2867 | 6.4293 | 310.8733 | 6.86 | 324.9407 | 23.7733 | 880.4 | 63.204 | 35.928
2020-05-20 19:30:00 | 6.1987 | 337.98 | 6.5713 | 323.054 | 6.734 | 330.5453 | 7.286 | 324.704 | 23.68 | 881 | 63.4607 | 40.3407
2020-05-20 19:45:00 | 6.3473 | 340.2467 | 6.7507 | 324.8407 | 7.0553 | 332.7607 | 7.6167 | 326.5007 | 23.6667 | 881 | 63.8927 | 41.826
2020-05-20 20:00:00 | 5.866 | 321.1933 | 6.2053 | 322.9027 | 6.296 | 314.1273 | 6.818 | 324.554 | 23.52 | 881 | 64.1167 | 39.1333
2020-05-20 20:15:00 | 5.7213 | 343.0467 | 6.102 | 329.228 | 6.288 | 335.4993 | 6.8487 | 330.9107 | 23.46 | 881 | 65.208 | 37.5913
2020-05-20 20:30:00 | 5.5033 | 293.4067 | 5.7607 | 324.67 | 5.864 | 286.9507 | 6.252 | 326.3293 | 23.44 | 881 | 65.8093 | 33.3493
2020-05-20 20:45:00 | 5.2847 | 340.7667 | 5.6307 | 323.2293 | 5.6 | 333.2687 | 6.1667 | 324.8813 | 23.2933 | 881 | 64.7027 | 32.8067
2020-05-20 21:00:00 | 4.9353 | 339.7933 | 5.256 | 327.8007 | 5.1973 | 332.9507 | 5.732 | 329.116 | 23.22 | 881 | 65.4647 | 30.2747
2020-05-20 21:15:00 | 5.2933 | 292.78 | 5.5753 | 323.626 | 5.51 | 286.3387 | 5.98 | 325.2813 | 23.0933 | 881 | 66.3607 | 32.2367
2020-05-20 21:30:00 | 5.8313 | 330.7267 | 6.1533 | 320.5353 | 6.5453 | 324.096 | 6.944 | 322.1747 | 22.9867 | 881 | 66.9133 | 37.4267
2020-05-20 21:45:00 | 6.1287 | 339.5733 | 6.5327 | 320.582 | 6.8373 | 332.1027 | 7.4027 | 322.2213 | 22.9 | 881 | 67.752 | 41.3713
2020-05-20 22:00:00 | 5.912 | 337.78 | 6.3833 | 324.9033 | 6.5347 | 330.3493 | 7.2433 | 326.5647 | 22.74 | 881.0667 | 69.2007 | 38.4593
2020-05-20 22:15:00 | 5.5753 | 331.16 | 5.96 | 319.5587 | 6.1153 | 323.8733 | 6.6893 | 321.1907 | 22.6933 | 882 | 70.5853 | 36.22
2020-05-20 22:30:00 | 5.1287 | 335.0133 | 5.52 | 322.636 | 5.6113 | 327.644 | 6.216 | 324.2847 | 22.56 | 882 | 71.8453 | 30.0333
2020-05-20 22:45:00 | 5.028 | 335.6867 | 5.364 | 324.0633 | 5.3447 | 328.3013 | 5.892 | 325.7207 | 22.3467 | 882 | 72.7107 | 24.004
2020-05-20 23:00:00 | 4.6887 | 346.08 | 4.956 | 328.986 | 4.7313 | 338.4653 | 5.232 | 330.6687 | 22.3 | 882 | 72.9027 | 19.2273
2020-05-20 23:15:00 | 4.5967 | 348.3467 | 4.9187 | 335.2267 | 4.6793 | 340.6827 | 5.2673 | 336.9407 | 22.18 | 882 | 73.3547 | 19.8033
2020-05-20 23:30:00 | 5.07 | 349.5 | 5.448 | 311.4807 | 5.5667 | 341.8113 | 6.1393 | 313.072 | 22.0667 | 882 | 73.6547 | 22.186
2020-05-20 23:45:00 | 5.1713 | 344.7667 | 5.5787 | 325.608 | 5.6147 | 337.1833 | 6.2593 | 327.2727 | 22.0067 | 882 | 75.4493 | 22.502