## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-21 00:00:00 | 5.1279 | 340.4786 | 5.5493 | 325.5829 | 5.6829 | 332.9871 | 6.3207 | 327.2479 | 22.0429 | 882 | 74.3218 | 21.0287
2020-05-21 00:15:00 | 4.9213 | 345.4533 | 5.3093 | 322.916 | 5.3867 | 337.8527 | 5.9873 | 324.568 | 22.1933 | 882 | 74.7007 | 20.0807
2020-05-21 00:30:00 | 4.864 | 341.68 | 5.2893 | 329.17 | 5.3707 | 334.162 | 6.0347 | 330.852 | 22.0333 | 882 | 74.946 | 19.2927
2020-05-21 00:45:00 | 4.2387 | 326.32 | 4.6133 | 337.808 | 4.6633 | 319.1393 | 5.2507 | 339.5353 | 22 | 882 | 75.9593 | 13.416
2020-05-21 01:00:00 | 4.486 | 329.5467 | 4.8867 | 336.3527 | 4.9147 | 322.298 | 5.5467 | 338.0733 | 22 | 882 | 75.106 | 14.618
2020-05-21 01:15:00 | 4.1027 | 236.82 | 4.4113 | 335.4927 | 4.638 | 231.61 | 5.0707 | 337.208 | 21.9533 | 881.6 | 75.6513 | 12.5087
2020-05-21 01:30:00 | 4.252 | 305.5467 | 4.6167 | 329.7033 | 4.8227 | 298.8247 | 5.3487 | 331.3893 | 21.68 | 881 | 76.09 | 15.2593
2020-05-21 01:45:00 | 4.5533 | 305.02 | 4.9327 | 318.744 | 5.0787 | 298.31 | 5.6487 | 320.3727 | 21.3 | 881 | 78.0093 | 16.5587
2020-05-21 02:00:00 | 4.8873 | 321.4067 | 5.266 | 324.7547 | 5.5387 | 314.3367 | 6.0653 | 326.4153 | 21.2667 | 881 | 79.2213 | 19.8113
2020-05-21 02:15:00 | 5.778 | 341.9333 | 6.1653 | 326.3193 | 6.5767 | 334.41 | 7.0793 | 327.9887 | 21.24 | 881 | 80.0547 | 29.394
2020-05-21 02:30:00 | 5.5307 | 326.9467 | 5.9693 | 333.986 | 6.1387 | 319.754 | 6.7933 | 335.6947 | 21.16 | 881 | 80.8933 | 27.6727
2020-05-21 02:45:00 | 5.576 | 349.2933 | 6.0087 | 332.5193 | 6.1847 | 341.61 | 6.8253 | 334.2187 | 21.0067 | 881 | 82.7933 | 30.0687
2020-05-21 03:00:00 | 5.748 | 327.5 | 6.14 | 331.4513 | 6.322 | 320.2933 | 6.9013 | 333.1453 | 20.68 | 881 | 83.0667 | 32.114
2020-05-21 03:15:00 | 6.0187 | 348.0467 | 6.436 | 328.3527 | 6.7047 | 340.39 | 7.2987 | 330.0327 | 20.54 | 881 | 83.8267 | 36.0767
2020-05-21 03:30:00 | 6.0187 | 353.4 | 6.4773 | 325.6087 | 6.6473 | 345.6267 | 7.3327 | 327.2727 | 20.32 | 881 | 85.5067 | 35.7027
2020-05-21 03:45:00 | 5.8627 | 350.0867 | 6.2947 | 327.7333 | 6.4507 | 342.3853 | 7.1 | 329.41 | 20.3867 | 881 | 86.14 | 35.0587
2020-05-21 04:00:00 | 6.078 | 349.7 | 6.5267 | 325.7507 | 6.6733 | 342.006 | 7.352 | 327.4173 | 20.3867 | 881 | 85.3733 | 35.6873
2020-05-21 04:15:00 | 5.6073 | 261.5467 | 6.012 | 324.5727 | 6.2393 | 255.7927 | 6.8247 | 326.232 | 20.38 | 881 | 84.88 | 27.2873
2020-05-21 04:30:00 | 5.266 | 304.88 | 5.64 | 324.2587 | 5.9933 | 298.172 | 6.4947 | 325.9173 | 20.4 | 881 | 84.5 | 24.9527
2020-05-21 04:45:00 | 5.5 | 346.6533 | 5.8847 | 318.842 | 6.356 | 339.0293 | 6.832 | 320.4713 | 20.3467 | 881 | 84.3333 | 28.396
2020-05-21 05:00:00 | 5.6787 | 350.0067 | 6.0967 | 323.4173 | 6.4593 | 342.3067 | 7.026 | 325.072 | 20.3733 | 881 | 83.7067 | 29.9973
2020-05-21 05:15:00 | 5.814 | 349.38 | 6.2247 | 322.734 | 6.606 | 341.694 | 7.1553 | 324.3833 | 20.4333 | 881 | 83.66 | 30.8147
2020-05-21 05:30:00 | 6.4527 | 349.14 | 7.0053 | 322.5313 | 7.2173 | 341.4593 | 8.0447 | 324.18 | 20.32 | 881 | 83.8533 | 34.7813
2020-05-21 05:45:00 | 6.1107 | 346.2667 | 6.6527 | 329.724 | 6.8113 | 338.6487 | 7.632 | 331.408 | 20.2467 | 881 | 83.5933 | 34.6847
2020-05-21 06:00:00 | 6.2493 | 344.7 | 6.7707 | 327.7207 | 7.12 | 337.116 | 7.8567 | 329.3967 | 20.1667 | 881 | 84.1533 | 35.4087
2020-05-21 06:15:00 | 6.7053 | 345.7867 | 7.2453 | 326.32 | 7.5267 | 338.18 | 8.32 | 327.988 | 20.1 | 881 | 84.3333 | 38.1353
2020-05-21 06:30:00 | 6.7413 | 344.2533 | 7.2653 | 330.3747 | 7.4973 | 336.6793 | 8.2707 | 332.064 | 20.12 | 881 | 84.22 | 37.5587
2020-05-21 06:45:00 | 6.544 | 346.0933 | 7.062 | 330.3873 | 7.2053 | 338.48 | 8.0027 | 332.0767 | 20.0333 | 881.4 | 85.4933 | 38.1213
2020-05-21 07:00:00 | 6.6873 | 347.86 | 7.2407 | 328.798 | 7.2713 | 339.8487 | 8.1533 | 330.4787 | 20.18 | 882 | 85.5933 | 39.2273
2020-05-21 07:15:00 | 6.9927 | 345.2067 | 7.57 | 331.9987 | 7.7367 | 337.612 | 8.6167 | 333.696 | 20.0067 | 882 | 85.06 | 41.276
2020-05-21 07:30:00 | 6.9013 | 344.3067 | 7.4733 | 333.31 | 7.56 | 336.732 | 8.4513 | 335.0133 | 19.96 | 882 | 84.6 | 42.0033
2020-05-21 07:45:00 | 6.4273 | 342.7933 | 7.0447 | 327.0233 | 7.238 | 335.2513 | 8.17 | 328.6953 | 19.78 | 882 | 82.52 | 38.63
2020-05-21 08:00:00 | 6.626 | 341.4667 | 7.2393 | 324.904 | 7.5687 | 333.956 | 8.4587 | 326.5647 | 20.02 | 882.7333 | 82.1133 | 37.86
2020-05-21 08:15:00 | 6.492 | 343.88 | 7.136 | 323.3653 | 7.4587 | 336.3147 | 8.396 | 325.0187 | 19.94 | 883 | 81.8 | 38.734
2020-05-21 08:30:00 | 6.5173 | 345.3533 | 7.1473 | 326.7173 | 7.3387 | 337.756 | 8.2953 | 328.386 | 20.0133 | 883 | 81.8 | 38.2767
2020-05-21 08:45:00 | 6.3887 | 340.8 | 6.9493 | 326.5407 | 7.1373 | 333.304 | 7.9847 | 328.2093 | 20.0867 | 883 | 81.2067 | 38.3907
2020-05-21 09:00:00 | 5.9113 | 345.86 | 6.5293 | 327.7153 | 6.7507 | 338.2507 | 7.678 | 329.3913 | 20.1067 | 883.0667 | 80.4013 | 36.2567
2020-05-21 09:15:00 | 6.4227 | 341.4533 | 7.01 | 326.3527 | 7.0727 | 333.9413 | 7.9973 | 328.0213 | 20.24 | 884 | 79.4567 | 37.2047
2020-05-21 09:30:00 | 5.9887 | 338.9533 | 6.484 | 324.7547 | 6.3673 | 331.4967 | 7.1987 | 326.4153 | 20.4533 | 884 | 78.13 | 34.258
2020-05-21 09:45:00 | 5.474 | 342.3333 | 5.8407 | 325.016 | 5.7293 | 334.8007 | 6.348 | 326.6767 | 20.4333 | 884 | 76.7953 | 29.8833
2020-05-21 10:00:00 | 5.2613 | 335.8667 | 5.6207 | 326.0913 | 5.5207 | 328.478 | 6.1313 | 327.7573 | 20.52 | 884 | 77.8393 | 30.1987
2020-05-21 10:15:00 | 4.9087 | 339.8867 | 5.3147 | 303.688 | 5.1333 | 332.4087 | 5.84 | 305.24 | 20.8467 | 884 | 76.7947 | 25.2253
2020-05-21 10:30:00 | 5.196 | 336.9333 | 5.468 | 324.7807 | 5.6087 | 329.5207 | 6.006 | 326.4413 | 21.78 | 884.0667 | 73.222 | 27.7313
2020-05-21 10:45:00 | 5.348 | 322.4 | 5.672 | 307.6067 | 6.1153 | 315.3073 | 6.508 | 309.1793 | 22 | 885 | 67.16 | 33.5627
2020-05-21 11:00:00 | 4.2847 | 258.1933 | 4.5247 | 292.872 | 5.0973 | 252.5127 | 5.316 | 294.3707 | 22.7067 | 885 | 65.5213 | 23.206
2020-05-21 11:15:00 | 4.0513 | 256.08 | 4.296 | 162.8827 | 4.73 | 250.446 | 5 | 163.7147 | 23.1067 | 885 | 63.5053 | 17.9847
2020-05-21 11:30:00 | 3.878 | 295.4 | 4.1653 | 244.5187 | 4.4647 | 288.9013 | 4.8373 | 245.7693 | 23.4933 | 885.0667 | 62.5693 | 14.3333
2020-05-21 11:45:00 | 3.62 | 319.58 | 3.8887 | 289.3047 | 4.18 | 312.55 | 4.5273 | 290.784 | 24.0133 | 885.6 | 60.8533 | 11.7347
2020-05-21 12:00:00 | 3.574 | 207.34 | 3.7713 | 304.2427 | 3.9127 | 202.7793 | 4.1927 | 305.798 | 24.4333 | 885.7333 | 58.7873 | 15.0807
2020-05-21 12:15:00 | 4.072 | 296.5267 | 4.3013 | 287.676 | 4.672 | 290.0033 | 4.9353 | 289.1473 | 24.7533 | 886 | 56.874 | 20.3253
2020-05-21 12:30:00 | 4.8253 | 273.6267 | 5.0907 | 307.8933 | 5.5673 | 267.6067 | 5.8553 | 309.4673 | 24.78 | 886 | 55.4747 | 23.672
2020-05-21 12:45:00 | 4.592 | 250.1867 | 4.758 | 304.8627 | 5.174 | 244.6833 | 5.322 | 306.4213 | 25.0933 | 886 | 54.7633 | 20.9253
2020-05-21 13:00:00 | 4.6707 | 321.3733 | 5.0773 | 291.796 | 5.4913 | 314.302 | 6.0227 | 293.2867 | 25.6133 | 885.9333 | 53.2373 | 21.2213
2020-05-21 13:15:00 | 4.2807 | 232.4133 | 4.5513 | 228.5 | 4.93 | 227.3007 | 5.2587 | 229.6687 | 25.78 | 885 | 51.9233 | 21.21
2020-05-21 13:30:00 | 4.4427 | 319.9467 | 4.752 | 267.9913 | 5.284 | 312.9087 | 5.6293 | 269.362 | 26.22 | 885 | 51.4553 | 22.7553
2020-05-21 13:45:00 | 4.4253 | 231.5267 | 4.7187 | 236.9633 | 5.014 | 226.4327 | 5.3993 | 238.174 | 26.62 | 885 | 50.1647 | 22.7733
2020-05-21 14:00:00 | 4.3413 | 292.68 | 4.6173 | 227.45 | 5.0767 | 286.2407 | 5.39 | 228.6133 | 26.98 | 885 | 47.534 | 23.0307
2020-05-21 14:15:00 | 4.674 | 144.0133 | 4.9867 | 245.796 | 5.4233 | 140.8453 | 5.8 | 247.0547 | 27.1933 | 885 | 46.124 | 25.2953
2020-05-21 14:30:00 | 4.8413 | 276.8733 | 5.254 | 204.606 | 5.6313 | 270.7807 | 6.188 | 205.6513 | 27.56 | 885 | 45.756 | 27.3133
2020-05-21 14:45:00 | 5.1193 | 300.4667 | 5.4953 | 184.5113 | 5.976 | 293.8553 | 6.4433 | 185.4513 | 27.5667 | 885 | 44.5267 | 27.6793
2020-05-21 15:00:00 | 5.0167 | 316.5267 | 5.2893 | 231.3487 | 5.866 | 309.5613 | 6.1393 | 232.5313 | 27.7333 | 885 | 44.8567 | 25.4187
2020-05-21 15:15:00 | 4.5993 | 273.4933 | 4.996 | 227.28 | 5.2807 | 267.476 | 5.8373 | 228.444 | 28.1933 | 885 | 41.878 | 23.67
2020-05-21 15:30:00 | 4.408 | 275.8733 | 4.6733 | 210.48 | 5.046 | 269.8033 | 5.3687 | 211.5547 | 28.0933 | 885 | 39.862 | 21.38
2020-05-21 15:45:00 | 4.0947 | 277.9333 | 4.414 | 229.4913 | 4.7833 | 271.818 | 5.192 | 230.664 | 27.6667 | 885 | 42.3893 | 19.4127
2020-05-21 16:00:00 | 4.2733 | 298.04 | 4.5027 | 270.0587 | 4.7953 | 291.484 | 5.0827 | 271.4393 | 27.9533 | 884.9333 | 45.3513 | 16.7107
2020-05-21 16:15:00 | 3.6253 | 235.3933 | 3.8807 | 224.2953 | 4.0953 | 230.2153 | 4.4393 | 225.4413 | 28.04 | 884 | 45.1227 | 11.8993
2020-05-21 16:30:00 | 2.9833 | 233.28 | 3.2327 | 225.428 | 3.4573 | 228.148 | 3.7933 | 226.5813 | 28.1533 | 884 | 44.9253 | 8.0913
2020-05-21 16:45:00 | 3.3773 | 253.5733 | 3.5307 | 284.73 | 3.7267 | 247.9947 | 3.918 | 286.1847 | 28.3 | 884 | 43.0787 | 7.3133
2020-05-21 17:00:00 | 3.262 | 152.5067 | 3.272 | 318.0073 | 3.4213 | 149.1513 | 3.3973 | 319.6327 | 28.5267 | 884 | 42.1833 | 6.638
2020-05-21 17:15:00 | 3.2307 | 245.3133 | 3.354 | 325.674 | 3.6393 | 239.9153 | 3.756 | 327.34 | 28.74 | 884 | 40.8393 | 6.548
2020-05-21 17:30:00 | 3.1967 | 125.5667 | 3.326 | 301.2447 | 3.5607 | 122.8053 | 3.7053 | 302.784 | 28.6267 | 884.7333 | 40.206 | 6.8107
2020-05-21 17:45:00 | 2.7527 | 131.3933 | 2.8 | 309.9533 | 3.0293 | 128.504 | 3.0407 | 311.538 | 28.4533 | 885 | 43.0827 | 3.64
2020-05-21 18:00:00 | 2.394 | 172.14 | 2.5467 | 141.218 | 2.6633 | 168.3533 | 2.878 | 141.9387 | 28.3867 | 884.2667 | 44.436 | 1.5507
2020-05-21 18:15:00 | 2.4733 | 148.3133 | 2.6273 | 55.2567 | 2.5007 | 145.0513 | 2.7827 | 55.5393 | 28.3667 | 884 | 43.9833 | 1.5813
2020-05-21 18:30:00 | 2.3833 | 57.6267 | 2.5573 | 29.848 | 2.464 | 56.3587 | 2.7733 | 30.0013 | 28.28 | 884 | 44.616 | 1.6687
2020-05-21 18:45:00 | 2.2753 | 191.5867 | 2.4373 | 142.9693 | 2.44 | 187.37 | 2.7013 | 143.702 | 28.24 | 884 | 45.0633 | 1.272
2020-05-21 19:00:00 | 2.0753 | 305.0933 | 2.2807 | 176.2493 | 2.3353 | 298.3813 | 2.6453 | 177.1487 | 28.3333 | 884 | 44.856 | 1.0487
2020-05-21 19:15:00 | 2.1813 | 214.2 | 2.3567 | 141.6147 | 2.3473 | 209.4873 | 2.6333 | 142.3367 | 28.1933 | 884 | 45.556 | 1.9027
2020-05-21 19:30:00 | 2.258 | 169.2733 | 2.3793 | 274.302 | 2.3413 | 165.5493 | 2.5533 | 275.7053 | 28.1067 | 884 | 46.2827 | 1.6927
2020-05-21 19:45:00 | 2.1313 | 76.0467 | 2.2593 | 335.9493 | 2.242 | 74.374 | 2.4527 | 337.6667 | 27.9 | 884 | 47.802 | 1.2527
2020-05-21 20:00:00 | 2.128 | 36.4533 | 2.2753 | 271.9373 | 2.2413 | 35.5793 | 2.49 | 273.3267 | 27.8467 | 884 | 49.18 | 1.5247
2020-05-21 20:15:00 | 2.272 | 24.0733 | 2.45 | 35.52 | 2.362 | 23.544 | 2.674 | 35.702 | 27.7667 | 884 | 50.4373 | 1.914
2020-05-21 20:30:00 | 2.3067 | 64.7 | 2.4687 | 35.1367 | 2.5127 | 63.276 | 2.762 | 35.316 | 27.68 | 884 | 52.96 | 1.262
2020-05-21 20:45:00 | 2.7167 | 106.4467 | 2.7187 | 99.2087 | 3.0813 | 104.1047 | 2.982 | 99.7153 | 26.62 | 884 | 51.3947 | 2.4733
2020-05-21 21:00:00 | 2.918 | 109.8533 | 2.988 | 102.3573 | 3.2413 | 107.4367 | 3.2927 | 102.8807 | 26.0267 | 884 | 56.4207 | 5.262
2020-05-21 21:15:00 | 3.1707 | 120.6333 | 3.308 | 118.8607 | 3.6453 | 117.9793 | 3.7713 | 119.468 | 25.42 | 884 | 59.89 | 8.0373
2020-05-21 21:30:00 | 3.19 | 123.4133 | 3.272 | 125.2233 | 3.6873 | 120.6987 | 3.7007 | 125.8633 | 25.0933 | 884 | 63.0747 | 8.1067
2020-05-21 21:45:00 | 3.586 | 130.8533 | 3.6967 | 128.8407 | 4.0613 | 127.9753 | 4.1353 | 129.5007 | 24.7667 | 884 | 65.4393 | 11.652
2020-05-21 22:00:00 | 3.504 | 135.74 | 3.6187 | 135.74 | 3.9813 | 132.7533 | 4.0673 | 136.4333 | 24.46 | 884.0667 | 67.9193 | 10.1113
2020-05-21 22:15:00 | 2.644 | 146.7467 | 2.7093 | 143.178 | 3.1773 | 143.5187 | 3.148 | 143.9107 | 24.3267 | 885 | 69.7093 | 5.0687
2020-05-21 22:30:00 | 2.718 | 137.4267 | 2.7827 | 144.2227 | 3.1107 | 134.4033 | 3.122 | 144.96 | 24.1667 | 885 | 71.2873 | 5.1173
2020-05-21 22:45:00 | 2.5492 | 129.9385 | 2.6569 | 132.2554 | 2.9046 | 126.3029 | 2.9929 | 132.9323 | 23.9929 | 885 | 72.38 | 2.942
2020-05-21 23:00:00 | 2.4667 | 125.96 | 2.5533 | 125.9793 | 2.8147 | 123.1893 | 2.8787 | 126.624 | 23.8 | 885 | 73.354 | 3.1393
2020-05-21 23:15:00 | 2.192 | 128.0933 | 2.274 | 129.012 | 2.3993 | 125.2747 | 2.4967 | 129.6713 | 23.6733 | 885 | 74.2887 | 1.2607
2020-05-21 23:30:00 | 2.0893 | 128.92 | 2.1727 | 123.6313 | 2.2853 | 126.0833 | 2.388 | 124.2647 | 23.5533 | 885 | 75.836 | 1.0893
2020-05-21 23:45:00 | 2.1847 | 134.7267 | 2.274 | 122.6993 | 2.4247 | 131.7627 | 2.5233 | 123.3273 | 23.46 | 885 | 76.3367 | 1.038