## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-22 00:00:00 | 2.4071 | 126.6643 | 2.54 | 120.9236 | 2.6143 | 123.8771 | 2.8079 | 121.5414 | 23.3929 | 885 | 77.0043 | 1.6187
2020-05-22 00:15:00 | 2.5667 | 123.12 | 2.6807 | 124.544 | 2.7687 | 120.4113 | 2.93 | 125.182 | 23.24 | 885 | 77.8807 | 2.0907
2020-05-22 00:30:00 | 2.6047 | 122.92 | 2.6873 | 124.1687 | 2.8693 | 120.2153 | 2.9527 | 124.8007 | 23.1 | 885 | 78.7513 | 2.1487
2020-05-22 00:45:00 | 2.1867 | 117.4467 | 2.2793 | 119.59 | 2.472 | 114.8627 | 2.5633 | 120.2013 | 22.8933 | 885 | 79.6813 | 1.5933
2020-05-22 01:00:00 | 1.774 | 119.24 | 1.8553 | 121.3113 | 2.134 | 116.6167 | 2.182 | 121.9313 | 22.74 | 884.9333 | 80.8933 | 0.78
2020-05-22 01:15:00 | 1.8913 | 120.3067 | 1.9873 | 133.536 | 2.04 | 117.6593 | 2.1827 | 134.2187 | 22.62 | 884 | 83.1133 | 0.21467
2020-05-22 01:30:00 | 1.62 | 116.4933 | 1.7007 | 123.4367 | 1.8587 | 113.932 | 1.9427 | 124.068 | 22.5533 | 884 | 84.2267 | 0
2020-05-22 01:45:00 | 1.4173 | 121 | 1.5127 | 121.8527 | 1.6327 | 118.34 | 1.752 | 122.4767 | 22.5067 | 884 | 85.1 | 0
2020-05-22 02:00:00 | 1.4413 | 128.94 | 1.526 | 124.9287 | 1.6473 | 126.104 | 1.7473 | 125.568 | 22.48 | 883.9333 | 85.5333 | 0
2020-05-22 02:15:00 | 1.6507 | 139.18 | 1.728 | 138.504 | 1.8333 | 136.118 | 1.9267 | 139.2133 | 22.3667 | 883 | 86.3133 | 0
2020-05-22 02:30:00 | 1.9667 | 147.72 | 2.0607 | 140.344 | 2.236 | 144.4707 | 2.3373 | 141.0613 | 22.2 | 883 | 86.5533 | 0
2020-05-22 02:45:00 | 2.1513 | 145.7933 | 2.2693 | 137.3313 | 2.3373 | 142.5867 | 2.5053 | 138.0333 | 22 | 883 | 87.1933 | 0.074
2020-05-22 03:00:00 | 2.238 | 142.3133 | 2.3293 | 138.458 | 2.4547 | 139.182 | 2.568 | 139.1667 | 21.7867 | 883 | 87.8467 | 0.512
2020-05-22 03:15:00 | 2.2827 | 142.2133 | 2.3673 | 131.0593 | 2.64 | 139.086 | 2.7 | 131.728 | 21.4467 | 883 | 88.0667 | 0.90933
2020-05-22 03:30:00 | 2.0247 | 140.56 | 2.1053 | 130.5767 | 2.316 | 137.4673 | 2.3847 | 131.2433 | 21.26 | 883 | 88.6 | 0.32467
2020-05-22 03:45:00 | 1.7693 | 149.64 | 1.8573 | 135.29 | 2.048 | 146.348 | 2.1333 | 135.9813 | 21.1267 | 883 | 89.5333 | 0.037333
2020-05-22 04:00:00 | 1.5347 | 138.7267 | 1.6053 | 129.8387 | 1.8053 | 135.6747 | 1.8633 | 130.5027 | 21.16 | 883 | 90.5533 | 0
2020-05-22 04:15:00 | 1.3607 | 136.7333 | 1.42 | 124.2393 | 1.5847 | 133.7247 | 1.634 | 124.874 | 21.12 | 883 | 91.3 | 0
2020-05-22 04:30:00 | 1.1107 | 147.36 | 1.1813 | 144.9133 | 1.3993 | 144.118 | 1.448 | 145.6547 | 21.16 | 883 | 91.9067 | 0
2020-05-22 04:45:00 | 0.62733 | 178.92 | 0.64333 | 165.9287 | 0.868 | 174.9853 | 0.82867 | 166.7753 | 21.1667 | 883 | 92.34 | 0
2020-05-22 05:00:00 | 0.414 | 118.8467 | 0.41733 | 185.8853 | 0.606 | 116.2327 | 0.55667 | 186.836 | 21.2467 | 883 | 92.5667 | 0
2020-05-22 05:15:00 | 0.33067 | 92.9 | 0.362 | 131.3633 | 0.57867 | 90.8573 | 0.564 | 132.036 | 21.3867 | 883 | 92.84 | 0
2020-05-22 05:30:00 | 0.704 | 107.2533 | 0.79133 | 111.688 | 1.0007 | 104.8933 | 1.0767 | 112.258 | 21.2133 | 883 | 92.9933 | 0
2020-05-22 05:45:00 | 1.3933 | 131.5533 | 1.474 | 129.6027 | 1.628 | 128.658 | 1.714 | 130.2673 | 20.94 | 883 | 92.94 | 0
2020-05-22 06:00:00 | 1.272 | 134.8267 | 1.3653 | 129.892 | 1.448 | 131.8607 | 1.57 | 130.5553 | 20.84 | 883 | 93.48 | 0
2020-05-22 06:15:00 | 1.374 | 139.7667 | 1.4733 | 140.8587 | 1.532 | 136.6927 | 1.674 | 141.5793 | 20.84 | 883 | 93.8267 | 0
2020-05-22 06:30:00 | 1.162 | 127.3 | 1.272 | 132.01 | 1.3187 | 124.4993 | 1.4813 | 132.684 | 20.9467 | 883 | 94.1467 | 0
2020-05-22 06:45:00 | 1.03 | 114.2 | 1.1347 | 148.61 | 1.2113 | 111.688 | 1.356 | 149.3693 | 21.2133 | 883 | 94.2267 | 0
2020-05-22 07:00:00 | 0.866 | 118.1867 | 0.938 | 129.2147 | 1.008 | 115.5847 | 1.1007 | 129.8747 | 21.4067 | 883.7333 | 93.1533 | 0
2020-05-22 07:15:00 | 0.62733 | 97.5067 | 0.66533 | 116.616 | 0.78667 | 95.3613 | 0.812 | 117.2127 | 21.68 | 884 | 92.0733 | 0
2020-05-22 07:30:00 | 0.542 | 60.5867 | 0.606 | 52.024 | 0.64933 | 59.2533 | 0.74267 | 52.2893 | 22.0733 | 884 | 89.56 | 0
2020-05-22 07:45:00 | 0.73933 | 89.74 | 0.79467 | 170.106 | 0.85133 | 87.766 | 0.92467 | 170.976 | 21.9 | 884.4 | 88.5867 | 0
2020-05-22 08:00:00 | 0.72267 | 44.44 | 0.78333 | 253.438 | 0.884 | 43.4613 | 0.954 | 254.734 | 22.12 | 885 | 86.7667 | 0
2020-05-22 08:15:00 | 0.44933 | 226.94 | 0.50333 | 92.6567 | 0.672 | 221.9467 | 0.70733 | 93.1293 | 22.9533 | 885 | 86.38 | 0
2020-05-22 08:30:00 | 0.67867 | 146.1 | 0.742 | 253.2693 | 0.97133 | 142.886 | 1.0047 | 254.564 | 22.6733 | 885 | 86.2533 | 0
2020-05-22 08:45:00 | 0.962 | 300.1867 | 0.99133 | 329.358 | 1.318 | 293.5827 | 1.268 | 331.0427 | 22.68 | 885 | 85.2733 | 0
2020-05-22 09:00:00 | 0.89533 | 248.44 | 0.91933 | 269.2107 | 1.1313 | 242.9753 | 1.1093 | 270.5873 | 23.1267 | 885.0667 | 83.3933 | 0
2020-05-22 09:15:00 | 0.95333 | 133.5533 | 0.94533 | 79.7273 | 1.0513 | 130.616 | 1.0067 | 80.134 | 23.3867 | 886 | 81.9933 | 0
2020-05-22 09:30:00 | 0.85733 | 164.6 | 0.902 | 134.128 | 1.148 | 160.9793 | 1.146 | 134.8147 | 24.2533 | 886 | 79.5287 | 0
2020-05-22 09:45:00 | 0.812 | 216.1467 | 0.856 | 138.902 | 1.0407 | 211.3913 | 1.0553 | 139.6127 | 24.5867 | 886.4 | 76.2673 | 0
2020-05-22 10:00:00 | 1.0753 | 193.7 | 1.0887 | 120.9793 | 1.3433 | 189.438 | 1.294 | 121.598 | 24.6933 | 887 | 73.3853 | 0
2020-05-22 10:15:00 | 1.4353 | 210.2733 | 1.4687 | 134.964 | 1.6653 | 205.648 | 1.6593 | 135.654 | 24.7933 | 887 | 71.558 | 0
2020-05-22 10:30:00 | 1.3167 | 135.7733 | 1.3553 | 122.2687 | 1.544 | 132.7853 | 1.5493 | 122.8953 | 24.9533 | 887 | 71.5913 | 0
2020-05-22 10:45:00 | 1.7633 | 222.7933 | 1.792 | 139.742 | 1.8127 | 217.892 | 1.856 | 140.456 | 25.3867 | 887 | 71.152 | 0
2020-05-22 11:00:00 | 2.3073 | 202.3733 | 2.418 | 131.2553 | 2.4447 | 197.922 | 2.6173 | 131.9247 | 25.26 | 887 | 70.4847 | 0
2020-05-22 11:15:00 | 2.688 | 192.5133 | 2.8233 | 127.394 | 2.8713 | 188.2787 | 3.078 | 128.0467 | 25.38 | 887 | 69.1913 | 0.39067
2020-05-22 11:30:00 | 2.6353 | 184.8333 | 2.7087 | 131.88 | 2.8813 | 180.7667 | 2.952 | 132.554 | 25.6067 | 887 | 64.572 | 0.712
2020-05-22 11:45:00 | 1.966 | 169.1867 | 2.0607 | 147.5273 | 2.1 | 165.464 | 2.2387 | 148.2833 | 26.3067 | 887 | 60.8213 | 0.39267
2020-05-22 12:00:00 | 2.612 | 178.7333 | 2.6513 | 128.2547 | 2.9913 | 174.8013 | 2.9547 | 128.9093 | 26.2533 | 887 | 58.808 | 0.65467
2020-05-22 12:15:00 | 2.6673 | 167.1133 | 2.75 | 130.198 | 3.0207 | 163.4367 | 3.0793 | 130.8633 | 26.26 | 887 | 57.2613 | 1.5067
2020-05-22 12:30:00 | 2.5847 | 164.3133 | 2.7147 | 142.0907 | 2.9887 | 160.6987 | 3.118 | 142.8167 | 26.8533 | 886.9333 | 57.314 | 1.7213
2020-05-22 12:45:00 | 2.81 | 159.4 | 2.9893 | 140.0227 | 3.1547 | 155.8933 | 3.3927 | 140.738 | 27.0333 | 886 | 60.9613 | 2.9913
2020-05-22 13:00:00 | 2.8747 | 189.2333 | 2.9627 | 143.4713 | 3.2987 | 185.0687 | 3.3467 | 144.2067 | 27.02 | 886 | 60.1193 | 3.852
2020-05-22 13:15:00 | 2.6727 | 185.0333 | 2.7373 | 141.974 | 2.9987 | 180.964 | 3.0247 | 142.6987 | 27.3733 | 886 | 59.9033 | 4.1513
2020-05-22 13:30:00 | 3.2047 | 179.7933 | 3.352 | 149.6927 | 3.5327 | 175.838 | 3.72 | 150.4573 | 27.5333 | 886 | 60.228 | 6.6607
2020-05-22 13:45:00 | 3.2547 | 180.3 | 3.414 | 156.8453 | 3.6353 | 176.3333 | 3.8313 | 157.6473 | 27.5333 | 886 | 59.8033 | 9.252
2020-05-22 14:00:00 | 3.1573 | 181.08 | 3.2827 | 157.2107 | 3.246 | 177.096 | 3.4613 | 158.0147 | 27.7867 | 886 | 59.726 | 9.1553
2020-05-22 14:15:00 | 3.0913 | 183.9667 | 3.2027 | 146.3407 | 3.346 | 179.9193 | 3.484 | 147.0887 | 27.86 | 886 | 57.2813 | 6.9527
2020-05-22 14:30:00 | 2.9327 | 185.46 | 3.04 | 139.6587 | 3.194 | 181.3793 | 3.3267 | 140.3733 | 28.08 | 886 | 56.1407 | 7.8067
2020-05-22 14:45:00 | 3.402 | 203.7 | 3.564 | 165.96 | 3.7573 | 199.2187 | 3.9633 | 166.8087 | 28.12 | 886 | 57.0753 | 8.7693
2020-05-22 15:00:00 | 3.378 | 187.56 | 3.478 | 134.748 | 3.596 | 183.432 | 3.718 | 135.438 | 28.1 | 886 | 56.17 | 8.6473
2020-05-22 15:15:00 | 3.378 | 187.56 | 3.478 | 134.748 | 3.596 | 183.432 | 3.718 | 135.438 | 28.1 | 886 | 56.17 | 8.6473
2020-05-22 15:30:00 | 3.378 | 187.56 | 3.478 | 134.748 | 3.596 | 183.432 | 3.718 | 135.438 | 28.1 | 886 | 56.17 | 8.6473
2020-05-22 15:45:00 | 3.378 | 187.56 | 3.478 | 134.748 | 3.596 | 183.432 | 3.718 | 135.438 | 28.1 | 886 | 56.17 | 8.6473
2020-05-22 16:00:00 | 3.378 | 187.56 | 3.478 | 134.748 | 3.596 | 183.432 | 3.718 | 135.438 | 28.1 | 886 | 56.17 | 8.6473
2020-05-22 16:15:00 | 3.378 | 187.56 | 3.478 | 134.748 | 3.596 | 183.432 | 3.718 | 135.438 | 28.1 | 886 | 56.17 | 8.6473
2020-05-22 16:30:00 | 3.647 | 178.7 | 3.885 | 142.994 | 3.552 | 174.768 | 4.03 | 143.724 | 27.91 | 885 | 55.505 | 12.9773
2020-05-22 16:45:00 | 3.647 | 178.7 | 3.885 | 142.994 | 3.552 | 174.768 | 4.03 | 143.724 | 27.91 | 885 | 55.505 | 12.9773
2020-05-22 17:00:00 | 3.647 | 178.7 | 3.885 | 142.994 | 3.552 | 174.768 | 4.03 | 143.724 | 27.91 | 885 | 55.505 | 12.9773
2020-05-22 17:15:00 | 3.647 | 178.7 | 3.885 | 142.994 | 3.552 | 174.768 | 4.03 | 143.724 | 27.91 | 885 | 55.505 | 12.9773
2020-05-22 17:30:00 | 3.5453 | 173.22 | 3.742 | 146.7407 | 3.6673 | 169.408 | 4.006 | 147.4907 | 27.9133 | 884.2667 | 55.976 | 11.404
2020-05-22 17:45:00 | 3.6747 | 174.32 | 3.8693 | 145.5133 | 3.6473 | 170.4847 | 4.0273 | 146.2573 | 27.8467 | 884 | 55.3287 | 13.296
2020-05-22 18:00:00 | 3.728 | 167.8467 | 3.958 | 147.2667 | 3.7227 | 164.154 | 4.1633 | 148.0193 | 27.6533 | 884 | 54.4373 | 16.9273
2020-05-22 18:15:00 | 3.7853 | 173.8133 | 4.0627 | 163.1227 | 3.728 | 169.9887 | 4.27 | 163.9573 | 27.6333 | 884 | 54.1413 | 19.02
2020-05-22 18:30:00 | 5.0127 | 138.6867 | 5.1307 | 135.668 | 5.7087 | 135.636 | 5.7353 | 136.362 | 27.2067 | 884 | 54.3107 | 24.9807
2020-05-22 18:45:00 | 5.3613 | 129.9667 | 5.3967 | 127.688 | 6.1767 | 127.1067 | 6.0093 | 128.3387 | 26.7 | 884 | 53.4793 | 25.868
2020-05-22 19:00:00 | 5.2373 | 140.58 | 5.3227 | 127.6227 | 5.9027 | 137.4867 | 5.8767 | 128.274 | 26.4133 | 884 | 53.5267 | 24.7953
2020-05-22 19:15:00 | 5.1047 | 125.16 | 5.1813 | 125.25 | 5.96 | 122.408 | 5.8613 | 125.8893 | 26.0467 | 884 | 53.798 | 29.6987
2020-05-22 19:30:00 | 5.4607 | 125.0267 | 5.5527 | 124.662 | 6.3933 | 122.2747 | 6.298 | 125.3 | 25.4333 | 884 | 54.812 | 35.8747
2020-05-22 19:45:00 | 4.916 | 133.8533 | 4.98 | 131.9267 | 5.746 | 130.89 | 5.6293 | 132.6 | 24.9333 | 884 | 55.9527 | 30.8373
2020-05-22 20:00:00 | 4.8013 | 127.9133 | 4.8373 | 128.0587 | 5.468 | 125.1007 | 5.3493 | 128.712 | 24.68 | 884 | 56.508 | 28.3953
2020-05-22 20:15:00 | 4.09 | 133.5467 | 4.116 | 126.456 | 4.504 | 130.6087 | 4.4367 | 127.1027 | 24.3133 | 884 | 57.3513 | 21.4693
2020-05-22 20:30:00 | 3.2173 | 142.7733 | 3.2407 | 142.8267 | 3.742 | 139.6327 | 3.6407 | 143.556 | 23.9933 | 884 | 58.246 | 11.8733
2020-05-22 20:45:00 | 3.7493 | 152.92 | 3.8347 | 140.6167 | 4.328 | 149.5553 | 4.3233 | 141.3353 | 24.08 | 884 | 59.0873 | 14.74
2020-05-22 21:00:00 | 3.7067 | 144.76 | 3.8813 | 145.128 | 4.2973 | 141.5753 | 4.4613 | 145.8707 | 23.88 | 884 | 59.6533 | 11.6813
2020-05-22 21:15:00 | 3.6413 | 141.6867 | 3.7767 | 132.6747 | 3.9093 | 138.5687 | 4.088 | 133.3533 | 23.88 | 884 | 59.4587 | 13.516
2020-05-22 21:30:00 | 3.39 | 140.8333 | 3.5307 | 134.0707 | 3.9593 | 137.7333 | 4.0613 | 134.7553 | 23.6467 | 884 | 59.302 | 11.1033
2020-05-22 21:45:00 | 3.172 | 133.9733 | 3.3167 | 132.93 | 3.7973 | 131.0267 | 3.8907 | 133.608 | 23.5067 | 884 | 59.674 | 8.8807
2020-05-22 22:00:00 | 2.582 | 134.4333 | 2.626 | 127.7527 | 2.9807 | 131.4747 | 2.9533 | 128.406 | 23.3867 | 884 | 60.6747 | 4.8267
2020-05-22 22:15:00 | 3.0107 | 132.7 | 3.1293 | 130.1847 | 3.3233 | 129.78 | 3.4613 | 130.8493 | 23.3667 | 884 | 62.242 | 5.058
2020-05-22 22:30:00 | 2.8273 | 145.02 | 2.894 | 129.572 | 3.2393 | 141.83 | 3.2493 | 130.2353 | 23.2333 | 884.6667 | 64.1653 | 6.3513
2020-05-22 22:45:00 | 3.1093 | 126.2333 | 3.2613 | 128.666 | 3.4693 | 123.456 | 3.6573 | 129.3233 | 22.94 | 884.4 | 64.7673 | 6.9473
2020-05-22 23:00:00 | 3.062 | 132.6067 | 3.18 | 124.5707 | 3.3767 | 129.6893 | 3.512 | 125.208 | 22.86 | 885 | 65.0893 | 7.212
2020-05-22 23:15:00 | 3.084 | 130.76 | 3.1833 | 119.942 | 3.442 | 127.2973 | 3.5287 | 120.5553 | 22.6467 | 885 | 65.9087 | 7.5113
2020-05-22 23:30:00 | 3.1067 | 120.1067 | 3.242 | 120.3653 | 3.4253 | 117.4647 | 3.59 | 120.9813 | 22.5667 | 885 | 66.6713 | 8.6693
2020-05-22 23:45:00 | 3.0953 | 122.9667 | 3.2193 | 123.626 | 3.4913 | 120.2613 | 3.6087 | 124.2567 | 22.5267 | 885 | 67.3873 | 7.206