## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-23 00:00:00 | 2.9079 | 140.3214 | 2.9957 | 130.8907 | 3.4457 | 137.2336 | 3.4571 | 131.5621 | 22.3071 | 885 | 68.9191 | 6.4853
2020-05-23 00:15:00 | 3.212 | 132.2867 | 3.3687 | 130.0747 | 3.65 | 129.3767 | 3.8267 | 130.7387 | 22.2267 | 885 | 70.466 | 8.0053
2020-05-23 00:30:00 | 3.1973 | 127.34 | 3.3467 | 120.4707 | 3.5227 | 124.5393 | 3.7127 | 121.0847 | 22.0733 | 885 | 71.2167 | 6.162
2020-05-23 00:45:00 | 3.0967 | 122.8333 | 3.2107 | 123.9973 | 3.3833 | 120.13 | 3.5147 | 124.632 | 22.2467 | 885 | 71.9867 | 5.102
2020-05-23 01:00:00 | 3.2687 | 127.1333 | 3.4033 | 123.9913 | 3.476 | 124.336 | 3.6767 | 124.6253 | 22.0267 | 885 | 73.2073 | 6.82
2020-05-23 01:15:00 | 3.3573 | 121.2133 | 3.5127 | 120.2607 | 3.6707 | 118.5473 | 3.874 | 120.876 | 21.8867 | 884.6 | 73.7007 | 8.582
2020-05-23 01:30:00 | 3.0113 | 132.3067 | 3.1447 | 121.8007 | 3.2593 | 129.3967 | 3.4453 | 122.4233 | 21.7467 | 884 | 74.336 | 5.296
2020-05-23 01:45:00 | 2.4913 | 132.28 | 2.6087 | 125.8413 | 2.8073 | 129.3693 | 2.9413 | 126.486 | 21.6867 | 884 | 74.4753 | 2.9447
2020-05-23 02:00:00 | 2.7193 | 136.0333 | 2.8467 | 128.5093 | 3.0073 | 133.0407 | 3.1673 | 129.166 | 21.7267 | 884 | 74.8167 | 4.4907
2020-05-23 02:15:00 | 2.7553 | 134.68 | 2.8787 | 132.832 | 3.0907 | 131.718 | 3.2273 | 133.51 | 21.6 | 884 | 76.012 | 4.624
2020-05-23 02:30:00 | 2.466 | 134.3867 | 2.5867 | 136.7833 | 2.7647 | 131.43 | 2.9087 | 137.4813 | 21.7067 | 884 | 75.8007 | 3.056
2020-05-23 02:45:00 | 2.5207 | 130.1533 | 2.6607 | 128.4707 | 2.7873 | 127.2893 | 2.976 | 129.1273 | 21.5333 | 884 | 75.106 | 3.366
2020-05-23 03:00:00 | 1.9253 | 140.4267 | 2.02 | 139.9453 | 2.168 | 137.3373 | 2.2773 | 140.6593 | 21.7267 | 884 | 75.9907 | 1.0053
2020-05-23 03:15:00 | 2.1093 | 153.2667 | 2.1707 | 146.3673 | 2.2513 | 149.8947 | 2.3267 | 147.1153 | 21.7533 | 884 | 75.356 | 0.92133
2020-05-23 03:30:00 | 2.0853 | 150.6267 | 2.1827 | 142.598 | 2.2367 | 147.3133 | 2.38 | 143.3273 | 21.6133 | 884 | 75.2927 | 1.3367
2020-05-23 03:45:00 | 1.9893 | 167.3867 | 2.0993 | 148.9493 | 2.1733 | 163.7033 | 2.328 | 149.7107 | 21.5 | 884 | 75.5507 | 0.54533
2020-05-23 04:00:00 | 1.702 | 154.9333 | 1.786 | 157.1267 | 1.9287 | 151.5253 | 2.02 | 157.928 | 21.5133 | 884 | 75.7647 | 0
2020-05-23 04:15:00 | 1.5393 | 144.9467 | 1.5913 | 151.6487 | 1.6067 | 141.7587 | 1.69 | 152.424 | 21.52 | 884 | 76.6553 | 0
2020-05-23 04:30:00 | 1.402 | 121.5667 | 1.4753 | 136.2553 | 1.424 | 118.8927 | 1.5573 | 136.952 | 21.5133 | 883.9333 | 77.1247 | 0
2020-05-23 04:45:00 | 0.81133 | 120.5133 | 0.88733 | 130.5827 | 0.85333 | 117.862 | 0.98933 | 131.25 | 21.4733 | 883 | 77.476 | 0
2020-05-23 05:00:00 | 0.474 | 89.14 | 0.53333 | 100.474 | 0.59933 | 87.1793 | 0.67733 | 100.9873 | 21.5733 | 883.7333 | 80.0427 | 0
2020-05-23 05:15:00 | 0.64533 | 75.5267 | 0.68333 | 99.3827 | 0.76467 | 73.864 | 0.80267 | 99.8927 | 21.4867 | 884 | 80.8067 | 0
2020-05-23 05:30:00 | 0.472 | 58.1333 | 0.51533 | 73.1987 | 0.51067 | 56.8547 | 0.582 | 73.5733 | 21.6133 | 884 | 80.3567 | 0
2020-05-23 05:45:00 | 0.394 | 104.5533 | 0.402 | 100.7133 | 0.452 | 102.2533 | 0.448 | 101.228 | 21.66 | 884 | 81.8267 | 0
2020-05-23 06:00:00 | 0.29 | 104.3267 | 0.33067 | 93.5887 | 0.298 | 102.032 | 0.36933 | 94.066 | 21.7533 | 884 | 82.8333 | 0
2020-05-23 06:15:00 | 0.52467 | 31.0333 | 0.53333 | 98.974 | 0.65867 | 30.3507 | 0.63667 | 99.4807 | 21.6733 | 884 | 83.82 | 0
2020-05-23 06:30:00 | 0.51533 | 43.66 | 0.49467 | 219.3207 | 0.68867 | 42.7 | 0.6 | 220.4407 | 21.66 | 884 | 84.2933 | 0
2020-05-23 06:45:00 | 1.5493 | 261.02 | 1.5727 | 335.7073 | 1.906 | 255.278 | 1.846 | 337.4253 | 21.5933 | 884.4 | 83.9667 | 0
2020-05-23 07:00:00 | 2.52 | 323.1733 | 2.676 | 307.2947 | 3.082 | 316.064 | 3.2133 | 308.8647 | 21.5467 | 885 | 84.8 | 0.18
2020-05-23 07:15:00 | 2.2 | 326.58 | 2.3273 | 322.7467 | 2.7387 | 319.3973 | 2.8247 | 324.398 | 21.04 | 885 | 84.12 | 0.95
2020-05-23 07:30:00 | 2.4553 | 268.14 | 2.5287 | 334.854 | 2.9967 | 262.2413 | 2.9833 | 336.5667 | 20.8867 | 885.0667 | 82.7467 | 2.1853
2020-05-23 07:45:00 | 3.2773 | 347.5733 | 3.436 | 333.394 | 3.838 | 339.9253 | 3.9793 | 335.0987 | 20.7467 | 886 | 82.18 | 5.106
2020-05-23 08:00:00 | 3.89 | 348.6 | 4.0813 | 330.2707 | 4.4447 | 340.9313 | 4.6467 | 331.9587 | 21.1 | 886 | 81.2533 | 8.0467
2020-05-23 08:15:00 | 3.6233 | 320.56 | 3.8333 | 328.3727 | 4.1273 | 313.508 | 4.3807 | 330.054 | 21.3267 | 886 | 79.1253 | 6.632
2020-05-23 08:30:00 | 3.4973 | 341.38 | 3.7167 | 329.0587 | 3.9187 | 333.8707 | 4.212 | 330.7387 | 21.8 | 886.7333 | 77.4107 | 5.5693
2020-05-23 08:45:00 | 2.974 | 341.2533 | 3.1547 | 334.8487 | 3.4707 | 333.746 | 3.6673 | 336.5607 | 21.9667 | 887 | 74.318 | 3.9467
2020-05-23 09:00:00 | 2.918 | 344.82 | 3.1667 | 321.344 | 3.486 | 337.234 | 3.7893 | 322.986 | 22.0533 | 887.6667 | 73.91 | 3.7907
2020-05-23 09:15:00 | 2.666 | 315.78 | 2.91 | 317.134 | 3.288 | 308.8333 | 3.5653 | 318.754 | 22.7133 | 887.4 | 74.6427 | 3.462
2020-05-23 09:30:00 | 2.44 | 297.46 | 2.6067 | 246.8533 | 3.0053 | 290.9173 | 3.1587 | 248.116 | 23.08 | 888 | 73.28 | 3.0213
2020-05-23 09:45:00 | 2.188 | 204.1533 | 2.32 | 228.774 | 2.78 | 199.6613 | 2.8573 | 229.9427 | 23.4533 | 888 | 72.3147 | 2.3873
2020-05-23 10:00:00 | 2.772 | 317.5667 | 3.0493 | 208.9853 | 3.1827 | 311.1993 | 3.59 | 210.2507 | 24.0067 | 888 | 70.516 | 2.9893
2020-05-23 10:15:00 | 2.78 | 176.9333 | 2.8893 | 184.046 | 3.078 | 173.042 | 3.1993 | 184.986 | 24.16 | 888 | 67.0407 | 6.986
2020-05-23 10:30:00 | 3.3887 | 241.7733 | 3.5447 | 224.4393 | 3.814 | 236.454 | 3.9887 | 225.586 | 24.42 | 888 | 63.7953 | 9.7887
2020-05-23 10:45:00 | 3.7473 | 238.36 | 3.9273 | 186.4607 | 4.066 | 233.1153 | 4.3173 | 187.4133 | 24.7267 | 888 | 60.5347 | 14.806
2020-05-23 11:00:00 | 3.854 | 203.1 | 3.9893 | 247.1407 | 4.14 | 198.632 | 4.3153 | 248.4027 | 25.1733 | 888 | 56.9393 | 18.9473
2020-05-23 11:15:00 | 4.4673 | 188.2133 | 4.678 | 289.5013 | 4.9433 | 184.0727 | 5.2067 | 290.9827 | 25.52 | 888 | 54.8273 | 22.9367
2020-05-23 11:30:00 | 4.394 | 124.14 | 4.6247 | 247.8387 | 4.906 | 121.408 | 5.1993 | 249.1047 | 25.86 | 888 | 52.9587 | 25.6373
2020-05-23 11:45:00 | 4.6353 | 229.8867 | 4.926 | 251.9653 | 5.616 | 224.83 | 5.8833 | 253.2527 | 26.16 | 888 | 50.698 | 26.478
2020-05-23 12:00:00 | 4.7167 | 253.1333 | 5.0633 | 187.7167 | 5.4847 | 247.5633 | 5.9167 | 188.678 | 26.4467 | 888 | 47.3333 | 24.6533
2020-05-23 12:15:00 | 4.614 | 295.52 | 4.964 | 81.572 | 5.4893 | 289.0173 | 5.8993 | 81.9893 | 26.98 | 888 | 44.9447 | 22.576
2020-05-23 12:30:00 | 4.7013 | 254.5333 | 4.9893 | 188.4347 | 5.4507 | 248.9347 | 5.7827 | 189.398 | 27.3 | 888 | 43.4367 | 21.698
2020-05-23 12:45:00 | 4.8613 | 234.3133 | 5.274 | 207.114 | 5.708 | 228.826 | 6.2447 | 208.1733 | 27.5867 | 888 | 41.7367 | 22.7233
2020-05-23 13:00:00 | 4.4553 | 274.6067 | 4.748 | 210.7927 | 5.078 | 268.5633 | 5.452 | 211.8687 | 27.8733 | 887.9333 | 41.0127 | 21.242
2020-05-23 13:15:00 | 4.588 | 335.86 | 4.8627 | 227.2413 | 5.248 | 328.4707 | 5.58 | 228.402 | 28.1067 | 887 | 38.6987 | 22.6767
2020-05-23 13:30:00 | 4.1313 | 317.82 | 4.3713 | 120.946 | 4.8993 | 310.8273 | 5.134 | 121.5653 | 28.48 | 887 | 37.8793 | 19.052
2020-05-23 13:45:00 | 4.0733 | 310.0933 | 4.3487 | 267.3073 | 4.7347 | 303.2707 | 5.0627 | 268.674 | 28.6333 | 887 | 37.02 | 15.368
2020-05-23 14:00:00 | 3.7427 | 289.62 | 3.9627 | 229.6147 | 4.262 | 283.248 | 4.5293 | 230.788 | 28.8867 | 887 | 36.1833 | 13.1753
2020-05-23 14:15:00 | 3.5867 | 267.26 | 3.8467 | 205.816 | 4.0867 | 261.3807 | 4.4353 | 206.8693 | 29.18 | 887 | 35.4067 | 14.304
2020-05-23 14:30:00 | 3.3987 | 312.26 | 3.6007 | 187.9273 | 3.8687 | 305.3913 | 4.1153 | 188.8867 | 29.2133 | 887 | 34.692 | 11.704
2020-05-23 14:45:00 | 3.0773 | 282.7933 | 3.2567 | 140.2967 | 3.5987 | 276.572 | 3.7887 | 141.0153 | 29.66 | 886.6 | 34.6327 | 9.9193
2020-05-23 15:00:00 | 3.2787 | 315.5333 | 3.4367 | 284.872 | 3.6453 | 308.592 | 3.8407 | 286.328 | 29.5133 | 886 | 34.1353 | 8.8967
2020-05-23 15:15:00 | 2.934 | 328.84 | 3.1613 | 246.572 | 3.4033 | 321.6053 | 3.696 | 247.834 | 29.8067 | 886 | 33.6207 | 7.7087
2020-05-23 15:30:00 | 3.2173 | 234.5867 | 3.3927 | 220.1347 | 3.7633 | 229.4253 | 3.942 | 221.2607 | 29.9 | 886 | 33.7647 | 10.0907
2020-05-23 15:45:00 | 3.022 | 295.1467 | 3.2273 | 226.446 | 3.3773 | 288.6547 | 3.6633 | 227.6047 | 30.0467 | 886 | 33.626 | 8.0333
2020-05-23 16:00:00 | 3.0153 | 326.1133 | 3.16 | 316.9953 | 3.2807 | 318.9393 | 3.4833 | 318.6173 | 30.0133 | 885.9333 | 33.3287 | 8.2747
2020-05-23 16:15:00 | 3.456 | 310.4733 | 3.6407 | 271.4207 | 3.802 | 303.6427 | 4.0527 | 272.8087 | 29.8933 | 885 | 33.7787 | 8.976
2020-05-23 16:30:00 | 3.2773 | 281.72 | 3.4887 | 236.3627 | 3.8827 | 275.522 | 4.1073 | 237.5713 | 30.0267 | 885 | 34.1933 | 9.2467
2020-05-23 16:45:00 | 3.81 | 279.1133 | 3.9793 | 319.0113 | 4.2667 | 272.9727 | 4.4533 | 320.642 | 29.9067 | 885 | 34.4513 | 11.3607
2020-05-23 17:00:00 | 3.522 | 269.1933 | 3.802 | 287.8913 | 4.2073 | 263.2707 | 4.5387 | 289.3633 | 30.1667 | 885 | 34.4133 | 12.5053
2020-05-23 17:15:00 | 4.0707 | 316.1133 | 4.2913 | 323.7167 | 4.5793 | 309.158 | 4.85 | 325.3727 | 29.8867 | 885 | 34.4393 | 16.3127
2020-05-23 17:30:00 | 3.588 | 265.08 | 3.7367 | 298.636 | 4.124 | 259.2467 | 4.2553 | 300.164 | 29.7933 | 884.9333 | 34.5173 | 11.4847
2020-05-23 17:45:00 | 3.2493 | 226.6533 | 3.4547 | 270.0447 | 3.8287 | 221.668 | 4.052 | 271.4267 | 29.84 | 884 | 35.8593 | 11.2833
2020-05-23 18:00:00 | 3.2707 | 248.56 | 3.33 | 302.9387 | 3.55 | 243.0907 | 3.582 | 304.4873 | 29.2667 | 884 | 37.3713 | 10.3333
2020-05-23 18:15:00 | 2.9367 | 160.5067 | 3.158 | 197.518 | 3.5833 | 156.9753 | 3.814 | 198.5273 | 28.76 | 884 | 38.6007 | 5.0653
2020-05-23 18:30:00 | 3.272 | 93.6 | 3.3547 | 117.6467 | 3.7127 | 91.5407 | 3.7433 | 118.248 | 26.7 | 884 | 41.708 | 7.2213
2020-05-23 18:45:00 | 2.1467 | 112.1 | 2.1653 | 126.5073 | 2.156 | 109.634 | 2.192 | 127.1527 | 25.62 | 884 | 53.1873 | 5.8527
2020-05-23 19:00:00 | 2.2807 | 212.4 | 2.2267 | 104.5993 | 2.56 | 207.7273 | 2.38 | 105.1333 | 24.6533 | 883.3333 | 60.102 | 3.3453
2020-05-23 19:15:00 | 2.6753 | 119.9733 | 2.658 | 107.944 | 2.8753 | 117.3353 | 2.786 | 108.496 | 23.9 | 883.6 | 62.4107 | 3.456
2020-05-23 19:30:00 | 1.9593 | 215.62 | 1.9887 | 129.612 | 2.33 | 210.876 | 2.28 | 130.2733 | 24.1933 | 883.0667 | 62.9727 | 2.752
2020-05-23 19:45:00 | 1.9927 | 192.92 | 1.9747 | 106.556 | 2.322 | 188.6747 | 2.1947 | 107.1007 | 23.9533 | 884 | 62.972 | 5.3853
2020-05-23 20:00:00 | 3.1407 | 128.3133 | 3.2067 | 161.4353 | 3.5187 | 125.492 | 3.538 | 162.26 | 23.16 | 884 | 62.2527 | 11.5727
2020-05-23 20:15:00 | 3.8 | 66.1333 | 4.102 | 38.4293 | 4.3693 | 64.6787 | 4.7747 | 38.6253 | 23.0267 | 884 | 63.5207 | 20.9487
2020-05-23 20:30:00 | 3.052 | 54.0733 | 3.202 | 28.14 | 3.6013 | 52.8827 | 3.7247 | 28.2847 | 22.9733 | 884.7333 | 67.2453 | 8.6487
2020-05-23 20:45:00 | 1.9853 | 113.7333 | 2.0367 | 145.9953 | 2.5013 | 111.2307 | 2.4507 | 146.7427 | 21.7333 | 885 | 71.448 | 0.28133
2020-05-23 21:00:00 | 2.126 | 134.56 | 2.1453 | 150.7753 | 2.3593 | 131.5993 | 2.3287 | 151.546 | 20.5667 | 885.7333 | 79.846 | 3.4347
2020-05-23 21:15:00 | 2.026 | 86.9267 | 2.1313 | 94.052 | 2.0913 | 85.014 | 2.2773 | 94.5327 | 19.9267 | 886 | 94.6933 | 1.7733
2020-05-23 21:30:00 | 2.638 | 53.4867 | 2.782 | 53.5167 | 2.9213 | 52.31 | 3.1147 | 53.7893 | 19.8867 | 886 | 97.5867 | 4.202
2020-05-23 21:45:00 | 4.3787 | 37.2267 | 4.8 | 40.2013 | 4.672 | 36.408 | 5.3847 | 40.408 | 19.4867 | 886 | 97.8133 | 19.958
2020-05-23 22:00:00 | 6.476 | 144.8133 | 6.988 | 210.38 | 6.9987 | 141.6267 | 7.8213 | 211.4567 | 18.54 | 886.6667 | 97.9 | 41.6393
2020-05-23 22:15:00 | 8.0027 | 281.44 | 8.546 | 318.5347 | 8.7387 | 275.248 | 9.556 | 320.1627 | 17.8267 | 886 | 98.9 | 54.2127
2020-05-23 22:30:00 | 8.4933 | 214.6 | 9.284 | 288.6867 | 9.946 | 209.8787 | 11.0267 | 290.162 | 17.8467 | 886 | 99.26 | 54.9327
2020-05-23 22:45:00 | 8.2113 | 282.3867 | 8.8947 | 330.5247 | 9.5553 | 276.1753 | 10.4593 | 332.216 | 17.5333 | 886 | 99.58 | 54.1
2020-05-23 23:00:00 | 7.9667 | 347.2933 | 8.5393 | 332.8567 | 8.942 | 339.6533 | 9.7507 | 334.56 | 18.2 | 886.0667 | 99.8667 | 50.4153
2020-05-23 23:15:00 | 7.9833 | 343.24 | 8.6 | 324.1607 | 8.6767 | 335.688 | 9.6447 | 325.818 | 17.94 | 886.6 | 100 | 52.0813
2020-05-23 23:30:00 | 8.0073 | 342.8067 | 8.6567 | 324.0693 | 8.8593 | 335.2647 | 9.8467 | 325.728 | 17.7667 | 886 | 100 | 55.4967
2020-05-23 23:45:00 | 8.366 | 320.3667 | 9.0187 | 308.8853 | 9.1313 | 313.3193 | 10.146 | 310.4647 | 18.1067 | 886 | 100 | 56.8507