## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-24 00:00:00 | 8.6793 | 339.85 | 9.3643 | 327.8543 | 9.5579 | 332.3736 | 10.5971 | 329.5307 | 18.0143 | 886 | 100 | 56.3007
2020-05-24 00:15:00 | 8.7487 | 342.88 | 9.5307 | 327.662 | 9.6553 | 335.3367 | 10.878 | 329.3373 | 17.9133 | 886 | 100 | 59.3493
2020-05-24 00:30:00 | 8.3493 | 323.9733 | 8.9707 | 334.274 | 9.3493 | 316.8467 | 10.236 | 335.9833 | 17.92 | 886 | 100 | 58.852
2020-05-24 00:45:00 | 8.0473 | 299.8733 | 8.582 | 314.59 | 8.8767 | 293.2753 | 9.6467 | 316.198 | 17.8733 | 886 | 100 | 59.6293
2020-05-24 01:00:00 | 8.4153 | 343.2067 | 8.986 | 334.8733 | 9.6593 | 335.6567 | 10.3813 | 336.5853 | 17.6 | 886 | 100 | 60.7333
2020-05-24 01:15:00 | 8.8913 | 297.7933 | 9.502 | 332.324 | 9.994 | 291.242 | 10.8333 | 334.0233 | 17.5933 | 886 | 100 | 61.36
2020-05-24 01:30:00 | 8.74 | 312.99 | 9.434 | 333.468 | 9.86 | 306.105 | 10.855 | 335.174 | 17.57 | 886 | 99.84 | 61.3827
2020-05-24 01:45:00 | 8.908 | 337.0733 | 9.4967 | 328.4513 | 9.6753 | 329.6567 | 10.5753 | 330.1313 | 17.6867 | 886 | 99.36 | 58.6647
2020-05-24 02:00:00 | 8.5567 | 343.0933 | 9.1747 | 329.3007 | 9.4773 | 335.5447 | 10.386 | 330.9833 | 17.4533 | 886 | 98.7 | 60.6647
2020-05-24 02:15:00 | 8.4287 | 296.7933 | 8.9973 | 326.978 | 9.3733 | 290.264 | 10.1813 | 328.65 | 17.4 | 886 | 98.32 | 60.464
2020-05-24 02:30:00 | 8.9627 | 339.9733 | 9.6007 | 329.9513 | 9.6127 | 332.0053 | 10.6387 | 331.6373 | 17.4733 | 886 | 97.76 | 59.942
2020-05-24 02:45:00 | 9.378 | 341.04 | 9.9407 | 323.698 | 9.9393 | 333.5367 | 10.8527 | 325.3513 | 17.5733 | 886 | 96.16 | 58.744
2020-05-24 03:00:00 | 9.3393 | 335.0867 | 10.0167 | 324.8993 | 10.102 | 327.7147 | 11.17 | 326.5573 | 17.4667 | 886 | 95.44 | 55.7907
2020-05-24 03:15:00 | 9.5127 | 342.1667 | 10.216 | 326.8733 | 10.2713 | 334.6393 | 11.3847 | 328.5453 | 16.72 | 886 | 96.44 | 60.076
2020-05-24 03:30:00 | 9.5833 | 341.56 | 10.318 | 332.8593 | 10.4513 | 334.046 | 11.59 | 334.5613 | 16.48 | 885.3333 | 98.2667 | 60.4733
2020-05-24 03:45:00 | 10.2113 | 320.7867 | 10.9013 | 332.7793 | 11.3787 | 313.7287 | 12.3487 | 334.4833 | 15.92 | 885.6 | 99.1 | 58.8947
2020-05-24 04:00:00 | 9.5147 | 339.7933 | 10.2787 | 329.2673 | 10.3093 | 332.3173 | 11.5253 | 330.95 | 15.5267 | 885 | 99.1867 | 61.7587
2020-05-24 04:15:00 | 9.896 | 341.62 | 10.652 | 329.038 | 10.654 | 334.1047 | 11.87 | 330.72 | 15.8267 | 885 | 99.2933 | 61.2287
2020-05-24 04:30:00 | 10.13 | 343.0333 | 10.838 | 331.1833 | 10.978 | 335.488 | 12.0753 | 332.876 | 15.5933 | 885 | 99.4733 | 61.3667
2020-05-24 04:45:00 | 9.594 | 322.8 | 10.39 | 328.934 | 10.914 | 315.698 | 12.042 | 330.6167 | 15.0933 | 885 | 99.5933 | 59.7833
2020-05-24 05:00:00 | 10.1427 | 339.3867 | 10.8827 | 327.7473 | 11.3293 | 331.9207 | 12.388 | 329.4227 | 15.3933 | 885 | 99.6933 | 59.92
2020-05-24 05:15:00 | 10.1593 | 339.2267 | 10.8887 | 323.718 | 10.7607 | 331.7633 | 11.97 | 325.3727 | 15.5667 | 885 | 98.9933 | 59.7193
2020-05-24 05:30:00 | 10.83 | 340.0933 | 11.676 | 325.27 | 11.7653 | 332.6113 | 13.102 | 326.9327 | 15.58 | 885 | 96.9667 | 61.668
2020-05-24 05:45:00 | 10.6947 | 334.5933 | 11.4767 | 323.5153 | 11.3807 | 327.232 | 12.6633 | 325.17 | 16.0467 | 885 | 96.6133 | 61.762
2020-05-24 06:00:00 | 10.784 | 341.8867 | 11.4693 | 328.138 | 11.806 | 334.3653 | 12.8127 | 329.8167 | 16.06 | 885 | 95.9 | 63.2407
2020-05-24 06:15:00 | 10.63 | 343.88 | 11.5033 | 333.4533 | 11.602 | 336.3153 | 12.9773 | 335.158 | 15.84 | 885 | 95.8867 | 62.8133
2020-05-24 06:30:00 | 9.9867 | 338.6267 | 10.7833 | 309.4907 | 10.872 | 331.1767 | 12.1247 | 311.074 | 15.6467 | 885 | 97.0067 | 62.6853
2020-05-24 06:45:00 | 10.242 | 341.6733 | 11.0433 | 329.3567 | 10.9707 | 334.1567 | 12.2807 | 331.0413 | 15.5267 | 885 | 96.9133 | 62.936
2020-05-24 07:00:00 | 9.436 | 317.8067 | 10.1567 | 330.832 | 10.5587 | 310.816 | 11.6013 | 332.5233 | 15.6 | 885 | 96.8333 | 62.0213
2020-05-24 07:15:00 | 8.92 | 338.5467 | 9.5713 | 326.4313 | 9.8973 | 331.0967 | 10.8527 | 328.1 | 15.6267 | 885.4 | 96.5 | 61.6887
2020-05-24 07:30:00 | 8.2867 | 338.8467 | 8.7967 | 327.8513 | 8.868 | 331.3927 | 9.672 | 329.528 | 15.1667 | 886.0667 | 96.44 | 61.184
2020-05-24 07:45:00 | 8.3753 | 340.2533 | 9.0013 | 327.6693 | 9.034 | 332.09 | 10.02 | 329.3453 | 14.6533 | 887 | 97 | 60.0893
2020-05-24 08:00:00 | 7.39 | 339.5467 | 7.9267 | 310.0373 | 8.0953 | 332.0767 | 8.9133 | 311.6247 | 14.3067 | 887 | 98.82 | 56.6467
2020-05-24 08:15:00 | 6.9773 | 337.5467 | 7.4287 | 329.024 | 7.7073 | 330.12 | 8.356 | 330.708 | 14.8333 | 887 | 99.7333 | 51.392
2020-05-24 08:30:00 | 8.2473 | 336.4667 | 8.8633 | 323.5413 | 9.1407 | 329.0647 | 10.0467 | 325.1967 | 14.2533 | 887 | 99.9733 | 57.9413
2020-05-24 08:45:00 | 8.8653 | 338.2 | 9.5373 | 322.7473 | 9.9333 | 330.7593 | 10.9007 | 324.3973 | 14.42 | 887 | 100 | 59.7973
2020-05-24 09:00:00 | 8.762 | 318.68 | 9.4407 | 325.9333 | 9.8933 | 311.6687 | 10.856 | 327.6013 | 14.62 | 887 | 100 | 62.0893
2020-05-24 09:15:00 | 8.5933 | 319.4533 | 9.346 | 328.4333 | 9.802 | 312.4247 | 10.8773 | 330.1107 | 14.5067 | 887 | 100 | 62.1233
2020-05-24 09:30:00 | 8.3587 | 337.9467 | 9.1487 | 326.1753 | 9.292 | 330.512 | 10.5233 | 327.8427 | 14.3933 | 887.7333 | 100 | 60.5227
2020-05-24 09:45:00 | 8.3913 | 320.0733 | 9.0387 | 334.4827 | 9.4307 | 313.0327 | 10.358 | 336.1933 | 14.3 | 888 | 100 | 60.866
2020-05-24 10:00:00 | 8.4593 | 317.8733 | 9.03 | 337.1693 | 9.5693 | 310.8793 | 10.3333 | 338.8927 | 14.28 | 888 | 100 | 59.222
2020-05-24 10:15:00 | 8.3727 | 346.58 | 8.9067 | 312.666 | 9.45 | 338.954 | 10.1533 | 314.2653 | 14.3533 | 888 | 100 | 59.262
2020-05-24 10:30:00 | 8.0587 | 321.4733 | 8.5967 | 329.9847 | 9.0973 | 314.4007 | 9.8187 | 331.67 | 14.7 | 888 | 100 | 59.2507
2020-05-24 10:45:00 | 8.6187 | 319.3533 | 9.296 | 327.8187 | 9.2933 | 312.3273 | 10.3827 | 329.4953 | 14.92 | 888 | 100 | 59.5593
2020-05-24 11:00:00 | 8.6407 | 340.9933 | 9.3127 | 326.7293 | 9.4853 | 333.4913 | 10.5133 | 328.402 | 15.0467 | 888 | 100 | 58.736
2020-05-24 11:15:00 | 8.7073 | 341.2067 | 9.3313 | 326.8673 | 9.6453 | 333.6993 | 10.558 | 328.538 | 15.2 | 888 | 100 | 58.1607
2020-05-24 11:30:00 | 8.1847 | 344.24 | 8.7727 | 325.836 | 9.1287 | 336.6673 | 9.9693 | 327.502 | 15.2 | 888 | 100 | 58.7133
2020-05-24 11:45:00 | 8.73 | 339.1067 | 9.34 | 328.0933 | 9.6533 | 331.646 | 10.54 | 329.7693 | 15.3333 | 888 | 100 | 57.4413
2020-05-24 12:00:00 | 8.854 | 317.2533 | 9.4233 | 321.6913 | 9.72 | 310.2733 | 10.5553 | 323.3353 | 15.3467 | 888 | 100 | 59.4647
2020-05-24 12:15:00 | 8.484 | 340.18 | 8.968 | 320.81 | 9.4067 | 332.6953 | 10.0627 | 322.4507 | 15.4733 | 888 | 100 | 59.256
2020-05-24 12:30:00 | 7.91 | 341.3667 | 8.3993 | 328.5507 | 8.856 | 333.854 | 9.5107 | 330.2293 | 15.44 | 888 | 100 | 57.6133
2020-05-24 12:45:00 | 7.36 | 300.48 | 7.7727 | 326.15 | 8.4213 | 293.87 | 8.9 | 327.8173 | 15.4067 | 888 | 100 | 58.558
2020-05-24 13:00:00 | 7.5053 | 312.3933 | 7.8807 | 329.6767 | 8.458 | 305.5213 | 8.8913 | 331.3633 | 15.3867 | 888 | 100 | 58.6773
2020-05-24 13:15:00 | 7.32 | 339.1867 | 7.7447 | 328.7393 | 8.1473 | 331.7233 | 8.7153 | 330.4193 | 15.2933 | 888 | 100 | 58.6493
2020-05-24 13:30:00 | 7.4587 | 339.9133 | 7.9673 | 330.922 | 8.1653 | 332.4347 | 8.9267 | 332.614 | 15.3267 | 888 | 100 | 58.5947
2020-05-24 13:45:00 | 7.608 | 311.28 | 8.0753 | 330.3487 | 8.4533 | 304.432 | 9.094 | 332.038 | 15.2 | 887.6 | 100 | 59.7747
2020-05-24 14:00:00 | 7.3933 | 271.8 | 7.7627 | 304.1713 | 8.4207 | 265.8207 | 8.826 | 305.726 | 15.34 | 887 | 100 | 58.588
2020-05-24 14:15:00 | 7.4413 | 319.4733 | 7.7333 | 325.74 | 8.102 | 312.4447 | 8.4673 | 327.4053 | 15.2867 | 887 | 100 | 57.6567
2020-05-24 14:30:00 | 7.6187 | 335.3667 | 7.9547 | 323.7713 | 8.4007 | 327.9887 | 8.8207 | 325.4253 | 15.2133 | 887 | 100 | 56.5813
2020-05-24 14:45:00 | 7.7387 | 314.92 | 8.0153 | 323.5027 | 8.2227 | 307.9907 | 8.614 | 325.156 | 15.1867 | 887 | 100 | 55.9653
2020-05-24 15:00:00 | 7.7413 | 334.02 | 8.0993 | 321.5793 | 8.4233 | 326.6707 | 8.9033 | 323.224 | 15.0933 | 887 | 100 | 57.6373
2020-05-24 15:15:00 | 8.102 | 332.8333 | 8.5727 | 323.7447 | 8.7447 | 325.5107 | 9.456 | 325.4 | 14.94 | 886.6 | 100 | 57.448
2020-05-24 15:30:00 | 8.054 | 334.9467 | 8.494 | 322.518 | 8.7653 | 327.578 | 9.3893 | 324.1673 | 14.6867 | 886 | 100 | 59.1253
2020-05-24 15:45:00 | 8.7567 | 333.2133 | 9.2713 | 323.6907 | 9.602 | 325.8827 | 10.336 | 325.3467 | 14.58 | 886 | 100 | 60.6927
2020-05-24 16:00:00 | 9.1473 | 334.2067 | 9.7347 | 326.1573 | 9.964 | 326.8547 | 10.8487 | 327.8233 | 14.6067 | 886 | 100 | 61.7033
2020-05-24 16:15:00 | 9.194 | 342.18 | 9.8193 | 328.0933 | 9.882 | 334.652 | 10.8707 | 329.7707 | 14.46 | 886 | 100 | 61.2213
2020-05-24 16:30:00 | 9.016 | 272.4933 | 9.5413 | 328.094 | 10.0173 | 266.498 | 10.7313 | 329.7713 | 14.3933 | 886 | 100 | 60.5053
2020-05-24 16:45:00 | 8.918 | 320.6667 | 9.4947 | 305.5907 | 9.5173 | 313.6127 | 10.44 | 307.154 | 14.2067 | 886 | 100 | 60.136
2020-05-24 17:00:00 | 8.578 | 341.2333 | 9.1693 | 330.434 | 9.3933 | 333.726 | 10.2827 | 332.124 | 14.22 | 886 | 100 | 59.9113
2020-05-24 17:15:00 | 8.2133 | 318.2933 | 8.828 | 327.7867 | 9.4093 | 311.29 | 10.228 | 329.462 | 13.9467 | 886 | 100 | 59.944
2020-05-24 17:30:00 | 8.314 | 338.4 | 8.978 | 329.6313 | 9.292 | 330.9547 | 10.27 | 331.3173 | 13.92 | 885.9333 | 100 | 60.1833
2020-05-24 17:45:00 | 8.2 | 338.22 | 8.8427 | 325.8113 | 9.096 | 330.7787 | 10.0573 | 327.478 | 13.9933 | 885 | 100 | 61.2333
2020-05-24 18:00:00 | 8.2247 | 340.8933 | 8.822 | 324.5713 | 9.182 | 333.3947 | 10.038 | 326.2313 | 14.0333 | 885 | 100 | 60.056
2020-05-24 18:15:00 | 8.14 | 320.64 | 8.714 | 330.7147 | 9.2267 | 313.5867 | 10 | 332.406 | 14.0733 | 885.4 | 100 | 59.2933
2020-05-24 18:30:00 | 8.056 | 342.0733 | 8.7307 | 290.4593 | 9.23 | 334.5473 | 10.1667 | 291.9447 | 14.1133 | 886 | 100 | 58.7067
2020-05-24 18:45:00 | 8.0653 | 339.52 | 8.6773 | 328.0407 | 9.1333 | 332.05 | 9.9853 | 329.7173 | 14.18 | 886 | 100 | 58.3333
2020-05-24 19:00:00 | 7.8553 | 342.0867 | 8.5273 | 331.7573 | 9.0713 | 334.562 | 9.99 | 333.454 | 14.16 | 886 | 100 | 58.5707
2020-05-24 19:15:00 | 8.1113 | 299.54 | 8.7807 | 335.368 | 9.144 | 292.95 | 10.1113 | 337.0847 | 14.22 | 886 | 100 | 58.3007
2020-05-24 19:30:00 | 7.8553 | 342.5533 | 8.484 | 329.4033 | 8.6453 | 335.0173 | 9.606 | 331.0873 | 14.1 | 886 | 100 | 58.342
2020-05-24 19:45:00 | 7.8847 | 322.1533 | 8.4833 | 332.846 | 8.6613 | 315.0653 | 9.572 | 334.5473 | 14.1533 | 886 | 100 | 59.388
2020-05-24 20:00:00 | 7.928 | 344.9133 | 8.3927 | 333.57 | 8.4907 | 337.3267 | 9.2133 | 335.274 | 14.2067 | 886.0667 | 100 | 58.3053
2020-05-24 20:15:00 | 7.368 | 274.9467 | 7.8407 | 331.2033 | 8.1273 | 268.8967 | 8.8007 | 332.8967 | 14.0867 | 887 | 100 | 55.956
2020-05-24 20:30:00 | 7.5707 | 251.6 | 8.034 | 330.5247 | 8.4073 | 246.0653 | 9.0467 | 332.2147 | 14.06 | 887 | 100 | 56.424
2020-05-24 20:45:00 | 7.2167 | 251.92 | 7.6993 | 332.3387 | 8.0113 | 246.378 | 8.6973 | 334.0373 | 14.0933 | 887 | 100 | 55.9693
2020-05-24 21:00:00 | 7.4047 | 348.38 | 7.9 | 336.2053 | 8.138 | 340.7153 | 8.8667 | 337.9227 | 14.1667 | 887 | 100 | 54.2647
2020-05-24 21:15:00 | 8.102 | 343.22 | 8.5193 | 330.766 | 8.8287 | 335.6687 | 9.4067 | 332.458 | 14.4067 | 887 | 100 | 58.2
2020-05-24 21:30:00 | 8.1107 | 322.4467 | 8.62 | 327.5053 | 8.8193 | 315.3527 | 9.5827 | 329.1807 | 14.5 | 887 | 100 | 56.8387
2020-05-24 21:45:00 | 7.4813 | 320.5867 | 7.972 | 324.526 | 8.3407 | 313.5327 | 9.0233 | 326.1873 | 14.36 | 887 | 100 | 54.35
2020-05-24 22:00:00 | 7.8067 | 322.88 | 8.3107 | 329.7627 | 8.7533 | 315.776 | 9.4407 | 331.4487 | 14.32 | 887.6667 | 100 | 55.632
2020-05-24 22:15:00 | 7.7487 | 340.58 | 8.2813 | 308.52 | 8.554 | 333.0867 | 9.3313 | 310.098 | 14.3267 | 887.4 | 100 | 58.3007
2020-05-24 22:30:00 | 7.7653 | 345.4533 | 8.3807 | 329.1367 | 8.6767 | 337.854 | 9.58 | 330.8173 | 14.3867 | 887.2667 | 100 | 58.844
2020-05-24 22:45:00 | 7.576 | 338.1667 | 8.092 | 330.088 | 8.262 | 330.7273 | 9.0413 | 331.776 | 14.24 | 887 | 100 | 57.2287
2020-05-24 23:00:00 | 7.0613 | 337.7267 | 7.4813 | 327.5707 | 7.618 | 330.296 | 8.2573 | 329.2447 | 14.3 | 887.7333 | 100 | 50.4893
2020-05-24 23:15:00 | 7.266 | 343.92 | 7.7187 | 326.7293 | 8.1287 | 336.3533 | 8.7327 | 328.4007 | 14.3067 | 888 | 100 | 54.7487
2020-05-24 23:30:00 | 7.6413 | 341.56 | 8.1973 | 329.6833 | 8.6407 | 334.0433 | 9.4073 | 331.368 | 14.3533 | 887.9333 | 100 | 58.8707
2020-05-24 23:45:00 | 7.1587 | 295.6 | 7.648 | 309.4387 | 8.2333 | 289.0953 | 8.8493 | 311.0207 | 14.4267 | 887 | 100 | 59.3707