## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-25 00:00:00 | 7.145 | 321 | 7.6714 | 328.4964 | 7.97 | 313.9379 | 8.7243 | 330.175 | 14.6214 | 887.7143 | 100 | 55.778
2020-05-25 00:15:00 | 7.145 | 321 | 7.6714 | 328.4964 | 7.97 | 313.9379 | 8.7243 | 330.175 | 14.6214 | 887.7143 | 100 | 55.778
2020-05-25 00:30:00 | 7.0527 | 319.15 | 7.3325 | 343.0508 | 7.5242 | 301.898 | 8.0775 | 345.24 | 14.525 | 888 | 100 | 51.232
2020-05-25 00:45:00 | 7.3887 | 349.96 | 7.8 | 339.4433 | 8.0013 | 342.2613 | 8.6067 | 341.18 | 14.6467 | 887.6 | 100 | 53.3127
2020-05-25 01:00:00 | 7.2593 | 325.2533 | 7.7047 | 334.1293 | 7.8267 | 318.098 | 8.5147 | 335.8387 | 14.5267 | 887 | 100 | 50.3833
2020-05-25 01:15:00 | 6.4353 | 320.5667 | 6.856 | 324.0033 | 6.9053 | 313.5147 | 7.57 | 325.6607 | 14.02 | 887 | 100 | 46.698
2020-05-25 01:30:00 | 7.114 | 230.5667 | 7.4893 | 324.852 | 7.726 | 225.4933 | 8.2613 | 326.5133 | 14.04 | 887 | 100 | 53.2533
2020-05-25 01:45:00 | 7.142 | 346.2 | 7.656 | 326.8473 | 7.7953 | 338.584 | 8.5813 | 328.5193 | 14.0933 | 887 | 100 | 52.7613
2020-05-25 02:00:00 | 7.1333 | 346.4333 | 7.65 | 325.4047 | 8.0647 | 338.812 | 8.7753 | 327.07 | 14.12 | 887 | 100 | 52.6513
2020-05-25 02:15:00 | 7.0213 | 327.96 | 7.5593 | 330.5253 | 7.9087 | 320.7447 | 8.6753 | 332.2147 | 14.1467 | 887 | 100 | 50.7553
2020-05-25 02:30:00 | 7.5407 | 253.5333 | 7.9613 | 331.026 | 8.4567 | 247.956 | 8.9933 | 332.7207 | 14.24 | 886.9333 | 100 | 55.3633
2020-05-25 02:45:00 | 7.2973 | 326.7133 | 7.704 | 338.1467 | 8.0627 | 319.5253 | 8.6147 | 339.876 | 14.7067 | 886.4 | 100 | 50.744
2020-05-25 03:00:00 | 5.7527 | 303.8933 | 6.1153 | 326.012 | 6.4873 | 297.2073 | 6.962 | 327.6793 | 14.1 | 887 | 100 | 38.7233
2020-05-25 03:15:00 | 5.346 | 322.0333 | 5.6493 | 327.186 | 6.002 | 314.9487 | 6.3893 | 328.8607 | 13.7667 | 886.6 | 100 | 33.3327
2020-05-25 03:30:00 | 5.2253 | 327.44 | 5.612 | 321.0773 | 5.9847 | 320.2373 | 6.494 | 322.7173 | 13.7733 | 886.0667 | 100 | 28.678
2020-05-25 03:45:00 | 5.1913 | 346.38 | 5.6067 | 322.5047 | 6.1213 | 338.7593 | 6.6393 | 324.154 | 13.8133 | 886.6 | 100 | 29.6207
2020-05-25 04:00:00 | 5.712 | 344.8733 | 6.102 | 325.27 | 6.4347 | 337.286 | 6.9653 | 326.932 | 13.64 | 886 | 100 | 35.184
2020-05-25 04:15:00 | 5.1747 | 333.22 | 5.578 | 311.746 | 5.89 | 325.888 | 6.446 | 313.3413 | 13.6667 | 886 | 100 | 32.244
2020-05-25 04:30:00 | 5.7367 | 336.6 | 6.1333 | 315.8673 | 6.632 | 329.1947 | 7.1247 | 317.482 | 13.7533 | 886 | 100 | 37.5233
2020-05-25 04:45:00 | 6.4387 | 344.4867 | 6.8987 | 316.356 | 7.3733 | 336.908 | 7.976 | 317.9747 | 13.7667 | 886 | 100 | 43.496
2020-05-25 05:00:00 | 7.134 | 345.68 | 7.604 | 323.066 | 7.9093 | 338.074 | 8.5747 | 324.7187 | 13.8067 | 886 | 100 | 44.786
2020-05-25 05:15:00 | 7.8847 | 348.8867 | 8.4413 | 327.3953 | 8.4833 | 341.21 | 9.3647 | 329.0687 | 13.7733 | 886 | 100 | 49.9513
2020-05-25 05:30:00 | 8.136 | 349.82 | 8.7647 | 328.5627 | 9.052 | 342.124 | 9.9807 | 330.2427 | 13.56 | 886 | 100 | 48.084
2020-05-25 05:45:00 | 7.7607 | 327.2533 | 8.3247 | 327.0507 | 8.546 | 320.0527 | 9.3947 | 328.7227 | 13.2733 | 885.6 | 100 | 47.4613
2020-05-25 06:00:00 | 7.988 | 346.1533 | 8.574 | 329.1493 | 8.7407 | 338.538 | 9.6313 | 330.832 | 13.3933 | 885.7333 | 100 | 48.0973
2020-05-25 06:15:00 | 7.9027 | 327.0333 | 8.4873 | 323.96 | 8.532 | 319.8387 | 9.4633 | 325.616 | 13.3467 | 886 | 100 | 49.2893
2020-05-25 06:30:00 | 7.8387 | 344.3667 | 8.4107 | 322.1593 | 8.3913 | 336.7907 | 9.3253 | 323.808 | 13.0467 | 886 | 100 | 50.858
2020-05-25 06:45:00 | 7.7767 | 344.22 | 8.3187 | 323.9973 | 8.4047 | 336.648 | 9.2513 | 325.6547 | 13.0133 | 885.6 | 100 | 50.8767
2020-05-25 07:00:00 | 7.6307 | 344.5533 | 8.1153 | 318.2873 | 8.202 | 336.974 | 8.958 | 319.914 | 13.2533 | 885.7333 | 100 | 49.3987
2020-05-25 07:15:00 | 7.452 | 335.8467 | 7.86 | 323.8487 | 7.796 | 328.4587 | 8.474 | 325.504 | 13.5533 | 886 | 100 | 45.944
2020-05-25 07:30:00 | 7.266 | 338.4667 | 7.6713 | 326.2993 | 7.574 | 331.02 | 8.25 | 327.9687 | 13.46 | 886 | 100 | 46.718
2020-05-25 07:45:00 | 7.1687 | 337 | 7.502 | 325.8827 | 7.568 | 329.5873 | 8.086 | 327.5473 | 13.4467 | 886 | 100 | 42.6927
2020-05-25 08:00:00 | 7.1753 | 338.0933 | 7.4913 | 326.4893 | 7.4213 | 330.6547 | 7.9547 | 328.158 | 13.5133 | 886.7333 | 100 | 44.4207
2020-05-25 08:15:00 | 7.378 | 339.42 | 7.8813 | 325.3613 | 8.0013 | 331.9547 | 8.77 | 327.0253 | 13.6133 | 887 | 100 | 48.1967
2020-05-25 08:30:00 | 7.3053 | 340.2133 | 7.8607 | 314.1127 | 8.192 | 332.7293 | 8.99 | 315.7187 | 13.76 | 887 | 100 | 45.9973
2020-05-25 08:45:00 | 6.5087 | 341.8733 | 6.8947 | 333.6407 | 7.3533 | 334.3513 | 7.842 | 335.3467 | 13.8933 | 887 | 100 | 40.9307
2020-05-25 09:00:00 | 6.3147 | 296.84 | 6.5387 | 329.468 | 6.442 | 290.3087 | 6.8313 | 331.1527 | 13.9667 | 887 | 99.74 | 33.8347
2020-05-25 09:15:00 | 6.5153 | 337.4 | 6.7013 | 325.7853 | 6.4913 | 329.9767 | 6.8533 | 327.4507 | 14.2133 | 887 | 98.18 | 35.882
2020-05-25 09:30:00 | 5.6973 | 339.78 | 5.9147 | 321.1093 | 5.7013 | 331.698 | 6.1193 | 322.752 | 14.3 | 887 | 97.1933 | 27.8267
2020-05-25 09:45:00 | 5.7607 | 337.84 | 6.024 | 323.1247 | 5.778 | 330.4087 | 6.2733 | 324.776 | 14.4467 | 887 | 95.4133 | 29.0887
2020-05-25 10:00:00 | 5.2087 | 321.82 | 5.4227 | 321.8593 | 5.1433 | 314.7387 | 5.574 | 323.5053 | 14.72 | 887.0667 | 92.9333 | 20.0607
2020-05-25 10:15:00 | 4.918 | 299.3133 | 5.0187 | 327.4267 | 4.93 | 292.7293 | 5.122 | 329.1033 | 15.4067 | 888 | 90.54 | 16.9273
2020-05-25 10:30:00 | 5.1473 | 292.24 | 5.2987 | 324.488 | 5.3787 | 285.8107 | 5.6027 | 326.1467 | 16.2 | 888 | 86.52 | 20.44
2020-05-25 10:45:00 | 5.0847 | 308.8333 | 5.212 | 326.0453 | 5.342 | 302.04 | 5.5153 | 327.7107 | 16.7 | 888 | 82.1947 | 18.942
2020-05-25 11:00:00 | 4.212 | 194.2267 | 4.304 | 290.596 | 5.0873 | 189.9527 | 5.0107 | 292.0813 | 17.4 | 888.7333 | 79.5853 | 13.918
2020-05-25 11:15:00 | 4.2233 | 254.74 | 4.4467 | 312.4387 | 4.9067 | 249.136 | 5.136 | 314.0367 | 17.9733 | 889 | 75.9347 | 11.9733
2020-05-25 11:30:00 | 3.7447 | 270.02 | 3.912 | 308.812 | 4.4613 | 264.0813 | 4.5727 | 310.392 | 18.46 | 889 | 72.0487 | 8.8447
2020-05-25 11:45:00 | 2.7227 | 115.9533 | 2.7513 | 309.4127 | 3.4493 | 113.402 | 3.292 | 310.9953 | 19.0467 | 889 | 70.3833 | 2.8507
2020-05-25 12:00:00 | 2.3847 | 166.0467 | 2.4967 | 164.5327 | 2.91 | 162.394 | 2.968 | 165.3753 | 19.5333 | 889 | 68.0713 | 1.274
2020-05-25 12:15:00 | 2.8593 | 235.0667 | 3.0413 | 241.4687 | 3.4773 | 229.8953 | 3.6433 | 242.7013 | 19.9067 | 889 | 67.1267 | 2.2433
2020-05-25 12:30:00 | 2.686 | 211.96 | 2.8633 | 282.3353 | 3.294 | 207.2967 | 3.4507 | 283.778 | 20.3067 | 889 | 63.804 | 1.7767
2020-05-25 12:45:00 | 1.792 | 187.3733 | 1.896 | 220.9107 | 2.278 | 183.2507 | 2.3353 | 222.0407 | 21.2867 | 889 | 62.3187 | 0
2020-05-25 13:00:00 | 1.3127 | 281.8267 | 1.4307 | 265.9293 | 1.4427 | 275.6267 | 1.6307 | 267.29 | 21.9933 | 889 | 59.8007 | 0
2020-05-25 13:15:00 | 1.034 | 127.7067 | 1.1053 | 223.948 | 1.004 | 124.898 | 1.148 | 225.0933 | 22.6267 | 889 | 58.9987 | 0
2020-05-25 13:30:00 | 1.3387 | 155.5 | 1.388 | 142.188 | 1.2667 | 152.0787 | 1.388 | 142.9147 | 22.66 | 889 | 58.7673 | 0
2020-05-25 13:45:00 | 1.4593 | 178.22 | 1.6287 | 129.6307 | 1.456 | 174.298 | 1.778 | 130.294 | 23.0333 | 889 | 57.404 | 0
2020-05-25 14:00:00 | 1.4993 | 199.16 | 1.6587 | 121.716 | 1.528 | 194.7793 | 1.8227 | 122.3373 | 23 | 889 | 55.3007 | 0
2020-05-25 14:15:00 | 1.4407 | 188.8933 | 1.6287 | 133.054 | 1.4587 | 184.738 | 1.8067 | 133.7327 | 23.5333 | 888.6 | 51.8287 | 0
2020-05-25 14:30:00 | 1.2033 | 224.06 | 1.352 | 147.6 | 1.1513 | 219.13 | 1.4487 | 148.3547 | 23.7467 | 888 | 49.2627 | 0
2020-05-25 14:45:00 | 0.894 | 232.4267 | 1.0387 | 143.1287 | 0.94333 | 227.3147 | 1.1987 | 143.8587 | 24.04 | 888 | 48.8073 | 0
2020-05-25 15:00:00 | 1.15 | 237.3467 | 1.36 | 97.298 | 1.1907 | 232.1253 | 1.5773 | 97.796 | 24.2733 | 888 | 49.8227 | 0.010667
2020-05-25 15:15:00 | 1.1427 | 209.4067 | 1.3313 | 189.4973 | 1.3567 | 204.8 | 1.6487 | 190.4667 | 24.4867 | 888 | 48.7353 | 0.23667
2020-05-25 15:30:00 | 1.7507 | 212.2267 | 1.9253 | 162.804 | 2.1833 | 207.5567 | 2.3893 | 163.6367 | 23.4467 | 888 | 51.4987 | 0.37933
2020-05-25 15:45:00 | 2.2127 | 201.14 | 2.4007 | 155.7827 | 2.572 | 196.7147 | 2.8227 | 156.5787 | 23.3067 | 888 | 61.1073 | 0.44267
2020-05-25 16:00:00 | 1.9773 | 207.9267 | 2.1367 | 162.7587 | 2.4773 | 203.352 | 2.6353 | 163.5913 | 23.2533 | 887.2667 | 61.938 | 1.1847
2020-05-25 16:15:00 | 1.7993 | 198.4267 | 1.9253 | 146.2113 | 1.946 | 194.0613 | 2.142 | 146.9587 | 23.2933 | 887 | 61.314 | 1.1047
2020-05-25 16:30:00 | 2.29 | 202.24 | 2.3833 | 144.1647 | 2.4233 | 197.79 | 2.564 | 144.9013 | 23.0667 | 887 | 61.814 | 2.168
2020-05-25 16:45:00 | 2.0627 | 212.08 | 2.118 | 149.412 | 2.2527 | 207.4133 | 2.3047 | 150.1747 | 22.7933 | 887 | 61.3953 | 2.1227
2020-05-25 17:00:00 | 2.3153 | 181.2933 | 2.4187 | 166.2133 | 2.602 | 176.848 | 2.7127 | 167.0627 | 22.74 | 887 | 60.402 | 2.586
2020-05-25 17:15:00 | 2.248 | 179.4467 | 2.3753 | 157.7067 | 2.3667 | 175.4987 | 2.5747 | 158.512 | 22.6733 | 886.6 | 60.9767 | 2.8227
2020-05-25 17:30:00 | 2.7627 | 179.7333 | 2.9587 | 159.2707 | 2.9273 | 175.78 | 3.2513 | 160.0853 | 22.5333 | 886 | 60.7447 | 6.7807
2020-05-25 17:45:00 | 3.2167 | 178.56 | 3.438 | 155.502 | 3.39 | 174.632 | 3.7587 | 156.2967 | 22.08 | 886 | 62.7413 | 11.3193
2020-05-25 18:00:00 | 3.2193 | 178.0333 | 3.3853 | 160.202 | 3.3673 | 174.116 | 3.642 | 161.02 | 21.8667 | 886 | 64.6307 | 12.0527
2020-05-25 18:15:00 | 3.392 | 163.2733 | 3.546 | 160.5033 | 3.678 | 159.682 | 3.8893 | 161.3247 | 21.52 | 885.6 | 66.218 | 12.8293
2020-05-25 18:30:00 | 3.4767 | 174.0667 | 3.6187 | 162.4727 | 3.582 | 170.2373 | 3.8253 | 163.302 | 21.3333 | 885.7333 | 68.0047 | 15.7007
2020-05-25 18:45:00 | 3.798 | 182.0733 | 4.0207 | 165.0353 | 4.07 | 178.0687 | 4.412 | 165.8787 | 21.0733 | 886 | 68.1733 | 17.0533
2020-05-25 19:00:00 | 3.72 | 175.5733 | 3.8853 | 170.6473 | 3.7833 | 171.7107 | 4.0787 | 171.5207 | 20.86 | 886 | 68.6027 | 14.0693
2020-05-25 19:15:00 | 3.702 | 169.6467 | 3.8547 | 167.2307 | 3.738 | 165.9153 | 4.0187 | 168.0867 | 20.7 | 886 | 69.266 | 14.6707
2020-05-25 19:30:00 | 3.52 | 173.3067 | 3.7273 | 167.3607 | 3.574 | 169.4947 | 3.9533 | 168.2167 | 20.5267 | 886.0667 | 70.4693 | 13.9933
2020-05-25 19:45:00 | 3.2247 | 165.8867 | 3.4107 | 153.446 | 3.3493 | 162.2373 | 3.6653 | 154.232 | 20.4067 | 887 | 71.508 | 10.6933
2020-05-25 20:00:00 | 3.204 | 161.98 | 3.3573 | 154.752 | 3.17 | 158.4167 | 3.4753 | 155.5447 | 20.2867 | 886.2667 | 73.3947 | 10.308
2020-05-25 20:15:00 | 3.0007 | 166.92 | 3.1213 | 155.1767 | 3.0747 | 163.2473 | 3.2867 | 155.97 | 20.1267 | 886.4 | 73.9387 | 8.9173
2020-05-25 20:30:00 | 2.8147 | 152.1867 | 2.85 | 148.0687 | 3.016 | 148.838 | 3.028 | 148.8247 | 20.0333 | 887 | 75.3253 | 8.63
2020-05-25 20:45:00 | 2.8407 | 138.66 | 2.9007 | 143.1533 | 3.2667 | 135.6093 | 3.2593 | 143.8847 | 19.8267 | 887 | 75.6973 | 7.6107
2020-05-25 21:00:00 | 2.988 | 138.5 | 3.1367 | 132.7273 | 3.4493 | 135.4527 | 3.5967 | 133.4053 | 19.68 | 887 | 75.4787 | 6.6693
2020-05-25 21:15:00 | 2.9707 | 145.3333 | 3.0673 | 138.4393 | 3.3707 | 142.1367 | 3.4433 | 139.1473 | 19.48 | 887 | 76.0513 | 6.252
2020-05-25 21:30:00 | 2.7913 | 125.76 | 2.8967 | 120.7707 | 3.086 | 122.994 | 3.2007 | 121.386 | 19.2467 | 887 | 76.26 | 4.3447
2020-05-25 21:45:00 | 2.6113 | 124.58 | 2.7247 | 120.952 | 2.906 | 121.8393 | 3.042 | 121.5707 | 19.2467 | 887 | 77.6247 | 3.85
2020-05-25 22:00:00 | 2.4133 | 127.7667 | 2.502 | 123.0973 | 2.534 | 124.954 | 2.67 | 123.726 | 19.1667 | 887 | 78.0647 | 2.3587
2020-05-25 22:15:00 | 2.2867 | 131.6533 | 2.3647 | 130.164 | 2.434 | 128.758 | 2.54 | 130.8313 | 19.04 | 887 | 78.7533 | 1.7367
2020-05-25 22:30:00 | 2.5407 | 131.6933 | 2.6307 | 131.5027 | 2.7647 | 128.4047 | 2.87 | 132.1733 | 18.9133 | 887 | 79.1167 | 1.8747
2020-05-25 22:45:00 | 2.6067 | 131.9333 | 2.7107 | 128.17 | 2.9227 | 129.0313 | 3.032 | 128.8247 | 18.7133 | 887 | 78.4887 | 2.5387
2020-05-25 23:00:00 | 2.646 | 129.7067 | 2.7533 | 127.6027 | 2.9573 | 126.8533 | 3.0707 | 128.256 | 18.7333 | 887 | 78.2753 | 3.3807
2020-05-25 23:15:00 | 2.5993 | 137.7733 | 2.684 | 131.828 | 2.9007 | 134.742 | 2.9733 | 132.5027 | 18.7533 | 887 | 78.622 | 2.5593
2020-05-25 23:30:00 | 2.3513 | 132.96 | 2.4473 | 133.386 | 2.6167 | 130.0347 | 2.7253 | 134.0687 | 18.5933 | 887 | 79.2927 | 1.3487
2020-05-25 23:45:00 | 2.036 | 136.4667 | 2.1447 | 138.4007 | 2.226 | 133.4627 | 2.376 | 139.1067 | 18.5667 | 887 | 80.2367 | 0.10133