## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-26 00:00:00 | 1.9586 | 140.3429 | 2.0871 | 129.7607 | 2.2186 | 137.2536 | 2.39 | 130.4221 | 18.3429 | 887 | 80.85 | 0.18071
2020-05-26 00:15:00 | 1.9586 | 140.3429 | 2.0871 | 129.7607 | 2.2186 | 137.2536 | 2.39 | 130.4221 | 18.3429 | 887 | 80.85 | 0.18071
2020-05-26 00:30:00 | 1.5387 | 126.7333 | 1.638 | 120.0527 | 1.7673 | 123.9447 | 1.89 | 120.666 | 18.2933 | 887 | 81.5333 | 0
2020-05-26 00:45:00 | 1.4447 | 113.98 | 1.5227 | 115.2547 | 1.6607 | 111.472 | 1.7473 | 115.8427 | 18.26 | 887 | 80.8 | 0
2020-05-26 01:00:00 | 0.954 | 75.5333 | 1.0447 | 83.372 | 1.1573 | 73.8727 | 1.2727 | 83.7967 | 18.22 | 887 | 80.2707 | 0
2020-05-26 01:15:00 | 0.75267 | 73.4067 | 0.814 | 75.3927 | 0.90933 | 71.792 | 0.97867 | 75.7767 | 18.2333 | 887 | 80.036 | 0
2020-05-26 01:30:00 | 0.78067 | 65.9667 | 0.82867 | 59.5927 | 0.766 | 64.516 | 0.86133 | 59.8987 | 18.3133 | 886.9333 | 81.6933 | 0
2020-05-26 01:45:00 | 0.736 | 52.3267 | 0.758 | 53.406 | 0.72067 | 51.176 | 0.768 | 53.6787 | 18.5067 | 886 | 82.7067 | 0
2020-05-26 02:00:00 | 0.98333 | 27.5867 | 0.99667 | 124.036 | 1.1393 | 26.98 | 1.118 | 124.6707 | 18.5867 | 886 | 84.1133 | 0
2020-05-26 02:15:00 | 1.7493 | 35.66 | 1.8127 | 249.592 | 2.296 | 34.8767 | 2.2567 | 250.8687 | 18.1933 | 886 | 87.0333 | 0.358
2020-05-26 02:30:00 | 2.472 | 234.62 | 2.596 | 335.9427 | 3.1453 | 229.46 | 3.1887 | 337.6593 | 17.9 | 886 | 87.48 | 1.1327
2020-05-26 02:45:00 | 2.3213 | 256.2467 | 2.4833 | 329.202 | 2.912 | 250.6093 | 3.046 | 330.8847 | 17.56 | 886 | 89.44 | 1.6013
2020-05-26 03:00:00 | 2.0633 | 320.5067 | 2.1507 | 325.648 | 2.5333 | 313.456 | 2.5613 | 327.3133 | 17.76 | 886 | 90.5467 | 0.48667
2020-05-26 03:15:00 | 1.9487 | 309.0667 | 2.0533 | 317.9347 | 2.3153 | 302.268 | 2.4053 | 319.5607 | 17.9067 | 886 | 89.96 | 0.46867
2020-05-26 03:30:00 | 1.7247 | 311.28 | 1.776 | 307.15 | 2.0247 | 304.432 | 2.0373 | 308.72 | 18.0733 | 886 | 90.3 | 0.64533
2020-05-26 03:45:00 | 1.336 | 216.2133 | 1.348 | 310 | 1.5667 | 211.4567 | 1.5227 | 311.5847 | 18.36 | 886 | 90.46 | 0.21667
2020-05-26 04:00:00 | 2.2713 | 202.9933 | 2.3573 | 326.986 | 2.6867 | 198.5267 | 2.7313 | 328.6553 | 18.2733 | 886 | 89.86 | 1.2673
2020-05-26 04:15:00 | 2.5847 | 345.8333 | 2.734 | 322.8633 | 3.1467 | 338.2253 | 3.268 | 324.5153 | 17.5133 | 886 | 92.16 | 3.2547
2020-05-26 04:30:00 | 2.7347 | 279.8933 | 2.8673 | 328.6067 | 3.282 | 273.7353 | 3.3787 | 330.288 | 17.16 | 886 | 94.6067 | 3.6567
2020-05-26 04:45:00 | 3.1933 | 326.76 | 3.35 | 324.0053 | 3.8353 | 319.5727 | 3.9467 | 325.6613 | 16.74 | 886 | 95.7467 | 6.1387
2020-05-26 05:00:00 | 3.6347 | 323.1133 | 3.8273 | 325.8433 | 4.3247 | 316.006 | 4.4893 | 327.5087 | 16.4667 | 886 | 95.6667 | 9.154
2020-05-26 05:15:00 | 3.8633 | 342.08 | 4.04 | 326.678 | 4.5887 | 334.554 | 4.7153 | 328.348 | 16.72 | 886 | 96.38 | 11.1273
2020-05-26 05:30:00 | 4.3173 | 334.6 | 4.562 | 320.5373 | 5.0467 | 327.2387 | 5.3007 | 322.1747 | 16.8133 | 886 | 96.04 | 13.8813
2020-05-26 05:45:00 | 4.8433 | 340.64 | 5.1427 | 324.122 | 5.5247 | 333.446 | 5.896 | 325.7787 | 16.7933 | 886 | 95.8 | 21.7167
2020-05-26 06:00:00 | 5.7653 | 321.1867 | 6.0707 | 330.8507 | 6.5407 | 314.1207 | 6.898 | 332.542 | 16.8067 | 885.2667 | 96.2267 | 32.504
2020-05-26 06:15:00 | 6.0713 | 343.2467 | 6.456 | 324.976 | 6.9413 | 335.6953 | 7.4227 | 326.638 | 16.8667 | 885 | 97.64 | 37.81
2020-05-26 06:30:00 | 5.7693 | 336.9667 | 6.1527 | 319.3747 | 6.5467 | 329.5533 | 7.0473 | 321.0087 | 17.1933 | 885.7333 | 98.2867 | 31.298
2020-05-26 06:45:00 | 5.4253 | 331.5133 | 5.7047 | 318.886 | 6.0333 | 324.222 | 6.3893 | 320.5173 | 17.8733 | 886 | 98.5 | 26.3567
2020-05-26 07:00:00 | 4.9927 | 333.9 | 5.3727 | 314.6813 | 5.7093 | 326.554 | 6.2247 | 316.2913 | 17.8333 | 886.0667 | 97.7867 | 22.512
2020-05-26 07:15:00 | 4.54 | 339.5733 | 4.8107 | 316.5593 | 5.3967 | 332.1013 | 5.6627 | 318.1773 | 17.5733 | 887 | 95.9333 | 20.5487
2020-05-26 07:30:00 | 4.8773 | 295.2067 | 5.142 | 322.2513 | 5.338 | 288.712 | 5.7113 | 323.8993 | 17.7733 | 887 | 94.2733 | 25.846
2020-05-26 07:45:00 | 5.956 | 344.0133 | 6.256 | 329.05 | 6.43 | 336.4453 | 6.868 | 330.7327 | 17.6867 | 887 | 93.24 | 34.7693
2020-05-26 08:00:00 | 6.6527 | 344.9733 | 7.0493 | 332.0053 | 7.3073 | 337.3833 | 7.87 | 333.7033 | 17.4467 | 887.0667 | 91.9 | 42.292
2020-05-26 08:15:00 | 6.498 | 336.32 | 6.872 | 326.3987 | 7.1573 | 328.9213 | 7.6767 | 328.0667 | 17.5 | 888 | 91.34 | 44.2273
2020-05-26 08:30:00 | 5.894 | 333.3933 | 6.26 | 326.0587 | 6.436 | 326.0573 | 6.9733 | 327.7253 | 17.72 | 888 | 90.86 | 38.1513
2020-05-26 08:45:00 | 5.7447 | 341.9933 | 6.0927 | 327.3367 | 6.1333 | 334.47 | 6.6827 | 329.0093 | 17.8533 | 888.4 | 89.52 | 33.204
2020-05-26 09:00:00 | 5.742 | 345.8067 | 6.1473 | 328.7773 | 6.0827 | 338.1993 | 6.7527 | 330.4587 | 18.1733 | 889 | 87.8933 | 32.6413
2020-05-26 09:15:00 | 6.0887 | 338.9467 | 6.4693 | 321.7353 | 6.7587 | 331.4893 | 7.286 | 323.3813 | 18.5333 | 889 | 83.9533 | 34.7187
2020-05-26 09:30:00 | 5.6287 | 309.9333 | 5.932 | 327.8393 | 6.098 | 303.114 | 6.5393 | 329.5153 | 18.98 | 889 | 79.4753 | 29.5873
2020-05-26 09:45:00 | 5.368 | 337.2267 | 5.704 | 331.62 | 5.6493 | 329.808 | 6.2093 | 333.316 | 19.1733 | 889 | 77.21 | 26.09
2020-05-26 10:00:00 | 4.696 | 315.92 | 4.9813 | 330.648 | 5.0167 | 308.9713 | 5.4687 | 332.34 | 19.4533 | 889 | 72.9573 | 20.9933
2020-05-26 10:15:00 | 4.3633 | 334.84 | 4.656 | 307.2147 | 4.8407 | 327.4733 | 5.2573 | 308.7873 | 19.9867 | 889 | 70.754 | 17.7407
2020-05-26 10:30:00 | 4.6133 | 338.16 | 4.958 | 311.596 | 4.9247 | 330.7207 | 5.492 | 313.192 | 20.5467 | 889.7333 | 64.4913 | 19.9187
2020-05-26 10:45:00 | 4.7733 | 293.9067 | 5.2047 | 263.6493 | 5.502 | 287.4407 | 6.1073 | 264.9973 | 20.8133 | 890.4 | 62.9407 | 21.264
2020-05-26 11:00:00 | 4.18 | 339.88 | 4.5587 | 309.4987 | 4.8747 | 332.4027 | 5.3947 | 311.0807 | 21.1933 | 891 | 61.2407 | 17.978
2020-05-26 11:15:00 | 4.5187 | 341.9467 | 4.8467 | 287.376 | 5.3813 | 334.4233 | 5.7533 | 288.8447 | 21.2067 | 891 | 61.4733 | 19.2473
2020-05-26 11:30:00 | 4.2993 | 311.88 | 4.566 | 287.65 | 5.062 | 305.018 | 5.3467 | 289.1193 | 21.58 | 890.2667 | 61.81 | 16.386
2020-05-26 11:45:00 | 4.1413 | 288.8867 | 4.4073 | 260.3373 | 4.816 | 282.5327 | 5.122 | 261.668 | 21.5867 | 890 | 59.7433 | 15.4367
2020-05-26 12:00:00 | 3.9993 | 304.9067 | 4.26 | 305.5207 | 4.3047 | 298.1993 | 4.7133 | 307.0827 | 21.8467 | 890 | 60.2087 | 12.374
2020-05-26 12:15:00 | 3.8253 | 300.9733 | 4.0613 | 302.4507 | 4.53 | 294.3513 | 4.7713 | 303.9967 | 22.1467 | 890 | 59.202 | 11.1427
2020-05-26 12:30:00 | 3.9993 | 315.2733 | 4.2867 | 262.3327 | 4.5953 | 308.3373 | 4.9667 | 263.6733 | 22.08 | 890 | 56.1507 | 11.2447
2020-05-26 12:45:00 | 3.914 | 341.3333 | 4.2213 | 305.586 | 4.4807 | 333.8233 | 4.898 | 307.148 | 22.18 | 890 | 56.186 | 12.6493
2020-05-26 13:00:00 | 4.9467 | 336.4867 | 5.2687 | 325.4653 | 5.624 | 329.084 | 6.038 | 327.1293 | 22.3333 | 890 | 54.3993 | 17.5667
2020-05-26 13:15:00 | 4.4727 | 328.54 | 4.5853 | 322.6093 | 5.0033 | 321.3127 | 5.0687 | 324.2593 | 22.3933 | 890 | 53.152 | 16.4373
2020-05-26 13:30:00 | 4.212 | 329.1267 | 4.4413 | 315.014 | 4.8547 | 321.886 | 5.106 | 316.6247 | 22.56 | 890 | 56.348 | 14.76
2020-05-26 13:45:00 | 4.0893 | 327.62 | 4.3267 | 316.7813 | 4.478 | 320.4113 | 4.8113 | 318.4 | 22.6 | 890 | 54.6447 | 13.9093
2020-05-26 14:00:00 | 4.594 | 337.8533 | 4.8573 | 322.2827 | 5.1113 | 330.4207 | 5.466 | 323.9313 | 22.6067 | 890 | 55.4447 | 14.3247
2020-05-26 14:15:00 | 4.1813 | 335.9333 | 4.5127 | 325.9227 | 4.7127 | 328.5433 | 5.1887 | 327.5873 | 22.6267 | 890 | 55.8473 | 14.584
2020-05-26 14:30:00 | 3.8553 | 341.18 | 4.1087 | 329.9307 | 4.286 | 333.6747 | 4.6433 | 331.618 | 22.7467 | 890 | 58.2773 | 10.7927
2020-05-26 14:45:00 | 3.908 | 333.74 | 4.166 | 326.9013 | 4.378 | 326.3973 | 4.73 | 328.5713 | 22.88 | 889.6 | 57.836 | 10.192
2020-05-26 15:00:00 | 3.654 | 339.5667 | 3.9113 | 330.16 | 4.12 | 332.096 | 4.4747 | 331.8487 | 23.0867 | 889 | 56.436 | 8.3993
2020-05-26 15:15:00 | 3.5513 | 341.3467 | 3.79 | 306.2833 | 3.976 | 333.8387 | 4.308 | 307.8493 | 23.2267 | 889 | 54.7053 | 8.012
2020-05-26 15:30:00 | 3.7953 | 312.1467 | 3.9713 | 304.1847 | 4.038 | 305.2793 | 4.3013 | 305.74 | 23.2133 | 889 | 54.158 | 8.414
2020-05-26 15:45:00 | 3.3333 | 318.26 | 3.55 | 263.6427 | 3.664 | 311.2587 | 3.9807 | 264.99 | 23.2733 | 889 | 54.282 | 7.9827
2020-05-26 16:00:00 | 3.3833 | 277.9667 | 3.5113 | 299.9193 | 3.7667 | 271.8507 | 3.9007 | 301.454 | 23.2733 | 889 | 54.5113 | 8.9953
2020-05-26 16:15:00 | 3.262 | 297.58 | 3.448 | 306.374 | 3.6633 | 291.0333 | 3.8993 | 307.9407 | 23.16 | 889 | 53.982 | 8.0133
2020-05-26 16:30:00 | 3.6453 | 256.5 | 3.836 | 300.4413 | 4.068 | 250.858 | 4.306 | 301.978 | 23.02 | 889 | 56.642 | 9.786
2020-05-26 16:45:00 | 3.3893 | 275.52 | 3.592 | 243.978 | 3.6993 | 269.4587 | 3.9953 | 245.226 | 22.9533 | 889 | 57.96 | 9.472
2020-05-26 17:00:00 | 3.6953 | 275.1533 | 3.9213 | 317.6487 | 4.308 | 269.1 | 4.564 | 319.2713 | 22.9067 | 889 | 58.5827 | 12.778
2020-05-26 17:15:00 | 3.872 | 297.66 | 4.0907 | 270.574 | 4.3847 | 291.11 | 4.6547 | 271.9553 | 22.8333 | 888.6 | 55.9953 | 14.4893
2020-05-26 17:30:00 | 3.976 | 338.26 | 4.092 | 327.8713 | 4.2593 | 330.8187 | 4.3993 | 329.5473 | 22.7333 | 888.7333 | 55.924 | 12.006
2020-05-26 17:45:00 | 3.3813 | 274.4667 | 3.53 | 282.336 | 3.8307 | 268.4287 | 3.9847 | 283.7787 | 22.5733 | 889 | 56.5 | 11.5307
2020-05-26 18:00:00 | 3.9133 | 341 | 4.1153 | 327.2853 | 4.3707 | 333.4973 | 4.6193 | 328.9587 | 22.4533 | 888.2667 | 56.2027 | 13.656
2020-05-26 18:15:00 | 4.1967 | 341.2267 | 4.366 | 325.1387 | 4.712 | 333.7193 | 4.886 | 326.802 | 22.3533 | 888 | 55.28 | 17.2793
2020-05-26 18:30:00 | 4.7887 | 340.4067 | 4.9647 | 326.632 | 5.1593 | 332.9173 | 5.3893 | 328.3027 | 22.2467 | 888 | 53.9593 | 22.344
2020-05-26 18:45:00 | 4.9153 | 339.3 | 5.2393 | 304.3993 | 5.7013 | 331.8353 | 6.0913 | 305.956 | 22.16 | 888 | 53.8693 | 26.8807
2020-05-26 19:00:00 | 5.9053 | 335.9533 | 6.2513 | 324.7807 | 6.3913 | 328.562 | 6.906 | 326.4407 | 21.9467 | 888 | 52.084 | 37.2547
2020-05-26 19:15:00 | 5.6273 | 317.5067 | 5.9813 | 299.7753 | 6.2573 | 310.522 | 6.7493 | 301.3093 | 21.6533 | 888.4 | 52.3627 | 39.826
2020-05-26 19:30:00 | 4.5813 | 190.1133 | 4.8267 | 303.272 | 5.2493 | 185.93 | 5.5213 | 304.8227 | 21.3933 | 889 | 52.5187 | 32.7933
2020-05-26 19:45:00 | 4.1 | 172.7267 | 4.128 | 224.072 | 4.5307 | 168.9273 | 4.464 | 225.218 | 21.16 | 889 | 54.272 | 25.6147
2020-05-26 20:00:00 | 4.4347 | 214.1733 | 4.5933 | 247.4013 | 4.9513 | 209.4613 | 5.1053 | 248.6667 | 20.9 | 889 | 56.4453 | 28.9687
2020-05-26 20:15:00 | 5.026 | 234.68 | 5.2233 | 313.0113 | 5.924 | 229.5187 | 6.0413 | 314.612 | 20.5933 | 889 | 58.328 | 36.378
2020-05-26 20:30:00 | 5.4247 | 163.2867 | 5.6727 | 267.0207 | 6.2547 | 159.6933 | 6.4847 | 268.3853 | 20.4267 | 889 | 59.326 | 40.4073
2020-05-26 20:45:00 | 5.8167 | 233.82 | 6.1733 | 330.284 | 6.7273 | 228.676 | 7.1407 | 331.972 | 20.1467 | 889 | 59.5053 | 45.5493
2020-05-26 21:00:00 | 6.2353 | 254.9467 | 6.648 | 289.586 | 7.0053 | 249.3393 | 7.5653 | 291.068 | 19.9533 | 889.0667 | 60.1053 | 45.2507
2020-05-26 21:15:00 | 5.7453 | 171.28 | 5.9293 | 327.6227 | 6.4647 | 167.5113 | 6.6067 | 329.2993 | 19.4667 | 890 | 61.096 | 44.7187
2020-05-26 21:30:00 | 5.4987 | 233.98 | 5.736 | 287.8693 | 6.304 | 228.832 | 6.522 | 289.3427 | 19.2267 | 890 | 60.9867 | 41.5647
2020-05-26 21:45:00 | 5.7473 | 254.6333 | 5.8953 | 306.1993 | 6.3067 | 249.032 | 6.4273 | 307.764 | 19.0067 | 890.4 | 62.088 | 41.6927
2020-05-26 22:00:00 | 5.718 | 210.86 | 5.894 | 324.148 | 6.3473 | 206.2207 | 6.5 | 325.8053 | 18.68 | 891 | 62.6547 | 40.6453
2020-05-26 22:15:00 | 6.3233 | 255.0867 | 6.7987 | 306.054 | 7.41 | 249.4753 | 7.9913 | 307.6193 | 18.2667 | 891 | 65.4253 | 45.668
2020-05-26 22:30:00 | 5.8147 | 231.6533 | 6.2787 | 330.6613 | 6.77 | 226.558 | 7.3727 | 332.3513 | 17.86 | 891 | 66.502 | 42.348
2020-05-26 22:45:00 | 5.476 | 237.0667 | 5.756 | 313.5653 | 6.288 | 231.85 | 6.5833 | 315.1687 | 17.6533 | 891 | 68.3193 | 35.4587
2020-05-26 23:00:00 | 4.9033 | 258.28 | 5.1747 | 310.7173 | 5.8673 | 252.5987 | 6.102 | 312.3053 | 17.4533 | 891.0667 | 68.904 | 31.396
2020-05-26 23:15:00 | 4.3353 | 293.5 | 4.5453 | 263.3107 | 5.1767 | 287.042 | 5.3333 | 264.6567 | 17.0667 | 892 | 70.67 | 26.9613
2020-05-26 23:30:00 | 4.808 | 322.7533 | 4.966 | 288.2307 | 5.3647 | 315.652 | 5.5067 | 289.7027 | 16.92 | 892 | 73.148 | 27.6227
2020-05-26 23:45:00 | 5.0087 | 343.1133 | 5.2293 | 289.6253 | 5.622 | 335.564 | 5.8633 | 291.106 | 16.6333 | 891.6 | 74.6113 | 30.642