## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-27 00:00:00 | 5.3836 | 295.7429 | 5.695 | 313.4964 | 5.9021 | 289.2357 | 6.345 | 315.1 | 16.3214 | 891 | 76.2593 | 31.94
2020-05-27 00:15:00 | 5.3836 | 295.7429 | 5.695 | 313.4964 | 5.9021 | 289.2357 | 6.345 | 315.1 | 16.3214 | 891 | 76.2593 | 31.94
2020-05-27 00:30:00 | 5.1367 | 296.1667 | 5.4867 | 311.148 | 5.71 | 289.6513 | 6.206 | 312.738 | 15.9733 | 891 | 80.014 | 30.1867
2020-05-27 00:45:00 | 5.1747 | 317.4267 | 5.4293 | 332.4093 | 5.8093 | 310.4433 | 6.1073 | 334.108 | 15.78 | 891 | 82.7267 | 32.058
2020-05-27 01:00:00 | 5.194 | 343.9533 | 5.5373 | 310.044 | 5.9093 | 336.386 | 6.358 | 311.63 | 15.34 | 891 | 86.5133 | 32.788
2020-05-27 01:15:00 | 5.116 | 340.4267 | 5.4013 | 327.2973 | 5.6647 | 332.9373 | 6.0487 | 328.9707 | 14.9867 | 891 | 89.18 | 30.8213
2020-05-27 01:30:00 | 5.056 | 339.6333 | 5.2807 | 330.74 | 5.4007 | 332.1607 | 5.73 | 332.432 | 14.8533 | 890.2667 | 90.48 | 26.4407
2020-05-27 01:45:00 | 5.104 | 319.44 | 5.2693 | 326.9847 | 5.5133 | 312.2367 | 5.702 | 328.6573 | 14.6867 | 890 | 89.94 | 25.6107
2020-05-27 02:00:00 | 5.5913 | 339.1133 | 5.776 | 325.5307 | 6.076 | 331.652 | 6.286 | 327.1953 | 14.7467 | 890 | 89.7667 | 29.928
2020-05-27 02:15:00 | 5.9127 | 311.9 | 6.11 | 324.474 | 6.4293 | 305.038 | 6.658 | 326.1333 | 14.76 | 890 | 88.84 | 34.8293
2020-05-27 02:30:00 | 6.096 | 336.2267 | 6.3333 | 324.8787 | 6.8893 | 328.8293 | 7.1087 | 326.5393 | 14.7667 | 890 | 88.7467 | 39.5753
2020-05-27 02:45:00 | 5.9693 | 334.4533 | 6.2633 | 324.5 | 6.724 | 327.094 | 7.07 | 326.1593 | 14.5733 | 890 | 88.2533 | 38.3107
2020-05-27 03:00:00 | 6.2553 | 339.7267 | 6.5867 | 326.0907 | 6.8973 | 332.252 | 7.342 | 327.7587 | 14.4333 | 890 | 88.72 | 41.144
2020-05-27 03:15:00 | 6.25 | 342.3667 | 6.5813 | 327.6887 | 6.738 | 334.8347 | 7.2267 | 329.364 | 14.2933 | 890 | 89.62 | 41.8127
2020-05-27 03:30:00 | 6.192 | 338.4933 | 6.5813 | 333.0867 | 6.9347 | 331.0467 | 7.46 | 334.7907 | 14.0133 | 889.9333 | 90.5467 | 43.1347
2020-05-27 03:45:00 | 6.3653 | 346.36 | 6.7727 | 331.776 | 7.2393 | 338.738 | 7.7593 | 333.4727 | 14.0267 | 889 | 91.78 | 42.602
2020-05-27 04:00:00 | 6.0747 | 348.3 | 6.612 | 324.3687 | 6.9147 | 340.6373 | 7.6887 | 326.028 | 13.9467 | 889 | 94.0133 | 42.7853
2020-05-27 04:15:00 | 6.046 | 327.8067 | 6.5687 | 306.0813 | 6.9287 | 320.594 | 7.6607 | 307.6447 | 13.9267 | 889 | 95.2467 | 41.4673
2020-05-27 04:30:00 | 6.5207 | 346.96 | 7.0173 | 296.198 | 7.2093 | 339.3273 | 7.9493 | 297.7133 | 14.1133 | 889 | 95.7067 | 41.648
2020-05-27 04:45:00 | 6.0587 | 344.2867 | 6.612 | 332.586 | 6.9107 | 336.712 | 7.71 | 334.2853 | 14.1267 | 889 | 94.4733 | 39.8973
2020-05-27 05:00:00 | 6.5493 | 344.9267 | 7.1107 | 326.6453 | 7.5507 | 337.338 | 8.326 | 328.3153 | 14.14 | 889 | 94.18 | 41.7633
2020-05-27 05:15:00 | 6.7873 | 341.7667 | 7.3873 | 326.1567 | 7.698 | 334.2467 | 8.578 | 327.8233 | 14.04 | 889 | 94.2067 | 43.4907
2020-05-27 05:30:00 | 6.372 | 348.22 | 6.9707 | 335.592 | 7.3987 | 340.5593 | 8.236 | 337.3067 | 13.9267 | 889 | 94.28 | 41.9573
2020-05-27 05:45:00 | 6.5287 | 336.48 | 7.152 | 327.54 | 7.3993 | 329.078 | 8.326 | 329.2133 | 13.9267 | 888.6 | 95.5133 | 42.0433
2020-05-27 06:00:00 | 6.446 | 337.24 | 7.0713 | 328.4833 | 7.36 | 329.8193 | 8.2813 | 330.1647 | 14 | 888.7333 | 96.0733 | 41.7147
2020-05-27 06:15:00 | 6.7573 | 338.4533 | 7.4193 | 313.456 | 7.6607 | 331.0067 | 8.65 | 315.0587 | 13.9933 | 888.6 | 95.7667 | 43.552
2020-05-27 06:30:00 | 6.854 | 340.32 | 7.5207 | 333.048 | 7.7447 | 332.832 | 8.752 | 334.75 | 14.08 | 888.7333 | 95.3 | 49.614
2020-05-27 06:45:00 | 7.2013 | 341.0067 | 7.89 | 337.272 | 8.22 | 333.5047 | 9.234 | 338.9967 | 14.1533 | 889 | 94.82 | 50.0787
2020-05-27 07:00:00 | 6.7907 | 339.8467 | 7.4493 | 334.1967 | 7.8547 | 332.37 | 8.796 | 335.9047 | 14.2133 | 889 | 94.3733 | 47.3827
2020-05-27 07:15:00 | 7.0913 | 338.8067 | 7.7613 | 332.716 | 8.1113 | 331.352 | 9.0793 | 334.4167 | 14.4133 | 889 | 93.7133 | 45.994
2020-05-27 07:30:00 | 7.224 | 340.6667 | 7.9553 | 331.7287 | 8.2967 | 333.172 | 9.3753 | 333.426 | 14.4133 | 889 | 92.5133 | 48.3053
2020-05-27 07:45:00 | 6.734 | 341.1667 | 7.404 | 331.1313 | 7.8033 | 333.6613 | 8.7653 | 332.824 | 14.44 | 889.4 | 91.2733 | 46.034
2020-05-27 08:00:00 | 6.1153 | 338.5933 | 6.7413 | 310.288 | 7.0933 | 331.1433 | 7.9953 | 311.872 | 14.6133 | 890 | 90.5267 | 43.142
2020-05-27 08:15:00 | 6.2367 | 339.9133 | 6.8 | 330.1853 | 7.15 | 332.434 | 7.954 | 331.874 | 14.94 | 890 | 89.14 | 40.812
2020-05-27 08:30:00 | 5.9893 | 337.2667 | 6.4807 | 310.1953 | 6.9053 | 329.8473 | 7.5713 | 311.782 | 15.2267 | 890 | 87.0533 | 39.16
2020-05-27 08:45:00 | 6.0407 | 340.2467 | 6.508 | 310.4747 | 6.902 | 332.7613 | 7.5387 | 312.062 | 15.3533 | 890.4 | 83.6467 | 38.4467
2020-05-27 09:00:00 | 5.9827 | 316.9533 | 6.4833 | 335.0293 | 6.9447 | 309.98 | 7.6147 | 336.7427 | 15.3667 | 891 | 82.12 | 38.7413
2020-05-27 09:15:00 | 5.8133 | 320.28 | 6.438 | 310.3387 | 6.886 | 313.2353 | 7.7573 | 311.926 | 15.5467 | 891 | 78.9107 | 37.0647
2020-05-27 09:30:00 | 5.3167 | 321.5 | 5.9173 | 247.988 | 6.376 | 314.426 | 7.2047 | 249.256 | 15.9467 | 891 | 76.8927 | 30.9787
2020-05-27 09:45:00 | 5.2653 | 318.1533 | 5.794 | 335.526 | 6.322 | 311.154 | 7.0187 | 337.2407 | 16.0733 | 891 | 76.29 | 27.526
2020-05-27 10:00:00 | 4.9687 | 344.3933 | 5.4827 | 316.7613 | 5.8507 | 336.8167 | 6.5693 | 318.382 | 16.28 | 891 | 77.1827 | 23.062
2020-05-27 10:15:00 | 5.24 | 343.0533 | 5.7273 | 291.066 | 5.914 | 335.5067 | 6.6393 | 292.554 | 16.8267 | 891 | 76.2333 | 21.9287
2020-05-27 10:30:00 | 4.6307 | 338.9067 | 5.0007 | 315.0273 | 5.1753 | 331.452 | 5.718 | 316.6393 | 17.3867 | 891 | 72.11 | 17.0413
2020-05-27 10:45:00 | 4.5113 | 314.2733 | 4.75 | 314.8647 | 5.036 | 307.3587 | 5.338 | 316.474 | 17.7333 | 891 | 68.6567 | 13.9027
2020-05-27 11:00:00 | 4.3087 | 336.72 | 4.5487 | 289.4473 | 4.7087 | 329.3127 | 5.052 | 290.928 | 17.86 | 891 | 67.4387 | 12.2273
2020-05-27 11:15:00 | 3.976 | 339.2933 | 4.2567 | 317.6733 | 4.3107 | 331.8293 | 4.7453 | 319.2973 | 17.92 | 891 | 68.5673 | 9.29
2020-05-27 11:30:00 | 3.7127 | 345.76 | 3.888 | 296.2367 | 4.006 | 338.1533 | 4.2553 | 297.7507 | 18.0933 | 891 | 69.3927 | 7.3987
2020-05-27 11:45:00 | 3.8553 | 321.7467 | 4.07 | 317.784 | 4.1393 | 314.6673 | 4.466 | 319.4093 | 18.2267 | 891 | 69.214 | 8.9027
2020-05-27 12:00:00 | 3.6567 | 348.6533 | 3.94 | 314.1587 | 3.972 | 340.9827 | 4.4173 | 315.766 | 18.4867 | 891 | 67.3847 | 8.466
2020-05-27 12:15:00 | 3.3973 | 302.8667 | 3.73 | 207.1987 | 3.746 | 296.2027 | 4.276 | 208.258 | 18.9067 | 891 | 65.2593 | 8.57
2020-05-27 12:30:00 | 3.28 | 210.64 | 3.5493 | 205.3473 | 3.7507 | 206.006 | 4.126 | 206.3973 | 19.2933 | 891 | 61.6053 | 7.6813
2020-05-27 12:45:00 | 3.0967 | 168.82 | 3.3233 | 272.2807 | 3.4567 | 165.1073 | 3.7793 | 273.674 | 19.3067 | 891 | 59.624 | 5.5247
2020-05-27 13:00:00 | 3.0587 | 171.2733 | 3.2047 | 315.9007 | 3.3507 | 167.506 | 3.546 | 317.5167 | 19.4533 | 891 | 60.4213 | 4.1747
2020-05-27 13:15:00 | 2.8847 | 211.6 | 3.0293 | 337.4887 | 2.994 | 206.9453 | 3.2387 | 339.2147 | 19.6133 | 891 | 60.752 | 2.5267
2020-05-27 13:30:00 | 2.0947 | 106.4933 | 2.2213 | 271.682 | 2.2273 | 104.15 | 2.4307 | 273.0707 | 20.0867 | 890.9333 | 58.4893 | 0.76133
2020-05-27 13:45:00 | 1.1607 | 138.1867 | 1.2613 | 121.6113 | 1.45 | 135.1467 | 1.5587 | 122.2333 | 20.9467 | 890 | 56.938 | 0
2020-05-27 14:00:00 | 1.4267 | 84.8533 | 1.5187 | 242.5773 | 1.6847 | 82.9867 | 1.7833 | 243.8173 | 21.6 | 890.0667 | 54.936 | 0
2020-05-27 14:15:00 | 1.3547 | 28.2267 | 1.4893 | 222.6973 | 1.522 | 27.606 | 1.7267 | 223.8353 | 22.0533 | 890.6 | 53.158 | 0
2020-05-27 14:30:00 | 1.2293 | 40.6467 | 1.42 | 82.994 | 1.264 | 39.752 | 1.6153 | 83.418 | 22.3267 | 890 | 51.036 | 0
2020-05-27 14:45:00 | 1.2007 | 44.48 | 1.378 | 187.4113 | 1.1693 | 43.5013 | 1.5113 | 188.37 | 22.0667 | 890 | 50.5787 | 0
2020-05-27 15:00:00 | 0.856 | 41.62 | 0.97667 | 157.718 | 0.936 | 40.704 | 1.142 | 158.5253 | 22.5733 | 890 | 50.7507 | 0
2020-05-27 15:15:00 | 1.124 | 94.08 | 1.1947 | 109.124 | 1.2673 | 92.0113 | 1.36 | 109.6827 | 23.14 | 890 | 48.226 | 0
2020-05-27 15:30:00 | 0.92 | 80.1067 | 0.92133 | 123.9647 | 0.97733 | 78.344 | 0.96533 | 124.5987 | 23.0933 | 889.9333 | 48.2213 | 0
2020-05-27 15:45:00 | 0.88133 | 190.9533 | 0.884 | 153.3693 | 0.826 | 186.7513 | 0.848 | 154.1547 | 23.0467 | 889 | 47.1587 | 0
2020-05-27 16:00:00 | 1.0353 | 107.6133 | 1.0893 | 103.2833 | 1.2787 | 105.2467 | 1.3087 | 103.812 | 23.5133 | 889 | 46.0873 | 0
2020-05-27 16:15:00 | 0.97133 | 193.0267 | 1.0153 | 105.7133 | 0.90333 | 188.782 | 1.006 | 106.256 | 23.24 | 889 | 45.0387 | 0
2020-05-27 16:30:00 | 0.72533 | 113.24 | 0.78333 | 112.9727 | 0.70267 | 110.7493 | 0.81733 | 113.5507 | 23.2533 | 889 | 45.666 | 0
2020-05-27 16:45:00 | 0.92667 | 189.7533 | 0.954 | 118.0253 | 1.1107 | 185.5807 | 1.1113 | 118.6273 | 23.5133 | 889 | 47.056 | 0
2020-05-27 17:00:00 | 2.1073 | 172.32 | 2.3133 | 134.0253 | 2.164 | 168.5293 | 2.542 | 134.71 | 22.7667 | 889 | 44.8007 | 0
2020-05-27 17:15:00 | 2.274 | 179.0667 | 2.3547 | 154.146 | 2.6067 | 175.1273 | 2.6653 | 154.9347 | 22.7 | 889 | 46.5427 | 0
2020-05-27 17:30:00 | 2.03 | 147.5533 | 2.1207 | 141.72 | 2.348 | 144.306 | 2.426 | 142.444 | 22.4933 | 889 | 47.974 | 0
2020-05-27 17:45:00 | 1.99 | 165.3467 | 2.0567 | 127.766 | 2.17 | 161.708 | 2.2473 | 128.4193 | 22.8067 | 889 | 47.8087 | 0
2020-05-27 18:00:00 | 1.65 | 175.4933 | 1.7127 | 154.57 | 1.85 | 171.6313 | 1.9127 | 155.3587 | 22.74 | 888.2667 | 47.6867 | 0
2020-05-27 18:15:00 | 1.8827 | 149.6467 | 1.9553 | 148.2047 | 2.238 | 146.3553 | 2.2727 | 148.964 | 22.6067 | 888 | 47.6793 | 0
2020-05-27 18:30:00 | 1.826 | 143.5067 | 1.8867 | 159.4193 | 2.2433 | 140.3493 | 2.2367 | 160.2353 | 22.6267 | 888 | 47.2207 | 0
2020-05-27 18:45:00 | 2.0693 | 160.4 | 2.1767 | 162.054 | 2.2633 | 156.872 | 2.4127 | 162.8827 | 22.22 | 888 | 48.2127 | 0
2020-05-27 19:00:00 | 2.3553 | 156.28 | 2.4173 | 135.6673 | 2.6413 | 152.8427 | 2.6773 | 136.3613 | 21.8933 | 888 | 48.5807 | 0.646
2020-05-27 19:15:00 | 2.492 | 151.3733 | 2.6513 | 138.4387 | 2.8933 | 148.0447 | 3.08 | 139.1467 | 21.7533 | 887.6 | 48.8507 | 1.948
2020-05-27 19:30:00 | 2.8493 | 152.9667 | 3.0107 | 140.0427 | 3.164 | 149.6007 | 3.3833 | 140.7587 | 21.4667 | 887.7333 | 49.7533 | 3.7213
2020-05-27 19:45:00 | 2.766 | 144.38 | 2.8487 | 140.82 | 3.0273 | 141.2033 | 3.1107 | 141.5387 | 21.34 | 888 | 50.8107 | 3.6207
2020-05-27 20:00:00 | 2.4853 | 141.9867 | 2.5307 | 139.6513 | 2.93 | 138.862 | 2.8847 | 140.3653 | 21.12 | 888 | 52.0667 | 4.386
2020-05-27 20:15:00 | 2.246 | 142.4933 | 2.3507 | 132.1793 | 2.5 | 139.358 | 2.622 | 132.856 | 20.8733 | 888 | 52.65 | 3.4107
2020-05-27 20:30:00 | 1.8767 | 141.94 | 1.95 | 131.364 | 1.9387 | 138.8167 | 2.062 | 132.0373 | 20.7667 | 888 | 54.074 | 2.436
2020-05-27 20:45:00 | 1.982 | 137.7333 | 2.0707 | 128.314 | 2.1427 | 134.7033 | 2.2647 | 128.9693 | 20.7667 | 888 | 55.408 | 1.7047
2020-05-27 21:00:00 | 2.096 | 132.98 | 2.1773 | 129.394 | 2.29 | 130.054 | 2.388 | 130.0573 | 20.6333 | 888 | 55.2167 | 1.978
2020-05-27 21:15:00 | 2.1533 | 137.5533 | 2.2353 | 131.692 | 2.346 | 135.056 | 2.4473 | 132.3633 | 20.5667 | 888 | 55.5093 | 1.63
2020-05-27 21:30:00 | 2.508 | 136.92 | 2.622 | 127.2953 | 2.788 | 133.9067 | 2.928 | 127.9467 | 20.46 | 888 | 55.9467 | 2.3987
2020-05-27 21:45:00 | 2.3867 | 123.9933 | 2.4967 | 125.4387 | 2.64 | 121.2647 | 2.7753 | 126.0793 | 20.2867 | 888 | 56.288 | 2.506
2020-05-27 22:00:00 | 1.9493 | 125.0667 | 2.0513 | 128.2487 | 2.1827 | 122.3153 | 2.3053 | 128.904 | 20.24 | 888 | 56.17 | 0.71533
2020-05-27 22:15:00 | 2.1953 | 130.96 | 2.2693 | 132.8133 | 2.3827 | 128.0793 | 2.4687 | 133.492 | 20.1533 | 888 | 57.3167 | 1.3387
2020-05-27 22:30:00 | 2.0327 | 125.7067 | 2.12 | 130.23 | 2.23 | 122.94 | 2.3393 | 130.896 | 20.0867 | 888 | 58.5107 | 1.0173
2020-05-27 22:45:00 | 2.0333 | 126.08 | 2.152 | 121.95 | 2.2287 | 123.3053 | 2.398 | 122.5727 | 19.9867 | 888 | 59.4127 | 0.97
2020-05-27 23:00:00 | 2.2127 | 123.9467 | 2.346 | 127.244 | 2.4267 | 121.22 | 2.6187 | 127.8947 | 19.84 | 888 | 59.9313 | 1.172
2020-05-27 23:15:00 | 2.662 | 119.2933 | 2.782 | 125.8167 | 2.9267 | 116.6687 | 3.0807 | 126.46 | 19.6667 | 888 | 61.314 | 2.9427
2020-05-27 23:30:00 | 2.608 | 128.2733 | 2.742 | 126.768 | 2.7653 | 125.4513 | 2.9753 | 127.4167 | 19.4933 | 888 | 62.45 | 3.2287
2020-05-27 23:45:00 | 2.56 | 127.6533 | 2.706 | 126.4227 | 2.8247 | 124.8453 | 3.0267 | 127.0693 | 19.2667 | 888 | 62.9967 | 3.204