## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-28 00:00:00 | 2.5529 | 130.2643 | 2.6479 | 126.7907 | 2.8964 | 127.3979 | 2.9771 | 127.44 | 19.2571 | 888 | 63.6957 | 3.078
2020-05-28 00:15:00 | 2.7493 | 135.8 | 2.8553 | 131.424 | 3.0907 | 132.8133 | 3.1953 | 132.0953 | 19.24 | 888 | 64.2313 | 4.8387
2020-05-28 00:30:00 | 2.966 | 135.36 | 3.0807 | 133.9927 | 3.2373 | 132.3813 | 3.3793 | 134.6773 | 19.1467 | 887.2667 | 64.6693 | 5.9687
2020-05-28 00:45:00 | 2.831 | 132.41 | 2.942 | 132.704 | 3.031 | 129.496 | 3.187 | 133.382 | 19.05 | 887 | 64.952 | 4.744
2020-05-28 01:00:00 | 2.62 | 133.8867 | 2.6807 | 131.8287 | 2.888 | 130.9413 | 2.9267 | 132.5013 | 19.0533 | 887 | 65.572 | 3.5813
2020-05-28 01:15:00 | 2.6067 | 130.2067 | 2.6953 | 130.882 | 2.842 | 127.3427 | 2.9433 | 131.552 | 18.8 | 887 | 66.568 | 3.014
2020-05-28 01:30:00 | 2.5593 | 137.8333 | 2.658 | 134.2667 | 2.7727 | 134.8007 | 2.9007 | 134.9533 | 18.7267 | 887 | 67.4553 | 2.5187
2020-05-28 01:45:00 | 2.074 | 136.8533 | 2.1513 | 141.5753 | 2.2367 | 133.8413 | 2.3393 | 142.2993 | 18.76 | 887 | 68.0233 | 1.252
2020-05-28 02:00:00 | 2.11 | 140.6867 | 2.228 | 137.9433 | 2.1847 | 137.5913 | 2.39 | 138.6487 | 18.6733 | 886.2667 | 68.5993 | 1.212
2020-05-28 02:15:00 | 2.3587 | 130.7133 | 2.466 | 132.5313 | 2.3987 | 127.838 | 2.5933 | 133.2087 | 18.6267 | 886.4 | 69.8347 | 2.2207
2020-05-28 02:30:00 | 2.5213 | 130.84 | 2.6153 | 136.986 | 2.612 | 127.9613 | 2.766 | 137.6853 | 18.36 | 886.2667 | 72.222 | 3.3187
2020-05-28 02:45:00 | 2.525 | 129.7143 | 2.6014 | 138.9464 | 2.7814 | 126.86 | 2.8571 | 139.6557 | 18.2429 | 886 | 73.9993 | 2.8827
2020-05-28 03:00:00 | 2.3513 | 129.4667 | 2.426 | 135.186 | 2.4693 | 126.6193 | 2.5767 | 135.8773 | 18.1533 | 886 | 76.1287 | 1.488
2020-05-28 03:15:00 | 2.3073 | 133.3133 | 2.3873 | 140.3033 | 2.4967 | 130.3807 | 2.594 | 141.022 | 18.1267 | 886 | 76.616 | 1.0487
2020-05-28 03:30:00 | 2.1987 | 135.1533 | 2.286 | 139.416 | 2.3493 | 132.18 | 2.4727 | 140.1307 | 17.9333 | 886 | 75.3253 | 0.622
2020-05-28 03:45:00 | 2.088 | 135.8133 | 2.188 | 138.9487 | 2.4013 | 132.826 | 2.4993 | 139.6573 | 17.8133 | 886 | 75.4327 | 0.4
2020-05-28 04:00:00 | 2.2993 | 136.56 | 2.446 | 131.294 | 2.4353 | 133.5567 | 2.6733 | 131.964 | 17.6333 | 886 | 76.4487 | 0.67267
2020-05-28 04:15:00 | 2.144 | 130.98 | 2.2673 | 136.0727 | 2.3953 | 128.0973 | 2.5587 | 136.7687 | 17.5 | 885.6 | 79.0373 | 0.296
2020-05-28 04:30:00 | 2.0993 | 133.66 | 2.2033 | 135.0807 | 2.3553 | 130.72 | 2.4773 | 135.7713 | 17.4333 | 885 | 78.4967 | 0.32333
2020-05-28 04:45:00 | 1.7553 | 141.72 | 1.866 | 134.2793 | 1.8313 | 138.6027 | 2.0233 | 134.9667 | 17.4 | 885 | 78.5627 | 0.27267
2020-05-28 05:00:00 | 1.93 | 136.5133 | 2.0147 | 144.1507 | 2.026 | 133.5093 | 2.1607 | 144.8873 | 17.3867 | 885 | 79.3927 | 0.098667
2020-05-28 05:15:00 | 1.4893 | 135.7933 | 1.602 | 138.0607 | 1.5973 | 132.8053 | 1.7807 | 138.7667 | 17.3 | 885 | 79.974 | 0
2020-05-28 05:30:00 | 1.67 | 138.4467 | 1.7513 | 139.456 | 1.684 | 135.4 | 1.838 | 140.1693 | 17.34 | 885 | 77.9967 | 0.086
2020-05-28 05:45:00 | 1.6707 | 152.5067 | 1.7113 | 146.478 | 1.648 | 149.152 | 1.734 | 147.2273 | 17.2933 | 885 | 79.028 | 0.38333
2020-05-28 06:00:00 | 1.8473 | 156.1 | 1.9167 | 144.9787 | 1.8213 | 152.6647 | 1.964 | 145.72 | 17.1867 | 885 | 81.8533 | 0.24867
2020-05-28 06:15:00 | 1.6393 | 171.9 | 1.716 | 136.4047 | 1.6087 | 168.118 | 1.7667 | 137.1027 | 17.1467 | 885 | 84.9867 | 0
2020-05-28 06:30:00 | 1.8707 | 161.1667 | 2.022 | 158.67 | 2.0693 | 157.62 | 2.296 | 159.482 | 16.84 | 885 | 85.3 | 0.248
2020-05-28 06:45:00 | 1.886 | 163.2533 | 2.0333 | 171.1487 | 2.0807 | 159.662 | 2.3013 | 172.026 | 16.7 | 885.4 | 83.8867 | 0.35733
2020-05-28 07:00:00 | 1.998 | 151.0533 | 2.1707 | 158.704 | 2.0853 | 147.7293 | 2.3893 | 159.5147 | 16.6133 | 886 | 83.7667 | 0.33467
2020-05-28 07:15:00 | 1.7927 | 146.42 | 1.8907 | 156.8187 | 1.7973 | 143.198 | 1.9807 | 157.6213 | 16.5067 | 886 | 83.9133 | 0.41933
2020-05-28 07:30:00 | 1.5713 | 156.0333 | 1.6687 | 169.82 | 1.8113 | 152.6013 | 1.9247 | 170.688 | 16.88 | 886.0667 | 83.7467 | 0.46333
2020-05-28 07:45:00 | 1.3213 | 133.5667 | 1.3653 | 161.35 | 1.448 | 130.6287 | 1.4953 | 162.1747 | 17.0667 | 887 | 80.72 | 0.188
2020-05-28 08:00:00 | 1.106 | 152.0267 | 1.126 | 171.9073 | 1.3527 | 148.6827 | 1.316 | 172.7847 | 17.2067 | 887 | 80.6067 | 0.16133
2020-05-28 08:15:00 | 1.3553 | 170.3867 | 1.4233 | 170.3033 | 1.672 | 166.6367 | 1.7087 | 171.174 | 17.0467 | 887 | 82.5333 | 0.59133
2020-05-28 08:30:00 | 1.7653 | 175 | 1.8573 | 176.2147 | 1.9073 | 171.1507 | 2.0413 | 177.1167 | 16.9267 | 887.0667 | 84.2933 | 0.54133
2020-05-28 08:45:00 | 1.988 | 182.1733 | 2.042 | 170.0673 | 2.138 | 178.1653 | 2.1987 | 170.938 | 16.96 | 888 | 84.38 | 1.1187
2020-05-28 09:00:00 | 1.656 | 177.78 | 1.6713 | 169.064 | 1.8687 | 173.8687 | 1.8373 | 169.9287 | 17.42 | 888 | 82.2333 | 0.586
2020-05-28 09:15:00 | 1.682 | 154.4267 | 1.6753 | 153.082 | 1.8887 | 151.0293 | 1.816 | 153.866 | 17.8733 | 888 | 80.3867 | 0.72867
2020-05-28 09:30:00 | 2.05 | 165.4333 | 2.0593 | 132.7927 | 2.302 | 161.7947 | 2.2507 | 133.4727 | 18.1467 | 888 | 78.3027 | 0.716
2020-05-28 09:45:00 | 1.778 | 146.18 | 1.7933 | 134.096 | 1.8567 | 142.9633 | 1.8667 | 134.7813 | 18.4133 | 888 | 76.5073 | 0.035333
2020-05-28 10:00:00 | 2.0267 | 152.2 | 2.0127 | 127.4913 | 2.3187 | 148.8513 | 2.2107 | 128.144 | 18.66 | 888 | 75.124 | 0.178
2020-05-28 10:15:00 | 1.9673 | 139.46 | 1.9993 | 123.58 | 2.1433 | 136.3927 | 2.158 | 124.2113 | 19 | 888 | 74.3953 | 0.106
2020-05-28 10:30:00 | 2.1827 | 177.0267 | 2.2293 | 130.0147 | 2.462 | 173.1313 | 2.476 | 130.6793 | 19.4 | 888.0667 | 72.846 | 0.58733
2020-05-28 10:45:00 | 2.3827 | 163.7067 | 2.4553 | 120.1447 | 2.7727 | 160.1047 | 2.8033 | 120.7587 | 19.6467 | 889 | 72.6807 | 0.82267
2020-05-28 11:00:00 | 1.9873 | 164.6 | 2.0653 | 120.7573 | 2.4007 | 160.9793 | 2.4327 | 121.3747 | 20.3333 | 888.2667 | 71.0287 | 0.13933
2020-05-28 11:15:00 | 2.3927 | 170.1867 | 2.502 | 132.4087 | 2.75 | 166.4427 | 2.858 | 133.0847 | 20.6333 | 888 | 69.28 | 0.40333
2020-05-28 11:30:00 | 2.538 | 175.32 | 2.6187 | 119.452 | 2.9307 | 171.4627 | 2.9707 | 120.0633 | 20.7067 | 888 | 66.8633 | 1.148
2020-05-28 11:45:00 | 2.7873 | 166.7333 | 2.89 | 130.8947 | 3.3987 | 163.0653 | 3.4187 | 131.5653 | 20.6533 | 888 | 66.4627 | 2.7667
2020-05-28 12:00:00 | 2.6207 | 191.4133 | 2.664 | 132.798 | 2.9967 | 187.202 | 2.9733 | 133.4773 | 21.0333 | 888 | 65.1753 | 2.5073
2020-05-28 12:15:00 | 2.636 | 168.7267 | 2.798 | 146.3227 | 2.788 | 165.0147 | 3.052 | 147.0707 | 21.7667 | 888 | 63.9547 | 2.414
2020-05-28 12:30:00 | 2.4693 | 177.8867 | 2.5387 | 158.0527 | 2.8807 | 173.9733 | 2.8973 | 158.8593 | 22.4467 | 888 | 61.2613 | 3.4373
2020-05-28 12:45:00 | 2.9307 | 195.9467 | 3.0287 | 156.8187 | 3.126 | 191.6367 | 3.254 | 157.622 | 22.46 | 888 | 58.168 | 5.0373
2020-05-28 13:00:00 | 2.9253 | 168.8333 | 3.0373 | 166.4567 | 3.0987 | 165.1187 | 3.2667 | 167.306 | 22.3467 | 888 | 54.9553 | 4.6973
2020-05-28 13:15:00 | 2.8747 | 177.9 | 3.0127 | 166.4433 | 3.1787 | 173.9853 | 3.3513 | 167.2933 | 22.4533 | 888 | 57.418 | 5.3127
2020-05-28 13:30:00 | 2.8093 | 190.2733 | 2.88 | 157.876 | 2.8687 | 186.0867 | 2.9867 | 158.6827 | 22.32 | 888 | 59.0367 | 5.7213
2020-05-28 13:45:00 | 2.586 | 181.4867 | 2.726 | 153.6253 | 2.7593 | 177.4933 | 2.9747 | 154.4087 | 22.38 | 887.6 | 57.9813 | 3.52
2020-05-28 14:00:00 | 2.3707 | 184.4067 | 2.4927 | 156.434 | 2.4867 | 180.3493 | 2.6827 | 157.2327 | 22.5467 | 887 | 58.042 | 2.572
2020-05-28 14:15:00 | 2.63 | 181.3867 | 2.7127 | 156.728 | 3.048 | 177.3953 | 3.0833 | 157.528 | 22.74 | 887 | 57.3033 | 3.8853
2020-05-28 14:30:00 | 2.696 | 184.6733 | 2.8627 | 172.3247 | 3.0167 | 180.6113 | 3.2427 | 173.2027 | 22.8867 | 887 | 54.5387 | 3.54
2020-05-28 14:45:00 | 2.9807 | 196.2867 | 3.1547 | 173.856 | 3.332 | 191.9687 | 3.5633 | 174.7453 | 22.6933 | 887 | 54.7147 | 6.6173
2020-05-28 15:00:00 | 3.1857 | 195.6286 | 3.4079 | 170.8707 | 3.8557 | 191.325 | 4.0821 | 171.7429 | 22.8357 | 887 | 53.9093 | 8.898
2020-05-28 15:15:00 | 3.3753 | 200.8133 | 3.536 | 170.042 | 3.9233 | 196.3947 | 4.0693 | 170.912 | 22.8667 | 886 | 53.4213 | 10.0807
2020-05-28 15:30:00 | 3.4253 | 191.8 | 3.574 | 165.6473 | 3.8207 | 187.5793 | 3.9873 | 166.4933 | 22.8067 | 886 | 52.8973 | 9.5213
2020-05-28 15:45:00 | 3.0973 | 186.4533 | 3.256 | 183.798 | 3.5173 | 182.3513 | 3.6987 | 184.738 | 22.86 | 886 | 53.4187 | 7.732
2020-05-28 16:00:00 | 3.348 | 190.9067 | 3.5207 | 173.412 | 3.7493 | 186.706 | 3.9633 | 174.2993 | 22.94 | 886 | 54.0213 | 9.3087
2020-05-28 16:15:00 | 3.162 | 177.16 | 3.3673 | 163.8087 | 3.3387 | 173.2627 | 3.6813 | 164.646 | 22.92 | 886 | 54.1507 | 10.4273
2020-05-28 16:30:00 | 3.0073 | 166.8933 | 3.1707 | 160.8027 | 3.1213 | 163.2213 | 3.4007 | 161.6253 | 22.9867 | 885.9333 | 53.7327 | 10.574
2020-05-28 16:45:00 | 3.7887 | 166.8867 | 3.9933 | 147.7033 | 3.8047 | 162.6153 | 4.194 | 148.4607 | 22.9067 | 885 | 54.6047 | 14.914
2020-05-28 17:00:00 | 4.182 | 164.3067 | 4.432 | 146.772 | 4.3893 | 160.692 | 4.8067 | 147.5213 | 22.8067 | 885 | 53.7427 | 16.9027
2020-05-28 17:15:00 | 4.3847 | 170.3067 | 4.6213 | 145.0567 | 4.394 | 166.5607 | 4.8433 | 145.7993 | 22.56 | 885 | 54.372 | 21.4827
2020-05-28 17:30:00 | 3.936 | 165.16 | 4.2173 | 151.0493 | 4.1773 | 161.5267 | 4.644 | 151.82 | 22.6067 | 885 | 54.1667 | 20.9867
2020-05-28 17:45:00 | 4.328 | 163.3067 | 4.602 | 147.6913 | 4.6373 | 159.7133 | 5.0693 | 148.4467 | 22.5333 | 885 | 54.7013 | 20.8967
2020-05-28 18:00:00 | 4.1153 | 161.7333 | 4.3287 | 143.582 | 4.5147 | 158.176 | 4.8013 | 144.3173 | 22.52 | 885 | 54.8687 | 17.6793
2020-05-28 18:15:00 | 4.1007 | 153.74 | 4.3347 | 144.6013 | 4.5067 | 150.358 | 4.8387 | 145.3393 | 22.22 | 885 | 55.74 | 16.956
2020-05-28 18:30:00 | 3.5873 | 163.36 | 3.7853 | 147.2087 | 3.8933 | 159.766 | 4.182 | 147.962 | 22.1133 | 885 | 56.578 | 12.6047
2020-05-28 18:45:00 | 3.4133 | 174.38 | 3.6013 | 144.4953 | 3.69 | 170.544 | 3.9707 | 145.234 | 22.0667 | 885 | 58.2053 | 13.108
2020-05-28 19:00:00 | 3.8733 | 172.26 | 4.0993 | 145.8 | 4.0033 | 168.4707 | 4.3967 | 146.546 | 21.8467 | 885 | 59.9953 | 15.504
2020-05-28 19:15:00 | 3.73 | 169.22 | 3.99 | 151.7847 | 3.892 | 165.4973 | 4.338 | 152.5627 | 21.68 | 885 | 61.9607 | 16.702
2020-05-28 19:30:00 | 3.8907 | 166.1933 | 4.098 | 150.606 | 3.986 | 162.5373 | 4.3493 | 151.376 | 21.5267 | 885 | 62.946 | 15.3333
2020-05-28 19:45:00 | 3.648 | 159.6267 | 3.8807 | 149.9287 | 3.728 | 156.1153 | 4.148 | 150.694 | 21.4533 | 885 | 63.554 | 13.6053
2020-05-28 20:00:00 | 3.8347 | 158.5 | 4.09 | 153.5987 | 3.9853 | 155.0113 | 4.428 | 154.3833 | 21.2667 | 885 | 64.4987 | 14.754
2020-05-28 20:15:00 | 3.652 | 154.9467 | 3.8847 | 154.2313 | 3.75 | 151.5393 | 4.1687 | 155.0187 | 21.06 | 885 | 65.246 | 11.814
2020-05-28 20:30:00 | 3.5727 | 151.8867 | 3.766 | 153.3647 | 3.7407 | 148.5453 | 4.0627 | 154.1473 | 20.9267 | 885 | 65.694 | 9.9927
2020-05-28 20:45:00 | 3.562 | 152.04 | 3.7873 | 145.084 | 3.8013 | 148.6947 | 4.156 | 145.8247 | 20.7667 | 885 | 66.646 | 11.9287
2020-05-28 21:00:00 | 3.808 | 151.1467 | 3.9633 | 144.3653 | 3.9727 | 147.8207 | 4.2233 | 145.1033 | 20.5467 | 885 | 67.4853 | 12.29
2020-05-28 21:15:00 | 4.3633 | 151.68 | 4.5027 | 141.6653 | 4.4613 | 148.3433 | 4.6993 | 142.39 | 20.3667 | 885 | 68.6127 | 15.5307
2020-05-28 21:30:00 | 4.2933 | 154.36 | 4.392 | 145.2853 | 4.3813 | 150.964 | 4.5487 | 146.028 | 20.1867 | 885 | 69.8927 | 14.388
2020-05-28 21:45:00 | 4.0413 | 156.4133 | 4.1733 | 139.3373 | 4.1573 | 152.9727 | 4.3807 | 140.0513 | 20.0133 | 885 | 70.48 | 13.398
2020-05-28 22:00:00 | 4.0933 | 151.9667 | 4.204 | 141.44 | 4.468 | 148.6253 | 4.5767 | 142.162 | 19.8533 | 885 | 71.254 | 14.398
2020-05-28 22:15:00 | 3.7893 | 158.4 | 3.9487 | 140.748 | 4.156 | 154.9167 | 4.356 | 141.4667 | 19.6533 | 885 | 72.256 | 10.7233
2020-05-28 22:30:00 | 3.212 | 157.36 | 3.3447 | 145.0247 | 3.3807 | 153.8993 | 3.592 | 145.7653 | 19.4933 | 885 | 73.172 | 7.2913
2020-05-28 22:45:00 | 3.3089 | 156.5444 | 3.3611 | 142.06 | 3.44 | 153.0989 | 3.5011 | 142.7856 | 19.4 | 885 | 74.2 | 8.6733
2020-05-28 23:00:00 | 3.428 | 145.4667 | 3.52 | 139.9067 | 3.856 | 142.266 | 3.91 | 140.622 | 19.2267 | 885 | 75.9987 | 7.612
2020-05-28 23:15:00 | 3.338 | 147.9133 | 3.48 | 136.9027 | 3.7367 | 144.66 | 3.8887 | 137.6 | 19.0867 | 885 | 76.646 | 7.166
2020-05-28 23:30:00 | 3.3507 | 142.54 | 3.4933 | 135.818 | 3.7373 | 139.404 | 3.8987 | 136.5133 | 18.8667 | 885 | 77.8693 | 7.3687
2020-05-28 23:45:00 | 3.0933 | 143.2 | 3.206 | 131.8667 | 3.5707 | 140.05 | 3.6473 | 132.5413 | 18.72 | 885 | 79.238 | 7.1593