## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-29 00:00:00 | 3.3207 | 139.4429 | 3.4807 | 134.195 | 3.8129 | 136.375 | 3.975 | 134.8814 | 18.6 | 885 | 80.4154 | 8.2887
2020-05-29 00:15:00 | 3.5627 | 140.9867 | 3.7367 | 133.5893 | 4.0787 | 137.8653 | 4.2587 | 134.2713 | 18.3867 | 885 | 81.44 | 8.504
2020-05-29 00:30:00 | 3.954 | 146.82 | 4.12 | 134.6107 | 4.4587 | 143.5913 | 4.6327 | 135.3013 | 18.2467 | 885 | 82.6533 | 11.3453
2020-05-29 00:45:00 | 4.1293 | 141.9467 | 4.2873 | 134.0387 | 4.582 | 138.8233 | 4.7533 | 134.7233 | 18.16 | 885 | 82.6467 | 11.442
2020-05-29 01:00:00 | 3.7 | 143.5733 | 3.8853 | 136.4047 | 4.2133 | 140.414 | 4.4167 | 137.102 | 18.0133 | 885 | 83.5867 | 9.074
2020-05-29 01:15:00 | 3.424 | 142.1267 | 3.6087 | 135.882 | 4.0167 | 139 | 4.1967 | 136.578 | 17.8333 | 884.6 | 84.7 | 7.5687
2020-05-29 01:30:00 | 3.3047 | 141.34 | 3.4307 | 137.4733 | 3.7553 | 138.2307 | 3.8687 | 138.1773 | 17.7 | 884 | 85.7867 | 7.4687
2020-05-29 01:45:00 | 3.0947 | 126.72 | 3.2053 | 127.544 | 3.716 | 123.9313 | 3.7487 | 128.196 | 17.62 | 884 | 86.4333 | 8.608
2020-05-29 02:00:00 | 3.3967 | 123.4133 | 3.5053 | 120.666 | 4.0253 | 120.6987 | 4.0487 | 121.2827 | 17.3867 | 884 | 87.18 | 11.234
2020-05-29 02:15:00 | 3.6313 | 124.4333 | 3.7433 | 127.1147 | 4.272 | 121.6953 | 4.3007 | 127.7647 | 17.2467 | 883.6 | 88.02 | 11.6747
2020-05-29 02:30:00 | 3.8787 | 134.5867 | 4.0113 | 128.3867 | 4.5073 | 131.6253 | 4.5787 | 129.0407 | 17.12 | 883 | 88.9867 | 14.0687
2020-05-29 02:45:00 | 4.0133 | 137.4267 | 4.2113 | 136.4833 | 4.6007 | 134.4027 | 4.8093 | 137.18 | 16.9933 | 883 | 89.4067 | 13.2427
2020-05-29 03:00:00 | 3.948 | 138.4267 | 4.114 | 134.6307 | 4.51 | 135.3813 | 4.6653 | 135.3193 | 16.96 | 883 | 89.1133 | 13.7413
2020-05-29 03:15:00 | 4.0327 | 145.6067 | 4.1707 | 139.0007 | 4.6067 | 142.4033 | 4.7067 | 139.7113 | 17.0133 | 882.6 | 89.62 | 14.596
2020-05-29 03:30:00 | 3.7407 | 146.6267 | 3.8867 | 141.6873 | 4.2873 | 143.4 | 4.4027 | 142.4113 | 16.6467 | 882 | 90.4867 | 11.9813
2020-05-29 03:45:00 | 3.278 | 154.2467 | 3.4 | 142.4433 | 3.6 | 150.8527 | 3.7387 | 143.1693 | 16.4867 | 882 | 90.9667 | 8.8747
2020-05-29 04:00:00 | 2.862 | 153.1533 | 3.004 | 141.9273 | 3.0207 | 149.7833 | 3.244 | 142.652 | 16.3067 | 882 | 91.5867 | 5.4067
2020-05-29 04:15:00 | 2.7713 | 159 | 2.896 | 151.4153 | 2.908 | 155.5013 | 3.11 | 152.1873 | 16.5067 | 882.4 | 91.86 | 4.2093
2020-05-29 04:30:00 | 2.6433 | 160.3467 | 2.7493 | 156.5187 | 2.8033 | 156.818 | 2.9627 | 157.3193 | 16.7 | 882.9333 | 92.2267 | 3.3387
2020-05-29 04:45:00 | 2.1767 | 152.84 | 2.2467 | 148.6167 | 2.248 | 149.4767 | 2.3653 | 149.3773 | 16.6867 | 882 | 93.4267 | 1.746
2020-05-29 05:00:00 | 1.7267 | 149.08 | 1.8507 | 154.4327 | 1.968 | 145.802 | 2.134 | 155.2233 | 16.4933 | 882 | 94.58 | 0.98133
2020-05-29 05:15:00 | 1.6647 | 142.18 | 1.7133 | 155.62 | 1.8807 | 139.0513 | 1.9153 | 156.414 | 16.4933 | 882 | 94.9533 | 1.296
2020-05-29 05:30:00 | 1.8867 | 157.6067 | 1.9807 | 142.3573 | 2.162 | 154.14 | 2.264 | 143.084 | 16.3867 | 882 | 94.22 | 2.356
2020-05-29 05:45:00 | 2.3 | 160.88 | 2.4073 | 142.0887 | 2.4967 | 157.3407 | 2.6427 | 142.816 | 16.3933 | 882 | 93.78 | 4.4373
2020-05-29 06:00:00 | 2.644 | 149.4533 | 2.698 | 133.276 | 2.8847 | 146.1653 | 2.922 | 133.9567 | 16.1 | 882 | 93.9667 | 5.714
2020-05-29 06:15:00 | 2.7273 | 153.7 | 2.8373 | 134.476 | 3.094 | 150.3187 | 3.1947 | 135.162 | 15.8333 | 882 | 94.2333 | 6.4947
2020-05-29 06:30:00 | 2.8007 | 152.12 | 2.976 | 140.0753 | 3.246 | 148.7733 | 3.4507 | 140.792 | 15.7333 | 882 | 94.5867 | 7.9
2020-05-29 06:45:00 | 2.848 | 149.6 | 2.9793 | 148.1087 | 3.1827 | 146.3087 | 3.3353 | 148.866 | 15.88 | 882 | 94.48 | 6.8687
2020-05-29 07:00:00 | 2.834 | 151.4133 | 2.9427 | 142.7727 | 3.1393 | 148.0813 | 3.256 | 143.5033 | 16.0733 | 882 | 94.7667 | 4.1133
2020-05-29 07:15:00 | 2.662 | 142.26 | 2.77 | 140.0233 | 2.8653 | 139.1307 | 3.01 | 140.7387 | 16.14 | 882 | 94.9933 | 2.1727
2020-05-29 07:30:00 | 2.114 | 129.8533 | 2.2533 | 149.8293 | 2.354 | 126.996 | 2.5473 | 150.5967 | 16.1467 | 882.0667 | 94.6733 | 1.0447
2020-05-29 07:45:00 | 1.8767 | 134.7933 | 1.9673 | 139.5267 | 2.1587 | 131.8267 | 2.2467 | 140.2407 | 16.22 | 883 | 94.3933 | 0.902
2020-05-29 08:00:00 | 1.468 | 129.66 | 1.5373 | 129.4213 | 1.7813 | 126.808 | 1.822 | 130.084 | 16.2267 | 883 | 94.44 | 0.31333
2020-05-29 08:15:00 | 1.8664 | 133.9571 | 1.9479 | 123.8207 | 2.2393 | 131.01 | 2.2864 | 124.455 | 16.35 | 883 | 94.74 | 0.45533
2020-05-29 08:30:00 | 1.8047 | 137.9 | 1.8027 | 146.198 | 2.1227 | 135.094 | 2.024 | 146.944 | 16.5533 | 883 | 93.1533 | 0.12667
2020-05-29 08:45:00 | 1.778 | 149.4467 | 1.8213 | 140.5653 | 2.12 | 146.158 | 2.104 | 141.284 | 16.74 | 883.4 | 90.9733 | 0.322
2020-05-29 09:00:00 | 2.2593 | 163.2533 | 2.292 | 142.906 | 2.6233 | 159.6613 | 2.584 | 143.636 | 16.8933 | 884 | 89.54 | 1.73
2020-05-29 09:15:00 | 2.4453 | 166.92 | 2.4753 | 142.1953 | 2.8053 | 163.2487 | 2.7613 | 142.9233 | 16.7933 | 884 | 88.44 | 2.752
2020-05-29 09:30:00 | 2.5307 | 165.2 | 2.5253 | 140.2913 | 2.8573 | 161.5647 | 2.7573 | 141.008 | 16.7867 | 884 | 88.6667 | 2.9927
2020-05-29 09:45:00 | 2.424 | 160.5533 | 2.4087 | 140.578 | 2.848 | 157.02 | 2.7007 | 141.296 | 17.1133 | 884 | 88.8 | 2.4707
2020-05-29 10:00:00 | 2.1947 | 163.58 | 2.2047 | 138.1727 | 2.612 | 159.982 | 2.5153 | 138.878 | 17.26 | 884 | 88.74 | 1.3873
2020-05-29 10:15:00 | 2.066 | 168.4533 | 2.0867 | 136.712 | 2.3853 | 164.7473 | 2.3347 | 137.4113 | 17.5067 | 884 | 88.2467 | 1.222
2020-05-29 10:30:00 | 2.1273 | 169.2867 | 2.1793 | 131.6453 | 2.5347 | 165.562 | 2.5167 | 132.318 | 17.7533 | 884 | 86.2867 | 1.3493
2020-05-29 10:45:00 | 2.5573 | 139.6467 | 2.6153 | 132.598 | 2.8707 | 136.5747 | 2.8947 | 133.2747 | 17.7333 | 884 | 85.1 | 2.046
2020-05-29 11:00:00 | 2.2447 | 162.16 | 2.3387 | 131.5407 | 2.5207 | 158.5933 | 2.6173 | 132.2147 | 18.5467 | 884 | 84.68 | 1.314
2020-05-29 11:15:00 | 2.5787 | 155.8333 | 2.7087 | 130.014 | 3.1413 | 152.4053 | 3.226 | 130.6787 | 18.9 | 884 | 81.3733 | 1.7433
2020-05-29 11:30:00 | 2.618 | 151.5733 | 2.69 | 135.14 | 2.9973 | 148.2393 | 3.0253 | 135.8293 | 19.6 | 884 | 78.65 | 1.8307
2020-05-29 11:45:00 | 2.8593 | 159.6667 | 2.9513 | 145.8267 | 3.4287 | 156.1527 | 3.4413 | 146.5713 | 19.8067 | 884 | 75.9673 | 3.432
2020-05-29 12:00:00 | 2.5873 | 160.7733 | 2.7173 | 145.154 | 2.9873 | 157.2373 | 3.122 | 145.8967 | 19.9733 | 884 | 74.6307 | 3.1653
2020-05-29 12:15:00 | 2.672 | 166.9333 | 2.78 | 137.76 | 3.0667 | 163.26 | 3.1573 | 138.4647 | 20.62 | 884 | 72.1767 | 4.2807
2020-05-29 12:30:00 | 3.328 | 175.4467 | 3.4867 | 138.862 | 3.738 | 171.5873 | 3.926 | 139.574 | 20.64 | 884 | 70.302 | 4.4267
2020-05-29 12:45:00 | 3.0547 | 171.8933 | 3.206 | 133.472 | 3.5107 | 168.1113 | 3.6673 | 134.1513 | 20.9933 | 884 | 68.762 | 4.592
2020-05-29 13:00:00 | 3.552 | 171.48 | 3.6647 | 136.9793 | 4.1447 | 167.7073 | 4.186 | 137.6787 | 21.1267 | 884 | 66.28 | 7.6513
2020-05-29 13:15:00 | 3.2407 | 147.6133 | 3.3167 | 136.3393 | 3.7487 | 144.3673 | 3.748 | 137.0367 | 21.34 | 884 | 66.55 | 5.6087
2020-05-29 13:30:00 | 2.9193 | 155.0733 | 3.0013 | 131.886 | 3.372 | 151.662 | 3.3987 | 132.56 | 21.7133 | 884 | 64.6047 | 3.9413
2020-05-29 13:45:00 | 2.9247 | 159.7533 | 3.0313 | 143.0093 | 3.3587 | 156.238 | 3.438 | 143.74 | 22.1533 | 883.6 | 64.9813 | 3.0273
2020-05-29 14:00:00 | 2.9047 | 158.24 | 2.976 | 134.8073 | 3.3593 | 154.7593 | 3.3667 | 135.496 | 22.14 | 883 | 61.2747 | 2.9807
2020-05-29 14:15:00 | 3.3693 | 178.2133 | 3.46 | 135.0227 | 3.8307 | 174.292 | 3.8753 | 135.7127 | 22.2467 | 883 | 60.0967 | 5.5
2020-05-29 14:30:00 | 3.2587 | 167.7133 | 3.382 | 142.7153 | 3.7767 | 164.0227 | 3.8607 | 143.4447 | 22.6 | 883 | 60.332 | 5.8747
2020-05-29 14:45:00 | 3.1847 | 168.4267 | 3.282 | 139.4687 | 3.5793 | 164.7227 | 3.6527 | 140.182 | 23.2667 | 883 | 58.932 | 6.078
2020-05-29 15:00:00 | 3.293 | 141.87 | 3.497 | 140.772 | 4.047 | 138.746 | 4.212 | 141.493 | 23.05 | 883 | 57.828 | 6.2427
2020-05-29 15:15:00 | 3.0147 | 171.9267 | 3.0473 | 141.79 | 3.0773 | 168.144 | 3.1247 | 142.5153 | 23.1533 | 883 | 57.9393 | 4.386
2020-05-29 15:30:00 | 3.3567 | 166.1533 | 3.494 | 137.644 | 3.674 | 162.4987 | 3.8453 | 138.3473 | 23.5533 | 883 | 57.4473 | 6.85
2020-05-29 15:45:00 | 3.5133 | 150.2267 | 3.6707 | 140.3827 | 4.1393 | 146.9207 | 4.26 | 141.0993 | 23.8 | 883 | 55.312 | 7.6433
2020-05-29 16:00:00 | 3.264 | 156.32 | 3.354 | 147.6707 | 3.5427 | 152.88 | 3.6367 | 148.4267 | 23.98 | 882.9333 | 56.118 | 5.166
2020-05-29 16:15:00 | 3.138 | 161.46 | 3.1713 | 136.5867 | 3.358 | 157.9073 | 3.362 | 137.2853 | 23.4533 | 882 | 54.6087 | 4.6013
2020-05-29 16:30:00 | 3.0367 | 160.82 | 3.264 | 153.0233 | 3.2927 | 157.282 | 3.6553 | 153.806 | 23.7333 | 882 | 55.702 | 6.7093
2020-05-29 16:45:00 | 3.9407 | 154.3333 | 4.0373 | 136.9073 | 4.2433 | 150.938 | 4.344 | 137.6067 | 23.6267 | 882 | 53.5507 | 9.2393
2020-05-29 17:00:00 | 3.74 | 160.4867 | 3.892 | 141.6727 | 3.9907 | 156.9553 | 4.2087 | 142.3967 | 23.7133 | 882 | 54.6987 | 9.484
2020-05-29 17:15:00 | 3.7973 | 163.2867 | 3.962 | 139.6447 | 4.0627 | 159.6947 | 4.3033 | 140.3607 | 24.04 | 882 | 54.7067 | 8.304
2020-05-29 17:30:00 | 3.9453 | 163.42 | 4.1367 | 139.1767 | 4.1847 | 159.8253 | 4.482 | 139.8867 | 23.9933 | 882 | 53.99 | 10.812
2020-05-29 17:45:00 | 3.7587 | 163.8867 | 3.904 | 139.3473 | 4.1353 | 160.2813 | 4.304 | 140.0587 | 23.8 | 882 | 54.0973 | 10.438
2020-05-29 18:00:00 | 3.2613 | 165.1667 | 3.474 | 150.73 | 3.44 | 161.5313 | 3.7913 | 151.5013 | 23.9933 | 882 | 54.9607 | 9.332
2020-05-29 18:15:00 | 3.2967 | 163.1133 | 3.4953 | 147.2147 | 3.422 | 159.524 | 3.7627 | 147.968 | 24.2467 | 882 | 55.7087 | 8.5853
2020-05-29 18:30:00 | 3.5053 | 160.0267 | 3.694 | 148.486 | 3.816 | 156.508 | 4.0847 | 149.246 | 24.0933 | 882 | 55.6613 | 9.5007
2020-05-29 18:45:00 | 3.606 | 161.7467 | 3.824 | 141.7447 | 3.8253 | 158.188 | 4.1733 | 142.47 | 23.88 | 882 | 56.8107 | 9.0587
2020-05-29 19:00:00 | 3.136 | 157.02 | 3.2873 | 154.2767 | 3.3593 | 153.564 | 3.5847 | 155.064 | 23.76 | 882 | 57.816 | 6.9653
2020-05-29 19:15:00 | 3.052 | 154.2133 | 3.19 | 148.6107 | 3.3 | 150.8213 | 3.494 | 149.3693 | 23.5867 | 882 | 59.0113 | 6.38
2020-05-29 19:30:00 | 3.114 | 155.1467 | 3.26 | 146.3153 | 3.3613 | 151.734 | 3.5713 | 147.0633 | 23.42 | 882 | 59.3407 | 6.1527
2020-05-29 19:45:00 | 3.3153 | 156.22 | 3.466 | 140.8313 | 3.534 | 152.7827 | 3.7587 | 141.5513 | 23.1867 | 882 | 60.5173 | 6.472
2020-05-29 20:00:00 | 2.9713 | 157.64 | 3.106 | 149.7447 | 3.0733 | 153.1747 | 3.3033 | 150.5107 | 23.1333 | 882 | 60.86 | 5.24
2020-05-29 20:15:00 | 2.6413 | 156.6867 | 2.7987 | 154.2173 | 2.7433 | 153.2393 | 3.0127 | 155.006 | 23.0533 | 882 | 61.5913 | 3.7793
2020-05-29 20:30:00 | 1.9693 | 172.8933 | 2.044 | 167.4727 | 2.086 | 169.09 | 2.1973 | 168.328 | 23 | 882 | 61.6847 | 0.94933
2020-05-29 20:45:00 | 2.2627 | 190.78 | 2.328 | 169.5467 | 2.4507 | 186.5833 | 2.5207 | 170.4127 | 22.9933 | 882.4 | 62.3 | 1.8907
2020-05-29 21:00:00 | 2.5513 | 184.0933 | 2.652 | 168.378 | 2.7553 | 180.0433 | 2.8893 | 169.2413 | 22.78 | 883 | 62.8953 | 3.9053
2020-05-29 21:15:00 | 3.4273 | 160.6067 | 3.5227 | 156.878 | 3.756 | 157.0747 | 3.8413 | 157.6793 | 22.68 | 883 | 64.0027 | 11.894
2020-05-29 21:30:00 | 4.138 | 151.6 | 4.2413 | 142.1373 | 4.4313 | 148.2647 | 4.5427 | 142.8627 | 22.52 | 882.2667 | 62.86 | 17.722
2020-05-29 21:45:00 | 4.2707 | 139.1 | 4.4547 | 129.6753 | 4.9027 | 136.0413 | 5.0727 | 130.3393 | 22.1533 | 882 | 64.498 | 19.8287
2020-05-29 22:00:00 | 4.9353 | 138.7667 | 5.1753 | 135.986 | 5.72 | 135.7147 | 5.9487 | 136.6813 | 21.6867 | 882 | 66.2953 | 31.7473
2020-05-29 22:15:00 | 4.504 | 144.0067 | 4.7407 | 139.9773 | 5.1533 | 140.8393 | 5.416 | 140.6927 | 21.42 | 882 | 66.094 | 21.4087
2020-05-29 22:30:00 | 2.985 | 136.8667 | 3.115 | 126.0817 | 3.5267 | 133.855 | 3.6167 | 126.725 | 21.4167 | 882.3333 | 65.7033 | 4.562
2020-05-29 22:45:00 | 3.06 | 134.7 | 3.17 | 128.41 | 3.405 | 131.735 | 3.51 | 129.065 | 21.65 | 883 | 65.35 | 3.032
2020-05-29 23:00:00 | 2.3707 | 126.5933 | 2.4653 | 128.7507 | 2.718 | 123.8073 | 2.8047 | 129.4087 | 21.8733 | 883 | 67.0133 | 2.154
2020-05-29 23:15:00 | 2.7553 | 135.66 | 2.86 | 124.3747 | 3.0893 | 132.6747 | 3.192 | 125.012 | 21.74 | 883 | 67.5593 | 3.998
2020-05-29 23:30:00 | 2.8913 | 138.4867 | 2.99 | 129.3893 | 3.3067 | 135.4393 | 3.374 | 130.05 | 21.56 | 882.3333 | 68.7473 | 4.6787
2020-05-29 23:45:00 | 3.096 | 143.7267 | 3.224 | 133.334 | 3.498 | 140.564 | 3.6227 | 134.0153 | 21.5067 | 882.6 | 69.1367 | 5.7793