## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-30 00:00:00 | 2.944 | 140.2267 | 3.0373 | 132.838 | 3.2993 | 137.142 | 3.3747 | 133.5167 | 21.46 | 882.7333 | 69.4627 | 5.586
2020-05-30 00:15:00 | 2.922 | 142.9267 | 3.01 | 135.6947 | 3.2867 | 139.782 | 3.3493 | 136.3873 | 21.3867 | 882.6 | 69.566 | 6.436
2020-05-30 00:30:00 | 2.966 | 143.1267 | 3.0413 | 132.14 | 3.3967 | 139.978 | 3.4147 | 132.8153 | 21.28 | 882 | 69.888 | 7.1973
2020-05-30 00:45:00 | 2.97 | 142.2867 | 3.054 | 129.6433 | 3.426 | 139.156 | 3.4533 | 130.306 | 21.1133 | 882 | 70.5193 | 6.718
2020-05-30 01:00:00 | 2.4713 | 133.4267 | 2.5207 | 125.0007 | 2.87 | 130.4913 | 2.8513 | 125.6413 | 20.9933 | 882.0667 | 70.2607 | 3.9693
2020-05-30 01:15:00 | 2.602 | 130.1133 | 2.7153 | 128.6453 | 2.95 | 127.2513 | 3.064 | 129.3027 | 21.0133 | 882.6 | 70.3193 | 3.7447
2020-05-30 01:30:00 | 2.75 | 124.4267 | 2.8193 | 124.2513 | 3.1573 | 121.69 | 3.1733 | 124.8867 | 20.8533 | 882.7333 | 71.1227 | 4.81
2020-05-30 01:45:00 | 2.7893 | 123.36 | 2.92 | 123.514 | 3.2133 | 120.6467 | 3.3373 | 124.1467 | 20.7533 | 882.6 | 71.8367 | 5.4007
2020-05-30 02:00:00 | 2.9767 | 127.5 | 3.096 | 125.516 | 3.4153 | 124.6947 | 3.5153 | 126.158 | 20.7667 | 882 | 71.16 | 6.456
2020-05-30 02:15:00 | 3.1053 | 115.4333 | 3.2573 | 118.7487 | 3.502 | 112.8933 | 3.6747 | 119.3567 | 20.7867 | 882 | 71.5933 | 7.0907
2020-05-30 02:30:00 | 3.11 | 120.5067 | 3.2413 | 122.2433 | 3.5567 | 117.856 | 3.6793 | 122.868 | 20.6467 | 882 | 72.1733 | 7.14
2020-05-30 02:45:00 | 3.1813 | 128 | 3.306 | 122.0673 | 3.4973 | 125.1847 | 3.6447 | 122.6913 | 20.5267 | 882 | 73.116 | 6.5967
2020-05-30 03:00:00 | 3.1487 | 126.5733 | 3.2993 | 119.876 | 3.408 | 123.788 | 3.6247 | 120.49 | 20.36 | 882 | 73.2647 | 5.938
2020-05-30 03:15:00 | 3.224 | 121.4867 | 3.3653 | 122.23 | 3.5613 | 118.8147 | 3.7387 | 122.854 | 20.4333 | 882 | 74.208 | 6.0613
2020-05-30 03:30:00 | 3.2647 | 124.9933 | 3.4167 | 124.9033 | 3.55 | 122.2433 | 3.7553 | 125.542 | 20.4267 | 882 | 73.968 | 5.956
2020-05-30 03:45:00 | 3.088 | 127.6733 | 3.238 | 124.1933 | 3.3187 | 124.864 | 3.54 | 124.8273 | 20.3333 | 882 | 73.7807 | 4.6273
2020-05-30 04:00:00 | 2.882 | 137.9333 | 3.0287 | 132.4267 | 2.982 | 134.9 | 3.2353 | 133.1047 | 20.22 | 882 | 73.7953 | 2.754
2020-05-30 04:15:00 | 2.5713 | 141.7733 | 2.7033 | 136.5347 | 2.7753 | 138.654 | 2.968 | 137.234 | 20.1133 | 882 | 73.808 | 1.724
2020-05-30 04:30:00 | 2.342 | 139.9667 | 2.468 | 135.7993 | 2.558 | 136.8867 | 2.7327 | 136.4927 | 20 | 882 | 74.5473 | 0.606
2020-05-30 04:45:00 | 1.8073 | 146.1667 | 1.9013 | 138.57 | 2.0133 | 142.9513 | 2.1333 | 139.2787 | 20.0867 | 882 | 75.17 | 0
2020-05-30 05:00:00 | 1.4813 | 143.3467 | 1.5613 | 138.902 | 1.6513 | 140.194 | 1.7553 | 139.6127 | 20.1067 | 882.7333 | 75.7587 | 0
2020-05-30 05:15:00 | 1.096 | 131.7 | 1.2553 | 106.29 | 1.3713 | 128.8013 | 1.594 | 106.832 | 19.82 | 883 | 76.5513 | 0
2020-05-30 05:30:00 | 1.306 | 100.1133 | 1.444 | 98.7707 | 1.3587 | 97.9107 | 1.604 | 99.2767 | 19.7933 | 883 | 75.074 | 0
2020-05-30 05:45:00 | 1.2507 | 98.52 | 1.3493 | 107.1753 | 1.3053 | 96.3527 | 1.476 | 107.724 | 19.9 | 883 | 74.7993 | 0
2020-05-30 06:00:00 | 0.89933 | 98.9467 | 0.996 | 124.2387 | 0.96467 | 96.7693 | 1.1287 | 124.8733 | 20.0067 | 883 | 74.83 | 0
2020-05-30 06:15:00 | 0.88867 | 105.84 | 0.97267 | 115.6447 | 0.91867 | 103.5113 | 1.0667 | 116.2373 | 20.18 | 883 | 74.212 | 0
2020-05-30 06:30:00 | 0.65067 | 95.2133 | 0.732 | 98.5753 | 0.73067 | 93.12 | 0.86333 | 99.08 | 20.2867 | 883.6667 | 75.944 | 0
2020-05-30 06:45:00 | 0.69867 | 73.0667 | 0.74133 | 84.0367 | 0.726 | 71.4587 | 0.79667 | 84.4667 | 20.4067 | 883 | 78.066 | 0
2020-05-30 07:00:00 | 0.44533 | 79.94 | 0.474 | 98.6867 | 0.442 | 78.182 | 0.496 | 99.1913 | 20.5467 | 883.0667 | 78.3553 | 0
2020-05-30 07:15:00 | 0.30467 | 43.8 | 0.336 | 143.838 | 0.47333 | 42.8367 | 0.48333 | 144.574 | 20.6667 | 884 | 77.9913 | 0
2020-05-30 07:30:00 | 0.396 | 120.7133 | 0.44133 | 206.8547 | 0.822 | 118.058 | 0.78333 | 207.9113 | 21.0667 | 884 | 79.9287 | 0
2020-05-30 07:45:00 | 0.86933 | 328.78 | 0.92133 | 316.756 | 1.272 | 321.5453 | 1.2567 | 318.374 | 20.9333 | 884 | 80.002 | 0
2020-05-30 08:00:00 | 0.82733 | 253.4733 | 0.84867 | 211.1433 | 1.0653 | 247.8973 | 1.0367 | 212.2233 | 20.8733 | 884.7333 | 78.48 | 0
2020-05-30 08:15:00 | 0.64667 | 229.16 | 0.628 | 232.888 | 0.80533 | 224.1187 | 0.72267 | 234.0787 | 20.9067 | 885 | 78.4527 | 0
2020-05-30 08:30:00 | 1.244 | 325.9133 | 1.292 | 329.3647 | 1.596 | 318.7447 | 1.5847 | 331.0473 | 20.5733 | 885 | 80.3387 | 0
2020-05-30 08:45:00 | 1.228 | 332.86 | 1.306 | 331.8933 | 1.5913 | 325.5367 | 1.6347 | 333.5907 | 20.66 | 885.4 | 80.26 | 0
2020-05-30 09:00:00 | 1.4047 | 331.3333 | 1.4267 | 321.6573 | 1.7833 | 324.044 | 1.7153 | 323.3027 | 20.5133 | 885.2667 | 80.4167 | 0
2020-05-30 09:15:00 | 2.098 | 300.3067 | 2.2453 | 324.8467 | 2.294 | 293.6993 | 2.512 | 326.5067 | 20.34 | 885.4 | 79.844 | 0
2020-05-30 09:30:00 | 1.846 | 282.1933 | 1.84 | 302.4633 | 2.268 | 275.9847 | 2.1353 | 304.01 | 20.2267 | 886 | 79.2733 | 0
2020-05-30 09:45:00 | 1.6453 | 186.3733 | 1.602 | 323.9067 | 1.9133 | 182.2733 | 1.758 | 325.562 | 20.1933 | 886 | 77.496 | 0
2020-05-30 10:00:00 | 1.9587 | 196.4667 | 1.9427 | 334.652 | 2.27 | 192.1447 | 2.1533 | 336.3627 | 19.86 | 886 | 78.0687 | 0
2020-05-30 10:15:00 | 1.7107 | 256.1933 | 1.7507 | 332.252 | 2.1567 | 250.5567 | 2.1033 | 333.9513 | 20.0333 | 886 | 78.74 | 0
2020-05-30 10:30:00 | 1.424 | 208.8867 | 1.4387 | 314.8367 | 1.5593 | 204.29 | 1.546 | 316.4473 | 21.08 | 886 | 76.8033 | 0
2020-05-30 10:45:00 | 0.81667 | 140.2067 | 0.85067 | 129.8187 | 0.906 | 137.122 | 0.94533 | 130.4833 | 22.18 | 886 | 73.5667 | 0
2020-05-30 11:00:00 | 1.0413 | 156.02 | 1.0633 | 123.742 | 1.1087 | 152.588 | 1.132 | 124.376 | 22.5067 | 886 | 67.4173 | 0
2020-05-30 11:15:00 | 0.89933 | 111.8267 | 0.946 | 132.4847 | 1.0447 | 109.3667 | 1.096 | 133.1633 | 23.1533 | 886 | 65.0387 | 0
2020-05-30 11:30:00 | 1.2687 | 161.0267 | 1.266 | 111.7853 | 1.47 | 157.4827 | 1.4047 | 112.356 | 23.2733 | 886.7333 | 64.85 | 0
2020-05-30 11:45:00 | 1.2073 | 127.5533 | 1.264 | 116.898 | 1.364 | 124.7467 | 1.4287 | 117.4947 | 23.7467 | 887 | 63.806 | 0
2020-05-30 12:00:00 | 1.176 | 120.3467 | 1.2013 | 108.5773 | 1.2907 | 117.6993 | 1.304 | 109.1327 | 24.1067 | 887 | 63.806 | 0
2020-05-30 12:15:00 | 1.0513 | 119.0733 | 1.156 | 132.4667 | 1.144 | 116.454 | 1.3133 | 133.144 | 24.7267 | 886.6 | 61.704 | 0
2020-05-30 12:30:00 | 1.2753 | 170.2667 | 1.4173 | 154.0087 | 1.5633 | 166.5213 | 1.7453 | 154.7967 | 24.7133 | 886.7333 | 59.096 | 0
2020-05-30 12:45:00 | 1.1547 | 156.5067 | 1.278 | 246.0187 | 1.5513 | 153.0633 | 1.666 | 247.2773 | 24.4867 | 886.6 | 60.0793 | 0
2020-05-30 13:00:00 | 1.0647 | 131.5667 | 1.1947 | 186.55 | 1.14 | 128.6713 | 1.3653 | 187.5047 | 24.74 | 886.0667 | 57.964 | 0
2020-05-30 13:15:00 | 0.89 | 140.88 | 1.0147 | 168.3333 | 1.0013 | 137.7793 | 1.2053 | 169.1953 | 24.9267 | 887 | 56.712 | 0
2020-05-30 13:30:00 | 1.2247 | 144.9133 | 1.3573 | 101.372 | 1.2707 | 141.726 | 1.5107 | 101.8927 | 25.9933 | 886.2667 | 55.8627 | 0
2020-05-30 13:45:00 | 1.1053 | 119.2533 | 1.1847 | 136.92 | 1.3287 | 116.6287 | 1.414 | 137.62 | 25.4733 | 886 | 55.2673 | 0
2020-05-30 14:00:00 | 1.568 | 136.9067 | 1.5467 | 125.2293 | 1.3813 | 133.8947 | 1.4013 | 125.8687 | 25.2067 | 886 | 56.7773 | 0
2020-05-30 14:15:00 | 1.2553 | 161.9933 | 1.3153 | 138.3933 | 1.2373 | 158.43 | 1.356 | 139.1007 | 25.9733 | 886 | 56.022 | 0
2020-05-30 14:30:00 | 1.6773 | 186.6133 | 1.726 | 137.846 | 1.8273 | 182.5073 | 1.8787 | 138.5493 | 26.3333 | 885.9333 | 54.73 | 0
2020-05-30 14:45:00 | 1.7213 | 157.6533 | 1.8 | 167.5913 | 1.8193 | 154.1853 | 1.942 | 168.446 | 26.48 | 885 | 51.422 | 0
2020-05-30 15:00:00 | 1.6033 | 127.5867 | 1.662 | 188.878 | 1.826 | 124.7793 | 1.872 | 189.842 | 26.8733 | 885 | 50.666 | 0
2020-05-30 15:15:00 | 1.564 | 190.04 | 1.62 | 158.8027 | 1.7 | 185.8593 | 1.77 | 159.6127 | 26.66 | 885 | 51.4613 | 0
2020-05-30 15:30:00 | 1.9173 | 190.2133 | 1.9587 | 128.496 | 1.73 | 186.0273 | 1.866 | 129.1533 | 26.22 | 885 | 50.2773 | 0
2020-05-30 15:45:00 | 1.9627 | 183.2867 | 2.0707 | 148.8907 | 2.1613 | 179.2547 | 2.306 | 149.6513 | 26.8667 | 885 | 50.0007 | 0
2020-05-30 16:00:00 | 1.5133 | 204.8467 | 1.548 | 191.4147 | 1.7687 | 200.3407 | 1.7647 | 192.3933 | 27.1333 | 885 | 50.0967 | 0
2020-05-30 16:15:00 | 1.0647 | 223.3467 | 1.074 | 154.3933 | 1.1127 | 218.4327 | 1.1173 | 155.1833 | 26.9733 | 885 | 50.5493 | 0
2020-05-30 16:30:00 | 1.514 | 175.1933 | 1.6593 | 173.4313 | 1.656 | 171.3387 | 1.8913 | 174.3193 | 26.9667 | 884.9333 | 49.03 | 0
2020-05-30 16:45:00 | 2.2053 | 192.2 | 2.2747 | 163.848 | 2.4273 | 187.972 | 2.4993 | 164.6847 | 26.9533 | 884 | 47.854 | 0
2020-05-30 17:00:00 | 2.1627 | 203.6533 | 2.342 | 166.4767 | 2.5847 | 199.1727 | 2.806 | 167.326 | 27.2733 | 884 | 48.2167 | 0.11267
2020-05-30 17:15:00 | 2.2293 | 204.9533 | 2.3587 | 164.708 | 2.462 | 200.4447 | 2.64 | 165.55 | 26.6933 | 884 | 47.9253 | 0.43
2020-05-30 17:30:00 | 1.8167 | 202.58 | 1.9647 | 187.652 | 2.1453 | 198.122 | 2.3313 | 188.6107 | 26.5133 | 884 | 49.47 | 1.1253
2020-05-30 17:45:00 | 2.1033 | 196.8667 | 2.248 | 184.156 | 2.4633 | 192.5367 | 2.638 | 185.0993 | 26.2333 | 884 | 49.826 | 1.21
2020-05-30 18:00:00 | 1.65 | 222.66 | 1.7867 | 198.846 | 1.7527 | 217.7613 | 1.9867 | 199.862 | 26.1733 | 884 | 51.1073 | 0.096667
2020-05-30 18:15:00 | 1.6567 | 220.82 | 1.808 | 217.6307 | 1.9867 | 215.9627 | 2.1773 | 218.7433 | 26.1 | 884 | 51.9213 | 0
2020-05-30 18:30:00 | 2.3153 | 243.2533 | 2.5113 | 228.3633 | 2.5667 | 237.902 | 2.8693 | 229.5313 | 25.82 | 884 | 51.7693 | 0
2020-05-30 18:45:00 | 1.98 | 226.92 | 2.0867 | 229.7587 | 2.1373 | 221.9273 | 2.296 | 230.9333 | 25.7267 | 884 | 52.2527 | 0
2020-05-30 19:00:00 | 1.9987 | 232.5333 | 2.1293 | 235.4367 | 2.2533 | 227.418 | 2.426 | 236.64 | 25.6867 | 884 | 52.9333 | 0.050667
2020-05-30 19:15:00 | 1.9913 | 226.0867 | 2.178 | 232.55 | 2.2513 | 221.112 | 2.5293 | 233.7387 | 25.5067 | 884 | 52.906 | 0.562
2020-05-30 19:30:00 | 2.436 | 228.98 | 2.608 | 236.0767 | 2.488 | 223.9413 | 2.8007 | 237.2833 | 25.4 | 884 | 54.092 | 1.7333
2020-05-30 19:45:00 | 1.7453 | 218.2733 | 1.8507 | 247.564 | 2.0167 | 213.4713 | 2.138 | 248.8307 | 25.3733 | 884 | 55.1527 | 0.71733
2020-05-30 20:00:00 | 1.7313 | 220.0133 | 1.76 | 235.5933 | 1.9227 | 215.174 | 1.9253 | 236.7987 | 25.42 | 884 | 55.694 | 0.336
2020-05-30 20:15:00 | 2.4387 | 242.4067 | 2.5027 | 251.6527 | 2.702 | 237.074 | 2.748 | 252.9393 | 25.3733 | 884 | 56.2207 | 1.614
2020-05-30 20:30:00 | 2.5847 | 275.16 | 2.626 | 257.69 | 2.884 | 269.1053 | 2.8747 | 259.0067 | 25.3667 | 884 | 56.2593 | 1.8927
2020-05-30 20:45:00 | 1.8047 | 263.4067 | 1.8433 | 272.3667 | 2.1107 | 257.612 | 2.096 | 273.7587 | 25.46 | 884 | 56.698 | 0.48867
2020-05-30 21:00:00 | 1.0627 | 227.3 | 1.2193 | 199.264 | 1.2007 | 222.2993 | 1.4553 | 200.2827 | 25.2733 | 884 | 57.6693 | 0
2020-05-30 21:15:00 | 2.3733 | 181.5333 | 2.458 | 183.2047 | 2.7067 | 177.5393 | 2.7707 | 184.1413 | 25.0867 | 883.6 | 57.196 | 0.96933
2020-05-30 21:30:00 | 1.3507 | 148.9867 | 1.342 | 221.568 | 1.4307 | 145.7093 | 1.392 | 222.7027 | 25.1067 | 883.7333 | 58.4653 | 0
2020-05-30 21:45:00 | 2.1053 | 167.9333 | 2.1933 | 326.3653 | 2.6193 | 164.24 | 2.6367 | 328.0333 | 24.7333 | 884 | 62.8653 | 0
2020-05-30 22:00:00 | 2.404 | 297.9 | 2.5053 | 313.1427 | 2.906 | 291.3453 | 2.9507 | 314.7427 | 24.6733 | 884.0667 | 65.1527 | 0.71667
2020-05-30 22:15:00 | 2.822 | 253.3 | 2.952 | 230.2087 | 3.2873 | 247.7267 | 3.4007 | 231.3847 | 24.4067 | 885 | 66.02 | 2.3673
2020-05-30 22:30:00 | 2.3417 | 85.09 | 2.5017 | 25.2845 | 2.5608 | 83.218 | 2.8191 | 24.5745 | 24.78 | 884.9167 | 64.5673 | 0.716
2020-05-30 22:45:00 | 2.01 | 92.0909 | 2.1018 | 97.09 | 2.2682 | 90.0636 | 2.3691 | 97.5845 | 25.0455 | 884 | 60.7455 | 0.34067
2020-05-30 23:00:00 | 1.6407 | 57.3667 | 1.754 | 137.1353 | 1.806 | 56.104 | 1.9753 | 137.8367 | 24.5 | 884.0667 | 61.5153 | 0
2020-05-30 23:15:00 | 1.398 | 177.42 | 1.341 | 296.03 | 1.687 | 173.517 | 1.496 | 297.545 | 24.47 | 885 | 64.047 | 0
2020-05-30 23:30:00 | 2.904 | 310.0133 | 2.95 | 300.292 | 3.4907 | 303.1927 | 3.4093 | 301.8273 | 24.0933 | 885 | 66.0947 | 1.9773
2020-05-30 23:45:00 | 2.71 | 306.4467 | 2.8253 | 299.366 | 3.34 | 299.704 | 3.3773 | 300.8967 | 23.7867 | 885 | 67.986 | 1.8293