## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-31 00:00:00 | 2.828 | 340.28 | 3.0113 | 322.988 | 3.4153 | 332.794 | 3.5933 | 324.6393 | 24.1467 | 885 | 67.26 | 2.3787
2020-05-31 00:15:00 | 2.648 | 256.0667 | 2.8253 | 328.7787 | 3.2053 | 250.4333 | 3.3793 | 330.4587 | 24.1067 | 885 | 67.34 | 1.938
2020-05-31 00:30:00 | 2.9407 | 300.9533 | 3.094 | 326.164 | 3.63 | 294.3327 | 3.7227 | 327.8313 | 23.6267 | 885 | 68.6633 | 2.88
2020-05-31 00:45:00 | 2.9093 | 283.1933 | 3.1293 | 333.408 | 3.476 | 276.964 | 3.728 | 335.1107 | 23.5933 | 884.6 | 69.092 | 3.14
2020-05-31 01:00:00 | 2.59 | 281.1133 | 2.7227 | 310.5607 | 3.0287 | 274.9287 | 3.1553 | 312.148 | 23.6667 | 884 | 69.614 | 1.9307
2020-05-31 01:15:00 | 3.136 | 74.8933 | 3.308 | 297.3893 | 3.578 | 73.2447 | 3.776 | 298.91 | 23.6133 | 884 | 70.7773 | 4.1553
2020-05-31 01:30:00 | 3.514 | 188.4067 | 3.6973 | 339.6867 | 4.06 | 184.2613 | 4.2573 | 341.422 | 23.18 | 883.9333 | 71.334 | 7.4273
2020-05-31 01:45:00 | 4.1747 | 261.6733 | 4.48 | 331.3007 | 4.7333 | 255.916 | 5.1533 | 332.994 | 22.9 | 883 | 73.276 | 12.2733
2020-05-31 02:00:00 | 4.2853 | 280.0533 | 4.6313 | 327.1527 | 4.9393 | 273.8913 | 5.4067 | 328.8273 | 22.7867 | 883 | 73.302 | 13.4893
2020-05-31 02:15:00 | 3.414 | 142.6867 | 3.5887 | 333.6347 | 4.106 | 139.5467 | 4.236 | 335.3413 | 23.0333 | 883.4 | 73.606 | 7.5627
2020-05-31 02:30:00 | 2.2467 | 157.16 | 2.172 | 331.756 | 2.6927 | 153.7033 | 2.4247 | 333.454 | 22.9333 | 884 | 73.6087 | 2.322
2020-05-31 02:45:00 | 2.0807 | 168.5333 | 2.1347 | 328.2567 | 2.2087 | 164.8253 | 2.2733 | 329.934 | 22.68 | 884 | 73.1187 | 0.734
2020-05-31 03:00:00 | 1.7013 | 171.5667 | 1.756 | 304.992 | 2.0427 | 167.7907 | 2.048 | 306.5527 | 22.8133 | 884 | 71.052 | 0.018
2020-05-31 03:15:00 | 0.962 | 207.1267 | 0.95867 | 135.882 | 0.92933 | 202.5707 | 0.934 | 136.578 | 23.0867 | 884 | 70.256 | 0
2020-05-31 03:30:00 | 1.53 | 320.08 | 1.6113 | 250.8893 | 1.8133 | 313.0387 | 1.8847 | 252.172 | 23.1 | 884 | 71.6647 | 0
2020-05-31 03:45:00 | 2.1387 | 307.98 | 2.1593 | 308.9367 | 2.5347 | 301.2047 | 2.4607 | 310.5167 | 22.76 | 884 | 74.3993 | 0
2020-05-31 04:00:00 | 2.7267 | 319.6733 | 2.7813 | 320.152 | 3.2627 | 312.6393 | 3.2127 | 321.788 | 22.3 | 883.9333 | 76.0233 | 1.5827
2020-05-31 04:15:00 | 3.954 | 314.58 | 4.1293 | 328.4833 | 4.868 | 307.658 | 4.934 | 330.1633 | 21.9733 | 883 | 76.7687 | 9.8353
2020-05-31 04:30:00 | 4.33 | 349.6333 | 4.6647 | 325.2307 | 5.0567 | 341.9407 | 5.4847 | 326.894 | 22.1867 | 883 | 78.7967 | 12.8273
2020-05-31 04:45:00 | 5.2253 | 343.8067 | 5.6613 | 317.726 | 6.214 | 336.2427 | 6.752 | 319.35 | 22.0467 | 883 | 78.2827 | 22.9507
2020-05-31 05:00:00 | 5.1687 | 343.3867 | 5.65 | 318.9707 | 6.1687 | 335.832 | 6.7913 | 320.602 | 21.9133 | 883 | 78.452 | 21.9347
2020-05-31 05:15:00 | 4.9613 | 338.3733 | 5.35 | 328.6213 | 5.8787 | 330.928 | 6.3487 | 330.302 | 21.9533 | 883.4 | 80.3387 | 17.5933
2020-05-31 05:30:00 | 3.9073 | 341.4667 | 4.1613 | 335.05 | 4.774 | 333.954 | 5.0047 | 336.7627 | 21.7933 | 884 | 80.8667 | 9.7367
2020-05-31 05:45:00 | 2.8233 | 186.08 | 2.8847 | 329.912 | 3.3473 | 181.9873 | 3.3113 | 331.5987 | 22.4667 | 884 | 81.14 | 3.184
2020-05-31 06:00:00 | 2.6773 | 102.6467 | 2.7527 | 338.4667 | 2.8573 | 100.388 | 2.9513 | 340.196 | 22.16 | 884 | 79.8913 | 1.7307
2020-05-31 06:15:00 | 1.7533 | 125.6133 | 1.6813 | 214.5133 | 1.756 | 122.8507 | 1.6193 | 215.6113 | 22.5 | 884 | 79.3307 | 0.396
2020-05-31 06:30:00 | 1.4273 | 168.56 | 1.5047 | 139.3773 | 1.5193 | 164.8527 | 1.642 | 140.0907 | 21.32 | 884.7333 | 79.0833 | 0
2020-05-31 06:45:00 | 2.0693 | 116.02 | 2.2033 | 136.314 | 2.5307 | 113.4693 | 2.656 | 137.01 | 20.36 | 885 | 81.5913 | 0
2020-05-31 07:00:00 | 1.432 | 106.6067 | 1.5233 | 104.1833 | 1.6433 | 104.2627 | 1.754 | 104.7153 | 21.0867 | 885 | 81.6147 | 0
2020-05-31 07:15:00 | 1.5887 | 90.6267 | 1.6933 | 91.4293 | 1.7773 | 88.6327 | 1.9233 | 91.8973 | 21.3933 | 885.4 | 77.9207 | 0
2020-05-31 07:30:00 | 2.062 | 118.3733 | 2.2287 | 99.9133 | 2.204 | 115.7693 | 2.4827 | 100.4233 | 21.5867 | 886 | 75.514 | 0
2020-05-31 07:45:00 | 2.4087 | 126.58 | 2.5287 | 132.0427 | 2.604 | 123.796 | 2.778 | 132.7187 | 21.4 | 886 | 73.914 | 0.686
2020-05-31 08:00:00 | 2.1307 | 126.3333 | 2.2287 | 123.136 | 2.3673 | 123.554 | 2.486 | 123.7667 | 21.46 | 886.0667 | 72.172 | 0.004
2020-05-31 08:15:00 | 2.1613 | 132.94 | 2.2573 | 121.1153 | 2.504 | 130.0153 | 2.5873 | 121.7333 | 21.4667 | 887 | 71.9567 | 0.46267
2020-05-31 08:30:00 | 1.96 | 125.7333 | 2.0267 | 115.828 | 2.4833 | 122.968 | 2.4587 | 116.4193 | 21.3867 | 887.0667 | 72.104 | 0.56267
2020-05-31 08:45:00 | 2.0707 | 151.7667 | 2.1347 | 131.9787 | 2.512 | 148.4273 | 2.506 | 132.652 | 21.6133 | 888 | 73.2207 | 1.0633
2020-05-31 09:00:00 | 2.4293 | 156.1867 | 2.4813 | 136.5813 | 2.7533 | 152.7507 | 2.7593 | 137.278 | 21.4933 | 888 | 72.0387 | 1.9173
2020-05-31 09:15:00 | 2.6947 | 171.0933 | 2.7307 | 150.5353 | 2.9727 | 167.3307 | 2.9627 | 151.3033 | 21.5267 | 888 | 73.072 | 5.2793
2020-05-31 09:30:00 | 2.6207 | 169.22 | 2.648 | 150.6513 | 2.7087 | 165.4967 | 2.7373 | 151.4213 | 21.9067 | 888 | 71.9647 | 4.7853
2020-05-31 09:45:00 | 2.6333 | 179.2733 | 2.6873 | 151.146 | 2.7513 | 175.3287 | 2.824 | 151.92 | 22.2 | 888 | 71.502 | 4.53
2020-05-31 10:00:00 | 1.8393 | 199.1533 | 1.858 | 147.0327 | 1.9873 | 194.7727 | 1.9827 | 147.7827 | 22.1933 | 888 | 70.48 | 1.5067
2020-05-31 10:15:00 | 1.4027 | 183.7533 | 1.4107 | 152.7513 | 1.456 | 179.7093 | 1.456 | 153.5313 | 22.5333 | 888 | 72.8253 | 0.19533
2020-05-31 10:30:00 | 1.3427 | 198.22 | 1.374 | 182.8333 | 1.4573 | 193.8587 | 1.4867 | 183.7673 | 23.3933 | 888 | 71.3287 | 0
2020-05-31 10:45:00 | 1.3227 | 214.3333 | 1.354 | 158.548 | 1.5147 | 209.618 | 1.5147 | 159.358 | 23.0067 | 888 | 70.0527 | 0
2020-05-31 11:00:00 | 1.092 | 173.3333 | 1.098 | 139.058 | 1.1807 | 169.52 | 1.1653 | 139.77 | 22.7667 | 888 | 70.0227 | 0
2020-05-31 11:15:00 | 1.1973 | 204.26 | 1.238 | 130.9467 | 1.3367 | 199.766 | 1.3773 | 131.618 | 23.2733 | 888 | 69.986 | 0
2020-05-31 11:30:00 | 1.2647 | 183.92 | 1.3487 | 146.7907 | 1.364 | 179.874 | 1.4947 | 147.5427 | 23.9 | 888 | 63.976 | 0
2020-05-31 11:45:00 | 1.7287 | 178.7933 | 1.8067 | 192.8167 | 1.9373 | 174.86 | 2.0293 | 193.8033 | 25.1467 | 888 | 56.366 | 0
2020-05-31 12:00:00 | 1.9407 | 215.9267 | 1.9533 | 176.3067 | 2.104 | 211.1753 | 2.082 | 177.208 | 25.2867 | 888 | 52.58 | 0
2020-05-31 12:15:00 | 1.9973 | 171.8333 | 2.0127 | 150.162 | 2.1407 | 168.0533 | 2.1307 | 150.9293 | 25.96 | 888 | 49.8153 | 0
2020-05-31 12:30:00 | 2.502 | 158.0867 | 2.5733 | 142.0973 | 2.5513 | 154.6093 | 2.6753 | 142.824 | 25.8867 | 888 | 48.2847 | 0.464
2020-05-31 12:45:00 | 2.8153 | 175.7933 | 2.9087 | 143.062 | 3.1973 | 171.9267 | 3.2653 | 143.7933 | 25.7667 | 888 | 47.2713 | 2.0647
2020-05-31 13:00:00 | 2.778 | 190.5733 | 2.8467 | 136.412 | 2.9613 | 186.38 | 3.0407 | 137.1093 | 26.0333 | 887.9333 | 46.8187 | 1.7227
2020-05-31 13:15:00 | 2.6467 | 165.14 | 2.7587 | 139.0727 | 2.8407 | 161.5067 | 2.998 | 139.782 | 26.4 | 887 | 45.792 | 2.4467
2020-05-31 13:30:00 | 2.934 | 177.3133 | 3.0787 | 134.33 | 3.1627 | 173.414 | 3.3733 | 135.0187 | 26.58 | 887 | 45.376 | 3.5
2020-05-31 13:45:00 | 3.3713 | 173.04 | 3.548 | 157.7047 | 3.848 | 169.2333 | 4.048 | 158.512 | 26.6733 | 887 | 46.2727 | 5.0573
2020-05-31 14:00:00 | 3.2907 | 184.1533 | 3.3687 | 146.6347 | 3.762 | 180.1027 | 3.7753 | 147.3847 | 26.8333 | 887 | 47.2367 | 4.7627
2020-05-31 14:15:00 | 2.866 | 150.9667 | 2.988 | 152.412 | 3.3067 | 147.6453 | 3.416 | 153.1907 | 27.1667 | 886.6 | 47.3647 | 3.1127
2020-05-31 14:30:00 | 3.1367 | 172.9067 | 3.26 | 141.9087 | 3.366 | 169.104 | 3.538 | 142.6333 | 27.1933 | 886 | 46.648 | 2.9867
2020-05-31 14:45:00 | 3.6813 | 170.18 | 3.8333 | 142.5527 | 4.3493 | 166.436 | 4.4453 | 143.282 | 27.0667 | 886 | 44.9747 | 7.8733
2020-05-31 15:00:00 | 3.4767 | 156.2133 | 3.6 | 142.096 | 3.8313 | 152.7773 | 3.964 | 142.8227 | 27.3133 | 886 | 44.1433 | 6.564
2020-05-31 15:15:00 | 3.8687 | 145.18 | 4.0233 | 136.698 | 4.0927 | 141.986 | 4.326 | 137.3967 | 27.3533 | 886 | 43.3467 | 7.7427
2020-05-31 15:30:00 | 3.4013 | 163.82 | 3.5633 | 130.054 | 3.6893 | 160.0007 | 3.9107 | 130.7207 | 27.4467 | 886 | 42.814 | 6.286
2020-05-31 15:45:00 | 3.618 | 167.4067 | 3.7867 | 138.4973 | 4.1407 | 163.724 | 4.3093 | 139.2053 | 27.3 | 885.6 | 42.518 | 8.5293
2020-05-31 16:00:00 | 3.5533 | 153.5333 | 3.7207 | 148.7407 | 4.066 | 149.12 | 4.2367 | 149.502 | 27.7867 | 885 | 41.6093 | 8.0187
2020-05-31 16:15:00 | 3.2047 | 181.0067 | 3.37 | 155.294 | 3.7673 | 177.0247 | 3.9187 | 156.0867 | 27.9133 | 885 | 41.198 | 6.7633
2020-05-31 16:30:00 | 3.736 | 174.3133 | 3.984 | 151.8247 | 4.4027 | 170.4787 | 4.682 | 152.6007 | 28.0267 | 885 | 42.09 | 9.6367
2020-05-31 16:45:00 | 3.542 | 168.8533 | 3.6993 | 132.5393 | 3.9667 | 165.138 | 4.1447 | 133.2167 | 27.7733 | 885 | 41.204 | 7.64
2020-05-31 17:00:00 | 3.788 | 156.8533 | 3.946 | 138.0547 | 4.4727 | 153.4033 | 4.5727 | 138.76 | 27.6067 | 885 | 41.8707 | 10.6587
2020-05-31 17:15:00 | 3.5227 | 164.2933 | 3.7007 | 142.7627 | 3.6547 | 160.678 | 3.9533 | 143.492 | 27.4667 | 885 | 43.088 | 8.9913
2020-05-31 17:30:00 | 3.962 | 153.4533 | 4.154 | 138.6147 | 4.3927 | 150.076 | 4.6353 | 139.3233 | 27.52 | 885 | 42.132 | 10.724
2020-05-31 17:45:00 | 3.6393 | 156.52 | 3.83 | 138.4527 | 3.8327 | 153.076 | 4.1393 | 139.1593 | 27.3733 | 885 | 42.6187 | 10.3413
2020-05-31 18:00:00 | 4.03 | 159.5933 | 4.1933 | 137.1667 | 4.1913 | 156.082 | 4.4573 | 137.8693 | 27.1867 | 885 | 42.6167 | 11.912
2020-05-31 18:15:00 | 4.4373 | 152.3133 | 4.63 | 132.668 | 4.6267 | 148.962 | 4.9393 | 133.3467 | 27.22 | 885 | 43.5313 | 13.7613
2020-05-31 18:30:00 | 3.7787 | 160.3067 | 3.9843 | 144.6814 | 4.3079 | 154.7893 | 4.5529 | 145.42 | 26.95 | 885 | 44.4071 | 11.8753
2020-05-31 18:45:00 | 3.516 | 168.78 | 3.7433 | 156.846 | 3.6273 | 165.0667 | 4.03 | 157.648 | 26.88 | 885 | 45.608 | 12.7867
2020-05-31 19:00:00 | 3.656 | 170.3133 | 3.898 | 156.9427 | 4.0833 | 166.568 | 4.4213 | 157.7447 | 26.74 | 884.2667 | 46.2487 | 12.8753
2020-05-31 19:15:00 | 4.266 | 164.3667 | 4.5307 | 146.178 | 4.4167 | 160.7513 | 4.876 | 146.9247 | 26.3333 | 884 | 46.3587 | 17.2773
2020-05-31 19:30:00 | 4.3953 | 164.06 | 4.612 | 147.8607 | 4.73 | 160.4507 | 5.046 | 148.616 | 26.14 | 884 | 47.6347 | 17.574
2020-05-31 19:45:00 | 4.1667 | 160.7333 | 4.4153 | 154.72 | 4.3927 | 157.198 | 4.8033 | 155.51 | 25.86 | 884 | 48.5087 | 18.8653
2020-05-31 20:00:00 | 4.1767 | 164.46 | 4.486 | 151.7733 | 4.2773 | 160.8407 | 4.8387 | 152.5473 | 25.62 | 884 | 48.9673 | 18.51
2020-05-31 20:15:00 | 4.15 | 170.64 | 4.4793 | 171.848 | 4.1707 | 166.8853 | 4.7873 | 172.7267 | 25.0667 | 884 | 50.282 | 24.904
2020-05-31 20:30:00 | 4.4907 | 171.3 | 4.7793 | 161.272 | 4.4627 | 167.5313 | 5.022 | 162.0973 | 24.84 | 884 | 52.386 | 25.384
2020-05-31 20:45:00 | 4.41 | 163.7933 | 4.694 | 148.8507 | 4.3287 | 160.1887 | 4.8927 | 149.614 | 24.72 | 884 | 53.9987 | 23.8887
2020-05-31 21:00:00 | 4.7347 | 152.84 | 5.0567 | 138.882 | 5.0107 | 149.4767 | 5.542 | 139.592 | 24.5467 | 884 | 54.916 | 23.9127
2020-05-31 21:15:00 | 5.1767 | 156.2 | 5.488 | 139.998 | 5.4807 | 152.7633 | 5.982 | 140.7113 | 24.28 | 884.4 | 54.04 | 27.8713
2020-05-31 21:30:00 | 4.8407 | 149.8067 | 5.1013 | 139.8613 | 5.228 | 146.5113 | 5.6107 | 140.5753 | 24.0067 | 884.3333 | 54.3853 | 22.4633
2020-05-31 21:45:00 | 4.366 | 154.86 | 4.6167 | 134.7353 | 4.8587 | 151.4533 | 5.1927 | 135.4247 | 23.6733 | 885 | 55.9033 | 17.582
2020-05-31 22:00:00 | 4.204 | 151.62 | 4.332 | 142.7873 | 4.5633 | 148.2853 | 4.7073 | 143.5173 | 23.5267 | 885 | 57.5187 | 13.4287
2020-05-31 22:15:00 | 4.26 | 154.6067 | 4.3507 | 141.3613 | 4.5653 | 151.2047 | 4.654 | 142.082 | 23.3333 | 885 | 59.4613 | 13.7613
2020-05-31 22:30:00 | 3.8929 | 158.8143 | 4.0457 | 148.4886 | 4.1486 | 155.3214 | 4.3643 | 149.2486 | 23.1857 | 885 | 60.61 | 10.7347
2020-05-31 22:45:00 | 3.2111 | 153.63 | 3.3856 | 155.824 | 3.515 | 149.4156 | 3.761 | 155.0956 | 23.1444 | 885 | 62.6311 | 10.3647
2020-05-31 23:00:00 | 2.6347 | 165.9733 | 2.654 | 156.2173 | 2.7593 | 162.322 | 2.7653 | 157.0167 | 22.9467 | 885 | 64.3567 | 7.448
2020-05-31 23:15:00 | 2.8309 | 170.0182 | 2.8818 | 158.6691 | 3.0109 | 166.2782 | 3.0609 | 159.4773 | 22.8636 | 885 | 65.1645 | 7.2213
2020-05-31 23:30:00 | 2.5647 | 163.6133 | 2.58 | 152.0653 | 2.6507 | 160.014 | 2.6567 | 152.8433 | 22.7533 | 885 | 66.1653 | 5.0153
2020-05-31 23:45:00 | 2.1753 | 152.3267 | 2.238 | 142.7153 | 2.3967 | 148.5633 | 2.4507 | 143.4453 | 22.5467 | 885 | 66.912 | 2.882