## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-01 00:00:00 | 2.2607 | 154.94 | 2.316 | 152.3727 | 2.4647 | 151.5307 | 2.5127 | 153.152 | 22.48 | 885 | 67.088 | 3.1153
2020-06-01 00:15:00 | 2.2607 | 154.94 | 2.316 | 152.3727 | 2.4647 | 151.5307 | 2.5127 | 153.152 | 22.48 | 885 | 67.088 | 3.1153
2020-06-01 00:30:00 | 2.2607 | 154.94 | 2.316 | 152.3727 | 2.4647 | 151.5307 | 2.5127 | 153.152 | 22.48 | 885 | 67.088 | 3.1153
2020-06-01 00:45:00 | 2.2607 | 154.94 | 2.316 | 152.3727 | 2.4647 | 151.5307 | 2.5127 | 153.152 | 22.48 | 885 | 67.088 | 3.1153
2020-06-01 01:00:00 | 2.2607 | 154.94 | 2.316 | 152.3727 | 2.4647 | 151.5307 | 2.5127 | 153.152 | 22.48 | 885 | 67.088 | 3.1153
2020-06-01 01:15:00 | 2.2607 | 154.94 | 2.316 | 152.3727 | 2.4647 | 151.5307 | 2.5127 | 153.152 | 22.48 | 885 | 67.088 | 3.1153
2020-06-01 01:30:00 | 1.88 | 183.6133 | 1.9267 | 166.7693 | 2.116 | 179.5733 | 2.1347 | 167.6207 | 20.7 | 884 | 79.156 | 1.6333
2020-06-01 01:45:00 | 1.88 | 183.6133 | 1.9267 | 166.7693 | 2.116 | 179.5733 | 2.1347 | 167.6207 | 20.7 | 884 | 79.156 | 1.6333
2020-06-01 02:00:00 | 1.88 | 183.6133 | 1.9267 | 166.7693 | 2.116 | 179.5733 | 2.1347 | 167.6207 | 20.7 | 884 | 79.156 | 1.6333
2020-06-01 02:15:00 | 1.88 | 183.6133 | 1.9267 | 166.7693 | 2.116 | 179.5733 | 2.1347 | 167.6207 | 20.7 | 884 | 79.156 | 1.6333
2020-06-01 02:30:00 | 1.88 | 183.6133 | 1.9267 | 166.7693 | 2.116 | 179.5733 | 2.1347 | 167.6207 | 20.7 | 884 | 79.156 | 1.6333
2020-06-01 02:45:00 | 1.8 | 172.0933 | 1.8527 | 165.224 | 2.0207 | 168.3073 | 2.0567 | 166.0673 | 20.6 | 884 | 80.252 | 2.0533
2020-06-01 03:00:00 | 1.8293 | 155.5733 | 1.8833 | 152.4513 | 2.1053 | 152.1493 | 2.1287 | 153.2307 | 20.46 | 884 | 79.0847 | 2.0193
2020-06-01 03:15:00 | 1.9273 | 152.98 | 2.0173 | 161.2727 | 2.124 | 149.106 | 2.224 | 162.0973 | 20.46 | 884 | 77.962 | 1.5747
2020-06-01 03:30:00 | 2.0713 | 168.4467 | 2.1847 | 167.746 | 2.2753 | 164.7413 | 2.432 | 168.6033 | 20.44 | 884 | 78.576 | 2.4347
2020-06-01 03:45:00 | 2.3907 | 165.0333 | 2.5533 | 153.6253 | 2.6313 | 161.4033 | 2.8693 | 154.4093 | 20.4133 | 884 | 78.9193 | 2.8633
2020-06-01 04:00:00 | 2.1487 | 158.14 | 2.2173 | 153.8713 | 2.2853 | 154.6607 | 2.378 | 154.6567 | 20.3867 | 884 | 80.148 | 2.2573
2020-06-01 04:15:00 | 1.9907 | 166.4533 | 2.076 | 154.2767 | 2.1947 | 162.7913 | 2.296 | 155.0653 | 20.2267 | 884 | 81.1867 | 2.3153
2020-06-01 04:30:00 | 2.208 | 155.9533 | 2.3093 | 144.3013 | 2.3807 | 152.5227 | 2.522 | 145.038 | 20.4 | 883.2667 | 82.2067 | 3.1627
2020-06-01 04:45:00 | 2.5087 | 129.8067 | 2.612 | 138.268 | 2.7487 | 126.952 | 2.8827 | 138.9753 | 20.0067 | 883.4 | 82.9067 | 3.34
2020-06-01 05:00:00 | 2.3767 | 127.1733 | 2.494 | 125.6267 | 2.6287 | 124.376 | 2.782 | 126.27 | 19.8133 | 884 | 84.0067 | 3.078
2020-06-01 05:15:00 | 1.7413 | 130.5267 | 1.8547 | 123.2093 | 1.994 | 127.6547 | 2.1333 | 123.8393 | 19.8267 | 884 | 83.5667 | 1.2713
2020-06-01 05:30:00 | 1.4393 | 113.5867 | 1.562 | 127.9813 | 1.7433 | 111.0893 | 1.886 | 128.636 | 19.8133 | 884 | 83.28 | 0.67133
2020-06-01 05:45:00 | 1.6307 | 138.0533 | 1.744 | 137.306 | 1.6607 | 135.0147 | 1.864 | 138.0067 | 19.6733 | 884 | 82.9733 | 0.336
2020-06-01 06:00:00 | 1.854 | 158.1867 | 1.9613 | 149.2687 | 1.9653 | 154.7067 | 2.138 | 150.0327 | 19.48 | 884 | 82.3733 | 0.50733
2020-06-01 06:15:00 | 1.8707 | 158.0333 | 1.972 | 156.7593 | 2.1147 | 154.5567 | 2.2353 | 157.5633 | 19.7333 | 884 | 82.5267 | 0.28667
2020-06-01 06:30:00 | 1.666 | 173.6133 | 1.7713 | 175.798 | 1.8573 | 169.7933 | 2.0027 | 176.6973 | 20.0333 | 884 | 82.9467 | 0.108
2020-06-01 06:45:00 | 1.6933 | 169.7467 | 1.7773 | 186.8767 | 1.9033 | 166.012 | 2.0093 | 187.8313 | 20.16 | 884.4 | 82.7067 | 0.13133
2020-06-01 07:00:00 | 1.376 | 146.4933 | 1.416 | 183.8833 | 1.4487 | 143.2707 | 1.506 | 184.824 | 20.3133 | 885 | 82.8267 | 0
2020-06-01 07:15:00 | 1.3453 | 133.2733 | 1.4307 | 144.1187 | 1.5647 | 130.342 | 1.6627 | 144.8553 | 20.74 | 885 | 83.32 | 0
2020-06-01 07:30:00 | 0.40533 | 34.9 | 0.42467 | 288.5467 | 0.52533 | 34.1293 | 0.528 | 290.0213 | 20.68 | 885 | 79.208 | 0
2020-06-01 07:45:00 | 0 | 0.3 | 0 | 340.34 | 0 | 0.29 | 0 | 342.08 | 20.8933 | 885.4 | 77.15 | 0
2020-06-01 08:00:00 | 0 | 0.3 | 0 | 340.34 | 0 | 0.29 | 0 | 342.08 | 21.3 | 886 | 76.1767 | 0
2020-06-01 08:15:00 | 0 | 0.3 | 0 | 340.34 | 0 | 0.29 | 0 | 342.08 | 21.5 | 886 | 75.1667 | 0
2020-06-01 08:30:00 | 0 | 0.3 | 0 | 340.34 | 0 | 0.29 | 0 | 342.08 | 21.7667 | 886.7333 | 74.8413 | 0
2020-06-01 08:45:00 | 0 | 0.3 | 0 | 340.34 | 0 | 0.29 | 0 | 342.08 | 22.1867 | 887 | 74.1653 | 0
2020-06-01 09:00:00 | 0 | 0.3 | 0 | 340.34 | 0 | 0.29 | 0 | 342.08 | 22.4067 | 887 | 73.1187 | 0
2020-06-01 09:15:00 | 0 | 0.26 | 0 | 294.9613 | 0 | 0.25133 | 0 | 296.4693 | 19.7467 | 887.4 | 72.3533 | 0
2020-06-01 09:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 71.5013 | 0
2020-06-01 09:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 69.9713 | 0
2020-06-01 10:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 69.1667 | 0
2020-06-01 10:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 70.4827 | 0
2020-06-01 10:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 68.9693 | 0
2020-06-01 10:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 66.97 | 0
2020-06-01 11:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 64.7653 | 0
2020-06-01 11:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 61.188 | 0
2020-06-01 11:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 59.504 | 0
2020-06-01 11:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 58.8013 | 0
2020-06-01 12:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 59.966 | 0
2020-06-01 12:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 59.6727 | 0
2020-06-01 12:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 56.17 | 0
2020-06-01 12:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 53.0513 | 0
2020-06-01 13:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 52.99 | 0
2020-06-01 13:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 50.578 | 0
2020-06-01 13:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 48.26 | 0
2020-06-01 13:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 46.9553 | 0
2020-06-01 14:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 888 | 47.566 | 0
2020-06-01 14:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 887.0667 | 49.588 | 0
2020-06-01 14:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 887 | 51.3393 | 0
2020-06-01 14:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 886.7333 | 57.254 | 0
2020-06-01 15:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 886 | 58.658 | 0
2020-06-01 15:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 886 | 59.464 | 0
2020-06-01 15:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 885.4 | 60.4073 | 0
2020-06-01 15:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 885 | 60.6167 | 0
2020-06-01 16:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884.4 | 60.476 | 0
2020-06-01 16:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 59.734 | 0
2020-06-01 16:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 60.9943 | 0
2020-06-01 16:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 59.6013 | 0
2020-06-01 17:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 61.446 | 0
2020-06-01 17:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 61.4827 | 0
2020-06-01 17:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883.4 | 61.6513 | 0
2020-06-01 17:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 61.614 | 0
2020-06-01 18:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 61.8847 | 0
2020-06-01 18:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 61.8953 | 0
2020-06-01 18:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 61.536 | 0
2020-06-01 18:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 61.0747 | 0
2020-06-01 19:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 59.33 | 0
2020-06-01 19:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 57.7327 | 0
2020-06-01 19:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883.6 | 58.0047 | 0
2020-06-01 19:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 77.2687 | 0
2020-06-01 20:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883.4 | 91.1933 | 0
2020-06-01 20:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883.2667 | 92.5267 | 0
2020-06-01 20:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 93.9467 | 0
2020-06-01 20:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 95.4667 | 0
2020-06-01 21:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 97.62 | 0
2020-06-01 21:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 98.4533 | 0
2020-06-01 21:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 98.88 | 0
2020-06-01 21:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884.2667 | 99.2933 | 0
2020-06-01 22:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 885 | 99.5867 | 0
2020-06-01 22:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 885 | 99.8267 | 0
2020-06-01 22:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 885 | 99.925 | 0
2020-06-01 22:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 885 | 100 | 0
2020-06-01 23:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 885 | 100 | 0
2020-06-01 23:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884.0667 | 100 | 0
2020-06-01 23:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 100 | 0
2020-06-01 23:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884.9333 | 100 | 0