## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-05 00:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 59.2693 | 0
2020-06-05 00:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 59.7927 | 0
2020-06-05 00:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 61.1587 | 0
2020-06-05 00:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 62.63 | 0
2020-06-05 01:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 64.2893 | 0
2020-06-05 01:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881.6 | 64.2107 | 0
2020-06-05 01:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 65.614 | 0
2020-06-05 01:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 67.0653 | 0
2020-06-05 02:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 68.0393 | 0
2020-06-05 02:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 70.3453 | 0
2020-06-05 02:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 68.9087 | 0
2020-06-05 02:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 68.3 | 0
2020-06-05 03:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 70.5267 | 0
2020-06-05 03:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 70.9087 | 0
2020-06-05 03:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880.9333 | 70.9327 | 0
2020-06-05 03:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 76.0807 | 0
2020-06-05 04:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 78.4167 | 0
2020-06-05 04:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 79.072 | 0
2020-06-05 04:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 79.722 | 0
2020-06-05 04:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 80.5867 | 0
2020-06-05 05:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 79.6627 | 0
2020-06-05 05:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 80.706 | 0
2020-06-05 05:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 81.08 | 0
2020-06-05 05:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 81.9 | 0
2020-06-05 06:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 82.7267 | 0
2020-06-05 06:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 84.1667 | 0
2020-06-05 06:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 85.6733 | 0
2020-06-05 06:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 83.3 | 0
2020-06-05 07:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880.6667 | 81.6733 | 0
2020-06-05 07:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 79.976 | 0
2020-06-05 07:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881.2667 | 78.56 | 0
2020-06-05 07:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 75.946 | 0
2020-06-05 08:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882.2667 | 75.2827 | 0
2020-06-05 08:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 73.364 | 0
2020-06-05 08:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 70.6747 | 0
2020-06-05 08:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883.6 | 69.4873 | 0
2020-06-05 09:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 69.7533 | 0
2020-06-05 09:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 67.7807 | 0
2020-06-05 09:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 65.4127 | 0
2020-06-05 09:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 64.1567 | 0
2020-06-05 10:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 63.352 | 0
2020-06-05 10:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 58.482 | 0
2020-06-05 10:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 885 | 55.4313 | 0
2020-06-05 10:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884.4 | 52.8893 | 0
2020-06-05 11:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884.2667 | 48.8613 | 0
2020-06-05 11:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884.4 | 47.5313 | 0
2020-06-05 11:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 46.072 | 0
2020-06-05 11:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 45.7627 | 0
2020-06-05 12:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 47.7113 | 0
2020-06-05 12:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 48.458 | 0
2020-06-05 12:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 47.0287 | 0
2020-06-05 12:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 44.8927 | 0
2020-06-05 13:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 42.3053 | 0
2020-06-05 13:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 39.89 | 0
2020-06-05 13:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 37.156 | 0
2020-06-05 13:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 34.9767 | 0
2020-06-05 14:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 34.9387 | 0
2020-06-05 14:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 884 | 34.9147 | 0
2020-06-05 14:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883.5333 | 33.9193 | 0
2020-06-05 14:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 33.418 | 0
2020-06-05 15:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 33.1987 | 0
2020-06-05 15:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 34.2 | 0
2020-06-05 15:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 32.624 | 0
2020-06-05 15:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 32.102 | 0
2020-06-05 16:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 32.998 | 0
2020-06-05 16:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 33.1467 | 0
2020-06-05 16:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 33.5067 | 0
2020-06-05 16:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 883 | 34.5107 | 0
2020-06-05 17:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882.6667 | 34.298 | 0
2020-06-05 17:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 31.754 | 0
2020-06-05 17:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 31.1447 | 0
2020-06-05 17:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 29.7127 | 0
2020-06-05 18:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 29.41 | 0
2020-06-05 18:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 29.828 | 0
2020-06-05 18:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881.6667 | 30.8407 | 0
2020-06-05 18:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 32.7627 | 0
2020-06-05 19:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 34.9713 | 0
2020-06-05 19:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881.3333 | 38.0633 | 0
2020-06-05 19:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 38.6747 | 0
2020-06-05 19:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 39.2007 | 0
2020-06-05 20:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 40.294 | 0
2020-06-05 20:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 40.9413 | 0
2020-06-05 20:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880.0667 | 41.3827 | 0
2020-06-05 20:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 41.6027 | 0
2020-06-05 21:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880.9333 | 41.902 | 0
2020-06-05 21:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 42.0633 | 0
2020-06-05 21:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 41.928 | 0
2020-06-05 21:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 42.2987 | 0
2020-06-05 22:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 43.238 | 0
2020-06-05 22:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881.1333 | 44.3353 | 0
2020-06-05 22:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 45.45 | 0
2020-06-05 22:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 46.69 | 0
2020-06-05 23:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 47.6207 | 0
2020-06-05 23:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 48.5313 | 0
2020-06-05 23:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 49.0567 | 0
2020-06-05 23:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 882 | 49.2467 | 0