## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-07 00:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 78.956 | 0
2020-06-07 00:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 79.834 | 0
2020-06-07 00:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 81.0533 | 0
2020-06-07 00:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 80.8133 | 0
2020-06-07 01:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 80.32 | 0
2020-06-07 01:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880.3333 | 80.14 | 0
2020-06-07 01:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 80.9467 | 0
2020-06-07 01:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 81.7667 | 0
2020-06-07 02:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 82.82 | 0
2020-06-07 02:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 84.0667 | 0
2020-06-07 02:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 84.8333 | 0
2020-06-07 02:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 86.7933 | 0
2020-06-07 03:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 87.8867 | 0.112
2020-06-07 03:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 87.0867 | 0.89533
2020-06-07 03:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 86.1733 | 0.96867
2020-06-07 03:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 85.4333 | 0.62867
2020-06-07 04:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 85.2 | 0.62533
2020-06-07 04:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 85.3267 | 0.54333
2020-06-07 04:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 85.8 | 0.59933
2020-06-07 04:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 85.68 | 0.39267
2020-06-07 05:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 86.16 | 1.3513
2020-06-07 05:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 87.3133 | 2.4907
2020-06-07 05:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 879 | 87.54 | 2.656
2020-06-07 05:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 879 | 88.6 | 3.5507
2020-06-07 06:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 879 | 89.5333 | 5.738
2020-06-07 06:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 879 | 90.6 | 7.4
2020-06-07 06:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 879 | 90.8667 | 5.008
2020-06-07 06:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 879 | 90.3 | 2.2333
2020-06-07 07:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 879 | 89.7467 | 0.056
2020-06-07 07:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 879.6667 | 89.3 | 0
2020-06-07 07:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 89.84 | 0
2020-06-07 07:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 89.6467 | 0.192
2020-06-07 08:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 89.9467 | 0
2020-06-07 08:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 90.0533 | 0.20133
2020-06-07 08:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 89.6667 | 1.4053
2020-06-07 08:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 88.5333 | 2.486
2020-06-07 09:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 87.8 | 4.604
2020-06-07 09:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 87.8267 | 6.9113
2020-06-07 09:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 87.8667 | 6.7813
2020-06-07 09:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 88.94 | 7.248
2020-06-07 10:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880.6667 | 87.3333 | 8.4207
2020-06-07 10:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880.6667 | 86.0733 | 5.454
2020-06-07 10:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 84.8 | 3.764
2020-06-07 10:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 84.1 | 3.986
2020-06-07 11:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 84.32 | 3.7133
2020-06-07 11:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 84.92 | 1.8193
2020-06-07 11:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 83.7667 | 1.0107
2020-06-07 11:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 83.92 | 0.54267
2020-06-07 12:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 84.78 | 1.4907
2020-06-07 12:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 85.4467 | 2.3793
2020-06-07 12:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 86.4867 | 2.9813
2020-06-07 12:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 881 | 91.2067 | 2.8033
2020-06-07 13:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880.6667 | 94.8867 | 1.422
2020-06-07 13:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 96.2067 | 0
2020-06-07 13:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 96.88 | 0
2020-06-07 13:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 97.68 | 0
2020-06-07 14:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 98.5133 | 0.518
2020-06-07 14:15:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 98.82 | 2.976
2020-06-07 14:30:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 98.3467 | 4.8213
2020-06-07 14:45:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 97.7 | 6.4527
2020-06-07 15:00:00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880 | 97.2067 | 6.9893
2020-06-07 15:15:00 | 2.972 | 317.7467 | 3.212 | 308.6247 | 2.1 | 310.756 | 2.8087 | 310.2027 | 19.3667 | 880 | 96.9667 | 7.2713
2020-06-07 15:30:00 | 3.0513 | 341.76 | 3.3887 | 320.5233 | 2.1693 | 334.2413 | 3.0667 | 322.1627 | 20.7133 | 880 | 96.94 | 8.6387
2020-06-07 15:45:00 | 3.1207 | 340.2133 | 3.442 | 320.2693 | 2.2133 | 332.7287 | 3.0893 | 321.906 | 21.0267 | 880 | 96.4733 | 9.2887
2020-06-07 16:00:00 | 3.3247 | 338.4667 | 3.6853 | 322.1407 | 2.6287 | 331.0213 | 3.5133 | 323.7873 | 20.92 | 880 | 95.82 | 8.81
2020-06-07 16:15:00 | 4.3073 | 334.6067 | 4.7053 | 322.29 | 4.9207 | 327.244 | 5.4993 | 323.938 | 20.92 | 880 | 94.84 | 11.638
2020-06-07 16:30:00 | 4.5793 | 333.86 | 4.9927 | 321.522 | 5.2747 | 326.5153 | 5.8553 | 323.1647 | 21.0067 | 880 | 93.06 | 17.1313
2020-06-07 16:45:00 | 4.8107 | 335.6867 | 5.2447 | 322.5047 | 5.394 | 328.3007 | 6.0447 | 324.1533 | 21.0533 | 880 | 93.38 | 18.7653
2020-06-07 17:00:00 | 4.8707 | 335.08 | 5.276 | 318.6653 | 5.5187 | 327.708 | 6.0967 | 320.2933 | 21.0533 | 879 | 93.5667 | 17.8747
2020-06-07 17:15:00 | 4.7433 | 331.5267 | 5.1593 | 318.0267 | 5.27 | 324.232 | 5.902 | 319.6513 | 21.0533 | 879 | 93.9933 | 19.4053
2020-06-07 17:30:00 | 4.7327 | 335.7333 | 5.1473 | 317.1387 | 5.3033 | 328.3473 | 5.922 | 318.762 | 21.18 | 879 | 94.0667 | 18.828
2020-06-07 17:45:00 | 5.0293 | 333.4333 | 5.426 | 319.2847 | 5.6413 | 326.098 | 6.2153 | 320.9167 | 21.24 | 879 | 94.4 | 20.6413
2020-06-07 18:00:00 | 5.136 | 340.1867 | 5.568 | 324.47 | 5.71 | 332.7013 | 6.3633 | 326.128 | 21.32 | 879 | 94.42 | 19.772
2020-06-07 18:15:00 | 4.748 | 336.9667 | 5.1567 | 319.558 | 5.4307 | 329.554 | 6.0093 | 321.1907 | 21.38 | 879 | 93.9133 | 17.3873
2020-06-07 18:30:00 | 4.7087 | 337.92 | 5.1113 | 321.8273 | 5.2853 | 330.4853 | 5.884 | 323.4727 | 21.3667 | 879 | 94.1333 | 17.044
2020-06-07 18:45:00 | 4.5 | 337.94 | 4.9007 | 322.4733 | 5.0767 | 330.5047 | 5.6673 | 324.1207 | 21.3533 | 879 | 94.6333 | 15.4
2020-06-07 19:00:00 | 4.192 | 340.1933 | 4.5167 | 325.2173 | 4.782 | 332.7093 | 5.2267 | 326.8787 | 21.2933 | 879 | 94.8333 | 11.8913
2020-06-07 19:15:00 | 3.328 | 333.2067 | 3.4907 | 324.964 | 3.8167 | 325.8753 | 3.9873 | 326.6253 | 21.3333 | 879 | 95.1067 | 5.3413
2020-06-07 19:30:00 | 2.0973 | 229.28 | 2.2047 | 308.7407 | 2.382 | 224.236 | 2.506 | 310.3207 | 21.32 | 879 | 95.3667 | 0
2020-06-07 19:45:00 | 4.1873 | 343.1333 | 4.5113 | 312.986 | 4.802 | 335.5827 | 5.238 | 314.5873 | 20.9667 | 879 | 96.3933 | 7.634
2020-06-07 20:00:00 | 4.5493 | 340.2867 | 4.936 | 315.5353 | 5.1827 | 332.8007 | 5.7313 | 317.148 | 21.04 | 879 | 97.96 | 13.6273
2020-06-07 20:15:00 | 4.58 | 337.64 | 4.984 | 313.52 | 5.2507 | 330.21 | 5.82 | 315.124 | 20.9533 | 879 | 98.48 | 16.1613
2020-06-07 20:30:00 | 4.756 | 337.6333 | 5.1807 | 317.1393 | 5.538 | 330.2053 | 6.1147 | 318.7607 | 20.9133 | 879 | 98.8333 | 17.73
2020-06-07 20:45:00 | 3.988 | 343.1267 | 4.3393 | 313.82 | 4.8167 | 335.578 | 5.2407 | 315.4247 | 21.0533 | 879 | 98.9667 | 10.94
2020-06-07 21:00:00 | 1.4007 | 229.7867 | 1.3973 | 263.3607 | 1.6313 | 224.7313 | 1.5593 | 264.7087 | 21.14 | 879 | 98.9667 | 0.252
2020-06-07 21:15:00 | 0.48933 | 333.0733 | 0.53533 | 296.81 | 0.53467 | 325.7447 | 0.606 | 298.328 | 20.9933 | 879 | 98.9 | 0
2020-06-07 21:30:00 | 2.098 | 279.9333 | 2.2407 | 310.1047 | 2.3593 | 273.7753 | 2.556 | 311.69 | 20.7933 | 879 | 99.08 | 0
2020-06-07 21:45:00 | 2.7467 | 119.6533 | 2.8573 | 324.5533 | 3.2507 | 117.1647 | 3.32 | 326.984 | 20.64 | 879 | 99.4 | 0.95933
2020-06-07 22:00:00 | 2.2907 | 296.62 | 2.3547 | 329.3573 | 2.8987 | 290.094 | 2.8447 | 331.042 | 20.5733 | 879.3333 | 99.7933 | 0.84267
2020-06-07 22:15:00 | 2.7613 | 254.9867 | 2.8247 | 328.002 | 3.406 | 249.3773 | 3.344 | 329.678 | 20.5333 | 880 | 99.9667 | 2.6893
2020-06-07 22:30:00 | 2.8947 | 255.08 | 2.968 | 322.036 | 3.5733 | 249.468 | 3.518 | 323.6813 | 20.24 | 879 | 100 | 3.3547
2020-06-07 22:45:00 | 2.724 | 345.6 | 2.964 | 287.3687 | 3.2747 | 337.9967 | 3.568 | 288.8387 | 20.0733 | 879.6667 | 100 | 1.9073
2020-06-07 23:00:00 | 3.3627 | 351.3533 | 3.6207 | 312.706 | 3.8953 | 343.6233 | 4.2293 | 314.304 | 19.8533 | 880 | 100 | 4.634
2020-06-07 23:15:00 | 3.2367 | 318.1533 | 3.5627 | 316.2533 | 3.6847 | 311.1527 | 4.1747 | 317.8707 | 19.86 | 880 | 100 | 5.642
2020-06-07 23:30:00 | 3.5253 | 335.9933 | 3.8207 | 294.632 | 4.028 | 328.602 | 4.4467 | 296.1393 | 19.5467 | 880 | 100 | 6.5967
2020-06-07 23:45:00 | 3.476 | 348.1133 | 3.7413 | 329.756 | 3.9233 | 340.4553 | 4.2953 | 331.442 | 19.56 | 880 | 100 | 5.7853