## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-08 00:00:00 | 3.4947 | 144.5333 | 3.82 | 186.1647 | 4.0013 | 141.3533 | 4.4693 | 187.1167 | 19.3067 | 880 | 100 | 6.9413
2020-06-08 00:15:00 | 2.886 | 30.7733 | 2.942 | 210.498 | 2.8267 | 30.0967 | 2.9547 | 211.574 | 19.1867 | 880 | 100 | 3.794
2020-06-08 00:30:00 | 1.4413 | 127.5267 | 1.4607 | 73.566 | 1.5887 | 124.7213 | 1.5853 | 73.9407 | 19.38 | 880 | 100 | 0.48
2020-06-08 00:45:00 | 0.72533 | 227.3867 | 0.74667 | 143.1593 | 0.88333 | 222.0313 | 0.88333 | 143.682 | 19.7133 | 880 | 100 | 0
2020-06-08 01:00:00 | 0.61 | 153.6667 | 0.682 | 228.1013 | 0.866 | 150.2853 | 0.92667 | 229.2687 | 19.6267 | 879 | 100 | 0
2020-06-08 01:15:00 | 0.598 | 131.9133 | 0.62133 | 231.806 | 1.0113 | 129.012 | 0.932 | 232.9907 | 19.64 | 879 | 100 | 0
2020-06-08 01:30:00 | 1.6267 | 161.92 | 1.6813 | 311.6373 | 2.266 | 158.3573 | 2.1853 | 313.2307 | 19.4133 | 879 | 100 | 0
2020-06-08 01:45:00 | 2.5793 | 298.3333 | 2.6833 | 335.1807 | 3.2067 | 291.77 | 3.2233 | 336.894 | 19.2733 | 879 | 100 | 1.2887
2020-06-08 02:00:00 | 3.098 | 332.3467 | 3.2367 | 330.7793 | 3.9393 | 325.0347 | 3.9593 | 332.47 | 19.0533 | 879 | 100 | 4.4007
2020-06-08 02:15:00 | 3.1453 | 334.4867 | 3.282 | 318.6713 | 3.9813 | 327.128 | 3.998 | 320.3013 | 18.9933 | 879 | 100 | 5.402
2020-06-08 02:30:00 | 3.3487 | 338.9733 | 3.554 | 335.186 | 4.1267 | 331.5147 | 4.29 | 336.9007 | 18.8867 | 879 | 100 | 5.8407
2020-06-08 02:45:00 | 3.9533 | 337.8067 | 4.1687 | 327.9953 | 4.5447 | 330.3747 | 4.782 | 329.672 | 18.8 | 879 | 100 | 8.276
2020-06-08 03:00:00 | 4.2067 | 340.7667 | 4.5253 | 328.3013 | 4.7373 | 333.2693 | 5.1867 | 329.98 | 18.7667 | 879 | 100 | 11.5247
2020-06-08 03:15:00 | 4.3253 | 340.5467 | 4.672 | 332.356 | 4.8367 | 333.0553 | 5.3473 | 334.0567 | 18.7133 | 878.3333 | 100 | 12.956
2020-06-08 03:30:00 | 5.0113 | 334.7667 | 5.3633 | 326.3713 | 5.614 | 327.4013 | 6.1047 | 328.0413 | 18.6133 | 878 | 100 | 18.0533
2020-06-08 03:45:00 | 4.84 | 333.1133 | 5.208 | 322.1327 | 5.3873 | 325.7847 | 5.928 | 323.7807 | 18.6933 | 878 | 100 | 18.7847
2020-06-08 04:00:00 | 4.9567 | 338.2267 | 5.3487 | 320.7527 | 5.5307 | 330.7847 | 6.1133 | 322.3927 | 18.6667 | 878 | 100 | 21.42
2020-06-08 04:15:00 | 5.3087 | 316.6867 | 5.69 | 326.156 | 5.8513 | 309.7193 | 6.4207 | 327.8253 | 18.62 | 878 | 100 | 25.3287
2020-06-08 04:30:00 | 5.6193 | 338.2267 | 6.0673 | 324.6967 | 6.1753 | 330.7853 | 6.8653 | 326.3553 | 18.5333 | 878.3333 | 100 | 31.3127
2020-06-08 04:45:00 | 6.1747 | 316.26 | 6.61 | 322.7653 | 6.654 | 309.3027 | 7.3413 | 324.4173 | 18.52 | 878.3333 | 100 | 37.364
2020-06-08 05:00:00 | 6.4787 | 342.92 | 6.928 | 321.5273 | 7.1273 | 335.376 | 7.7927 | 323.1707 | 18.4467 | 879 | 100 | 42.4593
2020-06-08 05:15:00 | 6.7913 | 297.38 | 7.2307 | 327.9693 | 7.3573 | 290.8373 | 8.034 | 329.6447 | 18.3733 | 879 | 100 | 47.0473
2020-06-08 05:30:00 | 7.1447 | 340.4267 | 7.61 | 324.682 | 7.7793 | 332.938 | 8.4807 | 326.3427 | 18.3333 | 879 | 100 | 51.4807
2020-06-08 05:45:00 | 7.546 | 292.8667 | 8.016 | 324.6953 | 8.436 | 286.424 | 9.0707 | 326.3567 | 18.2333 | 879 | 100 | 54.724
2020-06-08 06:00:00 | 7.99 | 344.0933 | 8.506 | 308.7873 | 8.924 | 336.9333 | 9.6313 | 310.3667 | 18.1667 | 879 | 100 | 57.9287
2020-06-08 06:15:00 | 8.2047 | 298.2267 | 8.6693 | 325.23 | 9.16 | 291.666 | 9.7667 | 326.8953 | 17.9733 | 879 | 100 | 60.15
2020-06-08 06:30:00 | 9.4127 | 334.4333 | 10.0493 | 324.05 | 10.0633 | 327.076 | 11.0833 | 325.708 | 17.6267 | 879 | 100 | 58.3407
2020-06-08 06:45:00 | 10.4647 | 337.0933 | 11.198 | 326.6913 | 11.6533 | 329.6773 | 12.7033 | 328.3613 | 17.2133 | 879 | 100 | 60.8133
2020-06-08 07:00:00 | 11.7293 | 331.8867 | 12.5827 | 322.7727 | 12.5233 | 324.5847 | 13.9107 | 324.4233 | 16.5867 | 879 | 100 | 61.592
2020-06-08 07:15:00 | 12.194 | 344.48 | 12.9813 | 331.2487 | 13.0547 | 336.9007 | 14.304 | 332.9427 | 16.9667 | 879 | 100 | 62.1767
2020-06-08 07:30:00 | 11.0653 | 339.6867 | 11.9173 | 327.0427 | 12.2213 | 332.214 | 13.502 | 328.7147 | 16.8467 | 879.3333 | 100 | 59.3373
2020-06-08 07:45:00 | 10.6907 | 340.9067 | 11.43 | 331.7 | 11.982 | 333.406 | 13.0107 | 333.396 | 16.54 | 880 | 100 | 58.9067
2020-06-08 08:00:00 | 10.2687 | 349.8467 | 11.0367 | 333.5573 | 11.8733 | 342.15 | 12.8647 | 335.2627 | 16.2933 | 880 | 100 | 60.4487
2020-06-08 08:15:00 | 10.49 | 317.8 | 11.2627 | 330.8367 | 12.1247 | 310.808 | 13.112 | 332.5287 | 15.9467 | 880.6667 | 100 | 60.6107
2020-06-08 08:30:00 | 10.6253 | 319.84 | 11.3373 | 328.224 | 11.8813 | 312.8033 | 12.8707 | 329.9013 | 15.9533 | 881 | 100 | 59.4453
2020-06-08 08:45:00 | 10.8587 | 337.32 | 11.7093 | 328.5353 | 12.284 | 329.8993 | 13.4853 | 330.2147 | 15.8867 | 881 | 100 | 58.5767
2020-06-08 09:00:00 | 10.5333 | 323.32 | 11.3367 | 329.0527 | 12.2173 | 316.2073 | 13.2513 | 330.734 | 15.7133 | 881 | 100 | 56.4847
2020-06-08 09:15:00 | 10.7147 | 300.58 | 11.428 | 328.8813 | 12.276 | 293.968 | 13.1733 | 330.5633 | 14.9933 | 881 | 100 | 57.5473
2020-06-08 09:30:00 | 10.948 | 301.54 | 11.804 | 312.1907 | 12.7547 | 294.906 | 13.856 | 313.7867 | 14.6 | 881 | 100 | 57.156
2020-06-08 09:45:00 | 11.7407 | 258.8267 | 12.5533 | 316.2587 | 13.288 | 253.1327 | 14.3847 | 317.8767 | 14.6333 | 881 | 100 | 58.4993
2020-06-08 10:00:00 | 11.2413 | 303.1333 | 12.1227 | 295.0947 | 13.02 | 296.4653 | 14.1827 | 296.604 | 14.8733 | 881 | 100 | 59.674
2020-06-08 10:15:00 | 10.8627 | 320.7133 | 11.7567 | 292.0573 | 12.2567 | 313.6587 | 13.5473 | 293.5493 | 15.08 | 881.6667 | 100 | 61.9347
2020-06-08 10:30:00 | 10.614 | 254.8467 | 11.402 | 334.8207 | 12.122 | 249.2393 | 13.1813 | 336.5327 | 15.34 | 882 | 100 | 61.658
2020-06-08 10:45:00 | 10.978 | 322.96 | 11.7513 | 275.672 | 12.3693 | 315.8553 | 13.434 | 277.0827 | 15.6667 | 882 | 100 | 60.706
2020-06-08 11:00:00 | 10.242 | 321.2133 | 11.05 | 288.0733 | 11.784 | 314.1467 | 12.874 | 289.546 | 15.86 | 882 | 98.92 | 59.4947
2020-06-08 11:15:00 | 10.326 | 323.7133 | 11.2193 | 269.334 | 12.0707 | 316.5907 | 13.2553 | 270.7107 | 16.1067 | 882 | 96.8867 | 59.5833
2020-06-08 11:30:00 | 10.5447 | 323.62 | 11.4373 | 246.4493 | 12.202 | 316.5007 | 13.4087 | 247.71 | 16.3533 | 882 | 93.02 | 59.374
2020-06-08 11:45:00 | 10.7887 | 214.7533 | 11.5613 | 316.1733 | 12.4687 | 210.03 | 13.4447 | 317.7907 | 16.4933 | 882 | 89.9333 | 61.226
2020-06-08 12:00:00 | 10.5213 | 234.3733 | 11.268 | 270.5533 | 12.0453 | 229.2173 | 13.0193 | 271.9367 | 16.8533 | 882 | 86.94 | 60.444
2020-06-08 12:15:00 | 10.4047 | 168.3067 | 11.192 | 248.6393 | 11.9213 | 164.6033 | 12.9733 | 249.9107 | 17.1 | 882 | 85.0533 | 61.0873
2020-06-08 12:30:00 | 10.2107 | 213.9467 | 10.934 | 316.1227 | 11.6807 | 209.24 | 12.6253 | 317.738 | 17.4133 | 883 | 81.0373 | 60.8053
2020-06-08 12:45:00 | 10.166 | 278.3667 | 10.974 | 335.3113 | 11.554 | 272.2433 | 12.684 | 337.026 | 17.7067 | 882.3333 | 78.712 | 60.7433
2020-06-08 13:00:00 | 10.09 | 101.2867 | 10.7647 | 290.6353 | 11.6893 | 99.0573 | 12.5093 | 292.1213 | 18.0667 | 883 | 76.862 | 59.702
2020-06-08 13:15:00 | 9.7 | 215.7133 | 10.4773 | 315.202 | 11.2367 | 210.968 | 12.2653 | 316.8133 | 18.2667 | 883 | 74.8847 | 59.982
2020-06-08 13:30:00 | 10.39 | 235.18 | 11.2813 | 293.2767 | 12.0347 | 230.0053 | 13.246 | 294.776 | 18.42 | 883 | 72.6387 | 60.3113
2020-06-08 13:45:00 | 10.156 | 163.8333 | 10.9087 | 317.7253 | 11.3773 | 183.1327 | 12.4293 | 319.3513 | 18.5867 | 883 | 70.622 | 60.4047
2020-06-08 14:00:00 | 10.3513 | 259.9067 | 11.1167 | 292.846 | 11.7767 | 254.1887 | 12.8193 | 294.3427 | 18.66 | 883 | 69.5853 | 60.508
2020-06-08 14:15:00 | 10.2567 | 99.24 | 10.9487 | 268.1747 | 11.6313 | 97.0573 | 12.5447 | 269.5453 | 18.7267 | 883 | 70.07 | 60.5747
2020-06-08 14:30:00 | 10.242 | 164.2133 | 11.0693 | 227.8393 | 11.646 | 160.6013 | 12.8053 | 229.0053 | 18.9467 | 882.6667 | 68.6573 | 59.8407
2020-06-08 14:45:00 | 10.064 | 216.32 | 10.7687 | 337.6053 | 11.3747 | 211.5613 | 12.3333 | 339.3313 | 19.18 | 882.6667 | 68.1047 | 60.144
2020-06-08 15:00:00 | 9.6987 | 284.1667 | 10.4247 | 314.16 | 11.19 | 277.916 | 12.1387 | 315.7647 | 19.3533 | 883 | 66.7247 | 60.7607
2020-06-08 15:15:00 | 10.55 | 237 | 11.344 | 271.044 | 12.0427 | 231.7847 | 13.1207 | 272.428 | 19.5667 | 883 | 66.2467 | 60.33
2020-06-08 15:30:00 | 10.3267 | 188.6933 | 11.1067 | 270.02 | 11.9913 | 184.542 | 12.9893 | 271.4 | 20.1867 | 882.6667 | 63.7927 | 60.8893
2020-06-08 15:45:00 | 10.004 | 215.4 | 10.6987 | 289.4307 | 11.2467 | 210.6607 | 12.2047 | 290.9087 | 20.28 | 882.6667 | 60.2513 | 60.9527
2020-06-08 16:00:00 | 10.2327 | 258.46 | 10.93 | 294.1513 | 11.648 | 275.516 | 12.5487 | 295.6533 | 20.3067 | 883 | 61.3007 | 60.6967
2020-06-08 16:15:00 | 9.852 | 191.5 | 10.574 | 226.6593 | 11.3893 | 187.286 | 12.3107 | 227.82 | 20.4667 | 883 | 62.1487 | 60.8293
2020-06-08 16:30:00 | 9.8487 | 259.42 | 10.5273 | 221.5693 | 11.3047 | 253.7133 | 12.174 | 222.7027 | 20.62 | 883 | 61.556 | 60.6947
2020-06-08 16:45:00 | 8.942 | 237.1533 | 9.564 | 182.208 | 10.1607 | 231.9353 | 10.9887 | 183.1393 | 20.74 | 883 | 60.412 | 60.424
2020-06-08 17:00:00 | 9.5133 | 233.02 | 10.288 | 252.0367 | 11.1693 | 227.8927 | 12.1553 | 253.3253 | 20.8667 | 883 | 60.4393 | 59.9647
2020-06-08 17:15:00 | 9.8567 | 187.94 | 10.6007 | 340.1687 | 11.3293 | 183.8053 | 12.3127 | 341.9073 | 20.9467 | 883 | 61.2507 | 59.5367
2020-06-08 17:30:00 | 9.4087 | 281.78 | 10.0133 | 293.5107 | 10.8573 | 275.5807 | 11.584 | 295.0113 | 20.8667 | 882 | 61.8993 | 60.738
2020-06-08 17:45:00 | 9.602 | 194.3667 | 10.358 | 252.7933 | 11.2913 | 190.09 | 12.2327 | 254.0867 | 20.8933 | 882 | 60.6853 | 60.1773
2020-06-08 18:00:00 | 9.4 | 151.62 | 10.102 | 312.4973 | 10.97 | 148.2853 | 11.85 | 314.094 | 21.0333 | 882 | 59.948 | 59.444
2020-06-08 18:15:00 | 9.126 | 213.2267 | 9.764 | 246.352 | 10.6467 | 208.5347 | 11.418 | 247.6107 | 21.1467 | 882 | 59.7153 | 59.988
2020-06-08 18:30:00 | 9.236 | 124.0333 | 9.9427 | 248.7773 | 10.8387 | 121.3047 | 11.7167 | 250.0487 | 21.0067 | 882 | 59.8833 | 59.64
2020-06-08 18:45:00 | 8.604 | 195.1333 | 9.2687 | 312.1193 | 10.316 | 190.8413 | 11.0793 | 313.7147 | 20.8133 | 882 | 62.16 | 59.3067
2020-06-08 19:00:00 | 8.4153 | 167.9067 | 9.0667 | 266.7987 | 9.8933 | 164.2127 | 10.7033 | 268.1633 | 20.7467 | 882.3333 | 62.442 | 57.224
2020-06-08 19:15:00 | 8.686 | 214.6 | 9.4647 | 268.6693 | 10.5093 | 209.8793 | 11.454 | 270.0413 | 20.5 | 883 | 62.642 | 58.006
2020-06-08 19:30:00 | 8.298 | 213.42 | 8.986 | 245.608 | 9.8713 | 208.7247 | 10.7173 | 246.864 | 20.42 | 882.6667 | 63.4753 | 58.5893
2020-06-08 19:45:00 | 8.2707 | 98.5533 | 8.9853 | 307.5093 | 9.9273 | 96.384 | 10.8007 | 309.082 | 20.3267 | 882 | 62.7747 | 58.904
2020-06-08 20:00:00 | 8.6887 | 189.2 | 9.5013 | 308.4347 | 10.464 | 185.038 | 11.4847 | 310.012 | 20.2467 | 882.3333 | 64.052 | 58.9413
2020-06-08 20:15:00 | 8.5247 | 194.1133 | 9.2867 | 313.7027 | 10.1173 | 189.8427 | 11.098 | 315.3087 | 20.26 | 883 | 63.9133 | 58.7673
2020-06-08 20:30:00 | 8.2047 | 280.6133 | 8.8587 | 333.2507 | 9.7167 | 274.4407 | 10.518 | 334.9547 | 20.0867 | 883 | 65.3527 | 58.416
2020-06-08 20:45:00 | 8.2493 | 234.3733 | 8.8453 | 307.9393 | 9.67 | 229.216 | 10.394 | 309.514 | 19.94 | 882.3333 | 65.4893 | 58.3613
2020-06-08 21:00:00 | 8.3167 | 212.1333 | 8.9307 | 308.5313 | 9.6693 | 207.4667 | 10.442 | 310.1107 | 19.8467 | 882 | 66.114 | 57.536
2020-06-08 21:15:00 | 7.082 | 188.28 | 7.3833 | 328.126 | 8.1827 | 184.1387 | 8.4387 | 329.8033 | 19.7667 | 882.6667 | 67.0313 | 52.812
2020-06-08 21:30:00 | 7.2353 | 297.58 | 7.4433 | 331.492 | 7.7127 | 291.0333 | 7.97 | 333.184 | 19.82 | 883 | 66.804 | 50.588
2020-06-08 21:45:00 | 6.7093 | 257.24 | 7.0473 | 268.0953 | 7.618 | 251.58 | 7.998 | 269.4673 | 19.6733 | 883 | 67.574 | 54.1793
2020-06-08 22:00:00 | 7.0773 | 212.5667 | 7.356 | 339.848 | 7.9067 | 207.89 | 8.1993 | 341.5847 | 19.6133 | 883 | 69.4293 | 55.254
2020-06-08 22:15:00 | 6.72 | 304.8667 | 7.0513 | 295.0107 | 7.594 | 298.16 | 7.9693 | 296.518 | 19.5267 | 883.6667 | 70.0313 | 54.5627
2020-06-08 22:30:00 | 6.5187 | 215.6 | 6.796 | 296.9347 | 7.3367 | 210.8567 | 7.6253 | 298.452 | 19.52 | 884 | 71.4467 | 49.7633
2020-06-08 22:45:00 | 6.4813 | 258.5333 | 6.7907 | 295.4273 | 7.2507 | 252.8447 | 7.622 | 296.9387 | 19.52 | 884 | 71.7633 | 49.4227
2020-06-08 23:00:00 | 6.2313 | 207.26 | 6.6487 | 312.224 | 7.0047 | 202.5047 | 7.5773 | 313.8193 | 19.4533 | 884 | 72.2593 | 46.3073
2020-06-08 23:15:00 | 6.5973 | 347.4267 | 6.9967 | 337.0253 | 7.1213 | 339.7833 | 7.732 | 338.7487 | 19.54 | 884 | 71.9373 | 46.0173
2020-06-08 23:30:00 | 7.016 | 323.7467 | 7.444 | 331.2933 | 7.612 | 316.624 | 8.2533 | 332.9873 | 19.5067 | 884 | 70.5513 | 49.9953
2020-06-08 23:45:00 | 7.7487 | 323.96 | 8.194 | 340.8407 | 8.3213 | 316.8327 | 8.998 | 342.5833 | 19.56 | 884 | 70.684 | 53.6487