## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-09 00:00:00 | 8.1693 | 236.1733 | 8.6273 | 251.04 | 8.7087 | 230.9773 | 9.424 | 252.322 | 19.4867 | 884 | 70.3447 | 54.6867
2020-06-09 00:15:00 | 8.2447 | 255.66 | 8.7033 | 339.8673 | 8.7413 | 250.036 | 9.468 | 341.6047 | 19.4333 | 884 | 70.5013 | 54.4247
2020-06-09 00:30:00 | 7.5347 | 325.5733 | 8.034 | 293.9153 | 8.216 | 318.41 | 8.9687 | 295.4167 | 19.22 | 884 | 70.8713 | 54.0953
2020-06-09 00:45:00 | 7.9187 | 325.3733 | 8.432 | 310.6713 | 8.5673 | 318.2153 | 9.3533 | 312.26 | 19.18 | 884 | 69.8033 | 54.2973
2020-06-09 01:00:00 | 8.3147 | 302.3267 | 8.932 | 297.312 | 9.1293 | 295.676 | 10.062 | 298.83 | 19.18 | 884 | 70.756 | 55.3313
2020-06-09 01:15:00 | 8.3833 | 325.1533 | 8.998 | 316.546 | 9.1493 | 317.9987 | 10.09 | 318.166 | 19.04 | 884 | 71.18 | 55.5127
2020-06-09 01:30:00 | 8.2653 | 323.76 | 8.8407 | 310.614 | 9.0807 | 316.6387 | 9.9367 | 312.2013 | 19.0733 | 884 | 71.518 | 56.9007
2020-06-09 01:45:00 | 8.7673 | 236.3733 | 9.342 | 341.1393 | 9.756 | 231.1733 | 10.5613 | 342.884 | 19.06 | 884 | 70.2433 | 55.5907
2020-06-09 02:00:00 | 8.3947 | 236.9467 | 8.9547 | 311.226 | 9.6033 | 231.7327 | 10.3127 | 312.8173 | 18.9933 | 883 | 71.2973 | 56.6833
2020-06-09 02:15:00 | 8.4153 | 349.0533 | 9.0473 | 316.4027 | 9.554 | 341.374 | 10.4173 | 318.0207 | 18.9733 | 883 | 70.8373 | 56.528
2020-06-09 02:30:00 | 8.28 | 255.0467 | 8.758 | 250.896 | 9.4113 | 271.5327 | 9.98 | 252.1787 | 18.9533 | 883 | 70.2833 | 56.8447
2020-06-09 02:45:00 | 7.8233 | 237.1533 | 8.3513 | 314.22 | 8.9333 | 231.936 | 9.6147 | 315.8247 | 18.7533 | 883 | 71.64 | 56.13
2020-06-09 03:00:00 | 7.1307 | 161.1267 | 7.5573 | 311.7733 | 8.2173 | 157.5833 | 8.712 | 313.368 | 18.7133 | 883 | 71.742 | 54.1933
2020-06-09 03:15:00 | 6.806 | 256.3 | 7.266 | 311.2433 | 7.838 | 250.6613 | 8.416 | 312.8367 | 18.7467 | 883 | 70.6573 | 54.1387
2020-06-09 03:30:00 | 6.9313 | 278.6667 | 7.4073 | 335.564 | 7.992 | 272.536 | 8.59 | 337.2807 | 18.72 | 883 | 70.948 | 52.974
2020-06-09 03:45:00 | 6.8613 | 344.0267 | 7.3467 | 314.6747 | 7.9133 | 336.4587 | 8.522 | 316.2833 | 18.5933 | 883 | 72.5693 | 52.828
2020-06-09 04:00:00 | 6.752 | 255.9067 | 7.2127 | 292.97 | 7.718 | 250.2773 | 8.316 | 294.4673 | 18.6467 | 883 | 71.9113 | 51.7033
2020-06-09 04:15:00 | 6.6853 | 301.54 | 7.0413 | 314.2427 | 7.6007 | 294.906 | 8.016 | 315.8507 | 18.6867 | 883 | 72.4933 | 51.0547
2020-06-09 04:30:00 | 6.1493 | 299.6867 | 6.49 | 311.1667 | 6.898 | 293.094 | 7.332 | 312.7573 | 18.6333 | 883 | 72.4547 | 46.0007
2020-06-09 04:45:00 | 6.0873 | 280.9867 | 6.4447 | 332.8067 | 6.748 | 274.8047 | 7.242 | 334.508 | 18.6267 | 883 | 70.9787 | 45.4267
2020-06-09 05:00:00 | 6.2573 | 301.5933 | 6.6087 | 268.52 | 6.982 | 294.9587 | 7.44 | 269.8927 | 18.5067 | 883 | 71.242 | 45.412
2020-06-09 05:15:00 | 6.2873 | 255.7067 | 6.6627 | 314.904 | 6.9787 | 250.08 | 7.4927 | 316.5127 | 18.4733 | 883 | 72.23 | 46.666
2020-06-09 05:30:00 | 6.7413 | 259.3133 | 7.1767 | 336.452 | 7.5173 | 253.6087 | 8.1153 | 338.1707 | 18.3267 | 883 | 73.8387 | 50.9993
2020-06-09 05:45:00 | 6.8573 | 231.9133 | 7.306 | 336.8887 | 7.718 | 226.8107 | 8.318 | 338.6113 | 18.3333 | 883 | 86.6 | 50.812
2020-06-09 06:00:00 | 6.4387 | 306.0733 | 6.7847 | 312.4707 | 7.1487 | 299.3407 | 7.596 | 314.0693 | 18.3533 | 883 | 88.0467 | 49.0893
2020-06-09 06:15:00 | 5.5927 | 302.6267 | 5.9733 | 330.4213 | 6.166 | 295.9687 | 6.72 | 332.11 | 18.1 | 883 | 85.4733 | 42.188
2020-06-09 06:30:00 | 5.5067 | 346.68 | 5.8673 | 309.7213 | 6.0887 | 339.0527 | 6.6047 | 311.3033 | 18.0533 | 883 | 84.7667 | 42.7513
2020-06-09 06:45:00 | 6.0507 | 300.6667 | 6.3567 | 336.9987 | 6.5807 | 294.0513 | 7.0107 | 338.722 | 18.2733 | 883 | 88.2333 | 45.556
2020-06-09 07:00:00 | 6.892 | 302.92 | 7.2393 | 315.3593 | 7.384 | 296.2553 | 7.902 | 316.972 | 18.6133 | 883 | 87.9333 | 51.0967
2020-06-09 07:15:00 | 7.2933 | 280.1333 | 7.6273 | 336.9653 | 7.8907 | 273.97 | 8.352 | 338.6873 | 18.6867 | 883 | 87.6933 | 55.3787
2020-06-09 07:30:00 | 7.376 | 348.1533 | 7.686 | 335.4013 | 8.04 | 340.4933 | 8.4327 | 337.116 | 18.3133 | 883 | 85.64 | 56.2887
2020-06-09 07:45:00 | 7.3647 | 278.3933 | 7.7413 | 335.956 | 8.108 | 272.2673 | 8.6113 | 337.6733 | 18.2733 | 883 | 83.7267 | 57.7067
2020-06-09 08:00:00 | 7.674 | 257.4667 | 8.0427 | 292.2647 | 8.4353 | 251.802 | 8.9167 | 293.7587 | 18.1133 | 883 | 85.38 | 58.8387
2020-06-09 08:15:00 | 7.1427 | 320.9 | 7.5453 | 270.5147 | 8.038 | 313.84 | 8.5393 | 271.898 | 17.9467 | 883 | 87.7667 | 57.7693
2020-06-09 08:30:00 | 7.528 | 209.4733 | 7.9407 | 285.1653 | 8.554 | 204.8653 | 9.0387 | 286.6233 | 18.08 | 883 | 85.82 | 56.9273
2020-06-09 08:45:00 | 7.118 | 277.9867 | 7.392 | 326.1953 | 7.9593 | 294.94 | 8.218 | 327.8633 | 18.0933 | 883 | 82.7333 | 54.8267
2020-06-09 09:00:00 | 7.0633 | 238.2733 | 7.3267 | 325.224 | 7.7953 | 233.0333 | 8.0867 | 326.8873 | 18.0933 | 883 | 81.78 | 54.4393
2020-06-09 09:15:00 | 7.4907 | 302.34 | 7.6987 | 330.5573 | 8.0327 | 295.688 | 8.2753 | 332.2487 | 18.2667 | 883 | 80.4613 | 53.1527
2020-06-09 09:30:00 | 7.5553 | 340.44 | 7.8967 | 331.9 | 8.4607 | 332.9513 | 8.8447 | 333.5987 | 18.2467 | 883 | 78.1427 | 55.4233
2020-06-09 09:45:00 | 7.8387 | 255.04 | 8.3313 | 307.868 | 8.8613 | 249.43 | 9.4973 | 309.442 | 18.1333 | 883.6667 | 78.196 | 57.3933
2020-06-09 10:00:00 | 7.258 | 188.9133 | 7.7093 | 309.034 | 8.248 | 184.756 | 8.8133 | 310.614 | 18.1533 | 884 | 78.3573 | 56.7027
2020-06-09 10:15:00 | 7.5147 | 277.2667 | 7.8473 | 326.0133 | 8.4233 | 271.166 | 8.7953 | 327.6807 | 18.44 | 884 | 75.8073 | 55.164
2020-06-09 10:30:00 | 7.682 | 252.8667 | 8.0587 | 329.7547 | 8.678 | 247.304 | 9.1033 | 331.4413 | 18.6067 | 884 | 73.6633 | 53.3147
2020-06-09 10:45:00 | 6.4127 | 250.36 | 6.6887 | 327.4613 | 7.2687 | 244.8527 | 7.5447 | 329.1353 | 18.7867 | 884 | 72.7353 | 45.8047
2020-06-09 11:00:00 | 5.67 | 185.84 | 5.886 | 311.6827 | 6.3533 | 181.7507 | 6.566 | 313.276 | 19.2133 | 884.3333 | 70.804 | 39.444
2020-06-09 11:15:00 | 5.246 | 214.9133 | 5.5927 | 294.2733 | 6.19 | 210.1853 | 6.5693 | 295.778 | 19.6 | 885 | 69.3833 | 33.7533
2020-06-09 11:30:00 | 5.258 | 189.74 | 5.6387 | 247.0887 | 6.0453 | 185.5667 | 6.542 | 248.3527 | 20.2133 | 885 | 66.4367 | 31.0727
2020-06-09 11:45:00 | 4.7193 | 191.8467 | 5.1287 | 164.7193 | 5.6113 | 187.6267 | 6.126 | 165.5627 | 20.7333 | 885.6667 | 62.4993 | 29.7787
2020-06-09 12:00:00 | 5.0267 | 191.9333 | 5.394 | 271.8707 | 5.8947 | 187.71 | 6.3387 | 273.2613 | 21.0867 | 886 | 62.4613 | 27.5913
2020-06-09 12:15:00 | 4.6773 | 188.2867 | 5.0827 | 163.8073 | 5.6053 | 184.144 | 6.1073 | 164.6473 | 22.0467 | 886 | 61.1373 | 29.3713
2020-06-09 12:30:00 | 4.8847 | 129.8933 | 5.1867 | 166.1167 | 5.4853 | 127.036 | 5.8833 | 166.9653 | 22.4 | 886 | 57.492 | 29.342
2020-06-09 12:45:00 | 4.494 | 46.0933 | 4.7187 | 124.892 | 4.7047 | 45.08 | 5.0707 | 125.53 | 22.1733 | 886 | 58.4873 | 23.786
2020-06-09 13:00:00 | 3.84 | 198.88 | 3.956 | 184.666 | 4.1347 | 194.506 | 4.2733 | 185.61 | 22.8 | 886 | 59.9773 | 19.0367
2020-06-09 13:15:00 | 3.99 | 148.7333 | 4.236 | 227.9327 | 4.5207 | 145.4613 | 4.8367 | 229.098 | 23.18 | 886 | 58.5093 | 19.3513
2020-06-09 13:30:00 | 4.43 | 276.4867 | 4.7087 | 288.9207 | 5.2627 | 270.404 | 5.5493 | 290.3973 | 23.2467 | 885.6667 | 57.1847 | 22.6667
2020-06-09 13:45:00 | 4.4473 | 277.9133 | 4.67 | 315.6987 | 5.1927 | 271.7987 | 5.4013 | 317.3127 | 23.32 | 885 | 56.748 | 24.1727
2020-06-09 14:00:00 | 4.7107 | 339.5333 | 4.9713 | 185.33 | 5.3293 | 332.0633 | 5.6433 | 186.2787 | 23.2133 | 885 | 56.646 | 29.7573
2020-06-09 14:15:00 | 6.044 | 252.94 | 6.334 | 269.5107 | 6.7407 | 247.3747 | 7.092 | 270.8887 | 22.9867 | 885 | 57.5907 | 35.812
2020-06-09 14:30:00 | 5.1113 | 274.1133 | 5.5273 | 245.3993 | 5.9967 | 268.0833 | 6.5287 | 246.6533 | 23.3133 | 885 | 58.4087 | 31.7673
2020-06-09 14:45:00 | 4.798 | 317.0067 | 5.2687 | 250.1073 | 5.8007 | 310.0327 | 6.396 | 251.3853 | 23.74 | 885 | 57.212 | 28.3053
2020-06-09 15:00:00 | 4.678 | 337.48 | 5.0093 | 202.8693 | 5.5907 | 330.0553 | 5.9533 | 203.9073 | 24.0067 | 885 | 57.124 | 24.03
2020-06-09 15:15:00 | 4.756 | 336.8533 | 5.144 | 269.1327 | 5.5607 | 329.442 | 6.064 | 270.5093 | 24.2867 | 885 | 56.6367 | 22.544
2020-06-09 15:30:00 | 4.648 | 297.4867 | 4.9993 | 244.1087 | 5.614 | 290.9413 | 5.9967 | 245.3547 | 24.4533 | 885 | 56.522 | 21.9727
2020-06-09 15:45:00 | 3.9373 | 178.58 | 4.2067 | 334.1307 | 4.6727 | 174.652 | 4.9707 | 335.838 | 24.5933 | 884.3333 | 56.4793 | 16.936
2020-06-09 16:00:00 | 3.906 | 232.66 | 4.1213 | 282.1593 | 4.384 | 227.5413 | 4.6567 | 283.602 | 24.6467 | 884 | 56.4473 | 14.43
2020-06-09 16:15:00 | 4.1173 | 274.78 | 4.464 | 281.1227 | 4.968 | 268.734 | 5.382 | 282.5613 | 24.8467 | 884 | 55.642 | 17.1607
2020-06-09 16:30:00 | 4.1093 | 318.06 | 4.4907 | 245.0027 | 4.936 | 311.0633 | 5.4193 | 246.2553 | 25.0333 | 884 | 55.936 | 17.092
2020-06-09 16:45:00 | 4.682 | 317.76 | 5.052 | 332.2993 | 5.402 | 310.7693 | 5.894 | 333.9973 | 24.8133 | 884 | 56.434 | 19.6753
2020-06-09 17:00:00 | 4.786 | 343.5067 | 5.2047 | 293.282 | 5.602 | 335.9493 | 6.1587 | 294.782 | 24.78 | 884 | 57.5633 | 22.7433
2020-06-09 17:15:00 | 5.086 | 343.06 | 5.486 | 333.6613 | 5.8553 | 335.512 | 6.3913 | 335.3667 | 24.7267 | 884 | 58.0487 | 23.864
2020-06-09 17:30:00 | 4.878 | 318.1 | 5.24 | 330.5053 | 5.6253 | 311.1027 | 6.0953 | 332.1953 | 24.64 | 884 | 59.202 | 23.318
2020-06-09 17:45:00 | 4.842 | 335.32 | 5.1693 | 313.6587 | 5.5767 | 327.9427 | 5.982 | 315.2607 | 24.5267 | 884 | 59.3687 | 21.714
2020-06-09 18:00:00 | 4.8873 | 292.3333 | 5.3067 | 324.8333 | 5.6853 | 285.9013 | 6.248 | 326.494 | 24.6133 | 884 | 60.8087 | 22.3567
2020-06-09 18:15:00 | 4.6787 | 316.6067 | 5.0833 | 314.686 | 5.4467 | 309.6407 | 5.9907 | 316.296 | 24.5467 | 884 | 62.1027 | 21.76
2020-06-09 18:30:00 | 4.754 | 343.2867 | 5.1293 | 310.9267 | 5.4767 | 335.734 | 5.98 | 312.5147 | 24.3933 | 884 | 63.8873 | 20.3
2020-06-09 18:45:00 | 4.5553 | 334.2467 | 4.8653 | 302.214 | 5.1587 | 326.8927 | 5.572 | 303.7593 | 24.2867 | 884 | 65.566 | 19.676
2020-06-09 19:00:00 | 5.046 | 335.32 | 5.346 | 324.6627 | 5.414 | 327.9433 | 5.88 | 326.324 | 23.9867 | 883.6667 | 66.5213 | 24.3053
2020-06-09 19:15:00 | 5.5253 | 337.1333 | 5.9047 | 320.8747 | 6.052 | 329.7153 | 6.6187 | 322.5153 | 23.7133 | 883 | 67.7233 | 28.354
2020-06-09 19:30:00 | 5.414 | 333.6333 | 5.8253 | 320.8813 | 6.208 | 326.294 | 6.7607 | 322.5213 | 23.52 | 883 | 68.546 | 28.5093
2020-06-09 19:45:00 | 5.4993 | 338.7333 | 5.88 | 323.2993 | 6.0273 | 331.2807 | 6.5973 | 324.9533 | 23.1267 | 883 | 70.598 | 28.4167
2020-06-09 20:00:00 | 5.6107 | 333.3667 | 6.0613 | 325.2647 | 6.4033 | 326.0333 | 7.0293 | 326.926 | 22.8067 | 882.6667 | 72.4767 | 30.4273
2020-06-09 20:15:00 | 5.578 | 341.46 | 6.0027 | 328.2693 | 6.212 | 333.8313 | 6.834 | 329.9473 | 22.5467 | 882 | 73.7513 | 32.1587
2020-06-09 20:30:00 | 6.1493 | 338.9067 | 6.61 | 327.5187 | 6.7747 | 331.2153 | 7.4667 | 329.1947 | 22.2267 | 882 | 75.7247 | 35.338
2020-06-09 20:45:00 | 6.2973 | 341.2267 | 6.7287 | 324.272 | 7.0227 | 333.72 | 7.632 | 325.9293 | 21.9333 | 882 | 76.3853 | 40.0313
2020-06-09 21:00:00 | 6.35 | 341.2467 | 6.804 | 327.3887 | 7.0707 | 333.7387 | 7.7233 | 329.0627 | 21.7267 | 882.3333 | 77.1247 | 40.882
2020-06-09 21:15:00 | 6.2927 | 341.16 | 6.772 | 324.9827 | 7.0773 | 333.1407 | 7.7727 | 326.6447 | 21.3867 | 883 | 78.316 | 41.7953
2020-06-09 21:30:00 | 6.9113 | 343.8333 | 7.4107 | 330.4973 | 7.656 | 336.2693 | 8.39 | 332.1893 | 21.1133 | 883 | 79.1653 | 44.378
2020-06-09 21:45:00 | 6.7293 | 342.3067 | 7.1667 | 328.0467 | 7.5213 | 334.7767 | 8.1213 | 329.7247 | 20.9067 | 883 | 79.2833 | 43.9147
2020-06-09 22:00:00 | 6.536 | 347.48 | 7.0073 | 329.1887 | 7.442 | 339.8347 | 8.0773 | 330.8713 | 20.72 | 883 | 79.662 | 42.7007
2020-06-09 22:15:00 | 6.388 | 341.6867 | 6.8613 | 326.802 | 7.152 | 334.1687 | 7.8307 | 328.472 | 20.4333 | 883 | 80.3347 | 40.0567
2020-06-09 22:30:00 | 6.0613 | 344.2333 | 6.5693 | 306.2887 | 6.978 | 336.66 | 7.6753 | 307.8567 | 20.2467 | 884 | 81.2467 | 36.476
2020-06-09 22:45:00 | 6.1327 | 339.9867 | 6.6467 | 323.1507 | 7.148 | 332.506 | 7.83 | 324.8033 | 20.2067 | 884 | 81.5933 | 36.288
2020-06-09 23:00:00 | 6.4467 | 340.5067 | 6.912 | 328.3993 | 7.3707 | 333.016 | 7.9853 | 330.078 | 20.08 | 884 | 82.1333 | 37.5387
2020-06-09 23:15:00 | 6.0233 | 342.1333 | 6.514 | 322.5233 | 7.1113 | 334.6053 | 7.7267 | 324.1733 | 19.94 | 884 | 82.5267 | 36.2733
2020-06-09 23:30:00 | 5.604 | 342.8667 | 6.056 | 327.434 | 6.25 | 335.322 | 6.9207 | 329.1073 | 19.82 | 884 | 82.9867 | 31.9133
2020-06-09 23:45:00 | 5.9133 | 342.0067 | 6.32 | 322.5773 | 6.758 | 334.4827 | 7.286 | 324.2267 | 19.7467 | 884 | 83.3267 | 30.908