## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-10 00:00:00 | 5.5633 | 345.64 | 6.038 | 329.0447 | 6.3693 | 338.036 | 7.0387 | 330.7273 | 19.7 | 884 | 83.1 | 28.7093
2020-06-10 00:15:00 | 5.5667 | 341.6667 | 6.0687 | 327.114 | 6.374 | 334.148 | 7.0867 | 328.7873 | 19.5667 | 884 | 82.8067 | 31.1193
2020-06-10 00:30:00 | 5.6733 | 339.4667 | 6.16 | 323.0667 | 6.5827 | 331.9987 | 7.238 | 324.718 | 19.4733 | 884 | 83.1467 | 29.6493
2020-06-10 00:45:00 | 5.8767 | 335.4 | 6.3727 | 323.7167 | 6.66 | 328.1573 | 7.382 | 325.3733 | 19.3467 | 884 | 84.0133 | 32.1067
2020-06-10 01:00:00 | 5.904 | 339.1067 | 6.4027 | 324.7667 | 6.6767 | 331.646 | 7.3973 | 326.428 | 19.22 | 884 | 85.0933 | 32.328
2020-06-10 01:15:00 | 5.6713 | 342.1333 | 6.1127 | 329.9647 | 6.25 | 334.606 | 6.92 | 331.6507 | 19.0133 | 884 | 85.76 | 29.998
2020-06-10 01:30:00 | 5.56 | 340.42 | 6.0227 | 328.0533 | 6.3113 | 332.9313 | 6.968 | 329.73 | 18.98 | 884 | 86.3267 | 28.5973
2020-06-10 01:45:00 | 5.6887 | 339.5667 | 6.178 | 326.3973 | 6.5093 | 332.0967 | 7.1993 | 328.0673 | 18.8667 | 884 | 86.6267 | 30.7673
2020-06-10 02:00:00 | 5.8147 | 343.1867 | 6.3107 | 324.0307 | 6.65 | 335.6353 | 7.348 | 325.6867 | 18.72 | 883 | 86.8067 | 31.88
2020-06-10 02:15:00 | 5.922 | 340.9533 | 6.4433 | 323.8087 | 6.8627 | 333.4513 | 7.5753 | 325.4647 | 18.5867 | 883 | 87.2133 | 32.7153
2020-06-10 02:30:00 | 6.1507 | 339.0133 | 6.6607 | 324.886 | 6.9567 | 332.1807 | 7.6833 | 326.7493 | 18.46 | 883 | 88.0933 | 35.208
2020-06-10 02:45:00 | 6.0173 | 340.72 | 6.5333 | 331.6453 | 6.8893 | 333.224 | 7.6107 | 333.3433 | 18.2733 | 883 | 88.6333 | 35.5553
2020-06-10 03:00:00 | 5.8953 | 344.9067 | 6.3993 | 328.822 | 6.642 | 337.3187 | 7.3867 | 330.5053 | 18.24 | 883 | 89.3533 | 31.6353
2020-06-10 03:15:00 | 5.8507 | 335.9267 | 6.346 | 328.0733 | 6.6247 | 328.5367 | 7.34 | 329.752 | 18.18 | 883 | 89.36 | 31.3953
2020-06-10 03:30:00 | 5.948 | 340.4067 | 6.4333 | 327.4993 | 6.906 | 332.9167 | 7.5453 | 329.1727 | 18.1667 | 883 | 89.5133 | 34.332
2020-06-10 03:45:00 | 6.2313 | 341.1 | 6.71 | 326.736 | 7.098 | 333.5967 | 7.762 | 328.4073 | 18.0467 | 882.3333 | 90.1533 | 37.3107
2020-06-10 04:00:00 | 6.808 | 348.7933 | 7.3153 | 324.1927 | 7.8347 | 341.1207 | 8.498 | 325.8533 | 17.9933 | 882 | 90.88 | 41.856
2020-06-10 04:15:00 | 6.6907 | 343.1733 | 7.1327 | 320.94 | 7.4007 | 335.626 | 8.0367 | 322.5813 | 17.9067 | 882 | 90.8667 | 42.152
2020-06-10 04:30:00 | 6.8247 | 347.2933 | 7.34 | 328.5087 | 7.676 | 339.6533 | 8.406 | 330.1887 | 18 | 882 | 90.46 | 40.508
2020-06-10 04:45:00 | 6.8153 | 347.6067 | 7.284 | 326.456 | 7.58 | 339.9607 | 8.2493 | 328.124 | 18.0067 | 882 | 90.7 | 39.546
2020-06-10 05:00:00 | 6.832 | 345.64 | 7.2187 | 326.3907 | 7.744 | 338.0367 | 8.2147 | 328.0593 | 18.06 | 882 | 90.9933 | 40.3013
2020-06-10 05:15:00 | 7.0393 | 319.8267 | 7.384 | 322.6473 | 8.0373 | 312.7913 | 8.402 | 324.2973 | 18.06 | 882 | 90.98 | 41.526
2020-06-10 05:30:00 | 6.7547 | 299.74 | 7.0513 | 328.9147 | 7.672 | 293.1453 | 7.97 | 330.596 | 18.0467 | 882 | 91.2 | 43.18
2020-06-10 05:45:00 | 7.27 | 327.08 | 7.74 | 331.7573 | 7.9207 | 319.8847 | 8.626 | 333.4533 | 18.12 | 882 | 91.3333 | 42.09
2020-06-10 06:00:00 | 7.488 | 344.16 | 8.0313 | 332.4613 | 8.192 | 336.5873 | 9.02 | 334.1613 | 17.9333 | 882 | 92.02 | 43.468
2020-06-10 06:15:00 | 7.55 | 347.2467 | 8.05 | 333.636 | 8.0627 | 339.6067 | 8.8607 | 335.3413 | 18.1667 | 882 | 91.9 | 42.8587
2020-06-10 06:30:00 | 7.166 | 345.1733 | 7.6293 | 331.9653 | 7.5073 | 337.5807 | 8.288 | 333.6627 | 18.2 | 882 | 91.6 | 42.4693
2020-06-10 06:45:00 | 7.1187 | 321.0733 | 7.562 | 328.2567 | 7.5693 | 314.01 | 8.2813 | 329.9333 | 18.4 | 882 | 89.7 | 42.7367
2020-06-10 07:00:00 | 6.8987 | 341.1733 | 7.3207 | 330.4007 | 7.1213 | 333.666 | 7.8607 | 332.0893 | 18.6067 | 883 | 87.0933 | 42.2973
2020-06-10 07:15:00 | 6.6993 | 343.9733 | 7.068 | 330.44 | 7.14 | 336.6333 | 7.6967 | 332.1307 | 18.7733 | 883 | 85.28 | 41.1187
2020-06-10 07:30:00 | 6.312 | 338.3667 | 6.6793 | 331.0673 | 6.6353 | 330.9233 | 7.242 | 332.758 | 18.76 | 883.3333 | 83.2 | 37.0153
2020-06-10 07:45:00 | 6.334 | 340.3133 | 6.7007 | 327.728 | 6.7627 | 332.8253 | 7.336 | 329.404 | 18.9667 | 884 | 80.9667 | 36.518
2020-06-10 08:00:00 | 6.4973 | 337.1533 | 6.8713 | 327.5053 | 6.9453 | 329.7367 | 7.5307 | 329.1807 | 19.1933 | 884.3333 | 81.5667 | 36.5527
2020-06-10 08:15:00 | 6.622 | 339.74 | 6.9727 | 326.5867 | 7.3087 | 332.2653 | 7.7787 | 328.2567 | 19.4 | 884.3333 | 82.6267 | 35.882
2020-06-10 08:30:00 | 6.21 | 252.7733 | 6.4933 | 323.6 | 6.716 | 247.2127 | 7.1113 | 325.2547 | 19.8467 | 884 | 81.82 | 35.6147
2020-06-10 08:45:00 | 6.592 | 341.02 | 6.9267 | 325.902 | 7.2847 | 333.5167 | 7.716 | 327.568 | 20.0133 | 884 | 77.8533 | 34.886
2020-06-10 09:00:00 | 6.8227 | 337.96 | 7.1113 | 325.5373 | 7.396 | 330.5247 | 7.78 | 327.2013 | 20.2933 | 885 | 76.4247 | 37.312
2020-06-10 09:15:00 | 6.5067 | 340.28 | 6.7973 | 320.9587 | 7.122 | 332.7927 | 7.4993 | 322.6013 | 20.4 | 885 | 75.4507 | 35.748
2020-06-10 09:30:00 | 6.2867 | 339.2533 | 6.5113 | 325.7967 | 6.9067 | 331.79 | 7.1553 | 327.4633 | 20.5533 | 885 | 75.7373 | 32.1773
2020-06-10 09:45:00 | 6.2533 | 279.7533 | 6.516 | 325.0673 | 6.746 | 273.5987 | 7.1027 | 326.7293 | 20.98 | 885 | 74.5153 | 30.8007
2020-06-10 10:00:00 | 5.3393 | 233.88 | 5.59 | 307.046 | 5.5873 | 228.7347 | 5.9947 | 308.6167 | 21.6067 | 885 | 72.8313 | 27.2373
2020-06-10 10:15:00 | 5.1187 | 273.1533 | 5.5207 | 264.9013 | 5.708 | 267.1433 | 6.2973 | 266.2553 | 22.16 | 885 | 69.802 | 28.5813
2020-06-10 10:30:00 | 4.9907 | 295.4333 | 5.3473 | 293.9873 | 5.7107 | 288.9333 | 6.1787 | 295.4893 | 22.3733 | 885.6667 | 67.7887 | 24.7333
2020-06-10 10:45:00 | 4.516 | 341.38 | 4.8653 | 227.066 | 4.9567 | 333.8693 | 5.4927 | 228.2253 | 22.6733 | 885.6667 | 67.5867 | 18.7593
2020-06-10 11:00:00 | 4.0633 | 338.9933 | 4.3933 | 282.8827 | 4.68 | 331.5347 | 5.126 | 284.328 | 22.9467 | 885.6667 | 67.7247 | 12.848
2020-06-10 11:15:00 | 3.306 | 318.36 | 3.58 | 240.066 | 3.8567 | 311.3553 | 4.2133 | 241.294 | 23.5933 | 885 | 66.272 | 7.4733
2020-06-10 11:30:00 | 3.076 | 316.6133 | 3.236 | 242.342 | 3.636 | 309.6473 | 3.7793 | 243.5813 | 24.0933 | 885 | 63.746 | 4.7367
2020-06-10 11:45:00 | 2.6507 | 190.4933 | 2.7727 | 266.466 | 3.1873 | 186.3027 | 3.268 | 267.8293 | 24.3067 | 885 | 63.3747 | 2.8347
2020-06-10 12:00:00 | 2.396 | 267.3933 | 2.4767 | 264.68 | 2.8933 | 261.51 | 2.9033 | 266.0327 | 24.3933 | 885 | 61.8473 | 1.072
2020-06-10 12:15:00 | 1.994 | 216.2933 | 2.196 | 108.2973 | 2.3627 | 211.5347 | 2.6387 | 108.85 | 25.4467 | 885 | 62.224 | 0.23467
2020-06-10 12:30:00 | 2.3213 | 207.98 | 2.382 | 153.012 | 2.6033 | 203.4047 | 2.6367 | 153.7927 | 26.1333 | 885 | 60.4333 | 0.54667
2020-06-10 12:45:00 | 2.5053 | 239.8533 | 2.6793 | 190.6193 | 2.986 | 234.576 | 3.1747 | 191.594 | 26.1667 | 885 | 57.6093 | 0.96
2020-06-10 13:00:00 | 2.596 | 176.3867 | 2.7027 | 162.4667 | 2.9253 | 172.5053 | 3.0367 | 163.2953 | 25.3933 | 885 | 56.5453 | 2.944
2020-06-10 13:15:00 | 2.562 | 88.1467 | 2.6627 | 267.6973 | 2.8993 | 86.206 | 2.992 | 269.0667 | 24.9 | 885 | 57.0387 | 1.8413
2020-06-10 13:30:00 | 2.112 | 272.6 | 2.2893 | 249.5667 | 2.536 | 266.602 | 2.7507 | 250.842 | 25.0667 | 884.6667 | 61.4207 | 0.56067
2020-06-10 13:45:00 | 2.2273 | 328.4933 | 2.4047 | 184.75 | 2.4433 | 321.266 | 2.722 | 185.6947 | 25.8667 | 884 | 62.1927 | 0.18067
2020-06-10 14:00:00 | 2.3867 | 264.78 | 2.5353 | 238.4867 | 2.786 | 258.9533 | 2.952 | 239.708 | 26.1333 | 884 | 62.2693 | 0.25467
2020-06-10 14:15:00 | 1.812 | 221.2067 | 1.8933 | 261.1993 | 2.1107 | 216.34 | 2.182 | 262.534 | 26.4133 | 884 | 59.5087 | 0
2020-06-10 14:30:00 | 1.8153 | 238.9067 | 1.8313 | 246.2267 | 2.29 | 233.6513 | 2.1827 | 247.486 | 27.3533 | 884 | 56.27 | 0
2020-06-10 14:45:00 | 1.4693 | 278.3667 | 1.5947 | 195.1107 | 1.7707 | 272.242 | 1.9213 | 196.1087 | 26.8 | 884 | 55.704 | 0
2020-06-10 15:00:00 | 1.6693 | 157.1667 | 1.7247 | 181.836 | 1.7193 | 153.71 | 1.8133 | 182.766 | 27.3467 | 884 | 56.9647 | 0
2020-06-10 15:15:00 | 1.2653 | 137.9067 | 1.2927 | 163.398 | 1.3373 | 134.874 | 1.366 | 164.2333 | 27.6533 | 883.3333 | 55.3653 | 0
2020-06-10 15:30:00 | 1.0053 | 97.6867 | 1.0887 | 85.764 | 1.1673 | 95.5373 | 1.2807 | 86.202 | 28.0067 | 883 | 55.0007 | 0
2020-06-10 15:45:00 | 1.308 | 72.8533 | 1.37 | 189.8167 | 1.356 | 71.25 | 1.4653 | 190.7873 | 28.56 | 883 | 56.5793 | 0
2020-06-10 16:00:00 | 1.0873 | 113.2333 | 1.1227 | 103.0887 | 1.1833 | 110.7433 | 1.2213 | 103.6153 | 27.68 | 883 | 57.9307 | 0
2020-06-10 16:15:00 | 1.2667 | 66.1267 | 1.4333 | 98.9273 | 1.5687 | 64.6727 | 1.794 | 99.434 | 28.12 | 883 | 56.7007 | 0
2020-06-10 16:30:00 | 1.02 | 158.9533 | 1.066 | 163.3067 | 1.2947 | 155.456 | 1.3033 | 164.1413 | 28.1 | 883 | 54.762 | 0
2020-06-10 16:45:00 | 0.99 | 145.7267 | 1.092 | 103.948 | 1.044 | 142.5207 | 1.216 | 104.4793 | 28.4 | 883 | 53.8827 | 0
2020-06-10 17:00:00 | 1.6293 | 127.7267 | 1.71 | 186.25 | 1.8793 | 124.9167 | 1.96 | 187.202 | 28.2133 | 882 | 51.3953 | 0
2020-06-10 17:15:00 | 1.7247 | 119.4467 | 1.7993 | 163.3 | 1.9327 | 116.818 | 2.014 | 164.1347 | 27.96 | 882.6667 | 52.0093 | 0
2020-06-10 17:30:00 | 2.9313 | 123.86 | 3.0827 | 127.0753 | 3.2673 | 121.1347 | 3.458 | 127.7233 | 27.4067 | 883 | 53.1067 | 0.67067
2020-06-10 17:45:00 | 3.2427 | 124.5333 | 3.3587 | 137.2193 | 3.73 | 121.794 | 3.8093 | 137.9213 | 26.86 | 882.3333 | 56.9133 | 5.9427
2020-06-10 18:00:00 | 3.5213 | 121.64 | 3.6167 | 132.4613 | 4.1247 | 118.9633 | 4.1273 | 133.1373 | 26.4533 | 882 | 59.2873 | 8.46
2020-06-10 18:15:00 | 3.672 | 136.7133 | 3.7627 | 130.3087 | 4.4847 | 133.7053 | 4.4227 | 130.9753 | 26.6667 | 881.3333 | 61.6187 | 8.972
2020-06-10 18:30:00 | 3.582 | 140.8267 | 3.6267 | 132.344 | 4.1053 | 137.7287 | 4.0413 | 133.0193 | 26.48 | 881 | 62.3207 | 9.4627
2020-06-10 18:45:00 | 3.71 | 134.8933 | 3.7473 | 136.236 | 4.16 | 131.9267 | 4.102 | 136.9327 | 26.28 | 881 | 62.596 | 9.942
2020-06-10 19:00:00 | 3.528 | 129.2267 | 3.6013 | 135.8373 | 4.0807 | 126.382 | 4.0627 | 136.5333 | 26.1733 | 881 | 62.4927 | 9.9407
2020-06-10 19:15:00 | 2.8907 | 121.5 | 2.9713 | 132.7147 | 3.3233 | 118.8267 | 3.356 | 133.3933 | 26.12 | 881 | 63.932 | 6.618
2020-06-10 19:30:00 | 2.366 | 145.52 | 2.3807 | 134.8593 | 2.824 | 142.318 | 2.7207 | 135.548 | 25.8333 | 881 | 65.7507 | 4.3093
2020-06-10 19:45:00 | 2.1467 | 130.7467 | 2.2047 | 139.2933 | 2.5233 | 127.8707 | 2.524 | 140.0053 | 25.5933 | 880.3333 | 66.9853 | 3.382
2020-06-10 20:00:00 | 2.236 | 148.8733 | 2.352 | 136.0133 | 2.6627 | 145.5987 | 2.7607 | 136.708 | 25.3933 | 880 | 68.5133 | 1.8187
2020-06-10 20:15:00 | 2.3133 | 142.3533 | 2.3947 | 133.0087 | 2.4127 | 139.2207 | 2.5407 | 133.6887 | 25.0733 | 880 | 69.7553 | 2.048
2020-06-10 20:30:00 | 1.9087 | 132.0133 | 1.9773 | 136.628 | 2.2147 | 129.108 | 2.2573 | 137.324 | 24.98 | 880 | 71.2053 | 0.96867
2020-06-10 20:45:00 | 1.736 | 144.56 | 1.776 | 141.758 | 2.022 | 141.3813 | 2.0173 | 142.4827 | 24.94 | 880 | 72.1193 | 0.80867
2020-06-10 21:00:00 | 1.864 | 139.6 | 1.9007 | 131.8353 | 2.0113 | 136.528 | 2.04 | 132.5067 | 24.9533 | 880 | 72.5487 | 0.94733
2020-06-10 21:15:00 | 1.5993 | 136.1533 | 1.656 | 126.8473 | 1.7353 | 133.1573 | 1.8053 | 127.4953 | 24.9333 | 880 | 73.328 | 0
2020-06-10 21:30:00 | 1.66 | 123.3133 | 1.7633 | 116.76 | 1.7393 | 120.6 | 1.9133 | 117.358 | 24.8733 | 880 | 74.224 | 0
2020-06-10 21:45:00 | 1.7907 | 120.3667 | 1.944 | 124.63 | 2.0687 | 117.7173 | 2.2773 | 125.268 | 24.7467 | 880 | 75.0053 | 0.39
2020-06-10 22:00:00 | 2.052 | 125.4133 | 2.1287 | 138.172 | 2.3167 | 122.654 | 2.3913 | 138.8787 | 24.52 | 880.3333 | 74.6573 | 1.0707
2020-06-10 22:15:00 | 2.6113 | 124.6667 | 2.7093 | 126.4547 | 2.7747 | 121.9233 | 2.914 | 127.102 | 24.16 | 881 | 74.8393 | 2.0333
2020-06-10 22:30:00 | 2.446 | 131.4667 | 2.574 | 123.8553 | 2.7067 | 128.574 | 2.87 | 124.4847 | 24.08 | 881 | 76.374 | 2.0173
2020-06-10 22:45:00 | 2.4667 | 132.7333 | 2.5253 | 123.5467 | 2.79 | 129.8133 | 2.808 | 124.18 | 24.04 | 881 | 77.0507 | 2.8847
2020-06-10 23:00:00 | 2.3887 | 122.9133 | 2.4987 | 121.4613 | 2.5687 | 120.2093 | 2.7267 | 122.082 | 23.98 | 881 | 77.8027 | 1.9967
2020-06-10 23:15:00 | 2.0327 | 127.78 | 2.1607 | 128.626 | 2.1 | 124.9687 | 2.322 | 129.284 | 23.92 | 881 | 78.1893 | 0.79333
2020-06-10 23:30:00 | 2.1667 | 126.4333 | 2.3433 | 120.3207 | 2.3573 | 123.6533 | 2.638 | 120.934 | 23.6467 | 881 | 78.7253 | 0.606
2020-06-10 23:45:00 | 1.808 | 127.9333 | 1.886 | 132.2113 | 2.1273 | 125.1187 | 2.186 | 132.8887 | 23.54 | 881 | 78.85 | 0.11667