## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-11 00:00:00 | 1.532 | 120.4933 | 1.6173 | 120.288 | 1.842 | 117.8427 | 1.916 | 120.902 | 23.4867 | 881 | 78.6527 | 0.16267
2020-06-11 00:15:00 | 1.1547 | 124.98 | 1.2953 | 137.9433 | 1.356 | 122.2307 | 1.5633 | 138.6493 | 23.5067 | 881 | 79.996 | 0.54867
2020-06-11 00:30:00 | 1.2107 | 115.7333 | 1.3487 | 111.7793 | 1.39 | 113.188 | 1.6007 | 112.3493 | 23.4267 | 881 | 80.0827 | 0.278
2020-06-11 00:45:00 | 1.6827 | 102.6333 | 1.8307 | 82.0807 | 1.7 | 99.6767 | 1.9947 | 82.5 | 23.2867 | 880.3333 | 81.16 | 0
2020-06-11 01:00:00 | 1.2687 | 126.3333 | 1.304 | 74.6473 | 1.314 | 123.5533 | 1.37 | 75.03 | 23.2867 | 880 | 81.6733 | 0
2020-06-11 01:15:00 | 1.2767 | 163.1133 | 1.262 | 149.934 | 1.5607 | 159.5253 | 1.4553 | 150.6993 | 22.9933 | 880 | 82.6067 | 0
2020-06-11 01:30:00 | 2.1293 | 267.8667 | 2.1413 | 317.3407 | 2.7633 | 261.974 | 2.6053 | 318.964 | 22.42 | 880 | 83.8267 | 0
2020-06-11 01:45:00 | 2.6087 | 307.6533 | 2.83 | 315.406 | 3.3593 | 300.8853 | 3.5613 | 317.0167 | 22.16 | 880 | 84.7067 | 0.36714
2020-06-11 02:00:00 | 2.242 | 305.7 | 2.2787 | 303.4093 | 2.8007 | 298.974 | 2.7133 | 304.9607 | 22.3933 | 880 | 86.2333 | 0.17933
2020-06-11 02:15:00 | 2.096 | 258.0933 | 2.0667 | 313.99 | 2.6007 | 252.4167 | 2.4027 | 315.594 | 21.9333 | 880 | 88.32 | 0.15467
2020-06-11 02:30:00 | 3.156 | 332.74 | 3.2847 | 333.0407 | 4.2493 | 325.4193 | 4.174 | 334.7433 | 21.36 | 880 | 90.7467 | 2.5387
2020-06-11 02:45:00 | 3.3247 | 314.8933 | 3.464 | 335.7293 | 4.492 | 307.966 | 4.4167 | 337.4433 | 21.2067 | 880 | 93.8333 | 4.4167
2020-06-11 03:00:00 | 3.344 | 331.0333 | 3.4513 | 324.546 | 4.5533 | 323.7493 | 4.4047 | 326.2047 | 21.2 | 880 | 95.8933 | 3.74
2020-06-11 03:15:00 | 2.682 | 333.8133 | 2.7573 | 319.7213 | 3.7553 | 326.47 | 3.584 | 321.3547 | 21.1133 | 880 | 96.5667 | 1.72
2020-06-11 03:30:00 | 2.978 | 266.1533 | 3.1047 | 314.91 | 4.116 | 260.2993 | 4.0253 | 316.52 | 21.2533 | 879 | 96.0867 | 2.4913
2020-06-11 03:45:00 | 3.2993 | 338.0933 | 3.4593 | 317.2573 | 4.3487 | 331.0727 | 4.352 | 318.878 | 20.9133 | 879 | 95.9733 | 4.08
2020-06-11 04:00:00 | 2.844 | 329.0533 | 2.8327 | 320.882 | 3.7267 | 321.8147 | 3.4527 | 322.522 | 20.8 | 879 | 95.6867 | 2.6287
2020-06-11 04:15:00 | 2.048 | 194.3067 | 2.0213 | 330.694 | 2.6313 | 190.0307 | 2.4093 | 332.3853 | 20.6867 | 879 | 95.1667 | 0.42667
2020-06-11 04:30:00 | 1.7493 | 76.46 | 1.7713 | 58.1727 | 2.0113 | 74.7787 | 1.9787 | 58.4693 | 21.0667 | 878.6667 | 95.3667 | 0
2020-06-11 04:45:00 | 1.4587 | 101.9933 | 1.432 | 321.266 | 1.7347 | 99.7493 | 1.6047 | 322.91 | 20.74 | 878 | 95.3933 | 0
2020-06-11 05:00:00 | 1.464 | 203.14 | 1.478 | 309.6487 | 2.1293 | 198.6713 | 1.9647 | 311.23 | 21.1067 | 878 | 95.44 | 0
2020-06-11 05:15:00 | 1.4347 | 276.1333 | 1.398 | 325.6347 | 2.1227 | 270.0593 | 1.856 | 327.2993 | 21.14 | 878 | 95.32 | 0
2020-06-11 05:30:00 | 2.2133 | 319.2 | 2.1993 | 317.0093 | 2.964 | 312.1767 | 2.7213 | 318.6307 | 21.04 | 878 | 95.94 | 0.16333
2020-06-11 05:45:00 | 3.29 | 314.52 | 3.38 | 315.3133 | 4.4433 | 307.6 | 4.2827 | 316.9253 | 20.56 | 878 | 97.1667 | 3.9213
2020-06-11 06:00:00 | 3.7387 | 331.5733 | 3.9087 | 333.0213 | 5.0333 | 324.278 | 4.978 | 334.7233 | 20.3533 | 878 | 97.7267 | 6.0573
2020-06-11 06:15:00 | 1.616 | 126.4 | 1.6587 | 130.236 | 2.8847 | 123.6187 | 2.5993 | 130.9027 | 8.1867 | 878 | 97.74 | 2.6687
2020-06-11 06:30:00 | 0.66333 | 0 | 0.70067 | 0 | 1.8653 | 0 | 1.5847 | 0 | 0 | 878 | 97.6 | 2.3753
2020-06-11 06:45:00 | 0.78733 | 0 | 0.83133 | 0 | 2.2133 | 0 | 1.8807 | 0 | 0 | 878 | 97.9333 | 1.952
2020-06-11 07:00:00 | 0.81 | 0 | 0.85533 | 0 | 2.278 | 0 | 1.9353 | 0 | 0 | 878 | 98.0667 | 3.6047
2020-06-11 07:15:00 | 0.99667 | 0 | 1.0533 | 0 | 2.8033 | 0 | 2.3807 | 0 | 0 | 878.6667 | 98.1867 | 4.7693
2020-06-11 07:30:00 | 0.89267 | 0 | 0.94133 | 0 | 2.5067 | 0 | 2.1313 | 0 | 0 | 879 | 98.4933 | 3.0293
2020-06-11 07:45:00 | 0.80133 | 0 | 0.84667 | 0 | 2.2553 | 0 | 1.9147 | 0 | 0 | 879 | 98.7067 | 1.938
2020-06-11 08:00:00 | 0.81667 | 0 | 0.86333 | 0 | 2.298 | 0 | 1.9513 | 0 | 0 | 879 | 99.22 | 2.0607
2020-06-11 08:15:00 | 0.99667 | 0 | 1.0533 | 0 | 2.8047 | 0 | 2.382 | 0 | 0 | 879 | 99.6067 | 5.058
2020-06-11 08:30:00 | 1.1313 | 0 | 1.196 | 0 | 3.1807 | 0 | 2.7033 | 0 | 0 | 879 | 99.9333 | 7.6073
2020-06-11 08:45:00 | 1.1227 | 0 | 1.186 | 0 | 3.1553 | 0 | 2.6813 | 0 | 0 | 879 | 100 | 8.3407
2020-06-11 09:00:00 | 1.056 | 0 | 1.1153 | 0 | 2.972 | 0 | 2.5227 | 0 | 0 | 879 | 100 | 6.5707
2020-06-11 09:15:00 | 1.1887 | 0 | 1.2553 | 0 | 3.3413 | 0 | 2.8393 | 0 | 0 | 879 | 100 | 10.0547
2020-06-11 09:30:00 | 1.298 | 0 | 1.368 | 0 | 3.6473 | 0 | 3.0993 | 0 | 0 | 879 | 100 | 16.99
2020-06-11 09:45:00 | 1.254 | 0 | 1.322 | 0 | 3.526 | 0 | 2.9953 | 0 | 0 | 879 | 100 | 15.3593
2020-06-11 10:00:00 | 1.1927 | 0 | 1.2593 | 0 | 3.356 | 0 | 2.85 | 0 | 0 | 879 | 100 | 9.3593
2020-06-11 10:15:00 | 1.008 | 0 | 1.0653 | 0 | 2.836 | 0 | 2.408 | 0 | 0 | 879 | 100 | 8.1373
2020-06-11 10:30:00 | 1.0727 | 0 | 1.132 | 0 | 3.016 | 0 | 2.562 | 0 | 0 | 879 | 100 | 7.0373
2020-06-11 10:45:00 | 1.082 | 0 | 1.144 | 0 | 3.042 | 0 | 2.5847 | 0 | 0 | 879 | 100 | 9.1327
2020-06-11 11:00:00 | 1.1127 | 0 | 1.174 | 0 | 3.1267 | 0 | 2.6567 | 0 | 0 | 879 | 100 | 9.0087
2020-06-11 11:15:00 | 1.184 | 0 | 1.25 | 0 | 3.3273 | 0 | 2.828 | 0 | 0 | 879 | 100 | 9.116
2020-06-11 11:30:00 | 1.0833 | 0 | 1.1433 | 0 | 3.0447 | 0 | 2.5873 | 0 | 0 | 879 | 100 | 8.0473
2020-06-11 11:45:00 | 0.928 | 0 | 0.97867 | 0 | 2.6087 | 0 | 2.216 | 0 | 0 | 879 | 100 | 6.2453
2020-06-11 12:00:00 | 1.0487 | 0 | 1.1067 | 0 | 2.9487 | 0 | 2.5047 | 0 | 0 | 879 | 100 | 7.2667
2020-06-11 12:15:00 | 0.98933 | 0 | 1.0453 | 0 | 2.784 | 0 | 2.364 | 0 | 0 | 879 | 100 | 7.162
2020-06-11 12:30:00 | 0.96067 | 0 | 1.014 | 0 | 2.7047 | 0 | 2.2953 | 0 | 0 | 879 | 100 | 7.268
2020-06-11 12:45:00 | 0.89733 | 0 | 0.946 | 0 | 2.5193 | 0 | 2.1413 | 0 | 0 | 879 | 100 | 6.62
2020-06-11 13:00:00 | 0.92067 | 0 | 0.97267 | 0 | 2.5907 | 0 | 2.2007 | 0 | 0 | 879 | 100 | 6.4753
2020-06-11 13:15:00 | 0.93067 | 0 | 0.98067 | 0 | 2.6167 | 0 | 2.2227 | 0 | 0 | 879 | 100 | 7.6773
2020-06-11 13:30:00 | 0.97067 | 0 | 1.0247 | 0 | 2.7287 | 0 | 2.3187 | 0 | 0 | 879 | 100 | 9.054
2020-06-11 13:45:00 | 1.1873 | 0 | 1.2527 | 0 | 3.336 | 0 | 2.8353 | 0 | 0 | 879 | 99.96 | 13.7787
2020-06-11 14:00:00 | 1.166 | 0 | 1.2307 | 0 | 3.2793 | 0 | 2.786 | 0 | 0 | 879 | 98.8667 | 18.0607
2020-06-11 14:15:00 | 1.006 | 0 | 1.0607 | 0 | 2.8293 | 0 | 2.4033 | 0 | 0 | 879 | 96.8267 | 17.526
2020-06-11 14:30:00 | 1.086 | 0 | 1.146 | 0 | 3.054 | 0 | 2.594 | 0 | 0 | 879 | 95.56 | 19.0973
2020-06-11 14:45:00 | 1.1073 | 0 | 1.1693 | 0 | 3.1193 | 0 | 2.6473 | 0 | 0 | 879 | 93.0733 | 16.5247
2020-06-11 15:00:00 | 1.0313 | 0 | 1.088 | 0 | 2.8993 | 0 | 2.4633 | 0 | 0 | 879 | 89.66 | 13.34
2020-06-11 15:15:00 | 4.2773 | 270.64 | 4.5193 | 290.2 | 5.3267 | 264.6847 | 5.48 | 291.682 | 20.46 | 879.6667 | 86.26 | 12.126
2020-06-11 15:30:00 | 4.4613 | 252.76 | 4.6013 | 329.202 | 5.196 | 247.1993 | 5.25 | 330.8853 | 23.54 | 880 | 84.7933 | 13.566
2020-06-11 15:45:00 | 4.5933 | 313.92 | 4.8633 | 309.034 | 5.5667 | 307.0133 | 5.7973 | 310.616 | 23.8533 | 880 | 83.1333 | 13.184
2020-06-11 16:00:00 | 5.0013 | 272.78 | 5.254 | 312.262 | 5.7573 | 266.7793 | 6.0193 | 313.8593 | 23.7467 | 879.6667 | 84.2067 | 15.9193
2020-06-11 16:15:00 | 5.0373 | 332.7667 | 5.4947 | 312.9007 | 5.8833 | 325.4453 | 6.5033 | 314.5007 | 23.7467 | 879 | 84.8933 | 21.148
2020-06-11 16:30:00 | 5.1067 | 335.5667 | 5.498 | 308.748 | 6.0547 | 328.1833 | 6.5187 | 310.3273 | 23.7933 | 879 | 85.3467 | 20.988
2020-06-11 16:45:00 | 4.9173 | 341.5533 | 5.3013 | 198.834 | 5.922 | 334.0393 | 6.3607 | 199.8493 | 23.78 | 879 | 86.8467 | 21.7773
2020-06-11 17:00:00 | 5.324 | 295.2067 | 5.5847 | 271.578 | 6.3313 | 288.7127 | 6.5327 | 272.966 | 23.7 | 879 | 86.9933 | 22.1887
2020-06-11 17:15:00 | 4.9313 | 318.84 | 5.2493 | 316.6567 | 5.8187 | 312.2233 | 6.168 | 318.2753 | 23.6533 | 879 | 86.8067 | 21.8887
2020-06-11 17:30:00 | 4.682 | 338.7933 | 4.9893 | 246.8347 | 5.4993 | 331.3407 | 5.8453 | 248.096 | 23.34 | 878.7333 | 87.68 | 19.8927
2020-06-11 17:45:00 | 4.7367 | 338.2333 | 5.02 | 330.232 | 5.7007 | 330.022 | 5.9527 | 331.92 | 23.3 | 878 | 87.9467 | 21.68
2020-06-11 18:00:00 | 5.0533 | 340.5 | 5.3807 | 306.2693 | 5.99 | 333.0093 | 6.3373 | 307.8353 | 23.28 | 878 | 88.2067 | 24.9873
2020-06-11 18:15:00 | 5.5 | 340.6667 | 5.9013 | 328.0273 | 6.5473 | 333.172 | 7.0047 | 329.7047 | 23.1867 | 878 | 89.06 | 30.3953
2020-06-11 18:30:00 | 5.8313 | 321.1733 | 6.3213 | 328.954 | 6.984 | 314.7467 | 7.598 | 330.634 | 23.1133 | 878 | 89.94 | 37.122
2020-06-11 18:45:00 | 6.6867 | 282.02 | 7.208 | 334.8867 | 8.2673 | 275.816 | 8.7973 | 336.6 | 23.0867 | 878 | 89.5133 | 40.9047
2020-06-11 19:00:00 | 7.4307 | 327.5467 | 7.962 | 313.018 | 9.038 | 320.3407 | 9.5813 | 314.6193 | 23.16 | 877.7333 | 88.8067 | 47.8893
2020-06-11 19:15:00 | 7.4453 | 256.2533 | 7.8767 | 334.9387 | 9.068 | 250.6167 | 9.4187 | 336.6507 | 23.1667 | 877.6 | 88.8 | 49.0833
2020-06-11 19:30:00 | 6.9947 | 280.4267 | 7.338 | 336.0207 | 8.374 | 274.258 | 8.626 | 337.738 | 23.2 | 877.3333 | 88.5533 | 45.8347
2020-06-11 19:45:00 | 7.1207 | 192.0067 | 7.576 | 291.8207 | 8.7653 | 187.7813 | 9.1473 | 293.3127 | 23.1733 | 878 | 87.78 | 43.5353
2020-06-11 20:00:00 | 6.4667 | 283.0667 | 6.948 | 304.1907 | 7.9527 | 276.8393 | 8.4333 | 305.746 | 23.0267 | 878 | 87.16 | 39.6927
2020-06-11 20:15:00 | 6.38 | 282.1067 | 6.7553 | 307.6467 | 7.6267 | 275.9007 | 7.9787 | 309.2193 | 22.98 | 878 | 87.66 | 39.3527
2020-06-11 20:30:00 | 6.0613 | 254.76 | 6.3773 | 323.262 | 6.99 | 250.198 | 7.3107 | 324.9147 | 22.84 | 878 | 87.8333 | 40.9867
2020-06-11 20:45:00 | 6.3833 | 296.8267 | 6.6487 | 320.022 | 7.27 | 290.2967 | 7.5187 | 321.6573 | 22.72 | 878 | 86.7533 | 41.9933
2020-06-11 21:00:00 | 7.0033 | 315.52 | 7.3213 | 322.858 | 8.2213 | 308.578 | 8.474 | 324.508 | 22.7 | 878 | 85.98 | 44.4133
2020-06-11 21:15:00 | 6.98 | 297.34 | 7.254 | 307.4367 | 8.1747 | 290.7987 | 8.3507 | 309.0093 | 22.6733 | 878 | 87.0467 | 45.23
2020-06-11 21:30:00 | 5.938 | 297.88 | 6.2413 | 322.2107 | 6.2793 | 291.328 | 6.756 | 323.8593 | 22.48 | 878 | 85.9733 | 40.2433
2020-06-11 21:45:00 | 5.9933 | 317.0333 | 6.34 | 322.426 | 6.6207 | 310.0587 | 7.0993 | 324.0753 | 22.3867 | 878 | 85.2533 | 40.1893
2020-06-11 22:00:00 | 6.2993 | 318.0667 | 6.7033 | 321.84 | 6.9693 | 311.068 | 7.5407 | 323.4847 | 22.3267 | 878.9333 | 85.8667 | 42.444
2020-06-11 22:15:00 | 6.426 | 339.52 | 6.7493 | 323.1247 | 7.2587 | 332.0513 | 7.6347 | 324.776 | 22.4533 | 879 | 84.74 | 43.604
2020-06-11 22:30:00 | 6.6193 | 322.5733 | 7.0333 | 324.9173 | 7.3147 | 315.4787 | 7.9053 | 326.5793 | 22.4267 | 879 | 85.9467 | 44.7533
2020-06-11 22:45:00 | 6.4087 | 317.4267 | 6.7847 | 328.0873 | 7.2813 | 310.4433 | 7.7393 | 329.7633 | 22.32 | 879 | 87.0733 | 41.442
2020-06-11 23:00:00 | 6.1473 | 340.4733 | 6.462 | 327.878 | 6.8153 | 332.9847 | 7.2227 | 329.5533 | 22.36 | 879 | 87.0467 | 38.68
2020-06-11 23:15:00 | 5.862 | 315.0533 | 6.1513 | 325.0887 | 6.364 | 308.1233 | 6.772 | 326.75 | 22.5267 | 879 | 87.7133 | 32.66
2020-06-11 23:30:00 | 5.8733 | 341.9067 | 6.1833 | 326.5807 | 6.348 | 334.3847 | 6.7987 | 328.2493 | 22.5267 | 879 | 88.9467 | 32.656
2020-06-11 23:45:00 | 6.2473 | 340.92 | 6.5647 | 332.2267 | 6.87 | 333.4187 | 7.2973 | 333.9253 | 22.4533 | 879 | 89.1867 | 37.1913