## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-12 00:00:00 | 6.5493 | 344.2533 | 6.926 | 331.3327 | 7.4547 | 336.6807 | 7.9093 | 333.0273 | 22.2667 | 879 | 90.2667 | 40.1753
2020-06-12 00:15:00 | 6.632 | 341.64 | 6.9827 | 327.8187 | 7.448 | 334.1233 | 7.878 | 329.496 | 22.1133 | 878.4 | 91.4667 | 41.6953
2020-06-12 00:30:00 | 6.5113 | 335.5667 | 6.8713 | 329.0387 | 7.184 | 328.1833 | 7.6767 | 330.7207 | 22.1333 | 878 | 91.5467 | 39.4613
2020-06-12 00:45:00 | 6.4967 | 338.0333 | 6.878 | 326.8467 | 7.2933 | 330.5967 | 7.786 | 328.5193 | 22.2333 | 878 | 90.8267 | 37.7733
2020-06-12 01:00:00 | 6.4967 | 340.68 | 6.8867 | 324.3567 | 7.33 | 333.1847 | 7.83 | 326.0153 | 22.16 | 878 | 89.5 | 40.0213
2020-06-12 01:15:00 | 6.8207 | 343.8467 | 7.278 | 330.6293 | 7.5813 | 336.282 | 8.2293 | 332.3193 | 22.26 | 878 | 89.6267 | 41.6747
2020-06-12 01:30:00 | 7.0793 | 343.6133 | 7.5593 | 324.4287 | 8.044 | 336.054 | 8.678 | 326.088 | 22.2067 | 878 | 90.34 | 42.1273
2020-06-12 01:45:00 | 7.0433 | 336.7267 | 7.4853 | 325.094 | 8.2353 | 329.3193 | 8.7307 | 326.7553 | 22.16 | 878 | 90.9267 | 42.9593
2020-06-12 02:00:00 | 7.3887 | 343.6867 | 7.8753 | 331.0527 | 8.5633 | 336.1247 | 9.148 | 332.7453 | 22.1333 | 878 | 91.0733 | 44.9173
2020-06-12 02:15:00 | 7.5493 | 320.1867 | 8.1053 | 331.3133 | 8.7227 | 313.1433 | 9.4353 | 333.008 | 22.08 | 878 | 91.54 | 46.3687
2020-06-12 02:30:00 | 7.5173 | 345.7267 | 8.064 | 327.056 | 8.6753 | 338.12 | 9.374 | 328.7293 | 22.0467 | 877.3333 | 89.4933 | 47.3367
2020-06-12 02:45:00 | 6.766 | 320.6333 | 7.1707 | 335.8133 | 7.5327 | 313.58 | 8.0807 | 337.53 | 22.0133 | 877.4 | 88.2533 | 48.1833
2020-06-12 03:00:00 | 6.6173 | 323.4533 | 7.0887 | 326.742 | 7.554 | 316.3373 | 8.1767 | 328.414 | 21.9 | 877.2667 | 88.82 | 45.7273
2020-06-12 03:15:00 | 6.6733 | 317.5933 | 7.0487 | 326.9913 | 7.562 | 310.6053 | 8.0187 | 328.664 | 21.8333 | 877.4 | 89.5667 | 43.8187
2020-06-12 03:30:00 | 7.1253 | 344.1333 | 7.494 | 334.2933 | 8.4233 | 336.562 | 8.75 | 336.0027 | 22.0067 | 877 | 89.68 | 44.4333
2020-06-12 03:45:00 | 7.2687 | 348.9333 | 7.6893 | 335.2053 | 8.354 | 341.2573 | 8.8407 | 336.9193 | 22.1333 | 877 | 89.9867 | 45.0893
2020-06-12 04:00:00 | 7.0827 | 302.7867 | 7.5027 | 334.4833 | 8.2507 | 296.1233 | 8.708 | 336.1927 | 22.0467 | 877.9333 | 89.3667 | 45.3327
2020-06-12 04:15:00 | 6.7893 | 256.36 | 7.144 | 335.3167 | 7.544 | 250.7207 | 8.0013 | 337.0313 | 21.98 | 877.4 | 89.8733 | 46.958
2020-06-12 04:30:00 | 6.9927 | 342.4 | 7.4507 | 331.0007 | 7.9473 | 334.866 | 8.54 | 332.694 | 21.9533 | 877.6667 | 89.7533 | 47.8413
2020-06-12 04:45:00 | 7.0833 | 344 | 7.5513 | 329.2127 | 8.2993 | 336.4333 | 8.836 | 330.8967 | 21.86 | 877 | 89.8667 | 45.3787
2020-06-12 05:00:00 | 6.8233 | 321.4467 | 7.258 | 330.5827 | 7.942 | 314.3747 | 8.4447 | 332.2747 | 21.7733 | 877 | 89.2667 | 44.1127
2020-06-12 05:15:00 | 7.0773 | 344.5533 | 7.516 | 310.9267 | 8.388 | 336.9733 | 8.846 | 312.516 | 21.7533 | 877 | 89.58 | 44.6507
2020-06-12 05:30:00 | 7.4627 | 326.7067 | 7.9467 | 335.696 | 8.9813 | 319.5187 | 9.4547 | 337.412 | 21.84 | 877 | 90.4733 | 48.016
2020-06-12 05:45:00 | 6.9013 | 349.8333 | 7.3653 | 329.0507 | 8.2473 | 342.1367 | 8.7393 | 330.7327 | 21.5667 | 877 | 91.4667 | 44.4527
2020-06-12 06:00:00 | 6.2827 | 345.3067 | 6.6173 | 326.6773 | 7.346 | 337.7093 | 7.674 | 328.3487 | 21.6267 | 877 | 91.3667 | 36.9533
2020-06-12 06:15:00 | 6.7173 | 273.36 | 7.0447 | 331.17 | 7.804 | 267.346 | 8.1133 | 332.8627 | 21.84 | 877 | 90.7067 | 46.6727
2020-06-12 06:30:00 | 7.1227 | 316.8267 | 7.542 | 331.602 | 8.2793 | 309.8553 | 8.7427 | 333.2967 | 21.74 | 877 | 90.2333 | 50.6693
2020-06-12 06:45:00 | 7.792 | 344.66 | 8.2987 | 329.514 | 9.114 | 337.0787 | 9.6907 | 331.1987 | 21.9333 | 877 | 89.38 | 51.416
2020-06-12 07:00:00 | 7.5413 | 341.74 | 8.002 | 329.0773 | 8.858 | 334.222 | 9.352 | 330.76 | 22.0733 | 877.2667 | 85.5 | 49.3993
2020-06-12 07:15:00 | 7.1787 | 342.4133 | 7.5993 | 328.8687 | 8.692 | 334.8813 | 9.0513 | 330.5487 | 22.1933 | 878 | 82.1333 | 46.65
2020-06-12 07:30:00 | 6.888 | 321.8667 | 7.2473 | 307.3393 | 8.2653 | 314.7853 | 8.55 | 308.912 | 22.2133 | 878.9333 | 80.0587 | 41.1367
2020-06-12 07:45:00 | 5.7187 | 279.2 | 6.0133 | 284.0187 | 6.8553 | 273.058 | 7.0887 | 285.47 | 22.24 | 879.6 | 78.572 | 33.2587
2020-06-12 08:00:00 | 4.664 | 231.4133 | 4.8027 | 330.9087 | 5.266 | 226.3227 | 5.356 | 332.6 | 21.9333 | 880 | 82.946 | 22.3753
2020-06-12 08:15:00 | 4.1293 | 234.22 | 4.3413 | 321.0447 | 4.8433 | 229.0667 | 5.038 | 322.686 | 21.9933 | 880 | 84.88 | 14.686
2020-06-12 08:30:00 | 4.3693 | 302.7533 | 4.5733 | 323.3313 | 4.878 | 296.0927 | 5.118 | 324.9853 | 22.2333 | 880 | 82 | 17.2907
2020-06-12 08:45:00 | 4.7867 | 345.0867 | 5.1093 | 330.2833 | 5.4587 | 337.4947 | 5.8793 | 331.9727 | 22.4733 | 880 | 81.8933 | 22.064
2020-06-12 09:00:00 | 5.542 | 341.8533 | 5.848 | 329.2607 | 6.1507 | 334.332 | 6.5593 | 330.9433 | 22.5333 | 879.7333 | 80.96 | 30.122
2020-06-12 09:15:00 | 5.1913 | 302.68 | 5.5753 | 308.3753 | 6.0067 | 296.02 | 6.498 | 309.952 | 22.5933 | 879.6 | 81.5133 | 28.3993
2020-06-12 09:30:00 | 5.4027 | 342.12 | 5.9073 | 333.458 | 6.1947 | 334.592 | 6.9213 | 335.1627 | 22.5133 | 879.7333 | 83.4267 | 29.2393
2020-06-12 09:45:00 | 5.6973 | 343.0867 | 6.2367 | 311.7807 | 6.756 | 335.538 | 7.4727 | 313.3747 | 22.6533 | 879 | 84.7867 | 30.834
2020-06-12 10:00:00 | 5.468 | 345.14 | 5.9533 | 335.9427 | 5.9887 | 337.5467 | 6.754 | 337.6613 | 22.7867 | 879 | 84.1733 | 28.6453
2020-06-12 10:15:00 | 4.8253 | 343.4133 | 5.3567 | 266.458 | 5.52 | 335.8587 | 6.3213 | 267.8207 | 22.6933 | 879 | 82.2133 | 22.6413
2020-06-12 10:30:00 | 4.9967 | 348.58 | 5.5033 | 328.6793 | 5.8307 | 340.9107 | 6.5493 | 330.3593 | 22.6933 | 879 | 82.1067 | 21.488
2020-06-12 10:45:00 | 4.8107 | 303.2667 | 5.3073 | 307.9653 | 5.8187 | 296.594 | 6.4707 | 309.5407 | 22.7267 | 879 | 82.5533 | 19.126
2020-06-12 11:00:00 | 5.0727 | 329.82 | 5.5407 | 292.214 | 5.8147 | 322.5633 | 6.4873 | 293.7073 | 22.7667 | 879 | 82.5467 | 21.6607
2020-06-12 11:15:00 | 5.5173 | 282.3333 | 5.986 | 320.1907 | 6.31 | 276.1213 | 6.966 | 321.8273 | 22.8333 | 879 | 83.64 | 25.9353
2020-06-12 11:30:00 | 5.5747 | 303.9533 | 6.032 | 337.2473 | 6.2647 | 297.266 | 6.9367 | 338.9713 | 22.9533 | 879 | 84.4467 | 25.1973
2020-06-12 11:45:00 | 5.552 | 305.22 | 6.0587 | 331.28 | 6.3973 | 298.506 | 7.1153 | 332.9747 | 23.0333 | 879 | 83.0067 | 23.5893
2020-06-12 12:00:00 | 5.566 | 344.3667 | 6.0793 | 323.98 | 6.328 | 336.79 | 7.082 | 325.6353 | 23.1133 | 879 | 81.22 | 22.8827
2020-06-12 12:15:00 | 5.666 | 348.3267 | 6.1927 | 329.5587 | 6.8307 | 340.6633 | 7.49 | 331.2447 | 23.24 | 879 | 81.0933 | 25.624
2020-06-12 12:30:00 | 5.3533 | 341.1 | 5.8093 | 334.2933 | 6.1907 | 333.5947 | 6.8107 | 336.002 | 23.3467 | 879 | 79.76 | 24.6613
2020-06-12 12:45:00 | 4.7387 | 320.42 | 5.2007 | 328.9407 | 5.49 | 313.37 | 6.148 | 330.6207 | 23.3533 | 879 | 80.2133 | 18.9893
2020-06-12 13:00:00 | 4.8867 | 341.48 | 5.3573 | 327.5273 | 5.672 | 333.9673 | 6.3327 | 329.2013 | 23.4067 | 879 | 79.2633 | 19.8393
2020-06-12 13:15:00 | 4.8867 | 348.5 | 5.3707 | 290.974 | 5.6947 | 340.8313 | 6.3753 | 292.4613 | 23.5067 | 879 | 80.5467 | 21.9267
2020-06-12 13:30:00 | 4.5007 | 326.6133 | 4.936 | 292.4747 | 5.098 | 319.2527 | 5.7373 | 293.9687 | 23.82 | 879 | 79.1287 | 18.7753
2020-06-12 13:45:00 | 4.9847 | 344.8867 | 5.4027 | 291.7107 | 5.714 | 337.3 | 6.2927 | 293.2027 | 24.3467 | 879 | 76.1527 | 18.9567
2020-06-12 14:00:00 | 4.7973 | 277.5867 | 5.2693 | 287.278 | 5.4987 | 271.4787 | 6.1907 | 288.7473 | 24.8133 | 879 | 71.8073 | 22.3987
2020-06-12 14:15:00 | 4.3847 | 298.9933 | 4.8387 | 183.2853 | 5.1233 | 292.416 | 5.768 | 184.2213 | 25.6 | 879 | 68.8593 | 20.0773
2020-06-12 14:30:00 | 4.886 | 321.4933 | 5.308 | 222.6 | 5.8587 | 314.4207 | 6.3747 | 223.738 | 26.08 | 879 | 65.428 | 25.2713
2020-06-12 14:45:00 | 5.02 | 253.92 | 5.3673 | 247.434 | 5.8767 | 248.3333 | 6.2873 | 248.698 | 26.46 | 879 | 59.5587 | 28.5667
2020-06-12 15:00:00 | 4.8787 | 256.48 | 5.2473 | 243.2147 | 5.8873 | 250.8367 | 6.2947 | 244.4587 | 26.7933 | 879 | 58.2673 | 24.5747
2020-06-12 15:15:00 | 4.932 | 261.9133 | 5.376 | 162.0947 | 6.0513 | 256.1527 | 6.5673 | 162.9227 | 27.0267 | 879 | 58.0253 | 26.73
2020-06-12 15:30:00 | 4.9073 | 257.9733 | 5.2713 | 187.3573 | 5.8513 | 252.2967 | 6.2653 | 188.3167 | 26.7933 | 879 | 57.7607 | 28.3827
2020-06-12 15:45:00 | 5.516 | 256.6933 | 5.9067 | 228.0493 | 6.6213 | 251.0467 | 7.044 | 229.216 | 27.2467 | 879 | 55.858 | 30.4287
2020-06-12 16:00:00 | 5.0687 | 319.4 | 5.418 | 142.5287 | 6.092 | 312.3727 | 6.458 | 143.256 | 27.3667 | 879 | 52.844 | 26.6647
2020-06-12 16:15:00 | 5.014 | 340.9133 | 5.2953 | 314.544 | 5.9 | 333.414 | 6.178 | 316.1533 | 27.52 | 879 | 50.4433 | 23.696
2020-06-12 16:30:00 | 4.394 | 337.1067 | 4.6273 | 283.8613 | 4.9067 | 329.69 | 5.2027 | 285.3133 | 27.7733 | 879 | 51.892 | 19.3067
2020-06-12 16:45:00 | 4.556 | 315.24 | 4.732 | 322.804 | 5.116 | 308.304 | 5.2893 | 324.456 | 27.56 | 879 | 51.596 | 19.4367
2020-06-12 17:00:00 | 4.4773 | 342.5467 | 4.6853 | 324.3507 | 5.0347 | 335.0107 | 5.2707 | 326.01 | 27.52 | 879 | 53.1407 | 22.1427
2020-06-12 17:15:00 | 4.4473 | 289.0267 | 4.6913 | 296.4113 | 5.238 | 282.6673 | 5.4747 | 297.9273 | 27.5533 | 879 | 54.2753 | 19.3333
2020-06-12 17:30:00 | 4.4493 | 326.9533 | 4.718 | 283.3067 | 5.102 | 319.76 | 5.4213 | 284.756 | 27.4933 | 879 | 54.51 | 18.256
2020-06-12 17:45:00 | 4.5833 | 307.78 | 4.7753 | 326.8673 | 5.286 | 301.0093 | 5.446 | 328.5393 | 27.3067 | 879 | 54.3473 | 17.4073
2020-06-12 18:00:00 | 4.3953 | 318.22 | 4.6607 | 306.7467 | 5.07 | 311.2187 | 5.3767 | 308.3147 | 27.26 | 879 | 56.1813 | 17.088
2020-06-12 18:15:00 | 4.7447 | 273.3467 | 5.034 | 330.6807 | 5.384 | 267.3313 | 5.7507 | 332.3727 | 27.2133 | 879 | 56.77 | 22.8827
2020-06-12 18:30:00 | 4.0893 | 252.88 | 4.4147 | 333.25 | 4.7347 | 247.3167 | 5.1653 | 334.9547 | 27.16 | 879 | 58.9987 | 20.2607
2020-06-12 18:45:00 | 4.452 | 338.4467 | 4.7307 | 316.8973 | 4.8033 | 331.0013 | 5.23 | 318.5187 | 26.86 | 879 | 59.4873 | 20.6987
2020-06-12 19:00:00 | 4.182 | 344.1733 | 4.4707 | 333.426 | 4.5753 | 336.602 | 5.0113 | 335.1307 | 26.6333 | 878.7333 | 60.878 | 18.5287
2020-06-12 19:15:00 | 4.3067 | 322.0667 | 4.6707 | 329.24 | 4.8747 | 314.63 | 5.4007 | 330.924 | 26.3133 | 878 | 62.8393 | 19.8767
2020-06-12 19:30:00 | 4.298 | 319.0467 | 4.5933 | 331.678 | 4.4967 | 312.0273 | 5.0013 | 333.3747 | 26.2 | 878 | 63.744 | 18.1693
2020-06-12 19:45:00 | 4.1167 | 349.6467 | 4.4027 | 327.7273 | 4.448 | 341.9553 | 4.8973 | 329.404 | 26.0333 | 878 | 64.0133 | 16.0113
2020-06-12 20:00:00 | 4.2527 | 280.2467 | 4.542 | 315.5667 | 4.6793 | 274.0813 | 5.1067 | 317.18 | 25.8933 | 878 | 66.5053 | 16.3947
2020-06-12 20:15:00 | 4.3167 | 322.22 | 4.6407 | 333.576 | 4.54 | 315.1313 | 5.0933 | 335.2813 | 25.8 | 878 | 68.4867 | 16.3207
2020-06-12 20:30:00 | 4.1813 | 346.2667 | 4.4953 | 311.474 | 4.4387 | 338.648 | 4.9607 | 313.0673 | 25.7467 | 878 | 69.33 | 13.422
2020-06-12 20:45:00 | 3.9553 | 325.7067 | 4.3247 | 334.4167 | 4.2653 | 318.5407 | 4.8787 | 336.1267 | 25.6533 | 878 | 70.528 | 12.378
2020-06-12 21:00:00 | 3.8987 | 346.04 | 4.258 | 329.5533 | 4.254 | 338.4273 | 4.8333 | 331.238 | 25.5733 | 878 | 70.7107 | 11.8087
2020-06-12 21:15:00 | 3.8587 | 342.8867 | 4.2293 | 319.976 | 4.3747 | 335.344 | 4.9233 | 321.61 | 25.5267 | 878 | 70.762 | 11.058
2020-06-12 21:30:00 | 3.422 | 342.2467 | 3.7067 | 321.2667 | 3.8633 | 334.7173 | 4.2787 | 322.908 | 25.48 | 878.9333 | 71.48 | 7.9267
2020-06-12 21:45:00 | 3.1307 | 141.0267 | 3.3773 | 324.9967 | 3.5713 | 137.924 | 3.91 | 326.6587 | 25.3933 | 879 | 72.806 | 5.5733
2020-06-12 22:00:00 | 3.096 | 144.34 | 3.3187 | 322.792 | 3.5827 | 141.1653 | 3.8687 | 324.442 | 25.32 | 879 | 74.7067 | 4.5613
2020-06-12 22:15:00 | 2.86 | 188.14 | 3.0527 | 324.4153 | 3.3513 | 184.0007 | 3.5767 | 326.074 | 25.3333 | 879 | 76.5247 | 3.562
2020-06-12 22:30:00 | 2.8847 | 345.54 | 3.1007 | 322.3613 | 3.4733 | 337.9387 | 3.7087 | 324.01 | 25.1267 | 879 | 76.5347 | 3.6193
2020-06-12 22:45:00 | 2.688 | 339.78 | 2.8433 | 327.8987 | 3.2773 | 332.304 | 3.4007 | 329.574 | 25.0267 | 879 | 76.902 | 2.966
2020-06-12 23:00:00 | 2.392 | 234.58 | 2.4893 | 335.0307 | 2.7733 | 252.1867 | 2.8493 | 336.7427 | 25.0733 | 879 | 76.7953 | 1.498
2020-06-12 23:15:00 | 1.9493 | 252.2267 | 2.014 | 336.9733 | 2.2487 | 246.678 | 2.2847 | 338.696 | 25.1467 | 879 | 77.502 | 0.065333
2020-06-12 23:30:00 | 2.32 | 208.5933 | 2.368 | 335.1947 | 2.756 | 204.0033 | 2.724 | 336.9067 | 24.8333 | 879 | 77.698 | 1.3273
2020-06-12 23:45:00 | 2.7407 | 231.4267 | 2.7973 | 328.8027 | 3.2093 | 226.3353 | 3.1833 | 330.4853 | 24.6867 | 879 | 78.728 | 3.37