## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-14 00:00:00 | 4.6607 | 278.9533 | 4.852 | 326.5993 | 5.3827 | 272.8167 | 5.54 | 328.2707 | 24.8467 | 885 | 55.664 | 27.954
2020-06-14 00:15:00 | 4.9413 | 320.14 | 5.1953 | 323.622 | 5.6533 | 313.0973 | 5.9307 | 325.2747 | 24.8067 | 885 | 55.7367 | 30.4873
2020-06-14 00:30:00 | 5.276 | 317.5 | 5.582 | 304.2167 | 5.7567 | 310.5153 | 6.1987 | 305.772 | 24.8333 | 885 | 55.1953 | 31.146
2020-06-14 00:45:00 | 5.8107 | 316.4867 | 6.0407 | 322.3993 | 6.3047 | 309.5233 | 6.6013 | 324.0487 | 24.9067 | 884.4 | 55.7067 | 36.3473
2020-06-14 01:00:00 | 5.854 | 316.62 | 6.1213 | 328.8427 | 6.4407 | 309.6553 | 6.7813 | 330.522 | 24.96 | 884 | 54.9153 | 37.7273
2020-06-14 01:15:00 | 5.6407 | 298.4133 | 5.9627 | 330.2253 | 6.104 | 291.966 | 6.5867 | 331.9133 | 24.76 | 884 | 56.0847 | 37.3487
2020-06-14 01:30:00 | 5.4347 | 321.5 | 5.7467 | 326.8013 | 5.8713 | 314.426 | 6.338 | 328.4713 | 24.54 | 884 | 55.7573 | 36.2553
2020-06-14 01:45:00 | 5.3167 | 317.4467 | 5.5533 | 303.5967 | 5.7373 | 310.4627 | 6.0673 | 305.1487 | 24.46 | 884 | 55.9673 | 33.8573
2020-06-14 02:00:00 | 5.6027 | 339.3533 | 5.8447 | 328.7113 | 5.9527 | 331.8867 | 6.314 | 330.3927 | 24.4733 | 884 | 55.7627 | 34.3333
2020-06-14 02:15:00 | 5.698 | 318.2533 | 6.012 | 326.5353 | 6.1353 | 311.2513 | 6.604 | 328.2053 | 24.42 | 884 | 56.1667 | 38.636
2020-06-14 02:30:00 | 5.534 | 318.0733 | 5.834 | 326.3913 | 6.004 | 311.0753 | 6.4407 | 328.0593 | 24.22 | 884 | 56.2693 | 37.2993
2020-06-14 02:45:00 | 5.5653 | 316.36 | 5.8793 | 324.43 | 6.324 | 308.8913 | 6.696 | 326.0873 | 24.0267 | 884 | 57.2573 | 39.4613
2020-06-14 03:00:00 | 6.09 | 343.3 | 6.4013 | 327.4273 | 6.9653 | 335.7473 | 7.3007 | 329.1013 | 24.0933 | 884 | 58.0627 | 42.6687
2020-06-14 03:15:00 | 6.4253 | 340.3733 | 6.7633 | 331.848 | 7.2927 | 332.884 | 7.6827 | 333.5447 | 24.0133 | 884 | 58.0793 | 45.218
2020-06-14 03:30:00 | 6.5427 | 338.54 | 6.944 | 329.214 | 7.1653 | 331.092 | 7.748 | 330.8973 | 23.9933 | 883.0667 | 57.6327 | 47.3607
2020-06-14 03:45:00 | 6.2027 | 337.8733 | 6.652 | 327.682 | 6.7707 | 330.4407 | 7.4613 | 329.3573 | 23.9533 | 883.6 | 57.4427 | 46.3367
2020-06-14 04:00:00 | 5.9767 | 316.04 | 6.47 | 325.302 | 6.3673 | 308.7613 | 7.19 | 326.9647 | 23.8333 | 883.0667 | 58.108 | 43.532
2020-06-14 04:15:00 | 5.7853 | 319.9333 | 6.2793 | 321.2933 | 6.3173 | 312.8947 | 7.0973 | 322.934 | 23.62 | 883 | 57.9733 | 39.3567
2020-06-14 04:30:00 | 5.6087 | 343.28 | 5.9847 | 325.8753 | 5.988 | 335.7287 | 6.5927 | 327.542 | 23.6267 | 883 | 58.0153 | 34.92
2020-06-14 04:45:00 | 5.6187 | 277.7667 | 5.936 | 328.23 | 6.1767 | 271.6553 | 6.618 | 329.9073 | 23.62 | 883.6 | 58.22 | 35.322
2020-06-14 05:00:00 | 5.57 | 298.8 | 5.9227 | 328.1047 | 5.8527 | 292.226 | 6.4393 | 329.7827 | 23.52 | 883.0667 | 59.6053 | 36.8367
2020-06-14 05:15:00 | 5.9767 | 343.0333 | 6.3713 | 324.7347 | 6.392 | 335.486 | 7.0227 | 326.3953 | 23.4 | 883 | 60.3113 | 37.0193
2020-06-14 05:30:00 | 6.2447 | 340.82 | 6.6427 | 326.254 | 6.7407 | 333.5627 | 7.3593 | 327.922 | 23.6133 | 883 | 60.0233 | 37.276
2020-06-14 05:45:00 | 6.3307 | 348.5667 | 6.7333 | 328.4333 | 6.8773 | 340.898 | 7.484 | 330.1113 | 23.6467 | 883 | 60.9447 | 38.3267
2020-06-14 06:00:00 | 6.5267 | 344.5267 | 7.004 | 323.984 | 7.016 | 336.946 | 7.7807 | 325.6393 | 23.4333 | 883 | 60.8767 | 39.6833
2020-06-14 06:15:00 | 6.596 | 343.76 | 7.094 | 326.3973 | 7.1533 | 336.372 | 7.9373 | 328.0667 | 23.3667 | 883 | 62.416 | 39.998
2020-06-14 06:30:00 | 6.9793 | 348.7333 | 7.5087 | 326.7827 | 7.5933 | 341.0607 | 8.4213 | 328.4527 | 23.28 | 883 | 62.1373 | 42.06
2020-06-14 06:45:00 | 6.9313 | 346.68 | 7.4667 | 332.9313 | 7.6773 | 339.052 | 8.4753 | 334.632 | 23.2133 | 883.6 | 63.1073 | 41.982
2020-06-14 07:00:00 | 7.2327 | 346.6133 | 7.7927 | 328.8547 | 7.9587 | 338.988 | 8.8033 | 330.5373 | 23.1333 | 884 | 63.5327 | 44.4353
2020-06-14 07:15:00 | 7.2913 | 323.0733 | 7.8373 | 328.9787 | 8.0187 | 315.9653 | 8.848 | 330.6613 | 23.1667 | 884 | 63.3947 | 46.6667
2020-06-14 07:30:00 | 7.044 | 346.0667 | 7.5553 | 329.9453 | 7.7487 | 338.454 | 8.5147 | 331.6313 | 23.08 | 884 | 63.8813 | 46.4847
2020-06-14 07:45:00 | 6.8007 | 340.0333 | 7.3253 | 323.7307 | 7.4233 | 332.5527 | 8.2413 | 325.3867 | 23.08 | 884 | 63.0973 | 42.0847
2020-06-14 08:00:00 | 6.6267 | 333.5067 | 7.0913 | 320.6793 | 7.1807 | 326.1693 | 7.908 | 322.3193 | 23.2333 | 884.9333 | 61.43 | 42.564
2020-06-14 08:15:00 | 6.5073 | 335.6867 | 6.924 | 323.6607 | 7.0053 | 328.3013 | 7.6513 | 325.3133 | 23.5667 | 885 | 58.6733 | 42.254
2020-06-14 08:30:00 | 6.1853 | 334.4733 | 6.6033 | 330.4333 | 6.69 | 327.33 | 7.3473 | 332.1227 | 23.66 | 885.9333 | 56.246 | 38.6933
2020-06-14 08:45:00 | 6.0307 | 336.4133 | 6.478 | 327.8453 | 6.5127 | 329.0127 | 7.222 | 329.5207 | 23.8533 | 886.6 | 55.7867 | 34.314
2020-06-14 09:00:00 | 5.7213 | 339.3333 | 6.104 | 326.4753 | 6.0533 | 331.992 | 6.6813 | 328.1447 | 24.0067 | 887 | 55.0207 | 29.8087
2020-06-14 09:15:00 | 5.61 | 339.56 | 6.0413 | 327.128 | 6.1 | 332.0893 | 6.7773 | 328.8007 | 24.2333 | 887.6 | 52.168 | 27.4593
2020-06-14 09:30:00 | 5.4267 | 338.3533 | 5.854 | 327.8193 | 5.9333 | 330.91 | 6.5973 | 329.4933 | 24.4067 | 888 | 52.0553 | 26.7087
2020-06-14 09:45:00 | 5.1227 | 313.8933 | 5.4867 | 326.5987 | 5.61 | 306.9887 | 6.16 | 328.27 | 24.72 | 888 | 52.1667 | 22.6267
2020-06-14 10:00:00 | 5.0267 | 316.0667 | 5.3287 | 326.5153 | 5.544 | 309.1127 | 5.9673 | 328.1853 | 24.9533 | 888 | 53.1187 | 20.3033
2020-06-14 10:15:00 | 5.0473 | 314.8867 | 5.436 | 303.8773 | 5.6647 | 307.9587 | 6.2213 | 305.4313 | 25.2533 | 888 | 53.3307 | 21.4507
2020-06-14 10:30:00 | 4.978 | 315.9933 | 5.3687 | 302.352 | 5.6713 | 309.0407 | 6.2073 | 303.898 | 25.6933 | 888 | 52.4513 | 22.2927
2020-06-14 10:45:00 | 5.0347 | 317.4467 | 5.4727 | 330.5967 | 5.792 | 310.4627 | 6.4053 | 332.2867 | 25.9933 | 888 | 52.494 | 23.9953
2020-06-14 11:00:00 | 4.7587 | 295.3867 | 5.126 | 247.33 | 5.454 | 288.3733 | 5.9487 | 248.594 | 26.24 | 888 | 53.0587 | 21.152
2020-06-14 11:15:00 | 4.3613 | 340.1267 | 4.692 | 267.5753 | 5.06 | 332.644 | 5.4853 | 268.9433 | 26.7 | 888 | 50.8127 | 17.3293
2020-06-14 11:30:00 | 3.9687 | 339.6667 | 4.2787 | 292.3833 | 4.448 | 332.194 | 4.898 | 293.878 | 27.14 | 888 | 47.3033 | 11.652
2020-06-14 11:45:00 | 3.5753 | 291.7667 | 3.752 | 295.584 | 4.1113 | 285.348 | 4.2927 | 297.0947 | 27.4733 | 888 | 43.9047 | 9.234
2020-06-14 12:00:00 | 2.9787 | 229.0333 | 3.1013 | 251.398 | 3.4493 | 223.994 | 3.5473 | 252.6833 | 27.7 | 888 | 43.644 | 5.236
2020-06-14 12:15:00 | 2.734 | 315.6067 | 2.9007 | 219.64 | 3.0753 | 308.71 | 3.2947 | 220.7627 | 28.0933 | 888 | 43.2327 | 2.9907
2020-06-14 12:30:00 | 3.002 | 287.4333 | 3.1827 | 241.866 | 3.412 | 257.9307 | 3.646 | 243.1033 | 28.2267 | 888 | 43.8627 | 4.0313
2020-06-14 12:45:00 | 2.524 | 252.6 | 2.6733 | 249.7487 | 2.8547 | 247.0433 | 3.046 | 251.0247 | 28.64 | 887.4 | 42.9087 | 2.338
2020-06-14 13:00:00 | 2.734 | 156.08 | 2.906 | 180.2127 | 3.218 | 152.6447 | 3.406 | 181.1333 | 29.0867 | 887.6667 | 40.9327 | 2.7933
2020-06-14 13:15:00 | 2.6013 | 294.7533 | 2.7427 | 144.828 | 3.0007 | 288.2693 | 3.1507 | 145.5687 | 29.12 | 887 | 40.4593 | 1.7987
2020-06-14 13:30:00 | 2.5527 | 267.4133 | 2.6993 | 330.4593 | 2.988 | 261.5293 | 3.1407 | 332.148 | 29.3133 | 887 | 40.672 | 1.5767
2020-06-14 13:45:00 | 2.114 | 293.52 | 2.3593 | 199.89 | 2.5567 | 287.062 | 2.894 | 200.912 | 30.0533 | 887 | 40.946 | 0.84
2020-06-14 14:00:00 | 2.452 | 160.2867 | 2.5773 | 53.2827 | 2.8233 | 156.7607 | 2.952 | 53.554 | 30.3667 | 887 | 40.1167 | 1.032
2020-06-14 14:15:00 | 2.1787 | 253.8667 | 2.3153 | 83.8013 | 2.6113 | 248.282 | 2.7447 | 84.2287 | 29.98 | 886.4 | 39.9627 | 0.466
2020-06-14 14:30:00 | 1.584 | 214.7 | 1.7693 | 68.546 | 1.834 | 209.9767 | 2.1087 | 68.8947 | 30.8133 | 886 | 41.2427 | 0.14929
2020-06-14 14:45:00 | 1.582 | 153.3267 | 1.7867 | 236.4293 | 1.7653 | 149.9533 | 2.1 | 237.6373 | 31.1 | 886 | 40.134 | 0
2020-06-14 15:00:00 | 1.276 | 149.9067 | 1.3653 | 280.3007 | 1.588 | 146.608 | 1.6653 | 281.7347 | 31.04 | 886 | 38.8773 | 0
2020-06-14 15:15:00 | 1.3313 | 214.12 | 1.4 | 278.8147 | 1.6607 | 207.9493 | 1.6953 | 280.2413 | 30.5933 | 886 | 39.5373 | 0
2020-06-14 15:30:00 | 1.17 | 99.44 | 1.2073 | 85.9593 | 1.444 | 97.252 | 1.4387 | 86.3987 | 30.3467 | 886 | 42.31 | 0
2020-06-14 15:45:00 | 0.87267 | 99.6467 | 0.87667 | 145.1873 | 0.848 | 97.4547 | 0.86467 | 145.9307 | 30.14 | 885.4 | 41.234 | 0
2020-06-14 16:00:00 | 1.0167 | 137.54 | 1.1527 | 103.7133 | 1.2813 | 134.5147 | 1.4627 | 104.244 | 30.4733 | 885 | 42.8973 | 0
2020-06-14 16:15:00 | 2.6907 | 100.9333 | 2.8493 | 124.388 | 3.054 | 98.712 | 3.2473 | 125.0247 | 29.62 | 885 | 45.472 | 0
2020-06-14 16:30:00 | 3.11 | 116.2333 | 3.338 | 124.4087 | 3.9227 | 114.0287 | 4.1233 | 125.044 | 28.98 | 885 | 49.8367 | 5.9873
2020-06-14 16:45:00 | 3.2687 | 124.1533 | 3.4707 | 125.6407 | 4.174 | 121.422 | 4.2967 | 126.2827 | 28.6667 | 884.4 | 52.692 | 9.8227
2020-06-14 17:00:00 | 3.7213 | 126.7667 | 3.8167 | 138.0653 | 4.3367 | 123.9773 | 4.342 | 138.772 | 28.2533 | 884 | 54.1667 | 9.0107
2020-06-14 17:15:00 | 3.5953 | 135.0067 | 3.66 | 125.36 | 4.2667 | 131.554 | 4.1973 | 126.002 | 28.12 | 884 | 55.0707 | 8.156
2020-06-14 17:30:00 | 3.826 | 137.6267 | 3.912 | 130.3287 | 4.5147 | 134.5987 | 4.4813 | 130.9947 | 28.0067 | 884 | 55.3007 | 9.1007
2020-06-14 17:45:00 | 3.8953 | 141.1133 | 3.9853 | 135.396 | 4.368 | 138.0087 | 4.4013 | 136.0873 | 27.8867 | 884 | 55.488 | 9.306
2020-06-14 18:00:00 | 4.1593 | 151.2533 | 4.3107 | 137.0227 | 4.3253 | 147.926 | 4.5647 | 137.7253 | 27.6733 | 883.0667 | 56.254 | 10.5027
2020-06-14 18:15:00 | 3.6987 | 145.6467 | 3.8887 | 140.6493 | 3.8307 | 142.442 | 4.156 | 141.368 | 27.5267 | 883 | 57.288 | 10.65
2020-06-14 18:30:00 | 3.9373 | 141.5333 | 4.1447 | 135.636 | 4.5007 | 138.4187 | 4.732 | 136.3287 | 27.34 | 883 | 58.8173 | 12.5353
2020-06-14 18:45:00 | 3.99 | 136.2867 | 4.1147 | 141.3673 | 4.4733 | 133.288 | 4.576 | 142.0893 | 27.04 | 883 | 60.3833 | 12
2020-06-14 19:00:00 | 3.7967 | 140.0667 | 3.922 | 140.4533 | 4.1733 | 136.986 | 4.304 | 141.1727 | 26.72 | 883 | 62.0227 | 9.6967
2020-06-14 19:15:00 | 3.3073 | 152.44 | 3.404 | 143.2647 | 3.5973 | 149.2167 | 3.6927 | 143.996 | 26.5667 | 883 | 63.6 | 8.2773
2020-06-14 19:30:00 | 3.092 | 156.46 | 3.232 | 143.5767 | 3.2767 | 153.0187 | 3.4867 | 144.31 | 26.5333 | 883 | 65.2053 | 8.1693
2020-06-14 19:45:00 | 2.9967 | 140.7667 | 3.036 | 142.7627 | 3.2 | 137.6693 | 3.2193 | 143.492 | 26.3933 | 883 | 66.4607 | 8.5813
2020-06-14 20:00:00 | 2.9047 | 142.1 | 2.9327 | 140.33 | 3.258 | 138.974 | 3.2107 | 141.0487 | 26.2467 | 883 | 67.4827 | 7.7993
2020-06-14 20:15:00 | 2.7533 | 139.88 | 2.7967 | 137.9947 | 3.4367 | 136.326 | 3.3213 | 138.7013 | 26.1133 | 883 | 68.7673 | 7.432
2020-06-14 20:30:00 | 2.824 | 124.76 | 2.88 | 136.6453 | 3.2487 | 122.0153 | 3.2353 | 137.344 | 26.0067 | 883 | 70.078 | 6.462
2020-06-14 20:45:00 | 2.8167 | 123.5933 | 2.9873 | 118.7227 | 3.464 | 119.7007 | 3.6 | 119.33 | 25.84 | 883 | 71.51 | 5.746
2020-06-14 21:00:00 | 2.992 | 132.9667 | 3.1413 | 124.168 | 3.3507 | 130.0407 | 3.5353 | 124.8013 | 25.62 | 883 | 72.7333 | 5.928
2020-06-14 21:15:00 | 3.0607 | 135.0667 | 3.162 | 122.4453 | 3.4447 | 132.0947 | 3.53 | 123.0707 | 25.44 | 883 | 73.826 | 5.0753
2020-06-14 21:30:00 | 2.7427 | 133.9 | 2.83 | 127.706 | 3.1847 | 130.9547 | 3.226 | 128.36 | 25.2267 | 883 | 75.1647 | 4.8353
2020-06-14 21:45:00 | 2.636 | 143.1533 | 2.708 | 142.6107 | 2.9733 | 140.004 | 3.0147 | 143.34 | 25.0733 | 883 | 76.3 | 4.928
2020-06-14 22:00:00 | 2.8653 | 163.2467 | 2.996 | 148.2327 | 2.926 | 159.6553 | 3.1587 | 148.99 | 24.8067 | 883 | 77.3053 | 5.9953
2020-06-14 22:15:00 | 3.108 | 163.0067 | 3.2833 | 148.648 | 3.2547 | 159.42 | 3.5493 | 149.41 | 24.6133 | 883.6 | 77.91 | 7.6133
2020-06-14 22:30:00 | 3.0527 | 156.8667 | 3.222 | 144.796 | 3.1133 | 154.4847 | 3.4227 | 145.5373 | 24.4933 | 884 | 78.4673 | 7.7907
2020-06-14 22:45:00 | 2.9667 | 165.72 | 3.124 | 148.1667 | 2.988 | 162.2507 | 3.28 | 148.9247 | 24.4267 | 884 | 79.232 | 7.8893
2020-06-14 23:00:00 | 2.9567 | 168.1667 | 3.1467 | 144.4573 | 3.1113 | 164.468 | 3.4247 | 145.1953 | 24.2667 | 884 | 79.6473 | 7.756
2020-06-14 23:15:00 | 3.0247 | 162.7867 | 3.2033 | 154.7793 | 3.1073 | 159.2053 | 3.4267 | 155.5687 | 24.0533 | 884 | 79.95 | 8.79
2020-06-14 23:30:00 | 3.32 | 161.7067 | 3.5087 | 151.3153 | 3.3633 | 158.1493 | 3.7107 | 152.09 | 23.9933 | 884 | 80.66 | 11.1567
2020-06-14 23:45:00 | 3.7793 | 159.8067 | 3.914 | 147.482 | 3.758 | 156.2907 | 4.0273 | 148.2353 | 23.72 | 884 | 81.3 | 16.2727