## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-15 00:00:00 | 3.9713 | 155.3933 | 4.1333 | 142.964 | 3.99 | 151.9753 | 4.2953 | 143.6953 | 23.7333 | 883.3333 | 81.5333 | 15.7113
2020-06-15 00:15:00 | 3.738 | 155.0333 | 3.9747 | 145.0827 | 3.9227 | 151.622 | 4.322 | 145.824 | 23.6533 | 884 | 81.64 | 12.8987
2020-06-15 00:30:00 | 3.164 | 160.5733 | 3.3793 | 152.6653 | 3.3827 | 157.0407 | 3.7293 | 153.446 | 23.3533 | 883.0667 | 81.8933 | 10.3353
2020-06-15 00:45:00 | 2.906 | 159.1333 | 3.034 | 160.8293 | 3.1153 | 155.6327 | 3.298 | 161.6513 | 23.3 | 883 | 82.5533 | 8.852
2020-06-15 01:00:00 | 3.14 | 168.24 | 3.2613 | 152.86 | 3.3107 | 164.538 | 3.4967 | 153.6427 | 23.3 | 883 | 83.34 | 11.1207
2020-06-15 01:15:00 | 2.986 | 179.3733 | 3.1533 | 164.7653 | 3.382 | 175.166 | 3.584 | 165.61 | 23.2333 | 883 | 84.0267 | 8.6887
2020-06-15 01:30:00 | 2.7827 | 174.9867 | 2.8813 | 159.8973 | 2.962 | 171.5613 | 3.1007 | 160.5053 | 23.12 | 883 | 84.64 | 5.9007
2020-06-15 01:45:00 | 2.496 | 167.4933 | 2.5447 | 154.4253 | 2.544 | 163.8093 | 2.6253 | 155.2153 | 23.06 | 883 | 85.2533 | 5.0327
2020-06-15 02:00:00 | 2.562 | 160.0667 | 2.5907 | 148.9433 | 2.684 | 156.5453 | 2.706 | 149.7053 | 22.98 | 883 | 85.7333 | 3.6733
2020-06-15 02:15:00 | 2.3813 | 139.36 | 2.428 | 146.12 | 2.676 | 136.294 | 2.682 | 146.8673 | 22.8933 | 883 | 86.4533 | 2.22
2020-06-15 02:30:00 | 2.1033 | 126.26 | 2.194 | 134.5147 | 2.3547 | 123.4833 | 2.4553 | 135.202 | 22.8867 | 883 | 86.8267 | 0.77133
2020-06-15 02:45:00 | 2.1273 | 126.5067 | 2.2653 | 119.2507 | 2.542 | 123.724 | 2.6813 | 119.86 | 22.7067 | 883 | 87.58 | 0.34667
2020-06-15 03:00:00 | 2.6473 | 153.0733 | 2.72 | 137.754 | 3.046 | 149.706 | 3.0707 | 138.4587 | 22.4067 | 882.0667 | 88.32 | 1.8793
2020-06-15 03:15:00 | 2.64 | 143.1467 | 2.7013 | 130.9407 | 2.906 | 139.9987 | 2.9513 | 131.6107 | 22.1667 | 882 | 89.2933 | 1.7967
2020-06-15 03:30:00 | 2.796 | 141.82 | 2.9193 | 136.6787 | 3.108 | 138.7 | 3.2567 | 137.3773 | 22.02 | 882 | 90.2867 | 2.5747
2020-06-15 03:45:00 | 2.644 | 138.16 | 2.7767 | 136.4433 | 3.098 | 135.1213 | 3.2173 | 137.1407 | 21.8267 | 882 | 91.3533 | 3.194
2020-06-15 04:00:00 | 2.76 | 136.4867 | 2.9027 | 136.7513 | 3.0527 | 133.4827 | 3.2407 | 137.4507 | 21.7067 | 882 | 92.9467 | 3.4307
2020-06-15 04:15:00 | 2.5767 | 145.8333 | 2.706 | 129.5673 | 2.9767 | 142.6247 | 3.1133 | 130.228 | 21.58 | 882 | 94.7133 | 3.0513
2020-06-15 04:30:00 | 2.6107 | 128.0333 | 2.7227 | 133.046 | 2.892 | 125.2173 | 3.024 | 133.7273 | 21.5733 | 882 | 95.8933 | 2.6787
2020-06-15 04:45:00 | 2.5993 | 128.1733 | 2.696 | 129.0627 | 2.8973 | 125.568 | 2.9967 | 130.7987 | 21.5133 | 882 | 96.6867 | 3.9507
2020-06-15 05:00:00 | 2.6013 | 130.9533 | 2.732 | 143.478 | 3.0513 | 128.0713 | 3.1667 | 144.2133 | 21.3733 | 882 | 97.14 | 3.2407
2020-06-15 05:15:00 | 2.86 | 138.4533 | 3.0013 | 140.064 | 3.3047 | 135.4067 | 3.4427 | 140.778 | 21.3733 | 882 | 97.8467 | 4.304
2020-06-15 05:30:00 | 3.2827 | 176.8533 | 3.428 | 164.8173 | 3.7453 | 172.962 | 3.8873 | 165.662 | 21.26 | 881.3333 | 98.76 | 6.5173
2020-06-15 05:45:00 | 2.676 | 179.1533 | 2.9047 | 189.5427 | 3.3153 | 175.212 | 3.5593 | 190.5127 | 21.2733 | 882 | 99.3 | 7.1927
2020-06-15 06:00:00 | 2.9307 | 182.4067 | 3.096 | 167.9227 | 3.1733 | 178.3927 | 3.4167 | 168.7813 | 21.2867 | 882 | 99.6933 | 4.2327
2020-06-15 06:15:00 | 2.7067 | 182.4733 | 2.91 | 166.594 | 3.0947 | 178.4593 | 3.368 | 167.444 | 21.22 | 882 | 99.86 | 3.4887
2020-06-15 06:30:00 | 2.2207 | 180.0867 | 2.456 | 171.606 | 2.8087 | 176.124 | 3.082 | 172.484 | 21.0267 | 882 | 99.9933 | 1.9993
2020-06-15 06:45:00 | 2.326 | 149.5867 | 2.5533 | 143.3753 | 2.7613 | 146.2953 | 3.0673 | 144.1093 | 21.1067 | 882 | 100 | 2.0613
2020-06-15 07:00:00 | 2.254 | 143.06 | 2.4067 | 137.964 | 2.344 | 139.9127 | 2.608 | 138.668 | 21.2933 | 882 | 100 | 0.54133
2020-06-15 07:15:00 | 2.322 | 148.5467 | 2.428 | 141.6933 | 2.6347 | 145.2787 | 2.7467 | 142.4173 | 21.18 | 882 | 100 | 0.48867
2020-06-15 07:30:00 | 2.0473 | 136.3533 | 2.1327 | 138.4267 | 2.384 | 133.3533 | 2.4467 | 139.1327 | 21.2267 | 882 | 100 | 0.048667
2020-06-15 07:45:00 | 2.0627 | 133.8067 | 2.1747 | 132.584 | 2.4867 | 130.8633 | 2.576 | 133.26 | 21.28 | 882 | 100 | 0.44933
2020-06-15 08:00:00 | 2.322 | 131.8867 | 2.4733 | 125.8547 | 2.788 | 128.9853 | 2.9407 | 126.4993 | 21.1533 | 882 | 100 | 1.7133
2020-06-15 08:15:00 | 2.69 | 139.9 | 2.798 | 130.582 | 3.193 | 136.821 | 3.251 | 131.25 | 21.2 | 882 | 100 | 2.9973
2020-06-15 08:30:00 | 2.7313 | 142.1467 | 2.846 | 133.4713 | 3.1007 | 139.0193 | 3.2133 | 134.1527 | 21.34 | 882 | 100 | 4.1
2020-06-15 08:45:00 | 2.5847 | 136.5067 | 2.7527 | 132.6953 | 3.0707 | 133.5033 | 3.2533 | 133.374 | 21.4067 | 882 | 100 | 4.0733
2020-06-15 09:00:00 | 2.7773 | 141.4933 | 2.9213 | 135.6033 | 3.2453 | 138.38 | 3.3853 | 136.296 | 21.48 | 882 | 100 | 4.0393
2020-06-15 09:15:00 | 2.7993 | 143.3867 | 2.9373 | 132.5633 | 3.2187 | 140.2307 | 3.364 | 133.2413 | 21.5267 | 882 | 100 | 3.1213
2020-06-15 09:30:00 | 3.1393 | 140.84 | 3.3087 | 133.4327 | 3.5567 | 137.9167 | 3.76 | 134.1127 | 21.5333 | 882 | 100 | 4.8347
2020-06-15 09:45:00 | 3.1633 | 138.3667 | 3.3033 | 133.9727 | 3.476 | 135.322 | 3.6573 | 134.658 | 21.6 | 882 | 100 | 3.7387
2020-06-15 10:00:00 | 2.7967 | 140.24 | 2.9067 | 128.424 | 3.1207 | 137.1873 | 3.236 | 129.08 | 21.5267 | 882 | 100 | 3.39
2020-06-15 10:15:00 | 2.878 | 140.8933 | 2.962 | 132.0307 | 3.2693 | 137.5127 | 3.3233 | 132.7053 | 21.5267 | 882 | 100 | 4.132
2020-06-15 10:30:00 | 2.5687 | 140.6067 | 2.682 | 134.9053 | 2.9133 | 137.5133 | 3.0293 | 135.596 | 21.5867 | 882 | 100 | 3.0653
2020-06-15 10:45:00 | 2.7107 | 143.12 | 2.7267 | 134.4293 | 2.9327 | 139.9727 | 2.9013 | 135.1153 | 21.6267 | 882 | 100 | 3.8193
2020-06-15 11:00:00 | 2.68 | 140.1667 | 2.7313 | 130.6473 | 3.0067 | 137.084 | 3.0087 | 131.316 | 21.62 | 882 | 100 | 3.6847
2020-06-15 11:15:00 | 2.6947 | 146.1267 | 2.7453 | 134.2207 | 2.9053 | 142.9133 | 2.9473 | 134.9073 | 21.64 | 882 | 100 | 3.29
2020-06-15 11:30:00 | 2.714 | 141.4667 | 2.7607 | 135.3873 | 2.8973 | 138.3533 | 2.9373 | 136.0793 | 21.7067 | 882 | 100 | 3.1707
2020-06-15 11:45:00 | 2.26 | 139.4 | 2.3267 | 137.108 | 2.376 | 136.3333 | 2.47 | 137.81 | 21.9467 | 882 | 100 | 2.6227
2020-06-15 12:00:00 | 2.1087 | 147.2933 | 2.124 | 134.2407 | 2.308 | 143.636 | 2.2767 | 134.9253 | 22.0467 | 882 | 100 | 1.8333
2020-06-15 12:15:00 | 2.2267 | 129.7733 | 2.2707 | 131.5153 | 2.5147 | 126.9173 | 2.5107 | 132.188 | 22.16 | 882 | 100 | 1.5013
2020-06-15 12:30:00 | 2.3713 | 141.9133 | 2.446 | 130.062 | 2.716 | 138.792 | 2.7573 | 130.726 | 22.3267 | 882 | 100 | 1.6287
2020-06-15 12:45:00 | 2.154 | 140.7467 | 2.2113 | 142.404 | 2.5287 | 138.0413 | 2.528 | 143.132 | 22.4333 | 882 | 100 | 1.668
2020-06-15 13:00:00 | 2.218 | 155.4133 | 2.264 | 136.542 | 2.5953 | 151.9927 | 2.5747 | 137.2407 | 22.0733 | 882 | 100 | 1.596
2020-06-15 13:15:00 | 1.8633 | 144.46 | 1.94 | 136.9127 | 2.3053 | 141.2807 | 2.326 | 137.6133 | 22.32 | 882 | 100 | 0.42929
2020-06-15 13:30:00 | 1.41 | 132.34 | 1.49 | 144.15 | 1.6413 | 129.2653 | 1.7293 | 144.8873 | 22.3267 | 882 | 100 | 0
2020-06-15 13:45:00 | 0.95867 | 105.5067 | 1.0527 | 123.4447 | 1.2447 | 103.1867 | 1.3407 | 124.074 | 22.4133 | 881.4 | 100 | 0
2020-06-15 14:00:00 | 0.75867 | 86.1467 | 0.86733 | 227.6587 | 0.98133 | 84.2507 | 1.1193 | 228.8227 | 22.9067 | 881 | 100 | 0
2020-06-15 14:15:00 | 0.48267 | 52.4733 | 0.54733 | 176.458 | 0.57067 | 51.3187 | 0.67 | 177.36 | 23.1267 | 881 | 100 | 0
2020-06-15 14:30:00 | 0.34933 | 167.66 | 0.382 | 240.6713 | 0.40533 | 163.97 | 0.45067 | 241.9047 | 23.3067 | 881 | 100 | 0
2020-06-15 14:45:00 | 0.21733 | 292.7933 | 0.23 | 229.3127 | 0.25467 | 286.3513 | 0.26733 | 230.4867 | 23.5267 | 881 | 100 | 0
2020-06-15 15:00:00 | 0.39533 | 86.8933 | 0.39067 | 237.0153 | 0.44667 | 84.9827 | 0.42467 | 238.2267 | 23.3133 | 881 | 100 | 0
2020-06-15 15:15:00 | 0.88267 | 99.94 | 0.89733 | 270.6887 | 1.032 | 97.8267 | 1.0187 | 272.0747 | 23.1067 | 881 | 100 | 0
2020-06-15 15:30:00 | 1.1573 | 278.1667 | 1.1587 | 333.648 | 1.3573 | 272.0467 | 1.3053 | 335.3547 | 22.72 | 881 | 100 | 0
2020-06-15 15:45:00 | 1.342 | 130.8867 | 1.3627 | 337.26 | 1.5947 | 128.0073 | 1.5633 | 338.9833 | 23.0867 | 881 | 100 | 0
2020-06-15 16:00:00 | 1.366 | 41.1067 | 1.3533 | 327.1133 | 1.6373 | 40.2013 | 1.536 | 328.7873 | 23.2 | 881 | 100 | 0
2020-06-15 16:15:00 | 1.308 | 65.3333 | 1.2813 | 329.638 | 1.618 | 63.8947 | 1.4807 | 331.3233 | 22.84 | 881 | 100 | 0
2020-06-15 16:30:00 | 1.404 | 299.3333 | 1.3427 | 322.302 | 1.8507 | 292.748 | 1.606 | 323.9507 | 22.9267 | 881 | 100 | 0
2020-06-15 16:45:00 | 1.8873 | 318.14 | 1.9627 | 323.7367 | 2.2087 | 311.1413 | 2.258 | 325.3933 | 23.12 | 880.4 | 100 | 0
2020-06-15 17:00:00 | 1.8093 | 288.1867 | 1.8627 | 321.8607 | 2.1247 | 281.8467 | 2.1353 | 323.506 | 23.4467 | 880 | 100 | 0
2020-06-15 17:15:00 | 1.8093 | 288.1867 | 1.8627 | 321.8607 | 2.1247 | 281.8467 | 2.1353 | 323.506 | 23.4467 | 880 | 100 | 0
2020-06-15 17:30:00 | 1.8093 | 288.1867 | 1.8627 | 321.8607 | 2.1247 | 281.8467 | 2.1353 | 323.506 | 23.4467 | 880 | 100 | 0
2020-06-15 17:45:00 | 3.168 | 315.3867 | 3.356 | 320.9913 | 3.8807 | 308.448 | 4.03 | 322.6333 | 22.5667 | 880 | 96.82 | 4.4787
2020-06-15 18:00:00 | 3.168 | 315.3867 | 3.356 | 320.9913 | 3.8807 | 308.448 | 4.03 | 322.6333 | 22.5667 | 880 | 96.82 | 4.4787
2020-06-15 18:15:00 | 3.168 | 315.3867 | 3.356 | 320.9913 | 3.8807 | 308.448 | 4.03 | 322.6333 | 22.5667 | 880 | 96.82 | 4.4787
2020-06-15 18:30:00 | 3.45 | 344.32 | 3.73 | 324.324 | 4.2053 | 336.7453 | 4.514 | 325.9833 | 22.5467 | 880 | 97.7667 | 6.6247
2020-06-15 18:45:00 | 3.8687 | 336.1 | 4.1527 | 319.7013 | 4.8153 | 328.706 | 5.0773 | 321.3367 | 22.4933 | 879.4 | 98.36 | 11.7233
2020-06-15 19:00:00 | 4.734 | 335.1067 | 5.1653 | 329.924 | 5.6147 | 327.7347 | 6.1793 | 331.612 | 22.1533 | 879 | 98.5733 | 17.3827
2020-06-15 19:15:00 | 4.6967 | 331.5333 | 5.0413 | 332.0047 | 5.498 | 324.2387 | 5.918 | 333.7027 | 22.1133 | 879 | 99.14 | 16.6187
2020-06-15 19:30:00 | 4.9107 | 336.3933 | 5.3413 | 328.244 | 5.8693 | 329.188 | 6.4087 | 329.9207 | 22.16 | 879 | 99.5333 | 20.1707
2020-06-15 19:45:00 | 5.1573 | 335.8667 | 5.54 | 322.752 | 5.914 | 328.4787 | 6.4213 | 324.4047 | 22.16 | 879 | 99.86 | 21.2333
2020-06-15 20:00:00 | 5.1433 | 338.1 | 5.5427 | 322.936 | 5.9633 | 330.66 | 6.4873 | 324.5873 | 22.1667 | 879 | 99.9933 | 21.6907
2020-06-15 20:15:00 | 5.1133 | 340.6867 | 5.524 | 327.8853 | 5.9033 | 333.1913 | 6.4527 | 329.56 | 22.0067 | 879 | 100 | 23.2407
2020-06-15 20:30:00 | 4.9427 | 341.9067 | 5.3287 | 326.0647 | 5.704 | 334.3847 | 6.2153 | 327.7313 | 21.8933 | 879 | 100 | 20.7853
2020-06-15 20:45:00 | 5.128 | 340.3733 | 5.5133 | 324.142 | 5.9627 | 332.884 | 6.4513 | 325.8 | 21.9 | 879 | 100 | 23.3713
2020-06-15 21:00:00 | 4.8787 | 344.38 | 5.2133 | 322.6813 | 5.7353 | 336.8027 | 6.122 | 324.3307 | 21.9067 | 879 | 100 | 18.9527
2020-06-15 21:15:00 | 4.6287 | 330.0067 | 4.9093 | 315.4833 | 5.5087 | 322.7467 | 5.7853 | 317.0967 | 21.8933 | 879 | 100 | 16.0973
2020-06-15 21:30:00 | 4.6333 | 339.7733 | 4.9367 | 315.7307 | 5.54 | 332.298 | 5.8613 | 317.3453 | 21.8133 | 879 | 100 | 17.6547
2020-06-15 21:45:00 | 5.026 | 337.5533 | 5.3827 | 322.224 | 5.834 | 330.128 | 6.27 | 323.8713 | 21.8 | 879 | 100 | 21.0893
2020-06-15 22:00:00 | 5.0667 | 333.5867 | 5.3573 | 321.8073 | 5.9093 | 326.2487 | 6.2173 | 323.4527 | 21.6933 | 879 | 100 | 24.0267
2020-06-15 22:15:00 | 5.4927 | 336.0933 | 5.8693 | 324.858 | 6.388 | 328.6993 | 6.8433 | 326.52 | 21.72 | 879 | 100 | 29.9993
2020-06-15 22:30:00 | 5.6027 | 338.24 | 5.9893 | 321.2013 | 6.474 | 330.798 | 6.954 | 322.8453 | 21.7667 | 879 | 100 | 29.7767
2020-06-15 22:45:00 | 5.2347 | 338.4667 | 5.5947 | 321.358 | 6.1053 | 331.0193 | 6.534 | 323.0007 | 21.66 | 879 | 100 | 26.8467
2020-06-15 23:00:00 | 4.98 | 341.4133 | 5.3013 | 317.864 | 6.0127 | 333.9027 | 6.3207 | 319.488 | 21.5867 | 879 | 100 | 23.1607
2020-06-15 23:15:00 | 5.0833 | 341.7533 | 5.4167 | 319.6107 | 6.1193 | 334.3987 | 6.4507 | 321.2447 | 21.5667 | 879 | 100 | 24.9773
2020-06-15 23:30:00 | 5.4127 | 337.1 | 5.7687 | 318.3133 | 6.4987 | 330.14 | 6.8513 | 319.94 | 21.4533 | 879 | 100 | 27.6
2020-06-15 23:45:00 | 5.488 | 337.7533 | 5.8547 | 325.1067 | 6.402 | 330.3227 | 6.832 | 326.7687 | 21.34 | 878.4 | 100 | 29.036