## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-17 00:00:00 | 8.6173 | 319.2 | 9.1927 | 333.1407 | 9.646 | 312.178 | 10.4393 | 334.8413 | 21.62 | 876 | 84.94 | 60.5593
2020-06-17 00:15:00 | 8.2967 | 255.3933 | 8.838 | 336.6213 | 9.4873 | 249.774 | 10.1693 | 338.342 | 21.5667 | 876 | 84.8333 | 60.2407
2020-06-17 00:30:00 | 8.0893 | 340.6333 | 8.536 | 328.3927 | 8.8587 | 333.1413 | 9.4873 | 330.0713 | 21.6533 | 876 | 84.8333 | 54.2833
2020-06-17 00:45:00 | 8.3453 | 341.6267 | 8.8553 | 326.3907 | 9.05 | 334.1107 | 9.8227 | 328.06 | 21.1 | 876 | 83.6667 | 55.5707
2020-06-17 01:00:00 | 7.564 | 334.46 | 8.0153 | 320.1313 | 8.386 | 327.1007 | 9.004 | 321.7687 | 20.24 | 876 | 92.9 | 56.6093
2020-06-17 01:15:00 | 7.3853 | 331.0133 | 7.8293 | 294.6953 | 7.8353 | 323.1373 | 8.548 | 296.2047 | 19.7133 | 876.6 | 97.7733 | 54.666
2020-06-17 01:30:00 | 6.4753 | 329.8467 | 6.928 | 315.3533 | 7.4067 | 322.5893 | 7.9973 | 316.9653 | 19.26 | 877 | 98.7333 | 48.146
2020-06-17 01:45:00 | 6.0433 | 307.4133 | 6.3613 | 322.1993 | 6.7773 | 300.65 | 7.1727 | 323.8473 | 19.06 | 877 | 99.4267 | 42.596
2020-06-17 02:00:00 | 6.494 | 335.2 | 6.818 | 322.2973 | 7.066 | 327.8253 | 7.5187 | 323.9447 | 18.54 | 876.7333 | 99.8933 | 46.614
2020-06-17 02:15:00 | 6.8307 | 322.6533 | 7.2493 | 332.0567 | 7.6767 | 315.5547 | 8.228 | 333.754 | 18.1067 | 876 | 100 | 51.4833
2020-06-17 02:30:00 | 7.866 | 302.86 | 8.4027 | 285.576 | 9.0007 | 296.1967 | 9.6913 | 287.036 | 18.06 | 876 | 100 | 60.0473
2020-06-17 02:45:00 | 9.168 | 277.8267 | 9.8093 | 330.042 | 10.686 | 271.7153 | 11.46 | 331.73 | 18.02 | 875.4 | 100 | 61.036
2020-06-17 03:00:00 | 10.9333 | 297.18 | 11.7247 | 329.096 | 12.2187 | 290.6413 | 13.346 | 330.7807 | 17.9467 | 874.7333 | 100 | 61.4713
2020-06-17 03:15:00 | 11.092 | 342.86 | 11.7693 | 330.9087 | 12.3707 | 335.3173 | 13.2867 | 332.6013 | 17.9 | 874 | 100 | 60.814
2020-06-17 03:30:00 | 10.224 | 347.1333 | 10.8687 | 326.0347 | 11.6747 | 339.4973 | 12.4747 | 327.6993 | 17.8267 | 874.2667 | 100 | 61.204
2020-06-17 03:45:00 | 9.5187 | 323.0867 | 10.242 | 328.9213 | 10.998 | 315.978 | 11.9387 | 330.6027 | 17.7933 | 875 | 100 | 61.0627
2020-06-17 04:00:00 | 9.712 | 297.88 | 10.3353 | 304.2027 | 10.6893 | 291.328 | 11.5913 | 305.758 | 17.82 | 875 | 100 | 61.5053
2020-06-17 04:15:00 | 9.864 | 341.6467 | 10.404 | 331.08 | 11.1173 | 334.13 | 11.782 | 332.7713 | 18.0333 | 875 | 100 | 61.7213
2020-06-17 04:30:00 | 10.2953 | 232 | 10.9813 | 334.698 | 11.9413 | 226.896 | 12.7713 | 336.4093 | 18.3133 | 874.7333 | 100 | 61.14
2020-06-17 04:45:00 | 10.366 | 256.8333 | 11.1387 | 315.0907 | 12.1913 | 251.182 | 13.128 | 316.7027 | 18.52 | 874.6 | 100 | 59.7727
2020-06-17 05:00:00 | 10.1973 | 278.36 | 11.0193 | 290.2053 | 11.9927 | 272.2353 | 13.0313 | 291.6907 | 18.6667 | 875 | 100 | 59.464
2020-06-17 05:15:00 | 10.2427 | 165.8733 | 11.0907 | 312.0927 | 12.0233 | 162.2233 | 13.114 | 313.6907 | 18.6867 | 875 | 100 | 59.8393
2020-06-17 05:30:00 | 10.176 | 257.7 | 11.0167 | 286.3193 | 11.954 | 252.0313 | 13.036 | 287.7833 | 18.76 | 875 | 100 | 59.8607
2020-06-17 05:45:00 | 9.86 | 348.4067 | 10.7353 | 326.9007 | 11.6487 | 340.7413 | 12.7867 | 328.57 | 18.8133 | 875 | 100 | 60.5907
2020-06-17 06:00:00 | 9.5087 | 301.4933 | 10.308 | 332.9493 | 11.276 | 317.674 | 12.274 | 334.6533 | 18.9067 | 875 | 100 | 61.5833
2020-06-17 06:15:00 | 9.9713 | 322.14 | 10.8627 | 313.7293 | 11.6387 | 315.0533 | 12.8427 | 315.3333 | 19.1067 | 875 | 98.82 | 59.4953
2020-06-17 06:30:00 | 9.94 | 278.4933 | 10.538 | 334.3707 | 11.1967 | 272.3667 | 11.97 | 336.0807 | 19.28 | 875.6667 | 96.92 | 59.7587
2020-06-17 06:45:00 | 10.096 | 301.1933 | 10.946 | 313.0113 | 11.708 | 294.5667 | 12.8513 | 314.612 | 19.3933 | 875 | 95.9267 | 59.9787
2020-06-17 07:00:00 | 10.11 | 302.3333 | 10.9487 | 335.7467 | 11.6167 | 295.682 | 12.774 | 337.464 | 19.5933 | 875.2667 | 93.9333 | 59.85
2020-06-17 07:15:00 | 9.6293 | 257 | 10.468 | 314.7847 | 11.34 | 272.6607 | 12.46 | 317.4633 | 19.5933 | 876 | 92.4333 | 59.8547
2020-06-17 07:30:00 | 10.2793 | 231.6867 | 10.9407 | 310.3187 | 11.9507 | 228.5313 | 12.7133 | 311.9053 | 19.7667 | 876 | 91.0933 | 59.146
2020-06-17 07:45:00 | 9.8633 | 214.8 | 10.6527 | 286.9313 | 11.624 | 210.074 | 12.612 | 288.3987 | 19.92 | 876 | 88.9933 | 59.63
2020-06-17 08:00:00 | 10.426 | 261.22 | 11.2013 | 264.738 | 12.204 | 255.4727 | 13.1593 | 266.092 | 20.1467 | 876 | 87.7533 | 59.4107
2020-06-17 08:15:00 | 10.128 | 255.3533 | 10.8833 | 247.362 | 11.9927 | 249.7353 | 12.882 | 248.626 | 20.4333 | 876 | 84.52 | 59.69
2020-06-17 08:30:00 | 9.4633 | 213.14 | 10.1753 | 332.2253 | 11.2507 | 208.45 | 12.084 | 333.9247 | 20.54 | 876 | 83.2 | 61.0147
2020-06-17 08:45:00 | 8.744 | 254.94 | 9.3247 | 286.828 | 10.294 | 249.332 | 10.9453 | 288.296 | 20.6667 | 876.6 | 83.7 | 61.4873
2020-06-17 09:00:00 | 8.7453 | 210.3733 | 9.3713 | 314.2053 | 10.276 | 205.7447 | 11.0187 | 315.8127 | 20.96 | 877 | 80.9587 | 61.3267
2020-06-17 09:15:00 | 9.4153 | 302.78 | 10.086 | 289.958 | 11.1753 | 296.1193 | 11.9353 | 291.44 | 21.0933 | 877 | 78.994 | 61.332
2020-06-17 09:30:00 | 9.928 | 260.9467 | 10.7253 | 297.292 | 11.6993 | 255.206 | 12.6973 | 298.8113 | 21.2267 | 877 | 76.8473 | 61.5113
2020-06-17 09:45:00 | 9.0953 | 255.5067 | 9.822 | 269.212 | 10.9493 | 249.8867 | 11.7887 | 270.588 | 21.4867 | 877 | 74.868 | 61.3013
2020-06-17 10:00:00 | 10.0593 | 143.4 | 10.824 | 292.644 | 11.754 | 140.246 | 12.7093 | 294.1413 | 21.8067 | 877.6667 | 73.1233 | 61.538
2020-06-17 10:15:00 | 9.7693 | 237.5 | 10.5533 | 316.3253 | 11.348 | 232.2747 | 12.3827 | 317.9413 | 21.9667 | 877.6 | 70.5273 | 61.044
2020-06-17 10:30:00 | 9.1313 | 166.18 | 9.8133 | 271.942 | 10.6587 | 162.5233 | 11.5073 | 273.332 | 22.2333 | 878 | 70.7767 | 60.6
2020-06-17 10:45:00 | 9.4687 | 236.3267 | 10.148 | 229.2553 | 11.0873 | 231.1273 | 11.908 | 230.428 | 22.4067 | 878 | 69.8567 | 58.508
2020-06-17 11:00:00 | 9.4393 | 189.7733 | 10.0887 | 268.5187 | 10.6747 | 185.5987 | 11.5507 | 269.8933 | 22.6133 | 878 | 69.2927 | 58.5107
2020-06-17 11:15:00 | 9.522 | 198.0933 | 10.0693 | 273.7553 | 10.7847 | 193.7353 | 11.4573 | 275.1567 | 22.9 | 878 | 66.738 | 58.786
2020-06-17 11:30:00 | 10.348 | 123.5867 | 10.9187 | 249.6507 | 11.8613 | 120.8673 | 12.51 | 250.9267 | 23.0333 | 878 | 64.2687 | 58.866
2020-06-17 11:45:00 | 9.8847 | 213.76 | 10.4847 | 320.738 | 11.3413 | 209.0053 | 12.0493 | 322.3793 | 23.0667 | 878 | 64.5387 | 60.9613
2020-06-17 12:00:00 | 10.072 | 303.7733 | 10.7667 | 293.8173 | 11.5887 | 297.0907 | 12.4693 | 295.32 | 23.2133 | 878 | 64.1933 | 61.2733
2020-06-17 12:15:00 | 9.7153 | 259.7733 | 10.3793 | 228.9633 | 11.0113 | 254.0587 | 11.894 | 230.132 | 23.54 | 878 | 63.128 | 60.0507
2020-06-17 12:30:00 | 9.4993 | 170.2333 | 10.0393 | 255.3307 | 10.6053 | 166.488 | 11.3113 | 256.6367 | 24.0067 | 878.9333 | 62.186 | 59.664
2020-06-17 12:45:00 | 9.4347 | 146.8333 | 9.8013 | 185.7153 | 10.3347 | 143.806 | 10.7507 | 186.6647 | 24.3867 | 879 | 60.916 | 56.0853
2020-06-17 13:00:00 | 9.8633 | 78.3667 | 10.502 | 184.828 | 11.182 | 76.6427 | 12.01 | 185.7733 | 24.5333 | 879 | 59.2267 | 57.4353
2020-06-17 13:15:00 | 9.1607 | 124.68 | 9.864 | 251.97 | 10.3227 | 121.3087 | 11.342 | 253.2607 | 24.6933 | 879 | 57.768 | 58.7887
2020-06-17 13:30:00 | 8.1573 | 80.7867 | 8.7347 | 252.982 | 9.318 | 79.0093 | 10.0767 | 254.2747 | 24.8667 | 879 | 57.4167 | 57.7127
2020-06-17 13:45:00 | 7.6853 | 150.0333 | 8.3053 | 144.1773 | 8.662 | 146.732 | 9.556 | 144.9133 | 25.2267 | 879 | 57.5247 | 54.7233
2020-06-17 14:00:00 | 7.2533 | 169.5733 | 7.7267 | 277.2773 | 8.5547 | 165.8433 | 9.0813 | 278.694 | 25.58 | 879.2667 | 55.672 | 54.9347
2020-06-17 14:15:00 | 7.126 | 239.5067 | 7.6033 | 188.4147 | 8.242 | 234.2373 | 8.8293 | 189.3793 | 25.5733 | 880 | 53.996 | 54.0427
2020-06-17 14:30:00 | 7.2867 | 146.7133 | 7.7847 | 251.6073 | 8.4107 | 143.486 | 9.0293 | 252.8927 | 26.1667 | 880 | 54.8927 | 54.5667
2020-06-17 14:45:00 | 7.4607 | 236.9067 | 7.804 | 246.084 | 8.4393 | 231.6947 | 8.8113 | 247.342 | 26.42 | 880 | 52.4813 | 55.018
2020-06-17 15:00:00 | 7.4493 | 165.66 | 8.0427 | 247.2187 | 8.8867 | 162.0153 | 9.594 | 248.4827 | 26.2867 | 880 | 52.0493 | 54.172
2020-06-17 15:15:00 | 7.816 | 169.0067 | 8.3253 | 228.6867 | 8.9687 | 165.2887 | 9.6 | 229.858 | 26.0933 | 880 | 52.5527 | 56.012
2020-06-17 15:30:00 | 8.01 | 167.1667 | 8.5193 | 226.706 | 9.1367 | 163.49 | 9.7787 | 227.8667 | 25.9467 | 880 | 53.7213 | 58.0547
2020-06-17 15:45:00 | 8.1133 | 211.1733 | 8.6313 | 206.6833 | 9.4353 | 206.5253 | 10.0333 | 207.7413 | 25.98 | 880 | 54.8013 | 57.904
2020-06-17 16:00:00 | 8.434 | 185.84 | 8.894 | 206.5847 | 9.5907 | 183.1273 | 10.1447 | 207.6427 | 26.1867 | 879.3333 | 54.4607 | 57.508
2020-06-17 16:15:00 | 8.696 | 213.8267 | 9.3633 | 272.6393 | 10.012 | 209.1227 | 10.896 | 274.0347 | 26.2133 | 880 | 52.002 | 56.0173
2020-06-17 16:30:00 | 8.848 | 237.24 | 9.3913 | 275.5413 | 10.0093 | 231.8893 | 10.7033 | 276.9507 | 26.2 | 880 | 49.9867 | 54.0747
2020-06-17 16:45:00 | 8.6787 | 216.9533 | 9.198 | 255.3033 | 9.822 | 212.1807 | 10.4793 | 256.6093 | 26.18 | 880 | 48.5707 | 56.4213
2020-06-17 17:00:00 | 8.6193 | 233.74 | 9.0587 | 229.8293 | 9.5507 | 228.5967 | 10.1187 | 231.004 | 26.34 | 880 | 49.0527 | 56.6573
2020-06-17 17:15:00 | 8.5633 | 168.3867 | 9.182 | 250.3033 | 9.8153 | 164.682 | 10.626 | 251.5827 | 26.22 | 880 | 48.476 | 57.0487
2020-06-17 17:30:00 | 7.5453 | 208.62 | 8.0553 | 204.982 | 8.6707 | 204.0293 | 9.3093 | 206.03 | 26.4067 | 880 | 49.142 | 55.0867
2020-06-17 17:45:00 | 7.7287 | 235.44 | 8.334 | 290.5367 | 9.1727 | 208.4567 | 9.904 | 292.0233 | 26.6467 | 880 | 48.73 | 54.5753
2020-06-17 18:00:00 | 7.982 | 300.02 | 8.5607 | 254.6653 | 9.088 | 293.4193 | 9.872 | 255.966 | 26.4133 | 880 | 50.9853 | 56.056
2020-06-17 18:15:00 | 7.19 | 260.0933 | 7.722 | 268.9367 | 8.372 | 254.372 | 9.0367 | 270.3127 | 26.1067 | 880 | 52.3013 | 54.8833
2020-06-17 18:30:00 | 6.3687 | 236.32 | 6.6813 | 267.4373 | 7.2367 | 231.12 | 7.5807 | 268.804 | 25.9133 | 880 | 54.624 | 52.448
2020-06-17 18:45:00 | 5.8453 | 215.04 | 6.174 | 308.3047 | 6.77 | 209.8853 | 7.11 | 309.8807 | 25.78 | 880 | 54.734 | 46.0893
2020-06-17 19:00:00 | 5.8407 | 234.9867 | 5.9593 | 327.9887 | 6.4693 | 229.8167 | 6.5153 | 329.6667 | 25.7133 | 880 | 55.7247 | 44.224
2020-06-17 19:15:00 | 4.9687 | 188.8067 | 5.1267 | 310.3453 | 5.5273 | 184.6527 | 5.668 | 311.932 | 25.4533 | 880 | 56.752 | 39.0127
2020-06-17 19:30:00 | 5.1173 | 192.76 | 5.2887 | 330.512 | 5.808 | 188.6947 | 5.936 | 332.2007 | 25.2267 | 880 | 57.1993 | 36.218
2020-06-17 19:45:00 | 4.8607 | 234.3067 | 5.148 | 176.6253 | 5.6447 | 229.1527 | 5.9647 | 177.5287 | 24.9467 | 880 | 58.5167 | 34.1447
2020-06-17 20:00:00 | 4.7207 | 208.8933 | 4.984 | 286.2353 | 5.4453 | 204.2973 | 5.7373 | 287.698 | 24.9533 | 880 | 58.37 | 32.7453
2020-06-17 20:15:00 | 4.81 | 318.2867 | 4.9567 | 322.2247 | 5.3773 | 311.2847 | 5.494 | 323.872 | 24.7867 | 880 | 58.5787 | 35.1353
2020-06-17 20:30:00 | 4.832 | 273.2733 | 4.8833 | 329.7227 | 5.2253 | 267.2613 | 5.216 | 331.4087 | 24.7733 | 880 | 58.8507 | 30.338
2020-06-17 20:45:00 | 4.668 | 256.8 | 4.7633 | 329.7887 | 5.0307 | 251.1513 | 5.108 | 331.4753 | 24.6933 | 880 | 60.6873 | 30.2547
2020-06-17 21:00:00 | 3.972 | 234.64 | 4.164 | 310.1753 | 4.46 | 229.4773 | 4.6853 | 311.7607 | 24.5533 | 880 | 61.308 | 23.8167
2020-06-17 21:15:00 | 4.0587 | 300.5733 | 4.2473 | 288.7713 | 4.478 | 271.31 | 4.7087 | 290.2467 | 24.4467 | 880.6 | 60.9027 | 23.8213
2020-06-17 21:30:00 | 3.8907 | 233.76 | 4.02 | 290.6227 | 4.3153 | 228.6167 | 4.4447 | 292.1087 | 24.3067 | 881 | 61.8453 | 26.798
2020-06-17 21:45:00 | 5.0293 | 278.1667 | 5.2027 | 274.042 | 5.3987 | 272.0473 | 5.6253 | 275.4427 | 24.0333 | 881 | 62.4673 | 34.3887
2020-06-17 22:00:00 | 4.6727 | 279.1533 | 4.9033 | 294.8093 | 4.9767 | 273.012 | 5.3253 | 296.3167 | 23.9067 | 880.0667 | 64.4827 | 29.6773
2020-06-17 22:15:00 | 4.322 | 207.8067 | 4.548 | 315.646 | 4.6367 | 203.2353 | 4.9773 | 317.2613 | 23.7533 | 880.6 | 64.17 | 26.194
2020-06-17 22:30:00 | 4.148 | 234.4467 | 4.3513 | 335.1347 | 4.6807 | 229.288 | 4.9127 | 336.8473 | 23.7067 | 881 | 63.616 | 21.13
2020-06-17 22:45:00 | 4.402 | 297.8 | 4.5927 | 330.0227 | 4.76 | 291.248 | 5.0173 | 331.71 | 23.66 | 881 | 63.5773 | 19.0887
2020-06-17 23:00:00 | 4.2153 | 251.36 | 4.4007 | 327.818 | 4.5333 | 245.83 | 4.7953 | 329.496 | 23.5 | 881 | 64.634 | 17.06
2020-06-17 23:15:00 | 4.4467 | 323.76 | 4.6753 | 325.5493 | 4.8 | 316.6367 | 5.132 | 327.2147 | 23.5133 | 881 | 65.0313 | 19.6733
2020-06-17 23:30:00 | 4.2307 | 303.7333 | 4.5093 | 327.4007 | 4.7847 | 296.4773 | 5.1567 | 329.0753 | 23.36 | 881 | 65.5733 | 21.0933
2020-06-17 23:45:00 | 4.4367 | 340.36 | 4.7267 | 324.0127 | 4.954 | 332.8713 | 5.356 | 325.668 | 23.2667 | 881 | 66.9033 | 22.854