## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-18 00:00:00 | 4.5507 | 343.9667 | 4.84 | 327.8453 | 4.9793 | 336.398 | 5.41 | 329.52 | 23.14 | 881 | 66.722 | 23.0847
2020-06-18 00:15:00 | 4.6633 | 342.4133 | 4.968 | 328.0153 | 5.1907 | 334.88 | 5.6133 | 329.6907 | 23.0467 | 880.4 | 67.9747 | 24.2
2020-06-18 00:30:00 | 4.7473 | 342.96 | 5.0547 | 336.242 | 5.21 | 335.7147 | 5.6553 | 337.5107 | 22.8933 | 880 | 69.8493 | 23.5733
2020-06-18 00:45:00 | 4.7967 | 345.3733 | 5.114 | 336.9147 | 5.1673 | 337.774 | 5.666 | 338.638 | 22.8467 | 880 | 72.1147 | 23.022
2020-06-18 01:00:00 | 4.84 | 321.2133 | 5.084 | 340.1153 | 5.0873 | 314.148 | 5.4807 | 341.854 | 22.8067 | 880 | 72.9667 | 21.4613
2020-06-18 01:15:00 | 4.7533 | 349 | 4.9353 | 339.3593 | 4.9413 | 341.3207 | 5.232 | 341.096 | 22.6867 | 880 | 71.8287 | 20.1907
2020-06-18 01:30:00 | 4.5593 | 306.2333 | 4.6627 | 318.3913 | 4.6653 | 299.496 | 4.836 | 320.018 | 22.6933 | 880 | 72.214 | 17.2273
2020-06-18 01:45:00 | 4.494 | 256.94 | 4.6647 | 338.094 | 4.7607 | 251.288 | 5.008 | 339.8233 | 22.5133 | 880 | 74.1527 | 16.714
2020-06-18 02:00:00 | 4.3353 | 305.4933 | 4.5713 | 307.8553 | 4.636 | 298.772 | 5.002 | 309.4293 | 22.06 | 880 | 77.2493 | 15.772
2020-06-18 02:15:00 | 3.9427 | 328.3267 | 4.2313 | 331.208 | 4.266 | 321.1047 | 4.7213 | 332.9027 | 21.56 | 880 | 79.93 | 15.2207
2020-06-18 02:30:00 | 3.6347 | 233.0067 | 3.922 | 330.7267 | 4.0413 | 227.88 | 4.468 | 332.418 | 21.4 | 880 | 79.0233 | 11.02
2020-06-18 02:45:00 | 3.4553 | 165.2 | 3.7 | 325.4007 | 4.002 | 161.5653 | 4.3073 | 327.0633 | 21.3733 | 880 | 78.7707 | 7.888
2020-06-18 03:00:00 | 3.6627 | 234.76 | 3.876 | 327.3693 | 4.2533 | 229.596 | 4.4873 | 329.0427 | 21.7133 | 880 | 79.0873 | 8.916
2020-06-18 03:15:00 | 3.6047 | 345.6333 | 3.85 | 320.922 | 4.2127 | 338.0307 | 4.5007 | 322.562 | 21.84 | 880 | 77.9947 | 9.352
2020-06-18 03:30:00 | 4.0247 | 320.66 | 4.276 | 325.954 | 4.492 | 313.604 | 4.8347 | 327.6207 | 21.7733 | 880 | 78.2087 | 12.716
2020-06-18 03:45:00 | 4.1613 | 348.4133 | 4.428 | 326.8667 | 4.7647 | 340.7487 | 5.094 | 328.5387 | 21.8 | 880 | 80.3813 | 12.622
2020-06-18 04:00:00 | 4.2593 | 327.6467 | 4.548 | 327.8847 | 4.8493 | 320.4387 | 5.228 | 329.562 | 21.8267 | 880 | 81.2267 | 12.8467
2020-06-18 04:15:00 | 4.292 | 350.4533 | 4.552 | 329.2287 | 4.9847 | 342.744 | 5.28 | 330.9107 | 21.7067 | 880 | 82.9933 | 12.748
2020-06-18 04:30:00 | 4.1393 | 299.1733 | 4.314 | 325.804 | 4.75 | 292.592 | 4.9067 | 327.47 | 21.7333 | 880 | 82.62 | 11.334
2020-06-18 04:45:00 | 4.1047 | 340.9067 | 4.2633 | 327.6753 | 4.7587 | 333.4067 | 4.872 | 329.35 | 21.6667 | 880 | 84.5 | 11.7073
2020-06-18 05:00:00 | 4.04 | 318.5733 | 4.2933 | 323.1767 | 4.7513 | 311.5633 | 5.0327 | 324.83 | 21.4133 | 880 | 85.3267 | 10.5993
2020-06-18 05:15:00 | 3.9807 | 341.9533 | 4.2627 | 320.6453 | 4.7107 | 334.4313 | 5.0353 | 322.286 | 21.02 | 880 | 85.98 | 12.6513
2020-06-18 05:30:00 | 4.3627 | 349.02 | 4.662 | 324.4687 | 5.068 | 341.342 | 5.4313 | 326.126 | 20.72 | 880 | 87.48 | 15.0547
2020-06-18 05:45:00 | 4.6507 | 345.2533 | 4.888 | 328.2607 | 5.4007 | 337.658 | 5.6367 | 329.94 | 20.2 | 880 | 88.06 | 16.1287
2020-06-18 06:00:00 | 4.7993 | 343.9733 | 5.016 | 331.216 | 5.5033 | 336.4053 | 5.71 | 332.91 | 19.86 | 880 | 88.48 | 17.6947
2020-06-18 06:15:00 | 4.7947 | 344.1133 | 4.9907 | 327.6167 | 5.5173 | 336.184 | 5.6833 | 329.2913 | 20.2533 | 880.6 | 89.5067 | 18.7427
2020-06-18 06:30:00 | 5.0267 | 307.0267 | 5.3393 | 328.3667 | 5.8153 | 300.2713 | 6.1793 | 330.046 | 19.84 | 881 | 91.6333 | 20.91
2020-06-18 06:45:00 | 4.9727 | 351.7 | 5.26 | 326.8353 | 5.7167 | 343.962 | 6.0493 | 328.506 | 19.84 | 881 | 90 | 21.752
2020-06-18 07:00:00 | 5.32 | 346.0867 | 5.6007 | 327.6627 | 6.1327 | 338.4733 | 6.4293 | 329.338 | 20.0533 | 881.2667 | 86.4333 | 24.536
2020-06-18 07:15:00 | 5.1527 | 346.8067 | 5.4287 | 327.0107 | 6.0187 | 338.948 | 6.2967 | 328.7353 | 19.9333 | 882 | 84.0067 | 24.0693
2020-06-18 07:30:00 | 5.0707 | 345.6333 | 5.3147 | 324.8647 | 5.8893 | 338.0293 | 6.1227 | 326.5267 | 19.74 | 882.2667 | 82.7933 | 21.928
2020-06-18 07:45:00 | 4.9347 | 260.7733 | 5.1587 | 322.6747 | 5.6987 | 255.0353 | 5.9 | 324.3253 | 19.5533 | 883 | 82.66 | 19.5493
2020-06-18 08:00:00 | 5.0407 | 278.26 | 5.3053 | 326.1493 | 5.856 | 272.14 | 6.124 | 327.816 | 19.7133 | 883 | 82.22 | 21.052
2020-06-18 08:15:00 | 5.0673 | 348.8333 | 5.3773 | 325.812 | 5.8373 | 341.16 | 6.2007 | 327.478 | 19.8267 | 883.6 | 81.2133 | 20.6953
2020-06-18 08:30:00 | 4.9307 | 344.48 | 5.25 | 325.4507 | 5.6227 | 336.6027 | 6.0293 | 327.116 | 20.3267 | 884 | 79.9 | 18.008
2020-06-18 08:45:00 | 4.722 | 327.82 | 5.0707 | 323.1313 | 5.15 | 320.608 | 5.6887 | 324.784 | 20.78 | 884 | 77.3913 | 15.9073
2020-06-18 09:00:00 | 5.054 | 344.02 | 5.4053 | 326.7293 | 5.3747 | 336.45 | 5.9553 | 328.4 | 20.9933 | 884.9333 | 75.4447 | 19.9747
2020-06-18 09:15:00 | 4.97 | 332.7733 | 5.276 | 320.6207 | 5.2253 | 325.4527 | 5.7333 | 322.26 | 21.1667 | 885 | 74.4747 | 21.628
2020-06-18 09:30:00 | 5.3507 | 313.78 | 5.572 | 325.544 | 6.0187 | 306.8767 | 6.2487 | 327.208 | 21.5467 | 885 | 71.816 | 19.9647
2020-06-18 09:45:00 | 4.1627 | 312.2133 | 4.2827 | 327.292 | 5.022 | 305.344 | 5.0027 | 328.9647 | 21.9933 | 885 | 70.154 | 11.938
2020-06-18 10:00:00 | 2.9913 | 249.4467 | 3.1853 | 283.952 | 3.7293 | 243.958 | 3.8833 | 285.4053 | 22.7333 | 885.2667 | 68.3847 | 4.5327
2020-06-18 10:15:00 | 2.9773 | 341.2867 | 3.1967 | 324.858 | 3.6867 | 333.7787 | 3.8947 | 326.5187 | 23.3933 | 886 | 67.4127 | 3.3213
2020-06-18 10:30:00 | 2.902 | 294.3867 | 3.026 | 334.1427 | 3.594 | 287.91 | 3.6327 | 335.8513 | 23.8267 | 886 | 66.426 | 2.7107
2020-06-18 10:45:00 | 2.6427 | 311.5 | 2.9067 | 231.2707 | 3.2187 | 304.6467 | 3.5507 | 232.4527 | 24.3267 | 885.4 | 62.8253 | 1.8427
2020-06-18 11:00:00 | 2.244 | 315.0733 | 2.4153 | 244.6233 | 2.7913 | 305.5987 | 2.9513 | 245.8753 | 25.2133 | 885.9333 | 60.2493 | 0.77
2020-06-18 11:15:00 | 2.2813 | 289.5933 | 2.3727 | 278.8147 | 2.8967 | 283.222 | 2.892 | 280.2393 | 25.7267 | 885.4 | 59.0353 | 0.04
2020-06-18 11:30:00 | 2.206 | 279.46 | 2.3287 | 307.3653 | 2.6867 | 273.3113 | 2.7793 | 308.9367 | 26.0067 | 885 | 58.1213 | 0
2020-06-18 11:45:00 | 1.868 | 215.46 | 1.95 | 307.8007 | 2.2893 | 210.7187 | 2.3253 | 309.3753 | 26.4533 | 885 | 56.4887 | 0
2020-06-18 12:00:00 | 1.342 | 208.8333 | 1.426 | 285.3787 | 1.8793 | 204.2393 | 1.8793 | 286.8393 | 27.52 | 885 | 54.53 | 0
2020-06-18 12:15:00 | 1.3773 | 138.48 | 1.4913 | 292.8127 | 1.7213 | 135.4327 | 1.836 | 294.3113 | 28.2467 | 885 | 52.3253 | 0
2020-06-18 12:30:00 | 0.868 | 153.4667 | 1.0253 | 232.1907 | 1.2147 | 149.5613 | 1.3893 | 233.378 | 29.28 | 885 | 49.9993 | 0
2020-06-18 12:45:00 | 1.2007 | 162.58 | 1.4267 | 206.0907 | 1.356 | 159.004 | 1.7373 | 207.144 | 29 | 885 | 48.566 | 0
2020-06-18 13:00:00 | 1.936 | 168.6933 | 2.04 | 145.494 | 2.1567 | 164.9807 | 2.2907 | 146.2373 | 28.6867 | 885 | 45.9747 | 0
2020-06-18 13:15:00 | 1.964 | 199.5733 | 2.0333 | 141.4773 | 2.108 | 195.0913 | 2.1887 | 142.2007 | 28.2867 | 885 | 47.4 | 0
2020-06-18 13:30:00 | 1.9233 | 189.2133 | 1.9833 | 140.232 | 1.972 | 185.052 | 2.0733 | 140.95 | 28.18 | 885 | 50.842 | 0
2020-06-18 13:45:00 | 2.0793 | 195.5933 | 2.162 | 122.694 | 2.2593 | 191.2893 | 2.3673 | 123.3207 | 28.18 | 885 | 51.4607 | 0.022
2020-06-18 14:00:00 | 2.064 | 181.9867 | 2.1427 | 128.7433 | 2.306 | 177.9827 | 2.3867 | 129.402 | 28.4667 | 884.0667 | 50 | 0.027333
2020-06-18 14:15:00 | 2.0273 | 212.0933 | 2.062 | 120.2107 | 2.3607 | 207.428 | 2.332 | 120.8233 | 28.7133 | 884 | 48.9373 | 0.116
2020-06-18 14:30:00 | 1.964 | 199.9133 | 2.0313 | 129.9307 | 2.3807 | 195.516 | 2.392 | 130.5953 | 29.0933 | 884 | 46.9253 | 0.108
2020-06-18 14:45:00 | 2.252 | 176.9067 | 2.378 | 130.6487 | 2.632 | 173.0147 | 2.762 | 131.316 | 29.2533 | 884 | 45.6993 | 0.17133
2020-06-18 15:00:00 | 2.09 | 173.7467 | 2.1947 | 139.398 | 2.4773 | 169.924 | 2.5647 | 140.11 | 29.5467 | 884 | 44.004 | 0.106
2020-06-18 15:15:00 | 1.906 | 160.16 | 2.0207 | 137.95 | 2.1593 | 157.3333 | 2.3107 | 138.656 | 29.9067 | 884 | 43.2393 | 0
2020-06-18 15:30:00 | 2.042 | 168.1733 | 2.1247 | 138.4727 | 2.328 | 164.474 | 2.404 | 139.178 | 30.06 | 884 | 42.1373 | 0
2020-06-18 15:45:00 | 2.266 | 162.9667 | 2.3807 | 143.8113 | 2.6633 | 159.3807 | 2.766 | 144.5473 | 30.2867 | 884 | 41.59 | 0.18733
2020-06-18 16:00:00 | 2.2467 | 163.4333 | 2.3373 | 125.8613 | 2.62 | 159.838 | 2.6867 | 126.5047 | 30.1 | 884 | 40.3793 | 0.22133
2020-06-18 16:15:00 | 1.804 | 174.2067 | 1.9653 | 158.3373 | 2.2233 | 170.3727 | 2.412 | 159.1487 | 30.4133 | 884 | 40.0107 | 0
2020-06-18 16:30:00 | 1.918 | 161.8933 | 2.0193 | 134.5407 | 2.2653 | 158.3313 | 2.3547 | 135.228 | 30.62 | 883.7333 | 38.5527 | 0
2020-06-18 16:45:00 | 1.4267 | 149.2667 | 1.532 | 140.6427 | 1.7967 | 145.982 | 1.8887 | 141.362 | 31.1 | 883 | 37.032 | 0
2020-06-18 17:00:00 | 1.6773 | 151.9667 | 1.784 | 153.8527 | 1.7827 | 148.624 | 1.9553 | 154.638 | 31 | 883 | 36.0193 | 0
2020-06-18 17:15:00 | 1.776 | 153.0933 | 1.8627 | 144.3133 | 2.0967 | 149.7253 | 2.17 | 145.0507 | 31.18 | 883 | 35.6287 | 0
2020-06-18 17:30:00 | 1.858 | 176 | 1.9587 | 150.442 | 2.124 | 172.128 | 2.236 | 151.2127 | 30.86 | 883 | 34.3113 | 0
2020-06-18 17:45:00 | 1.7 | 191.68 | 1.7687 | 145.416 | 1.9153 | 187.4633 | 1.9833 | 146.1593 | 30.82 | 883 | 33.79 | 0
2020-06-18 18:00:00 | 1.5707 | 149.2533 | 1.6373 | 157.9593 | 1.6667 | 145.97 | 1.7667 | 158.7673 | 30.88 | 883 | 35.1727 | 0
2020-06-18 18:15:00 | 1.3633 | 200.6467 | 1.414 | 189.0347 | 1.3647 | 196.2327 | 1.4653 | 190.0007 | 31.02 | 883 | 35.8013 | 0
2020-06-18 18:30:00 | 1.3867 | 184.68 | 1.4267 | 193.5467 | 1.5587 | 181.0533 | 1.578 | 193.7433 | 30.7267 | 883 | 34.864 | 0
2020-06-18 18:45:00 | 1.552 | 195.3933 | 1.6113 | 167.8507 | 1.75 | 190.9 | 1.806 | 168.7087 | 30.54 | 883 | 35.7487 | 0
2020-06-18 19:00:00 | 1.5773 | 176.5667 | 1.6127 | 170.7127 | 1.808 | 172.682 | 1.8093 | 171.5847 | 30.48 | 883 | 37.4493 | 0.026667
2020-06-18 19:15:00 | 2.35 | 150.78 | 2.3993 | 175.068 | 2.5233 | 147.462 | 2.5667 | 175.9633 | 30.0933 | 882.4 | 39.5393 | 0.89533
2020-06-18 19:30:00 | 2.4567 | 158.94 | 2.5627 | 165.856 | 2.8827 | 155.444 | 2.9607 | 166.7027 | 29.6933 | 882 | 42.5473 | 2.418
2020-06-18 19:45:00 | 2.8027 | 151.8267 | 3.01 | 147.1833 | 3.1233 | 148.486 | 3.4247 | 147.9353 | 29.34 | 882 | 44.3173 | 4.622
2020-06-18 20:00:00 | 3.5073 | 158.16 | 3.672 | 137.8253 | 3.8853 | 154.68 | 4.09 | 138.5307 | 28.4467 | 882 | 46.5967 | 10.3027
2020-06-18 20:15:00 | 3.8933 | 152.86 | 4.0553 | 134.6907 | 4.206 | 149.496 | 4.424 | 135.38 | 27.7733 | 882 | 51.042 | 13.5333
2020-06-18 20:30:00 | 3.9553 | 146.0933 | 4.12 | 136.6147 | 4.462 | 142.878 | 4.6307 | 137.312 | 27.3533 | 882 | 54.0713 | 15.5747
2020-06-18 20:45:00 | 3.774 | 137.0067 | 3.9353 | 135.186 | 4.4993 | 133.0927 | 4.5987 | 135.8773 | 26.8733 | 882 | 56.5987 | 17.644
2020-06-18 21:00:00 | 3.9307 | 133.4067 | 4.062 | 132.5387 | 4.5507 | 130.4707 | 4.626 | 133.216 | 26.5667 | 882 | 58.398 | 17.11
2020-06-18 21:15:00 | 4.2 | 136.34 | 4.3507 | 130.9927 | 4.8313 | 133.3407 | 4.9367 | 131.6613 | 26.2533 | 882 | 60.6987 | 17.8747
2020-06-18 21:30:00 | 4.44 | 139.1733 | 4.618 | 127.884 | 5.1093 | 136.1107 | 5.2553 | 128.5373 | 26.0267 | 882 | 62.2647 | 19.1347
2020-06-18 21:45:00 | 4.3927 | 143.04 | 4.6153 | 135.1733 | 5.0853 | 139.8933 | 5.308 | 135.8627 | 25.7533 | 882 | 63.6193 | 18.4093
2020-06-18 22:00:00 | 4.69 | 141.3867 | 4.9333 | 134.7427 | 5.3373 | 138.276 | 5.6133 | 135.4313 | 25.3467 | 882 | 65.4167 | 19.6853
2020-06-18 22:15:00 | 4.6507 | 139.0667 | 4.8513 | 135.6807 | 5.3293 | 136.0073 | 5.512 | 136.3747 | 25.1267 | 882 | 67.652 | 19.0447
2020-06-18 22:30:00 | 4.7673 | 140.6933 | 4.9613 | 138.0273 | 5.354 | 137.5987 | 5.5513 | 138.7333 | 24.98 | 882 | 69.0247 | 19.26
2020-06-18 22:45:00 | 4.4467 | 139.6733 | 4.6153 | 133.3207 | 5.064 | 136.6007 | 5.2093 | 134.002 | 24.7267 | 882 | 69.492 | 18.7187
2020-06-18 23:00:00 | 4.2613 | 142.9867 | 4.446 | 134.2213 | 4.888 | 139.842 | 5.0587 | 134.9073 | 24.64 | 882.2667 | 69.6587 | 16.3127
2020-06-18 23:15:00 | 4.376 | 144.3 | 4.5707 | 137.2267 | 4.9647 | 141.1253 | 5.1627 | 137.928 | 24.3667 | 883 | 70.1633 | 16.8047
2020-06-18 23:30:00 | 4.4267 | 144.54 | 4.5707 | 136.7427 | 5.0147 | 141.3593 | 5.1207 | 137.444 | 24.0267 | 882.7333 | 72.8993 | 16.8413
2020-06-18 23:45:00 | 4.094 | 141.92 | 4.242 | 136.686 | 4.6953 | 138.7973 | 4.804 | 137.3853 | 23.84 | 882 | 75.5147 | 14.5927