## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-19 00:00:00 | 3.9707 | 141.0067 | 4.1107 | 135.6427 | 4.5213 | 137.9047 | 4.6287 | 136.3353 | 23.5933 | 882.6667 | 77.722 | 12.9893
2020-06-19 00:15:00 | 3.7207 | 150.5933 | 3.8467 | 142.4553 | 4.242 | 147.28 | 4.3327 | 143.184 | 23.3267 | 882 | 80.094 | 11.2747
2020-06-19 00:30:00 | 3.5587 | 149.6867 | 3.6307 | 134.7633 | 4.0593 | 146.6867 | 4.0553 | 135.4507 | 23.1867 | 882 | 81.72 | 9.698
2020-06-19 00:45:00 | 3.3973 | 149.02 | 3.432 | 139.588 | 3.6087 | 145.7413 | 3.6193 | 140.3007 | 23.0133 | 882 | 84.24 | 8.2673
2020-06-19 01:00:00 | 3.4867 | 148.54 | 3.5847 | 138.8633 | 3.686 | 145.546 | 3.8113 | 139.5727 | 22.94 | 882 | 86.08 | 8.7
2020-06-19 01:15:00 | 3.304 | 146.66 | 3.4587 | 139.326 | 3.6413 | 143.434 | 3.8387 | 140.0387 | 22.7733 | 882 | 88.1467 | 7.4127
2020-06-19 01:30:00 | 3.426 | 143.58 | 3.5747 | 134.9373 | 3.8367 | 140.604 | 3.9993 | 135.628 | 22.6733 | 882 | 89.7333 | 6.5647
2020-06-19 01:45:00 | 3.2207 | 145.2067 | 3.4147 | 134.058 | 3.618 | 142.0113 | 3.8707 | 134.742 | 22.56 | 882 | 88.0133 | 6.3133
2020-06-19 02:00:00 | 3.0887 | 140.1067 | 3.2613 | 137.1807 | 3.5313 | 137.024 | 3.732 | 137.882 | 22.4867 | 882 | 87.62 | 6.2567
2020-06-19 02:15:00 | 2.9233 | 144.9667 | 3.0687 | 135.2113 | 3.4847 | 141.7773 | 3.6053 | 135.904 | 22.3533 | 882 | 88.92 | 5.2093
2020-06-19 02:30:00 | 2.724 | 137.74 | 2.8207 | 127.394 | 3.174 | 134.71 | 3.226 | 128.0447 | 22.2667 | 882 | 90.12 | 3.2213
2020-06-19 02:45:00 | 2.938 | 133.3667 | 3.0333 | 125.0473 | 3.4393 | 130.432 | 3.4767 | 125.6867 | 22.1733 | 882 | 91.2333 | 4.7313
2020-06-19 03:00:00 | 3.0453 | 141.2867 | 3.1827 | 130.9607 | 3.5093 | 138.178 | 3.6347 | 131.63 | 22.0867 | 882 | 92.18 | 4.2187
2020-06-19 03:15:00 | 2.762 | 137.3133 | 2.864 | 135.4913 | 3.21 | 134.292 | 3.278 | 136.1847 | 22.0467 | 882 | 93.08 | 3.7167
2020-06-19 03:30:00 | 2.4087 | 127.54 | 2.498 | 128.0467 | 2.7913 | 124.7347 | 2.8513 | 128.7007 | 22.0333 | 882 | 93.9667 | 3.7807
2020-06-19 03:45:00 | 2.6813 | 124.94 | 2.7573 | 121.3307 | 3.034 | 122.1927 | 3.0767 | 121.9513 | 21.94 | 882 | 94.6 | 6.4273
2020-06-19 04:00:00 | 3.1773 | 124.1733 | 3.2567 | 125.126 | 3.658 | 121.442 | 3.6753 | 125.7647 | 21.9267 | 881.0667 | 95.02 | 9.8087
2020-06-19 04:15:00 | 2.9233 | 131.2133 | 3.018 | 127.244 | 3.3113 | 128.326 | 3.38 | 127.8947 | 21.88 | 881 | 95.36 | 7.4193
2020-06-19 04:30:00 | 2.94 | 133.5267 | 3.0333 | 128.7307 | 3.3173 | 130.5887 | 3.3853 | 129.388 | 21.8467 | 881 | 95.6133 | 6.8927
2020-06-19 04:45:00 | 3.0567 | 130.9867 | 3.1647 | 133.8953 | 3.482 | 128.1053 | 3.5647 | 134.5793 | 21.72 | 881 | 95.8667 | 6.13
2020-06-19 05:00:00 | 2.8933 | 134.2733 | 3.046 | 124.6767 | 3.3407 | 130.9487 | 3.5013 | 125.3127 | 21.6467 | 881 | 95.8933 | 5.1493
2020-06-19 05:15:00 | 3.054 | 144.94 | 3.1993 | 134.6967 | 3.6287 | 141.7513 | 3.7387 | 135.3867 | 21.6 | 881 | 96.2133 | 6.3153
2020-06-19 05:30:00 | 2.882 | 143.0667 | 3.002 | 134.2407 | 3.278 | 139.9187 | 3.39 | 134.9253 | 21.5067 | 881 | 96.14 | 6.2787
2020-06-19 05:45:00 | 2.9273 | 147.9267 | 3.0913 | 137.2873 | 3.2373 | 144.6733 | 3.4593 | 137.9873 | 21.6133 | 881 | 96.46 | 5.4693
2020-06-19 06:00:00 | 3.0227 | 148.7333 | 3.1773 | 141.002 | 3.2573 | 145.676 | 3.484 | 141.7213 | 21.72 | 881 | 95.26 | 6.8413
2020-06-19 06:15:00 | 3.0613 | 146.48 | 3.186 | 137.8913 | 3.3073 | 143.2313 | 3.4733 | 138.596 | 21.8467 | 881 | 95.3533 | 7.5887
2020-06-19 06:30:00 | 3.108 | 148.6533 | 3.2027 | 138.5767 | 3.26 | 145.3827 | 3.3973 | 139.2833 | 21.8 | 881 | 95.2867 | 8.0007
2020-06-19 06:45:00 | 3.0393 | 157.5067 | 3.138 | 144.49 | 3.1967 | 154.0413 | 3.3413 | 145.2287 | 21.74 | 881 | 94.82 | 7.5107
2020-06-19 07:00:00 | 2.8873 | 162.94 | 2.9927 | 151.068 | 3.1047 | 159.3547 | 3.242 | 151.8413 | 21.8067 | 881 | 93.2 | 6.6227
2020-06-19 07:15:00 | 2.65 | 167.68 | 2.7853 | 168.5347 | 2.9167 | 163.9907 | 3.098 | 169.3973 | 21.94 | 881.6 | 90.0933 | 5.16
2020-06-19 07:30:00 | 2.6933 | 174.4 | 2.832 | 158.6307 | 2.87 | 170.5627 | 3.0853 | 159.444 | 21.86 | 882 | 89.3333 | 4.2307
2020-06-19 07:45:00 | 2.8173 | 176.4733 | 3.004 | 162.57 | 3.1387 | 173.138 | 3.398 | 163.4 | 21.9667 | 882 | 89.6667 | 5.388
2020-06-19 08:00:00 | 2.864 | 181.72 | 2.9873 | 165.1313 | 3.2427 | 177.722 | 3.368 | 165.976 | 22 | 882 | 87.42 | 6.1573
2020-06-19 08:15:00 | 2.8593 | 181.2533 | 2.998 | 162.584 | 3.2673 | 177.266 | 3.418 | 163.414 | 21.8533 | 882 | 89.0667 | 8.05
2020-06-19 08:30:00 | 2.2627 | 180.8733 | 2.3287 | 162.1067 | 2.3573 | 176.8953 | 2.4573 | 162.9353 | 21.74 | 882 | 88.74 | 5.2127
2020-06-19 08:45:00 | 2.56 | 198.2733 | 2.6253 | 167.7673 | 2.9553 | 193.9113 | 2.9667 | 168.6247 | 21.8533 | 882.6 | 89.3133 | 5.834
2020-06-19 09:00:00 | 2.412 | 194.0067 | 2.4667 | 165.1333 | 2.686 | 189.7387 | 2.7167 | 165.9773 | 21.9267 | 882.3333 | 90.1 | 6.0033
2020-06-19 09:15:00 | 1.9987 | 186.38 | 2.0453 | 161.3307 | 2.088 | 182.9 | 2.1513 | 162.1567 | 22.2733 | 883 | 88.0467 | 4.1607
2020-06-19 09:30:00 | 1.938 | 192.62 | 1.962 | 148.1027 | 2.0947 | 188.3813 | 2.1 | 148.8593 | 23.0467 | 883 | 87.54 | 1.924
2020-06-19 09:45:00 | 2.054 | 186.6733 | 2.096 | 149.072 | 2.2713 | 182.5667 | 2.286 | 149.834 | 23.2 | 883 | 84.8667 | 1.424
2020-06-19 10:00:00 | 1.9707 | 165.6333 | 2.006 | 133.0347 | 2.2533 | 161.9893 | 2.2387 | 133.7147 | 23.1933 | 883.9333 | 84.7867 | 1.3533
2020-06-19 10:15:00 | 1.9773 | 175.9333 | 2.028 | 139.4553 | 2.31 | 173.6587 | 2.3047 | 140.1687 | 23.4533 | 884 | 84.7533 | 0.57733
2020-06-19 10:30:00 | 1.6887 | 143.54 | 1.7293 | 148.3047 | 1.984 | 140.382 | 1.9773 | 149.062 | 23.76 | 884 | 84.4933 | 0.15667
2020-06-19 10:45:00 | 2.0113 | 177.9067 | 2.0413 | 141.8287 | 2.2213 | 176.848 | 2.2247 | 142.5547 | 24.0733 | 884 | 82.5133 | 0
2020-06-19 11:00:00 | 2.27 | 154.16 | 2.3293 | 135.608 | 2.556 | 149.088 | 2.592 | 136.3027 | 24.4067 | 884 | 78.7433 | 0
2020-06-19 11:15:00 | 2.3947 | 159.06 | 2.4067 | 132.7013 | 2.7233 | 155.5607 | 2.6533 | 133.38 | 24.46 | 884 | 76.102 | 0.326
2020-06-19 11:30:00 | 2.2167 | 129.0067 | 2.256 | 134.834 | 2.668 | 132.5247 | 2.6133 | 135.524 | 24.8733 | 884 | 74.668 | 0.32133
2020-06-19 11:45:00 | 2.28 | 151.76 | 2.352 | 152.7247 | 2.688 | 148.4207 | 2.7047 | 153.5053 | 24.78 | 884 | 72.6687 | 0.42267
2020-06-19 12:00:00 | 2.85 | 150.9867 | 2.9687 | 139.888 | 3.26 | 147.6647 | 3.368 | 140.6027 | 24.1667 | 884 | 75.0207 | 1.7673
2020-06-19 12:15:00 | 2.9867 | 153.4467 | 3.0987 | 142.1313 | 3.342 | 150.0707 | 3.4527 | 142.856 | 23.62 | 884 | 79.1107 | 4.3447
2020-06-19 12:30:00 | 2.8847 | 161.4867 | 2.9873 | 146.6013 | 3.064 | 157.9333 | 3.2073 | 147.352 | 23.24 | 883.7333 | 82.86 | 5.4273
2020-06-19 12:45:00 | 2.732 | 138.48 | 2.874 | 142.7347 | 3.1413 | 136.1973 | 3.2947 | 143.4667 | 23.2467 | 883 | 83.0067 | 3.406
2020-06-19 13:00:00 | 2.2333 | 137.4267 | 2.318 | 130.6547 | 2.3853 | 134.73 | 2.5033 | 131.322 | 24.06 | 883 | 82.52 | 1.5347
2020-06-19 13:15:00 | 2.2333 | 137.4267 | 2.318 | 130.6547 | 2.3853 | 134.73 | 2.5033 | 131.322 | 24.06 | 883 | 82.52 | 1.5347
2020-06-19 13:30:00 | 2.256 | 155.85 | 2.262 | 134.778 | 2.66 | 152.421 | 2.559 | 135.466 | 24.48 | 883 | 77.557 | 2.41
2020-06-19 13:45:00 | 1.787 | 182.76 | 1.847 | 154.573 | 2.116 | 178.74 | 2.135 | 155.363 | 24.46 | 883 | 78.712 | 0.75
2020-06-19 14:00:00 | 1.1 | 197.64 | 1.15 | 164.794 | 1.251 | 193.292 | 1.302 | 165.636 | 24.85 | 883 | 77.614 | 0.15267
2020-06-19 14:15:00 | 1.511 | 189.56 | 1.58 | 164.646 | 1.649 | 185.39 | 1.744 | 165.488 | 25.02 | 883 | 77.805 | 0.532
2020-06-19 14:30:00 | 1.58 | 157.18 | 1.611 | 138.172 | 1.823 | 153.723 | 1.817 | 138.879 | 25.19 | 883 | 78.008 | 0.55533
2020-06-19 14:45:00 | 1.564 | 171.05 | 1.625 | 150.18 | 1.499 | 167.286 | 1.635 | 150.949 | 25.48 | 883 | 77.36 | 0
2020-06-19 15:00:00 | 2.175 | 151.05 | 2.226 | 133.799 | 2.341 | 147.727 | 2.391 | 134.485 | 25.44 | 883 | 76.258 | 0.28
2020-06-19 15:15:00 | 1.9493 | 183.4267 | 1.9967 | 136.6333 | 2.0847 | 179.0973 | 2.1233 | 137.134 | 25.4867 | 883 | 75.0993 | 0.30733
2020-06-19 15:30:00 | 2.144 | 177.04 | 2.1933 | 141.6393 | 2.432 | 173.1447 | 2.4413 | 142.3647 | 25.5133 | 883 | 74.1407 | 0.672
2020-06-19 15:45:00 | 2.181 | 163.39 | 2.241 | 145.321 | 2.691 | 158.251 | 2.654 | 146.064 | 25.56 | 883 | 74.277 | 0.746
2020-06-19 16:00:00 | 2.319 | 154.16 | 2.414 | 136.061 | 2.515 | 152.872 | 2.63 | 136.754 | 25.68 | 883 | 73.728 | 0.47667
2020-06-19 16:15:00 | 2.287 | 165.69 | 2.358 | 138.544 | 2.844 | 162.259 | 2.817 | 139.252 | 25.71 | 883 | 74.045 | 1.0473
2020-06-19 16:30:00 | 2.788 | 166.1 | 2.912 | 142.983 | 2.752 | 162.446 | 2.997 | 143.714 | 25.59 | 882.1 | 73.53 | 1.8887
2020-06-19 16:45:00 | 4.277 | 131.51 | 4.358 | 138.819 | 5.081 | 128.616 | 5.005 | 139.527 | 24.8 | 882 | 74.257 | 15.4713
2020-06-19 17:00:00 | 4.2193 | 126.0533 | 4.338 | 131.6733 | 4.9027 | 123.2807 | 4.9293 | 132.3447 | 23.78 | 882 | 77.0693 | 16.6433
2020-06-19 17:15:00 | 4.2947 | 132.7067 | 4.2813 | 132.512 | 4.8407 | 129.7873 | 4.66 | 133.1907 | 23.3067 | 882 | 77.4653 | 14.1087
2020-06-19 17:30:00 | 3.934 | 122.99 | 4.036 | 131.599 | 4.364 | 120.284 | 4.437 | 132.272 | 23.09 | 881.1 | 78.97 | 11.6487
2020-06-19 17:45:00 | 3.488 | 139.43 | 3.486 | 133.476 | 3.658 | 136.362 | 3.608 | 134.16 | 22.94 | 881 | 79.305 | 8.608
2020-06-19 18:00:00 | 2.782 | 130.16 | 2.82 | 129.508 | 3.019 | 127.297 | 3.022 | 130.169 | 22.8 | 881 | 80.464 | 2.6347
2020-06-19 18:15:00 | 2.505 | 134.32 | 2.588 | 129.682 | 2.779 | 131.365 | 2.858 | 130.345 | 22.66 | 881 | 81.44 | 1.7707
2020-06-19 18:30:00 | 2.857 | 125.64 | 2.992 | 124.899 | 3.116 | 122.877 | 3.299 | 125.539 | 22.59 | 881 | 81.95 | 1.7453
2020-06-19 18:45:00 | 2.0833 | 138.7222 | 2.1989 | 137.29 | 2.2956 | 135.67 | 2.4567 | 137.9911 | 22.6444 | 881 | 82.5667 | 0
2020-06-19 19:00:00 | 2.1873 | 129.08 | 2.2347 | 122.928 | 2.3187 | 126.2407 | 2.3753 | 123.5573 | 22.5467 | 881 | 81.9867 | 0.11
2020-06-19 19:15:00 | 1.1067 | 139.9267 | 1.1813 | 124.1333 | 1.156 | 137.546 | 1.2753 | 124.7693 | 22.76 | 881 | 82.3067 | 0
2020-06-19 19:30:00 | 0.84 | 120.68 | 0.851 | 117.488 | 0.874 | 118.026 | 0.89 | 118.086 | 22.92 | 881 | 82.47 | 0
2020-06-19 19:45:00 | 0.683 | 88.16 | 0.685 | 101.176 | 1.016 | 86.221 | 0.921 | 101.691 | 22.79 | 881 | 84.59 | 0
2020-06-19 20:00:00 | 1.404 | 330.34 | 1.523 | 75.59 | 1.953 | 323.073 | 2.021 | 75.974 | 22.33 | 881 | 87.24 | 0
2020-06-19 20:15:00 | 1.654 | 326.6 | 1.664 | 242.828 | 1.89 | 319.414 | 1.845 | 244.069 | 21.97 | 881 | 89.09 | 0
2020-06-19 20:30:00 | 1.424 | 339.77 | 1.422 | 321.848 | 1.753 | 332.294 | 1.654 | 323.494 | 22.26 | 881 | 89.76 | 0
2020-06-19 20:45:00 | 1.41 | 255.8667 | 1.2733 | 323.1511 | 1.6367 | 250.2367 | 1.3067 | 324.8078 | 21.9889 | 881 | 89.6667 | 0
2020-06-19 21:00:00 | 1.7793 | 304.12 | 1.7287 | 323.1447 | 2.316 | 297.43 | 2.0687 | 324.7967 | 21.54 | 881 | 90.82 | 0
2020-06-19 21:15:00 | 1.6307 | 286.42 | 1.5853 | 329.8147 | 2.0133 | 280.12 | 1.8207 | 331.4993 | 21.78 | 881 | 91.8533 | 0
2020-06-19 21:30:00 | 1.645 | 300.85 | 1.647 | 322.594 | 1.973 | 294.232 | 1.882 | 324.242 | 21.54 | 881 | 92.64 | 0
2020-06-19 21:45:00 | 1.709 | 200.89 | 1.669 | 309.732 | 2.183 | 196.47 | 1.969 | 311.315 | 21.53 | 881 | 94.85 | 0
2020-06-19 22:00:00 | 1.978 | 266.51 | 1.937 | 314.681 | 2.458 | 260.648 | 2.242 | 316.291 | 21.3 | 881 | 94.7 | 0
2020-06-19 22:15:00 | 1.564 | 299.09 | 1.595 | 286.857 | 1.918 | 292.511 | 1.878 | 288.324 | 21.39 | 881 | 94.84 | 0
2020-06-19 22:30:00 | 1.552 | 296.42 | 1.558 | 299.893 | 2.035 | 289.898 | 1.905 | 301.426 | 21.6 | 881.9 | 94.32 | 0
2020-06-19 22:45:00 | 1.17 | 141.58 | 1.1 | 319.826 | 1.572 | 138.466 | 1.324 | 321.46 | 21.68 | 882 | 94.1 | 0
2020-06-19 23:00:00 | 2.4227 | 314.6333 | 2.4587 | 308.826 | 3.0367 | 307.712 | 2.9287 | 310.4053 | 20.96 | 882 | 94.9533 | 0.83267
2020-06-19 23:15:00 | 2.8213 | 323.4067 | 2.968 | 316.1747 | 3.36 | 316.2927 | 3.484 | 317.7907 | 20.6667 | 881.4 | 96.2467 | 1.7353
2020-06-19 23:30:00 | 2.436 | 322.78 | 2.495 | 309.449 | 2.964 | 315.681 | 2.923 | 311.032 | 20.7 | 881 | 96.94 | 1.4227
2020-06-19 23:45:00 | 2.826 | 338.2 | 2.922 | 318.806 | 3.562 | 330.759 | 3.533 | 320.438 | 20.77 | 881 | 97.1 | 3.7247